## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-23 00:00:00 | 5.312 | 243.167 | 7.464 | 244.002 | 8.034 | 251.067 | 8.138 | 248.883 | -13.673 | 889.133 | 56.469 | 51.9687
2020-12-23 00:15:00 | 6.554 | 243.687 | 8.012 | 244.628 | 8.306 | 252.433 | 8.453 | 250.183 | -13.172 | 889.975 | 55.499 | 57.2496
2020-12-23 00:30:00 | 6.886 | 243.1 | 8.863 | 244.302 | 9.152 | 250.233 | 9.098 | 246.833 | -12.97 | 889.6 | 54.432 | 65.5121
2020-12-23 00:45:00 | 7.212 | 248.967 | 8.862 | 251.373 | 9.48 | 256.9 | 10.109 | 254.867 | -12.486 | 890.333 | 53.307 | 53.3245
2020-12-23 01:00:00 | 6.891 | 249 | 8.677 | 252.839 | 9.072 | 259.267 | 9.348 | 255.95 | -13.003 | 889.6 | 54.448 | 57.45
2020-12-23 01:15:00 | 6.284 | 248.807 | 8.629 | 251.581 | 9.361 | 256.633 | 9.753 | 255.217 | -13.203 | 889.858 | 55.36 | 79.7881
2020-12-23 01:30:00 | 8.109 | 252.647 | 10.166 | 255.282 | 10.649 | 258.533 | 10.993 | 255.5 | -13.17 | 889.817 | 56.08 | 81.1481
2020-12-23 01:45:00 | 8.164 | 248.907 | 10.1 | 252.494 | 10.746 | 257.433 | 10.93 | 254.7 | -12.903 | 889.925 | 55.504 | 75.966
2020-12-23 02:00:00 | 7.309 | 250.733 | 9.259 | 253.725 | 10.291 | 258.567 | 10.509 | 257.35 | -12.736 | 890.25 | 55.232 | 70.0448
2020-12-23 02:15:00 | 8.141 | 257.367 | 9.974 | 258.68 | 10.459 | 263.433 | 10.673 | 259.617 | -12.67 | 889.8 | 56.384 | 56.5277
2020-12-23 02:30:00 | 7.478 | 250.133 | 8.884 | 254.274 | 9.188 | 258.867 | 9.682 | 256.617 | -12.87 | 889.967 | 56.272 | 46.0078
2020-12-23 02:45:00 | 7.008 | 258.807 | 7.673 | 262.24 | 8.186 | 268.7 | 8.542 | 265.267 | -13.466 | 890.075 | 57.664 | 45.9005
2020-12-23 03:00:00 | 7.232 | 250.4 | 7.457 | 256.574 | 7.919 | 263.2 | 8.23 | 261.383 | -13.933 | 889.933 | 58.379 | 51.8785
2020-12-23 03:15:00 | 7.796 | 252.667 | 7.961 | 256.336 | 8.323 | 261.8 | 8.67 | 259.483 | -14.183 | 890.042 | 58.421 | 50.0267
2020-12-23 03:30:00 | 7.618 | 250.333 | 9.03 | 254.783 | 9.164 | 258.4 | 9.51 | 256.067 | -14.516 | 889.967 | 58.123 | 46.9926
2020-12-23 03:45:00 | 6.969 | 237.767 | 8.085 | 240.41 | 8.011 | 247.167 | 7.985 | 244.433 | -14.578 | 890.233 | 57.44 | 63.4692
2020-12-23 04:00:00 | 5.892 | 234.48 | 7.83 | 239.701 | 7.869 | 248.4 | 8.001 | 245.567 | -14.662 | 889.892 | 57.952 | 79.7007
2020-12-23 04:15:00 | 6.525 | 241.2 | 8.573 | 244.314 | 8.949 | 252.933 | 9.214 | 250.85 | -14.166 | 889.225 | 56.341 | 84.0558
2020-12-23 04:30:00 | 7.557 | 245.8 | 9.7 | 248.955 | 10.098 | 255.133 | 10.28 | 253.333 | -13.578 | 890.1 | 52.992 | 69.6782
2020-12-23 04:45:00 | 7.813 | 244.633 | 9.509 | 246.302 | 9.741 | 254.333 | 9.887 | 253.467 | -13.186 | 889.775 | 49.909 | 63.9389
2020-12-23 05:00:00 | 7.622 | 235.067 | 9.512 | 239.668 | 9.959 | 247.367 | 9.662 | 245.3 | -13.153 | 889.9 | 49.237 | 62.3131
2020-12-23 05:15:00 | 7.322 | 225.427 | 9.452 | 231.193 | 9.73 | 238.867 | 9.504 | 236.3 | -13.635 | 889.767 | 52.085 | 65.7359
2020-12-23 05:30:00 | 7.059 | 229.033 | 9.662 | 233.66 | 9.884 | 242.133 | 9.812 | 239.3 | -14.099 | 890.092 | 54.027 | 64.8349
2020-12-23 05:45:00 | 7.248 | 229.867 | 9.561 | 234.814 | 9.796 | 241.633 | 9.631 | 238.167 | -14.266 | 890.1 | 54.389 | 52.8143
2020-12-23 06:00:00 | 6.861 | 226.78 | 8.645 | 230.835 | 8.883 | 237.433 | 8.558 | 234.433 | -14.266 | 889.55 | 55.221 | 52.8285
2020-12-23 06:15:00 | 7.161 | 226.887 | 8.531 | 232.004 | 8.435 | 239.067 | 8.52 | 234.9 | -14.324 | 889.808 | 56.128 | 46.967
2020-12-23 06:30:00 | 7.027 | 227.267 | 8.264 | 234.17 | 8.406 | 241.033 | 8.243 | 236.933 | -14.683 | 890.167 | 56.181 | 41.0381
2020-12-23 06:45:00 | 7.053 | 227.02 | 8.128 | 231.417 | 7.787 | 238.567 | 7.639 | 236.533 | -14.808 | 889.767 | 56.405 | 35.9469
2020-12-23 07:00:00 | 6.478 | 229.4 | 7.006 | 236.794 | 7.176 | 244.867 | 7.18 | 241.533 | -14.578 | 889.983 | 55.851 | 39.3007
2020-12-23 07:15:00 | 6.907 | 231.667 | 6.973 | 237.14 | 6.917 | 244.8 | 6.795 | 242.133 | -13.999 | 889.767 | 55.296 | 38.5511
2020-12-23 07:30:00 | 7.843 | 231.553 | 8.351 | 234.088 | 7.878 | 242.3 | 7.742 | 238.767 | -14.808 | 890.025 | 56.235 | 34.9691
2020-12-23 07:45:00 | 6.951 | 227.807 | 7.875 | 230.473 | 7.816 | 238.867 | 7.566 | 236.5 | -14.62 | 889.792 | 56.843 | 41.6072
2020-12-23 08:00:00 | 6.211 | 234.167 | 7.218 | 233.553 | 7.566 | 241.7 | 7.574 | 237.633 | -14.266 | 889.833 | 56.064 | 36.7981
2020-12-23 08:15:00 | 6.521 | 237.8 | 7.829 | 240.916 | 8.054 | 246.933 | 7.942 | 242.933 | -14.891 | 889.733 | 56.437 | 31.7609
2020-12-23 08:30:00 | 6.355 | 234.713 | 7.396 | 237.833 | 7.674 | 244.5 | 7.65 | 240.667 | -14.92 | 889.95 | 57.611 | 31.8
2020-12-23 08:45:00 | 6.028 | 234.48 | 7.05 | 237.127 | 7.121 | 244.3 | 6.971 | 240.4 | -14.87 | 889.967 | 57.931 | 33.7683
2020-12-23 09:00:00 | 5.675 | 234.427 | 7.096 | 237.606 | 7.328 | 244.467 | 7.094 | 241.133 | -14.745 | 889.683 | 58.08 | 28.7161
2020-12-23 09:15:00 | 5.466 | 233.827 | 7.153 | 236.429 | 7.418 | 242.533 | 7.193 | 238.6 | -14.641 | 889.9 | 56.885 | 25.8525
2020-12-23 09:30:00 | 6.336 | 226.313 | 7.143 | 233.478 | 7.402 | 239.567 | 7.229 | 234.467 | -14.662 | 890.008 | 57.184 | 27.4201
2020-12-23 09:45:00 | 6.188 | 223.667 | 6.915 | 229.307 | 7.413 | 235.833 | 7.366 | 231.533 | -14.37 | 889.625 | 56.789 | 27.5323
2020-12-23 10:00:00 | 6.339 | 220.233 | 6.966 | 226.864 | 7.381 | 234.767 | 7.24 | 232.233 | -13.833 | 889.95 | 55.285 | 27.6389
2020-12-23 10:15:00 | 6.559 | 219.733 | 7.156 | 223.603 | 7.215 | 232 | 7.122 | 230.033 | -13.203 | 889.933 | 53.131 | 21.6076
2020-12-23 10:30:00 | 6.42 | 224.633 | 7.232 | 224.93 | 6.89 | 233.2 | 6.747 | 231.6 | -12.603 | 889.983 | 50.933 | 12.3084
2020-12-23 10:45:00 | 5.693 | 227.633 | 6.111 | 229.064 | 5.959 | 237.867 | 5.899 | 237.533 | -11.228 | 889.825 | 49.237 | 9.0164
2020-12-23 11:00:00 | 4.574 | 228.4 | 5.712 | 227.375 | 5.189 | 234.833 | 4.935 | 234.633 | -10.033 | 889.792 | 46.091 | 7.9392
2020-12-23 11:15:00 | 3.74 | 232.593 | 4.632 | 228.6 | 4.302 | 237.1 | 4.171 | 241.1 | -8.21 | 889.725 | 42.272 | 7.9114
2020-12-23 11:30:00 | 3.891 | 234.647 | 4.326 | 237.432 | 4.365 | 249.433 | 4.443 | 250.983 | -7.446 | 889.733 | 38.843 | 8.5389
2020-12-23 11:45:00 | 4.346 | 244.793 | 4.359 | 242.505 | 4.565 | 250.433 | 4.736 | 249.95 | -6.475 | 890.083 | 36.059 | 9.8364
2020-12-23 12:00:00 | 4.636 | 248.52 | 4.721 | 246.528 | 4.947 | 254.15 | 5.283 | 252.483 | -5.842 | 889.733 | 34.944 | 15.1777
2020-12-23 12:15:00 | 4.937 | 255.647 | 4.77 | 253.617 | 5.104 | 258.45 | 5.61 | 255.783 | -5.385 | 889.55 | 34.189 | 16.4795
2020-12-23 12:30:00 | 5.61 | 268.327 | 5.684 | 260.841 | 6.035 | 263.183 | 6.049 | 258.333 | -5.302 | 889.967 | 33.456 | 15.3674
2020-12-23 12:45:00 | 5.647 | 260.66 | 5.818 | 256.367 | 5.89 | 261.617 | 6.056 | 258.733 | -5.252 | 889.9 | 33.243 | 23.0508
2020-12-23 13:00:00 | 5.275 | 261.06 | 5.234 | 254.053 | 5.555 | 257.167 | 5.598 | 252.267 | -4.626 | 889.667 | 31.795 | 33.1629
2020-12-23 13:15:00 | 6.759 | 274.667 | 7.097 | 270.898 | 7.216 | 273.233 | 7.47 | 269.917 | -5.169 | 889.8 | 30.035 | 36.3874
2020-12-23 13:30:00 | 7.269 | 281.733 | 7.594 | 277.432 | 7.947 | 280.233 | 8.327 | 279.567 | -5.052 | 889.983 | 29.928 | 36.2623
2020-12-23 13:45:00 | 8.46 | 286.667 | 8.913 | 283.24 | 8.965 | 285 | 9.13 | 284.3 | -5.219 | 889.533 | 29.397 | 31.8789
2020-12-23 14:00:00 | 7.104 | 292.667 | 7.325 | 287.351 | 7.415 | 290.433 | 7.742 | 288.267 | -5.019 | 890.117 | 29.347 | 32.6676
2020-12-23 14:15:00 | 6.727 | 289.16 | 7.108 | 283.961 | 7.394 | 285.033 | 7.572 | 283.133 | -4.709 | 889.75 | 28.357 | 35.1986
2020-12-23 14:30:00 | 7.958 | 286.187 | 8.549 | 280.312 | 8.674 | 283.433 | 8.962 | 281.6 | -4.483 | 889.55 | 26.392 | 36.3718
2020-12-23 14:45:00 | 7.551 | 284.013 | 7.744 | 278.224 | 7.89 | 280.5 | 8.219 | 279.667 | -4.226 | 889.817 | 25.717 | 34.3495
2020-12-23 15:00:00 | 6.616 | 288.653 | 6.776 | 281.277 | 7.056 | 284.2 | 7.272 | 280.9 | -4.246 | 889.8 | 24.992 | 41.8673
2020-12-23 15:15:00 | 6.76 | 299.893 | 6.879 | 291.576 | 6.982 | 295.1 | 7.31 | 290.933 | -3.896 | 889.867 | 24.645 | 40.9052
2020-12-23 15:30:00 | 7.077 | 287.213 | 7.487 | 283.175 | 7.639 | 284.1 | 7.751 | 281.267 | -3.91 | 889.45 | 23.573 | 31.0681
2020-12-23 15:45:00 | 6.632 | 285.333 | 7.117 | 279.313 | 7.294 | 282.8 | 7.355 | 281.6 | -3.941 | 889.883 | 23.637 | 29.2995
2020-12-23 16:00:00 | 6.32 | 290.2 | 6.598 | 285.6 | 6.602 | 286.933 | 6.731 | 284.367 | -3.857 | 889.65 | 23.731 | 23.2981
2020-12-23 16:15:00 | 5.889 | 300.64 | 5.988 | 295.994 | 6.022 | 299.8 | 6.402 | 296.533 | -3.982 | 889.583 | 23.861 | 25.0212
2020-12-23 16:30:00 | 5.082 | 291.4 | 5.209 | 287.074 | 5.296 | 293.267 | 5.527 | 289.533 | -3.958 | 889.6 | 24.205 | 24.0065
2020-12-23 16:45:00 | 5.308 | 282.76 | 5.625 | 276.64 | 5.771 | 279.667 | 6.052 | 277.167 | -4.048 | 890.217 | 22.981 | 28.9115
2020-12-23 17:00:00 | 5.942 | 284.067 | 6.3 | 279.461 | 6.43 | 281.033 | 6.56 | 275.45 | -3.907 | 889.933 | 22.693 | 34.3545
2020-12-23 17:15:00 | 6.23 | 283.067 | 6.753 | 277.141 | 6.793 | 281.1 | 7.082 | 278.633 | -3.505 | 889.983 | 22.544 | 35.4907
2020-12-23 17:30:00 | 6.6 | 276.8 | 6.903 | 274.567 | 7.189 | 278.933 | 7.39 | 276.3 | -3.941 | 889.75 | 22.661 | 32.0153
2020-12-23 17:45:00 | 5.329 | 285.533 | 5.474 | 280.954 | 5.875 | 282.867 | 6.108 | 280.567 | -3.572 | 889.633 | 23.512 | 34.7488
2020-12-23 18:00:00 | 6.376 | 277.267 | 6.876 | 271.127 | 7.163 | 273.333 | 7.34 | 270.733 | -3.806 | 889.633 | 23.499 | 32.4807
2020-12-23 18:15:00 | 6.491 | 279.587 | 7.476 | 274.985 | 7.844 | 276.333 | 8.067 | 272.5 | -3.953 | 890 | 23.68 | 33.3902
2020-12-23 18:30:00 | 5.275 | 262.413 | 6.143 | 259.58 | 6.603 | 262.75 | 6.868 | 257.933 | -4.279 | 889.633 | 23.709 | 35.4047
2020-12-23 18:45:00 | 5.653 | 255.28 | 6.229 | 255.062 | 6.644 | 259.483 | 6.849 | 256.183 | -4.835 | 889.983 | 24.048 | 41.8708
2020-12-23 19:00:00 | 5.884 | 238.367 | 6.917 | 238.759 | 7.415 | 244.033 | 7.528 | 239.567 | -5.152 | 889.533 | 23.696 | 37.7837
2020-12-23 19:15:00 | 5.298 | 240.767 | 6.295 | 240.474 | 6.673 | 245.933 | 6.892 | 240.867 | -5.519 | 889.933 | 23.333 | 41.2193
2020-12-23 19:30:00 | 5.017 | 241.84 | 6.034 | 243.455 | 6.504 | 249.133 | 6.752 | 243.533 | -5.985 | 889.367 | 23.739 | 43.7226
2020-12-23 19:45:00 | 5.881 | 245 | 6.99 | 245.899 | 7.194 | 251.8 | 7.458 | 246.967 | -6.478 | 889.1 | 23.776 | 31.4369
2020-12-23 20:00:00 | 6.42 | 243.94 | 7.382 | 244.603 | 7.668 | 250.167 | 7.897 | 244.667 | -6.615 | 889.667 | 24.005 | 35.3237
2020-12-23 20:15:00 | 5.743 | 235.793 | 7.205 | 238.736 | 7.291 | 246.267 | 7.536 | 242.2 | -7.993 | 889.433 | 26.032 | 36.5373
2020-12-23 20:30:00 | 6.504 | 232.14 | 8.057 | 232.49 | 8.15 | 239.567 | 7.926 | 236.767 | -8.571 | 890.167 | 27.579 | 32.8822
2020-12-23 20:45:00 | 5.461 | 234.467 | 7.894 | 232.552 | 7.816 | 237.967 | 7.644 | 234.6 | -8.624 | 889.467 | 28.315 | 36.6638
2020-12-23 21:00:00 | 4.946 | 222.733 | 6.832 | 225.118 | 7.484 | 230.433 | 7.287 | 227.367 | -8.691 | 889.6 | 28.624 | 42.3249
2020-12-23 21:15:00 | 5.154 | 218.033 | 7.331 | 224.2 | 8.063 | 232.567 | 8.002 | 229.233 | -9.158 | 890.067 | 29.376 | 42.0449
2020-12-23 21:30:00 | 4.869 | 215.967 | 6.8 | 222.434 | 7.899 | 231.6 | 7.784 | 230.367 | -8.841 | 889.933 | 29.499 | 50.5049
2020-12-23 21:45:00 | 5.516 | 230.3 | 7.422 | 230.89 | 7.988 | 239.267 | 8.082 | 235.7 | -9.008 | 889.817 | 30.213 | 48.8827
2020-12-23 22:00:00 | 6.028 | 233.1 | 7.954 | 233.404 | 8.737 | 241.333 | 8.77 | 237.667 | -9.058 | 889.483 | 30.768 | 45.9168
2020-12-23 22:15:00 | 6.494 | 229.733 | 8.152 | 229.57 | 8.591 | 235.767 | 8.37 | 232.9 | -9.074 | 889.183 | 31.531 | 54.9609
2020-12-23 22:30:00 | 5.104 | 225.867 | 7.578 | 226.016 | 8.302 | 234.2 | 8.196 | 231.767 | -9.241 | 889.717 | 32.512 | 56.1525
2020-12-23 22:45:00 | 6.476 | 225.3 | 8.786 | 226.909 | 9.099 | 234.767 | 9.018 | 232.367 | -9.158 | 889.767 | 34.181 | 48.8344
2020-12-23 23:00:00 | 6.058 | 228.167 | 8.298 | 230.702 | 8.882 | 239.5 | 8.915 | 235.433 | -9.258 | 889.817 | 35.685 | 49.4256
2020-12-23 23:15:00 | 6.072 | 231.533 | 7.926 | 231.069 | 8.368 | 239.933 | 8.422 | 236.5 | -9.108 | 889.733 | 36.88 | 53.5021
2020-12-23 23:30:00 | 6.806 | 231.267 | 8.222 | 230.487 | 8.445 | 238.567 | 8.288 | 235.5 | -9.308 | 889.333 | 37.387 | 51.6255
2020-12-23 23:45:00 | 7.034 | 230.4 | 8.752 | 234.349 | 8.825 | 241.333 | 8.943 | 238.367 | -9.324 | 889.9 | 38.144 | 41.7678