## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-24 00:00:00 | 5.897 | 235.833 | 8.098 | 237.537 | 8.524 | 245.9 | 8.479 | 243.5 | -9.208 | 889.95 | 38.981 | 37.4255
2020-12-24 00:15:00 | 6.121 | 224.633 | 7.806 | 231.094 | 7.924 | 238.333 | 7.806 | 235.967 | -9.158 | 889.883 | 39.557 | 33.2872
2020-12-24 00:30:00 | 5.706 | 221.207 | 7.423 | 224.875 | 7.771 | 233.133 | 7.73 | 231.533 | -9.574 | 890.067 | 41.771 | 32.6456
2020-12-24 00:45:00 | 6.103 | 221.42 | 7.87 | 223.629 | 7.613 | 230.133 | 7.595 | 227.967 | -9.724 | 890.15 | 42.955 | 27.5259
2020-12-24 01:00:00 | 6.011 | 224.813 | 7.623 | 225.098 | 7.629 | 230.367 | 7.646 | 228.933 | -9.478 | 889.658 | 41.749 | 28.8327
2020-12-24 01:15:00 | 5.978 | 215.733 | 7.62 | 220.811 | 7.358 | 226.267 | 7.177 | 225.2 | -9.808 | 889.717 | 41.077 | 27.4812
2020-12-24 01:30:00 | 6.873 | 216.833 | 7.875 | 220.382 | 7.326 | 223.467 | 7.172 | 221.567 | -10.383 | 890.05 | 41.92 | 30.6681
2020-12-24 01:45:00 | 6.404 | 214.667 | 7.409 | 220.732 | 6.979 | 225.267 | 7.023 | 222.467 | -10.516 | 889.558 | 41.248 | 32.7543
2020-12-24 02:00:00 | 6.345 | 213.347 | 7.623 | 220.265 | 7.487 | 226 | 7.581 | 223.1 | -10.458 | 890 | 41.323 | 31.4049
2020-12-24 02:15:00 | 7.197 | 216.807 | 7.899 | 221.492 | 7.462 | 226.633 | 7.446 | 224.667 | -10.187 | 889.85 | 41.237 | 27.629
2020-12-24 02:30:00 | 6.514 | 213.3 | 7.643 | 220.921 | 7.433 | 227.8 | 7.496 | 225.933 | -10.433 | 889.742 | 43.019 | 23.2775
2020-12-24 02:45:00 | 6.865 | 213.58 | 7.627 | 218.704 | 7.162 | 226.967 | 6.918 | 225.2 | -10.601 | 889.842 | 45.557 | 21.3646
2020-12-24 03:00:00 | 7.036 | 214.333 | 7.425 | 212.42 | 7.181 | 218.333 | 6.644 | 219.9 | -10.316 | 889.792 | 47.787 | 20.9674
2020-12-24 03:15:00 | 6.479 | 211.367 | 7.319 | 207.936 | 7.218 | 212.833 | 6.905 | 212.9 | -10.516 | 889.692 | 48.245 | 24.5806
2020-12-24 03:30:00 | 6.139 | 214.067 | 7.142 | 211.003 | 7.096 | 213.967 | 6.802 | 213.267 | -10.891 | 889.617 | 49.163 | 29.6043
2020-12-24 03:45:00 | 6.3 | 210.04 | 7.981 | 212.408 | 7.444 | 217.167 | 7.182 | 215.633 | -10.928 | 889.658 | 49.088 | 29.1425
2020-12-24 04:00:00 | 7.073 | 213.693 | 8.554 | 214.565 | 7.694 | 223.4 | 7.281 | 224.067 | -10.539 | 889.933 | 50.187 | 23.082
2020-12-24 04:15:00 | 6.823 | 215.567 | 8.144 | 212.165 | 7.608 | 219.767 | 6.943 | 221.9 | -10.349 | 889.933 | 50.272 | 20.821
2020-12-24 04:30:00 | 5.741 | 214.06 | 7.271 | 210.872 | 6.809 | 215.833 | 6.62 | 218.633 | -10.599 | 889.658 | 50.784 | 19.7111
2020-12-24 04:45:00 | 5.424 | 210.54 | 7.195 | 208.876 | 7.045 | 216.867 | 6.541 | 217.3 | -10.741 | 889.85 | 50.773 | 15.1486
2020-12-24 05:00:00 | 6.588 | 212.7 | 6.998 | 212.641 | 6.665 | 221.167 | 6.249 | 223.933 | -10.56 | 889.9 | 50.752 | 12.2338
2020-12-24 05:15:00 | 6.599 | 214.167 | 6.547 | 212.634 | 5.935 | 221.467 | 5.517 | 221.933 | -10.399 | 889.633 | 49.547 | 11.5744
2020-12-24 05:30:00 | 5.286 | 209.993 | 6.622 | 206.071 | 5.821 | 212.233 | 5.454 | 213.933 | -10.566 | 890.042 | 50.336 | 18.7966
2020-12-24 05:45:00 | 5.688 | 213.92 | 6.727 | 207.013 | 6.098 | 212.067 | 5.413 | 212.333 | -10.909 | 889.558 | 49.856 | 21.8684
2020-12-24 06:00:00 | 5.529 | 213.813 | 7.841 | 207.056 | 7.153 | 210.067 | 6.656 | 206.967 | -10.778 | 889.95 | 48.533 | 18.4072
2020-12-24 06:15:00 | 6.753 | 214.907 | 7.371 | 210.634 | 7.042 | 213.5 | 7.052 | 212.333 | -10.928 | 889.667 | 46.485 | 17.681
2020-12-24 06:30:00 | 6.849 | 216.667 | 7.397 | 212.285 | 7.219 | 215.933 | 6.84 | 214.467 | -10.399 | 889.975 | 44.213 | 16.3054
2020-12-24 06:45:00 | 7.101 | 213.5 | 8.117 | 213.535 | 7.653 | 216.867 | 7.193 | 213.067 | -10.349 | 889.817 | 45.056 | 13.5427
2020-12-24 07:00:00 | 6.642 | 213.113 | 7.595 | 213.694 | 6.876 | 216 | 6.39 | 212.333 | -10.778 | 890.05 | 47.04 | 13.1718
2020-12-24 07:15:00 | 5.789 | 215.887 | 7.025 | 214.492 | 6.563 | 217.867 | 5.814 | 213.233 | -10.909 | 889.8 | 50.944 | 11.6966
2020-12-24 07:30:00 | 5.666 | 214.247 | 7.462 | 212.455 | 6.592 | 213.267 | 6.014 | 212 | -11.093 | 889.567 | 54.208 | 11.0848
2020-12-24 07:45:00 | 5.434 | 214.893 | 6.287 | 211.848 | 5.668 | 213.2 | 5.387 | 212.6 | -10.76 | 889.858 | 55.893 | 10.3714
2020-12-24 08:00:00 | 6.608 | 218.073 | 6.184 | 213.778 | 5.842 | 216.333 | 5.388 | 214.5 | -10.928 | 889.883 | 55.883 | 11.5716
2020-12-24 08:15:00 | 6.391 | 221.853 | 6.741 | 216.04 | 5.854 | 220.967 | 5.282 | 220.867 | -10.722 | 889.708 | 54.443 | 11.6981
2020-12-24 08:30:00 | 6.542 | 219.987 | 7.417 | 216.984 | 6.659 | 222.2 | 5.826 | 221.833 | -10.722 | 889.817 | 53.813 | 10.1746
2020-12-24 08:45:00 | 5.727 | 224.073 | 6.746 | 224.369 | 5.778 | 231.1 | 4.814 | 232.7 | -10.595 | 890 | 55.307 | 8.4167
2020-12-24 09:00:00 | 6.166 | 223.553 | 6.018 | 226.386 | 5.056 | 234.467 | 4.579 | 236.6 | -10.562 | 889.75 | 55.509 | 9.2793
2020-12-24 09:15:00 | 6.19 | 221.653 | 5.664 | 226.163 | 4.841 | 234.3 | 4.496 | 236.033 | -10.722 | 890.358 | 55.125 | 5.8288
2020-12-24 09:30:00 | 6.657 | 219.38 | 5.956 | 226.301 | 4.967 | 233.7 | 4.424 | 235.533 | -10.685 | 889.908 | 53.696 | 2.7264
2020-12-24 09:45:00 | 5.526 | 219.52 | 5.215 | 226.213 | 4.034 | 234.733 | 3.616 | 239.467 | -10.909 | 889.942 | 53.344 | 3.0533
2020-12-24 10:00:00 | 5.384 | 216.213 | 5.256 | 217.363 | 3.375 | 226.4 | 2.569 | 234.833 | -10.078 | 890 | 51.36 | 2.9453
2020-12-24 10:15:00 | 2.921 | 212.733 | 5.114 | 205.8 | 4.892 | 209 | 4.006 | 213.067 | -9.704 | 889.492 | 50.656 | 1.2321
2020-12-24 10:30:00 | 0.133 | 195.167 | 2.603 | 210.747 | 4.633 | 212.133 | 4.526 | 211.433 | -8.741 | 890.392 | 47.488 | 0.63667
2020-12-24 10:45:00 | 2.174 | 208.973 | 3.001 | 203.94 | 3.75 | 206.567 | 3.54 | 212 | -7.92 | 889.967 | 45.312 | 0.88252
2020-12-24 11:00:00 | 0.71 | 195.027 | 1.227 | 193.06 | 2.094 | 209.633 | 3.632 | 206.567 | -5.829 | 890 | 42.997 | 0.94719
2020-12-24 11:15:00 | 1.59 | 229.733 | 2.545 | 225.684 | 3.808 | 224.233 | 4.269 | 218.167 | -5.219 | 889.892 | 40.837 | 0.26291
2020-12-24 11:30:00 | 0.395 | 4.006 | 0.036 | 276.654 | 1.021 | 250.567 | 2.778 | 224.1 | -5.169 | 889.95 | 40.061 | 0.3027
2020-12-24 11:45:00 | 0.57 | 220.807 | 0.913 | 221.301 | 1.495 | 228.033 | 2.481 | 219.867 | -2.049 | 889.55 | 37.52 | 0.31833
2020-12-24 12:00:00 | 2.837 | 215.053 | 2.714 | 214.444 | 2.685 | 215.767 | 2.841 | 212.767 | -1.409 | 889.767 | 33.867 | 0.30696
2020-12-24 12:15:00 | 2.397 | 228.3 | 2.232 | 224.896 | 2.199 | 227.033 | 2.672 | 220.1 | -0.279 | 889.433 | 32.309 | 0.29702
2020-12-24 12:30:00 | 1.446 | 264.167 | 0.589 | 250.595 | 0.729 | 253.8 | 1.459 | 238.267 | 0.233 | 889.55 | 31.008 | 0.3091
2020-12-24 12:45:00 | 1.659 | 296.053 | 1.164 | 290.229 | 1.044 | 289.567 | 1.475 | 277.067 | -0.246 | 889.85 | 30.411 | 0.30057
2020-12-24 13:00:00 | 1.171 | 323.307 | 0.646 | 309.024 | 0.19 | 305.7 | 1.249 | 312.433 | -1.149 | 889.467 | 31.088 | 0.30412
2020-12-24 13:15:00 | 2.538 | 338.64 | 2.388 | 319.575 | 2.307 | 332.067 | 2.475 | 322.6 | -0.778 | 889.6 | 30.693 | 1.4865
2020-12-24 13:30:00 | 2.431 | 219.016 | 1.925 | 208.448 | 2.063 | 188.2 | 2.467 | 209.867 | -0.608 | 889.733 | 31.163 | 2.0137
2020-12-24 13:45:00 | 3.27 | 94.641 | 3.108 | 137.146 | 3.005 | 94.867 | 3.168 | 103.4 | -0.912 | 889.633 | 31.413 | 1.8219
2020-12-24 14:00:00 | 3.32 | 28.22 | 3.115 | 23.266 | 3.237 | 19.067 | 3.137 | 17 | -1.899 | 890.033 | 33.147 | 0.93155
2020-12-24 14:15:00 | 2.997 | 56.057 | 3.054 | 41.051 | 3.41 | 45.3 | 3.796 | 40.567 | -1.812 | 890.1 | 34.027 | 0.21672
2020-12-24 14:30:00 | 3.561 | 55.687 | 3.153 | 45.972 | 3.226 | 45.767 | 3.464 | 37.3 | -2.18 | 889.75 | 31.557 | 0.1144
2020-12-24 14:45:00 | 2.77 | 40.842 | 2.626 | 35.925 | 2.368 | 40.767 | 2.725 | 33.7 | -2.801 | 889.6 | 31.68 | 0.91379
2020-12-24 15:00:00 | 3.476 | 57.092 | 3.413 | 44.118 | 3.367 | 50.867 | 3.559 | 45.933 | -2.491 | 889.6 | 31.637 | 1.6897
2020-12-24 15:15:00 | 4.152 | 62.59 | 3.594 | 49.416 | 3.566 | 54.133 | 3.669 | 49.467 | -2.74 | 890.017 | 30.165 | 2.2084
2020-12-24 15:30:00 | 2.968 | 57.933 | 2.881 | 48.657 | 2.764 | 54.4 | 3.254 | 50 | -3.254 | 889.733 | 30.341 | 0.65088
2020-12-24 15:45:00 | 3.262 | 54.867 | 3.223 | 52.929 | 3.153 | 59.233 | 3.478 | 56.4 | -3.287 | 889.35 | 31.104 | 0.22738
2020-12-24 16:00:00 | 2.764 | 61.987 | 2.547 | 52.446 | 2.563 | 57.033 | 2.882 | 56.667 | -3.18 | 889.4 | 31.211 | 0.27925
2020-12-24 16:15:00 | 2.297 | 40.633 | 2.197 | 30.777 | 2.129 | 33.267 | 2.613 | 32.8 | -3.354 | 889.75 | 31.12 | 0.3162
2020-12-24 16:30:00 | 2.265 | 58.7 | 2.342 | 52.305 | 2.706 | 55.633 | 3.012 | 45.533 | -3.321 | 889.483 | 30.725 | 0.29275
2020-12-24 16:45:00 | 2.409 | 48.733 | 2.171 | 39.519 | 2.037 | 43.533 | 2.199 | 38.333 | -3.504 | 889.7 | 29.936 | 0.28281
2020-12-24 17:00:00 | 1.585 | 70.367 | 1.119 | 55.985 | 0.954 | 58.233 | 1.922 | 59.4 | -3.204 | 889.933 | 29.312 | 0.28138
2020-12-24 17:15:00 | 1.899 | 46.567 | 1.56 | 40.906 | 1.613 | 46.1 | 2.066 | 44.367 | -3.221 | 889.733 | 29.461 | 0.28707
2020-12-24 17:30:00 | 1.733 | 49.667 | 1.326 | 48.022 | 1.534 | 53.867 | 2.003 | 57.567 | -3.421 | 890 | 29.317 | 0.28991
2020-12-24 17:45:00 | 2.256 | 73.033 | 1.806 | 67.165 | 1.724 | 70.433 | 2.093 | 61.167 | -3.672 | 889.833 | 29.013 | 0.28138
2020-12-24 18:00:00 | 1.7 | 85.607 | 1.083 | 79.597 | 1.133 | 76.133 | 1.891 | 73.133 | -3.745 | 889.767 | 29.003 | 0.28707
2020-12-24 18:15:00 | 1.964 | 75.843 | 1.403 | 74.235 | 1.242 | 83.5 | 1.879 | 74.6 | -3.933 | 889.633 | 28.8 | 0.29702
2020-12-24 18:30:00 | 2.613 | 70.033 | 2.721 | 62.098 | 2.604 | 76.567 | 2.155 | 73.167 | -4.935 | 889.9 | 27.733 | 0.29418
2020-12-24 18:45:00 | 2.644 | 72 | 2.565 | 71.235 | 2.158 | 84.533 | 2.136 | 77 | -5.252 | 889.833 | 28.315 | 0.29986
2020-12-24 19:00:00 | 2.237 | 72.267 | 2.159 | 73.343 | 1.586 | 85.633 | 1.832 | 77.8 | -5.535 | 889.7 | 28.651 | 0.29986
2020-12-24 19:15:00 | 1.692 | 92.617 | 2.361 | 86.264 | 1.873 | 89.267 | 1.917 | 78 | -5.898 | 889.883 | 29.115 | 0.30128
2020-12-24 19:30:00 | 2.183 | 126.527 | 1.738 | 116.997 | 1.59 | 123.7 | 2.165 | 99.3 | -6.256 | 889.617 | 31.392 | 0.30128
2020-12-24 19:45:00 | 1.689 | 150.173 | 2.075 | 135.451 | 1.923 | 144 | 2.356 | 121 | -5.687 | 890.017 | 35.125 | 0.29844
2020-12-24 20:00:00 | 2.445 | 166.413 | 1.638 | 135.482 | 1.468 | 138.033 | 1.992 | 121 | -6.585 | 889.5 | 37.515 | 0.29844
2020-12-24 20:15:00 | 2.195 | 165.993 | 1.654 | 115.752 | 1.597 | 113.8 | 1.92 | 120 | -6.242 | 889.767 | 37.781 | 0.29702
2020-12-24 20:30:00 | 2.343 | 186.5 | 0.941 | 138.622 | 0 | 127.867 | 1.174 | 120.033 | -6.462 | 890.017 | 38.528 | 0.29702
2020-12-24 20:45:00 | 3.054 | 196.2 | 1.662 | 153.876 | 1.289 | 128.1 | 1.73 | 120 | -7.289 | 889.6 | 39.2 | 0.29844
2020-12-24 21:00:00 | 3.024 | 198.447 | 1.442 | 155.455 | 0.816 | 141.1 | 1.45 | 120 | -7.147 | 890.183 | 39.339 | 0.29702
2020-12-24 21:15:00 | 2.184 | 198.16 | 1.262 | 155.479 | 1.026 | 141 | 1.499 | 119.933 | -7.419 | 889.767 | 39.717 | 0.29986
2020-12-24 21:30:00 | 1.486 | 210.567 | 0.74 | 138.054 | 0.733 | 140.5 | 1.526 | 119.933 | -7.672 | 889.892 | 41.067 | 0.29844
2020-12-24 21:45:00 | 1.317 | 217.667 | 0 | 133.395 | 0 | 140 | 1.411 | 120 | -7.522 | 889.758 | 41.643 | 0.29844
2020-12-24 22:00:00 | 0.901 | 220.113 | 0 | 133.492 | 0 | 140.967 | 1.368 | 120 | -7.131 | 890.225 | 41.835 | 0.29844
2020-12-24 22:15:00 | 1.964 | 236.607 | 0 | 133.558 | 0 | 140.967 | 0.792 | 120 | -6.83 | 890.108 | 42.869 | 0.29844
2020-12-24 22:30:00 | 1.453 | 233.393 | 0 | 133.444 | 0 | 141 | 0.678 | 120 | -7.17 | 889.858 | 43.168 | 0.29844
2020-12-24 22:45:00 | 2.316 | 222.8 | 0 | 135.476 | 0.336 | 141 | 1.256 | 120 | -6.545 | 889.825 | 42.133 | 0.30128
2020-12-24 23:00:00 | 2.105 | 220.22 | 0.733 | 166.417 | 0.717 | 142.933 | 1.4 | 119.9 | -6.389 | 889.975 | 41.728 | 0.29986
2020-12-24 23:15:00 | 2.542 | 219.447 | 0.374 | 166.499 | 0.517 | 147 | 1.174 | 120 | -6.834 | 889.692 | 41.659 | 0.29844
2020-12-24 23:30:00 | 1.834 | 207.24 | 1.114 | 165.127 | 0.884 | 140.933 | 1.659 | 120 | -6.582 | 890.15 | 41.616 | 0.29844
2020-12-24 23:45:00 | 3.83 | 217.747 | 1.506 | 167.671 | 1.124 | 144.267 | 1.395 | 119.867 | -7.966 | 890.017 | 41.829 | 0.29844