## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-25 00:00:00 | 3.336 | 217.253 | 1.848 | 202.473 | 0.85 | 183.733 | 0.88 | 120 | -7.533 | 890.175 | 42.475 | 0.29702
2020-12-25 00:15:00 | 3.173 | 210.56 | 1.566 | 186.434 | 0 | 172 | 0 | 120.067 | -6.608 | 890.4 | 42.176 | 0.29844
2020-12-25 00:30:00 | 3.264 | 220.247 | 0 | 186.539 | 0 | 172 | 0.259 | 120 | -6.8 | 889.842 | 41.813 | 0.29844
2020-12-25 00:45:00 | 3.404 | 215.167 | 1.624 | 203.686 | 0 | 172 | 0 | 120 | -6.528 | 889.867 | 41.931 | 0.29702
2020-12-25 01:00:00 | 3.511 | 234.527 | 0.136 | 239.766 | 0 | 240.9 | 0.111 | 36.533 | -7.759 | 889.875 | 41.861 | 0.29844
2020-12-25 01:15:00 | 3.625 | 231.4 | 0.938 | 229.951 | 0 | 261.467 | 0.064 | 35.171 | -7.091 | 889.692 | 40.085 | 0.30128
2020-12-25 01:30:00 | 4.11 | 228.333 | 0.668 | 231.468 | 0 | 252.033 | 0.027 | 35.1 | -7.689 | 889.983 | 38.699 | 0.27996
2020-12-25 01:45:00 | 5.595 | 229.1 | 3.481 | 249.717 | 1.671 | 256.8 | 1.216 | 94.383 | -9.312 | 889.917 | 39.565 | 0.31052
2020-12-25 02:00:00 | 4.497 | 235.627 | 2.608 | 265.831 | 2.307 | 311.067 | 2.123 | 285.567 | -10.886 | 889.775 | 46.405 | 0.34249
2020-12-25 02:15:00 | 3.978 | 256.833 | 3.295 | 286.54 | 2.166 | 310 | 2.371 | 297.7 | -10.016 | 889.525 | 47.947 | 0.49527
2020-12-25 02:30:00 | 4.258 | 262.8 | 3.882 | 289.246 | 3.275 | 299.3 | 3.429 | 296.533 | -10.283 | 890.008 | 48.928 | 0.30128
2020-12-25 02:45:00 | 3.212 | 254.48 | 3.025 | 290.782 | 2.496 | 308.2 | 2.76 | 317.067 | -10.801 | 890 | 47.136 | 0.30981
2020-12-25 03:00:00 | 3.086 | 221.233 | 1.735 | 275.081 | 0.98 | 307.267 | 1.296 | 316.6 | -10.199 | 889.783 | 48.832 | 0.30839
2020-12-25 03:15:00 | 2.864 | 270.733 | 2.252 | 280.474 | 0.943 | 306.233 | 1.537 | 316 | -8.908 | 889.625 | 46.843 | 0.30839
2020-12-25 03:30:00 | 3.089 | 262.52 | 2.456 | 277.784 | 2.51 | 294.967 | 2.571 | 295.467 | -10.241 | 889.933 | 47.808 | 0.31265
2020-12-25 03:45:00 | 2.599 | 246.813 | 1.503 | 265.692 | 1.364 | 270 | 1.594 | 293.533 | -8.284 | 889.842 | 44.096 | 0.30554
2020-12-25 04:00:00 | 2.997 | 266.467 | 1.434 | 292.561 | 1.129 | 290.3 | 2.087 | 311.933 | -9.208 | 889.517 | 41.064 | 0.30128
2020-12-25 04:15:00 | 1.891 | 270.787 | 0.6 | 294.501 | 0.986 | 292.233 | 1.788 | 326.033 | -8.941 | 889.525 | 41.619 | 0.30412
2020-12-25 04:30:00 | 2.334 | 243.1 | 0.027 | 293.97 | 0.247 | 292 | 1.676 | 326.067 | -9.241 | 889.875 | 41.749 | 0.31123
2020-12-25 04:45:00 | 1.207 | 240.267 | 0 | 294.898 | 0 | 291.867 | 1.248 | 326 | -8.941 | 889.692 | 42.507 | 0.30412
2020-12-25 05:00:00 | 3.177 | 212.7 | 0 | 284.12 | 0 | 290.6 | 1.262 | 326.033 | -9.808 | 889.9 | 43.045 | 0.30981
2020-12-25 05:15:00 | 3.4 | 218.1 | 0.36 | 265.977 | 0 | 290 | 0.571 | 325.667 | -9.208 | 890.183 | 42.661 | 0.30128
2020-12-25 05:30:00 | 4.054 | 218.167 | 2.627 | 212.201 | 1.763 | 215.5 | 1.825 | 228 | -8.691 | 889.85 | 40.421 | 0.24941
2020-12-25 05:45:00 | 2.936 | 231.367 | 0.992 | 224.472 | 0 | 224 | 0.588 | 227.933 | -8.691 | 889.908 | 40.464 | 0.25794
2020-12-25 06:00:00 | 2.793 | 224.74 | 0.343 | 223.712 | 0.06 | 224.133 | 1.743 | 228.167 | -9.283 | 889.717 | 40.091 | 0.12364
2020-12-25 06:15:00 | 3.925 | 227.28 | 2.373 | 229.704 | 1.288 | 241.367 | 1.797 | 243.1 | -11.343 | 889.817 | 45.547 | 0.54216
2020-12-25 06:30:00 | 3.783 | 259.147 | 2.427 | 269.849 | 1.754 | 280.267 | 2.206 | 284.167 | -9.299 | 889.558 | 44.331 | 1.5881
2020-12-25 06:45:00 | 3.702 | 290.467 | 3.422 | 304.046 | 3.774 | 323.567 | 4.415 | 325.967 | -7.19 | 889.758 | 39.941 | 0.30057
2020-12-25 07:00:00 | 2.977 | 296.96 | 3.332 | 320.76 | 3.391 | 325.267 | 3.681 | 328.867 | -8.484 | 890.017 | 41.056 | 0.16272
2020-12-25 07:15:00 | 2.672 | 274.207 | 2.37 | 306.34 | 2.434 | 315.1 | 2.93 | 314.533 | -8.721 | 889.767 | 44.341 | 0.29915
2020-12-25 07:30:00 | 2.947 | 235.453 | 2.223 | 276.253 | 2.45 | 298.4 | 2.945 | 294.433 | -9.604 | 890.083 | 46.72 | 1.7494
2020-12-25 07:45:00 | 4.174 | 228.307 | 3.379 | 235.576 | 2.92 | 250.767 | 3.14 | 254 | -9.383 | 889.867 | 47.328 | 2.0265
2020-12-25 08:00:00 | 4.328 | 225.833 | 3.796 | 224.239 | 3.655 | 231 | 3.373 | 239.733 | -8.691 | 890.033 | 44.064 | 1.1177
2020-12-25 08:15:00 | 4.712 | 219.533 | 3.725 | 217.7 | 3.02 | 233.4 | 2.941 | 243.467 | -9.191 | 889.75 | 44.299 | 1.5348
2020-12-25 08:30:00 | 5.098 | 219 | 3.472 | 226.666 | 2.785 | 249.867 | 2.974 | 265.767 | -9.324 | 890.017 | 45.248 | 0.59048
2020-12-25 08:45:00 | 4.638 | 222.467 | 3.364 | 240.266 | 2.775 | 265.133 | 3.139 | 278.533 | -9.108 | 890.308 | 45.589 | 0.19683
2020-12-25 09:00:00 | 4.136 | 225.633 | 2.494 | 251.955 | 2.172 | 275.8 | 2.294 | 281.3 | -9.374 | 889.867 | 46.24 | 0.31833
2020-12-25 09:15:00 | 3.318 | 234.3 | 1.973 | 262.444 | 1.616 | 280 | 2.116 | 293 | -7.672 | 889.933 | 44.421 | 0.23733
2020-12-25 09:30:00 | 2.354 | 237.34 | 0.937 | 256.271 | 0.057 | 270.133 | 1.558 | 289.5 | -6.913 | 889.85 | 41.947 | 0.29275
2020-12-25 09:45:00 | 1.366 | 269.133 | 0.626 | 292.953 | 0 | 271.433 | 0.907 | 290.5 | -6.512 | 889.958 | 42.229 | 0.30128
2020-12-25 10:00:00 | 1.796 | 286.907 | 2.046 | 293.052 | 2.183 | 294.1 | 2.262 | 286.333 | -6.638 | 889.742 | 42.267 | 0.29844
2020-12-25 10:15:00 | 2.016 | 304.547 | 2.279 | 308.037 | 1.808 | 308.633 | 1.863 | 304.867 | -6.598 | 890.183 | 42.688 | 0.30554
2020-12-25 10:30:00 | 0.976 | 309.707 | 1.316 | 315.924 | 1.099 | 316.7 | 1.735 | 325.767 | -7.051 | 890.117 | 42.933 | 0.31123
2020-12-25 10:45:00 | 0 | 312.8 | 0 | 326.97 | 0 | 335 | 0.658 | 326 | -6.495 | 889.3 | 42.699 | 0.3027
2020-12-25 11:00:00 | 0.636 | 350.507 | 0.642 | 350.529 | 0 | 334.933 | 1.536 | 326 | -6.754 | 890.142 | 42.373 | 0.29702
2020-12-25 11:15:00 | 0.179 | 306.48 | 0.023 | 353.184 | 0 | 334.633 | 0.443 | 326 | -6.682 | 889.75 | 41.728 | 0.2956
2020-12-25 11:30:00 | 1.444 | 210.8 | 0 | 352.895 | 0 | 333.8 | 0 | 326.033 | -6.346 | 890.742 | 41.136 | 0.2956
2020-12-25 11:45:00 | 1.344 | 194.753 | 0 | 235.277 | 0 | 333.867 | 0 | 326.033 | -5.645 | 889.708 | 40.976 | 0.29702
2020-12-25 12:00:00 | 1.156 | 193.267 | 0 | 192.568 | 0 | 334 | 1.127 | 322 | -5.352 | 889.683 | 40.064 | 0.29844
2020-12-25 12:15:00 | 0.788 | 193.173 | 0 | 192.529 | 0 | 308.133 | 0.906 | 322.967 | -4.656 | 889.417 | 39.579 | 0.29702
2020-12-25 12:30:00 | 1.539 | 206.253 | 0.527 | 199.443 | 0 | 216 | 1.212 | 322 | -2.495 | 889.75 | 35.125 | 0.29702
2020-12-25 12:45:00 | 1.175 | 215.28 | 0.34 | 210.538 | 0.14 | 223.033 | 1.007 | 311.267 | -2.34 | 890.233 | 33.12 | 0.29133
2020-12-25 13:00:00 | 1.015 | 221.647 | 0.14 | 213.36 | 0 | 223.967 | 0.943 | 282 | -0.838 | 890.183 | 29.461 | 0.29275
2020-12-25 13:15:00 | 0 | 148.933 | 0 | 193.606 | 0 | 216.967 | 0.074 | 172.033 | -0.439 | 889.583 | 25.979 | 0.29275
2020-12-25 13:30:00 | 1.168 | 231.427 | 0.247 | 222.28 | 0.366 | 250.967 | 1.178 | 173.283 | 0.416 | 889.683 | 24.059 | 0.29986
2020-12-25 13:45:00 | 1.763 | 302.567 | 1.281 | 295.307 | 1.314 | 286.483 | 1.742 | 280.983 | 0.377 | 889.783 | 22.789 | 0.29986
2020-12-25 14:00:00 | 0.97 | 212.38 | 0.497 | 216.917 | 0.429 | 213.933 | 1.41 | 220.7 | 0.815 | 889.967 | 23.76 | 0.29418
2020-12-25 14:15:00 | 2.323 | 298.507 | 1.897 | 291.143 | 1.812 | 300.667 | 2.297 | 297.267 | 0.226 | 889.733 | 23.371 | 0.29773
2020-12-25 14:30:00 | 2.529 | 295.6 | 2.097 | 287.803 | 1.943 | 290.3 | 2.281 | 290.9 | -0.276 | 889.683 | 24.752 | 0.35884
2020-12-25 14:45:00 | 3.265 | 320.133 | 3.014 | 311.337 | 2.88 | 308.533 | 3.38 | 303.2 | -0.478 | 889.85 | 25.389 | 1.667
2020-12-25 15:00:00 | 2.554 | 303.667 | 2.367 | 299.28 | 2.295 | 307.733 | 2.706 | 306.633 | -0.518 | 889.833 | 25.984 | 1.5426
2020-12-25 15:15:00 | 2.553 | 337.747 | 2.367 | 330.7 | 2.356 | 332.933 | 2.747 | 328.933 | -0.05 | 889.783 | 26.296 | 1.3181
2020-12-25 15:30:00 | 3.571 | 194.427 | 3.428 | 274.809 | 3.394 | 265.067 | 3.594 | 333.4 | 0.116 | 889.533 | 27.12 | 1.5
2020-12-25 15:45:00 | 2.814 | 142.648 | 2.664 | 234.118 | 2.638 | 233.867 | 3.056 | 221.233 | -0.043 | 889.667 | 27.645 | 2.6305
2020-12-25 16:00:00 | 2.937 | 71.073 | 2.645 | 36.093 | 2.825 | 86.3 | 3.042 | 54.467 | -0.176 | 889.767 | 28.005 | 0.60469
2020-12-25 16:15:00 | 4.234 | 51.598 | 3.699 | 43.372 | 3.792 | 44.2 | 4.018 | 38.367 | -1.72 | 889.517 | 29.616 | 0.22312
2020-12-25 16:30:00 | 2.931 | 56.357 | 2.72 | 44.037 | 2.652 | 46.7 | 2.918 | 40.833 | -1.952 | 889.683 | 30.629 | 0.26291
2020-12-25 16:45:00 | 2.662 | 47.72 | 2.491 | 39.682 | 2.336 | 40.333 | 2.668 | 33.533 | -2.727 | 890.117 | 31.472 | 0.28067
2020-12-25 17:00:00 | 2.379 | 53.832 | 2.023 | 47.246 | 2.031 | 49.767 | 2.428 | 41.367 | -2.221 | 889.567 | 31.984 | 0.26575
2020-12-25 17:15:00 | 1.9 | 56.535 | 1.641 | 45.081 | 1.675 | 46.567 | 2.371 | 39.533 | -2.862 | 889.817 | 32.363 | 0.26291
2020-12-25 17:30:00 | 1.052 | 42.655 | 0.343 | 39.132 | 0.11 | 48.9 | 1.104 | 31 | -2.76 | 889.683 | 32.853 | 0.28138
2020-12-25 17:45:00 | 1.306 | 93.08 | 0.254 | 70.542 | 0.103 | 78.033 | 1.202 | 31.033 | -2.639 | 889.883 | 33.109 | 0.27428
2020-12-25 18:00:00 | 0 | 82.12 | 0 | 66.755 | 0 | 43.867 | 1.427 | 28.3 | -2.844 | 890.083 | 33.973 | 0.27854
2020-12-25 18:15:00 | 0.941 | 92.03 | 0.06 | 76.221 | 0 | 89 | 0.47 | 29.833 | -3.06 | 889.617 | 34.635 | 0.28707
2020-12-25 18:30:00 | 0 | 92 | 0 | 76.258 | 0 | 88.867 | 0 | 30 | -3.656 | 889.817 | 36.011 | 0.29133
2020-12-25 18:45:00 | 0 | 92.033 | 0 | 76.231 | 0 | 32.633 | 0.423 | 28.367 | -4.172 | 889.017 | 38.512 | 0.2956
2020-12-25 19:00:00 | 0 | 196.655 | 0 | 0 | 0 | 338.533 | 0.903 | 350.933 | -4.387 | 890.083 | 39.253 | 0.29133
2020-12-25 19:15:00 | 0 | 340.4 | 0 | 0 | 0 | 339 | 0 | 350.933 | -4.785 | 889.583 | 40.539 | 0.29844
2020-12-25 19:30:00 | 1.001 | 289.8 | 0 | 0 | 0 | 338.1 | 1.168 | 350.867 | -5.235 | 889.917 | 41.888 | 0.2956
2020-12-25 19:45:00 | 1.511 | 235.2 | 0 | 289.174 | 0 | 312 | 1.165 | 320.867 | -5.019 | 889.792 | 40.965 | 0.29844
2020-12-25 20:00:00 | 1.394 | 235.267 | 0 | 288.964 | 0 | 312 | 1.411 | 321 | -4.969 | 889.383 | 41.072 | 0.25651
2020-12-25 20:15:00 | 1.46 | 244.5 | 0 | 289.112 | 0 | 312.067 | 1.172 | 320.967 | -5.202 | 889.833 | 41.136 | 0.28849
2020-12-25 20:30:00 | 1.829 | 255.16 | 0.889 | 264.877 | 0 | 298.633 | 1.605 | 320.8 | -5.102 | 890.208 | 41.253 | 0.2892
2020-12-25 20:45:00 | 3.437 | 244.867 | 2.073 | 259.02 | 1.957 | 260.133 | 2.42 | 260.967 | -5.402 | 889.633 | 40.573 | 0.30128
2020-12-25 21:00:00 | 4.304 | 237.033 | 3.084 | 256.288 | 2.919 | 253.333 | 3.194 | 246.317 | -7.307 | 889.283 | 39.501 | 0.29844
2020-12-25 21:15:00 | 3.906 | 218.367 | 1.759 | 233.046 | 1.109 | 250 | 1.972 | 243.033 | -6.843 | 889.55 | 38.811 | 0.30412
2020-12-25 21:30:00 | 3.434 | 199.927 | 2.032 | 228.399 | 0.68 | 255.567 | 0.849 | 249.633 | -9.766 | 890.033 | 43.445 | 0.25865
2020-12-25 21:45:00 | 4.817 | 205.007 | 1.595 | 214.694 | 0.706 | 236.2 | 1.305 | 250 | -9.745 | 889.508 | 45.568 | 0.8541
2020-12-25 22:00:00 | 6.078 | 216.8 | 4.434 | 229.033 | 3.114 | 224.2 | 2.94 | 222.767 | -10.216 | 890.217 | 46.368 | 2.0812
2020-12-25 22:15:00 | 6.077 | 228.4 | 3.197 | 238.974 | 2.539 | 233.467 | 2.317 | 236.967 | -8.591 | 890.242 | 43.349 | 0.64448
2020-12-25 22:30:00 | 6.323 | 225.32 | 4.064 | 243.271 | 3.084 | 242.933 | 2.76 | 231 | -8.297 | 889.783 | 42.123 | 0.41852
2020-12-25 22:45:00 | 5.792 | 226.567 | 3.274 | 233.334 | 2.218 | 250.167 | 2.441 | 252.9 | -7.506 | 890 | 41.061 | 1.7274
2020-12-25 23:00:00 | 6.135 | 222.2 | 4.474 | 231.29 | 2.689 | 238.967 | 2.479 | 253.133 | -8.09 | 889.758 | 42.016 | 3.2565
2020-12-25 23:15:00 | 7.102 | 220.733 | 4.475 | 225.487 | 3.926 | 226.867 | 3.515 | 219.8 | -8.791 | 889.933 | 43.253 | 5.3321
2020-12-25 23:30:00 | 6.48 | 220.907 | 4.594 | 226.703 | 4.136 | 232.867 | 3.801 | 229.867 | -9.883 | 889.608 | 46.272 | 7.7445
2020-12-25 23:45:00 | 6.686 | 223.5 | 5.568 | 228.474 | 5.161 | 233.067 | 4.822 | 226.2 | -10.283 | 889.692 | 46.837 | 9.7532