## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-26 00:00:00 | 6.352 | 224.1 | 5.448 | 234.387 | 5.138 | 240.367 | 4.906 | 235.9 | -10.299 | 890.283 | 46.827 | 11.5339
2020-12-26 00:15:00 | 7.12 | 224.367 | 6.1 | 229.978 | 5.814 | 236.567 | 5.584 | 234.933 | -10.333 | 889.825 | 47.339 | 12.0576
2020-12-26 00:30:00 | 7.066 | 225.52 | 6.318 | 236.702 | 5.954 | 243.8 | 5.74 | 242.633 | -9.724 | 889.942 | 46.197 | 9.5799
2020-12-26 00:45:00 | 6.469 | 222.427 | 6.159 | 239.713 | 5.896 | 248.1 | 5.691 | 248.567 | -10.074 | 889.317 | 46.688 | 5.0443
2020-12-26 01:00:00 | 6.624 | 221.7 | 5.709 | 236.952 | 5.265 | 247.767 | 5.086 | 248.333 | -10.299 | 889.833 | 46.997 | 2.4692
2020-12-26 01:15:00 | 6.724 | 220.233 | 5.156 | 234.389 | 4.512 | 246.2 | 4.27 | 248.033 | -10.299 | 889.8 | 47.488 | 0.45263
2020-12-26 01:30:00 | 6.647 | 219.567 | 4.515 | 228.431 | 3.453 | 240.733 | 3.178 | 248 | -10.299 | 890.117 | 47.179 | 2.1566
2020-12-26 01:45:00 | 6.91 | 222.3 | 5.118 | 227.412 | 4.306 | 238.367 | 3.627 | 234.667 | -10.483 | 890.217 | 47.253 | 3
2020-12-26 02:00:00 | 6.579 | 224 | 5.185 | 233.027 | 4.138 | 242.3 | 3.505 | 244.633 | -10.499 | 889.908 | 47.403 | 4.1618
2020-12-26 02:15:00 | 6.981 | 223.733 | 6.041 | 233.116 | 4.848 | 241.867 | 4.021 | 243.467 | -10.316 | 889.892 | 47.499 | 3.7681
2020-12-26 02:30:00 | 6.686 | 222.933 | 5.093 | 237.497 | 4.129 | 249.6 | 3.663 | 252.283 | -10.399 | 889.55 | 47.2 | 2.6824
2020-12-26 02:45:00 | 6.635 | 224.227 | 5.209 | 239.317 | 4.049 | 252.267 | 3.584 | 254.717 | -10.853 | 889.967 | 47.563 | 1.4325
2020-12-26 03:00:00 | 6.576 | 222.613 | 4.593 | 243.612 | 3.449 | 252.167 | 2.849 | 250.467 | -10.778 | 890.217 | 48.331 | 0.85055
2020-12-26 03:15:00 | 6.453 | 221.767 | 4.859 | 238.763 | 3.837 | 248.833 | 2.977 | 250 | -11.211 | 889.425 | 48.725 | 0.45476
2020-12-26 03:30:00 | 6.819 | 220.333 | 4.463 | 237.358 | 3.455 | 251.5 | 2.738 | 254.067 | -10.797 | 890.275 | 48.501 | 0.099479
2020-12-26 03:45:00 | 6.594 | 224.773 | 3.287 | 246.47 | 2.173 | 259.333 | 2.262 | 268.467 | -10.834 | 890.083 | 48.491 | 0.20322
2020-12-26 04:00:00 | 6.267 | 226.94 | 3.248 | 251.211 | 1.787 | 264.733 | 2.144 | 276.7 | -11.055 | 889.592 | 49.077 | 0.28281
2020-12-26 04:15:00 | 6.246 | 225.5 | 3.511 | 246.191 | 2.384 | 270.4 | 2.271 | 298.6 | -11.545 | 889.792 | 49.472 | 0.15277
2020-12-26 04:30:00 | 6.099 | 223.04 | 3.94 | 243.925 | 2.864 | 263.233 | 2.692 | 281.567 | -11.486 | 889.717 | 50.112 | 0.20749
2020-12-26 04:45:00 | 6.067 | 220.267 | 3.495 | 235.338 | 2.785 | 252.167 | 2.269 | 262.1 | -11.528 | 889.583 | 51.147 | 0.32402
2020-12-26 05:00:00 | 5.475 | 221.533 | 2.666 | 244.778 | 1.804 | 266.1 | 1.793 | 272.033 | -11.461 | 889.9 | 51.04 | 0.32686
2020-12-26 05:15:00 | 5.195 | 225.16 | 1.5 | 240.144 | 0 | 280.467 | 1.098 | 334.467 | -9.974 | 889.375 | 48.075 | 0.31407
2020-12-26 05:30:00 | 5.873 | 222.04 | 2.344 | 236.493 | 1.178 | 251.133 | 1.131 | 327.533 | -10.834 | 889.892 | 48.683 | 0.31123
2020-12-26 05:45:00 | 6.259 | 220.767 | 3.326 | 224.23 | 2.379 | 234.033 | 2.27 | 236.5 | -10.797 | 890.192 | 48.181 | 0.29489
2020-12-26 06:00:00 | 6.461 | 221.053 | 2.963 | 231.867 | 1.628 | 255.833 | 1.902 | 251.933 | -10.909 | 889.625 | 49.248 | 0.28067
2020-12-26 06:15:00 | 6.161 | 219.987 | 2.349 | 237.762 | 1.371 | 245.433 | 1.815 | 237.533 | -11.12 | 889.867 | 49.931 | 0.13998
2020-12-26 06:30:00 | 7.152 | 220.593 | 3.565 | 224.203 | 2.523 | 237.3 | 2.466 | 239.6 | -11.474 | 890.1 | 50.944 | 0.14922
2020-12-26 06:45:00 | 6.887 | 218.4 | 3.828 | 222.532 | 2.602 | 237.1 | 2.471 | 247.967 | -11.89 | 890.075 | 52.149 | 0.25154
2020-12-26 07:00:00 | 7.315 | 220.327 | 4.93 | 220.048 | 4.121 | 226.567 | 3.631 | 227.367 | -11.474 | 890.025 | 52.288 | 0.47679
2020-12-26 07:15:00 | 6.833 | 220.7 | 3.069 | 233.012 | 2.54 | 247.267 | 2.779 | 248.333 | -11.511 | 889.975 | 51.147 | 0.56845
2020-12-26 07:30:00 | 6.986 | 221.54 | 3.442 | 226.018 | 2.296 | 238.367 | 2.166 | 243.5 | -11.57 | 889.975 | 51.125 | 0.57911
2020-12-26 07:45:00 | 7.048 | 220.047 | 4.42 | 218.413 | 3.152 | 225.233 | 2.446 | 220.4 | -11.87 | 889.742 | 52.501 | 1.3309
2020-12-26 08:00:00 | 6.801 | 221.28 | 3.483 | 235.515 | 2.647 | 248.633 | 2.374 | 243.583 | -11.766 | 890.033 | 52.181 | 1.7949
2020-12-26 08:15:00 | 7.335 | 219.8 | 4.047 | 226.262 | 3.188 | 232.4 | 3.074 | 230.567 | -12.203 | 889.817 | 52.299 | 2.5794
2020-12-26 08:30:00 | 7.409 | 220.647 | 4.549 | 226.781 | 3.21 | 233.7 | 2.933 | 231.333 | -11.87 | 889.542 | 52.181 | 5.3548
2020-12-26 08:45:00 | 7.603 | 219.167 | 5.18 | 226.604 | 4.077 | 234.567 | 3.131 | 231.133 | -12.203 | 889.817 | 51.701 | 5.4394
2020-12-26 09:00:00 | 7.638 | 219.2 | 5.996 | 222.379 | 4.561 | 229.9 | 3.771 | 234.767 | -11.511 | 889.808 | 50.4 | 5.2426
2020-12-26 09:15:00 | 7.305 | 218.733 | 6.048 | 219.72 | 4.627 | 225.3 | 3.831 | 224.867 | -11.428 | 889.9 | 49.003 | 4.9249
2020-12-26 09:30:00 | 7.241 | 219.833 | 6.182 | 220.046 | 4.72 | 225.8 | 3.796 | 227.8 | -11.395 | 889.525 | 48.896 | 4.0985
2020-12-26 09:45:00 | 6.998 | 219.6 | 5.432 | 223.851 | 4.259 | 233.867 | 3.679 | 240.033 | -11.428 | 889.775 | 48.043 | 4.1696
2020-12-26 10:00:00 | 7.155 | 219.887 | 5.313 | 223.621 | 3.915 | 234.1 | 3.506 | 239.5 | -10.986 | 889.95 | 47.317 | 6.0576
2020-12-26 10:15:00 | 6.774 | 222.68 | 6.732 | 224.125 | 5.318 | 231.7 | 4.321 | 231.567 | -9.787 | 889.992 | 46.08 | 5.2262
2020-12-26 10:30:00 | 6.553 | 219.5 | 5.451 | 227.141 | 4.639 | 234.833 | 4.216 | 234.9 | -9.308 | 890.008 | 44.715 | 3.6779
2020-12-26 10:45:00 | 5.558 | 219.367 | 4.894 | 226.201 | 4.344 | 234.367 | 4.193 | 233 | -8.724 | 889.992 | 43.893 | 2.3001
2020-12-26 11:00:00 | 5.598 | 221.867 | 4.815 | 226.457 | 4.242 | 233 | 3.717 | 228.533 | -7.173 | 889.608 | 41.355 | 1.1682
2020-12-26 11:15:00 | 4.662 | 222.133 | 3.845 | 230.811 | 3.443 | 236.9 | 3.219 | 235.567 | -5.452 | 889.733 | 38.635 | 0.37944
2020-12-26 11:30:00 | 3.714 | 223.773 | 3.736 | 229.816 | 3.301 | 238.7 | 3.153 | 236.9 | -4.076 | 889.7 | 36.155 | 0.30057
2020-12-26 11:45:00 | 3.278 | 223.627 | 2.582 | 228.369 | 2.104 | 240.867 | 2.116 | 232.8 | -2.639 | 889.583 | 33.211 | 0.30554
2020-12-26 12:00:00 | 2.174 | 232.787 | 2.009 | 233.258 | 1.901 | 242.767 | 2.069 | 243.7 | -1.065 | 889.517 | 30.688 | 0.29986
2020-12-26 12:15:00 | 1.656 | 228.047 | 1.15 | 233.364 | 1.057 | 236.267 | 1.771 | 230.233 | 0.765 | 889.717 | 27.376 | 0.2956
2020-12-26 12:30:00 | 1.462 | 270.627 | 1.213 | 270.137 | 1.138 | 274.933 | 1.869 | 267.3 | 0.785 | 889.883 | 25.096 | 0.28138
2020-12-26 12:45:00 | 1.895 | 293.72 | 1.677 | 285.061 | 1.759 | 284.967 | 2.227 | 281.633 | -0.482 | 889.483 | 25.421 | 0.15135
2020-12-26 13:00:00 | 2.544 | 301.493 | 2.307 | 291.576 | 2.413 | 296.567 | 2.801 | 290.633 | -0.605 | 889.483 | 25.915 | 0.69067
2020-12-26 13:15:00 | 2.993 | 320.267 | 2.803 | 311.658 | 2.934 | 312.167 | 3.224 | 305.7 | -0.216 | 890.15 | 25.779 | 2.9822
2020-12-26 13:30:00 | 3.768 | 314.187 | 3.749 | 305.992 | 3.845 | 312.833 | 4.051 | 313.633 | -0.422 | 890.017 | 26.467 | 5.082
2020-12-26 13:45:00 | 3.544 | 328.507 | 3.732 | 321.148 | 3.792 | 324.133 | 4.079 | 318.533 | -0.465 | 889.85 | 27.061 | 5.6305
2020-12-26 14:00:00 | 3.495 | 317.267 | 3.496 | 309.633 | 3.762 | 315.667 | 4.167 | 319.3 | -0.598 | 889.883 | 27.408 | 6.7326
2020-12-26 14:15:00 | 3.528 | 310.227 | 3.445 | 306.52 | 3.511 | 311.867 | 3.831 | 312.567 | -0.149 | 889.45 | 27.184 | 9.7156
2020-12-26 14:30:00 | 4.766 | 318.293 | 4.95 | 307.902 | 5.11 | 309.667 | 5.572 | 304.8 | 0.166 | 889.95 | 26.688 | 11.7542
2020-12-26 14:45:00 | 5.025 | 308.36 | 5.099 | 302.826 | 5.471 | 304.7 | 5.842 | 301.767 | 0.316 | 889.783 | 26.859 | 14.293
2020-12-26 15:00:00 | 5.534 | 310.2 | 5.583 | 306.166 | 5.829 | 309.8 | 6.174 | 307.333 | 0.249 | 890.033 | 26.312 | 18.2054
2020-12-26 15:15:00 | 5.72 | 321.653 | 5.686 | 315.01 | 5.809 | 318.167 | 5.814 | 313.3 | 0.15 | 889.567 | 26.317 | 16.0183
2020-12-26 15:30:00 | 5.869 | 315.813 | 6.039 | 310.1 | 6.118 | 314.7 | 6.377 | 314.733 | 0.532 | 889.867 | 26.011 | 14.6156
2020-12-26 15:45:00 | 5.926 | 320.213 | 6.448 | 317.381 | 6.732 | 321 | 6.995 | 316.3 | 0.566 | 889.85 | 26.091 | 17.7784
2020-12-26 16:00:00 | 6.154 | 320.68 | 6.273 | 315.335 | 6.586 | 319.933 | 6.891 | 319.2 | 0.399 | 889.417 | 26.107 | 19.1555
2020-12-26 16:15:00 | 7.138 | 314.96 | 7.33 | 308.007 | 7.392 | 311.867 | 7.688 | 309.833 | 0.366 | 889.633 | 25.941 | 15.349
2020-12-26 16:30:00 | 6.669 | 311.773 | 6.898 | 304.56 | 7.104 | 308.9 | 7.58 | 308.567 | 0.233 | 889.583 | 25.832 | 11.2874
2020-12-26 16:45:00 | 6.192 | 327.293 | 6.296 | 319.446 | 6.455 | 323.467 | 6.703 | 319.3 | 0.15 | 889.35 | 26.048 | 14.1168
2020-12-26 17:00:00 | 5.24 | 312.533 | 5.283 | 308.365 | 5.6 | 313.667 | 6.068 | 313.567 | -0.033 | 889.967 | 26.043 | 15.8613
2020-12-26 17:15:00 | 4.801 | 317.627 | 4.845 | 306.028 | 5.094 | 308.333 | 5.454 | 304.867 | -0.149 | 889.433 | 26.021 | 15.2665
2020-12-26 17:30:00 | 4.59 | 303.707 | 4.668 | 295.52 | 4.904 | 298.533 | 5.345 | 294.467 | -0.166 | 889.783 | 25.835 | 12.646
2020-12-26 17:45:00 | 5.062 | 297.827 | 5.316 | 292.922 | 5.604 | 297.433 | 5.95 | 295.6 | -0.083 | 889.6 | 25.971 | 12.1073
2020-12-26 18:00:00 | 4.362 | 315.893 | 4.922 | 308.227 | 5.442 | 311.567 | 5.717 | 309.633 | -0.585 | 889.867 | 26.347 | 13.5427
2020-12-26 18:15:00 | 4.137 | 309.267 | 4.662 | 302.196 | 5.139 | 306.633 | 5.535 | 304.067 | -1.048 | 889.817 | 27.76 | 10.596
2020-12-26 18:30:00 | 3.601 | 323.627 | 3.901 | 313.604 | 4.277 | 315.8 | 5.009 | 309.433 | -1.346 | 889.883 | 28.677 | 7.8432
2020-12-26 18:45:00 | 3.426 | 298.587 | 4.047 | 294.503 | 4.634 | 297.9 | 5.225 | 294.833 | -1.815 | 889.433 | 29.605 | 5.8622
2020-12-26 19:00:00 | 3.673 | 290.96 | 4.032 | 290.728 | 4.392 | 294.833 | 4.862 | 292.6 | -2.164 | 889.367 | 31 | 3.3567
2020-12-26 19:15:00 | 3.03 | 277.907 | 3.674 | 286.481 | 4.212 | 296.233 | 4.674 | 291.733 | -2.882 | 889.717 | 32.88 | 2.654
2020-12-26 19:30:00 | 1.764 | 290.653 | 3.222 | 276.736 | 3.846 | 284.967 | 4.217 | 284.767 | -4.268 | 889.767 | 34.701 | 5.0322
2020-12-26 19:45:00 | 2.596 | 267.347 | 3.679 | 266.341 | 3.678 | 281.533 | 4.034 | 284.5 | -5.602 | 889.533 | 37.112 | 7.5547
2020-12-26 20:00:00 | 4.432 | 233.813 | 4.836 | 247.696 | 4.375 | 264 | 4.396 | 266.767 | -6.104 | 889.95 | 39.92 | 10.6208
2020-12-26 20:15:00 | 4.889 | 239.667 | 4.971 | 255.228 | 4.741 | 263.533 | 4.801 | 263.833 | -5.352 | 889.667 | 39.581 | 12.371
2020-12-26 20:30:00 | 5.228 | 248.533 | 5.392 | 263.239 | 5.555 | 273.133 | 5.973 | 270.3 | -5.502 | 889.417 | 39.555 | 11.9553
2020-12-26 20:45:00 | 5.262 | 248.287 | 5.605 | 266.074 | 5.746 | 276.867 | 6.334 | 277.167 | -5.561 | 890.383 | 40.091 | 11.0102
2020-12-26 21:00:00 | 5.615 | 249.9 | 5.584 | 260.188 | 5.561 | 271.333 | 5.87 | 272 | -5.469 | 889.708 | 40.587 | 8.9965
2020-12-26 21:15:00 | 5.068 | 252.367 | 5.708 | 268.469 | 5.771 | 278.833 | 6.008 | 279 | -5.601 | 889.75 | 40.413 | 7.8702
2020-12-26 21:30:00 | 4.592 | 240.48 | 5.807 | 263.74 | 5.664 | 274.533 | 5.908 | 273.833 | -6.784 | 889.9 | 42.341 | 7.8397
2020-12-26 21:45:00 | 5.112 | 237.887 | 5.466 | 264.868 | 5.492 | 275.667 | 5.925 | 273.6 | -7.266 | 890.008 | 44.363 | 10.3579
2020-12-26 22:00:00 | 3.947 | 249.22 | 5.582 | 278.463 | 6.032 | 293.133 | 6.606 | 294.067 | -7.068 | 889.742 | 44.795 | 10.8425
2020-12-26 22:15:00 | 4.492 | 267.333 | 6.222 | 285.791 | 6.538 | 289.6 | 7.087 | 289.133 | -7.639 | 889.692 | 45.872 | 14.7457
2020-12-26 22:30:00 | 4.565 | 281.08 | 6.492 | 293.892 | 6.744 | 299.933 | 7.246 | 294.367 | -7.293 | 889.867 | 45.728 | 17.3954
2020-12-26 22:45:00 | 5.223 | 282.6 | 6.219 | 296.628 | 6.791 | 299.267 | 7.542 | 294.6 | -7.756 | 889.967 | 46.971 | 17.9496
2020-12-26 23:00:00 | 5.296 | 279.6 | 6.374 | 293.556 | 6.813 | 295.6 | 7.469 | 291.767 | -7.506 | 890.108 | 45.835 | 12.4115
2020-12-26 23:15:00 | 5.112 | 265.28 | 5.35 | 291.254 | 5.699 | 296.167 | 6.176 | 291.867 | -8.538 | 889.742 | 47.36 | 10.4446
2020-12-26 23:30:00 | 5.478 | 272 | 5.348 | 288.071 | 5.673 | 292.367 | 6.311 | 289.4 | -8.424 | 890.025 | 48.197 | 12.5749
2020-12-26 23:45:00 | 5.637 | 270.813 | 5.402 | 286.533 | 5.76 | 290.767 | 6.42 | 290.367 | -8.271 | 889.342 | 46.912 | 15.7938