## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-27 00:00:00 | 6.326 | 278.867 | 6.212 | 282.909 | 6.986 | 288.4 | 7.57 | 289.367 | -7.19 | 889.5 | 44.437 | 14.7535
2020-12-27 00:15:00 | 6.157 | 275.027 | 6.059 | 278.245 | 6.474 | 281.567 | 7.038 | 280.667 | -6.933 | 889.75 | 44.251 | 15.813
2020-12-27 00:30:00 | 5.514 | 275.427 | 5.801 | 286.072 | 6.126 | 291.067 | 6.735 | 288.033 | -8 | 889.75 | 45.893 | 25.3331
2020-12-27 00:45:00 | 5.596 | 272.467 | 5.884 | 286.742 | 6.449 | 289.633 | 7.313 | 288.233 | -8.491 | 890.358 | 48.021 | 38.1354
2020-12-27 01:00:00 | 5.651 | 273.627 | 6.828 | 285.305 | 7.13 | 288.1 | 7.772 | 285.533 | -8.384 | 890.133 | 48.491 | 45.3818
2020-12-27 01:15:00 | 6.081 | 276.613 | 6.66 | 279.996 | 7.039 | 281.7 | 7.609 | 279.7 | -8.488 | 889.467 | 48.101 | 55.4384
2020-12-27 01:30:00 | 6.286 | 268.133 | 7.6 | 274.23 | 7.708 | 275.433 | 8.32 | 271.4 | -8.558 | 889.6 | 44.384 | 75.0159
2020-12-27 01:45:00 | 7.626 | 261.84 | 8.812 | 265.477 | 9.411 | 270 | 10.206 | 267.133 | -8.371 | 889.517 | 42.027 | 87.2555
2020-12-27 02:00:00 | 7.885 | 262.513 | 9.73 | 266.101 | 10.216 | 268.267 | 10.865 | 265.833 | -8 | 889.642 | 41.547 | 93.7713
2020-12-27 02:15:00 | 7.775 | 273.747 | 9.997 | 269.021 | 10.599 | 271.667 | 11.115 | 268.6 | -7.111 | 889.958 | 40.547 | 95.3595
2020-12-27 02:30:00 | 8.232 | 271.267 | 10.21 | 267.396 | 10.655 | 270.233 | 11.052 | 266.9 | -6.462 | 890.217 | 39.568 | 91.2836
2020-12-27 02:45:00 | 9.07 | 270.067 | 10.733 | 265.37 | 11.259 | 269.467 | 11.718 | 267.033 | -6.096 | 890.017 | 37.635 | 88.5302
2020-12-27 03:00:00 | 8.553 | 265.36 | 10.427 | 263.334 | 11.205 | 266 | 11.811 | 262.833 | -5.971 | 889.7 | 37.576 | 83.1164
2020-12-27 03:15:00 | 8.776 | 267.007 | 10.392 | 264.524 | 11.147 | 267.967 | 11.539 | 264.6 | -6.245 | 889.4 | 39.107 | 80.9151
2020-12-27 03:30:00 | 8.076 | 266.593 | 9.598 | 265.291 | 10.54 | 268.9 | 11.091 | 265.667 | -5.915 | 889.45 | 40.704 | 80.4056
2020-12-27 03:45:00 | 8.202 | 264.66 | 9.904 | 261.601 | 10.552 | 265.033 | 10.926 | 262.7 | -6.425 | 889.408 | 42.917 | 78.804
2020-12-27 04:00:00 | 9.719 | 267.24 | 11.163 | 262.801 | 11.809 | 266.367 | 12.149 | 263.3 | -6.175 | 889.8 | 44.8 | 79.6567
2020-12-27 04:15:00 | 9.435 | 263.36 | 11.207 | 261.437 | 12.026 | 265.6 | 12.479 | 262.567 | -6.116 | 889.75 | 47.029 | 86.9158
2020-12-27 04:30:00 | 9.129 | 261.733 | 10.362 | 258.6 | 10.794 | 261.65 | 10.975 | 258.75 | -6.057 | 889.9 | 47.739 | 89.9734
2020-12-27 04:45:00 | 9.032 | 259.253 | 10.443 | 255.535 | 11.088 | 258.5 | 11.244 | 254.917 | -5.958 | 889.458 | 47.579 | 83.606
2020-12-27 05:00:00 | 8.246 | 254.347 | 9.663 | 251.183 | 10.501 | 256.183 | 10.783 | 252.05 | -5.772 | 890.275 | 47.515 | 82.5451
2020-12-27 05:15:00 | 8.421 | 252.5 | 9.86 | 250.851 | 10.881 | 255.633 | 11.093 | 251.617 | -6.116 | 890.033 | 48.283 | 77.9484
2020-12-27 05:30:00 | 9.069 | 256.92 | 10.382 | 255.554 | 10.942 | 257.8 | 11.152 | 254.45 | -6.037 | 889.75 | 48.432 | 71.5583
2020-12-27 05:45:00 | 8.834 | 259.433 | 10.544 | 255.251 | 11.093 | 258.883 | 11.277 | 256.067 | -6.14 | 889.683 | 49.227 | 67.7085
2020-12-27 06:00:00 | 7.671 | 259.887 | 9.104 | 256.38 | 9.796 | 259.7 | 10.117 | 255.7 | -5.938 | 890.117 | 49.403 | 60.411
2020-12-27 06:15:00 | 7.525 | 258.273 | 8.793 | 255.048 | 9.615 | 259.85 | 9.808 | 256.283 | -6.302 | 889.725 | 49.488 | 51.7179
2020-12-27 06:30:00 | 6.108 | 261.087 | 7.453 | 255.79 | 7.933 | 259.417 | 8.354 | 255.833 | -6.535 | 889.925 | 50.56 | 59.4524
2020-12-27 06:45:00 | 5.762 | 256.86 | 7.293 | 255.228 | 8.297 | 260.483 | 8.803 | 257.867 | -7.131 | 889.675 | 53.285 | 73.1429
2020-12-27 07:00:00 | 7.435 | 259.747 | 9.356 | 255.943 | 10.279 | 259.267 | 10.506 | 254.617 | -7.111 | 890.092 | 54.8 | 72.4643
2020-12-27 07:15:00 | 5.35 | 268.193 | 6.246 | 258.435 | 6.866 | 260.65 | 7.497 | 255.283 | -7.012 | 890.425 | 54.859 | 74.412
2020-12-27 07:30:00 | 6.651 | 255.733 | 8.236 | 251.856 | 8.935 | 255 | 9.358 | 251.4 | -7.456 | 890.275 | 55.883 | 82.0449
2020-12-27 07:45:00 | 7.785 | 253.587 | 9.49 | 252.306 | 10.284 | 255.85 | 10.733 | 252.5 | -7.556 | 889.925 | 56.976 | 82.5444
2020-12-27 08:00:00 | 10.462 | 256.68 | 12.688 | 254.459 | 13.31 | 257.167 | 13.682 | 253.633 | -7.812 | 890.158 | 57.76 | 82.1003
2020-12-27 08:15:00 | 8.85 | 258.587 | 10.686 | 254.164 | 11.446 | 256.65 | 11.74 | 251.6 | -7.973 | 890.175 | 57.659 | 78.0046
2020-12-27 08:30:00 | 9.245 | 260.307 | 10.635 | 254.34 | 11.337 | 259.017 | 11.415 | 254.417 | -7.909 | 889.858 | 58.341 | 69.1509
2020-12-27 08:45:00 | 8.343 | 254.913 | 10.063 | 253.237 | 10.926 | 256.917 | 11.224 | 254.583 | -8.09 | 889.983 | 58.763 | 68.1334
2020-12-27 09:00:00 | 9.892 | 260.053 | 11.251 | 256.819 | 12.078 | 260.217 | 12.667 | 257.95 | -8.641 | 889.758 | 59.995 | 70.469
2020-12-27 09:15:00 | 9.822 | 253.44 | 11.706 | 251.981 | 12.496 | 255.783 | 13.285 | 253.617 | -8.708 | 889.85 | 60.795 | 67.4271
2020-12-27 09:30:00 | 8.578 | 263.487 | 10.72 | 258.498 | 11.563 | 261.083 | 11.943 | 256.967 | -8.658 | 890 | 60.933 | 60.1068
2020-12-27 09:45:00 | 9.866 | 258.4 | 11.49 | 255.857 | 12.337 | 260.6 | 12.926 | 256.8 | -8.371 | 890.283 | 60.795 | 67.6509
2020-12-27 10:00:00 | 8.308 | 266.713 | 10.33 | 262.728 | 11.28 | 266.733 | 11.94 | 263.167 | -8.331 | 889.942 | 60.016 | 67.0512
2020-12-27 10:15:00 | 7.769 | 255.62 | 9.301 | 251.994 | 9.917 | 257.083 | 10.231 | 254.533 | -8.09 | 889.492 | 59.499 | 74.9094
2020-12-27 10:30:00 | 7.194 | 248.407 | 8.318 | 247.375 | 9.074 | 252.55 | 9.287 | 249.483 | -7.876 | 890.017 | 59.227 | 72.966
2020-12-27 10:45:00 | 7.604 | 249.24 | 8.614 | 248.335 | 9.401 | 252.6 | 9.472 | 249.3 | -6.758 | 889.517 | 56.779 | 75.5403
2020-12-27 11:00:00 | 7.814 | 250.18 | 8.759 | 247.281 | 9.532 | 251.883 | 9.61 | 246.233 | -6.175 | 889.85 | 53.669 | 78.9553
2020-12-27 11:15:00 | 8.777 | 254.467 | 9.509 | 251.536 | 10.104 | 252.917 | 10.27 | 248.633 | -5.614 | 889.892 | 50.075 | 83.9151
2020-12-27 11:30:00 | 7.346 | 259.013 | 8.452 | 253.686 | 8.852 | 257.7 | 9.045 | 253.017 | -6.375 | 889.758 | 49.595 | 85.2765
2020-12-27 11:45:00 | 9.086 | 257.58 | 9.824 | 254.293 | 10.292 | 255.95 | 10.426 | 252.417 | -6.595 | 889.767 | 48.64 | 76.8769
2020-12-27 12:00:00 | 9.618 | 262.907 | 10.31 | 258.655 | 10.34 | 261.617 | 10.115 | 258.617 | -5.555 | 889.4 | 45.984 | 78.0238
2020-12-27 12:15:00 | 10.456 | 270.393 | 10.986 | 265.508 | 11.211 | 270.95 | 11.046 | 268.567 | -5.252 | 889.617 | 43.589 | 80.8312
2020-12-27 12:30:00 | 9.588 | 269.327 | 10.32 | 265.308 | 10.627 | 267.3 | 10.825 | 263.983 | -5.319 | 889.85 | 43.275 | 79.6048
2020-12-27 12:45:00 | 10.149 | 267.627 | 10.48 | 265.181 | 10.502 | 269.367 | 10.49 | 267.433 | -4.902 | 890.142 | 42.629 | 79.0498
2020-12-27 13:00:00 | 10.967 | 274.267 | 11.735 | 269.005 | 11.992 | 272.333 | 12.019 | 269.6 | -5.469 | 890.117 | 44.059 | 79.0811
2020-12-27 13:15:00 | 12.088 | 273.4 | 12.903 | 267.074 | 13.119 | 271.567 | 13.385 | 267.4 | -5.319 | 890.175 | 45.408 | 79.2431
2020-12-27 13:30:00 | 11.657 | 275.653 | 12.764 | 267.308 | 13.15 | 271.833 | 13.16 | 268 | -5.598 | 889.875 | 45.408 | 79.3831
2020-12-27 13:45:00 | 11.487 | 279.8 | 12.187 | 272.766 | 12.661 | 277.367 | 12.742 | 273.333 | -5.402 | 889.683 | 44.171 | 79.6297
2020-12-27 14:00:00 | 11.655 | 277.467 | 12.197 | 272.289 | 12.404 | 274 | 12.671 | 271.933 | -4.935 | 889.658 | 42.24 | 79.4364
2020-12-27 14:15:00 | 12.84 | 269.067 | 13.508 | 264.193 | 13.96 | 267.633 | 13.906 | 263.6 | -5.169 | 890.058 | 41.957 | 78.3997
2020-12-27 14:30:00 | 12.012 | 279.487 | 12.99 | 274.84 | 13.239 | 277.833 | 13.492 | 276.583 | -5.475 | 890.15 | 41.611 | 77.3914
2020-12-27 14:45:00 | 12.446 | 274.453 | 13.59 | 268.689 | 13.964 | 271.867 | 14.112 | 270.3 | -5.938 | 889.817 | 41.539 | 69.2845
2020-12-27 15:00:00 | 12.865 | 277.973 | 13.795 | 275.145 | 13.95 | 275.467 | 13.991 | 272.967 | -5.66 | 889.85 | 38.507 | 59.7047
2020-12-27 15:15:00 | 13.542 | 266.887 | 14.722 | 262.9 | 14.835 | 265.65 | 14.813 | 261.567 | -5.958 | 889.633 | 38.021 | 49.1748
2020-12-27 15:30:00 | 13.024 | 275.707 | 14.31 | 271.194 | 14.597 | 274.433 | 14.726 | 271.167 | -5.974 | 889.55 | 37.904 | 48.1487
2020-12-27 15:45:00 | 12.578 | 265.453 | 14.092 | 262.342 | 14.324 | 263.6 | 14.693 | 262.583 | -6.037 | 889.467 | 38.675 | 42.8799
2020-12-27 16:00:00 | 14.147 | 267.867 | 15.674 | 262.482 | 16.069 | 264.4 | 15.984 | 262.383 | -6.462 | 889.3 | 39.448 | 36.6844
2020-12-27 16:15:00 | 14.411 | 263.6 | 16.011 | 259.12 | 16.453 | 262.517 | 16.248 | 258.883 | -6.28 | 890.35 | 40.107 | 37.0433
2020-12-27 16:30:00 | 15.25 | 264.587 | 16.319 | 258.964 | 16.942 | 262.3 | 17.02 | 257.417 | -6.478 | 889.55 | 40.549 | 33.1501
2020-12-27 16:45:00 | 14.066 | 266.767 | 15.807 | 260.513 | 16.111 | 264.4 | 16.229 | 262.417 | -6.714 | 889.708 | 40.909 | 45.7648
2020-12-27 17:00:00 | 14.045 | 263.52 | 15.088 | 259.425 | 15.659 | 262.667 | 15.579 | 258.817 | -6.856 | 889.517 | 40.693 | 60.6042
2020-12-27 17:15:00 | 13.148 | 263.207 | 14.465 | 259.065 | 15.006 | 260.233 | 15.256 | 256.95 | -7.17 | 889.75 | 40.819 | 62.9434
2020-12-27 17:30:00 | 13.091 | 265.207 | 14.101 | 261.698 | 14.368 | 264.567 | 14.569 | 260.7 | -7.416 | 889.758 | 41.52 | 62.4489
2020-12-27 17:45:00 | 13.902 | 265.213 | 15.192 | 258.89 | 15.628 | 262.4 | 15.676 | 257.817 | -7.556 | 889.75 | 41.739 | 60.7378
2020-12-27 18:00:00 | 11.091 | 267.22 | 12.71 | 261.637 | 13.222 | 262.967 | 13.609 | 259.567 | -7.78 | 889.567 | 42.112 | 60.3243
2020-12-27 18:15:00 | 12.234 | 267.273 | 13.504 | 261.977 | 13.956 | 263.167 | 14.301 | 260.317 | -8.11 | 890.167 | 42.64 | 59.7075
2020-12-27 18:30:00 | 10.7 | 261.507 | 11.859 | 258.33 | 12.391 | 261.517 | 12.475 | 257.933 | -8.608 | 889.667 | 44.469 | 59.6215
2020-12-27 18:45:00 | 10.521 | 257.933 | 11.839 | 254.583 | 12.445 | 257.133 | 12.628 | 253.8 | -9.291 | 889.625 | 45.952 | 65.1192
2020-12-27 19:00:00 | 9.548 | 257.933 | 11.144 | 252.78 | 11.96 | 255.95 | 12.484 | 251.95 | -9.578 | 889.958 | 46.709 | 65.0254
2020-12-27 19:15:00 | 8.859 | 260.4 | 10.372 | 255.262 | 11.179 | 258.817 | 11.516 | 254 | -10.016 | 889.775 | 49.008 | 62.7175
2020-12-27 19:30:00 | 10.366 | 251.807 | 12.129 | 249.704 | 12.821 | 254.25 | 12.991 | 248.3 | -9.704 | 889.967 | 50.032 | 55.9529
2020-12-27 19:45:00 | 10.336 | 264.22 | 12.429 | 259.652 | 13.288 | 261.3 | 13.548 | 257.067 | -9.783 | 890.158 | 50.896 | 51.4848
2020-12-27 20:00:00 | 11.775 | 256.573 | 14.13 | 253.852 | 15.123 | 256.817 | 15.348 | 252.817 | -10.091 | 890.133 | 52.699 | 61.1336
2020-12-27 20:15:00 | 12.561 | 258.633 | 14.213 | 256.504 | 15.206 | 258.867 | 15.089 | 255.117 | -10.149 | 889.733 | 53.979 | 66.6888
2020-12-27 20:30:00 | 10.61 | 257.733 | 12.051 | 254.63 | 12.907 | 257.817 | 13.252 | 253.9 | -10.199 | 889.5 | 54.437 | 68.2805
2020-12-27 20:45:00 | 10.277 | 253.533 | 12.096 | 250.354 | 12.793 | 253.767 | 13.166 | 249.25 | -10.333 | 889.525 | 55.067 | 69.6604
2020-12-27 21:00:00 | 10.371 | 260.253 | 12.366 | 255.357 | 13.328 | 260.517 | 13.76 | 255.883 | -10.797 | 889.917 | 55.893 | 71.7864
2020-12-27 21:15:00 | 10.538 | 258.06 | 12.115 | 251.587 | 13.001 | 254.833 | 13.229 | 251.583 | -11.059 | 889.975 | 56.555 | 71.0894
2020-12-27 21:30:00 | 9.384 | 250.913 | 10.745 | 248.765 | 11.595 | 251.5 | 11.555 | 247.467 | -10.928 | 889.475 | 57.131 | 70.5372
2020-12-27 21:45:00 | 9.486 | 256.227 | 11.228 | 252.068 | 11.59 | 254.983 | 12.003 | 250.667 | -11.078 | 890.042 | 56.501 | 64.4804
2020-12-27 22:00:00 | 9.11 | 248.1 | 10.819 | 245.671 | 11.656 | 249.9 | 11.794 | 246.217 | -11.082 | 890.192 | 55.68 | 60.5502
2020-12-27 22:15:00 | 8.747 | 247.933 | 10.339 | 244.682 | 11.022 | 248.45 | 11.226 | 245.033 | -11.143 | 889.783 | 56.192 | 58.9657
2020-12-27 22:30:00 | 9.74 | 247.267 | 11.01 | 247.768 | 11.583 | 251.667 | 11.691 | 248.283 | -11.478 | 889.817 | 57.344 | 57.8295
2020-12-27 22:45:00 | 9.6 | 251.607 | 11.453 | 249.682 | 12.587 | 253.867 | 12.733 | 249.9 | -11.345 | 889.875 | 57.813 | 56.3039
2020-12-27 23:00:00 | 10.418 | 253.7 | 11.849 | 250.554 | 12.418 | 255.383 | 12.834 | 250.617 | -11.611 | 889.925 | 58.048 | 53.22
2020-12-27 23:15:00 | 9.575 | 251.967 | 11.222 | 249.741 | 11.885 | 252.483 | 12.063 | 248.967 | -12.12 | 889.642 | 57.184 | 45.5509
2020-12-27 23:30:00 | 8.374 | 251.36 | 10.035 | 247.888 | 11.09 | 253.033 | 11.381 | 248.633 | -11.953 | 890.067 | 57.344 | 43.5251
2020-12-27 23:45:00 | 10.476 | 252.16 | 12.296 | 250.276 | 13.281 | 254.683 | 13.837 | 252.033 | -11.703 | 889.75 | 58.661 | 56.8567