## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-28 00:00:00 | 10.491 | 257.533 | 12.405 | 253.152 | 13.397 | 256.333 | 13.478 | 253.133 | -12.078 | 889.5 | 59.147 | 68.613
2020-12-28 00:15:00 | 10.422 | 256.78 | 11.849 | 252.634 | 12.339 | 255.333 | 12.451 | 253.467 | -11.911 | 890.642 | 57.68 | 74.0901
2020-12-28 00:30:00 | 10.794 | 250.92 | 12.201 | 246.147 | 13.362 | 250.95 | 13.506 | 246.133 | -12.232 | 889.725 | 56.379 | 75.9404
2020-12-28 00:45:00 | 10.594 | 245.94 | 11.649 | 245.156 | 12.414 | 249.15 | 12.573 | 245.383 | -12.603 | 889.742 | 56.88 | 80.93
2020-12-28 01:00:00 | 9.555 | 252.027 | 10.755 | 251.488 | 11.489 | 254.7 | 11.971 | 251.183 | -12.586 | 889.717 | 56.773 | 81.4487
2020-12-28 01:15:00 | 9.48 | 259.1 | 10.943 | 255.215 | 11.763 | 258.967 | 12.244 | 254.167 | -12.703 | 889.958 | 57.403 | 81.8338
2020-12-28 01:30:00 | 10.138 | 254.887 | 11.574 | 252.997 | 12.242 | 255.5 | 12.816 | 251.783 | -12.722 | 889.908 | 59.205 | 81.6896
2020-12-28 01:45:00 | 10.458 | 254.18 | 12.268 | 252.028 | 13.177 | 255.25 | 13.688 | 250.967 | -12.72 | 890.05 | 61.515 | 81.2796
2020-12-28 02:00:00 | 10.207 | 255.473 | 11.67 | 253.558 | 12.448 | 256.567 | 12.804 | 252.917 | -12.72 | 889.858 | 59.728 | 81.0018
2020-12-28 02:15:00 | 11.254 | 257.36 | 12.962 | 254.484 | 13.62 | 258.35 | 13.825 | 254 | -12.57 | 889.858 | 59.083 | 81.0963
2020-12-28 02:30:00 | 10.367 | 255.593 | 11.668 | 254.448 | 12.362 | 257.45 | 12.678 | 254.483 | -12.953 | 890.1 | 57.947 | 81.1062
2020-12-28 02:45:00 | 10.047 | 250.453 | 11.372 | 248.984 | 12.427 | 252.3 | 12.989 | 248.9 | -12.903 | 889.883 | 57.525 | 80.9769
2020-12-28 03:00:00 | 9.762 | 252.693 | 11.152 | 251.884 | 11.801 | 255.583 | 11.898 | 252.583 | -12.736 | 889.683 | 57.589 | 82.2381
2020-12-28 03:15:00 | 9.169 | 246.767 | 10.388 | 245.512 | 10.983 | 251.6 | 11.124 | 247.3 | -12.753 | 890.092 | 58.005 | 82.3589
2020-12-28 03:30:00 | 7.69 | 245.84 | 8.689 | 242.445 | 9.581 | 247.917 | 9.976 | 244.417 | -13.17 | 889.833 | 58.315 | 76.9544
2020-12-28 03:45:00 | 8 | 251.66 | 9.193 | 251.752 | 9.91 | 254.7 | 10.139 | 251.783 | -13.203 | 889.767 | 58.128 | 74.8234
2020-12-28 04:00:00 | 7.041 | 253.793 | 8.404 | 251.36 | 9.073 | 255.833 | 9.37 | 251.433 | -13.391 | 889.7 | 57.456 | 82.1216
2020-12-28 04:15:00 | 8.315 | 259 | 9.24 | 253.959 | 9.782 | 258 | 10.195 | 254.3 | -13.766 | 889.95 | 56.096 | 71.7758
2020-12-28 04:30:00 | 8.223 | 253.06 | 9.471 | 249.755 | 10.181 | 253 | 10.344 | 249.783 | -13.647 | 889.717 | 55.264 | 59.3167
2020-12-28 04:45:00 | 6.739 | 246.293 | 8.077 | 245.064 | 8.963 | 250.383 | 9.189 | 247.533 | -14.016 | 889.617 | 56.373 | 36.6617
2020-12-28 05:00:00 | 4.963 | 252.46 | 5.808 | 247.978 | 6.818 | 253.183 | 7.267 | 249.15 | -14.233 | 890.242 | 57.6 | 21.4811
2020-12-28 05:15:00 | 4.151 | 262.367 | 5.029 | 256.328 | 6.027 | 259.467 | 6.464 | 254.267 | -14.599 | 889.625 | 58.635 | 19.2933
2020-12-28 05:30:00 | 3.355 | 244.127 | 4.244 | 247.466 | 4.99 | 255.667 | 5.378 | 254.617 | -14.724 | 889.775 | 58.827 | 12.5472
2020-12-28 05:45:00 | 2.442 | 240.167 | 3.084 | 248.102 | 3.812 | 260.2 | 4.479 | 261.05 | -15.208 | 889.958 | 60.395 | 13.181
2020-12-28 06:00:00 | 2.396 | 239.333 | 2.642 | 247.192 | 2.869 | 260.233 | 3.475 | 261.233 | -15.774 | 889.85 | 61.867 | 11.3264
2020-12-28 06:15:00 | 3.32 | 226.16 | 3.764 | 240.344 | 3.702 | 258.333 | 4.215 | 262.767 | -16.062 | 890.283 | 62.592 | 13.5335
2020-12-28 06:30:00 | 3.812 | 230.087 | 4.214 | 259.448 | 5.038 | 276.533 | 5.671 | 275.233 | -16.339 | 889.658 | 62.224 | 22.456
2020-12-28 06:45:00 | 4.86 | 245.767 | 5.421 | 263.922 | 6.044 | 273 | 6.47 | 269.533 | -16.211 | 889.958 | 60.288 | 30.9757
2020-12-28 07:00:00 | 5.001 | 248.28 | 6.615 | 261.338 | 7.403 | 268.867 | 7.648 | 266.233 | -15.95 | 889.933 | 58.555 | 35.0466
2020-12-28 07:15:00 | 5.861 | 252.787 | 6.439 | 260.538 | 7.008 | 268.233 | 7.395 | 266.833 | -15.841 | 889.933 | 58.155 | 48.7264
2020-12-28 07:30:00 | 6.378 | 248.567 | 7.384 | 256.224 | 8.103 | 262.733 | 8.369 | 259.817 | -15.891 | 889.842 | 57.509 | 53.8944
2020-12-28 07:45:00 | 6.275 | 247.2 | 7.894 | 253.08 | 8.332 | 257.667 | 8.384 | 254.683 | -15.658 | 889.733 | 56.443 | 47.0445
2020-12-28 08:00:00 | 6.182 | 244.333 | 7.415 | 249.705 | 7.897 | 254.6 | 7.938 | 250.033 | -15.608 | 889.792 | 56.981 | 35.9255
2020-12-28 08:15:00 | 5.896 | 245.6 | 6.838 | 249.403 | 7.246 | 254.067 | 7.365 | 249.95 | -15.724 | 889.567 | 56.949 | 31.7133
2020-12-28 08:30:00 | 5.394 | 249.347 | 5.797 | 254.439 | 6.4 | 258.133 | 6.747 | 255.717 | -16.083 | 889.633 | 57.301 | 35.0515
2020-12-28 08:45:00 | 5.384 | 241 | 5.907 | 249.266 | 6.555 | 254.6 | 6.964 | 251.467 | -16.631 | 890.067 | 58.592 | 40.9023
2020-12-28 09:00:00 | 4.521 | 232.287 | 6.132 | 247.359 | 6.723 | 256 | 6.984 | 253.817 | -17.314 | 890.167 | 60.512 | 46.8178
2020-12-28 09:15:00 | 6.471 | 235.433 | 6.546 | 246.013 | 7.167 | 255.267 | 7.274 | 253.967 | -17.531 | 889.6 | 61.984 | 44.1425
2020-12-28 09:30:00 | 7.415 | 238.5 | 7.901 | 248.525 | 8.572 | 255.733 | 8.757 | 254.25 | -17.198 | 890.292 | 60.064 | 26.5375
2020-12-28 09:45:00 | 6.274 | 243.767 | 6.885 | 244.22 | 6.776 | 252.467 | 6.471 | 251.9 | -16.914 | 889.575 | 59.456 | 21.83
2020-12-28 10:00:00 | 5.639 | 242.233 | 6.497 | 244.416 | 6.623 | 251.567 | 6.222 | 248.9 | -16.531 | 889.975 | 58.539 | 12.0356
2020-12-28 10:15:00 | 5.003 | 249.067 | 5.606 | 250.605 | 5.661 | 258.167 | 5.414 | 258.15 | -15.524 | 889.917 | 56.981 | 5.9062
2020-12-28 10:30:00 | 4.171 | 248.18 | 4.62 | 250.312 | 4.444 | 257.7 | 4.211 | 260.367 | -14.766 | 889.725 | 54.187 | 2.1544
2020-12-28 10:45:00 | 2.751 | 240.133 | 3.371 | 246.215 | 3.193 | 255 | 2.947 | 252.1 | -14.066 | 890.008 | 52.8 | 0.34036
2020-12-28 11:00:00 | 1.293 | 173.014 | 1.213 | 234.165 | 2.008 | 224.267 | 2.086 | 264.883 | -14.308 | 889.592 | 51.52 | 0.3226
2020-12-28 11:15:00 | 1.369 | 276.4 | 0.594 | 300.57 | 0.914 | 245.433 | 1.636 | 273 | -14.32 | 889.692 | 51.749 | 0.29986
2020-12-28 11:30:00 | 0.974 | 155.131 | 0.316 | 348.948 | 0.177 | 322.067 | 0.468 | 318.933 | -14.216 | 889.958 | 51.307 | 0.29986
2020-12-28 11:45:00 | 0.679 | 353.56 | 0.156 | 348.844 | 0.113 | 348.033 | 0.505 | 321.6 | -13.372 | 889.917 | 48.107 | 0.31833
2020-12-28 12:00:00 | 0.862 | 224.6 | 0.303 | 348.367 | 0.364 | 333 | 1.522 | 335.267 | -13.036 | 890.067 | 46.384 | 0.25794
2020-12-28 12:15:00 | 0.542 | 231.933 | 0.433 | 340.658 | 0.755 | 309.733 | 1.816 | 320.667 | -12.603 | 890.075 | 45.077 | 2.3655
2020-12-28 12:30:00 | 0.884 | 12.949 | 0.673 | 6.255 | 1.059 | 168.333 | 1.761 | 250.767 | -12.161 | 890.075 | 43.531 | 8.8267
2020-12-28 12:45:00 | 4.908 | 321.613 | 4.894 | 316.126 | 5.166 | 322.767 | 5.451 | 322.167 | -11.828 | 890.058 | 42.752 | 14.6299
2020-12-28 13:00:00 | 5.536 | 323.813 | 5.179 | 317.98 | 5.399 | 321.4 | 5.749 | 318.667 | -12.036 | 890.333 | 44.944 | 13.2549
2020-12-28 13:15:00 | 4.605 | 318.827 | 4.531 | 317.366 | 4.902 | 319.533 | 5.174 | 319.3 | -12.078 | 890.25 | 44.576 | 12.4058
2020-12-28 13:30:00 | 4.73 | 331.733 | 4.716 | 325.53 | 5.206 | 328.467 | 5.554 | 325.867 | -11.528 | 889.817 | 44.757 | 12.6388
2020-12-28 13:45:00 | 5.049 | 333.293 | 4.737 | 336.616 | 4.99 | 337.567 | 5.228 | 336.7 | -11.295 | 890.383 | 43.797 | 12.6396
2020-12-28 14:00:00 | 5.076 | 337.067 | 5.225 | 329.576 | 5.539 | 332.1 | 5.749 | 331.767 | -11.261 | 889.892 | 44.379 | 11.7016
2020-12-28 14:15:00 | 4.557 | 323.973 | 4.632 | 331.631 | 5.096 | 325.067 | 5.32 | 334.933 | -11.222 | 890.267 | 44.491 | 7.952
2020-12-28 14:30:00 | 3.519 | 105.258 | 3.294 | 180.534 | 3.635 | 216 | 4.112 | 236.667 | -10.891 | 890.05 | 45.739 | 7.2925
2020-12-28 14:45:00 | 5.011 | 326 | 5.13 | 334.264 | 5.789 | 340.033 | 5.956 | 339.4 | -11.07 | 889.7 | 47.051 | 7.4091
2020-12-28 15:00:00 | 4.538 | 329.867 | 4.552 | 323.062 | 4.98 | 328.567 | 5.095 | 329.767 | -11.495 | 889.867 | 47.499 | 5.7478
2020-12-28 15:15:00 | 3.982 | 306.347 | 4.018 | 309.51 | 4.399 | 314.7 | 4.507 | 311.167 | -11.074 | 889.767 | 46.373 | 3.4548
2020-12-28 15:30:00 | 4.528 | 337.24 | 4.404 | 327.873 | 4.649 | 331.833 | 4.9 | 331.167 | -11.136 | 890.1 | 45.797 | 1.8993
2020-12-28 15:45:00 | 3.043 | 281.867 | 2.919 | 317.494 | 3.148 | 305.733 | 3.551 | 324.533 | -11.228 | 890.317 | 45.141 | 1.9079
2020-12-28 16:00:00 | 2.127 | 296.387 | 1.981 | 297.646 | 2.402 | 298.733 | 2.979 | 302.4 | -11.059 | 889.967 | 44.688 | 1.3224
2020-12-28 16:15:00 | 3.271 | 312.973 | 3.164 | 309.341 | 3.531 | 311.733 | 4.071 | 308.933 | -10.909 | 889.775 | 44.587 | 0.92658
2020-12-28 16:30:00 | 2.289 | 299.493 | 2.256 | 294.532 | 2.454 | 300.967 | 2.884 | 300.633 | -10.778 | 889.725 | 44.411 | 1.2911
2020-12-28 16:45:00 | 4.056 | 335.613 | 3.64 | 330.256 | 3.491 | 329.6 | 3.527 | 326.333 | -10.928 | 890 | 45.04 | 1.3757
2020-12-28 17:00:00 | 2.886 | 329.427 | 2.922 | 320.263 | 3.207 | 324.933 | 3.342 | 326.467 | -10.966 | 889.825 | 45.029 | 1.0268
2020-12-28 17:15:00 | 3.653 | 322.68 | 3.617 | 311.788 | 3.788 | 309.833 | 4.092 | 304.933 | -11.022 | 890.208 | 45.12 | 1.4766
2020-12-28 17:30:00 | 1.787 | 330.76 | 1.495 | 327.586 | 2.087 | 323.333 | 2.638 | 322.767 | -10.872 | 889.9 | 45.296 | 1.4389
2020-12-28 17:45:00 | 2.664 | 309.067 | 2.424 | 301.871 | 2.247 | 301.5 | 2.494 | 305.567 | -10.797 | 889.842 | 45.749 | 1.1945
2020-12-28 18:00:00 | 2.698 | 306.387 | 2.64 | 303.459 | 2.666 | 310.467 | 2.853 | 308.933 | -11.014 | 889.708 | 46.747 | 0.29062
2020-12-28 18:15:00 | 2.261 | 316.8 | 2.084 | 308.556 | 2.137 | 311.833 | 2.6 | 305.4 | -11.478 | 889.967 | 47.579 | 0.28138
2020-12-28 18:30:00 | 2.51 | 316.067 | 2.432 | 309.491 | 2.449 | 314.133 | 2.7 | 312.4 | -11.495 | 889.808 | 47.904 | 0.32828
2020-12-28 18:45:00 | 0.727 | 340.56 | 1.513 | 0 | 2.291 | 3.882 | 1.868 | 0 | -12.111 | 889.692 | 48.608 | 0.29346
2020-12-28 19:00:00 | 1.372 | 11.044 | 2.162 | 6.616 | 1.971 | 7.233 | 2.554 | 0 | -12.536 | 890.025 | 51.52 | 0.1549
2020-12-28 19:15:00 | 1.612 | 1.202 | 2.082 | 0 | 2.203 | 6 | 2.575 | 0 | -13.07 | 889.675 | 52.96 | 0.13643
2020-12-28 19:30:00 | 2.03 | 190.613 | 2.498 | 359.087 | 2.913 | 15.433 | 3.363 | 4.6 | -13.086 | 889.975 | 53.248 | 0.30696
2020-12-28 19:45:00 | 1.677 | 348.08 | 2.54 | 354.854 | 2.84 | 356.933 | 2.989 | 0 | -13.616 | 890.125 | 53.856 | 0.31407
2020-12-28 20:00:00 | 1.201 | 302.893 | 1.403 | 334.973 | 1.915 | 348.533 | 2.548 | 351.6 | -13.56 | 889.442 | 54.677 | 0.30128
2020-12-28 20:15:00 | 0.999 | 284.987 | 0.587 | 333.22 | 1.563 | 348.167 | 1.846 | 348.033 | -13.701 | 889.708 | 55.488 | 0.29986
2020-12-28 20:30:00 | 1.388 | 266.827 | 0.939 | 333.075 | 0.106 | 348.033 | 1.401 | 348 | -14.662 | 889.808 | 57.995 | 0.3027
2020-12-28 20:45:00 | 1.333 | 270.573 | 1.343 | 332.984 | 1.242 | 348.367 | 1.699 | 348 | -14.024 | 890 | 60.437 | 0.30839
2020-12-28 21:00:00 | 3.152 | 190.407 | 0.03 | 266.478 | 0 | 348 | 0.457 | 348 | -14.758 | 889.775 | 55.904 | 0.3027
2020-12-28 21:15:00 | 2.587 | 188.307 | 1.385 | 172.23 | 0.723 | 170.533 | 0.551 | 159 | -14.724 | 890.05 | 57.643 | 0.32118
2020-12-28 21:30:00 | 2.478 | 191.153 | 0.646 | 166.453 | 0.347 | 161.4 | 0.588 | 158.9 | -14.704 | 889.858 | 56.523 | 0.3226
2020-12-28 21:45:00 | 2.369 | 175.027 | 1.534 | 138.779 | 1.452 | 128.133 | 2.038 | 158 | -14.641 | 890.192 | 57.995 | 0.32118
2020-12-28 22:00:00 | 1.953 | 177.453 | 1.593 | 135.634 | 1.397 | 124.933 | 2.04 | 158 | -14.704 | 890.1 | 58.037 | 0.32402
2020-12-28 22:15:00 | 2.367 | 188.313 | 1.621 | 149.13 | 1.523 | 138.333 | 2.057 | 147.133 | -14.97 | 889.858 | 58.539 | 0.22454
2020-12-28 22:30:00 | 3.03 | 182.833 | 2.2 | 141.828 | 2.283 | 130.833 | 2.724 | 139.9 | -15.391 | 889.617 | 59.147 | 0.38797
2020-12-28 22:45:00 | 2.853 | 171.02 | 2.468 | 115.313 | 2.941 | 105.933 | 3.312 | 108.8 | -16.126 | 889.733 | 57.835 | 1.3252
2020-12-28 23:00:00 | 2.364 | 169.013 | 2.138 | 118.861 | 2.715 | 108.433 | 3.21 | 106.4 | -16.19 | 889.825 | 58.912 | 1.5348
2020-12-28 23:15:00 | 2.281 | 151.567 | 2.352 | 108.381 | 2.721 | 108.033 | 3.303 | 106 | -15.791 | 890.308 | 60.821 | 1.3387
2020-12-28 23:30:00 | 2.397 | 160.62 | 2.745 | 112.961 | 3.217 | 107.7 | 3.502 | 106 | -16.339 | 889.758 | 59.904 | 2.0479
2020-12-28 23:45:00 | 2.935 | 160.333 | 3.216 | 124.214 | 3.126 | 122.567 | 3.172 | 111.267 | -16.598 | 889.858 | 60.864 | 3.0121