## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-29 00:00:00 | 3.236 | 161.847 | 2.793 | 131.924 | 2.731 | 133.033 | 3.085 | 127.333 | -16.51 | 889.608 | 60.907 | 2.7833
2020-12-29 00:15:00 | 2.772 | 158.167 | 3.399 | 120.433 | 3.305 | 120.633 | 3.584 | 116.167 | -16.564 | 889.825 | 60.555 | 1.5931
2020-12-29 00:30:00 | 2.632 | 159.647 | 3.026 | 120.09 | 3.128 | 117.4 | 3.374 | 106.7 | -16.403 | 889.925 | 60.672 | 1.2968
2020-12-29 00:45:00 | 2.718 | 160.88 | 2.723 | 127.2 | 2.76 | 123.2 | 3.16 | 110.8 | -16.19 | 889.9 | 61.216 | 1.7253
2020-12-29 01:00:00 | 2.327 | 159.467 | 2.63 | 122.997 | 2.874 | 115.667 | 3.418 | 107.333 | -15.774 | 890.133 | 60.608 | 3.3745
2020-12-29 01:15:00 | 2.284 | 155.68 | 2.725 | 116.048 | 2.899 | 114.533 | 3.476 | 107.733 | -15.943 | 890.317 | 59.829 | 5.131
2020-12-29 01:30:00 | 2.437 | 152.92 | 3.111 | 114.998 | 3.235 | 112.933 | 3.708 | 106.167 | -16.446 | 889.842 | 59.947 | 8.7883
2020-12-29 01:45:00 | 2.817 | 154.133 | 3.361 | 118.197 | 3.969 | 117.567 | 4.576 | 110.2 | -16.531 | 889.742 | 59.456 | 15.9927
2020-12-29 02:00:00 | 3.557 | 148.147 | 4.131 | 121.887 | 4.482 | 124.433 | 5.038 | 121.033 | -16.593 | 889.675 | 59.669 | 17.7976
2020-12-29 02:15:00 | 4.207 | 141.833 | 4.473 | 122.967 | 4.605 | 127.4 | 4.974 | 123.533 | -16.531 | 889.45 | 58.005 | 14.3634
2020-12-29 02:30:00 | 4.053 | 139.593 | 4.689 | 122.099 | 5.091 | 122.533 | 5.365 | 117.1 | -16.555 | 890.067 | 51.445 | 10.014
2020-12-29 02:45:00 | 3.842 | 134.507 | 4.248 | 117.879 | 4.699 | 119.8 | 4.864 | 110.833 | -16.5 | 889.742 | 42.72 | 5.9503
2020-12-29 03:00:00 | 3.477 | 144.2 | 3.731 | 119.509 | 4.269 | 118.9 | 4.547 | 111.833 | -16.848 | 889.817 | 39.957 | 3.4939
2020-12-29 03:15:00 | 3.446 | 169.487 | 3.137 | 137.299 | 2.964 | 133.7 | 3.243 | 126.167 | -16.998 | 890.017 | 39.637 | 0.47324
2020-12-29 03:30:00 | 2.687 | 164.033 | 2.536 | 130.728 | 2.748 | 127.6 | 3.279 | 121.367 | -17.014 | 889.667 | 40.117 | 0.3432
2020-12-29 03:45:00 | 2.167 | 173.333 | 1.892 | 126.184 | 2.193 | 112.4 | 2.636 | 101.833 | -17.031 | 889.825 | 40.523 | 0.34534
2020-12-29 04:00:00 | 1.961 | 190.547 | 0.966 | 129.351 | 1.262 | 105.067 | 1.72 | 97 | -17.248 | 889.992 | 42.4 | 0.32118
2020-12-29 04:15:00 | 1.791 | 197.833 | 0.093 | 109.26 | 1.797 | 100 | 2.534 | 93.9 | -17.664 | 889.967 | 44.352 | 0.11795
2020-12-29 04:30:00 | 1.232 | 191.233 | 1.671 | 93.842 | 2.462 | 87 | 3.222 | 83 | -17.764 | 890.125 | 45.312 | 0.1613
2020-12-29 04:45:00 | 1.222 | 183.333 | 1.586 | 91.865 | 2.354 | 87 | 3.05 | 83.133 | -17.631 | 890.1 | 44.683 | 0.32757
2020-12-29 05:00:00 | 1.218 | 206.567 | 0.38 | 89.267 | 2.018 | 83.267 | 2.758 | 84.133 | -18.014 | 890.108 | 45.195 | 0.34249
2020-12-29 05:15:00 | 0.243 | 204.633 | 0 | 89.275 | 1.491 | 72.933 | 2.483 | 80.367 | -17.981 | 889.583 | 45.013 | 0.31123
2020-12-29 05:30:00 | 0.036 | 206.533 | 0 | 83.918 | 1.1 | 59 | 1.916 | 68 | -18.031 | 890.083 | 45.813 | 0.18972
2020-12-29 05:45:00 | 0 | 212.8 | 0 | 83.238 | 0.536 | 60.5 | 2.053 | 68 | -18.014 | 889.95 | 45.483 | 0.20322
2020-12-29 06:00:00 | 0.801 | 225 | 0 | 83.205 | 1.667 | 87 | 3.089 | 77.9 | -17.898 | 889.617 | 45.963 | 0.32118
2020-12-29 06:15:00 | 1.384 | 224.707 | 0 | 83.243 | 1.589 | 85.533 | 2.917 | 82.267 | -18.323 | 889.675 | 45.088 | 0.30412
2020-12-29 06:30:00 | 2.066 | 207.4 | 0.26 | 151.513 | 0.857 | 118 | 2.399 | 99 | -18.014 | 889.683 | 44.885 | 0.33254
2020-12-29 06:45:00 | 2.227 | 210.1 | 0 | 155.496 | 0.2 | 118.2 | 1.949 | 101.867 | -18.031 | 890.325 | 44.789 | 0.32544
2020-12-29 07:00:00 | 1.42 | 212.8 | 0 | 155.476 | 0.319 | 109.467 | 2.005 | 98.767 | -18.031 | 890.392 | 45.045 | 0.3226
2020-12-29 07:15:00 | 2.21 | 217.733 | 0 | 142.485 | 0.62 | 113 | 2.129 | 97 | -18.031 | 890.125 | 45.035 | 0.31691
2020-12-29 07:30:00 | 2.227 | 221.8 | 0 | 142.467 | 0 | 114.067 | 1.338 | 97 | -17.831 | 889.858 | 44.661 | 0.33254
2020-12-29 07:45:00 | 3.141 | 220.8 | 0.04 | 161.518 | 0 | 114 | 1.377 | 96.8 | -18.031 | 889.725 | 44.192 | 0.3226
2020-12-29 08:00:00 | 3.458 | 220.3 | 0.766 | 183.071 | 0 | 141.433 | 1.388 | 116.1 | -17.964 | 890.225 | 44.053 | 0.32402
2020-12-29 08:15:00 | 3.571 | 228.14 | 1.173 | 209.569 | 0 | 160.467 | 1.35 | 138 | -18.531 | 889.908 | 45.131 | 0.32544
2020-12-29 08:30:00 | 3.434 | 236.967 | 0.446 | 212.509 | 0 | 175.1 | 0 | 140 | -19.056 | 889.508 | 47.381 | 0.31976
2020-12-29 08:45:00 | 3.81 | 240.3 | 0.492 | 220.208 | 0 | 175.967 | 0 | 140 | -19.389 | 890.008 | 49.269 | 0.33112
2020-12-29 09:00:00 | 4.456 | 240.353 | 2.125 | 249.284 | 0.117 | 217 | 0 | 140.1 | -19.702 | 889.858 | 50.027 | 0.33112
2020-12-29 09:15:00 | 4.378 | 232.787 | 1.603 | 251.713 | 0 | 243 | 0 | 140.1 | -21.031 | 889.792 | 51.808 | 0.33254
2020-12-29 09:30:00 | 3.79 | 233.753 | 0.462 | 257.006 | 0 | 243 | 0 | 140 | -20.01 | 889.875 | 51.637 | 0.3297
2020-12-29 09:45:00 | 3.181 | 237.033 | 0.2 | 266.907 | 0 | 243 | 1.001 | 139.933 | -19.623 | 890.008 | 50.389 | 0.33397
2020-12-29 10:00:00 | 3.352 | 231.567 | 0.123 | 266.937 | 0 | 243.067 | 0 | 138.067 | -19.073 | 889.717 | 48.907 | 0.33254
2020-12-29 10:15:00 | 2.853 | 232.207 | 0 | 267.078 | 0 | 242.867 | 0 | 138.1 | -18.202 | 889.25 | 47.776 | 0.34107
2020-12-29 10:30:00 | 2.022 | 225.687 | 0 | 266.973 | 0 | 243 | 0.738 | 138.067 | -17.281 | 889.958 | 45.387 | 0.3226
2020-12-29 10:45:00 | 1.008 | 202.447 | 0.07 | 267.037 | 0.746 | 68.1 | 1.579 | 79.867 | -16.793 | 889.858 | 44.288 | 0.3226
2020-12-29 11:00:00 | 1.024 | 210.4 | 0 | 68.259 | 0 | 68 | 0.128 | 80.067 | -15.224 | 890.125 | 42.325 | 0.32686
2020-12-29 11:15:00 | 1.044 | 200.427 | 0 | 68.328 | 0.16 | 68 | 1.182 | 80.067 | -14.866 | 889.592 | 45.163 | 0.32828
2020-12-29 11:30:00 | 0 | 192.713 | 0 | 68.249 | 0.432 | 66.867 | 1.43 | 79.9 | -13.466 | 889.875 | 42.869 | 0.35102
2020-12-29 11:45:00 | 1.286 | 67.598 | 0.39 | 64.39 | 0.504 | 61.033 | 1.515 | 80 | -13.995 | 889.45 | 37.349 | 0.34107
2020-12-29 12:00:00 | 1.76 | 66.577 | 1.287 | 57.034 | 1.397 | 63.067 | 2.196 | 62.6 | -15.124 | 889.7 | 36.32 | 0.68499
2020-12-29 12:15:00 | 3.37 | 72.187 | 3.225 | 68.171 | 3.268 | 68.933 | 3.365 | 63.4 | -15.224 | 889.45 | 37.317 | 0.65941
2020-12-29 12:30:00 | 3.067 | 59.295 | 3.064 | 55.089 | 3.084 | 59.533 | 3.259 | 60.267 | -15.524 | 889.433 | 37.328 | 1.726
2020-12-29 12:45:00 | 3.207 | 71.99 | 3.089 | 63.96 | 3.245 | 71 | 3.449 | 71.167 | -15.724 | 889.817 | 37.808 | 3.383
2020-12-29 13:00:00 | 3.424 | 70.147 | 3.561 | 67.037 | 3.569 | 70.9 | 3.846 | 68.1 | -15.491 | 890.3 | 38.549 | 5.8991
2020-12-29 13:15:00 | 4.019 | 79.827 | 3.996 | 74.378 | 4.372 | 78.233 | 4.481 | 76.267 | -15.008 | 889.85 | 37.611 | 14.1119
2020-12-29 13:30:00 | 3.82 | 86.553 | 3.684 | 80.351 | 3.917 | 86.067 | 4.336 | 81.367 | -14.445 | 889.833 | 36.752 | 27.3533
2020-12-29 13:45:00 | 5.561 | 84.867 | 5.138 | 78.698 | 5.619 | 82.833 | 5.866 | 77.3 | -13.578 | 889.783 | 32.997 | 31.5307
2020-12-29 14:00:00 | 5.562 | 74.63 | 5.471 | 70.443 | 6.02 | 75.433 | 6.168 | 72.2 | -13.466 | 889.767 | 33.403 | 32.2356
2020-12-29 14:15:00 | 6.791 | 70.053 | 6.599 | 67.175 | 6.877 | 69.533 | 7.291 | 65.733 | -13.059 | 890.233 | 32.208 | 31.9783
2020-12-29 14:30:00 | 6.279 | 66.248 | 5.79 | 61.904 | 6.223 | 67.9 | 6.577 | 64.367 | -13.203 | 890.25 | 32.347 | 31.6302
2020-12-29 14:45:00 | 6.509 | 71.062 | 6.523 | 68.202 | 6.885 | 74.867 | 6.987 | 73.167 | -12.436 | 889.583 | 29.552 | 32.7287
2020-12-29 15:00:00 | 7.016 | 73.997 | 6.636 | 71.008 | 7.097 | 76.067 | 7.21 | 71.133 | -12.57 | 889.383 | 28.896 | 31.3637
2020-12-29 15:15:00 | 7.296 | 75.963 | 7.436 | 71.503 | 7.808 | 75.733 | 8.019 | 73.767 | -12.62 | 889.817 | 29.232 | 28.9023
2020-12-29 15:30:00 | 7.613 | 84.167 | 7.604 | 78.27 | 7.712 | 82.8 | 7.722 | 81.6 | -12.47 | 890.083 | 29.12 | 29.0295
2020-12-29 15:45:00 | 7.901 | 88.033 | 7.612 | 81.215 | 7.325 | 88.8 | 7.367 | 81.933 | -12.536 | 889.917 | 28.56 | 25.7914
2020-12-29 16:00:00 | 9.216 | 86.867 | 8.983 | 85.979 | 8.54 | 90.167 | 8.738 | 85.9 | -12.77 | 889.7 | 27.797 | 23.3442
2020-12-29 16:15:00 | 9.549 | 89.7 | 8.764 | 84.426 | 8.496 | 89.767 | 8.596 | 81.667 | -12.886 | 889.85 | 27.979 | 26.4018
2020-12-29 16:30:00 | 9.148 | 82.867 | 9.424 | 81.19 | 9.598 | 85.567 | 9.644 | 81.733 | -12.986 | 889.8 | 28.64 | 26.475
2020-12-29 16:45:00 | 9.473 | 82.71 | 9.721 | 78.876 | 9.657 | 83.367 | 9.557 | 80.867 | -13.138 | 889.483 | 28.603 | 22.8198
2020-12-29 17:00:00 | 8.011 | 93.787 | 7.584 | 85.499 | 7.639 | 90.067 | 7.928 | 84.567 | -13.157 | 889.817 | 27.205 | 24.7824
2020-12-29 17:15:00 | 8.173 | 86.833 | 8.051 | 84.457 | 8.166 | 85.833 | 8.081 | 83.6 | -13.086 | 890.083 | 28.203 | 27.3433
2020-12-29 17:30:00 | 8.336 | 88.827 | 8.143 | 85.459 | 7.63 | 89.233 | 7.297 | 85.9 | -13.316 | 889.467 | 28.197 | 29.8758
2020-12-29 17:45:00 | 7.483 | 98.177 | 6.736 | 92.814 | 6.277 | 96.3 | 6.344 | 89 | -13.597 | 889.683 | 28.245 | 33.4329
2020-12-29 18:00:00 | 6.458 | 100.6 | 6.151 | 95.303 | 6.061 | 96.567 | 5.668 | 91.533 | -14.016 | 890.05 | 29.739 | 32.0835
2020-12-29 18:15:00 | 6.039 | 94.1 | 5.656 | 88.944 | 5.065 | 89.967 | 5.434 | 85.967 | -14.099 | 889.617 | 30.709 | 23.4224
2020-12-29 18:30:00 | 5.2 | 88.807 | 4.926 | 84.997 | 4.998 | 89.367 | 5.112 | 85.8 | -14.695 | 889.783 | 32.165 | 22.2407
2020-12-29 18:45:00 | 4.336 | 87.333 | 4.399 | 83.78 | 4.838 | 88.2 | 4.87 | 84.533 | -15.308 | 889.417 | 33.221 | 17.2199
2020-12-29 19:00:00 | 4.798 | 96.167 | 4.253 | 92.294 | 3.582 | 97.2 | 4.015 | 91.8 | -15.608 | 890.3 | 33.803 | 13.51
2020-12-29 19:15:00 | 3.518 | 91.1 | 3.826 | 86.78 | 3.366 | 91.8 | 3.544 | 86.867 | -15.808 | 889.65 | 34.219 | 13.5214
2020-12-29 19:30:00 | 3.466 | 87.76 | 3.682 | 85.782 | 3.496 | 94.9 | 3.572 | 89.333 | -16.002 | 889.783 | 34.501 | 13.6436
2020-12-29 19:45:00 | 3.459 | 111.687 | 3.766 | 101.63 | 4.137 | 107.233 | 4.677 | 101.667 | -16.36 | 889.5 | 33.595 | 17.0358
2020-12-29 20:00:00 | 3.775 | 116.453 | 3.701 | 106.535 | 4.086 | 109.467 | 4.613 | 102.3 | -16.147 | 889.933 | 32.672 | 17.0095
2020-12-29 20:15:00 | 4.187 | 113.013 | 4.371 | 105.352 | 5.035 | 107.8 | 5.101 | 100.333 | -16.488 | 889.617 | 31.648 | 15.6538
2020-12-29 20:30:00 | 3.986 | 110.487 | 4.298 | 103.621 | 4.702 | 107.267 | 4.956 | 102.3 | -16.36 | 890.183 | 31.12 | 22.6394
2020-12-29 20:45:00 | 4.789 | 109.627 | 5.07 | 103.876 | 5.525 | 106.833 | 5.834 | 102.267 | -16.339 | 889.85 | 30.683 | 23.9099
2020-12-29 21:00:00 | 4.545 | 107.553 | 4.538 | 100.625 | 4.412 | 103 | 4.983 | 97.067 | -16.467 | 889.617 | 30.875 | 21.2602
2020-12-29 21:15:00 | 4.11 | 95.86 | 4.03 | 89.823 | 3.608 | 93.533 | 3.792 | 88.5 | -16.339 | 889.433 | 31.205 | 21.2481
2020-12-29 21:30:00 | 4.361 | 101.74 | 4.127 | 92.314 | 3.778 | 94.367 | 4.389 | 88.233 | -16.66 | 889.883 | 32.987 | 18.3092
2020-12-29 21:45:00 | 4.429 | 95.267 | 4.316 | 88.107 | 4.233 | 92.767 | 4.56 | 88.633 | -16.698 | 889.867 | 36.043 | 19.154
2020-12-29 22:00:00 | 4.251 | 98.433 | 4.227 | 92.168 | 3.594 | 98.1 | 3.846 | 89.667 | -16.881 | 889.8 | 37.376 | 18.3809
2020-12-29 22:15:00 | 4.219 | 91.607 | 4.525 | 85.857 | 4.827 | 86.5 | 4.836 | 84.2 | -16.914 | 889.633 | 38.251 | 18.2417
2020-12-29 22:30:00 | 3.284 | 98.16 | 3.377 | 93.59 | 3.501 | 94.233 | 3.525 | 90.867 | -17.398 | 890.183 | 38.592 | 23.0025
2020-12-29 22:45:00 | 3.752 | 89.6 | 4.304 | 87.445 | 4.178 | 92.633 | 3.936 | 89.733 | -17.631 | 889.8 | 39.685 | 28.6934
2020-12-29 23:00:00 | 4.204 | 91.3 | 4.579 | 85.735 | 4.497 | 92.4 | 4.397 | 89.4 | -17.864 | 889.7 | 41.349 | 24.8883
2020-12-29 23:15:00 | 4.174 | 98.267 | 3.907 | 92.712 | 3.595 | 98.767 | 3.836 | 93.667 | -18.031 | 889.708 | 42.251 | 26.7535
2020-12-29 23:30:00 | 4.11 | 100.157 | 4.089 | 97.472 | 3.763 | 98.8 | 4.299 | 93.5 | -17.944 | 890.083 | 42.293 | 25.7268
2020-12-29 23:45:00 | 4.334 | 91.9 | 4.848 | 83.633 | 5.211 | 88.467 | 5.155 | 85.3 | -17.898 | 889.775 | 42.933 | 29.8587