## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-30 00:00:00 | 4.182 | 83.787 | 5.026 | 80.454 | 5.605 | 85.7 | 5.628 | 85.333 | -18.323 | 890.025 | 43.211 | 38.3308
2020-12-30 00:15:00 | 5.841 | 84.067 | 6.321 | 79.862 | 6.177 | 84.8 | 6.037 | 82.233 | -18.873 | 889.867 | 44.981 | 34.6607
2020-12-30 00:30:00 | 5.49 | 90.11 | 5.392 | 88.488 | 5.105 | 92.6 | 4.741 | 87.9 | -18.594 | 889.692 | 44.992 | 30.7427
2020-12-30 00:45:00 | 4.656 | 97.633 | 4.958 | 93.648 | 4.212 | 102.867 | 4.319 | 96 | -18.789 | 890.058 | 45.408 | 27.4861
2020-12-30 01:00:00 | 4.545 | 112.433 | 5.484 | 102.113 | 5.626 | 103.167 | 5.401 | 98.967 | -18.923 | 889.925 | 46.208 | 22.4951
2020-12-30 01:15:00 | 4.168 | 114.633 | 4.682 | 104.288 | 4.885 | 106.433 | 5.222 | 97.9 | -18.789 | 890.442 | 46.187 | 19.9698
2020-12-30 01:30:00 | 4.119 | 112.503 | 4.639 | 102.842 | 4.896 | 107.267 | 4.964 | 102.067 | -18.427 | 889.775 | 45.163 | 17.5709
2020-12-30 01:45:00 | 3.802 | 112.3 | 4.423 | 102.922 | 4.46 | 102.7 | 4.505 | 95.667 | -18.656 | 890.017 | 45.195 | 16.1441
2020-12-30 02:00:00 | 3.59 | 109.34 | 3.163 | 95.154 | 2.783 | 99.167 | 3.19 | 96.5 | -18.781 | 889.833 | 45.579 | 13.3338
2020-12-30 02:15:00 | 3.237 | 112.533 | 2.867 | 96.525 | 2.573 | 100.6 | 3.228 | 97.433 | -18.856 | 890.442 | 45.899 | 15.5195
2020-12-30 02:30:00 | 3.16 | 97.133 | 3.578 | 89.009 | 2.934 | 94.733 | 3.033 | 92.9 | -18.973 | 889.85 | 46.091 | 17.7372
2020-12-30 02:45:00 | 1.366 | 166.373 | 3.035 | 102.992 | 3.467 | 102.967 | 3.658 | 97.833 | -19.798 | 890.075 | 45.376 | 19.4532
2020-12-30 03:00:00 | 2.061 | 133.777 | 3.624 | 105.96 | 3.935 | 104.167 | 3.77 | 97.2 | -19.568 | 890.267 | 48.235 | 24.6723
2020-12-30 03:15:00 | 2.887 | 121.517 | 3.383 | 102.78 | 2.751 | 98.1 | 3.586 | 93.533 | -20.527 | 889.933 | 50.24 | 22.9982
2020-12-30 03:30:00 | 3.878 | 105.2 | 4.101 | 95.448 | 4.048 | 99.7 | 4.818 | 99.967 | -19.473 | 889.667 | 48.704 | 20.0877
2020-12-30 03:45:00 | 3.855 | 112.167 | 4.306 | 99.716 | 4.472 | 103.267 | 4.785 | 96.9 | -19.289 | 889.925 | 47.797 | 14.4615
2020-12-30 04:00:00 | 3.228 | 105.1 | 2.943 | 95.185 | 2.693 | 97.033 | 3.489 | 94.367 | -19.123 | 889.783 | 47.509 | 12.0093
2020-12-30 04:15:00 | 3.52 | 98.7 | 3.427 | 93.918 | 3.021 | 97.4 | 3.699 | 93.8 | -19.106 | 890.067 | 47.776 | 9.0391
2020-12-30 04:30:00 | 3.294 | 108.667 | 3.498 | 101.369 | 3.863 | 105.667 | 4.788 | 103.033 | -18.756 | 889.692 | 47.072 | 9.4306
2020-12-30 04:45:00 | 0.976 | 123.44 | 3.338 | 102.816 | 3.935 | 102.9 | 4.252 | 94.733 | -20.394 | 889.675 | 47.723 | 13.4091
2020-12-30 05:00:00 | 0.419 | 163.253 | 2.514 | 104.6 | 2.847 | 101.8 | 3.404 | 93.367 | -20.648 | 889.908 | 50.795 | 19.1484
2020-12-30 05:15:00 | 3.74 | 83.06 | 4.158 | 80.533 | 5.165 | 84.967 | 5.197 | 83 | -19.923 | 890.075 | 52.821 | 22.709
2020-12-30 05:30:00 | 4.722 | 85.62 | 5.31 | 81.328 | 5.242 | 88.967 | 5.093 | 85.4 | -19.706 | 889.95 | 50.624 | 13.8376
2020-12-30 05:45:00 | 4.702 | 90.373 | 5.321 | 83.794 | 5.238 | 90.967 | 5.036 | 85.3 | -20.031 | 889.992 | 51.019 | 6.8925
2020-12-30 06:00:00 | 3.626 | 121.633 | 3.673 | 103.543 | 2.816 | 102.4 | 3.073 | 95.667 | -21.073 | 889.9 | 53.739 | 6.1379
2020-12-30 06:15:00 | 2.852 | 136.477 | 3.42 | 108.655 | 3.986 | 108.6 | 4.489 | 104.367 | -20.827 | 889.983 | 53.995 | 5.8913
2020-12-30 06:30:00 | 2.491 | 173.9 | 2.705 | 125.784 | 3.499 | 111.067 | 3.964 | 103.5 | -21.906 | 889.85 | 53.611 | 5.7627
2020-12-30 06:45:00 | 2.477 | 198.9 | 2.107 | 138.899 | 3.258 | 109.967 | 3.587 | 96.9 | -21.856 | 890.1 | 53.152 | 5.3811
2020-12-30 07:00:00 | 2.464 | 211.68 | 1.687 | 156.624 | 2.713 | 123 | 3.877 | 102.033 | -23.073 | 889.567 | 50.667 | 7.9591
2020-12-30 07:15:00 | 1.759 | 225.387 | 0 | 146.998 | 1.223 | 92.433 | 2.911 | 85 | -24.131 | 890.175 | 52.608 | 7.9299
2020-12-30 07:30:00 | 0.584 | 94.41 | 3.059 | 79.418 | 3.677 | 86.367 | 4.349 | 86.133 | -22.26 | 889.775 | 58.379 | 8.5289
2020-12-30 07:45:00 | 0 | 99.1 | 1.854 | 79.906 | 2.756 | 86.4 | 3.31 | 85.767 | -21.773 | 889.758 | 58.475 | 9.9899
2020-12-30 08:00:00 | 0.053 | 289.027 | 0.742 | 42.199 | 2.453 | 68.438 | 4.234 | 67.467 | -22.177 | 889.283 | 58.208 | 9.6012
2020-12-30 08:15:00 | 1.06 | 86.533 | 3.08 | 83.868 | 3.137 | 92.433 | 3.259 | 96.467 | -21.906 | 890.083 | 60.48 | 12.6673
2020-12-30 08:30:00 | 2.69 | 94.363 | 2.671 | 98.342 | 3.173 | 104.867 | 5.009 | 105.6 | -21.235 | 889.892 | 61.717 | 10.5619
2020-12-30 08:45:00 | 1.795 | 203.58 | 2.358 | 119.973 | 4.519 | 108.133 | 5.065 | 101.233 | -22.452 | 889.683 | 57.984 | 6.8506
2020-12-30 09:00:00 | 1.862 | 196.74 | 0.874 | 118.389 | 2.433 | 100.667 | 3.309 | 91.667 | -24.014 | 889.783 | 57.803 | 4.5661
2020-12-30 09:15:00 | 1.681 | 204.6 | 0.48 | 124.218 | 2.359 | 96.967 | 3.04 | 91.133 | -23.498 | 890.2 | 60.491 | 3.0249
2020-12-30 09:30:00 | 0.972 | 203.193 | 1.428 | 99.876 | 2.544 | 98.067 | 3.198 | 97.6 | -23.614 | 889.967 | 59.776 | 2.2951
2020-12-30 09:45:00 | 2.675 | 202.587 | 1.739 | 155.807 | 2.427 | 128.267 | 3.847 | 116.133 | -23.531 | 889.825 | 60.885 | 1.6307
2020-12-30 10:00:00 | 1.872 | 209.62 | 0.991 | 150.115 | 2.479 | 120.2 | 3.87 | 107.3 | -21.135 | 889.7 | 58.187 | 1.0644
2020-12-30 10:15:00 | 1.218 | 213.4 | 0.126 | 152.908 | 1.423 | 111.3 | 2.477 | 94.2 | -20.348 | 889.817 | 53.152 | 1.6151
2020-12-30 10:30:00 | 0.266 | 224.7 | 0 | 70.113 | 1.335 | 91.3 | 2.324 | 103.733 | -19.123 | 890.392 | 50.976 | 2.0095
2020-12-30 10:45:00 | 0.126 | 250.66 | 0 | 62.125 | 0.163 | 69.667 | 2.386 | 75.6 | -18.673 | 889.408 | 49.003 | 2.8131
2020-12-30 11:00:00 | 0.598 | 259.64 | 0 | 59.148 | 0.633 | 77.246 | 2.114 | 81.1 | -17.481 | 890.25 | 45.173 | 4.8454
2020-12-30 11:15:00 | 0.769 | 340.333 | 0.357 | 13.838 | 1.498 | 55.973 | 3.235 | 75.233 | -18.656 | 889.717 | 44.768 | 11.7741
2020-12-30 11:30:00 | 3.521 | 68.593 | 3.493 | 69.461 | 3.964 | 77.7 | 4.254 | 79.533 | -18.189 | 889.883 | 51.627 | 19.0503
2020-12-30 11:45:00 | 5.606 | 87.367 | 5.389 | 83.208 | 5.112 | 87.8 | 5.384 | 85.2 | -17.448 | 889.85 | 53.12 | 19.4148
2020-12-30 12:00:00 | 5.596 | 90.147 | 5.363 | 84.27 | 5.145 | 89.233 | 5.231 | 87.2 | -17.014 | 889.725 | 52.139 | 20.1041
2020-12-30 12:15:00 | 5.594 | 84.32 | 5.44 | 77.909 | 5.422 | 86.533 | 5.806 | 83.3 | -16.467 | 889.833 | 50.272 | 31.903
2020-12-30 12:30:00 | 5.77 | 99.433 | 5.021 | 98.713 | 4.98 | 102.967 | 5.375 | 100.133 | -15.874 | 890.042 | 48.021 | 44.3323
2020-12-30 12:45:00 | 7.186 | 117.26 | 7.377 | 110.652 | 8.009 | 114.2 | 8.334 | 107.433 | -15.124 | 889.967 | 44.096 | 52.9933
2020-12-30 13:00:00 | 7.723 | 103.787 | 7.053 | 97.896 | 6.475 | 101.333 | 6.451 | 95.033 | -14.828 | 889.792 | 41.632 | 54.843
2020-12-30 13:15:00 | 7.189 | 101.767 | 6.618 | 95.418 | 6.45 | 95.667 | 6.56 | 90.233 | -14.149 | 889.667 | 40.144 | 56.2868
2020-12-30 13:30:00 | 8.019 | 93.89 | 7.524 | 89.924 | 7.507 | 96.1 | 7.518 | 89.167 | -13.964 | 889.667 | 39.157 | 59.3352
2020-12-30 13:45:00 | 7.499 | 90.487 | 7.354 | 84.345 | 7.184 | 88.567 | 7.926 | 82.567 | -13.616 | 889.617 | 38.261 | 54.7818
2020-12-30 14:00:00 | 8.322 | 86.198 | 7.726 | 80.91 | 7.77 | 87.8 | 8.309 | 82 | -13.17 | 889.8 | 38.133 | 47.4147
2020-12-30 14:15:00 | 7.82 | 75.165 | 8.116 | 70.981 | 8.481 | 77.067 | 8.314 | 74.9 | -12.97 | 889.633 | 37.104 | 48.5537
2020-12-30 14:30:00 | 7.621 | 71.792 | 7.352 | 69.58 | 7.912 | 74.367 | 8.456 | 71.067 | -13.353 | 889.533 | 37.312 | 45.4919
2020-12-30 14:45:00 | 7.079 | 75.76 | 7.192 | 71.824 | 7.672 | 76.7 | 7.884 | 74.733 | -13.653 | 889.833 | 37.947 | 40.8896
2020-12-30 15:00:00 | 6.811 | 83.257 | 6.408 | 78.762 | 6.517 | 82.567 | 6.964 | 79.733 | -13.747 | 889.45 | 38.005 | 34.1818
2020-12-30 15:15:00 | 6.611 | 79.787 | 6.717 | 74.578 | 7.041 | 81.067 | 7.119 | 77.833 | -13.578 | 889.767 | 38.347 | 36.4272
2020-12-30 15:30:00 | 6.502 | 97.773 | 6.205 | 91.23 | 6.628 | 94.267 | 7.12 | 88.3 | -13.653 | 889.933 | 38.235 | 38.2114
2020-12-30 15:45:00 | 6.786 | 88.133 | 6.467 | 83.498 | 6.301 | 87.233 | 6.494 | 83.767 | -13.391 | 889.633 | 38.379 | 35.3656
2020-12-30 16:00:00 | 6.659 | 86.09 | 6.369 | 84.647 | 6.715 | 90.4 | 6.661 | 86.967 | -13.56 | 890.05 | 38.523 | 24.5543
2020-12-30 16:15:00 | 7.577 | 97.503 | 6.774 | 93.616 | 6.569 | 96.233 | 6.883 | 89.833 | -13.203 | 889.65 | 37.451 | 21.9359
2020-12-30 16:30:00 | 7.63 | 108.533 | 7.698 | 103.588 | 7.934 | 105.433 | 8 | 98.867 | -12.886 | 889.667 | 36.635 | 20.8388
2020-12-30 16:45:00 | 8.232 | 112.967 | 8.28 | 108.341 | 8.175 | 110.9 | 8.316 | 105.233 | -12.553 | 889.45 | 36.288 | 23.6903
2020-12-30 17:00:00 | 8.946 | 107.7 | 8.435 | 105.182 | 8.066 | 107 | 8.152 | 102.7 | -12.67 | 889.65 | 36.053 | 35.7856
2020-12-30 17:15:00 | 7.93 | 106.633 | 7.437 | 101.281 | 6.793 | 105.033 | 7.109 | 98.4 | -12.586 | 889.6 | 35.755 | 22.7126
2020-12-30 17:30:00 | 6.439 | 92.033 | 6.342 | 84.359 | 6.025 | 89.9 | 6.232 | 85.333 | -12.42 | 890.183 | 34.539 | 15.388
2020-12-30 17:45:00 | 4.733 | 86.833 | 4.653 | 82.82 | 4.688 | 88.433 | 4.962 | 82.433 | -12.653 | 889.683 | 34.187 | 13.9669
2020-12-30 18:00:00 | 4.807 | 84.067 | 4.64 | 80.97 | 4.742 | 87.7 | 4.808 | 83.333 | -12.92 | 890.333 | 34.187 | 7.8773
2020-12-30 18:15:00 | 4.745 | 79.19 | 4.669 | 75.685 | 5.166 | 80.967 | 5.402 | 77.067 | -13.56 | 889.65 | 35.195 | 4.7295
2020-12-30 18:30:00 | 3.324 | 74.767 | 3.234 | 72.015 | 3.717 | 77.4 | 3.986 | 73.3 | -13.883 | 889.833 | 36.453 | 4.1419
2020-12-30 18:45:00 | 3.046 | 72.147 | 3.018 | 69.436 | 3.296 | 74.333 | 3.572 | 71.4 | -14.416 | 889.75 | 37.952 | 4.797
2020-12-30 19:00:00 | 3.242 | 72.767 | 3.117 | 69.495 | 3.433 | 74.1 | 3.744 | 72.333 | -15.058 | 889.717 | 38.885 | 3.312
2020-12-30 19:15:00 | 3.267 | 71.9 | 3.29 | 69.055 | 3.646 | 74.933 | 3.915 | 73.033 | -15.708 | 889.433 | 39.595 | 5.1701
2020-12-30 19:30:00 | 2.784 | 73.333 | 2.702 | 71.098 | 2.905 | 77.1 | 3.296 | 74.4 | -15.774 | 889.85 | 40.453 | 5.8011
2020-12-30 19:45:00 | 3.902 | 73.833 | 3.756 | 70.601 | 4.192 | 75.433 | 4.572 | 71.667 | -15.774 | 889.717 | 41.12 | 5.4678
2020-12-30 20:00:00 | 3.535 | 82.867 | 3.201 | 80.495 | 3.363 | 82.767 | 3.87 | 79.467 | -16.211 | 889.858 | 41.547 | 3.324
2020-12-30 20:15:00 | 2.933 | 75.92 | 3.184 | 73.484 | 3.652 | 76.833 | 3.856 | 75.967 | -16.254 | 890.017 | 42.101 | 0.50663
2020-12-30 20:30:00 | 1.889 | 70.033 | 2.068 | 67.149 | 2.3 | 70.367 | 2.97 | 66.267 | -16.564 | 889.608 | 42.805 | 0.21033
2020-12-30 20:45:00 | 1.15 | 62.633 | 1.53 | 67.434 | 1.937 | 81.567 | 2.772 | 78.1 | -17.031 | 889.708 | 44.523 | 0.23804
2020-12-30 21:00:00 | 1.247 | 87.2 | 2.352 | 91.329 | 2.748 | 97.067 | 3.331 | 92.267 | -16.748 | 889.842 | 45.547 | 0.31407
2020-12-30 21:15:00 | 0.047 | 121.107 | 1.56 | 102.286 | 2.124 | 104 | 2.683 | 96.767 | -17.114 | 890.158 | 45.461 | 0.30981
2020-12-30 21:30:00 | 0 | 121.373 | 0.813 | 96.378 | 1.497 | 97.067 | 2.172 | 94 | -17.498 | 889.8 | 47.168 | 0.31833
2020-12-30 21:45:00 | 1.515 | 204.367 | 0.34 | 89.24 | 1.941 | 94 | 2.525 | 88.467 | -17.781 | 889.767 | 47.584 | 0.31691
2020-12-30 22:00:00 | 0.525 | 205.84 | 0.1 | 89.287 | 1.877 | 80 | 2.606 | 84.967 | -17.831 | 889.983 | 48.267 | 0.31833
2020-12-30 22:15:00 | 0 | 188.627 | 0 | 73.197 | 1.32 | 81.367 | 2.516 | 76 | -17.531 | 889.733 | 49.28 | 0.30554
2020-12-30 22:30:00 | 0.831 | 206.8 | 0 | 73.295 | 1.386 | 85 | 2.112 | 78.033 | -17.881 | 890.017 | 48.896 | 0.30412
2020-12-30 22:45:00 | 1.833 | 212.68 | 0 | 104.252 | 0.053 | 93.033 | 1.985 | 92 | -17.648 | 889.492 | 48.608 | 0.30554
2020-12-30 23:00:00 | 1.857 | 213.207 | 0 | 109.253 | 1.157 | 95.9 | 2.299 | 93 | -17.548 | 889.575 | 47.659 | 0.30554
2020-12-30 23:15:00 | 2.51 | 222.3 | 0 | 110.26 | 0 | 96 | 1.445 | 92.9 | -17.998 | 889.375 | 46.933 | 0.30128
2020-12-30 23:30:00 | 2.394 | 233.127 | 0 | 151.732 | 0 | 96 | 0.729 | 93 | -17.902 | 889.975 | 46.688 | 0.31265
2020-12-30 23:45:00 | 2.361 | 231.147 | 0 | 172.522 | 0 | 96 | 0.286 | 93 | -18.302 | 889.475 | 46.976 | 0.31549