## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-01 00:00:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.36579
2019-01-01 00:15:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.37687
2019-01-01 00:30:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.38796
2019-01-01 00:45:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.39535
2019-01-01 01:00:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.38426
2019-01-01 01:15:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.40643
2019-01-01 01:30:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.38426
2019-01-01 01:45:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.39535
2019-01-01 02:00:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.39535
2019-01-01 02:15:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.38796
2019-01-01 02:30:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.41013
2019-01-01 02:45:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.38426
2019-01-01 03:00:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.39535
2019-01-01 03:15:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.42491
2019-01-01 03:30:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.44338
2019-01-01 03:45:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.41382
2019-01-01 04:00:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.36949
2019-01-01 04:15:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.38796
2019-01-01 04:30:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.39904
2019-01-01 04:45:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.40643
2019-01-01 05:00:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.42491
2019-01-01 05:15:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.39535
2019-01-01 05:30:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.42121
2019-01-01 05:45:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.42491
2019-01-01 06:00:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.3584
2019-01-01 06:15:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.36579
2019-01-01 06:30:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.38796
2019-01-01 06:45:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.3584
2019-01-01 07:00:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.41013
2019-01-01 07:15:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.41752
2019-01-01 07:30:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.38057
2019-01-01 07:45:00 | 2.3222 | 317.431 | 2.5904 | 312.468 | 1.6274 | 351.117 | 2.3489 | 313.33 | 26.46 | 984.37 | 31.7949 | -0.35101
2019-01-01 08:00:00 | 3.1587 | 244.324 | 2.4053 | 203.349 | 1.894 | 195.098 | 3.1723 | 253.847 | 26.46 | 984.595 | 31.7362 | -0.33993
2019-01-01 08:15:00 | 2.9033 | 232.416 | 2.661 | 198.791 | 1.894 | 187.095 | 3.1723 | 241.598 | 26.46 | 985.092 | 30.7798 | -0.4323
2019-01-01 08:30:00 | 2.9033 | 228.702 | 2.9167 | 209.8 | 2.1497 | 186.115 | 3.1723 | 237.296 | 26.46 | 985.346 | 29.5482 | -0.37687
2019-01-01 08:45:00 | 2.9033 | 240.287 | 2.1497 | 209.398 | 1.3827 | 195.072 | 2.661 | 252.69 | 26.46 | 985.28 | 29.4752 | -0.39535
2019-01-01 09:00:00 | 1.6267 | 245.763 | 0 | 219.246 | 0.37567 | 208.977 | 1.894 | 245.47 | 26.46 | 985.561 | 29.8121 | -0.38796
2019-01-01 09:15:00 | 1.882 | 251.865 | 1.6383 | 191.686 | 0.75133 | 199.725 | 1.894 | 264.07 | 26.46 | 985.857 | 29.4701 | -0.38796
2019-01-01 09:30:00 | 1.882 | 256.412 | 1.894 | 230.578 | 1.894 | 233.616 | 2.1497 | 256.973 | 26.46 | 986.6 | 29.7045 | -0.37687
2019-01-01 09:45:00 | 1.3713 | 249.723 | 1.6383 | 236.654 | 1.127 | 244.207 | 1.3827 | 262.292 | 26.46 | 986.749 | 29.6702 | -0.38796
2019-01-01 10:00:00 | 0 | 255.696 | 0.75133 | 241.552 | 1.127 | 242.57 | 0 | 269.365 | 26.46 | 986.654 | 30.3842 | -0.37687
2019-01-01 10:15:00 | 0 | 261.838 | 0.75133 | 238.715 | 0 | 228.803 | 0 | 254.787 | 26.46 | 986.595 | 29.7285 | -0.37687
2019-01-01 10:30:00 | 0 | 254.169 | 1.6383 | 260.249 | 1.3827 | 236.7 | 0.75133 | 265.684 | 26.46 | 986.744 | 28.9758 | -0.38426
2019-01-01 10:45:00 | 0 | 274.015 | 1.3827 | 264.115 | 0 | 236.793 | 0.75133 | 258.841 | 26.46 | 986.743 | 29.3162 | -0.38426
2019-01-01 11:00:00 | 1.882 | 287.456 | 1.894 | 277.626 | 1.6383 | 244.237 | 2.1497 | 257.163 | 26.46 | 986.175 | 29.5818 | -0.34731
2019-01-01 11:15:00 | 1.6267 | 276.893 | 2.1497 | 290.916 | 2.1497 | 248.333 | 1.894 | 277.6 | 26.46 | 986.441 | 30.1623 | -0.3547
2019-01-01 11:30:00 | 2.3927 | 276.917 | 2.9167 | 287.087 | 1.894 | 253.504 | 2.9167 | 301.234 | 26.46 | 986.144 | 30.4697 | -0.3547
2019-01-01 11:45:00 | 0.744 | 273.796 | 0.75133 | 279.258 | 1.894 | 253.504 | 1.127 | 279.82 | 26.46 | 986.144 | 30.6746 | -0.36579
2019-01-01 12:00:00 | 1.3713 | 272.82 | 3.428 | 281.112 | 1.3827 | 255.26 | 1.6383 | 284.283 | 26.46 | 985.847 | 30.6063 | -0.36949
2019-01-01 12:15:00 | 1.116 | 314.672 | 1.894 | 298.867 | 2.661 | 255.845 | 1.3827 | 298.039 | 26.46 | 985.847 | 30.6405 | -0.33623
2019-01-01 12:30:00 | 2.3927 | 311.965 | 2.1497 | 297.721 | 2.661 | 256.625 | 2.661 | 307.063 | 26.46 | 985.55 | 31.3578 | -0.35101
2019-01-01 12:45:00 | 3.6693 | 302.77 | 3.6837 | 296.965 | 4.962 | 258.869 | 3.6837 | 285.6 | 26.46 | 985.55 | 30.8796 | -0.38796
2019-01-01 13:00:00 | 1.6267 | 261.04 | 2.1497 | 257.113 | 2.661 | 250.87 | 1.894 | 238.577 | 26.46 | 985.253 | 32.2801 | -0.34731
2019-01-01 13:15:00 | 3.414 | 305.258 | 3.428 | 307.428 | 2.661 | 251.967 | 3.1723 | 291.185 | 26.46 | 985.253 | 31.4945 | -0.33623
2019-01-01 13:30:00 | 3.414 | 273.235 | 3.1723 | 282.892 | 1.6383 | 252.528 | 3.428 | 290.283 | 26.46 | 984.956 | 31.7677 | -0.36579
2019-01-01 13:45:00 | 2.1373 | 300.38 | 2.1497 | 319.354 | 2.661 | 252.626 | 2.4053 | 297.624 | 26.46 | 985.253 | 31.1529 | -0.3547
2019-01-01 14:00:00 | 1.6267 | 279.503 | 1.6383 | 273.014 | 2.4053 | 252.528 | 1.894 | 283.015 | 26.46 | 985.253 | 31.4945 | -0.3547
2019-01-01 14:15:00 | 3.1587 | 285.78 | 3.1723 | 288.658 | 3.1723 | 252.463 | 2.9167 | 284.243 | 26.46 | 985.015 | 33.2717 | -0.34731
2019-01-01 14:30:00 | 3.1587 | 299.374 | 3.1723 | 293.328 | 2.4053 | 252.585 | 3.1723 | 292.226 | 26.46 | 985.254 | 33.1415 | -0.36579
2019-01-01 14:45:00 | 2.3927 | 288.911 | 3.428 | 280.109 | 3.428 | 252.51 | 2.661 | 272.345 | 26.46 | 985.255 | 32.6662 | -0.3547
2019-01-01 15:00:00 | 1.6267 | 311.557 | 3.1723 | 285.019 | 3.1723 | 252.466 | 1.894 | 277.571 | 26.46 | 985.838 | 32.8034 | -0.36579
2019-01-01 15:15:00 | 2.3927 | 300.851 | 1.6383 | 312.224 | 1.6383 | 252.498 | 2.1497 | 335.42 | 26.46 | 985.53 | 31.913 | -0.3547
2019-01-01 15:30:00 | 1.882 | 12.393 | 2.4053 | 35.8174 | 0.75133 | 252.496 | 1.894 | 14.5399 | 26.46 | 985.257 | 32.4935 | -0.36579
2019-01-01 15:45:00 | 2.1373 | 354.222 | 3.1723 | 6.2007 | 1.894 | 252.493 | 1.894 | 354.124 | 26.46 | 985.553 | 33.3131 | -0.38796
2019-01-01 16:00:00 | 2.1373 | 19.591 | 1.894 | 25.6717 | 2.1497 | 252.609 | 1.6383 | 356.103 | 26.46 | 985.103 | 34.7849 | -0.40274
2019-01-01 16:15:00 | 2.9033 | 349.961 | 1.894 | 8.8869 | 2.9167 | 253.371 | 2.9167 | 349.376 | 26.46 | 984.662 | 35.5373 | -0.38796
2019-01-01 16:30:00 | 1.882 | 356.928 | 2.9167 | 6.7262 | 3.1723 | 253.519 | 2.9167 | 355.952 | 26.46 | 984.068 | 35.9512 | -0.39535
2019-01-01 16:45:00 | 2.3927 | 356.912 | 3.6837 | 15.1188 | 2.9167 | 253.529 | 3.1723 | 356.424 | 26.46 | 984.057 | 36.3012 | -0.43969
2019-01-01 17:00:00 | 2.9033 | 85.4701 | 3.1723 | 9.7006 | 2.4053 | 253.384 | 1.894 | 356.817 | 26.46 | 983.775 | 36.8484 | -0.40643
2019-01-01 17:15:00 | 2.3927 | 0.09763 | 2.1497 | 9.1138 | 1.6383 | 253.408 | 1.894 | 1.7086 | 26.46 | 983.329 | 36.9887 | -0.25864
2019-01-01 17:30:00 | 1.3713 | 0.09763 | 2.4053 | 7.9413 | 1.6383 | 253.427 | 2.1497 | 0.29292 | 26.46 | 983.477 | 37.1965 | -0.24016
2019-01-01 17:45:00 | 1.116 | 85.4603 | 2.661 | 8.5272 | 1.6383 | 253.403 | 1.894 | 0.29292 | 26.46 | 983.477 | 36.9231 | -0.33254
2019-01-01 18:00:00 | 1.882 | 85.3382 | 2.1497 | 8.4784 | 1.127 | 253.354 | 1.3827 | 0.34174 | 26.46 | 983.626 | 37.0598 | -0.26233
2019-01-01 18:15:00 | 1.882 | 85.2406 | 1.6383 | 0.21169 | 1.6383 | 253.378 | 1.6383 | 0.34174 | 26.46 | 983.477 | 37.0598 | -0.36579
2019-01-01 18:30:00 | 2.648 | 0.097641 | 2.661 | 0.11405 | 1.894 | 253.378 | 2.1497 | 2.5387 | 26.46 | 983.775 | 36.9231 | -0.37687
2019-01-01 18:45:00 | 1.882 | 1.367 | 1.894 | 0.11405 | 0 | 253.33 | 1.6383 | 3.0757 | 26.46 | 983.481 | 37.5726 | -0.41013
2019-01-01 19:00:00 | 0.744 | 0.097641 | 1.6383 | 0.76472 | 1.127 | 253.33 | 1.3827 | 3.0269 | 26.46 | 983.63 | 37.1282 | -0.36579
2019-01-01 19:15:00 | 0.744 | 0.097641 | 1.127 | 0.76434 | 1.127 | 253.334 | 1.3827 | 3.0269 | 26.46 | 983.627 | 36.8553 | -0.37687
2019-01-01 19:30:00 | 0 | 0.097646 | 1.127 | 0.32392 | 0.75133 | 253.348 | 0 | 3.027 | 26.46 | 983.491 | 36.7548 | -0.36579
2019-01-01 19:45:00 | 0 | 0.097648 | 0 | 0.32337 | 0 | 253.355 | 0 | 3.0272 | 26.46 | 983.185 | 36.6532 | -0.39535
2019-01-01 20:00:00 | 0 | 0.097652 | 1.3827 | 0.32208 | 0 | 253.323 | 0 | 3.0518 | 26.46 | 983.206 | 37.4763 | -0.36579
2019-01-01 20:15:00 | 0 | 85.0354 | 1.127 | 37.203 | 0.75133 | 253.348 | 0 | 343.853 | 26.46 | 983.26 | 37.2713 | -0.36579
2019-01-01 20:30:00 | 1.6267 | 344.561 | 1.894 | 326.587 | 1.6383 | 253.348 | 1.6383 | 343.853 | 26.46 | 983.298 | 37.75 | -0.40274
2019-01-01 20:45:00 | 1.116 | 341.021 | 1.3827 | 325.122 | 1.127 | 253.348 | 1.127 | 335.088 | 26.46 | 983.235 | 37.3739 | -0.39535
2019-01-01 21:00:00 | 0.744 | 340.923 | 1.127 | 324.439 | 0.75133 | 253.348 | 0 | 334.99 | 26.46 | 983.219 | 38.9126 | -0.40643
2019-01-01 21:15:00 | 1.116 | 329.501 | 1.127 | 307.084 | 1.127 | 253.327 | 1.127 | 334.286 | 26.46 | 982.998 | 38.7763 | -0.37687
2019-01-01 21:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.38796
2019-01-01 21:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.37687
2019-01-01 22:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.37687
2019-01-01 22:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.40274
2019-01-01 22:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.38796
2019-01-01 22:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.39535
2019-01-01 23:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.40274
2019-01-01 23:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.38426
2019-01-01 23:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.45077
2019-01-01 23:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.41382