## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-02 00:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.43969
2019-01-02 00:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.42491
2019-01-02 00:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.41752
2019-01-02 00:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.39535
2019-01-02 01:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.39535
2019-01-02 01:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.45816
2019-01-02 01:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.42491
2019-01-02 01:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.45816
2019-01-02 02:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.44338
2019-01-02 02:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.42491
2019-01-02 02:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.46925
2019-01-02 02:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.42491
2019-01-02 03:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.45077
2019-01-02 03:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.44338
2019-01-02 03:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.48772
2019-01-02 03:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.46925
2019-01-02 04:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.45077
2019-01-02 04:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.46925
2019-01-02 04:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.47663
2019-01-02 04:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.44708
2019-01-02 05:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.46925
2019-01-02 05:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.48772
2019-01-02 05:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.4988
2019-01-02 05:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.49511
2019-01-02 06:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.4988
2019-01-02 06:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.44338
2019-01-02 06:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.49141
2019-01-02 06:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.4988
2019-01-02 07:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | -0.33623
2019-01-02 07:15:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | 0.2143
2019-01-02 07:30:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | 0.89415
2019-01-02 07:45:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | 2.2908
2019-01-02 08:00:00 | 0 | 329.498 | 1.1786 | 307.056 | 0.86355 | 253.325 | 0.69106 | 334.283 | 26.46 | 982.974 | 38.776 | 2.7379
2019-01-02 08:15:00 | 3.9247 | 139.522 | 2.1497 | 136.224 | 1.3827 | 155.052 | 3.428 | 142.746 | 26.46 | 982.974 | 38.8494 | 2.2095
2019-01-02 08:30:00 | 3.9247 | 143.638 | 4.195 | 127.763 | 2.9167 | 149.008 | 4.195 | 155.795 | 26.46 | 983.187 | 40.0706 | 2.0026
2019-01-02 08:45:00 | 3.1587 | 154.322 | 2.1497 | 172.499 | 1.894 | 201.971 | 3.6837 | 144.167 | 26.46 | 983.181 | 39.7265 | 2.0691
2019-01-02 09:00:00 | 3.9247 | 138.601 | 2.9167 | 152.483 | 2.661 | 178.048 | 4.195 | 148.268 | 26.46 | 983.478 | 39.453 | 1.9509
2019-01-02 09:15:00 | 2.9033 | 139.066 | 3.1723 | 140.641 | 2.9167 | 164.253 | 2.9167 | 139.457 | 26.46 | 983.775 | 38.2841 | 2.0433
2019-01-02 09:30:00 | 2.9033 | 132.72 | 3.1723 | 136.735 | 3.1723 | 157.907 | 3.428 | 136.381 | 26.46 | 984.37 | 37.1901 | 2.2871
2019-01-02 09:45:00 | 2.9033 | 134.188 | 2.661 | 143.739 | 3.9393 | 170.937 | 2.661 | 135.627 | 26.46 | 984.381 | 36.6374 | 2.1652
2019-01-02 10:00:00 | 2.9033 | 148.534 | 3.428 | 143.05 | 3.6837 | 150.754 | 3.1723 | 159.439 | 26.46 | 984.663 | 35.8791 | 0.55423
2019-01-02 10:15:00 | 2.1373 | 148.26 | 3.1723 | 140.118 | 3.428 | 175.999 | 2.4053 | 144.722 | 26.46 | 984.658 | 35.8096 | 0.2143
2019-01-02 10:30:00 | 1.882 | 152.477 | 3.428 | 149.92 | 3.6837 | 169.944 | 1.894 | 159.82 | 26.46 | 984.796 | 35.3302 | 0.12562
2019-01-02 10:45:00 | 1.3713 | 153.533 | 2.661 | 142.412 | 3.1723 | 157.021 | 1.6383 | 149.093 | 26.46 | 984.686 | 33.8913 | -0.022169
2019-01-02 11:00:00 | 1.116 | 150.434 | 1.894 | 142.385 | 2.661 | 157.995 | 1.6383 | 157.58 | 26.46 | 984.367 | 34.0564 | -0.17735
2019-01-02 11:15:00 | 1.3713 | 153.336 | 1.894 | 181.798 | 3.428 | 184.604 | 1.127 | 176.409 | 26.46 | 984.361 | 32.8608 | -0.048033
2019-01-02 11:30:00 | 2.9033 | 165.653 | 2.1497 | 178.481 | 1.6383 | 194.286 | 2.9167 | 161.287 | 26.46 | 983.767 | 31.7677 | -0.044338
2019-01-02 11:45:00 | 0 | 149.312 | 2.9167 | 145.775 | 1.894 | 149.605 | 0.37567 | 161.312 | 26.46 | 983.767 | 32.2801 | -0.2143
2019-01-02 12:00:00 | 2.3927 | 168.019 | 3.1723 | 160.165 | 3.1723 | 169.824 | 2.661 | 178.701 | 26.46 | 983.767 | 32.4509 | -0.12193
2019-01-02 12:15:00 | 3.414 | 163.946 | 3.428 | 133.287 | 3.428 | 153.287 | 3.6837 | 178.579 | 26.46 | 983.47 | 32.7242 | -0.18844
2019-01-02 12:30:00 | 2.648 | 150.775 | 2.4053 | 139.897 | 3.9393 | 133.313 | 2.1497 | 179.36 | 26.46 | 983.173 | 31.5286 | -0.16257
2019-01-02 12:45:00 | 2.648 | 136.215 | 3.6837 | 131.141 | 4.7063 | 129.24 | 2.9167 | 125.874 | 26.46 | 983.173 | 30.4355 | -0.15888
2019-01-02 13:00:00 | 3.9247 | 154.092 | 3.6837 | 130.385 | 3.6837 | 138.386 | 3.9393 | 157.019 | 26.46 | 983.173 | 32.041 | -0.092371
2019-01-02 13:15:00 | 3.1587 | 139.751 | 3.6837 | 138.97 | 5.2177 | 148.141 | 3.1723 | 147.336 | 26.46 | 983.173 | 32.5875 | 0.19213
2019-01-02 13:30:00 | 2.3927 | 142.849 | 4.195 | 135.117 | 4.195 | 151.58 | 2.1497 | 128.093 | 26.46 | 983.024 | 32.9291 | 0.2143
2019-01-02 13:45:00 | 3.6693 | 141.337 | 3.6837 | 147.165 | 4.195 | 149.263 | 3.428 | 140.8 | 26.46 | 983.024 | 32.041 | 0.22908
2019-01-02 14:00:00 | 3.9247 | 146.19 | 4.7063 | 148.653 | 4.195 | 162.775 | 3.9393 | 146.971 | 26.46 | 982.875 | 30.8454 | 0.32515
2019-01-02 14:15:00 | 2.9033 | 137.215 | 3.6837 | 126.361 | 3.1723 | 140.678 | 2.9167 | 154.141 | 26.46 | 983.173 | 30.9821 | -0.088676
2019-01-02 14:30:00 | 3.414 | 148.629 | 3.1723 | 153.604 | 3.6837 | 165.019 | 3.6837 | 136.508 | 26.46 | 983.173 | 30.3331 | 0.081287
2019-01-02 14:45:00 | 4.6907 | 145.507 | 4.4507 | 137.458 | 4.195 | 150.897 | 4.195 | 152.58 | 26.46 | 983.173 | 31.2895 | 0.33623
2019-01-02 15:00:00 | 3.9247 | 145.093 | 5.2177 | 133.044 | 4.962 | 144.166 | 3.9393 | 150.97 | 26.46 | 982.875 | 30.9479 | 0.55423
2019-01-02 15:15:00 | 3.6693 | 147.8 | 4.962 | 130.873 | 4.4507 | 158.092 | 3.9393 | 148.727 | 26.46 | 982.772 | 32.0068 | 1.0752
2019-01-02 15:30:00 | 4.18 | 150.518 | 4.962 | 132.445 | 3.6837 | 135.615 | 4.4507 | 158.762 | 26.46 | 982.751 | 30.267 | 1.2563
2019-01-02 15:45:00 | 3.1587 | 168.758 | 3.9393 | 147.392 | 3.9393 | 151.513 | 3.1723 | 170.053 | 26.46 | 982.846 | 31.5688 | 1.2045
2019-01-02 16:00:00 | 2.3927 | 171.751 | 2.661 | 173.464 | 3.428 | 160.675 | 2.4053 | 160.528 | 26.46 | 982.582 | 32.5285 | 1.2858
2019-01-02 16:15:00 | 3.1587 | 156.104 | 3.428 | 133.445 | 2.661 | 149.445 | 2.9167 | 150.494 | 26.46 | 982.112 | 33.8935 | 0.5764
2019-01-02 16:30:00 | 2.3927 | 157.432 | 3.1723 | 144.092 | 3.1723 | 153.602 | 2.4053 | 146.795 | 26.46 | 981.681 | 35.0575 | 1.175
2019-01-02 16:45:00 | 3.414 | 165.661 | 3.6837 | 160.787 | 3.1723 | 171.809 | 3.6837 | 180.714 | 26.46 | 981.392 | 36.4258 | 2.2206
2019-01-02 17:00:00 | 3.6693 | 162.257 | 4.4507 | 152.359 | 4.195 | 160.354 | 3.9393 | 165.795 | 26.46 | 980.798 | 36.907 | 2.1726
2019-01-02 17:15:00 | 4.6907 | 163.665 | 4.195 | 155.087 | 4.195 | 150.827 | 4.7063 | 161.127 | 26.46 | 980.574 | 36.4377 | 2.9707
2019-01-02 17:30:00 | 4.4353 | 158.737 | 3.6837 | 142.496 | 3.9393 | 151.659 | 3.6837 | 160.324 | 26.46 | 980.504 | 35.4127 | 3.3401
2019-01-02 17:45:00 | 4.18 | 168.866 | 4.195 | 153.893 | 4.195 | 149.927 | 4.195 | 167.011 | 26.46 | 980.504 | 37.327 | 3.7872
2019-01-02 18:00:00 | 4.4353 | 136.576 | 3.428 | 148.841 | 3.1723 | 157.566 | 4.195 | 140.725 | 26.46 | 980.206 | 38.079 | 5.5534
2019-01-02 18:15:00 | 5.712 | 135.503 | 3.9393 | 147.328 | 3.1723 | 159.64 | 5.4733 | 149.585 | 26.46 | 980.355 | 39.0361 | 5.8637
2019-01-02 18:30:00 | 5.712 | 143.389 | 5.4733 | 138.594 | 4.7063 | 146.586 | 5.729 | 151.174 | 26.46 | 980.206 | 38.9685 | 6.8022
2019-01-02 18:45:00 | 5.2013 | 139.546 | 4.195 | 141.929 | 3.6837 | 157.389 | 5.4733 | 148.651 | 26.46 | 980.206 | 38.6305 | 5.291
2019-01-02 19:00:00 | 4.946 | 146.288 | 4.195 | 143.106 | 3.1723 | 150.413 | 4.962 | 153.342 | 26.46 | 980.504 | 38.8369 | 4.1899
2019-01-02 19:15:00 | 4.6907 | 141.725 | 2.9167 | 138.909 | 2.1497 | 156.566 | 4.4507 | 146.46 | 26.46 | 980.355 | 39.0423 | 4.2343
2019-01-02 19:30:00 | 4.6907 | 144.46 | 4.4507 | 141.742 | 3.9393 | 150.904 | 4.7063 | 150.025 | 26.46 | 980.504 | 39.2479 | 4.2602
2019-01-02 19:45:00 | 4.946 | 150.904 | 4.195 | 143.988 | 3.6837 | 146.803 | 4.962 | 159.008 | 26.46 | 980.504 | 38.5641 | 3.6283
2019-01-02 20:00:00 | 4.6907 | 151.612 | 4.4507 | 143.085 | 3.9393 | 158.886 | 4.4507 | 163.134 | 26.46 | 980.801 | 38.8376 | 4.3525
2019-01-02 20:15:00 | 5.2013 | 154.224 | 4.7063 | 143.695 | 4.7063 | 153.882 | 5.4733 | 159.448 | 26.46 | 980.801 | 38.906 | 5.3945
2019-01-02 20:30:00 | 4.6907 | 152.393 | 3.9393 | 139.985 | 3.428 | 162.523 | 4.7063 | 156.86 | 26.46 | 980.801 | 38.9402 | 5.6864
2019-01-02 20:45:00 | 4.946 | 157.178 | 2.9167 | 144.281 | 3.6837 | 155.542 | 4.7063 | 157.446 | 26.46 | 980.504 | 39.8632 | 7.7259
2019-01-02 21:00:00 | 4.946 | 145.68 | 2.661 | 127.438 | 2.661 | 147.389 | 4.7063 | 188.423 | 26.46 | 980.355 | 40.4102 | 8.3208
2019-01-02 21:15:00 | 4.4353 | 148.561 | 5.2177 | 165.176 | 5.4733 | 178.146 | 4.962 | 153.37 | 26.46 | 980.206 | 40.3761 | 10.0093
2019-01-02 21:30:00 | 4.946 | 155.982 | 5.2177 | 157.17 | 5.729 | 153.223 | 5.2177 | 158.935 | 26.46 | 980.206 | 41.0256 | 10.3271
2019-01-02 21:45:00 | 4.6907 | 158.423 | 4.7063 | 163.175 | 3.1723 | 153.687 | 3.6837 | 156.543 | 26.46 | 980.206 | 41.2308 | 10.2754
2019-01-02 22:00:00 | 6.478 | 152.564 | 5.729 | 163.516 | 5.2177 | 156.323 | 6.7517 | 152.125 | 26.46 | 980.206 | 40.547 | 11.3173
2019-01-02 22:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 14.4062
2019-01-02 22:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 16.6896
2019-01-02 22:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 19.8081
2019-01-02 23:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 20.3475
2019-01-02 23:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 19.8746
2019-01-02 23:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 22.4536
2019-01-02 23:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 16.2462