## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-03 00:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 15.1267
2019-01-03 00:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 14.8828
2019-01-03 00:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 16.2647
2019-01-03 00:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 15.8915
2019-01-03 01:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 17.3842
2019-01-03 01:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 15.9617
2019-01-03 01:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 15.0048
2019-01-03 01:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 16.9778
2019-01-03 02:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 15.4408
2019-01-03 02:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 17.4471
2019-01-03 02:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 16.7487
2019-01-03 02:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 17.7796
2019-01-03 03:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 18.1454
2019-01-03 03:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 22.0139
2019-01-03 03:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 22.6753
2019-01-03 03:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 20.887
2019-01-03 04:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 19.9965
2019-01-03 04:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 23.1186
2019-01-03 04:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 24.8774
2019-01-03 04:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 24.5264
2019-01-03 05:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 26.614
2019-01-03 05:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 30.5527
2019-01-03 05:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 39.6789
2019-01-03 05:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 37.6911
2019-01-03 06:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 35.2598
2019-01-03 06:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 38.4781
2019-01-03 06:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 35.5481
2019-01-03 06:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 39.5275
2019-01-03 07:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 33.0504
2019-01-03 07:15:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 31.2141
2019-01-03 07:30:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 33.2351
2019-01-03 07:45:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 32.2856
2019-01-03 08:00:00 | 5.0737 | 143.654 | 5.6012 | 161.783 | 3.9393 | 172.776 | 5.4733 | 147.56 | 26.46 | 979.909 | 40.4102 | 33.4199
2019-01-03 08:15:00 | 9.0313 | 151.344 | 8.797 | 146.478 | 8.2857 | 160.082 | 8.2857 | 154.81 | 26.46 | 979.612 | 48.8889 | 39.6309
2019-01-03 08:30:00 | 7.4993 | 139.383 | 6.496 | 148.333 | 7.0073 | 166.331 | 6.7517 | 132.719 | 26.46 | 980.652 | 49.1624 | 37.3179
2019-01-03 08:45:00 | 8.5207 | 133.21 | 8.03 | 126.854 | 6.7517 | 131.258 | 8.797 | 146.805 | 26.46 | 980.801 | 48.095 | 32.3595
2019-01-03 09:00:00 | 6.7333 | 145.436 | 6.7517 | 136.687 | 7.0073 | 143.972 | 6.7517 | 157.029 | 26.46 | 981.396 | 48.2653 | 30.8667
2019-01-03 09:15:00 | 8.01 | 144.337 | 7.0073 | 130.487 | 7.5187 | 150.414 | 7.5187 | 152.147 | 26.46 | 981.545 | 47.4789 | 24.0497
2019-01-03 09:30:00 | 7.4993 | 134.746 | 6.496 | 130.61 | 5.4733 | 148.828 | 6.7517 | 145.07 | 26.46 | 981.991 | 47.3765 | 18.308
2019-01-03 09:45:00 | 5.712 | 125.193 | 5.729 | 137.943 | 6.2403 | 165.63 | 6.2403 | 138.615 | 26.46 | 982.34 | 46.7231 | 15.9211
2019-01-03 10:00:00 | 8.2653 | 145.104 | 6.496 | 129.959 | 5.4733 | 146.323 | 8.5413 | 146.25 | 26.46 | 982.285 | 46.4068 | 21.068
2019-01-03 10:15:00 | 8.01 | 143.068 | 7.5187 | 139.732 | 8.03 | 149.949 | 7.5187 | 144.654 | 26.46 | 981.988 | 48.1121 | 25.173
2019-01-03 10:30:00 | 10.0527 | 138.14 | 9.564 | 148.808 | 10.0753 | 151.534 | 10.0753 | 150.607 | 26.46 | 981.69 | 50.3673 | 44.8369
2019-01-03 10:45:00 | 9.542 | 143.971 | 8.5413 | 132.632 | 10.331 | 145.899 | 9.8197 | 146.704 | 26.46 | 981.096 | 49.2739 | 54.309
2019-01-03 11:00:00 | 5.4567 | 150.046 | 9.3083 | 165.3 | 11.6093 | 140.945 | 5.4733 | 159.121 | 26.46 | 981.096 | 49.547 | 50.365
2019-01-03 11:15:00 | 7.7547 | 138.65 | 9.0527 | 134.24 | 10.0753 | 143.432 | 8.797 | 146.262 | 26.46 | 981.06 | 48.8973 | 46.8256
2019-01-03 11:30:00 | 7.7547 | 140.742 | 8.5413 | 148.213 | 8.797 | 146.305 | 7.7743 | 159.21 | 26.46 | 981.094 | 48.3826 | 37.9941
2019-01-03 11:45:00 | 10.308 | 147.881 | 10.5867 | 140.566 | 10.331 | 144.831 | 10.331 | 154.906 | 26.46 | 980.501 | 49.951 | 37.9091
2019-01-03 12:00:00 | 8.776 | 155.541 | 8.5413 | 150.958 | 5.9847 | 152.564 | 8.797 | 152.979 | 26.46 | 980.649 | 52.5135 | 36.8967
2019-01-03 12:15:00 | 4.6907 | 197.465 | 4.7063 | 202.349 | 4.4507 | 180.705 | 4.7063 | 198.197 | 26.46 | 980.649 | 52.8932 | 37.7502
2019-01-03 12:30:00 | 4.18 | 179.212 | 4.7063 | 161.237 | 5.9847 | 162.209 | 4.195 | 196.485 | 26.46 | 980.352 | 54.1221 | 39.9671
2019-01-03 12:45:00 | 7.4993 | 136.012 | 7.0073 | 131.577 | 7.263 | 133.206 | 6.7517 | 170.24 | 26.46 | 980.203 | 53.4404 | 38.7885
2019-01-03 13:00:00 | 9.2867 | 148.966 | 9.8197 | 140.457 | 9.564 | 153.748 | 9.0527 | 145.77 | 26.46 | 979.905 | 53.5086 | 37.7946
2019-01-03 13:15:00 | 9.7973 | 146.744 | 9.564 | 142.577 | 8.03 | 135.326 | 9.8197 | 151.282 | 26.46 | 979.603 | 51.4578 | 35.7365
2019-01-03 13:30:00 | 8.2653 | 139.794 | 9.3083 | 129.504 | 8.5413 | 142.112 | 9.0527 | 147.918 | 26.46 | 979.906 | 50.2289 | 33.9002
2019-01-03 13:45:00 | 5.712 | 160.325 | 6.2403 | 176.942 | 6.496 | 184.964 | 5.4733 | 167.326 | 26.46 | 979.837 | 48.4145 | 34.3103
2019-01-03 14:00:00 | 6.2227 | 149.859 | 5.9847 | 139.444 | 5.4733 | 155.322 | 5.9847 | 146.2 | 26.46 | 980.242 | 48.0306 | 31.1365
2019-01-03 14:15:00 | 6.9887 | 128.071 | 7.263 | 127.047 | 6.2403 | 153.705 | 7.0073 | 141.144 | 26.46 | 979.939 | 49.9753 | 28.4429
2019-01-03 14:30:00 | 9.542 | 138.122 | 8.797 | 124.757 | 11.3537 | 140.318 | 9.3083 | 160.659 | 26.46 | 979.348 | 49.5663 | 31.118
2019-01-03 14:45:00 | 6.478 | 149.483 | 7.0073 | 146.093 | 7.0073 | 166.727 | 5.9847 | 148.703 | 26.46 | 979.974 | 49.2573 | 28.8974
2019-01-03 15:00:00 | 6.9887 | 139.666 | 8.5413 | 146.033 | 8.03 | 153.813 | 6.496 | 153.155 | 26.46 | 979.709 | 48.9198 | 26.8283
2019-01-03 15:15:00 | 6.478 | 155.724 | 7.7743 | 149.043 | 8.5413 | 168.579 | 6.496 | 155.749 | 26.46 | 980.4 | 48.0342 | 29.703
2019-01-03 15:30:00 | 7.7547 | 154.444 | 7.7743 | 147.496 | 8.2857 | 157.494 | 7.5187 | 157.591 | 26.46 | 980.306 | 48.7898 | 28.9085
2019-01-03 15:45:00 | 7.244 | 147.402 | 7.0073 | 144.967 | 6.7517 | 158.331 | 7.0073 | 151.622 | 26.46 | 980.202 | 50.1591 | 22.7048
2019-01-03 16:00:00 | 8.01 | 143.791 | 5.9847 | 141.356 | 5.4733 | 143.45 | 7.7743 | 153.745 | 26.46 | 980.203 | 49.4074 | 18.5999
2019-01-03 16:15:00 | 4.6907 | 136.741 | 4.195 | 129.208 | 3.9393 | 192.951 | 4.962 | 150.233 | 26.46 | 979.9 | 50.5353 | 16.5197
2019-01-03 16:30:00 | 6.7333 | 145.942 | 6.7517 | 135.335 | 5.2177 | 141.99 | 6.7517 | 151.895 | 26.46 | 979.439 | 51.3907 | 15.0897
2019-01-03 16:45:00 | 3.414 | 122.306 | 4.4507 | 115.261 | 4.195 | 146.094 | 4.195 | 128.186 | 26.46 | 979.309 | 52.2125 | 15.2412
2019-01-03 17:00:00 | 2.1373 | 131.528 | 2.4053 | 131.803 | 2.4053 | 147.265 | 1.894 | 150.388 | 26.46 | 979.312 | 53.1693 | 11.5168
2019-01-03 17:15:00 | 4.946 | 139.363 | 4.7063 | 134.367 | 4.7063 | 151.22 | 5.2177 | 137.752 | 26.46 | 979.014 | 53.6487 | 9.6694
2019-01-03 17:30:00 | 4.6907 | 127.45 | 4.4507 | 119.334 | 4.7063 | 127.914 | 4.962 | 128.646 | 26.46 | 978.866 | 54.2716 | 9.3553
2019-01-03 17:45:00 | 4.6907 | 125.761 | 4.7063 | 127.506 | 5.9847 | 132.033 | 5.4733 | 116.219 | 26.46 | 979.05 | 54.4165 | 8.6533
2019-01-03 18:00:00 | 5.712 | 126.716 | 4.4507 | 106.667 | 4.4507 | 121.2 | 5.729 | 124.056 | 26.46 | 979.003 | 54.5547 | 8.2099
2019-01-03 18:15:00 | 2.9033 | 123.202 | 4.195 | 129.219 | 3.428 | 155.662 | 3.1723 | 131.109 | 26.46 | 978.998 | 55.0333 | 5.7566
2019-01-03 18:30:00 | 5.4567 | 139.944 | 5.4733 | 124.484 | 4.962 | 128.303 | 5.729 | 136.259 | 26.46 | 979.165 | 55.6144 | 7.9033
2019-01-03 18:45:00 | 5.4567 | 136.43 | 5.2177 | 130.561 | 5.2177 | 129.596 | 5.4733 | 139.359 | 26.46 | 979.012 | 56.1955 | 7.7038
2019-01-03 19:00:00 | 3.6693 | 137.772 | 2.9167 | 132.44 | 2.661 | 137.357 | 3.6837 | 152.514 | 26.46 | 979.463 | 56.3664 | 5.4573
2019-01-03 19:15:00 | 5.4567 | 136.454 | 6.496 | 136.15 | 5.9847 | 138.26 | 5.729 | 138.187 | 26.46 | 979.017 | 57.0843 | 5.0841
2019-01-03 19:30:00 | 5.712 | 144.142 | 4.962 | 122.141 | 4.195 | 134.258 | 5.4733 | 150.049 | 26.46 | 979.017 | 57.3577 | 6.3034
2019-01-03 19:45:00 | 4.4353 | 130.377 | 4.195 | 128.731 | 4.7063 | 136.088 | 4.4507 | 146.363 | 26.46 | 979.017 | 57.7679 | 6.4216
2019-01-03 20:00:00 | 5.4567 | 140.408 | 4.962 | 134.515 | 5.2177 | 143.898 | 5.2177 | 145.411 | 26.46 | 979.017 | 58.1097 | 6.551
2019-01-03 20:15:00 | 5.9673 | 138.284 | 5.2177 | 130.194 | 5.2177 | 136.575 | 5.9847 | 142.189 | 26.46 | 979.017 | 58.1777 | 4.892
2019-01-03 20:30:00 | 6.2227 | 139.847 | 5.9847 | 132.806 | 5.4733 | 141.775 | 5.9847 | 144.63 | 26.46 | 979.017 | 58.1097 | 3.8833
2019-01-03 20:45:00 | 5.9673 | 139.017 | 5.729 | 133.319 | 5.4733 | 136.625 | 5.729 | 144.655 | 26.46 | 979.017 | 58.4174 | 4.1752
2019-01-03 21:00:00 | 5.4567 | 142.751 | 4.195 | 134.173 | 4.4507 | 142.092 | 5.2177 | 149.219 | 26.46 | 979.314 | 59.2035 | 4.0422
2019-01-03 21:15:00 | 4.4353 | 144.483 | 4.195 | 141.031 | 3.428 | 146.387 | 4.4507 | 148.876 | 26.46 | 979.166 | 59.8186 | 2.6862
2019-01-03 21:30:00 | 3.6693 | 120.053 | 2.1497 | 124.947 | 1.6383 | 182.899 | 3.9393 | 118.003 | 26.46 | 979.017 | 60.0921 | 1.3819
2019-01-03 21:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.96066
2019-01-03 22:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.92002
2019-01-03 22:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.218
2019-01-03 22:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.32145
2019-01-03 22:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.32884
2019-01-03 23:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.29928
2019-01-03 23:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.081287
2019-01-03 23:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.040643
2019-01-03 23:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.28081