## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-04 00:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.2143
2019-01-04 00:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.26972
2019-01-04 00:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.30667
2019-01-04 00:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.30667
2019-01-04 01:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.31776
2019-01-04 01:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.30667
2019-01-04 01:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.2882
2019-01-04 01:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.2882
2019-01-04 02:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.2882
2019-01-04 02:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.2882
2019-01-04 02:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.2882
2019-01-04 02:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.29928
2019-01-04 03:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.35101
2019-01-04 03:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.31776
2019-01-04 03:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.088676
2019-01-04 03:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.25864
2019-01-04 04:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.30667
2019-01-04 04:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.2882
2019-01-04 04:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.2882
2019-01-04 04:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.30667
2019-01-04 05:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.33623
2019-01-04 05:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.35101
2019-01-04 05:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.32145
2019-01-04 05:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.36949
2019-01-04 06:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.15888
2019-01-04 06:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.084981
2019-01-04 06:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.059118
2019-01-04 06:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.014779
2019-01-04 07:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.31776
2019-01-04 07:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 1.7218
2019-01-04 07:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 3.6875
2019-01-04 07:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 3.1886
2019-01-04 08:00:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 2.579
2019-01-04 08:15:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 1.1676
2019-01-04 08:30:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | 0.073897
2019-01-04 08:45:00 | 3.2575 | 140.701 | 2.4312 | 143.374 | 1.8263 | 146.094 | 3.094 | 143.971 | 26.46 | 979.166 | 59.7503 | -0.24386
2019-01-04 09:00:00 | 4.18 | 145.522 | 3.1723 | 137.531 | 1.894 | 145.718 | 3.8115 | 150.013 | 26.46 | 979.314 | 59.6876 | -0.22539
2019-01-04 09:15:00 | 4.4353 | 14.7657 | 2.1497 | 3.7715 | 1.894 | 8.2981 | 3.9393 | 22.6 | 26.46 | 979.612 | 89.0105 | -0.20322
2019-01-04 09:30:00 | 3.9247 | 0.097624 | 2.4053 | 0.59874 | 1.3827 | 31.3862 | 3.428 | 19.6225 | 26.46 | 980.206 | 89.9334 | -0.28081
2019-01-04 09:45:00 | 3.414 | 7.029 | 2.1497 | 13.5096 | 0.37567 | 344.272 | 3.1723 | 348.299 | 26.46 | 980.058 | 94.1378 | -0.1441
2019-01-04 10:00:00 | 2.3927 | 9.0303 | 2.4053 | 1.7702 | 2.1497 | 17.5236 | 2.4053 | 356.427 | 26.46 | 980.206 | 94.0011 | 7.4506e-09
2019-01-04 10:15:00 | 4.946 | 348.515 | 4.4507 | 334.031 | 3.428 | 343.683 | 4.4507 | 355.154 | 26.46 | 980.504 | 91.5731 | 0.8572
2019-01-04 10:30:00 | 5.4567 | 3.5144 | 5.2177 | 1.0622 | 4.962 | 15.5221 | 4.962 | 5.2229 | 26.46 | 980.206 | 87.0953 | 1.9324
2019-01-04 10:45:00 | 4.18 | 356.912 | 4.7063 | 15.9486 | 3.9393 | 356.985 | 3.6837 | 0.19525 | 26.46 | 979.76 | 89.83 | 1.7033
2019-01-04 11:00:00 | 5.4567 | 7.7123 | 4.962 | 3.5274 | 4.7063 | 17.4259 | 5.2177 | 8.9814 | 26.46 | 979.612 | 85.3869 | 1.5962
2019-01-04 11:15:00 | 4.6907 | 355.274 | 3.9393 | 7.2114 | 2.661 | 10.3968 | 4.4507 | 353.565 | 26.46 | 979.612 | 84.7021 | 0.94219
2019-01-04 11:30:00 | 3.6693 | 10.6166 | 3.1723 | 2.0127 | 3.1723 | 352.253 | 3.428 | 339.977 | 26.46 | 979.909 | 84.3958 | 0.63551
2019-01-04 11:45:00 | 3.6693 | 312.763 | 1.3827 | 331.617 | 0.63133 | 339.341 | 2.9167 | 337.486 | 26.46 | 980.206 | 80.5672 | 1.0013
2019-01-04 12:00:00 | 3.9247 | 12.203 | 1.3827 | 17.8523 | 0.37567 | 11.9101 | 2.9167 | 15.4246 | 26.46 | 980.136 | 80.533 | 1.6036
2019-01-04 12:15:00 | 2.9033 | 22.7419 | 2.4053 | 31.4133 | 0.37567 | 336.834 | 2.661 | 23.3763 | 26.46 | 979.91 | 82.0891 | 1.2636
2019-01-04 12:30:00 | 3.6693 | 20.8601 | 3.9393 | 17.7678 | 1.894 | 64.8981 | 2.9167 | 17.42 | 26.46 | 979.609 | 81.1209 | 0.95696
2019-01-04 12:45:00 | 3.414 | 16.3709 | 1.3827 | 8.399 | 1.3827 | 37.6213 | 2.9167 | 36.1331 | 26.46 | 979.907 | 77.2937 | 1.0604
2019-01-04 13:00:00 | 3.414 | 352.57 | 1.127 | 61.1897 | 0 | 15.3206 | 2.661 | 30.5681 | 26.46 | 979.907 | 71.9577 | 1.0641
2019-01-04 13:15:00 | 2.648 | 356.47 | 3.428 | 1.8585 | 0.75133 | 347.492 | 1.894 | 355.348 | 26.46 | 979.758 | 66.0802 | 1.0013
2019-01-04 13:30:00 | 3.9247 | 3.513 | 3.428 | 25.6197 | 3.6837 | 335.219 | 3.6837 | 356.834 | 26.46 | 979.311 | 61.433 | 1.5038
2019-01-04 13:45:00 | 3.414 | 328.835 | 3.428 | 317.324 | 2.661 | 332.982 | 2.4053 | 345.521 | 26.46 | 979.299 | 58.7649 | 1.5334
2019-01-04 14:00:00 | 2.9033 | 354.307 | 2.9167 | 10.7301 | 2.1497 | 2.0491 | 2.4053 | 350.453 | 26.46 | 978.979 | 53.2308 | 3.8537
2019-01-04 14:15:00 | 2.3927 | 0.097582 | 3.6837 | 38.3294 | 3.428 | 341.365 | 2.4053 | 355.782 | 26.46 | 978.714 | 54.0525 | 6.3551
2019-01-04 14:30:00 | 1.882 | 318.71 | 0.75133 | 12.5836 | 2.4053 | 321.272 | 1.007 | 31.8857 | 26.46 | 978.717 | 52.1406 | 7.7407
2019-01-04 14:45:00 | 3.414 | 22.1999 | 3.6837 | 20.1549 | 0.75133 | 26.9082 | 3.6837 | 28.8598 | 26.46 | 978.866 | 50.8068 | 8.1176
2019-01-04 15:00:00 | 5.9673 | 346.02 | 5.729 | 333.924 | 4.4507 | 339.653 | 5.9847 | 347.411 | 26.46 | 979.014 | 49.2686 | 13.368
2019-01-04 15:15:00 | 5.2013 | 356.899 | 4.7063 | 14.958 | 4.195 | 20.9553 | 4.4507 | 347.604 | 26.46 | 978.711 | 48.0041 | 15.4777
2019-01-04 15:30:00 | 6.478 | 354.021 | 6.7517 | 34.7668 | 4.962 | 356.948 | 5.9847 | 354.143 | 26.46 | 978.716 | 47.8675 | 18.8474
2019-01-04 15:45:00 | 4.6907 | 72.6549 | 4.195 | 2.8358 | 4.962 | 7.4655 | 4.4507 | 356.809 | 26.46 | 978.551 | 46.3 | 17.3584
2019-01-04 16:00:00 | 6.2227 | 349.107 | 5.729 | 10.2165 | 5.2177 | 355.207 | 5.729 | 355.329 | 26.46 | 978.413 | 45.1734 | 19.9891
2019-01-04 16:15:00 | 7.4993 | 0.097591 | 5.9847 | 1.2748 | 7.0073 | 20.2501 | 6.2403 | 349.62 | 26.46 | 977.677 | 44.2166 | 21.7035
2019-01-04 16:30:00 | 5.9673 | 356.768 | 5.9847 | 3.7755 | 7.7743 | 12.882 | 7.7743 | 356.793 | 26.46 | 977.528 | 43.7041 | 21.0569
2019-01-04 16:45:00 | 5.9673 | 352.537 | 6.496 | 1.0897 | 4.962 | 9.0525 | 6.2403 | 356.343 | 26.46 | 977.528 | 43.743 | 17.6614
2019-01-04 17:00:00 | 6.478 | 350.326 | 5.4733 | 16.3393 | 6.496 | 16.0582 | 7.263 | 1.9768 | 26.46 | 977.389 | 43.6136 | 21.7331
2019-01-04 17:15:00 | 7.244 | 356.914 | 5.729 | 0.98923 | 5.729 | 16.6694 | 6.496 | 2.9287 | 26.46 | 977.672 | 42.3859 | 21.6592
2019-01-04 17:30:00 | 9.542 | 2.0013 | 7.263 | 7.4066 | 7.0073 | 2.7823 | 9.0527 | 5.6377 | 26.46 | 977.53 | 40.1978 | 22.4573
2019-01-04 17:45:00 | 7.4993 | 5.8574 | 7.5187 | 8.3828 | 6.496 | 13.5941 | 8.03 | 10.4457 | 26.46 | 977.53 | 38.9674 | 20.5988
2019-01-04 18:00:00 | 7.7547 | 0.56134 | 6.7517 | 2.4032 | 5.729 | 4.1734 | 8.2857 | 1.8793 | 26.46 | 977.827 | 38.2157 | 19.1873
2019-01-04 18:15:00 | 7.4993 | 4.1002 | 7.5187 | 4.2581 | 5.729 | 0.048812 | 7.7743 | 3.8317 | 26.46 | 977.827 | 37.4637 | 19.9411
2019-01-04 18:30:00 | 6.7333 | 14.6436 | 6.2403 | 7.6765 | 2.661 | 355.645 | 5.9847 | 18.3778 | 26.46 | 977.827 | 37.4295 | 16.1354
2019-01-04 18:45:00 | 8.5207 | 11.3244 | 7.7743 | 5.7728 | 4.962 | 17.7676 | 8.797 | 17.792 | 26.46 | 977.827 | 36.8484 | 16.7413
2019-01-04 19:00:00 | 7.244 | 14.7413 | 5.2177 | 2.1347 | 4.195 | 2.6359 | 6.7517 | 18.4266 | 26.46 | 977.827 | 36.1648 | 18.5075
2019-01-04 19:15:00 | 6.9887 | 17.7676 | 5.9847 | 11.6303 | 4.7063 | 11.959 | 6.496 | 13.765 | 26.46 | 977.827 | 37.2586 | 14.9752
2019-01-04 19:30:00 | 6.2227 | 14.9856 | 5.2177 | 10.3129 | 3.9393 | 2.9288 | 5.4733 | 16.5232 | 26.46 | 977.827 | 37.8062 | 12.4332
2019-01-04 19:45:00 | 4.4353 | 21.9676 | 4.4507 | 10.5594 | 3.9393 | 17.4521 | 4.4507 | 33.4884 | 26.46 | 977.827 | 37.8092 | 10.8
2019-01-04 20:00:00 | 5.4567 | 18.5514 | 3.9393 | 5.5082 | 1.894 | 355.113 | 4.4507 | 23.6042 | 26.46 | 977.53 | 37.5377 | 11.4614
2019-01-04 20:15:00 | 5.4567 | 9.7641 | 4.4507 | 9.4876 | 3.1723 | 14.1091 | 4.962 | 19.6258 | 26.46 | 977.827 | 38.2222 | 11.0587
2019-01-04 20:30:00 | 4.946 | 22.5307 | 4.7063 | 13.1003 | 2.1497 | 22.9212 | 4.7063 | 33.6861 | 26.46 | 977.678 | 39.7265 | 11.5242
2019-01-04 20:45:00 | 5.9673 | 26.1434 | 5.4733 | 11.831 | 4.962 | 7.1766 | 5.729 | 32.5633 | 26.46 | 977.53 | 40.6838 | 15.5442
2019-01-04 21:00:00 | 6.2227 | 21.1393 | 5.4733 | 11.001 | 4.7063 | 28.8529 | 5.729 | 31.1475 | 26.46 | 977.53 | 41.1624 | 13.0724
2019-01-04 21:15:00 | 7.244 | 21.6763 | 7.0073 | 15.0531 | 5.2177 | 12.2051 | 7.0073 | 28.8529 | 26.46 | 977.53 | 42.188 | 14.0663
2019-01-04 21:30:00 | 6.2227 | 23.0921 | 6.2403 | 13.2956 | 4.962 | 23.8 | 5.729 | 30.1711 | 26.46 | 977.53 | 44.5812 | 14.6944
2019-01-04 21:45:00 | 6.9887 | 25.0937 | 6.2403 | 19.4714 | 3.428 | 13.1083 | 7.0073 | 29.8782 | 26.46 | 977.53 | 48.547 | 14.4616
2019-01-04 22:00:00 | 6.478 | 21.4078 | 6.7517 | 11.8066 | 3.6837 | 4.223 | 6.496 | 29.7561 | 26.46 | 977.53 | 48.9573 | 14.6242
2019-01-04 22:15:00 | 5.9673 | 18.0148 | 5.4733 | 12.2948 | 4.962 | 16.2572 | 5.9847 | 25.6308 | 26.46 | 977.53 | 48.4786 | 13.4123
2019-01-04 22:30:00 | 7.244 | 25.4843 | 6.2403 | 20.2281 | 3.428 | 24.9229 | 6.7517 | 28.4379 | 26.46 | 977.232 | 46.1538 | 14.3064
2019-01-04 22:45:00 | 7.244 | 20.5046 | 6.496 | 21.3754 | 4.195 | 27.73 | 5.9847 | 35.0775 | 26.46 | 977.232 | 44.9231 | 15.7327
2019-01-04 23:00:00 | 7.7547 | 25.7528 | 7.5187 | 14.0035 | 4.7063 | 22.97 | 7.5187 | 27.071 | 26.46 | 976.935 | 42.5983 | 15.2893
2019-01-04 23:15:00 | 7.4993 | 22.1157 | 7.0073 | 15.5901 | 3.6837 | 16.6478 | 7.5187 | 30.0734 | 26.46 | 977.232 | 38.906 | 11.9196
2019-01-04 23:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 11.2878
2019-01-04 23:45:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 9.1743