## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-05 00:00:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 10.6448
2019-01-05 00:15:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 8.4501
2019-01-05 00:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 9.1521
2019-01-05 00:45:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 8.1065
2019-01-05 01:00:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 8.3023
2019-01-05 01:15:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 10.2532
2019-01-05 01:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 13.8889
2019-01-05 01:45:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 18.574
2019-01-05 02:00:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 17.9865
2019-01-05 02:15:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 22.121
2019-01-05 02:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 21.1715
2019-01-05 02:45:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 30.3679
2019-01-05 03:00:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 33.8965
2019-01-05 03:15:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 30.7485
2019-01-05 03:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 29.7213
2019-01-05 03:45:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 30.7633
2019-01-05 04:00:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 33.6083
2019-01-05 04:15:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 31.7646
2019-01-05 04:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 19.4423
2019-01-05 04:45:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 15.4075
2019-01-05 05:00:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 18.8511
2019-01-05 05:15:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 15.9026
2019-01-05 05:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 16.1576
2019-01-05 05:45:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 17.1884
2019-01-05 06:00:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 16.0541
2019-01-05 06:15:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 14.6464
2019-01-05 06:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 17.5616
2019-01-05 06:45:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 25.5794
2019-01-05 07:00:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 29.5735
2019-01-05 07:15:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 26.5105
2019-01-05 07:30:00 | 7.4993 | 14.7682 | 7.5187 | 7.6568 | 5.729 | 14.7438 | 8.03 | 20.5779 | 26.46 | 977.381 | 37.9829 | 17.3695
2019-01-05 07:45:00 | 8.2653 | 10.0605 | 7.0073 | 4.6628 | 3.1723 | 341.983 | 8.2857 | 17.1663 | 26.46 | 976.046 | 30.7114 | 14.7905
2019-01-05 08:00:00 | 6.9887 | 18.7535 | 5.9847 | 13.5023 | 4.4507 | 343.081 | 6.2403 | 23.0512 | 26.46 | 976.641 | 37.7565 | 11.018
2019-01-05 08:15:00 | 6.478 | 17.1419 | 5.9847 | 7.4465 | 4.962 | 343.667 | 5.9847 | 21.8791 | 26.46 | 977.236 | 39.3297 | 6.6064
2019-01-05 08:30:00 | 5.2013 | 9.0344 | 4.195 | 2.9523 | 3.1723 | 343.21 | 4.4507 | 17.1654 | 26.46 | 977.693 | 34.8819 | 2.9817
2019-01-05 08:45:00 | 2.1373 | 335.008 | 2.1497 | 4.0833 | 3.1723 | 342.259 | 3.1723 | 1.953 | 26.46 | 978.14 | 39.798 | 2.1726
2019-01-05 09:00:00 | 3.6693 | 9.6665 | 2.1497 | 17.2989 | 1.6383 | 343.013 | 2.661 | 0.2441 | 26.46 | 978.869 | 42.8376 | 3.1702
2019-01-05 09:15:00 | 4.4353 | 19.2322 | 4.195 | 7.4328 | 2.661 | 344.179 | 3.6837 | 7.7124 | 26.46 | 979.017 | 42.489 | 4.1493
2019-01-05 09:30:00 | 4.6907 | 1.7816 | 4.195 | 14.022 | 2.4053 | 345.004 | 3.6837 | 16.2544 | 26.46 | 979.166 | 38.3865 | 2.7268
2019-01-05 09:45:00 | 2.1373 | 22.4533 | 2.4053 | 12.3132 | 1.894 | 344.804 | 2.4053 | 0.97623 | 26.46 | 979.588 | 39.4457 | 1.0974
2019-01-05 10:00:00 | 2.1373 | 340.499 | 2.9167 | 0.50598 | 2.4053 | 344.89 | 1.894 | 338.791 | 26.46 | 979.908 | 34.3759 | 1.5518
2019-01-05 10:15:00 | 2.9033 | 21.7859 | 5.2177 | 13.0083 | 3.428 | 338.133 | 2.1497 | 22.8838 | 26.46 | 980.175 | 34.4419 | 3.717
2019-01-05 10:30:00 | 5.2013 | 30.1536 | 4.195 | 10.9831 | 2.4053 | 346.498 | 4.7063 | 15.8331 | 26.46 | 979.906 | 33.109 | 3.0593
2019-01-05 10:45:00 | 2.648 | 19.1258 | 3.1723 | 25.4725 | 2.661 | 336.945 | 2.4053 | 341.873 | 26.46 | 979.906 | 31.2968 | 3.7133
2019-01-05 11:00:00 | 3.6693 | 3.7562 | 4.195 | 9.5618 | 3.9393 | 339.522 | 2.661 | 2.2684 | 26.46 | 979.635 | 28.6952 | 5.9561
2019-01-05 11:15:00 | 5.2013 | 35.9256 | 4.962 | 27.6082 | 4.4507 | 341.964 | 5.2177 | 36.0232 | 26.46 | 979.014 | 27.6345 | 8.7642
2019-01-05 11:30:00 | 5.2013 | 29.2673 | 2.9167 | 37.3151 | 0 | 278.942 | 5.729 | 27.4869 | 26.46 | 979.309 | 29.24 | 12.3297
2019-01-05 11:45:00 | 4.18 | 19.9505 | 5.4733 | 22.9254 | 3.6837 | 286.381 | 3.9393 | 13.2435 | 26.46 | 979.012 | 29.8548 | 13.1721
2019-01-05 12:00:00 | 4.6907 | 0.097558 | 5.4733 | 12.3417 | 4.7063 | 287.161 | 4.7063 | 9.1704 | 26.46 | 978.715 | 29.5132 | 13.5047
2019-01-05 12:15:00 | 5.9673 | 356.915 | 3.6837 | 7.9015 | 6.496 | 287.6 | 5.729 | 327.623 | 26.46 | 978.418 | 29.3766 | 17.1219
2019-01-05 12:30:00 | 2.1373 | 36.0963 | 6.2403 | 32.3397 | 1.6383 | 287.063 | 2.1497 | 352.086 | 26.46 | 977.972 | 28.1127 | 12.0119
2019-01-05 12:45:00 | 3.9247 | 16.7311 | 3.1723 | 14.7305 | 3.9393 | 287.356 | 3.428 | 13.1459 | 26.46 | 978.121 | 27.088 | 11.1621
2019-01-05 13:00:00 | 3.9247 | 356.939 | 2.4053 | 1.147 | 2.1497 | 286.99 | 4.7063 | 347.159 | 26.46 | 978.418 | 25.5508 | 13.4677
2019-01-05 13:15:00 | 2.9033 | 28.0234 | 6.496 | 1.5372 | 4.195 | 287.307 | 3.6837 | 1.5121 | 26.46 | 978.121 | 25.1068 | 13.9296
2019-01-05 13:30:00 | 4.946 | 23.1943 | 4.7063 | 31.5592 | 6.2403 | 288.234 | 3.9393 | 342.72 | 26.46 | 977.972 | 24.731 | 12.9024
2019-01-05 13:45:00 | 5.2013 | 349.086 | 5.729 | 336.793 | 4.7063 | 288.039 | 5.4733 | 347.013 | 26.46 | 978.269 | 23.5354 | 13.1795
2019-01-05 14:00:00 | 4.18 | 26.0967 | 4.195 | 4.1455 | 2.4053 | 288.429 | 4.195 | 11.9996 | 26.46 | 978.418 | 23.5013 | 8.7605
2019-01-05 14:15:00 | 3.9247 | 6.8046 | 2.1497 | 13.2685 | 3.9393 | 328.306 | 5.2177 | 11.5118 | 26.46 | 978.418 | 23.0914 | 9.5105
2019-01-05 14:30:00 | 2.1373 | 21.2676 | 4.7063 | 36.8517 | 4.4507 | 329.306 | 2.9167 | 13.2922 | 26.46 | 978.121 | 23.3647 | 10.1608
2019-01-05 14:45:00 | 4.18 | 2.7316 | 4.195 | 12.5355 | 4.7063 | 329.33 | 3.6837 | 0.19512 | 26.46 | 977.972 | 22.8181 | 10.7335
2019-01-05 15:00:00 | 5.2013 | 343.305 | 4.195 | 0.46272 | 4.4507 | 329.403 | 5.2177 | 12.7313 | 26.46 | 977.823 | 23.0231 | 10.8776
2019-01-05 15:15:00 | 3.6693 | 349.156 | 3.6837 | 1.147 | 4.7063 | 329.058 | 3.9393 | 355.035 | 26.46 | 977.29 | 22.8195 | 9.3923
2019-01-05 15:30:00 | 2.9033 | 84.4336 | 3.428 | 22.6925 | 3.6837 | 329.318 | 2.661 | 339.052 | 26.46 | 977.23 | 23.0973 | 10.2717
2019-01-05 15:45:00 | 3.414 | 348.838 | 2.4053 | 7.9963 | 4.4507 | 332.174 | 2.9167 | 337.2 | 26.46 | 977.527 | 22.4158 | 10.4712
2019-01-05 16:00:00 | 5.9673 | 355.939 | 5.2177 | 0.38422 | 4.962 | 332.273 | 5.729 | 91.4915 | 26.46 | 977.231 | 22.4159 | 13.0761
2019-01-05 16:15:00 | 5.2013 | 344.207 | 3.1723 | 7.8969 | 5.729 | 332.885 | 5.2177 | 0.19521 | 26.46 | 976.785 | 21.8041 | 10.4195
2019-01-05 16:30:00 | 6.2227 | 10.1285 | 5.9847 | 5.6751 | 4.7063 | 332.922 | 5.9847 | 12.447 | 26.46 | 976.875 | 21.8765 | 5.7418
2019-01-05 16:45:00 | 5.4567 | 13.5453 | 5.2177 | 9.1162 | 3.9393 | 332.481 | 5.2177 | 9.6647 | 26.46 | 976.935 | 22.0815 | 5.3427
2019-01-05 17:00:00 | 5.2013 | 85.8358 | 3.9393 | 2.6718 | 4.7063 | 332.653 | 3.6837 | 5.7842 | 26.46 | 976.638 | 21.8765 | 8.4243
2019-01-05 17:15:00 | 5.2013 | 12.8376 | 5.4733 | 4.4061 | 3.6837 | 332.362 | 4.7063 | 10.3482 | 26.46 | 976.638 | 22.2184 | 6.7468
2019-01-05 17:30:00 | 5.2013 | 12.3495 | 4.4507 | 1.575 | 3.9393 | 332.606 | 4.7063 | 9.7136 | 26.46 | 976.638 | 22.2184 | 5.5792
2019-01-05 17:45:00 | 4.946 | 9.5672 | 5.2177 | 2.0631 | 4.195 | 332.704 | 4.7063 | 13.5698 | 26.46 | 976.638 | 22.4235 | 6.3403
2019-01-05 18:00:00 | 4.18 | 19.9154 | 4.195 | 8.848 | 3.6837 | 332.411 | 3.9393 | 22.1851 | 26.46 | 976.638 | 22.6286 | 3.584
2019-01-05 18:15:00 | 4.18 | 17.4748 | 3.6837 | 14.9007 | 2.9167 | 332.264 | 3.6837 | 22.8685 | 26.46 | 976.638 | 22.697 | 1.5814
2019-01-05 18:30:00 | 3.414 | 17.4748 | 3.428 | 7.8717 | 2.9167 | 332.411 | 3.1723 | 22.6488 | 26.46 | 976.638 | 22.5602 | 1.4151
2019-01-05 18:45:00 | 3.6693 | 34.3149 | 3.1723 | 16.8044 | 3.1723 | 332.313 | 3.428 | 40.5629 | 26.46 | 976.638 | 22.7653 | 0.67985
2019-01-05 19:00:00 | 3.1587 | 34.2661 | 3.1723 | 28.5193 | 2.9167 | 332.216 | 2.9167 | 44.3214 | 26.46 | 976.935 | 22.8337 | 0.33254
2019-01-05 19:15:00 | 2.9033 | 34.9495 | 2.4053 | 25.7858 | 1.6383 | 332.02 | 2.4053 | 45.1512 | 26.46 | 977.232 | 22.697 | -0.40274
2019-01-05 19:30:00 | 3.1587 | 47.7383 | 2.9167 | 36.6221 | 2.4053 | 332.118 | 2.661 | 53.3273 | 26.46 | 977.232 | 23.7224 | -0.2845
2019-01-05 19:45:00 | 3.6693 | 59.9413 | 3.1723 | 48.9228 | 2.661 | 332.313 | 3.1723 | 69.899 | 26.46 | 977.232 | 24.1326 | -0.32515
2019-01-05 20:00:00 | 4.18 | 76.6839 | 4.195 | 67.5202 | 2.661 | 332.313 | 3.9393 | 89.9364 | 26.46 | 977.232 | 24.7479 | -0.21061
2019-01-05 20:15:00 | 3.6693 | 128.815 | 2.661 | 104.276 | 2.9167 | 332.655 | 3.1723 | 115.343 | 26.46 | 977.232 | 25.7392 | 1.005
2019-01-05 20:30:00 | 4.4353 | 131.354 | 4.4507 | 116.332 | 4.4507 | 333.094 | 3.9393 | 133.062 | 26.46 | 977.53 | 40.8135 | 0.99391
2019-01-05 20:45:00 | 4.4353 | 125.789 | 4.4507 | 119.163 | 4.962 | 143.752 | 4.4507 | 123.836 | 26.46 | 977.232 | 41.087 | 4.8957
2019-01-05 21:00:00 | 6.9887 | 119.175 | 6.496 | 115.332 | 6.496 | 132.793 | 7.0073 | 124.764 | 26.46 | 977.53 | 43.2747 | 9.6362
2019-01-05 21:15:00 | 5.2013 | 140.457 | 5.4733 | 129.902 | 4.195 | 136.625 | 5.729 | 141.726 | 26.46 | 977.827 | 45.1889 | 6.1113
2019-01-05 21:30:00 | 4.18 | 137.309 | 4.195 | 130.659 | 3.6837 | 141.433 | 4.195 | 140.628 | 26.46 | 977.827 | 40.5401 | 6.2997
2019-01-05 21:45:00 | 4.4353 | 141.58 | 4.4507 | 124.557 | 3.6837 | 131.695 | 4.195 | 138.236 | 26.46 | 977.53 | 42.7277 | 11.3173
2019-01-05 22:00:00 | 3.414 | 131.134 | 3.428 | 100.468 | 2.661 | 108.119 | 3.428 | 144.264 | 26.46 | 977.53 | 45.8725 | 9.8542
2019-01-05 22:15:00 | 4.4353 | 105.922 | 3.9393 | 104.886 | 2.1497 | 129.67 | 4.195 | 136.601 | 26.46 | 977.827 | 46.6245 | 5.5607
2019-01-05 22:30:00 | 4.18 | 133.574 | 3.9393 | 131.855 | 2.9167 | 129.572 | 3.9393 | 147.022 | 26.46 | 978.125 | 47.5474 | 6.8022
2019-01-05 22:45:00 | 3.9247 | 106.663 | 4.195 | 105.701 | 4.4507 | 112.667 | 4.195 | 121.723 | 26.46 | 977.827 | 51.7558 | 8.0806
2019-01-05 23:00:00 | 3.9247 | 107.013 | 3.1723 | 114.89 | 3.1723 | 144.263 | 4.195 | 113.922 | 26.46 | 977.678 | 52.2729 | 3.3106
2019-01-05 23:15:00 | 4.4353 | 124.932 | 5.4733 | 113.451 | 3.6837 | 142.995 | 4.7063 | 127.836 | 26.46 | 977.976 | 51.8291 | 1.4706
2019-01-05 23:30:00 | 4.946 | 124.151 | 3.9393 | 118.016 | 3.6837 | 111.262 | 4.962 | 122.588 | 26.46 | 977.827 | 52.3761 | 1.1934
2019-01-05 23:45:00 | 3.6693 | 122.002 | 3.1723 | 110.4 | 2.4053 | 120.733 | 3.428 | 116.217 | 26.46 | 977.53 | 53.5385 | 0.67985