## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-06 00:00:00 | 2.3927 | 123.174 | 3.1723 | 104.37 | 2.661 | 104.744 | 2.9167 | 128.471 | 26.46 | 977.232 | 53.9487 | 0.062812
2019-01-06 00:15:00 | 0 | 112.238 | 0 | 113.451 | 0 | 148.756 | 0 | 117.828 | 26.46 | 977.232 | 55.7949 | 0.018474
2019-01-06 00:30:00 | 3.6693 | 136.453 | 3.6837 | 131.49 | 2.661 | 134.232 | 4.195 | 145.827 | 26.46 | 976.786 | 55.1111 | 0.22908
2019-01-06 00:45:00 | 3.6693 | 134.012 | 3.428 | 130.294 | 3.428 | 136.356 | 3.9393 | 149.635 | 26.46 | 976.935 | 55.2479 | 1.4853
2019-01-06 01:00:00 | 3.1587 | 137.259 | 3.6837 | 128.17 | 2.4053 | 137.332 | 3.1723 | 149.415 | 26.46 | 977.236 | 55.6923 | 1.1491
2019-01-06 01:15:00 | 1.882 | 125.518 | 2.4053 | 108.74 | 2.4053 | 106.429 | 1.894 | 130.302 | 26.46 | 976.936 | 52.1709 | 1.3966
2019-01-06 01:30:00 | 2.3927 | 134.696 | 2.661 | 125.241 | 2.4053 | 123.418 | 2.4053 | 138.211 | 26.46 | 976.936 | 52.3761 | 1.9398
2019-01-06 01:45:00 | 2.3927 | 137.234 | 2.661 | 124.85 | 2.1497 | 126.299 | 2.4053 | 143.679 | 26.46 | 976.806 | 50.5299 | 3.8279
2019-01-06 02:00:00 | 2.9033 | 136.624 | 1.894 | 121.628 | 0.37567 | 98.178 | 3.1723 | 145.387 | 26.46 | 977.233 | 52.5128 | 6.5547
2019-01-06 02:15:00 | 4.6907 | 131.181 | 3.6837 | 128.073 | 3.6837 | 129.326 | 4.7063 | 137.967 | 26.46 | 976.96 | 52.8547 | 8.9268
2019-01-06 02:30:00 | 4.4353 | 125.908 | 4.195 | 120.75 | 2.9167 | 127.348 | 4.7063 | 130.79 | 26.46 | 976.951 | 53.5726 | 8.2949
2019-01-06 02:45:00 | 3.1587 | 117.462 | 3.428 | 115.452 | 2.4053 | 124.907 | 3.6837 | 129.57 | 26.46 | 976.638 | 51.5555 | 8.6386
2019-01-06 03:00:00 | 4.4353 | 129.838 | 3.9393 | 124.655 | 3.6837 | 145.729 | 4.4507 | 136.429 | 26.46 | 976.341 | 54.8718 | 10.9996
2019-01-06 03:15:00 | 5.2013 | 141.531 | 5.2177 | 134.566 | 5.4733 | 141.238 | 4.962 | 139.138 | 26.46 | 976.192 | 59.0769 | 16.4605
2019-01-06 03:30:00 | 4.946 | 143.361 | 4.7063 | 128.561 | 3.6837 | 151.954 | 4.7063 | 153.736 | 26.46 | 976.341 | 62.2222 | 16.5862
2019-01-06 03:45:00 | 6.2227 | 137.454 | 5.4733 | 130.904 | 4.962 | 149.44 | 6.7517 | 144.924 | 26.46 | 976.341 | 66.0171 | 17.0887
2019-01-06 04:00:00 | 6.478 | 135.623 | 5.4733 | 130.489 | 5.4733 | 140.31 | 6.2403 | 135.916 | 26.46 | 976.044 | 66.4615 | 17.1441
2019-01-06 04:15:00 | 5.4567 | 140.359 | 4.7063 | 130.099 | 3.6837 | 138.406 | 5.2177 | 142.019 | 26.46 | 976.048 | 67.8632 | 13.9443
2019-01-06 04:30:00 | 5.9673 | 135.039 | 5.729 | 132.078 | 4.195 | 157.351 | 6.496 | 140.263 | 26.46 | 975.901 | 69.5735 | 12.4295
2019-01-06 04:45:00 | 5.4567 | 139.644 | 5.729 | 130.386 | 4.4507 | 143.013 | 5.729 | 144.331 | 26.46 | 975.75 | 69.2392 | 8.088
2019-01-06 05:00:00 | 4.4353 | 143.503 | 4.4507 | 136.931 | 3.1723 | 137.205 | 4.4507 | 145.261 | 26.46 | 976.066 | 66.8127 | 6.8835
2019-01-06 05:15:00 | 4.6907 | 142.873 | 3.9393 | 152.903 | 1.894 | 130.812 | 4.7063 | 145.534 | 26.46 | 976.046 | 66.1993 | 8.8233
2019-01-06 05:30:00 | 4.18 | 130.031 | 3.428 | 122.629 | 2.661 | 142.067 | 4.7063 | 139.821 | 26.46 | 976.109 | 67.3617 | 8.4538
2019-01-06 05:45:00 | 4.946 | 147.609 | 5.4733 | 139.231 | 2.661 | 132.765 | 5.2177 | 154.201 | 26.46 | 976.353 | 66.4044 | 9.9687
2019-01-06 06:00:00 | 5.712 | 144.631 | 7.5187 | 137.302 | 4.4507 | 144.826 | 5.729 | 165.432 | 26.46 | 976.523 | 72.2516 | 10.449
2019-01-06 06:15:00 | 6.2227 | 139.893 | 5.729 | 139.107 | 5.729 | 140.967 | 6.7517 | 155.811 | 26.46 | 976.664 | 71.3958 | 11.0217
2019-01-06 06:30:00 | 5.712 | 140.772 | 6.496 | 131.222 | 5.9847 | 134.254 | 6.2403 | 152.003 | 26.46 | 976.379 | 70.3704 | 9.6288
2019-01-06 06:45:00 | 5.4567 | 139.037 | 5.9847 | 128.705 | 4.4507 | 141.014 | 4.962 | 153.49 | 26.46 | 976.416 | 70.2667 | 9.5733
2019-01-06 07:00:00 | 6.478 | 146.995 | 6.7517 | 133.66 | 5.9847 | 138.523 | 6.496 | 155.711 | 26.46 | 976.349 | 72.5915 | 13.2017
2019-01-06 07:15:00 | 7.244 | 142.335 | 6.7517 | 131.905 | 4.7063 | 138.77 | 7.5187 | 151.271 | 26.46 | 976.533 | 75.2943 | 17.6946
2019-01-06 07:30:00 | 7.244 | 148.805 | 5.9847 | 131.613 | 4.4507 | 159.938 | 7.0073 | 150.514 | 26.46 | 976.535 | 79.7399 | 19.7379
2019-01-06 07:45:00 | 7.244 | 141.068 | 7.5187 | 138.158 | 5.2177 | 173.002 | 7.263 | 140.775 | 26.46 | 976.65 | 80.3563 | 24.6188
2019-01-06 08:00:00 | 5.2013 | 135.797 | 5.9847 | 141.872 | 6.496 | 159.577 | 5.9847 | 148.737 | 26.46 | 976.541 | 82.7174 | 19.0248
2019-01-06 08:15:00 | 5.9673 | 133.499 | 4.4507 | 142.894 | 3.6837 | 152.42 | 5.729 | 146.951 | 26.46 | 976.78 | 82.4075 | 20.632
2019-01-06 08:30:00 | 4.946 | 134.811 | 5.2177 | 127.506 | 3.6837 | 150.485 | 4.962 | 128.512 | 26.46 | 976.643 | 79.6686 | 19.228
2019-01-06 08:45:00 | 5.4567 | 134.55 | 5.4733 | 123.533 | 5.4733 | 136.258 | 5.4733 | 145.608 | 26.46 | 976.945 | 75.0087 | 17.4434
2019-01-06 09:00:00 | 4.6907 | 132.06 | 4.962 | 129.342 | 4.7063 | 144.069 | 4.962 | 140.164 | 26.46 | 977.233 | 65.094 | 14.3471
2019-01-06 09:15:00 | 4.18 | 144.147 | 4.4507 | 135.472 | 4.195 | 133.627 | 3.428 | 150.371 | 26.46 | 978.125 | 60.8462 | 12.193
2019-01-06 09:30:00 | 3.414 | 135.303 | 3.9393 | 134.583 | 3.428 | 145.797 | 3.1723 | 152.484 | 26.46 | 978.422 | 60.4321 | 10.5155
2019-01-06 09:45:00 | 2.3927 | 140.51 | 2.4053 | 131.369 | 2.9167 | 143.243 | 2.1497 | 145.097 | 26.46 | 978.754 | 61.3139 | 7.8663
2019-01-06 10:00:00 | 4.946 | 157.17 | 4.7063 | 150.784 | 4.962 | 145.947 | 4.7063 | 157.854 | 26.46 | 979.015 | 59.0467 | 5.1543
2019-01-06 10:15:00 | 4.6907 | 148.774 | 4.962 | 139.46 | 5.9847 | 150.848 | 4.7063 | 155.654 | 26.46 | 979.3 | 58.7037 | 5.7492
2019-01-06 10:30:00 | 5.4567 | 157.25 | 5.4733 | 151.985 | 5.9847 | 152.762 | 5.4733 | 163.008 | 26.46 | 979.301 | 61.5684 | 5.8822
2019-01-06 10:45:00 | 3.1587 | 166.841 | 2.661 | 147.5 | 3.1723 | 139.884 | 2.9167 | 180.479 | 26.46 | 979.609 | 61.0231 | 1.7477
2019-01-06 11:00:00 | 3.414 | 145.746 | 3.428 | 146.532 | 3.9393 | 148.259 | 3.1723 | 150.04 | 26.46 | 979.609 | 58.1558 | 1.659
2019-01-06 11:15:00 | 3.1587 | 203.269 | 3.6837 | 184.294 | 2.9167 | 180.001 | 3.428 | 215.464 | 26.46 | 979.122 | 54.9295 | 1.4668
2019-01-06 11:30:00 | 4.18 | 151.531 | 3.9393 | 135.044 | 4.962 | 137.922 | 4.4507 | 178.409 | 26.46 | 979.013 | 54.62 | 0.55423
2019-01-06 11:45:00 | 2.1373 | 141.776 | 5.2177 | 132.824 | 5.729 | 141.483 | 2.4053 | 160.848 | 26.46 | 978.715 | 54.6542 | 0.2882
2019-01-06 12:00:00 | 3.414 | 181.555 | 5.4733 | 183.261 | 6.496 | 174.36 | 3.428 | 175.75 | 26.46 | 978.418 | 53.3903 | 0.60226
2019-01-06 12:15:00 | 3.414 | 183.213 | 3.1723 | 184.944 | 3.428 | 198.384 | 3.428 | 190.994 | 26.46 | 978.418 | 53.322 | 0.0036948
2019-01-06 12:30:00 | 1.6267 | 137.117 | 2.661 | 160.433 | 1.894 | 189.896 | 2.4053 | 163.336 | 26.46 | 978.121 | 53.2195 | -0.29928
2019-01-06 12:45:00 | 0 | 186.286 | 0 | 136.141 | 0 | 147.044 | 0 | 110.265 | 26.46 | 977.823 | 50.6917 | -0.2882
2019-01-06 13:00:00 | 2.9033 | 203.383 | 2.1497 | 174.286 | 2.1497 | 185.311 | 3.6837 | 191.798 | 26.46 | 978.121 | 50.4868 | -0.32884
2019-01-06 13:15:00 | 3.414 | 184.945 | 3.1723 | 181.018 | 3.1723 | 163.799 | 3.428 | 182.701 | 26.46 | 977.823 | 51.5457 | -0.018474
2019-01-06 13:30:00 | 3.9247 | 162.385 | 4.7063 | 156.555 | 5.2177 | 189.091 | 4.195 | 171.897 | 26.46 | 977.526 | 52.468 | 1.2304
2019-01-06 13:45:00 | 4.6907 | 153.117 | 5.4733 | 146.263 | 4.7063 | 133.264 | 4.7063 | 174.579 | 26.46 | 977.526 | 52.5363 | 0.81287
2019-01-06 14:00:00 | 3.1587 | 181.433 | 4.7063 | 167.506 | 3.9393 | 191.652 | 3.428 | 165.872 | 26.46 | 977.675 | 52.6046 | 0.31776
2019-01-06 14:15:00 | 3.414 | 152.727 | 2.4053 | 148.336 | 3.9393 | 143.581 | 3.6837 | 156.531 | 26.46 | 977.823 | 55.0641 | 0.23647
2019-01-06 14:30:00 | 5.4567 | 173.897 | 5.2177 | 168.969 | 5.4733 | 183.286 | 5.4733 | 170.458 | 26.46 | 977.823 | 54.8591 | 0.46925
2019-01-06 14:45:00 | 4.946 | 159.482 | 5.4733 | 142.921 | 5.729 | 146.044 | 5.2177 | 149.166 | 26.46 | 977.877 | 55.269 | 0.82026
2019-01-06 15:00:00 | 5.4567 | 159.675 | 4.962 | 158.799 | 5.4733 | 169.652 | 5.729 | 170.091 | 26.46 | 977.776 | 56.9848 | 2.2391
2019-01-06 15:15:00 | 4.4353 | 132.811 | 5.4733 | 134.133 | 4.195 | 140.813 | 4.962 | 141.13 | 26.46 | 977.527 | 57.6071 | 2.967
2019-01-06 15:30:00 | 3.9247 | 153.155 | 5.4733 | 144.084 | 5.4733 | 148.52 | 4.4507 | 157.961 | 26.46 | 977.528 | 59.9295 | 5.073
2019-01-06 15:45:00 | 4.946 | 152.423 | 5.729 | 147.45 | 5.4733 | 169.012 | 4.962 | 171.744 | 26.46 | 977.82 | 58.3236 | 4.977
2019-01-06 16:00:00 | 3.9247 | 149.153 | 5.2177 | 147.498 | 4.4507 | 151.202 | 4.195 | 154.202 | 26.46 | 977.501 | 60.2706 | 5.1839
2019-01-06 16:15:00 | 3.9247 | 146.996 | 3.9393 | 146.416 | 3.1723 | 144.873 | 3.9393 | 156.486 | 26.46 | 976.916 | 61.5749 | 7.7518
2019-01-06 16:30:00 | 4.4353 | 182.837 | 5.729 | 172.498 | 7.263 | 199.574 | 4.195 | 192.645 | 26.46 | 976.636 | 64.8898 | 9.7618
2019-01-06 16:45:00 | 5.4567 | 167.739 | 6.7517 | 143.884 | 7.0073 | 149.072 | 5.2177 | 163.713 | 26.46 | 976.369 | 65.9605 | 12.9541
2019-01-06 17:00:00 | 4.18 | 171.501 | 4.7063 | 142.227 | 5.729 | 135.941 | 3.9393 | 169.329 | 26.46 | 976.332 | 65.6294 | 12.5662
2019-01-06 17:15:00 | 6.2227 | 148.218 | 6.2403 | 146.181 | 5.4733 | 153.197 | 6.2403 | 156.394 | 26.46 | 976.043 | 67.4756 | 13.3569
2019-01-06 17:30:00 | 3.9247 | 158.176 | 3.428 | 154.699 | 5.2177 | 137.162 | 3.6837 | 172.649 | 26.46 | 975.746 | 68.1593 | 13.1832
2019-01-06 17:45:00 | 4.946 | 143.435 | 5.2177 | 133.612 | 4.7063 | 153.417 | 5.2177 | 159.25 | 26.46 | 975.746 | 69.5266 | 12.3445
2019-01-06 18:00:00 | 4.6907 | 152.335 | 5.4733 | 145.736 | 5.729 | 147.478 | 4.962 | 159.389 | 26.46 | 976.043 | 70.594 | 13.9333
2019-01-06 18:15:00 | 5.2013 | 150.463 | 4.7063 | 146.818 | 5.729 | 145.093 | 4.7063 | 165.329 | 26.46 | 975.746 | 72.4094 | 8.3134
2019-01-06 18:30:00 | 5.9673 | 147.389 | 3.428 | 141.132 | 3.1723 | 151.295 | 5.729 | 152.198 | 26.46 | 976.043 | 73.4017 | 6.3514
2019-01-06 18:45:00 | 5.4567 | 145.143 | 4.4507 | 144.964 | 4.195 | 158.52 | 5.2177 | 152.296 | 26.46 | 976.043 | 75.1453 | 3.717
2019-01-06 19:00:00 | 4.946 | 158.325 | 4.962 | 150.432 | 4.4507 | 164.012 | 4.7063 | 169.456 | 26.46 | 976.043 | 73.9145 | 3.5249
2019-01-06 19:15:00 | 4.6907 | 153.858 | 5.2177 | 138.032 | 4.4507 | 145.754 | 4.195 | 159.716 | 26.46 | 976.043 | 70.2222 | 2.797
2019-01-06 19:30:00 | 4.6907 | 154.224 | 4.195 | 141.059 | 3.1723 | 145.436 | 4.7063 | 159.985 | 26.46 | 976.043 | 68.7863 | 3.9276
2019-01-06 19:45:00 | 4.4353 | 152.955 | 4.4507 | 143.109 | 3.9393 | 150.318 | 4.4507 | 159.912 | 26.46 | 976.043 | 69.5385 | 1.9361
2019-01-06 20:00:00 | 3.414 | 150.904 | 3.1723 | 139.985 | 2.4053 | 145.241 | 3.428 | 157.617 | 26.46 | 976.043 | 70.3248 | 0.42491
2019-01-06 20:15:00 | 2.9033 | 149.928 | 3.1723 | 134.81 | 2.9167 | 138.016 | 3.1723 | 160.4 | 26.46 | 976.192 | 70.9743 | 0.47294
2019-01-06 20:30:00 | 3.414 | 152.1 | 3.428 | 148.187 | 2.9167 | 149.049 | 3.428 | 161.669 | 26.46 | 976.34 | 70.8034 | 1.1048
2019-01-06 20:45:00 | 4.18 | 153.272 | 3.9393 | 147.406 | 3.1723 | 157.348 | 4.4507 | 165.794 | 26.46 | 976.489 | 70.8718 | 3.2884
2019-01-06 21:00:00 | 4.18 | 153.931 | 3.1723 | 155.217 | 3.1723 | 166.039 | 3.9393 | 164.427 | 26.46 | 976.638 | 70.7008 | 2.9743
2019-01-06 21:15:00 | 1.6267 | 143.874 | 2.1497 | 144.867 | 2.4053 | 156.372 | 1.6383 | 168.895 | 26.46 | 976.935 | 70.6325 | 1.8881
2019-01-06 21:30:00 | 4.6907 | 153.492 | 4.195 | 141.498 | 3.1723 | 153.15 | 4.7063 | 159.985 | 26.46 | 976.638 | 70.4273 | 3.8907
2019-01-06 21:45:00 | 4.4353 | 152.369 | 3.428 | 151.897 | 2.1497 | 159.936 | 4.4507 | 158.032 | 26.46 | 976.638 | 73.2308 | 4.2749
2019-01-06 22:00:00 | 3.6693 | 158.325 | 3.9393 | 152.776 | 3.428 | 159.301 | 3.9393 | 169.334 | 26.46 | 976.786 | 73.1624 | 3.233
2019-01-06 22:15:00 | 4.946 | 163.964 | 3.6837 | 152.776 | 3.9393 | 167.528 | 4.962 | 180.294 | 26.46 | 976.638 | 75.4872 | 3.6505
2019-01-06 22:30:00 | 3.414 | 159.744 | 2.9167 | 156.099 | 2.661 | 157.742 | 3.1723 | 171.998 | 26.46 | 976.935 | 75.2834 | 2.5421
2019-01-06 22:45:00 | 4.18 | 156.812 | 3.6837 | 154.045 | 3.1723 | 151.734 | 3.6837 | 167.65 | 26.46 | 976.638 | 76.171 | 2.616
2019-01-06 23:00:00 | 3.6693 | 165.16 | 3.1723 | 149.554 | 3.6837 | 150.514 | 3.428 | 176.047 | 26.46 | 976.638 | 75.5556 | 1.5297
2019-01-06 23:15:00 | 2.9033 | 158.13 | 2.1497 | 151.604 | 2.1497 | 147.487 | 2.4053 | 169.065 | 26.46 | 976.638 | 76.7863 | 0.23647
2019-01-06 23:30:00 | 3.1587 | 168.284 | 2.4053 | 158.878 | 2.661 | 148.488 | 3.428 | 175.656 | 26.46 | 976.638 | 76.6496 | 0.1441
2019-01-06 23:45:00 | 3.414 | 160.961 | 3.1723 | 159.806 | 2.1497 | 163.964 | 3.428 | 173.288 | 26.46 | 976.638 | 76.8547 | 0.099761