## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-07 00:00:00 | 3.9247 | 173.093 | 3.1723 | 165.957 | 2.661 | 166.624 | 3.6837 | 174.216 | 26.46 | 976.935 | 76.2393 | 0.46555
2019-01-07 00:15:00 | 3.6693 | 169.212 | 2.9167 | 162.442 | 1.894 | 165.99 | 3.6837 | 174.094 | 26.46 | 976.935 | 76.4787 | 0.48772
2019-01-07 00:30:00 | 3.414 | 170.213 | 2.4053 | 153.606 | 2.4053 | 157.837 | 3.428 | 178.048 | 26.46 | 976.935 | 76.1368 | 0.40274
2019-01-07 00:45:00 | 3.1587 | 169.651 | 2.9167 | 158.341 | 2.1497 | 168.577 | 3.428 | 172.483 | 26.46 | 976.935 | 76.6496 | 0.45447
2019-01-07 01:00:00 | 3.1587 | 157.739 | 2.661 | 148.87 | 2.1497 | 188.984 | 3.1723 | 161.01 | 26.46 | 976.638 | 74.8718 | 0.39165
2019-01-07 01:15:00 | 3.6693 | 156.958 | 2.661 | 152.873 | 1.894 | 177.756 | 3.9393 | 162.646 | 26.46 | 976.638 | 76.0684 | 0.87568
2019-01-07 01:30:00 | 3.9247 | 156.177 | 2.9167 | 148.113 | 2.1497 | 147.243 | 3.428 | 163.646 | 26.46 | 976.935 | 77.4701 | 0.48772
2019-01-07 01:45:00 | 3.1587 | 144.46 | 2.661 | 143.402 | 1.3827 | 125.029 | 3.1723 | 156.299 | 26.46 | 976.638 | 77.1966 | 0.39904
2019-01-07 02:00:00 | 3.9247 | 163.598 | 2.4053 | 147.137 | 1.894 | 159.692 | 4.195 | 162.987 | 26.46 | 976.935 | 79.453 | 1.0826
2019-01-07 02:15:00 | 3.6693 | 151.002 | 3.1723 | 137.544 | 2.661 | 149.147 | 3.6837 | 161.108 | 26.46 | 976.935 | 79.8633 | 0.55053
2019-01-07 02:30:00 | 3.1587 | 157.641 | 3.428 | 144.745 | 2.9167 | 141.384 | 3.428 | 162.182 | 26.46 | 976.638 | 80.3761 | -0.16996
2019-01-07 02:45:00 | 2.648 | 170.237 | 2.661 | 154.533 | 2.1497 | 166.039 | 2.661 | 172.629 | 26.46 | 976.638 | 77.4017 | -0.32884
2019-01-07 03:00:00 | 1.3713 | 160.058 | 1.6383 | 138.716 | 1.127 | 139.773 | 1.894 | 174.777 | 26.46 | 976.638 | 75.8291 | -0.29928
2019-01-07 03:15:00 | 1.6267 | 172.971 | 2.9167 | 158.146 | 2.9167 | 161.157 | 1.6383 | 194.452 | 26.46 | 976.34 | 74.9744 | -0.31776
2019-01-07 03:30:00 | 3.1587 | 170.262 | 3.428 | 161.271 | 3.1723 | 165.99 | 3.1723 | 178.39 | 26.46 | 976.638 | 73.3675 | -0.32884
2019-01-07 03:45:00 | 3.414 | 174.143 | 2.4053 | 169.375 | 1.894 | 194.452 | 3.1723 | 176.413 | 26.46 | 976.638 | 72.8205 | -0.29559
2019-01-07 04:00:00 | 2.3927 | 173.264 | 2.4053 | 164.493 | 1.3827 | 181.856 | 2.661 | 176.535 | 26.46 | 976.34 | 75.9658 | -0.32884
2019-01-07 04:15:00 | 1.882 | 190.546 | 1.894 | 159.122 | 1.127 | 166.429 | 1.894 | 196.844 | 26.46 | 976.34 | 76.7863 | -0.31776
2019-01-07 04:30:00 | 2.1373 | 202.312 | 2.4053 | 180.213 | 2.4053 | 175.022 | 2.1497 | 204.558 | 26.46 | 976.34 | 77.1624 | -0.32884
2019-01-07 04:45:00 | 2.3927 | 207.048 | 3.1723 | 183.411 | 2.4053 | 194.843 | 2.4053 | 215.909 | 26.46 | 976.34 | 76 | -0.29928
2019-01-07 05:00:00 | 1.882 | 191.523 | 2.4053 | 169.18 | 2.1497 | 174.338 | 2.1497 | 199.237 | 26.46 | 976.34 | 76.1026 | -0.33623
2019-01-07 05:15:00 | 2.1373 | 195.038 | 2.661 | 178.065 | 1.6383 | 178.244 | 2.1497 | 203.045 | 26.46 | 976.192 | 76.8205 | -0.33623
2019-01-07 05:30:00 | 2.1373 | 189.326 | 1.894 | 183.533 | 1.894 | 174.338 | 2.1497 | 201.971 | 26.46 | 976.34 | 78.5641 | -0.31776
2019-01-07 05:45:00 | 1.3713 | 223.744 | 1.894 | 192.711 | 1.127 | 194.354 | 1.6383 | 245.665 | 26.46 | 976.34 | 79.1453 | -0.32884
2019-01-07 06:00:00 | 1.6267 | 267.781 | 1.3827 | 234.575 | 0 | 194.379 | 1.3827 | 281.768 | 26.46 | 976.489 | 79.1111 | -0.34731
2019-01-07 06:15:00 | 2.9033 | 327.39 | 2.661 | 320.328 | 2.4053 | 302.004 | 2.661 | 327.781 | 26.46 | 976.043 | 77.3675 | -0.29928
2019-01-07 06:30:00 | 1.882 | 322.997 | 1.3827 | 336.854 | 1.127 | 302.297 | 1.3827 | 326.17 | 26.46 | 976.043 | 78.7009 | -0.31776
2019-01-07 06:45:00 | 1.116 | 322.997 | 1.6383 | 336.829 | 1.127 | 302.297 | 1.127 | 325.804 | 26.46 | 976.192 | 76.8547 | -0.29928
2019-01-07 07:00:00 | 1.3713 | 320.726 | 1.3827 | 312.272 | 0 | 302.175 | 1.3827 | 323.875 | 26.46 | 976.638 | 77.0599 | -0.31776
2019-01-07 07:15:00 | 3.1587 | 309.815 | 2.4053 | 300.556 | 2.1497 | 302.297 | 2.9167 | 317.236 | 26.46 | 976.935 | 77.9146 | -0.31776
2019-01-07 07:30:00 | 3.414 | 323.485 | 2.9167 | 315.006 | 2.4053 | 303.322 | 2.9167 | 322.508 | 26.46 | 977.084 | 78.0171 | -0.31776
2019-01-07 07:45:00 | 3.414 | 337.74 | 3.1723 | 331.41 | 2.661 | 341.939 | 3.428 | 337.057 | 26.46 | 977.232 | 78.8376 | -0.31776
2019-01-07 08:00:00 | 3.414 | 2.6363 | 2.9167 | 1.4482 | 2.4053 | 13.5721 | 2.9167 | 0.53703 | 26.46 | 976.935 | 79.9316 | -0.37318
2019-01-07 08:15:00 | 3.9247 | 327.39 | 3.6837 | 323.306 | 3.428 | 334.421 | 3.6837 | 330.32 | 26.46 | 978.273 | 78.9744 | -0.018474
2019-01-07 08:30:00 | 4.946 | 350.727 | 3.9393 | 0.065235 | 1.6383 | 14.0603 | 4.195 | 345.161 | 26.46 | 978.125 | 79.7265 | 2.4238
2019-01-07 08:45:00 | 5.4567 | 338.493 | 4.4507 | 2.6036 | 4.962 | 12.4979 | 4.195 | 356.776 | 26.46 | 977.827 | 81.1272 | 5.1026
2019-01-07 09:00:00 | 4.4353 | 354.284 | 5.4733 | 3.5522 | 5.729 | 13.1795 | 4.195 | 0.19525 | 26.46 | 977.53 | 82.517 | 7.4599
2019-01-07 09:15:00 | 5.9673 | 15.5711 | 4.962 | 1.2333 | 5.4733 | 2.2942 | 5.9847 | 11.422 | 26.46 | 977.678 | 82.6526 | 9.2999
2019-01-07 09:30:00 | 6.9887 | 9.7868 | 7.5187 | 3.9668 | 5.9847 | 0.26847 | 6.7517 | 11.6661 | 26.46 | 977.53 | 82.4475 | 8.2802
2019-01-07 09:45:00 | 5.9673 | 7.9076 | 6.2403 | 9.1897 | 3.428 | 0.53693 | 5.9847 | 7.5903 | 26.46 | 978.125 | 79.8154 | 4.7479
2019-01-07 10:00:00 | 3.9247 | 0.097624 | 5.9847 | 11.6059 | 5.2177 | 0.78099 | 3.1723 | 14.2531 | 26.46 | 978.422 | 76.568 | 2.409
2019-01-07 10:15:00 | 5.2013 | 23.8183 | 4.4507 | 11.4811 | 3.9393 | 349.026 | 4.7063 | 22.8909 | 26.46 | 978.757 | 73.6905 | 0.65768
2019-01-07 10:30:00 | 3.6693 | 0.097596 | 3.6837 | 1.1883 | 3.6837 | 354.934 | 3.428 | 0.58558 | 26.46 | 978.718 | 71.6596 | 0.15888
2019-01-07 10:45:00 | 1.6267 | 4.0012 | 1.3827 | 15.8036 | 2.4053 | 353.182 | 1.6383 | 9.9543 | 26.46 | 979.015 | 70.4597 | -0.2845
2019-01-07 11:00:00 | 0.372 | 0.097591 | 1.127 | 24.1355 | 1.6383 | 290.675 | 0 | 17.5176 | 26.46 | 979.609 | 64.924 | -0.29928
2019-01-07 11:15:00 | 0.372 | 15.0994 | 2.1497 | 19.8536 | 0 | 289.303 | 0.75133 | 356.58 | 26.46 | 979.802 | 66.7226 | -0.29928
2019-01-07 11:30:00 | 1.116 | 20.1945 | 1.3827 | 19.7561 | 2.1497 | 289.893 | 0.75133 | 18.536 | 26.46 | 979.162 | 67.7712 | -0.29928
2019-01-07 11:45:00 | 2.9033 | 316.038 | 2.661 | 298.721 | 1.3827 | 276.722 | 2.9167 | 324.574 | 26.46 | 979.012 | 65.8924 | -0.29928
2019-01-07 12:00:00 | 0 | 23.2176 | 1.3827 | 0.78206 | 0.75133 | 277.587 | 0.75133 | 56.0442 | 26.46 | 979.012 | 62.8493 | -0.29928
2019-01-07 12:15:00 | 2.9033 | 341.955 | 3.428 | 305.131 | 2.9167 | 298.723 | 3.6837 | 340.712 | 26.46 | 979.012 | 64.5106 | -0.29928
2019-01-07 12:30:00 | 2.3927 | 305.839 | 3.1723 | 293.593 | 2.661 | 302.767 | 2.661 | 318.104 | 26.46 | 978.715 | 64.1683 | -0.29928
2019-01-07 12:45:00 | 2.9033 | 310.736 | 3.428 | 299.223 | 2.9167 | 321.979 | 3.428 | 312.419 | 26.46 | 978.418 | 64.3483 | -0.31776
2019-01-07 13:00:00 | 1.116 | 340.134 | 3.1723 | 320.963 | 1.894 | 236.723 | 0.63133 | 1.6097 | 26.46 | 978.121 | 61.6907 | -0.29928
2019-01-07 13:15:00 | 1.882 | 60.1199 | 2.4053 | 336.915 | 3.1723 | 1.2683 | 2.1497 | 26.8283 | 26.46 | 978.121 | 60.8027 | -0.31776
2019-01-07 13:30:00 | 3.1587 | 21.5109 | 2.661 | 318.053 | 3.428 | 298.226 | 2.9167 | 55.6796 | 26.46 | 978.418 | 60.0155 | -0.29928
2019-01-07 13:45:00 | 5.4567 | 343.342 | 4.195 | 19.8293 | 3.428 | 348.658 | 5.9847 | 335.172 | 26.46 | 978.269 | 59.0202 | -0.22908
2019-01-07 14:00:00 | 3.9247 | 45.3845 | 2.9167 | 2.0998 | 1.6383 | 352.882 | 3.6837 | 33.8494 | 26.46 | 978.418 | 58.4745 | -0.20691
2019-01-07 14:15:00 | 3.6693 | 80.8663 | 1.894 | 303.758 | 0.75133 | 344.438 | 3.1723 | 22.5333 | 26.46 | 978.418 | 57.9953 | 0.029559
2019-01-07 14:30:00 | 3.6693 | 0.097555 | 4.195 | 6.1692 | 3.1723 | 352.833 | 3.6837 | 349.735 | 26.46 | 978.269 | 57.7953 | 0.44338
2019-01-07 14:45:00 | 1.6267 | 40.8279 | 1.6383 | 52.7048 | 0.37567 | 349.744 | 2.9167 | 32.1696 | 26.46 | 977.972 | 59.0948 | 0.44338
2019-01-07 15:00:00 | 3.1587 | 19.292 | 3.6837 | 15.4134 | 2.661 | 311.282 | 3.1723 | 7.4144 | 26.46 | 977.823 | 59.8463 | 1.5925
2019-01-07 15:15:00 | 3.1587 | 8.7314 | 1.6383 | 18.4377 | 1.894 | 256.65 | 2.661 | 11.7069 | 26.46 | 977.526 | 58.8215 | 1.4816
2019-01-07 15:30:00 | 3.1587 | 28.7805 | 4.7063 | 9.683 | 2.4053 | 272.537 | 2.4053 | 0.19512 | 26.46 | 977.245 | 61.5564 | 1.744
2019-01-07 15:45:00 | 4.6907 | 0.097581 | 3.9393 | 21.8624 | 4.195 | 273.569 | 3.9393 | 333.728 | 26.46 | 977.068 | 61.7741 | 2.228
2019-01-07 16:00:00 | 3.9247 | 338.074 | 2.4053 | 11.8031 | 4.7063 | 273.743 | 3.6837 | 353.955 | 26.46 | 976.933 | 61.4331 | 1.7033
2019-01-07 16:15:00 | 1.882 | 352.864 | 3.1723 | 320.006 | 2.9167 | 273.352 | 2.4053 | 351.815 | 26.46 | 976.931 | 62.2585 | 1.3856
2019-01-07 16:30:00 | 3.6693 | 348.571 | 3.428 | 17.2675 | 2.4053 | 273.255 | 3.428 | 356.793 | 26.46 | 976.636 | 63.6938 | 1.3117
2019-01-07 16:45:00 | 4.18 | 351.818 | 3.9393 | 24.453 | 3.6837 | 273.452 | 3.428 | 351.476 | 26.46 | 976.636 | 63.6943 | 1.1491
2019-01-07 17:00:00 | 3.1587 | 351.437 | 3.6837 | 19.8536 | 3.428 | 273.546 | 2.9167 | 53.367 | 26.46 | 976.5 | 63.4997 | 0.90893
2019-01-07 17:15:00 | 3.1587 | 354.129 | 3.6837 | 8.4804 | 3.1723 | 273.419 | 3.6837 | 1.7816 | 26.46 | 976.577 | 61.7324 | 0.99391
2019-01-07 17:30:00 | 3.1587 | 353.229 | 3.428 | 8.9685 | 3.6837 | 273.495 | 3.1723 | 353.986 | 26.46 | 976.935 | 60.229 | 1.0974
2019-01-07 17:45:00 | 3.9247 | 355.539 | 3.1723 | 14.4111 | 3.6837 | 273.488 | 3.428 | 5.0275 | 26.46 | 977.084 | 57.8007 | 0.99022
2019-01-07 18:00:00 | 3.6693 | 353.739 | 3.9393 | 26.8593 | 3.9393 | 273.493 | 4.195 | 354.325 | 26.46 | 977.232 | 57.8017 | 1.4484
2019-01-07 18:15:00 | 3.9247 | 351.729 | 4.195 | 18.194 | 3.9393 | 273.584 | 4.195 | 62.8193 | 26.46 | 977.232 | 56.5356 | 2.6086
2019-01-07 18:30:00 | 2.9033 | 356.67 | 3.1723 | 10.4328 | 3.428 | 273.494 | 2.661 | 18.2557 | 26.46 | 977.084 | 56.6057 | 2.7785
2019-01-07 18:45:00 | 3.9247 | 7.9076 | 3.1723 | 1.0121 | 2.661 | 273.495 | 3.6837 | 11.3 | 26.46 | 977.232 | 54.1446 | 1.7846
2019-01-07 19:00:00 | 3.6693 | 27.4324 | 3.1723 | 22.369 | 2.661 | 273.495 | 3.1723 | 31.5327 | 26.46 | 976.935 | 53.4609 | 0.7131
2019-01-07 19:15:00 | 3.414 | 31.8743 | 3.428 | 21.2463 | 2.4053 | 273.47 | 3.1723 | 31.1422 | 26.46 | 977.084 | 50.8973 | 0.30298
2019-01-07 19:30:00 | 3.1587 | 27.7497 | 3.428 | 19.1962 | 2.661 | 273.446 | 2.9167 | 29.4825 | 26.46 | 977.232 | 50.3845 | 0.66507
2019-01-07 19:45:00 | 4.18 | 14.6436 | 3.6837 | 10.7029 | 3.1723 | 273.47 | 3.9393 | 20.2082 | 26.46 | 977.53 | 49.154 | 0.78331
2019-01-07 20:00:00 | 4.18 | 10.9339 | 3.6837 | 8.4575 | 2.9167 | 273.495 | 3.9393 | 16.108 | 26.46 | 977.53 | 48.4703 | 1.1195
2019-01-07 20:15:00 | 4.18 | 10.7875 | 3.9393 | 2.9905 | 3.1723 | 273.495 | 3.428 | 16.9866 | 26.46 | 977.827 | 49.8376 | 0.96435
2019-01-07 20:30:00 | 3.6693 | 29.6778 | 3.1723 | 21.8808 | 3.1723 | 273.495 | 3.428 | 34.6566 | 26.46 | 977.827 | 47.1714 | 0.40643
2019-01-07 20:45:00 | 2.3927 | 29.3849 | 3.1723 | 39.1603 | 2.9167 | 273.495 | 2.4053 | 32.7774 | 26.46 | 977.827 | 45.3256 | -0.29928
2019-01-07 21:00:00 | 2.3927 | 1.1227 | 2.661 | 3.2086 | 1.894 | 273.348 | 1.894 | 17.548 | 26.46 | 978.125 | 46.2143 | -0.3621
2019-01-07 21:15:00 | 3.414 | 356.378 | 3.6837 | 8.9685 | 4.7063 | 273.69 | 3.428 | 352.424 | 26.46 | 978.125 | 45.2572 | 2.4312
2019-01-07 21:30:00 | 2.9033 | 355.157 | 4.962 | 15.7045 | 4.4507 | 273.592 | 4.962 | 356.817 | 26.46 | 978.422 | 44.847 | 4.3156
2019-01-07 21:45:00 | 4.18 | 74.3897 | 5.4733 | 11.5067 | 3.9393 | 273.592 | 3.428 | 79.0269 | 26.46 | 978.273 | 47.1031 | 5.5829
2019-01-07 22:00:00 | 3.9247 | 11.2268 | 4.195 | 2.6 | 3.428 | 273.543 | 3.6837 | 10.5434 | 26.46 | 978.125 | 49.9744 | 3.6505
2019-01-07 22:15:00 | 4.6907 | 6.3456 | 4.195 | 3.918 | 3.9393 | 273.617 | 4.4507 | 10.0553 | 26.46 | 978.125 | 50.8973 | 5.2615
2019-01-07 22:30:00 | 4.946 | 5.2229 | 4.7063 | 5.3823 | 3.9393 | 273.641 | 4.7063 | 7.3218 | 26.46 | 978.125 | 46.4194 | 6.3256
2019-01-07 22:45:00 | 4.946 | 9.2255 | 4.7063 | 5.2847 | 3.6837 | 273.641 | 4.4507 | 15.4246 | 26.46 | 978.125 | 44.1634 | 4.3156
2019-01-07 23:00:00 | 3.9247 | 16.0104 | 4.4507 | 11.1422 | 3.9393 | 273.641 | 3.6837 | 26.2121 | 26.46 | 978.422 | 42.4543 | 3.1406
2019-01-07 23:15:00 | 4.18 | 32.997 | 4.195 | 17.3901 | 3.6837 | 273.641 | 3.428 | 33.2899 | 26.46 | 978.422 | 42.6594 | 3.0704
2019-01-07 23:30:00 | 3.1587 | 38.708 | 3.428 | 33.9374 | 3.6837 | 273.641 | 2.661 | 38.8545 | 26.46 | 978.125 | 41.2237 | 1.1787
2019-01-07 23:45:00 | 1.882 | 39.3182 | 3.428 | 37.9888 | 3.9393 | 273.665 | 1.894 | 38.0979 | 26.46 | 978.125 | 43.4114 | -0.29928