## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-08 00:00:00 | 0.744 | 24.7722 | 2.4053 | 25.5906 | 3.1723 | 273.592 | 0.37567 | 0.43931 | 26.46 | 978.422 | 45.1205 | -0.30667
2019-01-08 00:15:00 | 2.648 | 32.8994 | 2.9167 | 35.8899 | 2.9167 | 273.592 | 2.1497 | 29.8974 | 26.46 | 978.422 | 44.2318 | -0.33623
2019-01-08 00:30:00 | 1.6267 | 39.1957 | 2.9167 | 33.888 | 3.1723 | 273.614 | 1.6383 | 35.5349 | 26.46 | 978.422 | 44.0262 | -0.31776
2019-01-08 00:45:00 | 2.648 | 30.7517 | 3.428 | 28.0312 | 3.1723 | 273.641 | 2.4053 | 32.6309 | 26.46 | 978.571 | 43.7532 | -0.30667
2019-01-08 01:00:00 | 3.414 | 43.54 | 3.6837 | 37.4513 | 3.1723 | 273.638 | 2.9167 | 46.6151 | 26.46 | 978.422 | 44.8465 | -0.34362
2019-01-08 01:15:00 | 5.4567 | 50.3253 | 4.7063 | 45.2131 | 4.962 | 273.983 | 4.962 | 50.1301 | 26.46 | 978.422 | 46.6929 | 0.90524
2019-01-08 01:30:00 | 5.4567 | 41.0022 | 4.962 | 30.9111 | 3.6837 | 274.129 | 5.4733 | 49.5443 | 26.46 | 978.571 | 47.1031 | 1.3856
2019-01-08 01:45:00 | 4.4353 | 34.4614 | 4.962 | 21.2219 | 4.195 | 274.08 | 4.4507 | 32.875 | 26.46 | 978.571 | 44.7787 | 3.717
2019-01-08 02:00:00 | 6.9887 | 41.051 | 5.4733 | 23.9554 | 4.195 | 274.422 | 6.496 | 48.0312 | 26.46 | 978.422 | 40.9503 | 4.2897
2019-01-08 02:15:00 | 6.2227 | 30.2149 | 5.4733 | 8.3112 | 1.6383 | 274.668 | 6.2403 | 37.8785 | 26.46 | 978.571 | 43.8219 | 6.4253
2019-01-08 02:30:00 | 5.712 | 38.2707 | 5.9847 | 28.6194 | 3.6837 | 276.803 | 5.729 | 44.5189 | 26.46 | 978.719 | 36.1666 | 8.7827
2019-01-08 02:45:00 | 6.478 | 42.6901 | 5.729 | 34.0888 | 3.6837 | 277.254 | 6.2403 | 43.7641 | 26.46 | 978.571 | 31.553 | 10.6485
2019-01-08 03:00:00 | 6.478 | 37.4927 | 7.0073 | 29.136 | 5.4733 | 278.291 | 6.2403 | 44.962 | 26.46 | 978.422 | 29.469 | 11.6277
2019-01-08 03:15:00 | 7.244 | 46.1081 | 5.4733 | 28.5246 | 5.4733 | 279.236 | 7.0073 | 51.8685 | 26.46 | 978.422 | 23.1097 | 11.0808
2019-01-08 03:30:00 | 6.9887 | 40.4189 | 5.4733 | 26.6184 | 4.962 | 279.173 | 6.496 | 49.5473 | 26.46 | 978.422 | 21.8779 | 8.9452
2019-01-08 03:45:00 | 5.4567 | 34.7082 | 5.729 | 35.9187 | 5.729 | 279.496 | 4.7063 | 43.91 | 26.46 | 978.273 | 21.0579 | 8.4834
2019-01-08 04:00:00 | 3.9247 | 26.4584 | 4.4507 | 7.1418 | 1.3827 | 278.35 | 2.661 | 40.8104 | 26.46 | 978.422 | 23.3826 | 7.3601
2019-01-08 04:15:00 | 5.2013 | 37.7859 | 4.962 | 30.7229 | 3.9393 | 278.854 | 4.4507 | 38.9819 | 26.46 | 978.125 | 21.1275 | 6.9648
2019-01-08 04:30:00 | 6.2227 | 31.3426 | 5.2177 | 25.5981 | 3.9393 | 278.861 | 6.2403 | 38.2262 | 26.46 | 978.125 | 21.4699 | 5.5275
2019-01-08 04:45:00 | 5.2013 | 34.8089 | 4.4507 | 21.595 | 3.6837 | 278.764 | 4.7063 | 38.6657 | 26.46 | 978.273 | 20.5128 | 5.2023
2019-01-08 05:00:00 | 5.712 | 34.1744 | 5.4733 | 17.7383 | 3.9393 | 278.814 | 5.4733 | 43.1329 | 26.46 | 978.422 | 20.3077 | 4.0976
2019-01-08 05:15:00 | 4.6907 | 27.193 | 4.7063 | 14.1255 | 4.195 | 278.692 | 4.195 | 36.3713 | 26.46 | 978.422 | 19.9658 | 4.4782
2019-01-08 05:30:00 | 4.946 | 26.4607 | 4.962 | 16.5666 | 3.9393 | 278.911 | 4.4507 | 29.927 | 26.46 | 978.422 | 19.6239 | 3.8352
2019-01-08 05:45:00 | 5.4567 | 21.3098 | 5.729 | 11.9281 | 5.2177 | 279.053 | 5.2177 | 30.4391 | 26.46 | 978.719 | 19.8287 | 4.0348
2019-01-08 06:00:00 | 5.712 | 24.8985 | 5.729 | 18.7635 | 3.428 | 278.667 | 4.962 | 39.0076 | 26.46 | 978.719 | 19.8974 | 3.5212
2019-01-08 06:15:00 | 6.2227 | 29.9758 | 4.7063 | 30.9442 | 3.9393 | 279.009 | 5.729 | 44.744 | 26.46 | 978.719 | 19.282 | 3.621
2019-01-08 06:30:00 | 4.946 | 17.8439 | 5.2177 | 19.2517 | 4.195 | 279.009 | 4.7063 | 21.3834 | 26.46 | 979.017 | 19.4872 | 4.9806
2019-01-08 06:45:00 | 7.4993 | 26.4363 | 6.2403 | 20.4722 | 4.4507 | 279.009 | 7.0073 | 38.495 | 26.46 | 979.017 | 19.4188 | 6.4771
2019-01-08 07:00:00 | 6.478 | 24.6788 | 6.7517 | 15.5413 | 5.4733 | 279.766 | 5.729 | 29.5608 | 26.46 | 979.017 | 19.0427 | 11.0291
2019-01-08 07:15:00 | 5.712 | 29.0236 | 5.2177 | 19.7153 | 4.4507 | 279.056 | 5.4733 | 33.4419 | 26.46 | 979.611 | 19.6922 | 12.6068
2019-01-08 07:30:00 | 6.2227 | 26.1188 | 5.729 | 20.5451 | 4.195 | 279.446 | 5.729 | 35.7607 | 26.46 | 979.611 | 20.5126 | 17.8683
2019-01-08 07:45:00 | 7.244 | 21.5787 | 7.0073 | 10.879 | 5.729 | 279.741 | 7.0073 | 22.2133 | 26.46 | 979.017 | 20.9573 | 33.8448
2019-01-08 08:00:00 | 9.2867 | 22.2133 | 7.5187 | 9.2191 | 5.9847 | 281.621 | 9.3083 | 22.9456 | 26.46 | 979.165 | 22.2906 | 32.7881
2019-01-08 08:15:00 | 10.308 | 17.9171 | 8.797 | 6.8513 | 7.5187 | 284.233 | 10.0753 | 20.9196 | 26.46 | 979.314 | 21.6752 | 31.5725
2019-01-08 08:30:00 | 7.7547 | 19.04 | 7.7743 | 10.4152 | 7.263 | 287.089 | 7.5187 | 27.3883 | 26.46 | 979.611 | 22.7009 | 28.4021
2019-01-08 08:45:00 | 8.01 | 28.9499 | 6.496 | 20.4713 | 4.4507 | 287.571 | 7.5187 | 31.5862 | 26.46 | 980.355 | 22.1534 | 20.7392
2019-01-08 09:00:00 | 8.5207 | 20.2573 | 6.496 | 9.7514 | 4.962 | 289.631 | 8.03 | 24.26 | 26.46 | 980.801 | 22.1503 | 15.2043
2019-01-08 09:15:00 | 7.7547 | 28.8236 | 6.7517 | 17.1949 | 2.1497 | 290.53 | 7.0073 | 26.3586 | 26.46 | 981.693 | 21.6032 | 9.8874
2019-01-08 09:30:00 | 4.6907 | 6.1503 | 4.195 | 0.50111 | 4.4507 | 291.165 | 4.962 | 18.2313 | 26.46 | 982.288 | 25.0214 | 6.4032
2019-01-08 09:45:00 | 9.2867 | 15.7175 | 9.3083 | 8.0182 | 5.729 | 292.483 | 8.797 | 18.7195 | 26.46 | 982.288 | 22.4235 | 8.4871
2019-01-08 10:00:00 | 6.7333 | 10.1529 | 6.2403 | 13.4605 | 5.729 | 296.483 | 4.962 | 14.4971 | 26.46 | 982.765 | 23.5172 | 11.5168
2019-01-08 10:15:00 | 7.4993 | 25.6245 | 8.797 | 25.0504 | 3.1723 | 297.44 | 7.7743 | 26.7471 | 26.46 | 982.656 | 22.9346 | 17.8831
2019-01-08 10:30:00 | 6.478 | 356.743 | 6.7517 | 20 | 6.7517 | 298.836 | 7.263 | 9.0778 | 26.46 | 982.899 | 24.4369 | 25.0104
2019-01-08 10:45:00 | 8.5207 | 7.4915 | 9.8197 | 4.3535 | 6.2403 | 301.003 | 8.2857 | 16.7644 | 26.46 | 982.888 | 23.9239 | 36.0432
2019-01-08 11:00:00 | 10.5633 | 12.3474 | 8.2857 | 1.0153 | 3.6837 | 301.583 | 10.331 | 11.2493 | 26.46 | 982.737 | 22.0779 | 42.6887
2019-01-08 11:15:00 | 9.2867 | 15.3237 | 10.5867 | 11.0379 | 5.729 | 66.4436 | 9.564 | 15.7386 | 26.46 | 982.582 | 21.1884 | 40.2451
2019-01-08 11:30:00 | 8.776 | 16.4469 | 10.8423 | 4.8411 | 5.4733 | 337.185 | 8.797 | 20.3512 | 26.46 | 982.582 | 20.2324 | 40.6248
2019-01-08 11:45:00 | 9.7973 | 11.4215 | 9.3083 | 4.4537 | 8.2857 | 30.2621 | 9.3083 | 15.1799 | 26.46 | 982.164 | 19.5513 | 47.0799
2019-01-08 12:00:00 | 9.542 | 19.9639 | 9.8197 | 5.5773 | 7.263 | 50.4956 | 9.564 | 12.2273 | 26.46 | 982.21 | 19.2785 | 39.9708
2019-01-08 12:15:00 | 9.0313 | 18.7927 | 8.2857 | 10.9469 | 6.7517 | 322.892 | 8.797 | 24.5037 | 26.46 | 982.386 | 19.0737 | 32.3815
2019-01-08 12:30:00 | 9.0313 | 9.1764 | 11.098 | 6.6019 | 4.4507 | 325.056 | 9.0527 | 13.4718 | 26.46 | 982.065 | 18.9364 | 31.0987
2019-01-08 12:45:00 | 11.84 | 17.3012 | 12.1207 | 10.7956 | 7.0073 | 331.553 | 11.6093 | 20.1562 | 26.46 | 981.697 | 19.2073 | 34.8839
2019-01-08 13:00:00 | 11.074 | 2.1228 | 10.0753 | 5.1159 | 8.03 | 333.208 | 9.564 | 7.6372 | 26.46 | 981.69 | 20.1284 | 37.2092
2019-01-08 13:15:00 | 8.2653 | 10.0521 | 9.3083 | 0.98243 | 7.263 | 337.793 | 7.7743 | 21.7632 | 26.46 | 981.69 | 20.9469 | 39.8489
2019-01-08 13:30:00 | 11.3293 | 5.1235 | 11.6093 | 1.5797 | 5.9847 | 32.8882 | 10.8423 | 7.5633 | 26.46 | 981.542 | 21.3907 | 43.1817
2019-01-08 13:45:00 | 7.244 | 356.817 | 7.263 | 5.3249 | 9.0527 | 15.273 | 6.496 | 6.8314 | 26.46 | 981.69 | 22.0058 | 42.8085
2019-01-08 14:00:00 | 10.308 | 9.0272 | 11.098 | 0.6161 | 8.797 | 4.5624 | 10.0753 | 13.1504 | 26.46 | 981.69 | 22.04 | 40.7622
2019-01-08 14:15:00 | 7.4993 | 20.3965 | 7.5187 | 20.3783 | 0.75133 | 6.4898 | 6.2403 | 13.492 | 26.46 | 982.285 | 22.4842 | 35.5149
2019-01-08 14:30:00 | 9.2867 | 15.7122 | 8.2857 | 15.8403 | 5.9847 | 25.9592 | 9.0527 | 18.5667 | 26.46 | 981.839 | 22.8601 | 34.4294
2019-01-08 14:45:00 | 5.9673 | 15.3462 | 8.2857 | 6.0812 | 5.9847 | 4.8552 | 6.7517 | 15.1754 | 26.46 | 982.433 | 22.8259 | 34.3251
2019-01-08 15:00:00 | 9.0313 | 11.5645 | 10.0753 | 4.6417 | 8.2857 | 12.1501 | 9.3083 | 16.5905 | 26.46 | 982.285 | 22.6892 | 35.328
2019-01-08 15:15:00 | 6.2227 | 6.563 | 7.5187 | 16.7186 | 5.2177 | 18.6887 | 5.9847 | 9.3199 | 26.46 | 982.136 | 22.9968 | 37.782
2019-01-08 15:30:00 | 9.2867 | 16.4938 | 9.564 | 5.3018 | 8.2857 | 21.1296 | 9.564 | 18.5677 | 26.46 | 981.988 | 23.0322 | 38.6739
2019-01-08 15:45:00 | 9.7973 | 17.1792 | 8.797 | 14.3828 | 7.5187 | 2.367 | 9.3083 | 15.3246 | 26.46 | 982.136 | 22.9668 | 31.5355
2019-01-08 16:00:00 | 6.7333 | 7.1998 | 10.5867 | 8.9455 | 3.6837 | 37.2192 | 6.7517 | 2.6359 | 26.46 | 982.1 | 23.0387 | 27.4305
2019-01-08 16:15:00 | 5.712 | 86.3487 | 6.7517 | 0.59873 | 6.7517 | 10.8119 | 5.9847 | 92.3526 | 26.46 | 982.288 | 22.9704 | 26.236
2019-01-08 16:30:00 | 9.2867 | 17.8164 | 9.564 | 11.9232 | 7.5187 | 6.6629 | 9.3083 | 22.478 | 26.46 | 981.693 | 23.0388 | 24.9698
2019-01-08 16:45:00 | 9.542 | 1.3423 | 6.7517 | 5.7713 | 7.7743 | 7.5659 | 9.0527 | 14.5704 | 26.46 | 981.99 | 23.449 | 23.4992
2019-01-08 17:00:00 | 7.244 | 9.8112 | 7.0073 | 1.5002 | 5.4733 | 2.0013 | 7.0073 | 15.2294 | 26.46 | 981.693 | 23.3464 | 21.02
2019-01-08 17:15:00 | 8.2653 | 85.885 | 7.263 | 2.2584 | 4.962 | 356.89 | 7.7743 | 12.9352 | 26.46 | 981.693 | 23.5173 | 18.6774
2019-01-08 17:30:00 | 5.9673 | 15.23 | 5.2177 | 2.8419 | 4.195 | 356.928 | 5.2177 | 11.7642 | 26.46 | 981.693 | 23.9968 | 13.3827
2019-01-08 17:45:00 | 6.478 | 13.4011 | 6.2403 | 4.1172 | 4.7063 | 24.1904 | 5.9847 | 13.9138 | 26.46 | 981.693 | 24.8887 | 11.4873
2019-01-08 18:00:00 | 6.2227 | 9.8373 | 6.7517 | 7.2418 | 2.9167 | 14.9879 | 5.4733 | 13.4012 | 26.46 | 981.396 | 25.5726 | 8.5868
2019-01-08 18:15:00 | 4.6907 | 2.5631 | 4.7063 | 5.3867 | 3.428 | 13.6697 | 3.9393 | 14.2068 | 26.46 | 981.693 | 26.188 | 7.1015
2019-01-08 18:30:00 | 4.6907 | 11.1067 | 4.195 | 4.3126 | 2.1497 | 356.976 | 3.9393 | 14.9391 | 26.46 | 981.842 | 26.6667 | 4.9696
2019-01-08 18:45:00 | 4.18 | 9.3247 | 3.9393 | 3.1081 | 3.1723 | 5.3703 | 3.428 | 19.9188 | 26.46 | 981.99 | 27.282 | 2.7785
2019-01-08 19:00:00 | 4.18 | 3.2222 | 3.428 | 5.289 | 2.4053 | 339.547 | 4.195 | 13.7674 | 26.46 | 981.99 | 28.0684 | 4.068
2019-01-08 19:15:00 | 4.18 | 10.9114 | 3.1723 | 3.1081 | 1.3827 | 342.525 | 3.428 | 13.0839 | 26.46 | 982.288 | 28.9914 | 1.925
2019-01-08 19:30:00 | 2.9033 | 0.7079 | 3.428 | 10.6753 | 2.661 | 1.1717 | 2.1497 | 6.8349 | 26.46 | 982.139 | 29.4017 | 3.0446
2019-01-08 19:45:00 | 3.414 | 0.2441 | 4.195 | 10.8705 | 4.195 | 349.167 | 3.428 | 90.4652 | 26.46 | 982.437 | 29.6071 | 3.7318
2019-01-08 20:00:00 | 2.3927 | 19.1386 | 3.9393 | 17.4473 | 2.1497 | 7.3479 | 2.4053 | 355.187 | 26.46 | 982.288 | 30.7024 | 6.2665
2019-01-08 20:15:00 | 5.4567 | 12.5969 | 5.2177 | 6.6097 | 2.4053 | 0.048825 | 4.7063 | 18.5047 | 26.46 | 982.174 | 31.4902 | 6.6138
2019-01-08 20:30:00 | 4.6907 | 16.8947 | 3.6837 | 0.95682 | 2.661 | 16.7482 | 3.9393 | 20.6545 | 26.46 | 982.47 | 31.5266 | 4.5631
2019-01-08 20:45:00 | 5.2013 | 18.7991 | 3.6837 | 5.0492 | 2.9167 | 14.3557 | 3.6837 | 12.0119 | 26.46 | 982.898 | 31.8003 | 4.0126
2019-01-08 21:00:00 | 6.2227 | 8.4474 | 5.9847 | 4.5365 | 3.428 | 17.8225 | 5.729 | 16.7971 | 26.46 | 983.063 | 32.0055 | 6.381
2019-01-08 21:15:00 | 7.244 | 13.3303 | 7.263 | 2.1927 | 5.729 | 1.2451 | 7.0073 | 18.9212 | 26.46 | 982.898 | 32.7577 | 8.0585
2019-01-08 21:30:00 | 6.2227 | 14.551 | 6.2403 | 4.6097 | 3.428 | 6.1768 | 5.729 | 17.9446 | 26.46 | 983.236 | 33.168 | 6.6877
2019-01-08 21:45:00 | 7.244 | 11.3283 | 7.263 | 4.1947 | 4.4507 | 0.048829 | 7.0073 | 20.0198 | 26.46 | 982.955 | 34.4674 | 10.7631
2019-01-08 22:00:00 | 6.478 | 13.9895 | 5.2177 | 6.1723 | 3.6837 | 28.5649 | 6.2403 | 18.555 | 26.46 | 982.973 | 34.4674 | 12.2373
2019-01-08 22:15:00 | 6.478 | 18.7991 | 5.9847 | 6.2699 | 2.661 | 22.974 | 5.729 | 23.1449 | 26.46 | 982.927 | 34.741 | 8.6533
2019-01-08 22:30:00 | 5.712 | 23.2914 | 5.9847 | 10.1762 | 4.7063 | 8.7404 | 5.4733 | 27.4906 | 26.46 | 982.983 | 34.741 | 6.1002
2019-01-08 22:45:00 | 5.712 | 10.3517 | 5.729 | 5.2933 | 3.1723 | 43.8239 | 4.962 | 21.1673 | 26.46 | 983 | 35.3565 | 6.4697
2019-01-08 23:00:00 | 5.712 | 19.3365 | 4.4507 | 9.908 | 2.661 | 35.8652 | 5.4733 | 20.8258 | 26.46 | 983.001 | 35.3569 | 2.882
2019-01-08 23:15:00 | 4.4353 | 18.7015 | 3.428 | 7.6372 | 2.4053 | 38.2818 | 3.6837 | 24.2924 | 26.46 | 982.998 | 34.7752 | 1.2304
2019-01-08 23:30:00 | 0 | 50.0496 | 0.75133 | 22.7253 | 0 | 57.0321 | 0 | 43.653 | 26.46 | 983.049 | 35.4249 | -0.44708
2019-01-08 23:45:00 | 2.3927 | 43.3621 | 1.894 | 17.4536 | 0 | 14.1611 | 1.894 | 43.4354 | 26.46 | 982.766 | 35.4266 | -0.31776