## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-10 00:00:00 | 9.2867 | 150.834 | 7.7743 | 139.551 | 6.2403 | 153.52 | 9.564 | 149.271 | 26.46 | 973.665 | 94.3228 | 35.574
2019-01-10 00:15:00 | 8.5207 | 149.173 | 7.7743 | 142.994 | 6.496 | 154.057 | 8.797 | 145.779 | 26.46 | 973.665 | 94.186 | 30.8261
2019-01-10 00:30:00 | 9.2867 | 149.613 | 8.797 | 145.778 | 7.5187 | 152.128 | 9.564 | 157.207 | 26.46 | 973.665 | 94.9384 | 32.6477
2019-01-10 00:45:00 | 7.7547 | 149.369 | 6.7517 | 147.951 | 6.496 | 158.135 | 7.5187 | 150.37 | 26.46 | 973.517 | 95.3488 | 37.2367
2019-01-10 01:00:00 | 10.308 | 154.521 | 7.7743 | 147.072 | 7.7743 | 161.554 | 10.0753 | 160.699 | 26.46 | 973.219 | 96.0329 | 43.832
2019-01-10 01:15:00 | 11.3293 | 149.54 | 8.5413 | 138.136 | 7.5187 | 156.768 | 11.6093 | 160.016 | 26.46 | 973.368 | 96.1017 | 41.7037
2019-01-10 01:30:00 | 9.542 | 154.155 | 7.5187 | 145.827 | 7.263 | 160.089 | 9.3083 | 156.328 | 26.46 | 973.368 | 96.1699 | 41.7222
2019-01-10 01:45:00 | 9.2867 | 147.465 | 8.2857 | 142.727 | 7.5187 | 159.43 | 8.5413 | 155.157 | 26.46 | 973.368 | 96.0676 | 39.7233
2019-01-10 02:00:00 | 8.776 | 151.104 | 5.9847 | 148.808 | 5.4733 | 168.588 | 8.5413 | 156.867 | 26.46 | 973.517 | 95.829 | 34.4064
2019-01-10 02:15:00 | 8.776 | 155.158 | 7.0073 | 159.284 | 5.9847 | 151.544 | 8.2857 | 156.062 | 26.46 | 973.665 | 95.7607 | 30.9517
2019-01-10 02:30:00 | 9.7973 | 149.205 | 8.03 | 142.929 | 8.2857 | 148.204 | 9.3083 | 149.278 | 26.46 | 973.368 | 95.6956 | 35.3227
2019-01-10 02:45:00 | 9.7973 | 150.224 | 9.564 | 139.357 | 7.7743 | 141.678 | 9.8197 | 156.378 | 26.46 | 973.219 | 95.6914 | 39.2356
2019-01-10 03:00:00 | 10.5633 | 159.016 | 10.5867 | 142.605 | 8.5413 | 156.208 | 10.331 | 162.288 | 26.46 | 973.368 | 95.2131 | 41.4673
2019-01-10 03:15:00 | 10.308 | 160.601 | 10.0753 | 142.921 | 8.797 | 133.179 | 10.331 | 163.336 | 26.46 | 973.07 | 94.8701 | 40.7283
2019-01-10 03:30:00 | 10.308 | 159.087 | 10.331 | 144.606 | 8.797 | 149.198 | 10.0753 | 161.944 | 26.46 | 973.07 | 94.1177 | 40.0595
2019-01-10 03:45:00 | 10.0527 | 149.955 | 8.2857 | 139.527 | 7.0073 | 155.62 | 9.0527 | 159.087 | 26.46 | 973.07 | 93.5705 | 43.4846
2019-01-10 04:00:00 | 9.7973 | 159.551 | 8.797 | 142.872 | 7.7743 | 159.063 | 9.3083 | 162.262 | 26.46 | 972.773 | 94.2203 | 37.9313
2019-01-10 04:15:00 | 10.5633 | 155.84 | 9.564 | 147.145 | 8.2857 | 154.277 | 10.331 | 162.555 | 26.46 | 972.773 | 94.3913 | 36.9004
2019-01-10 04:30:00 | 10.5633 | 156.108 | 10.331 | 140.748 | 8.2857 | 147.83 | 10.331 | 156.67 | 26.46 | 972.475 | 94.4597 | 32.7601
2019-01-10 04:45:00 | 9.542 | 152.421 | 8.2857 | 147.023 | 7.0073 | 161.431 | 9.3083 | 152.861 | 26.46 | 972.773 | 95.2121 | 33.3349
2019-01-10 05:00:00 | 9.0313 | 148.221 | 7.5187 | 150.711 | 7.7743 | 154.594 | 8.797 | 160.406 | 26.46 | 972.624 | 96.0329 | 37.5803
2019-01-10 05:15:00 | 8.5207 | 160.552 | 8.5413 | 154.227 | 6.496 | 155.791 | 8.797 | 155.888 | 26.46 | 972.475 | 96.4091 | 35.7957
2019-01-10 05:30:00 | 8.2653 | 160.943 | 8.5413 | 142.457 | 6.496 | 150.174 | 8.2857 | 174.227 | 26.46 | 972.475 | 96.1355 | 41.3047
2019-01-10 05:45:00 | 7.4993 | 161.627 | 5.9847 | 161.211 | 7.0073 | 168.757 | 7.0073 | 149.784 | 26.46 | 972.475 | 96.0671 | 38.5003
2019-01-10 06:00:00 | 9.7973 | 157.94 | 7.7743 | 147.829 | 6.2403 | 159.673 | 9.0527 | 157.524 | 26.46 | 972.475 | 95.9987 | 44.0832
2019-01-10 06:15:00 | 9.2867 | 157.085 | 7.5187 | 158.036 | 8.03 | 151.298 | 9.0527 | 156.572 | 26.46 | 972.326 | 95.9987 | 43.178
2019-01-10 06:30:00 | 9.2867 | 160.601 | 7.0073 | 149.563 | 6.496 | 158.867 | 9.0527 | 163.336 | 26.46 | 972.475 | 95.9645 | 44.7889
2019-01-10 06:45:00 | 8.776 | 154.887 | 7.0073 | 154.227 | 7.7743 | 159.747 | 8.797 | 163.629 | 26.46 | 972.475 | 96.0329 | 38.9621
2019-01-10 07:00:00 | 8.2653 | 155.424 | 7.5187 | 154.544 | 8.03 | 163.067 | 8.03 | 160.772 | 26.46 | 972.773 | 95.9645 | 38.8328
2019-01-10 07:15:00 | 8.5207 | 159.576 | 9.0527 | 151.59 | 7.5187 | 162.335 | 8.797 | 160.65 | 26.46 | 972.773 | 96.1013 | 37.5507
2019-01-10 07:30:00 | 7.4993 | 151.42 | 7.0073 | 145.778 | 6.496 | 161.895 | 7.7743 | 151.933 | 26.46 | 973.07 | 96.1013 | 37.3734
2019-01-10 07:45:00 | 7.7547 | 152.177 | 6.7517 | 152.908 | 5.9847 | 168.611 | 7.263 | 156.694 | 26.46 | 973.07 | 95.8961 | 36.2317
2019-01-10 08:00:00 | 7.4993 | 159.942 | 7.0073 | 144.581 | 6.496 | 155.254 | 7.263 | 154.643 | 26.46 | 973.07 | 95.9645 | 31.288
2019-01-10 08:15:00 | 7.244 | 152.519 | 7.263 | 147.561 | 6.7517 | 153.74 | 7.263 | 153.398 | 26.46 | 973.368 | 96.1013 | 33.7487
2019-01-10 08:30:00 | 6.2227 | 157.012 | 6.7517 | 145.802 | 8.03 | 155.766 | 6.7517 | 157.915 | 26.46 | 973.07 | 96.1013 | 33.3312
2019-01-10 08:45:00 | 6.478 | 156.548 | 5.9847 | 141.724 | 6.7517 | 166.828 | 7.0073 | 169.807 | 26.46 | 973.368 | 96.1697 | 31.8865
2019-01-10 09:00:00 | 6.9887 | 160.65 | 6.496 | 161.455 | 7.263 | 155.62 | 7.0073 | 167.951 | 26.46 | 973.762 | 96.2039 | 32.0084
2019-01-10 09:15:00 | 8.01 | 158.892 | 7.5187 | 149.392 | 7.0073 | 160.162 | 7.7743 | 158.111 | 26.46 | 973.792 | 96.2381 | 32.208
2019-01-10 09:30:00 | 7.7547 | 158.769 | 8.2857 | 148.292 | 7.0073 | 147.121 | 8.5413 | 160.112 | 26.46 | 973.672 | 96.3058 | 37.8184
2019-01-10 09:45:00 | 8.776 | 148.499 | 6.2403 | 153.55 | 5.4733 | 153.773 | 8.03 | 144.275 | 26.46 | 973.913 | 96.5359 | 35.223
2019-01-10 10:00:00 | 8.01 | 148.637 | 5.9847 | 152.71 | 6.7517 | 159.575 | 7.5187 | 156.401 | 26.46 | 973.705 | 96.5306 | 37.8648
2019-01-10 10:15:00 | 7.7547 | 151.003 | 6.2403 | 149.241 | 7.0073 | 170.803 | 7.263 | 150.906 | 26.46 | 973.716 | 96.7003 | 33.0873
2019-01-10 10:30:00 | 8.5207 | 156.252 | 7.7743 | 148.044 | 8.03 | 156.618 | 8.2857 | 156.814 | 26.46 | 973.686 | 96.5975 | 38.5927
2019-01-10 10:45:00 | 6.9887 | 157.298 | 7.0073 | 151.995 | 8.03 | 169.969 | 7.0073 | 152.049 | 26.46 | 973.526 | 96.766 | 39.0508
2019-01-10 11:00:00 | 8.2653 | 156.116 | 6.7517 | 152.912 | 7.263 | 156.995 | 7.5187 | 157.434 | 26.46 | 973.665 | 96.76 | 35.4003
2019-01-10 11:15:00 | 8.2653 | 169.74 | 7.5187 | 159.163 | 7.0073 | 172.547 | 7.263 | 167.079 | 26.46 | 973.665 | 96.624 | 29.3814
2019-01-10 11:30:00 | 8.2653 | 158.506 | 7.7743 | 156.546 | 8.5413 | 174.691 | 8.5413 | 155.772 | 26.46 | 973.367 | 96.4848 | 25.4021
2019-01-10 11:45:00 | 8.5207 | 158.843 | 6.2403 | 152.049 | 7.5187 | 157.988 | 8.03 | 157.134 | 26.46 | 973.077 | 96.6186 | 20.8389
2019-01-10 12:00:00 | 6.7333 | 154.207 | 5.9847 | 149.659 | 7.0073 | 172.882 | 6.2403 | 149.862 | 26.46 | 973.094 | 96.8593 | 18.2599
2019-01-10 12:15:00 | 6.478 | 147.292 | 7.263 | 136.543 | 7.5187 | 154.541 | 6.496 | 152.32 | 26.46 | 972.772 | 97.0257 | 16.3423
2019-01-10 12:30:00 | 6.7333 | 145.632 | 6.2403 | 138.545 | 6.2403 | 145.656 | 6.7517 | 144.68 | 26.46 | 972.478 | 96.6154 | 15.5627
2019-01-10 12:45:00 | 6.7333 | 154.663 | 7.263 | 146.527 | 7.0073 | 150.929 | 7.0073 | 150.196 | 26.46 | 972.475 | 96.8889 | 15.5996
2019-01-10 13:00:00 | 6.7333 | 156.763 | 7.5187 | 133.809 | 6.496 | 134.769 | 6.2403 | 156.128 | 26.46 | 972.475 | 97.0257 | 16.4864
2019-01-10 13:15:00 | 5.4567 | 157.129 | 6.496 | 139.57 | 8.03 | 143.776 | 5.729 | 158.545 | 26.46 | 972.475 | 96.9573 | 14.1254
2019-01-10 13:30:00 | 5.9673 | 155.786 | 5.4733 | 152.288 | 5.9847 | 157.715 | 5.9847 | 159.765 | 26.46 | 972.475 | 97.1624 | 15.825
2019-01-10 13:45:00 | 6.7333 | 147.267 | 6.2403 | 149.163 | 7.0073 | 158.838 | 5.9847 | 155.982 | 26.46 | 972.178 | 97.0257 | 16.0984
2019-01-10 14:00:00 | 3.9247 | 138.724 | 4.962 | 149.31 | 5.4733 | 160.864 | 3.6837 | 147.023 | 26.46 | 972.475 | 97.1966 | 14.0182
2019-01-10 14:15:00 | 5.9673 | 147.682 | 5.729 | 141.791 | 4.962 | 156.836 | 5.9847 | 143.361 | 26.46 | 972.772 | 97.0599 | 12.7029
2019-01-10 14:30:00 | 5.9673 | 155.542 | 5.4733 | 155.119 | 5.9847 | 158.349 | 4.962 | 177.731 | 26.46 | 972.772 | 97.0599 | 12.5662
2019-01-10 14:45:00 | 6.2227 | 150.611 | 6.496 | 141.352 | 7.0073 | 142.19 | 5.9847 | 160.448 | 26.46 | 972.772 | 97.1622 | 17.0776
2019-01-10 15:00:00 | 5.9673 | 149.389 | 6.496 | 145.06 | 8.03 | 154.491 | 5.729 | 145.337 | 26.46 | 972.772 | 96.9904 | 21.3303
2019-01-10 15:15:00 | 6.2227 | 152.662 | 5.9847 | 151.531 | 6.496 | 156.665 | 6.2403 | 152.686 | 26.46 | 972.624 | 96.7179 | 22.1284
2019-01-10 15:30:00 | 7.4993 | 138.357 | 6.7517 | 129.391 | 6.496 | 147.755 | 7.263 | 139.773 | 26.46 | 972.772 | 96.3419 | 19.8894
2019-01-10 15:45:00 | 6.2227 | 146.925 | 7.0073 | 138.911 | 6.2403 | 149.879 | 5.9847 | 143.874 | 26.46 | 972.475 | 95.2137 | 18.1195
2019-01-10 16:00:00 | 6.2227 | 149.025 | 6.2403 | 141.645 | 5.4733 | 147.438 | 5.9847 | 149.903 | 26.46 | 972.475 | 92.5128 | 14.5762
2019-01-10 16:15:00 | 3.414 | 126.689 | 4.962 | 134.224 | 3.6837 | 132.645 | 3.9393 | 133.866 | 26.46 | 972.475 | 91.8974 | 12.9393
2019-01-10 16:30:00 | 5.2013 | 132.401 | 5.729 | 141.523 | 4.195 | 157.617 | 5.2177 | 122.564 | 26.46 | 971.88 | 91.2137 | 16.7524
2019-01-10 16:45:00 | 6.7333 | 136.649 | 6.496 | 133.248 | 5.9847 | 143.386 | 7.0073 | 136.868 | 26.46 | 971.88 | 91.6923 | 24.6705
2019-01-10 17:00:00 | 7.244 | 151.881 | 7.7743 | 148.577 | 7.5187 | 157.763 | 7.0073 | 146.022 | 26.46 | 971.732 | 92.2393 | 34.8128
2019-01-10 17:15:00 | 9.0313 | 145.9 | 8.797 | 144.598 | 8.797 | 151.905 | 8.797 | 146.339 | 26.46 | 971.732 | 91.7607 | 31.65
2019-01-10 17:30:00 | 5.9673 | 149.147 | 6.496 | 146.136 | 7.263 | 146.437 | 5.729 | 152.076 | 26.46 | 971.738 | 92.1709 | 31.3508
2019-01-10 17:45:00 | 7.7547 | 141.897 | 7.7743 | 142.328 | 7.0073 | 155.078 | 8.5413 | 144.728 | 26.46 | 971.882 | 92.4102 | 35.1528
2019-01-10 18:00:00 | 6.7333 | 143.149 | 7.0073 | 146.585 | 7.0073 | 165.779 | 7.0073 | 145.932 | 26.46 | 971.88 | 92.4836 | 32.6107
2019-01-10 18:15:00 | 9.0313 | 150.045 | 9.3083 | 135.171 | 9.8197 | 145.211 | 9.3083 | 144.771 | 26.46 | 971.882 | 92.2511 | 36.276
2019-01-10 18:30:00 | 8.01 | 153.066 | 8.03 | 149.032 | 8.5413 | 164.882 | 7.7743 | 154.092 | 26.46 | 971.881 | 92.1793 | 37.4066
2019-01-10 18:45:00 | 8.5207 | 148.497 | 8.797 | 144.194 | 8.03 | 162.241 | 7.5187 | 144.152 | 26.46 | 972.326 | 92.3819 | 30.5231
2019-01-10 19:00:00 | 6.7333 | 147.198 | 8.2857 | 139.697 | 6.2403 | 151.202 | 6.7517 | 150.372 | 26.46 | 972.34 | 92.4472 | 24.8626
2019-01-10 19:15:00 | 6.2227 | 155.421 | 6.7517 | 153.85 | 6.7517 | 168.138 | 5.9847 | 146.828 | 26.46 | 972.481 | 92.5131 | 20.7613
2019-01-10 19:30:00 | 4.946 | 150.294 | 5.4733 | 142.816 | 4.4507 | 144.655 | 4.962 | 151.075 | 26.46 | 972.475 | 92.8548 | 16.4384
2019-01-10 19:45:00 | 5.712 | 160.571 | 8.5413 | 158.757 | 7.5187 | 170.823 | 6.496 | 153.15 | 26.46 | 972.478 | 92.9916 | 32.3373
2019-01-10 20:00:00 | 9.2867 | 150.954 | 9.8197 | 142.305 | 8.2857 | 163.013 | 9.3083 | 154.567 | 26.46 | 972.475 | 92.3769 | 37.1147
2019-01-10 20:15:00 | 7.7547 | 154.053 | 8.5413 | 147.21 | 7.263 | 154.224 | 8.03 | 153.223 | 26.46 | 972.475 | 92.4445 | 32.4851
2019-01-10 20:30:00 | 8.5207 | 152.906 | 9.0527 | 145.575 | 8.2857 | 159.106 | 8.797 | 152.808 | 26.46 | 972.475 | 91.9316 | 39.5792
2019-01-10 20:45:00 | 8.2653 | 150.709 | 8.03 | 147.284 | 7.0073 | 159.399 | 8.5413 | 149.562 | 26.46 | 972.478 | 91.6581 | 32.9506
2019-01-10 21:00:00 | 8.776 | 151.881 | 8.797 | 146.722 | 8.03 | 163.695 | 8.5413 | 150.172 | 26.46 | 972.475 | 91.624 | 28.853
2019-01-10 21:15:00 | 6.9887 | 150.758 | 8.797 | 143.573 | 8.2857 | 150.636 | 7.7743 | 152.466 | 26.46 | 972.475 | 92.3077 | 28.8383
2019-01-10 21:30:00 | 6.478 | 154.37 | 7.0073 | 151.018 | 6.2403 | 159.838 | 6.7517 | 158.52 | 26.46 | 972.475 | 92.2393 | 20.983
2019-01-10 21:45:00 | 5.4567 | 154.349 | 5.4733 | 152.584 | 6.2403 | 157.351 | 5.2177 | 153.055 | 26.46 | 972.475 | 91.1469 | 16.745
2019-01-10 22:00:00 | 7.7547 | 149.245 | 7.0073 | 145.99 | 7.263 | 163.476 | 7.263 | 151.564 | 26.46 | 972.772 | 91.2139 | 27.3308
2019-01-10 22:15:00 | 7.4993 | 154.273 | 7.263 | 145.16 | 7.5187 | 156.421 | 7.263 | 158.276 | 26.46 | 972.772 | 92.1026 | 30.3236
2019-01-10 22:30:00 | 8.01 | 148.024 | 5.9847 | 142.841 | 7.263 | 136.771 | 8.2857 | 146.291 | 26.46 | 972.772 | 92.3761 | 35.3301
2019-01-10 22:45:00 | 9.0313 | 154.785 | 7.0073 | 152.214 | 6.496 | 161.157 | 8.797 | 153.321 | 26.46 | 972.772 | 92.8547 | 38.2601
2019-01-10 23:00:00 | 7.7547 | 153.345 | 6.2403 | 158.341 | 7.263 | 166.38 | 7.5187 | 139.041 | 26.46 | 972.475 | 92.9231 | 32.8546
2019-01-10 23:15:00 | 8.01 | 130.253 | 5.729 | 157.658 | 6.496 | 166.112 | 7.5187 | 164.11 | 26.46 | 972.772 | 92.3761 | 28.3542
2019-01-10 23:30:00 | 7.7547 | 153.687 | 6.7517 | 136.128 | 6.2403 | 161.596 | 7.263 | 149.244 | 26.46 | 972.475 | 92.4103 | 21.6185
2019-01-10 23:45:00 | 6.9887 | 151.881 | 5.729 | 144.623 | 5.4733 | 151.1 | 6.7517 | 151.173 | 26.46 | 972.475 | 92.2393 | 16.0282