## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-11 00:00:00 | 6.478 | 150.221 | 6.496 | 145.16 | 7.263 | 150.807 | 6.2403 | 151.148 | 26.46 | 972.475 | 91.9658 | 16.3682
2019-01-11 00:15:00 | 7.244 | 154.029 | 7.0073 | 143.109 | 5.9847 | 149.928 | 7.263 | 156.519 | 26.46 | 972.326 | 90.8034 | 15.7327
2019-01-11 00:30:00 | 6.478 | 162.011 | 4.4507 | 149.261 | 4.4507 | 178.903 | 6.496 | 152.662 | 26.46 | 972.475 | 90.3248 | 17.5653
2019-01-11 00:45:00 | 6.478 | 147.877 | 6.496 | 138.862 | 6.496 | 141.848 | 7.0073 | 145.363 | 26.46 | 972.178 | 90.3248 | 17.1293
2019-01-11 01:00:00 | 6.7333 | 149.684 | 5.9847 | 145.209 | 6.7517 | 146.437 | 7.0073 | 156.348 | 26.46 | 972.475 | 89.9829 | 11.9565
2019-01-11 01:15:00 | 6.478 | 152.296 | 4.7063 | 157.511 | 5.2177 | 143.093 | 5.9847 | 152.637 | 26.46 | 972.475 | 90.0513 | 9.4145
2019-01-11 01:30:00 | 4.946 | 149.342 | 3.428 | 141.059 | 4.195 | 137.747 | 4.7063 | 153.028 | 26.46 | 972.178 | 90.4616 | 3.3919
2019-01-11 01:45:00 | 5.2013 | 148.463 | 4.195 | 148.48 | 4.195 | 168.089 | 4.7063 | 158.642 | 26.46 | 972.029 | 90.2564 | 3.5618
2019-01-11 02:00:00 | 4.6907 | 146.657 | 2.661 | 130.318 | 2.4053 | 161.889 | 4.7063 | 151.978 | 26.46 | 971.88 | 90.3248 | 2.5457
2019-01-11 02:15:00 | 5.2013 | 147.706 | 4.195 | 135.103 | 3.1723 | 147.096 | 4.962 | 146.291 | 26.46 | 971.88 | 90.3932 | 5.461
2019-01-11 02:30:00 | 5.9673 | 153.638 | 5.4733 | 148.089 | 4.7063 | 138.26 | 5.9847 | 152.393 | 26.46 | 971.88 | 90.4616 | 11.2176
2019-01-11 02:45:00 | 5.4567 | 141.042 | 5.9847 | 131.783 | 6.2403 | 136.234 | 5.729 | 138.797 | 26.46 | 971.88 | 90.3248 | 13.8002
2019-01-11 03:00:00 | 5.9673 | 165.355 | 5.9847 | 151.507 | 6.496 | 145.436 | 5.729 | 156.104 | 26.46 | 971.286 | 90.3932 | 20.2478
2019-01-11 03:15:00 | 8.01 | 139.651 | 7.263 | 136.763 | 6.7517 | 162.89 | 8.2857 | 143.313 | 26.46 | 971.286 | 90.7693 | 22.1912
2019-01-11 03:30:00 | 7.244 | 143.581 | 7.0073 | 136.641 | 7.5187 | 146.852 | 7.263 | 143.069 | 26.46 | 970.988 | 90.0513 | 16.3571
2019-01-11 03:45:00 | 5.9673 | 151.344 | 5.9847 | 145.257 | 6.2403 | 153.296 | 6.2403 | 154.859 | 26.46 | 971.286 | 90.4274 | 18.1602
2019-01-11 04:00:00 | 7.4993 | 146.828 | 5.4733 | 144.574 | 6.2403 | 163.207 | 7.0073 | 159.179 | 26.46 | 970.988 | 91.077 | 24.3638
2019-01-11 04:15:00 | 10.0527 | 142.458 | 8.03 | 144.086 | 8.797 | 162.694 | 9.564 | 144.143 | 26.46 | 970.393 | 91.3163 | 35.9102
2019-01-11 04:30:00 | 9.7973 | 153.931 | 10.5867 | 144.232 | 11.098 | 152.54 | 9.8197 | 157.69 | 26.46 | 970.245 | 91.3504 | 34.9495
2019-01-11 04:45:00 | 9.0313 | 146.706 | 9.8197 | 144.086 | 8.5413 | 154.126 | 9.3083 | 151.832 | 26.46 | 970.542 | 91.6581 | 36.845
2019-01-11 05:00:00 | 7.4993 | 137.527 | 7.263 | 141.986 | 5.4733 | 140.505 | 7.263 | 146.12 | 26.46 | 970.691 | 91.4872 | 38.478
2019-01-11 05:15:00 | 9.2867 | 150.538 | 7.7743 | 142.719 | 6.7517 | 154.419 | 9.3083 | 148.903 | 26.46 | 970.691 | 91.6923 | 31.3988
2019-01-11 05:30:00 | 8.5207 | 141.018 | 7.7743 | 141.596 | 8.03 | 158.105 | 8.5413 | 144.46 | 26.46 | 970.691 | 91.9658 | 23.4105
2019-01-11 05:45:00 | 8.5207 | 145.51 | 9.3083 | 138.349 | 9.0527 | 142.776 | 7.7743 | 141.067 | 26.46 | 970.542 | 91.9658 | 22.9413
2019-01-11 06:00:00 | 7.4993 | 141.506 | 6.2403 | 143.72 | 5.9847 | 152.271 | 7.5187 | 146.828 | 26.46 | 970.691 | 92.2393 | 21.9511
2019-01-11 06:15:00 | 9.0313 | 148.439 | 8.03 | 138.496 | 7.263 | 141.97 | 9.0527 | 145.998 | 26.46 | 970.691 | 92.6496 | 23.4549
2019-01-11 06:30:00 | 7.4993 | 139.261 | 6.496 | 136.909 | 7.5187 | 147.902 | 8.5413 | 159.033 | 26.46 | 970.691 | 92.7863 | 28.9492
2019-01-11 06:45:00 | 7.4993 | 143.825 | 7.5187 | 139.204 | 7.263 | 149.269 | 7.5187 | 142.776 | 26.46 | 970.393 | 93.4701 | 33.4938
2019-01-11 07:00:00 | 6.478 | 152.979 | 5.729 | 145.55 | 5.9847 | 171.287 | 6.2403 | 150.807 | 26.46 | 970.096 | 94.359 | 30.9
2019-01-11 07:15:00 | 5.712 | 162.719 | 5.729 | 150.115 | 4.7063 | 153.956 | 5.4733 | 137.259 | 26.46 | 970.245 | 94.9744 | 30.0169
2019-01-11 07:30:00 | 4.946 | 143.484 | 5.729 | 149.651 | 4.7063 | 171.775 | 5.4733 | 149.244 | 26.46 | 970.691 | 95.4872 | 24.9882
2019-01-11 07:45:00 | 8.5207 | 145.29 | 4.962 | 141.694 | 4.962 | 188.74 | 8.797 | 148.317 | 26.46 | 970.691 | 95.9316 | 25.1139
2019-01-11 08:00:00 | 7.7547 | 139.236 | 6.7517 | 136.226 | 5.4733 | 155.762 | 7.5187 | 140.115 | 26.46 | 970.691 | 96.6154 | 23.0374
2019-01-11 08:15:00 | 6.7333 | 143.142 | 6.496 | 136.909 | 6.2403 | 145.534 | 6.7517 | 141.189 | 26.46 | 970.691 | 97.0257 | 23.3145
2019-01-11 08:30:00 | 5.712 | 132.523 | 6.496 | 152.239 | 6.7517 | 147.292 | 5.9847 | 131.01 | 26.46 | 970.691 | 96.9231 | 29.9541
2019-01-11 08:45:00 | 5.712 | 135.77 | 7.263 | 138.935 | 6.2403 | 155.396 | 5.2177 | 128.129 | 26.46 | 970.691 | 96.0684 | 30.6746
2019-01-11 09:00:00 | 8.2653 | 142.77 | 7.5187 | 138.954 | 8.03 | 139.328 | 7.5187 | 128.076 | 26.46 | 970.691 | 94.6631 | 32.8915
2019-01-11 09:15:00 | 7.4993 | 144.785 | 7.5187 | 139.112 | 7.263 | 147.177 | 7.5187 | 125.112 | 26.46 | 970.691 | 93.7669 | 31.1032
2019-01-11 09:30:00 | 6.2227 | 130.426 | 5.9847 | 153.405 | 7.263 | 151.269 | 5.729 | 145.119 | 26.46 | 970.988 | 92.7364 | 27.1423
2019-01-11 09:45:00 | 4.4353 | 138.919 | 7.5187 | 139.469 | 7.5187 | 144.753 | 4.962 | 137.113 | 26.46 | 971.286 | 92.2919 | 14.4616
2019-01-11 10:00:00 | 3.414 | 117.637 | 2.1497 | 130.293 | 1.127 | 164.058 | 3.9393 | 120.957 | 26.46 | 971.88 | 91.6425 | 5.8415
2019-01-11 10:15:00 | 4.6907 | 169.085 | 4.7063 | 157.969 | 4.195 | 161.739 | 4.4507 | 163.618 | 26.46 | 972.029 | 92.497 | 4.7922
2019-01-11 10:30:00 | 4.4353 | 147.632 | 4.195 | 143.667 | 4.195 | 156.638 | 4.7063 | 146.827 | 26.46 | 972.178 | 93.4541 | 4.2897
2019-01-11 10:45:00 | 2.9033 | 147.462 | 3.9393 | 130.976 | 3.9393 | 138.236 | 3.428 | 148.072 | 26.46 | 972.326 | 93.796 | 9.1521
2019-01-11 11:00:00 | 5.4567 | 152.514 | 4.4507 | 158.701 | 4.7063 | 155.613 | 5.2177 | 160.812 | 26.46 | 972.178 | 94.1378 | 18.8548
2019-01-11 11:15:00 | 5.4567 | 141.14 | 7.0073 | 141.91 | 5.9847 | 134.624 | 5.729 | 149.341 | 26.46 | 971.88 | 93.8301 | 21.3266
2019-01-11 11:30:00 | 6.2227 | 143.654 | 7.0073 | 140.811 | 6.2403 | 158.688 | 6.2403 | 145.924 | 26.46 | 971.583 | 94.582 | 20.2404
2019-01-11 11:45:00 | 7.4993 | 157.761 | 7.7743 | 139.079 | 6.496 | 148.706 | 7.7743 | 157.346 | 26.46 | 971.434 | 94.6847 | 17.5099
2019-01-11 12:00:00 | 6.2227 | 161.664 | 6.496 | 144.837 | 6.496 | 149.705 | 6.496 | 153.342 | 26.46 | 971.286 | 94.4442 | 14.1845
2019-01-11 12:15:00 | 7.4993 | 150.292 | 7.263 | 139.786 | 7.263 | 153.538 | 7.5187 | 154.978 | 26.46 | 970.988 | 93.9322 | 12.7989
2019-01-11 12:30:00 | 8.01 | 147.193 | 6.2403 | 140.055 | 6.7517 | 169.281 | 7.263 | 155.955 | 26.46 | 970.691 | 94.377 | 16.2795
2019-01-11 12:45:00 | 7.4993 | 155.612 | 6.496 | 146.204 | 6.7517 | 148.803 | 7.0073 | 157.223 | 26.46 | 970.393 | 94.8209 | 18.0382
2019-01-11 13:00:00 | 7.244 | 153.098 | 7.5187 | 144.642 | 7.5187 | 150.242 | 7.263 | 148.68 | 26.46 | 970.245 | 94.6836 | 12.762
2019-01-11 13:15:00 | 7.244 | 153.27 | 6.7517 | 147.133 | 6.496 | 152.733 | 7.0073 | 154.759 | 26.46 | 970.096 | 95.1974 | 9.8209
2019-01-11 13:30:00 | 3.9247 | 153.636 | 5.2177 | 146.401 | 5.729 | 154.076 | 4.195 | 157.468 | 26.46 | 969.947 | 95.3683 | 6.7726
2019-01-11 13:45:00 | 5.9673 | 145.753 | 4.7063 | 145.717 | 4.4507 | 161.105 | 5.4733 | 153.685 | 26.46 | 969.799 | 95.505 | 7.7555
2019-01-11 14:00:00 | 5.2013 | 149.024 | 4.962 | 139.079 | 3.9393 | 147.95 | 5.2177 | 148.389 | 26.46 | 970.096 | 95.3683 | 7.3306
2019-01-11 14:15:00 | 3.414 | 151.757 | 4.7063 | 144.521 | 4.962 | 156.736 | 3.9393 | 151.318 | 26.46 | 970.096 | 95.0265 | 7.8515
2019-01-11 14:30:00 | 3.6693 | 138.09 | 4.4507 | 134.149 | 3.9393 | 155.223 | 4.195 | 149.682 | 26.46 | 970.086 | 94.001 | 6.6138
2019-01-11 14:45:00 | 3.9247 | 142.092 | 3.9393 | 132.196 | 4.7063 | 143.825 | 4.4507 | 142.483 | 26.46 | 970.036 | 93.8985 | 6.6914
2019-01-11 15:00:00 | 4.6907 | 156.638 | 5.729 | 146.791 | 5.4733 | 153.758 | 4.962 | 149.878 | 26.46 | 969.943 | 94.4454 | 5.9487
2019-01-11 15:15:00 | 4.6907 | 153.783 | 5.2177 | 144.131 | 4.7063 | 147.462 | 4.962 | 146.339 | 26.46 | 969.797 | 94.3087 | 5.5275
2019-01-11 15:30:00 | 3.1587 | 137.455 | 3.1723 | 125.509 | 3.1723 | 135.161 | 3.1723 | 132.647 | 26.46 | 969.798 | 94.1377 | 1.84
2019-01-11 15:45:00 | 2.9033 | 134.136 | 3.1723 | 127.559 | 2.9167 | 129.792 | 3.1723 | 131.598 | 26.46 | 969.798 | 93.7276 | 1.7033
2019-01-11 16:00:00 | 3.9247 | 149.512 | 3.6837 | 143.179 | 3.9393 | 160.592 | 3.9393 | 152.758 | 26.46 | 969.947 | 93.2832 | 2.7453
2019-01-11 16:15:00 | 2.648 | 143.459 | 2.4053 | 140.787 | 2.9167 | 158.2 | 2.4053 | 130.792 | 26.46 | 970.095 | 92.9755 | 1.9915
2019-01-11 16:30:00 | 3.414 | 140.529 | 5.2177 | 133.171 | 4.4507 | 140.284 | 3.6837 | 141.358 | 26.46 | 970.095 | 93.453 | 1.5592
2019-01-11 16:45:00 | 2.648 | 125.179 | 2.9167 | 132.928 | 2.661 | 144.679 | 2.9167 | 135.307 | 26.46 | 970.095 | 93.0439 | 0.70941
2019-01-11 17:00:00 | 2.9033 | 126.179 | 2.9167 | 124.142 | 3.1723 | 138.48 | 2.661 | 122.176 | 26.46 | 970.095 | 92.2232 | 0.63551
2019-01-11 17:15:00 | 3.1587 | 139.26 | 2.661 | 127.021 | 2.9167 | 139.162 | 2.661 | 137.796 | 26.46 | 970.095 | 91.8811 | 0.80548
2019-01-11 17:30:00 | 2.1373 | 113.682 | 2.1497 | 97.196 | 2.661 | 114.048 | 1.6383 | 122.541 | 26.46 | 970.095 | 91.1623 | -0.040643
2019-01-11 17:45:00 | 2.648 | 118.711 | 2.9167 | 103.544 | 2.1497 | 120.127 | 2.661 | 122.274 | 26.46 | 970.095 | 90.7195 | 0.044338
2019-01-11 18:00:00 | 2.3927 | 114.074 | 1.894 | 103.202 | 2.4053 | 96.5016 | 2.1497 | 121.982 | 26.46 | 970.095 | 89.7624 | 0.58009
2019-01-11 18:15:00 | 3.414 | 122.517 | 2.661 | 114.476 | 2.661 | 119.686 | 2.9167 | 121.687 | 26.46 | 970.095 | 89.7954 | 0.7907
2019-01-11 18:30:00 | 2.3927 | 124.91 | 1.894 | 115.429 | 2.1497 | 118.858 | 2.4053 | 130.377 | 26.46 | 970.244 | 89.3864 | 1.2489
2019-01-11 18:45:00 | 2.648 | 130.963 | 2.661 | 129.024 | 2.4053 | 144.142 | 2.661 | 133.697 | 26.46 | 970.095 | 90.1726 | 1.3893
2019-01-11 19:00:00 | 1.882 | 120.371 | 2.1497 | 115.649 | 1.894 | 120.81 | 1.127 | 122.226 | 26.46 | 970.244 | 90.4461 | 0.88676
2019-01-11 19:15:00 | 2.3927 | 129.792 | 2.1497 | 128.828 | 1.127 | 137.992 | 2.661 | 124.862 | 26.46 | 970.095 | 90.8563 | 0.99761
2019-01-11 19:30:00 | 2.1373 | 143.703 | 2.1497 | 142.496 | 2.1497 | 158.786 | 1.894 | 147.12 | 26.46 | 970.095 | 91.4715 | 0.14779
2019-01-11 19:45:00 | 3.1587 | 154.002 | 2.9167 | 142.3 | 2.661 | 147.754 | 2.661 | 153.758 | 26.46 | 970.095 | 91.9159 | -0.15888
2019-01-11 20:00:00 | 2.9033 | 144.63 | 2.4053 | 139.469 | 2.4053 | 146.754 | 2.4053 | 141.018 | 26.46 | 970.095 | 92.2919 | 0.30298
2019-01-11 20:15:00 | 3.414 | 134.38 | 2.4053 | 134.198 | 1.894 | 150.341 | 3.1723 | 149.121 | 26.46 | 970.393 | 91.5399 | 0.17735
2019-01-11 20:30:00 | 2.9033 | 178.701 | 1.894 | 172.466 | 1.894 | 180.068 | 3.1723 | 188.854 | 26.46 | 970.542 | 91.8475 | 0.19583
2019-01-11 20:45:00 | 3.414 | 184.73 | 3.1723 | 166.023 | 3.428 | 184.73 | 3.1723 | 189.416 | 26.46 | 970.542 | 91.6083 | 0.39535
2019-01-11 21:00:00 | 2.3927 | 175.114 | 2.661 | 162.826 | 3.1723 | 167.572 | 2.4053 | 165.229 | 26.46 | 970.542 | 90.9246 | 0.38057
2019-01-11 21:15:00 | 2.9033 | 166.694 | 3.6837 | 147.279 | 4.4507 | 151.757 | 2.4053 | 165.766 | 26.46 | 970.393 | 90.7879 | 0.82026
2019-01-11 21:30:00 | 4.4353 | 154.149 | 3.9393 | 148.646 | 3.9393 | 156.516 | 4.4507 | 159.616 | 26.46 | 970.542 | 90.3093 | 0.43969
2019-01-11 21:45:00 | 4.6907 | 193.077 | 3.6837 | 173.394 | 3.9393 | 171.721 | 4.4507 | 193.247 | 26.46 | 970.69 | 91.0613 | 0.89785
2019-01-11 22:00:00 | 2.1373 | 175.48 | 2.661 | 168.342 | 3.9393 | 169.72 | 2.4053 | 164.692 | 26.46 | 970.542 | 91.4715 | 0.55423
2019-01-11 22:15:00 | 3.414 | 157.517 | 2.661 | 142.008 | 3.1723 | 158.005 | 3.428 | 154.49 | 26.46 | 970.69 | 92.5654 | 0.084981
2019-01-11 22:30:00 | 2.648 | 193.931 | 4.195 | 183.107 | 4.195 | 192.857 | 2.9167 | 189.782 | 26.46 | 970.393 | 92.5995 | 0.15149
2019-01-11 22:45:00 | 4.18 | 180.971 | 4.195 | 173.638 | 4.195 | 164.253 | 3.6837 | 178.189 | 26.46 | 970.393 | 93.3174 | -0.044338
2019-01-11 23:00:00 | 3.6693 | 179.165 | 3.9393 | 169.562 | 4.4507 | 184.974 | 3.428 | 170.013 | 26.46 | 970.393 | 93.8985 | -0.17735
2019-01-11 23:15:00 | 3.9247 | 180.556 | 4.195 | 170.685 | 4.195 | 179.848 | 3.9393 | 179.067 | 26.46 | 970.244 | 93.249 | 0.081287
2019-01-11 23:30:00 | 3.1587 | 186.218 | 3.9393 | 181.838 | 4.195 | 191.978 | 3.428 | 187.414 | 26.46 | 970.393 | 92.4286 | -0.2882
2019-01-11 23:45:00 | 3.414 | 201.643 | 3.1723 | 185.939 | 3.6837 | 193.15 | 2.9167 | 201.179 | 26.46 | 970.393 | 93.0439 | -0.20691