## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-12 00:00:00 | 2.9033 | 201.204 | 2.4053 | 190.917 | 3.1723 | 187.78 | 2.661 | 201.96 | 26.46 | 970.69 | 93.3174 | -0.37318
2019-01-12 00:15:00 | 2.9033 | 214.115 | 2.1497 | 198.02 | 2.9167 | 175.773 | 2.4053 | 210.722 | 26.46 | 970.69 | 93.0439 | -0.31776
2019-01-12 00:30:00 | 2.9033 | 216.36 | 2.4053 | 210.149 | 1.894 | 213.675 | 2.661 | 207.281 | 26.46 | 970.69 | 92.0184 | -0.30667
2019-01-12 00:45:00 | 1.6267 | 222.291 | 1.6383 | 185.646 | 2.4053 | 165.718 | 1.6383 | 206.915 | 26.46 | 970.839 | 91.1984 | -0.29559
2019-01-12 01:00:00 | 2.648 | 210.65 | 2.661 | 188.966 | 2.661 | 193.419 | 2.661 | 209.625 | 26.46 | 970.988 | 90.2416 | -0.30667
2019-01-12 01:15:00 | 2.648 | 214.924 | 2.661 | 193.85 | 0.37567 | 227.03 | 2.661 | 202.965 | 26.46 | 971.285 | 89.3541 | -0.31776
2019-01-12 01:30:00 | 1.882 | 211.827 | 1.894 | 192.388 | 1.6383 | 188.177 | 1.3827 | 199.16 | 26.46 | 971.136 | 89.184 | -0.32145
2019-01-12 01:45:00 | 1.882 | 219.814 | 1.6383 | 170.623 | 3.6837 | 153.914 | 2.1497 | 230.798 | 26.46 | 971.136 | 88.9474 | -0.30667
2019-01-12 02:00:00 | 1.882 | 211.805 | 1.894 | 201.836 | 1.127 | 209.364 | 1.127 | 200.871 | 26.46 | 970.839 | 88.2622 | -0.32145
2019-01-12 02:15:00 | 2.648 | 203.018 | 2.1497 | 180.284 | 2.1497 | 233.087 | 2.9167 | 198.307 | 26.46 | 970.69 | 88.2619 | -0.30667
2019-01-12 02:30:00 | 1.116 | 203.914 | 1.127 | 201.098 | 1.127 | 209.87 | 0.75133 | 198.251 | 26.46 | 970.69 | 88.7483 | -0.31776
2019-01-12 02:45:00 | 0 | 217.931 | 0.37567 | 200.03 | 0 | 181.292 | 0 | 215.246 | 26.46 | 970.69 | 88.9558 | -0.30667
2019-01-12 03:00:00 | 1.882 | 201.97 | 1.894 | 178.162 | 1.3827 | 182.735 | 1.3827 | 200.384 | 26.46 | 970.542 | 89.4358 | -0.33254
2019-01-12 03:15:00 | 1.882 | 198.748 | 2.4053 | 193.297 | 2.661 | 200.994 | 2.1497 | 200.799 | 26.46 | 970.69 | 89.9829 | -0.30667
2019-01-12 03:30:00 | 1.6267 | 214.957 | 2.4053 | 199.351 | 2.1497 | 201.873 | 1.3827 | 206.145 | 26.46 | 970.69 | 90.3248 | -0.34362
2019-01-12 03:45:00 | 2.9033 | 193.769 | 2.661 | 199.643 | 2.1497 | 188.008 | 2.9167 | 191.01 | 26.46 | 970.393 | 90.2222 | -0.30667
2019-01-12 04:00:00 | 2.648 | 190.034 | 2.4053 | 194.176 | 2.661 | 201.873 | 2.661 | 188.008 | 26.46 | 970.393 | 90.8034 | -0.31776
2019-01-12 04:15:00 | 3.9247 | 172.141 | 4.4507 | 168.398 | 4.195 | 179.855 | 4.195 | 173.386 | 26.46 | 970.244 | 91.0769 | -0.073897
2019-01-12 04:30:00 | 3.9247 | 161.913 | 4.195 | 157.365 | 3.6837 | 186.641 | 3.9393 | 163.378 | 26.46 | 970.244 | 91.282 | 0.15888
2019-01-12 04:45:00 | 2.648 | 151.661 | 3.428 | 152.117 | 3.428 | 146.364 | 3.1723 | 162.89 | 26.46 | 970.095 | 91.282 | -0.20691
2019-01-12 05:00:00 | 3.9247 | 166.893 | 4.4507 | 161.71 | 3.9393 | 170.115 | 3.6837 | 164.061 | 26.46 | 970.095 | 91.7607 | -0.21061
2019-01-12 05:15:00 | 3.414 | 183.223 | 3.6837 | 177.186 | 3.428 | 180.05 | 3.1723 | 163.915 | 26.46 | 970.095 | 91.7949 | 0.23278
2019-01-12 05:30:00 | 4.946 | 174.704 | 5.2177 | 167.617 | 4.7063 | 168.48 | 5.2177 | 168.138 | 26.46 | 970.244 | 92.1025 | 1.4927
2019-01-12 05:45:00 | 3.6693 | 187.593 | 3.428 | 174.745 | 3.1723 | 177.414 | 2.9167 | 165.721 | 26.46 | 970.393 | 91.7607 | 0.32515
2019-01-12 06:00:00 | 3.6693 | 133.085 | 3.428 | 125.827 | 3.6837 | 133.817 | 3.6837 | 138.333 | 26.46 | 970.095 | 92.0342 | 0.34362
2019-01-12 06:15:00 | 3.1587 | 129.228 | 2.9167 | 94.1912 | 2.4053 | 114.972 | 3.428 | 123.272 | 26.46 | 970.095 | 92.0342 | 2.6492
2019-01-12 06:30:00 | 2.9033 | 108.162 | 2.661 | 114.598 | 2.4053 | 133.768 | 2.1497 | 124.492 | 26.46 | 969.959 | 90.5983 | 3.8389
2019-01-12 06:45:00 | 1.6267 | 108.528 | 0.37567 | 94.4841 | 1.127 | 108.235 | 0 | 112.678 | 26.46 | 969.65 | 84.7179 | 6.7653
2019-01-12 07:00:00 | 4.4353 | 147.78 | 4.962 | 128.366 | 4.195 | 137.064 | 4.4507 | 152.271 | 26.46 | 969.799 | 88.547 | 10.0906
2019-01-12 07:15:00 | 2.9033 | 142.117 | 4.195 | 141.059 | 3.428 | 151.685 | 3.428 | 148.536 | 26.46 | 970.096 | 87.3846 | 9.5031
2019-01-12 07:30:00 | 5.4567 | 144.951 | 5.9847 | 141.452 | 4.4507 | 149.857 | 5.4733 | 151.908 | 26.46 | 970.096 | 88.822 | 14.9937
2019-01-12 07:45:00 | 4.946 | 146.218 | 4.7063 | 140.864 | 4.195 | 144.875 | 4.962 | 161.45 | 26.46 | 970.393 | 88.7522 | 12.6475
2019-01-12 08:00:00 | 5.712 | 136.771 | 6.2403 | 133.785 | 4.4507 | 149 | 6.2403 | 148.829 | 26.46 | 970.691 | 91.077 | 11.103
2019-01-12 08:15:00 | 5.712 | 148.829 | 5.729 | 142.816 | 5.9847 | 152.589 | 5.729 | 147.999 | 26.46 | 971.286 | 91.7265 | 17.9976
2019-01-12 08:30:00 | 6.7333 | 155.103 | 5.2177 | 157.072 | 5.729 | 167.967 | 6.2403 | 156.03 | 26.46 | 971.583 | 92.0684 | 23.4623
2019-01-12 08:45:00 | 7.4993 | 155.884 | 8.2857 | 152.947 | 8.797 | 163.158 | 7.0073 | 156.006 | 26.46 | 971.88 | 91.4188 | 23.3108
2019-01-12 09:00:00 | 5.4567 | 146.011 | 4.7063 | 149.15 | 5.729 | 173.471 | 4.962 | 142.106 | 26.46 | 972.178 | 91.0017 | 16.2499
2019-01-12 09:15:00 | 3.1587 | 140.921 | 4.7063 | 131.952 | 4.962 | 146.339 | 3.1723 | 161.349 | 26.46 | 972.475 | 90.7539 | 11.9528
2019-01-12 09:30:00 | 4.18 | 133.305 | 3.9393 | 127.948 | 3.6837 | 142.189 | 4.195 | 138.821 | 26.46 | 972.772 | 87.6766 | 9.4182
2019-01-12 09:45:00 | 2.648 | 152.238 | 2.4053 | 140.341 | 2.9167 | 161.024 | 3.1723 | 149.773 | 26.46 | 973.318 | 84.5629 | 7.7887
2019-01-12 10:00:00 | 2.3927 | 143.655 | 3.9393 | 138.952 | 4.4507 | 146.631 | 3.1723 | 158.977 | 26.46 | 973.516 | 83.6499 | 9.5031
2019-01-12 10:15:00 | 4.18 | 141.361 | 4.195 | 137.512 | 5.729 | 156.365 | 4.4507 | 150.778 | 26.46 | 973.961 | 84.8112 | 11.7127
2019-01-12 10:30:00 | 3.1587 | 148.286 | 3.428 | 143.9 | 3.428 | 144.187 | 3.9393 | 142.187 | 26.46 | 973.656 | 83.4425 | 12.3408
2019-01-12 10:45:00 | 3.9247 | 138.713 | 4.7063 | 127.593 | 5.4733 | 153.351 | 4.195 | 146.129 | 26.46 | 973.959 | 81.6602 | 12.6364
2019-01-12 11:00:00 | 4.4353 | 152.091 | 4.4507 | 151.584 | 5.729 | 170.34 | 4.7063 | 148.773 | 26.46 | 973.663 | 82.0752 | 13.5749
2019-01-12 11:15:00 | 5.4567 | 164.763 | 4.962 | 158.4 | 5.4733 | 171.179 | 5.4733 | 162.055 | 26.46 | 973.644 | 80.0862 | 17.1736
2019-01-12 11:30:00 | 5.712 | 151.198 | 7.0073 | 146.542 | 7.5187 | 169.201 | 5.9847 | 152.125 | 26.46 | 973.333 | 81.5203 | 18.3301
2019-01-12 11:45:00 | 3.1587 | 141.242 | 4.962 | 145.538 | 4.962 | 166.563 | 3.1723 | 139.68 | 26.46 | 973.438 | 78.3412 | 21.7183
2019-01-12 12:00:00 | 5.4567 | 152.097 | 5.729 | 158.17 | 4.962 | 166.243 | 5.4733 | 158.243 | 26.46 | 973.136 | 72.863 | 25.0658
2019-01-12 12:15:00 | 4.18 | 151.166 | 5.4733 | 142.385 | 6.2403 | 175.067 | 4.962 | 158.239 | 26.46 | 973.071 | 72.6218 | 23.7135
2019-01-12 12:30:00 | 6.9887 | 148.971 | 7.263 | 144.702 | 8.5413 | 167.165 | 7.7743 | 150.288 | 26.46 | 972.92 | 78.1555 | 27.6781
2019-01-12 12:45:00 | 6.9887 | 157.946 | 8.5413 | 149.897 | 7.263 | 160.921 | 7.7743 | 163.677 | 26.46 | 972.514 | 78.5995 | 24.4266
2019-01-12 13:00:00 | 5.9673 | 150.587 | 6.2403 | 144.245 | 6.496 | 162.514 | 6.496 | 144.123 | 26.46 | 972.546 | 78.3637 | 25.1767
2019-01-12 13:15:00 | 4.946 | 139.001 | 4.962 | 144.319 | 3.6837 | 143.123 | 5.2177 | 146.977 | 26.46 | 972.575 | 77.8856 | 31.9863
2019-01-12 13:30:00 | 7.244 | 147.778 | 8.03 | 144.193 | 7.263 | 168.607 | 7.0073 | 146.778 | 26.46 | 972.284 | 78.4986 | 35.3486
2019-01-12 13:45:00 | 8.776 | 139.249 | 8.797 | 146.104 | 5.9847 | 149.372 | 7.7743 | 144.152 | 26.46 | 972.386 | 77.5462 | 27.4379
2019-01-12 14:00:00 | 6.478 | 149.847 | 6.496 | 127.798 | 5.729 | 153.823 | 7.0073 | 144.797 | 26.46 | 972.664 | 76.5956 | 22.8933
2019-01-12 14:15:00 | 5.4567 | 145.125 | 5.9847 | 136.517 | 6.496 | 149.638 | 4.7063 | 147.881 | 26.46 | 973.005 | 75.1661 | 20.669
2019-01-12 14:30:00 | 4.6907 | 150.998 | 6.2403 | 149.294 | 5.729 | 162.024 | 4.7063 | 156.536 | 26.46 | 973.037 | 73.4209 | 21.1345
2019-01-12 14:45:00 | 4.946 | 149.057 | 5.729 | 147.961 | 6.2403 | 165.595 | 4.7063 | 135.935 | 26.46 | 973.144 | 73.7215 | 17.9015
2019-01-12 15:00:00 | 3.414 | 163.267 | 3.9393 | 169.734 | 6.2403 | 179.318 | 3.6837 | 158.12 | 26.46 | 973.273 | 73.6594 | 16.1428
2019-01-12 15:15:00 | 5.2013 | 157.341 | 6.2403 | 147.074 | 5.9847 | 156.048 | 5.4733 | 158.633 | 26.46 | 973.272 | 75.4365 | 14.5355
2019-01-12 15:30:00 | 4.6907 | 148.47 | 4.962 | 140.766 | 5.2177 | 156.35 | 4.4507 | 143.323 | 26.46 | 973.065 | 75.9196 | 12.5588
2019-01-12 15:45:00 | 4.6907 | 154.065 | 5.4733 | 146.239 | 4.4507 | 172.362 | 4.7063 | 152.381 | 26.46 | 972.92 | 75.2058 | 12.7177
2019-01-12 16:00:00 | 4.18 | 152.455 | 4.7063 | 147.606 | 4.962 | 179.901 | 5.2177 | 169.557 | 26.46 | 972.474 | 77.8714 | 16.4495
2019-01-12 16:15:00 | 4.4353 | 153.461 | 3.428 | 161.763 | 4.962 | 186.74 | 4.195 | 144.239 | 26.46 | 972.325 | 79.0703 | 12.5255
2019-01-12 16:30:00 | 4.6907 | 154.804 | 5.729 | 141.855 | 6.496 | 146.923 | 4.4507 | 159.952 | 26.46 | 972.177 | 79.6856 | 11.2028
2019-01-12 16:45:00 | 5.712 | 165.856 | 6.2403 | 155.127 | 4.962 | 159.415 | 5.9847 | 165.953 | 26.46 | 972.177 | 80.4374 | 20.329
2019-01-12 17:00:00 | 5.9673 | 149.561 | 5.729 | 141.786 | 5.729 | 160.054 | 5.729 | 155.954 | 26.46 | 971.88 | 79.6317 | 27.9293
2019-01-12 17:15:00 | 8.5207 | 150.775 | 8.03 | 131.873 | 7.5187 | 150.726 | 8.2857 | 158.731 | 26.46 | 971.58 | 79.8463 | 42.7641
2019-01-12 17:30:00 | 8.01 | 137.016 | 8.797 | 127.193 | 7.5187 | 137.113 | 8.2857 | 154.783 | 26.46 | 971.426 | 80.67 | 44.9478
2019-01-12 17:45:00 | 9.7973 | 143.752 | 8.5413 | 132.636 | 7.7743 | 136.357 | 9.8197 | 146.632 | 26.46 | 971.582 | 82.4474 | 51.2992
2019-01-12 18:00:00 | 9.7973 | 143.898 | 8.5413 | 138.884 | 8.2857 | 146.632 | 9.564 | 148.047 | 26.46 | 971.88 | 83.3361 | 48.7683
2019-01-12 18:15:00 | 9.2867 | 148.144 | 8.2857 | 143.446 | 7.0073 | 165.252 | 9.3083 | 156.051 | 26.46 | 971.88 | 83.4722 | 41.7111
2019-01-12 18:30:00 | 8.01 | 160.519 | 7.263 | 156.309 | 6.7517 | 158.249 | 8.797 | 160.934 | 26.46 | 972.028 | 82.3106 | 41.2714
2019-01-12 18:45:00 | 6.478 | 140.628 | 8.797 | 140.86 | 5.4733 | 167.279 | 6.496 | 155.076 | 26.46 | 972.177 | 79.2343 | 42.2986
2019-01-12 19:00:00 | 6.7333 | 155.247 | 7.0073 | 144.887 | 7.0073 | 155.345 | 6.496 | 169.451 | 26.46 | 972.177 | 78.7216 | 46.3888
2019-01-12 19:15:00 | 6.9887 | 154.613 | 8.03 | 150.354 | 6.2403 | 149.243 | 6.7517 | 158.103 | 26.46 | 972.474 | 80.6016 | 47.9295
2019-01-12 19:30:00 | 7.4993 | 155.392 | 8.5413 | 134.855 | 7.263 | 160.029 | 7.5187 | 160.81 | 26.46 | 972.177 | 82.2415 | 49.3964
2019-01-12 19:45:00 | 7.4993 | 150.901 | 8.5413 | 147.96 | 6.7517 | 160.785 | 7.5187 | 159.589 | 26.46 | 972.177 | 84.7023 | 41.7481
2019-01-12 20:00:00 | 8.01 | 156.394 | 7.7743 | 148.939 | 7.0073 | 160.104 | 7.5187 | 175.284 | 26.46 | 972.474 | 82.55 | 43.0154
2019-01-12 20:15:00 | 7.7547 | 164.424 | 6.7517 | 161.044 | 8.2857 | 162.715 | 7.5187 | 173.625 | 26.46 | 972.474 | 82.6525 | 41.0756
2019-01-12 20:30:00 | 8.5207 | 164.448 | 9.0527 | 160.166 | 9.3083 | 164.106 | 8.5413 | 167.182 | 26.46 | 972.474 | 83.8831 | 44.2938
2019-01-12 20:45:00 | 7.244 | 154.71 | 8.2857 | 144.57 | 8.797 | 151.22 | 7.263 | 161.91 | 26.46 | 972.474 | 85.8315 | 49.0786
2019-01-12 21:00:00 | 8.01 | 143.703 | 7.263 | 148.06 | 8.797 | 157.761 | 8.2857 | 144.606 | 26.46 | 972.474 | 87.9848 | 48.0929
2019-01-12 21:15:00 | 8.776 | 161.201 | 8.2857 | 154.16 | 8.2857 | 159.102 | 8.797 | 167.644 | 26.46 | 972.474 | 90.1035 | 47.9111
2019-01-12 21:30:00 | 9.0313 | 145.655 | 8.2857 | 147.474 | 7.263 | 166.424 | 9.564 | 152.903 | 26.46 | 972.474 | 90.7532 | 46.6918
2019-01-12 21:45:00 | 4.6907 | 136.698 | 2.9167 | 148.353 | 2.4053 | 150.024 | 4.7063 | 151.025 | 26.46 | 972.772 | 93.3174 | 26.5992
2019-01-12 22:00:00 | 6.478 | 154.344 | 6.496 | 147.011 | 5.9847 | 163.326 | 5.9847 | 162.593 | 26.46 | 972.474 | 92.3603 | 38.3821
2019-01-12 22:15:00 | 6.9887 | 158.835 | 5.729 | 147.352 | 6.2403 | 162.056 | 7.263 | 160.909 | 26.46 | 972.474 | 90.4802 | 33.8263
2019-01-12 22:30:00 | 6.7333 | 152.44 | 6.2403 | 143.667 | 5.2177 | 169.769 | 6.496 | 159.909 | 26.46 | 972.772 | 91.1639 | 24.907
2019-01-12 22:45:00 | 4.4353 | 154.295 | 3.6837 | 151.404 | 2.4053 | 183.778 | 4.4507 | 156.004 | 26.46 | 973.069 | 88.737 | 17.702
2019-01-12 23:00:00 | 4.4353 | 155.662 | 3.6837 | 146.889 | 2.9167 | 159.274 | 4.195 | 164.79 | 26.46 | 973.069 | 88.2926 | 18.186
2019-01-12 23:15:00 | 3.6693 | 154.588 | 4.195 | 143.374 | 3.9393 | 160.69 | 3.428 | 185.779 | 26.46 | 973.069 | 85.7973 | 17.1404
2019-01-12 23:30:00 | 3.1587 | 150.683 | 3.9393 | 155.04 | 3.428 | 155.979 | 3.6837 | 174.821 | 26.46 | 973.069 | 89.0104 | 16.1945
2019-01-12 23:45:00 | 4.18 | 169.037 | 5.2177 | 148.817 | 4.195 | 159.86 | 3.428 | 187.512 | 26.46 | 973.069 | 91.1297 | 15.5738