## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-13 00:00:00 | 3.6693 | 156.541 | 4.195 | 150.647 | 3.6837 | 171.013 | 3.428 | 167.719 | 26.46 | 973.367 | 90.0359 | 13.5453
2019-01-13 00:15:00 | 3.414 | 160.104 | 3.428 | 143.423 | 3.9393 | 196.689 | 3.6837 | 185.12 | 26.46 | 973.367 | 91.0955 | 10.9996
2019-01-13 00:30:00 | 4.6907 | 182.606 | 4.195 | 153.893 | 3.6837 | 167.548 | 4.4507 | 175.968 | 26.46 | 973.218 | 93.7276 | 11.1326
2019-01-13 00:45:00 | 4.18 | 164.326 | 3.6837 | 134.002 | 3.428 | 174.65 | 4.195 | 165.546 | 26.46 | 973.367 | 93.1806 | 11.9196
2019-01-13 01:00:00 | 2.9033 | 163.35 | 3.9393 | 142.008 | 3.9393 | 142.8 | 3.428 | 163.789 | 26.46 | 973.367 | 94.4112 | 12.0009
2019-01-13 01:15:00 | 5.9673 | 147.779 | 5.729 | 138.591 | 5.729 | 151.879 | 5.9847 | 149.707 | 26.46 | 973.515 | 95.6418 | 13.9185
2019-01-13 01:30:00 | 5.4567 | 149.124 | 5.9847 | 143.28 | 6.7517 | 153.566 | 5.729 | 149.686 | 26.46 | 973.664 | 97.1478 | 13.4492
2019-01-13 01:45:00 | 5.4567 | 144.272 | 6.2403 | 139.088 | 5.4733 | 147.567 | 5.9847 | 143.979 | 26.46 | 973.664 | 97.6981 | 10.4823
2019-01-13 02:00:00 | 3.6693 | 152.851 | 4.195 | 129.092 | 4.4507 | 144.674 | 3.6837 | 145.236 | 26.46 | 973.664 | 98.0818 | 9.2445
2019-01-13 02:15:00 | 3.6693 | 146.504 | 4.195 | 135.34 | 3.9393 | 153.119 | 3.428 | 142.549 | 26.46 | 973.813 | 98.2519 | 6.3256
2019-01-13 02:30:00 | 3.414 | 147.313 | 3.6837 | 141.471 | 3.428 | 146.044 | 3.428 | 145.36 | 26.46 | 973.664 | 98.5964 | 4.9991
2019-01-13 02:45:00 | 4.18 | 146.266 | 4.4507 | 140.57 | 4.4507 | 138.943 | 4.4507 | 142.897 | 26.46 | 973.664 | 98.7347 | 4.153
2019-01-13 03:00:00 | 3.9247 | 149.391 | 3.428 | 145.99 | 3.6837 | 156.836 | 3.428 | 147.023 | 26.46 | 973.664 | 98.8717 | 4.0606
2019-01-13 03:15:00 | 3.1587 | 152.564 | 4.4507 | 140.668 | 2.1497 | 157.959 | 2.9167 | 150.855 | 26.46 | 973.664 | 99.0085 | 3.7724
2019-01-13 03:30:00 | 1.882 | 171.897 | 3.1723 | 153.166 | 2.661 | 158.813 | 1.3827 | 173.337 | 26.46 | 973.664 | 99.0769 | 3.4953
2019-01-13 03:45:00 | 2.648 | 171.995 | 3.428 | 153.557 | 3.9393 | 155.884 | 2.1497 | 165.819 | 26.46 | 973.367 | 99.1453 | 3.3032
2019-01-13 04:00:00 | 3.9247 | 163.305 | 3.1723 | 157.951 | 2.9167 | 170.872 | 3.9393 | 158.545 | 26.46 | 973.367 | 99.1795 | 3.9202
2019-01-13 04:15:00 | 3.1587 | 166.209 | 3.6837 | 171.01 | 3.9393 | 170.652 | 3.6837 | 161.498 | 26.46 | 973.218 | 99.2478 | 6.0632
2019-01-13 04:30:00 | 3.9247 | 159.082 | 5.729 | 150.286 | 6.2403 | 156.763 | 4.195 | 152.198 | 26.46 | 973.069 | 99.3504 | 7.1532
2019-01-13 04:45:00 | 4.6907 | 153.492 | 4.4507 | 150.481 | 4.7063 | 161.596 | 5.2177 | 148.536 | 26.46 | 973.069 | 99.3846 | 6.9241
2019-01-13 05:00:00 | 3.1587 | 151.392 | 4.962 | 142.963 | 5.2177 | 155.542 | 3.6837 | 150.001 | 26.46 | 973.069 | 99.1453 | 5.3464
2019-01-13 05:15:00 | 2.9033 | 154.517 | 4.195 | 146.917 | 4.7063 | 157.69 | 2.9167 | 149.855 | 26.46 | 973.069 | 98.9402 | 4.7072
2019-01-13 05:30:00 | 4.4353 | 149 | 5.2177 | 144.281 | 5.2177 | 151.734 | 5.2177 | 152.906 | 26.46 | 973.367 | 98.8034 | 5.6235
2019-01-13 05:45:00 | 3.6693 | 145.51 | 3.6837 | 131.49 | 3.428 | 138.894 | 3.428 | 133.353 | 26.46 | 973.664 | 98.735 | 2.5384
2019-01-13 06:00:00 | 1.882 | 145.924 | 2.1497 | 143.207 | 2.1497 | 133.231 | 1.6383 | 154.907 | 26.46 | 973.664 | 98.735 | 0.21061
2019-01-13 06:15:00 | 1.3713 | 167.406 | 0.37567 | 135.737 | 1.894 | 167.796 | 0 | 139.48 | 26.46 | 973.664 | 98.6325 | -0.25494
2019-01-13 06:30:00 | 2.9033 | 169.358 | 3.428 | 158.83 | 3.1723 | 153.345 | 2.661 | 160.717 | 26.46 | 973.961 | 98.7008 | -0.2143
2019-01-13 06:45:00 | 1.6267 | 159.106 | 1.894 | 149.456 | 2.9167 | 144.802 | 1.127 | 162.206 | 26.46 | 973.961 | 98.3931 | -0.26972
2019-01-13 07:00:00 | 1.882 | 156.763 | 2.1497 | 148.772 | 2.4053 | 155.713 | 1.6383 | 161.327 | 26.46 | 974.11 | 98.5299 | -0.31776
2019-01-13 07:15:00 | 1.6267 | 146.73 | 2.1497 | 137.837 | 2.4053 | 144.167 | 1.894 | 144.777 | 26.46 | 974.259 | 98.2906 | -0.31776
2019-01-13 07:30:00 | 1.116 | 153.98 | 1.894 | 125.314 | 0.37567 | 121.417 | 1.127 | 144.704 | 26.46 | 973.961 | 98.2564 | -0.29928
2019-01-13 07:45:00 | 0 | 154.419 | 1.3827 | 144.086 | 0.75133 | 164.183 | 0 | 145.363 | 26.46 | 973.961 | 98.188 | -0.27711
2019-01-13 08:00:00 | 0 | 64.8825 | 0 | 90.6517 | 0 | 72.2543 | 0 | 100.766 | 26.46 | 974.259 | 98.2564 | -0.29928
2019-01-13 08:15:00 | 0 | 171.214 | 1.6383 | 143.988 | 1.6383 | 172.776 | 0 | 136.6 | 26.46 | 974.556 | 98.1538 | -0.29928
2019-01-13 08:30:00 | 2.1373 | 155.493 | 1.6383 | 152.678 | 2.1497 | 209.001 | 1.894 | 145.998 | 26.46 | 974.854 | 98.0855 | -0.29928
2019-01-13 08:45:00 | 0.744 | 139.895 | 0.75133 | 130.514 | 0.75133 | 134.696 | 0 | 145.29 | 26.46 | 974.854 | 97.9145 | -0.32884
2019-01-13 09:00:00 | 0 | 136.404 | 0 | 129.049 | 0 | 134.891 | 0 | 155.225 | 26.46 | 974.854 | 97.9829 | -0.31776
2019-01-13 09:15:00 | 0 | 174.631 | 1.007 | 130.611 | 0 | 136.893 | 0 | 154.761 | 26.46 | 975.151 | 97.9829 | -0.31776
2019-01-13 09:30:00 | 1.3713 | 138.65 | 1.127 | 130.611 | 1.3827 | 154.029 | 1.127 | 154.883 | 26.46 | 975.448 | 98.0513 | -0.27711
2019-01-13 09:45:00 | 1.3713 | 141.433 | 2.1497 | 130.611 | 1.894 | 159.301 | 1.3827 | 154.737 | 26.46 | 975.448 | 98.1538 | -0.29928
2019-01-13 10:00:00 | 0.744 | 144.361 | 1.894 | 130.61 | 1.894 | 145.63 | 0.75133 | 154.662 | 26.46 | 975.448 | 98.1186 | -0.29928
2019-01-13 10:15:00 | 0.744 | 178.237 | 1.3827 | 130.703 | 1.127 | 147.676 | 0.37567 | 157.196 | 26.46 | 976.043 | 98.2527 | -0.2882
2019-01-13 10:30:00 | 0 | 141.898 | 0 | 130.611 | 0 | 120.811 | 0 | 150.734 | 26.46 | 976.043 | 98.2406 | -0.31037
2019-01-13 10:45:00 | 0 | 113.293 | 0 | 130.586 | 0 | 117.344 | 0 | 153.465 | 26.46 | 976.192 | 98.3764 | -0.31776
2019-01-13 11:00:00 | 0 | 259.193 | 0 | 153.332 | 0 | 265.221 | 0 | 196.42 | 26.46 | 976.192 | 98.7866 | -0.32145
2019-01-13 11:15:00 | 0 | 181.996 | 0.37567 | 153.674 | 0 | 170.916 | 0 | 148.194 | 26.46 | 976.043 | 98.8549 | -0.29928
2019-01-13 11:30:00 | 0 | 0.097624 | 0.37567 | 27.2501 | 0 | 354.449 | 0 | 19.6713 | 26.46 | 976.043 | 98.9231 | -0.29928
2019-01-13 11:45:00 | 0 | 0.097624 | 0.37567 | 27.2501 | 0 | 357.012 | 0 | 19.6713 | 26.46 | 976.002 | 98.7865 | -0.31406
2019-01-13 12:00:00 | 0 | 0.097624 | 1.6383 | 27.2487 | 0.37567 | 6.9067 | 0 | 23.5755 | 26.46 | 975.665 | 98.5783 | -0.29928
2019-01-13 12:15:00 | 2.1373 | 18.0577 | 2.1497 | 27.2427 | 1.3827 | 6.8082 | 1.3827 | 8.1503 | 26.46 | 975.31 | 98.5317 | -0.31776
2019-01-13 12:30:00 | 1.882 | 34.3563 | 1.6383 | 27.1911 | 1.6383 | 356.934 | 2.661 | 11.1755 | 26.46 | 975.15 | 98.6966 | -0.31406
2019-01-13 12:45:00 | 3.6693 | 27.5975 | 3.6837 | 27.1428 | 2.661 | 34.4298 | 3.6837 | 26.9387 | 26.46 | 974.853 | 98.766 | -0.29928
2019-01-13 13:00:00 | 2.3927 | 15.5683 | 2.661 | 27.1197 | 1.3827 | 1.6593 | 2.661 | 23.572 | 26.46 | 974.704 | 98.632 | -0.29928
2019-01-13 13:15:00 | 2.3927 | 8.1014 | 1.127 | 27.0954 | 0 | 6.6617 | 1.894 | 19.4726 | 26.46 | 974.556 | 98.9057 | -0.2882
2019-01-13 13:30:00 | 1.882 | 19.9097 | 2.1497 | 27.0904 | 1.127 | 37.8187 | 1.3827 | 19.5682 | 26.46 | 975.299 | 98.827 | -0.29928
2019-01-13 13:45:00 | 1.882 | 11.8573 | 2.1497 | 27.0877 | 1.6383 | 34.1568 | 1.3827 | 13.8091 | 26.46 | 975.745 | 98.8211 | -0.32884
2019-01-13 14:00:00 | 2.9033 | 9.2217 | 2.661 | 27.0356 | 2.4053 | 8.4898 | 2.4053 | 6.4893 | 26.46 | 975.721 | 98.6092 | -0.29928
2019-01-13 14:15:00 | 2.3927 | 0.097579 | 2.661 | 27.0333 | 2.661 | 22.98 | 2.661 | 356.604 | 26.46 | 976.042 | 98.3654 | -0.26972
2019-01-13 14:30:00 | 2.648 | 18.3413 | 3.6837 | 27.0241 | 2.9167 | 23.9998 | 1.894 | 41.3168 | 26.46 | 975.855 | 98.1752 | -0.29928
2019-01-13 14:45:00 | 2.9033 | 14.2436 | 3.428 | 26.9746 | 3.6837 | 22.6824 | 2.661 | 20.8288 | 26.46 | 975.488 | 98.3103 | -0.16627
2019-01-13 15:00:00 | 3.1587 | 16.4882 | 3.1723 | 26.9279 | 3.1723 | 15.3174 | 2.4053 | 26.586 | 26.46 | 975.603 | 97.9048 | -0.19583
2019-01-13 15:15:00 | 2.3927 | 9.6115 | 3.428 | 26.7889 | 2.9167 | 16.3688 | 2.4053 | 18.6863 | 26.46 | 975.439 | 97.5786 | -0.081287
2019-01-13 15:30:00 | 3.414 | 16.6139 | 2.9167 | 26.7433 | 3.9393 | 20.2977 | 3.1723 | 36.0333 | 26.46 | 975.298 | 97.0727 | -0.27342
2019-01-13 15:45:00 | 2.1373 | 18.8816 | 1.6383 | 26.7405 | 1.3827 | 17.857 | 1.6383 | 43.4472 | 26.46 | 975.15 | 96.8959 | -0.32515
2019-01-13 16:00:00 | 3.1587 | 5.2695 | 2.4053 | 26.6701 | 2.1497 | 17.9557 | 2.4053 | 34.1548 | 26.46 | 974.818 | 96.1501 | -0.29928
2019-01-13 16:15:00 | 4.18 | 22.7386 | 3.428 | 26.5506 | 3.1723 | 18.7861 | 3.1723 | 60.3109 | 26.46 | 974.553 | 96.2919 | -0.29928
2019-01-13 16:30:00 | 4.4353 | 21.5676 | 3.6837 | 7.3011 | 4.195 | 15.3218 | 3.9393 | 47.966 | 26.46 | 973.961 | 96.3267 | -0.31037
2019-01-13 16:45:00 | 4.4353 | 20.0334 | 4.4507 | 15.1621 | 4.7063 | 15.1287 | 4.195 | 48.1191 | 26.46 | 973.515 | 97.1263 | -0.21061
2019-01-13 17:00:00 | 3.6693 | 21.3309 | 3.428 | 5.2847 | 3.428 | 15.7419 | 2.9167 | 45.9322 | 26.46 | 973.955 | 97.6926 | 0.27342
2019-01-13 17:15:00 | 3.6693 | 26.1633 | 3.6837 | 16.0234 | 3.428 | 27.3348 | 3.428 | 51.3504 | 26.46 | 973.664 | 98.1029 | 0.4286
2019-01-13 17:30:00 | 4.4353 | 54.3769 | 3.9393 | 29.7398 | 4.195 | 25.9682 | 4.195 | 57.8914 | 26.46 | 973.069 | 98.3084 | 0.40643
2019-01-13 17:45:00 | 4.6907 | 31.8797 | 4.195 | 12.4168 | 3.9393 | 10.2035 | 4.195 | 57.0711 | 26.46 | 973.367 | 98.4614 | 0.62812
2019-01-13 18:00:00 | 4.946 | 34.0767 | 3.9393 | 11.953 | 3.428 | 16.6234 | 4.962 | 51.8474 | 26.46 | 973.218 | 98.2564 | 0.53206
2019-01-13 18:15:00 | 4.18 | 53.4096 | 3.428 | 24.0117 | 4.195 | 22.2377 | 4.195 | 61.9288 | 26.46 | 973.218 | 98.3248 | -0.066507
2019-01-13 18:30:00 | 3.9247 | 50.6025 | 3.9393 | 26.0866 | 3.428 | 21.6275 | 3.9393 | 60.1957 | 26.46 | 973.37 | 98.188 | -0.081287
2019-01-13 18:45:00 | 3.9247 | 29.8782 | 3.6837 | 14.1255 | 2.9167 | 21.6275 | 4.195 | 45.8425 | 26.46 | 973.219 | 98.1196 | 0.044338
2019-01-13 19:00:00 | 4.6907 | 35.7854 | 3.6837 | 19.9352 | 3.1723 | 23.922 | 4.195 | 34.2232 | 26.46 | 973.232 | 98.3931 | -0.048033
2019-01-13 19:15:00 | 4.4353 | 38.3485 | 4.4507 | 35.1672 | 4.195 | 47.9906 | 4.195 | 42.3274 | 26.46 | 973.674 | 99.0769 | 0.018474
2019-01-13 19:30:00 | 4.4353 | 37.543 | 3.9393 | 34.0199 | 3.9393 | 43.4503 | 4.4507 | 41.9368 | 26.46 | 973.665 | 97.4359 | -0.070202
2019-01-13 19:45:00 | 5.712 | 22.9945 | 4.7063 | 25.0125 | 3.6837 | 26.5584 | 5.9847 | 37.6406 | 26.46 | 973.962 | 93.4701 | -0.092371
2019-01-13 20:00:00 | 4.18 | 40.1012 | 4.4507 | 30.9624 | 3.6837 | 25.0907 | 4.195 | 44.8606 | 26.46 | 974.111 | 89.3567 | -0.13301
2019-01-13 20:15:00 | 3.9247 | 50.179 | 1.894 | 50.2896 | 2.661 | 59.7462 | 4.195 | 45.2489 | 26.46 | 974.259 | 77.2518 | -0.077592
2019-01-13 20:30:00 | 2.3927 | 60.5271 | 2.9167 | 58.3435 | 2.4053 | 84.1522 | 2.4053 | 52.3755 | 26.46 | 974.557 | 80.4649 | -0.33623
2019-01-13 20:45:00 | 2.3927 | 78.9293 | 1.127 | 73.2801 | 0 | 87.7155 | 2.1497 | 83.1271 | 26.46 | 974.705 | 77.0467 | -0.36949
2019-01-13 21:00:00 | 0.744 | 136.137 | 0.75133 | 142.789 | 0.75133 | 151.171 | 0 | 113 | 26.46 | 974.705 | 81.1485 | -0.32884
2019-01-13 21:15:00 | 0.744 | 146.559 | 1.6383 | 161.532 | 1.6383 | 157.126 | 0 | 136.674 | 26.46 | 974.854 | 88.9421 | -0.3621
2019-01-13 21:30:00 | 1.116 | 109.046 | 1.127 | 141.129 | 2.1497 | 131.427 | 0.75133 | 135.137 | 26.46 | 974.557 | 92.1552 | -0.10715
2019-01-13 21:45:00 | 3.1587 | 136.047 | 1.894 | 126.494 | 2.4053 | 141.295 | 3.1723 | 141.515 | 26.46 | 974.705 | 85.6655 | -0.048033
2019-01-13 22:00:00 | 3.414 | 141.331 | 3.1723 | 143.69 | 2.661 | 159.931 | 3.428 | 127.491 | 26.46 | 974.854 | 86.0144 | 0.56531
2019-01-13 22:15:00 | 2.3927 | 129.228 | 3.428 | 138.325 | 2.661 | 148.463 | 2.9167 | 115.045 | 26.46 | 974.854 | 89.4357 | 0.99022
2019-01-13 22:30:00 | 5.9673 | 148.585 | 2.9167 | 164.053 | 2.661 | 153.369 | 5.729 | 143.337 | 26.46 | 974.854 | 90.3246 | 2.0654
2019-01-13 22:45:00 | 5.712 | 137.771 | 3.6837 | 136.177 | 2.661 | 149.244 | 5.9847 | 131.962 | 26.46 | 975.003 | 94.4957 | 3.4805
2019-01-13 23:00:00 | 3.9247 | 107.356 | 1.894 | 104.736 | 3.428 | 136.453 | 3.6837 | 93.3936 | 26.46 | 974.854 | 95.7949 | 4.0237
2019-01-13 23:15:00 | 3.6693 | 97.641 | 4.4507 | 122.458 | 2.9167 | 136.356 | 3.428 | 100.912 | 26.46 | 975.151 | 89.094 | 3.3217
2019-01-13 23:30:00 | 4.4353 | 96.4205 | 3.428 | 121.628 | 2.1497 | 145.876 | 4.195 | 95.0535 | 26.46 | 975.151 | 90.735 | 2.5642
2019-01-13 23:45:00 | 2.9033 | 116.779 | 3.1723 | 117.479 | 3.1723 | 140.261 | 2.9167 | 122.979 | 26.46 | 974.854 | 85.2649 | 1.7624