## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-14 00:00:00 | 3.6693 | 100.424 | 1.3827 | 92.458 | 1.127 | 103.646 | 3.428 | 122.588 | 26.46 | 974.854 | 82.5299 | 1.2156
2019-01-14 00:15:00 | 5.2013 | 111.652 | 3.6837 | 69.2439 | 3.1723 | 57.3641 | 4.195 | 110.847 | 26.46 | 974.854 | 77.7436 | 1.3819
2019-01-14 00:30:00 | 5.712 | 96.5181 | 4.195 | 100.294 | 2.661 | 100.595 | 5.4733 | 99.6671 | 26.46 | 975.151 | 64.3419 | 2.5457
2019-01-14 00:45:00 | 3.1587 | 78.1111 | 4.195 | 67.7041 | 2.9167 | 91.7562 | 2.1497 | 87.2892 | 26.46 | 974.854 | 48.4776 | 2.8081
2019-01-14 01:00:00 | 3.9247 | 82.2976 | 3.1723 | 65.3727 | 3.428 | 57.4033 | 3.428 | 75.3174 | 26.46 | 975.151 | 61.9041 | 1.6368
2019-01-14 01:15:00 | 2.648 | 84.9332 | 2.9167 | 82.652 | 2.4053 | 76.9036 | 2.661 | 99.2596 | 26.46 | 975.003 | 53.1191 | 1.4668
2019-01-14 01:30:00 | 3.6693 | 110.706 | 1.3827 | 90.706 | 0 | 106.557 | 3.428 | 94.2075 | 26.46 | 975.449 | 44.095 | 1.1343
2019-01-14 01:45:00 | 3.1587 | 101.383 | 1.127 | 120.237 | 0 | 67.5072 | 2.1497 | 105.166 | 26.46 | 975.449 | 47.9234 | 0.91263
2019-01-14 02:00:00 | 1.116 | 112.122 | 2.1497 | 86.8499 | 0 | 156.345 | 1.127 | 63.4314 | 26.46 | 975.449 | 45.5991 | 0.47663
2019-01-14 02:15:00 | 3.414 | 121.982 | 1.6383 | 109.694 | 0.75133 | 105.678 | 3.1723 | 94.0367 | 26.46 | 975.449 | 44.7103 | 0.45077
2019-01-14 02:30:00 | 2.9033 | 109.583 | 2.661 | 135.662 | 1.127 | 151.537 | 2.1497 | 115.685 | 26.46 | 975.3 | 48.4362 | 0.81287
2019-01-14 02:45:00 | 2.9033 | 90.6442 | 1.127 | 76.8434 | 0.75133 | 114.269 | 2.4053 | 94.0611 | 26.46 | 975.151 | 46.7613 | 0.45816
2019-01-14 03:00:00 | 3.9247 | 99.6501 | 3.1723 | 100.468 | 1.6383 | 99.1375 | 3.428 | 100.895 | 26.46 | 974.854 | 48.6071 | 0.88307
2019-01-14 03:15:00 | 3.6693 | 108.826 | 2.661 | 109.01 | 1.6383 | 106.508 | 3.428 | 115.001 | 26.46 | 974.854 | 48.1283 | 1.9176
2019-01-14 03:30:00 | 5.2013 | 83.9569 | 4.195 | 77.5267 | 1.3827 | 40.2212 | 4.4507 | 105.361 | 26.46 | 974.259 | 50.3845 | 2.5384
2019-01-14 03:45:00 | 3.1587 | 100.162 | 5.4733 | 91.1451 | 3.428 | 109.73 | 2.9167 | 85.8116 | 26.46 | 973.962 | 50.8972 | 3.983
2019-01-14 04:00:00 | 2.648 | 85.9093 | 3.6837 | 90.0713 | 3.428 | 98.4052 | 1.894 | 86.0313 | 26.46 | 973.655 | 49.5641 | 3.9128
2019-01-14 04:15:00 | 4.18 | 111.479 | 2.1497 | 96.6281 | 1.3827 | 112.723 | 3.6837 | 128.22 | 26.46 | 973.197 | 48.5351 | 3.9941
2019-01-14 04:30:00 | 2.1373 | 117.38 | 1.3827 | 129.495 | 1.6383 | 149.593 | 1.6383 | 111.206 | 26.46 | 973.424 | 50.6865 | 1.5518
2019-01-14 04:45:00 | 1.116 | 87.8066 | 0 | 79.1545 | 0.75133 | 197.431 | 0.75133 | 93.1755 | 26.46 | 973.54 | 53.1835 | 0.38057
2019-01-14 05:00:00 | 1.6267 | 94.1576 | 1.3827 | 117.6 | 1.127 | 195.295 | 1.6383 | 149.656 | 26.46 | 974.211 | 57.3571 | 0.218
2019-01-14 05:15:00 | 1.3713 | 127.717 | 0.37567 | 129.316 | 0 | 194.028 | 1.3827 | 89.009 | 26.46 | 974.407 | 60.0239 | 0.12562
2019-01-14 05:30:00 | 4.6907 | 79.3198 | 3.9393 | 71.3764 | 2.9167 | 55.0601 | 4.4507 | 92.4258 | 26.46 | 974.259 | 56.469 | 0.29559
2019-01-14 05:45:00 | 3.6693 | 103.091 | 3.1723 | 102.811 | 2.661 | 118.076 | 4.195 | 104.628 | 26.46 | 974.259 | 56.7421 | 1.1269
2019-01-14 06:00:00 | 3.414 | 109.191 | 1.3827 | 109.472 | 1.894 | 135.452 | 3.428 | 101.455 | 26.46 | 974.11 | 58.3482 | 1.9952
2019-01-14 06:15:00 | 5.712 | 128.547 | 5.4733 | 134.246 | 1.894 | 157.322 | 5.2177 | 134.136 | 26.46 | 973.961 | 61.2545 | 2.4164
2019-01-14 06:30:00 | 1.882 | 91.6936 | 2.1497 | 93.1954 | 0 | 104.312 | 1.127 | 151.025 | 26.46 | 973.664 | 60.229 | 2.1873
2019-01-14 06:45:00 | 5.4567 | 113.195 | 2.9167 | 110.817 | 0 | 110.56 | 5.729 | 124.886 | 26.46 | 973.961 | 63.3054 | 2.8376
2019-01-14 07:00:00 | 6.7333 | 127.912 | 4.962 | 127.9 | 4.4507 | 129.498 | 7.0073 | 132.354 | 26.46 | 974.11 | 68.2274 | 4.9659
2019-01-14 07:15:00 | 6.478 | 127.495 | 4.195 | 101.882 | 2.9167 | 116.171 | 5.729 | 131.595 | 26.46 | 974.259 | 67.9529 | 6.4918
2019-01-14 07:30:00 | 4.18 | 139.7 | 3.6837 | 120.335 | 3.1723 | 105.58 | 3.428 | 143.019 | 26.46 | 974.259 | 71.9191 | 4.9733
2019-01-14 07:45:00 | 4.946 | 129.645 | 3.6837 | 120.579 | 2.661 | 127.351 | 4.962 | 133.062 | 26.46 | 974.556 | 72.6713 | 5.6716
2019-01-14 08:00:00 | 3.9247 | 116.611 | 3.428 | 105.349 | 3.1723 | 101.236 | 3.9393 | 131.035 | 26.46 | 974.705 | 72.4999 | 6.2628
2019-01-14 08:15:00 | 5.712 | 130.548 | 4.195 | 126.095 | 3.6837 | 140.725 | 5.4733 | 132.379 | 26.46 | 974.854 | 71.0989 | 10.0352
2019-01-14 08:30:00 | 5.4567 | 128.986 | 4.962 | 120.015 | 3.1723 | 129.376 | 5.2177 | 146.238 | 26.46 | 974.56 | 73.0676 | 11.4282
2019-01-14 08:45:00 | 7.244 | 132.114 | 6.2403 | 125.191 | 7.5187 | 111.425 | 8.03 | 140.068 | 26.46 | 974.556 | 76.7471 | 11.018
2019-01-14 09:00:00 | 6.7333 | 125.99 | 4.7063 | 112.285 | 4.7063 | 130.333 | 6.7517 | 138.945 | 26.46 | 975.15 | 71.143 | 7.1754
2019-01-14 09:15:00 | 3.1587 | 145.994 | 3.428 | 149.611 | 2.9167 | 161.511 | 3.6837 | 136.845 | 26.46 | 975.417 | 77.361 | 6.3256
2019-01-14 09:30:00 | 6.478 | 124.273 | 5.2177 | 126.668 | 4.195 | 142.423 | 5.729 | 118.247 | 26.46 | 975.298 | 82.5839 | 11.709
2019-01-14 09:45:00 | 7.244 | 112.899 | 5.729 | 111.17 | 5.4733 | 129.292 | 7.5187 | 131.756 | 26.46 | 975.15 | 67.4443 | 13.5896
2019-01-14 10:00:00 | 7.4993 | 124.858 | 5.4733 | 126.863 | 5.729 | 139.179 | 7.5187 | 131.348 | 26.46 | 975.446 | 68.9168 | 17.3769
2019-01-14 10:15:00 | 7.4993 | 136.85 | 5.729 | 115.752 | 5.4733 | 118.164 | 6.7517 | 130.117 | 26.46 | 975.621 | 65.1186 | 17.5468
2019-01-14 10:30:00 | 3.1587 | 138.777 | 2.1497 | 120.851 | 2.9167 | 167.704 | 3.428 | 128.144 | 26.46 | 975.478 | 65.4491 | 4.4523
2019-01-14 10:45:00 | 1.6267 | 134.483 | 0 | 185.798 | 0 | 247.357 | 1.3827 | 105.85 | 26.46 | 976.041 | 69.2058 | 1.8659
2019-01-14 11:00:00 | 3.6693 | 122.201 | 0.37567 | 94.6429 | 0.75133 | 171.452 | 3.6837 | 145.973 | 26.46 | 976.159 | 69.3889 | 1.4299
2019-01-14 11:15:00 | 4.6907 | 127.83 | 3.9393 | 127.798 | 3.1723 | 133.998 | 4.7063 | 131.633 | 26.46 | 975.744 | 71.2993 | 3.4103
2019-01-14 11:30:00 | 5.4567 | 124.197 | 6.7517 | 129.456 | 5.4733 | 145.653 | 5.4733 | 122.759 | 26.46 | 975.445 | 71.7774 | 5.5386
2019-01-14 11:45:00 | 5.9673 | 134.413 | 3.9393 | 132.723 | 5.2177 | 148.383 | 6.2403 | 135.973 | 26.46 | 975.148 | 69.3188 | 7.3232
2019-01-14 12:00:00 | 7.4993 | 138.582 | 5.4733 | 126.628 | 5.4733 | 166.498 | 7.0073 | 147.944 | 26.46 | 974.999 | 64.4016 | 8.3799
2019-01-14 12:15:00 | 5.712 | 127.44 | 4.4507 | 135.527 | 4.195 | 156.892 | 5.729 | 146.555 | 26.46 | 974.851 | 63.8552 | 9.1521
2019-01-14 12:30:00 | 4.946 | 128.415 | 4.962 | 126.628 | 3.6837 | 143.897 | 4.962 | 135.266 | 26.46 | 975.148 | 62.3528 | 3.6062
2019-01-14 12:45:00 | 3.6693 | 120.199 | 3.6837 | 125.823 | 4.7063 | 148.603 | 2.661 | 122.881 | 26.46 | 974.851 | 57.9819 | 1.5038
2019-01-14 13:00:00 | 3.1587 | 139.679 | 3.428 | 140.306 | 2.9167 | 132.097 | 3.1723 | 135.9 | 26.46 | 975.148 | 52.5184 | 0.32515
2019-01-14 13:15:00 | 2.9033 | 162.426 | 1.6383 | 130.748 | 1.3827 | 163.694 | 2.9167 | 154.673 | 26.46 | 975.148 | 56.0011 | 0.062812
2019-01-14 13:30:00 | 0.372 | 189.925 | 1.894 | 242.555 | 1.6383 | 228.252 | 0.75133 | 188.95 | 26.46 | 975.148 | 59.0736 | -0.25864
2019-01-14 13:45:00 | 1.6267 | 137.39 | 2.1497 | 170.435 | 2.1497 | 172.347 | 1.3827 | 150.651 | 26.46 | 975.296 | 57.7679 | -0.29189
2019-01-14 14:00:00 | 2.9033 | 150.284 | 3.428 | 193.298 | 2.9167 | 211.251 | 3.1723 | 135.414 | 26.46 | 975.119 | 60.5668 | -0.029559
2019-01-14 14:15:00 | 2.1373 | 156.44 | 2.4053 | 156.747 | 3.6837 | 199.005 | 2.4053 | 161.974 | 26.46 | 974.999 | 63.3033 | 0.040643
2019-01-14 14:30:00 | 4.6907 | 147.237 | 4.4507 | 144.28 | 3.9393 | 138.68 | 4.7063 | 155.234 | 26.46 | 974.702 | 60.9868 | 0.66507
2019-01-14 14:45:00 | 4.18 | 141.386 | 3.6837 | 142.5 | 3.9393 | 149.505 | 3.9393 | 143.141 | 26.46 | 974.212 | 66.2797 | 1.2969
2019-01-14 15:00:00 | 2.9033 | 144.767 | 3.428 | 148.716 | 2.661 | 165.936 | 2.9167 | 148.376 | 26.46 | 974.257 | 62.3021 | 1.9546
2019-01-14 15:15:00 | 3.1587 | 138.629 | 3.1723 | 141.409 | 2.1497 | 167.75 | 3.428 | 147.922 | 26.46 | 973.96 | 57.8651 | 2.1319
2019-01-14 15:30:00 | 3.414 | 137.971 | 2.9167 | 134.483 | 2.1497 | 164.214 | 3.6837 | 151.166 | 26.46 | 973.514 | 59.3681 | 1.6627
2019-01-14 15:45:00 | 3.6693 | 144.19 | 2.661 | 145.58 | 2.661 | 164.092 | 2.9167 | 133.605 | 26.46 | 973.068 | 67.088 | 3.4473
2019-01-14 16:00:00 | 5.2013 | 142.678 | 3.9393 | 133.8 | 3.9393 | 147.897 | 4.962 | 142.824 | 26.46 | 972.474 | 68.5226 | 7.6742
2019-01-14 16:15:00 | 5.9673 | 149.497 | 3.428 | 135.546 | 3.9393 | 156.082 | 5.9847 | 151.106 | 26.46 | 972.24 | 67.2308 | 11.9454
2019-01-14 16:30:00 | 3.1587 | 142.67 | 4.7063 | 151.702 | 4.7063 | 164.651 | 3.1723 | 145.866 | 26.46 | 972.172 | 64.1686 | 11.188
2019-01-14 16:45:00 | 3.9247 | 143.643 | 4.195 | 129.059 | 2.9167 | 148.937 | 3.9393 | 133.836 | 26.46 | 972.165 | 62.8689 | 19.9522
2019-01-14 17:00:00 | 5.4567 | 154.384 | 4.7063 | 151.12 | 5.729 | 164.069 | 5.2177 | 155.262 | 26.46 | 971.85 | 71.9606 | 23.3293
2019-01-14 17:15:00 | 5.2013 | 151.217 | 4.7063 | 146.051 | 4.7063 | 154.364 | 5.4733 | 150.558 | 26.46 | 971.879 | 75.1068 | 17.314
2019-01-14 17:30:00 | 5.2013 | 155.023 | 4.7063 | 153.761 | 4.195 | 163.416 | 5.4733 | 152.949 | 26.46 | 971.88 | 77.2937 | 13.4973
2019-01-14 17:45:00 | 4.6907 | 155.67 | 4.962 | 147.699 | 4.4507 | 163.331 | 4.7063 | 153.888 | 26.46 | 971.88 | 70.5334 | 8.8787
2019-01-14 18:00:00 | 3.6693 | 152.41 | 2.4053 | 189.119 | 2.9167 | 194.576 | 3.428 | 154.85 | 26.46 | 972.177 | 65.0017 | 7.4636
2019-01-14 18:15:00 | 3.414 | 152.048 | 2.9167 | 148.08 | 2.9167 | 155.44 | 3.1723 | 153.366 | 26.46 | 972.474 | 64.1149 | 7.1089
2019-01-14 18:30:00 | 2.648 | 181.501 | 2.661 | 226.8 | 2.661 | 226.937 | 2.4053 | 174.424 | 26.46 | 972.475 | 63.3628 | 9.1558
2019-01-14 18:45:00 | 4.946 | 158.954 | 4.7063 | 154.571 | 3.428 | 157.88 | 5.2177 | 172.643 | 26.46 | 972.772 | 68.4209 | 8.2358
2019-01-14 19:00:00 | 4.946 | 163.255 | 4.7063 | 152.919 | 3.428 | 163.548 | 4.962 | 176.872 | 26.46 | 972.797 | 69.0388 | 8.6422
2019-01-14 19:15:00 | 4.946 | 167.971 | 4.962 | 154.072 | 4.962 | 168.874 | 4.962 | 173.218 | 26.46 | 972.961 | 72.9377 | 8.0252
2019-01-14 19:30:00 | 5.712 | 157.779 | 4.962 | 156.253 | 3.9393 | 161.952 | 5.4733 | 176.375 | 26.46 | 973.378 | 70.5491 | 6.6101
2019-01-14 19:45:00 | 5.712 | 167.177 | 4.962 | 158.989 | 3.428 | 166.665 | 5.4733 | 170.106 | 26.46 | 973.405 | 72.9429 | 14.4875
2019-01-14 20:00:00 | 7.244 | 167.084 | 6.2403 | 157.481 | 5.9847 | 167.621 | 7.0073 | 166.376 | 26.46 | 973.294 | 78.072 | 22.3058
2019-01-14 20:15:00 | 7.7547 | 181.044 | 5.4733 | 157.945 | 5.9847 | 165.327 | 7.0073 | 178.604 | 26.46 | 973.648 | 79.8154 | 16.5862
2019-01-14 20:30:00 | 7.244 | 164.936 | 7.5187 | 161.776 | 5.9847 | 162.3 | 7.5187 | 169.94 | 26.46 | 973.66 | 84.9086 | 19.4903
2019-01-14 20:45:00 | 5.9673 | 162.74 | 6.7517 | 155.431 | 6.2403 | 172.649 | 5.9847 | 167.621 | 26.46 | 973.664 | 87.1646 | 19.3832
2019-01-14 21:00:00 | 4.4353 | 168.109 | 4.962 | 151.965 | 4.195 | 159.567 | 4.4507 | 178.164 | 26.46 | 974.259 | 88.9421 | 9.0819
2019-01-14 21:15:00 | 5.2013 | 179.263 | 4.195 | 169.782 | 3.6837 | 173.552 | 4.4507 | 177.335 | 26.46 | 974.407 | 89.865 | 3.5692
2019-01-14 21:30:00 | 3.6693 | 170.379 | 4.195 | 159.97 | 3.428 | 150.049 | 3.6837 | 170.208 | 26.46 | 974.556 | 89.8308 | 0.88676
2019-01-14 21:45:00 | 3.6693 | 178.042 | 2.661 | 151.868 | 3.428 | 158.054 | 3.428 | 182.655 | 26.46 | 974.556 | 90.6512 | 0.3584
2019-01-14 22:00:00 | 3.9247 | 172.694 | 4.195 | 168.289 | 3.9393 | 167.569 | 3.6837 | 183.359 | 26.46 | 974.705 | 89.9658 | 0.44338
2019-01-14 22:15:00 | 2.9033 | 187.972 | 2.1497 | 177.247 | 2.661 | 186.654 | 2.9167 | 187.753 | 26.46 | 974.854 | 91.4699 | -0.28081
2019-01-14 22:30:00 | 2.648 | 255.58 | 2.1497 | 241.292 | 1.6383 | 238.643 | 2.661 | 252.042 | 26.46 | 975.448 | 92.7705 | -0.30667
2019-01-14 22:45:00 | 3.1587 | 320.94 | 3.1723 | 319.025 | 3.1723 | 323.942 | 3.1723 | 291.043 | 26.46 | 976.043 | 93.5566 | 4.2823
2019-01-14 23:00:00 | 3.6693 | 341.856 | 2.661 | 17.5838 | 1.894 | 337.634 | 3.428 | 317.987 | 26.46 | 976.043 | 95.9494 | 23.0669
2019-01-14 23:15:00 | 4.18 | 352.888 | 3.9393 | 18.9033 | 2.661 | 356.817 | 4.195 | 347.86 | 26.46 | 976.043 | 96.5989 | 25.5129
2019-01-14 23:30:00 | 8.776 | 351.716 | 2.661 | 5.2359 | 3.6837 | 63.4558 | 8.03 | 346.859 | 26.46 | 975.746 | 97.6927 | 40.5435
2019-01-14 23:45:00 | 5.9673 | 15.1579 | 3.6837 | 35.8231 | 5.729 | 34.8314 | 4.7063 | 22.4806 | 26.46 | 975.448 | 98.2508 | 43.7987