## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-15 00:00:00 | 6.7333 | 33.9788 | 5.9847 | 3.9626 | 5.729 | 10.0569 | 8.03 | 356.069 | 26.46 | 975.448 | 98.3923 | 27.0908
2019-01-15 00:15:00 | 9.0313 | 344.891 | 4.962 | 13.336 | 8.2857 | 8.3483 | 9.3083 | 337.445 | 26.46 | 975.448 | 98.3926 | 37.08
2019-01-15 00:30:00 | 6.7333 | 0.19528 | 7.0073 | 2.1561 | 7.5187 | 16.0864 | 8.03 | 25.1914 | 26.46 | 975.151 | 98.188 | 36.228
2019-01-15 00:45:00 | 8.01 | 3.9056 | 4.962 | 6.0946 | 5.4733 | 43.5967 | 7.5187 | 109.309 | 26.46 | 975.448 | 98.0855 | 49.6402
2019-01-15 01:00:00 | 9.0313 | 10.7893 | 6.7517 | 7.8681 | 8.2857 | 20.0652 | 7.263 | 1.0252 | 26.46 | 975.448 | 97.5384 | 50.4014
2019-01-15 01:15:00 | 10.0527 | 7.3475 | 10.8423 | 4.3858 | 7.5187 | 39.0564 | 9.8197 | 14.9635 | 26.46 | 975.3 | 97.1966 | 44.885
2019-01-15 01:30:00 | 6.9887 | 20.8708 | 7.5187 | 15.1508 | 6.496 | 20.4802 | 7.5187 | 3.1733 | 26.46 | 975.597 | 97.0256 | 52.0123
2019-01-15 01:45:00 | 12.0953 | 10.057 | 10.8423 | 5.0449 | 9.0527 | 4.76 | 12.1207 | 14.5241 | 26.46 | 975.894 | 97.5726 | 68.5156
2019-01-15 02:00:00 | 11.3293 | 3.1245 | 13.1433 | 14.0035 | 13.399 | 20.6267 | 10.8423 | 10.3744 | 26.46 | 975.448 | 97.1624 | 80.4885
2019-01-15 02:15:00 | 16.6913 | 12.3028 | 15.7 | 7.9497 | 11.3537 | 16.306 | 17.4897 | 21.6519 | 26.46 | 975.448 | 94.1538 | 81.6967
2019-01-15 02:30:00 | 14.3933 | 13.3036 | 13.6547 | 3.3362 | 9.8197 | 5.712 | 13.9103 | 12.6445 | 26.46 | 975.746 | 88.8889 | 80.6141
2019-01-15 02:45:00 | 15.9253 | 18.3809 | 15.4443 | 13.0759 | 11.6093 | 38.5194 | 15.4443 | 25.2158 | 26.46 | 975.746 | 81.7436 | 86.5111
2019-01-15 03:00:00 | 18.734 | 10.7893 | 14.166 | 3.0921 | 12.632 | 3.5151 | 18.2567 | 10.9602 | 26.46 | 975.472 | 60.6496 | 88.5691
2019-01-15 03:15:00 | 19.7553 | 12.1807 | 17.7453 | 2.7908 | 14.4217 | 12.3028 | 18.5123 | 20.6999 | 26.46 | 975.003 | 45.2308 | 87.6306
2019-01-15 03:30:00 | 18.734 | 20.7731 | 18.768 | 12.1971 | 17.7453 | 1.9284 | 18.001 | 18.3321 | 26.46 | 974.854 | 46.7008 | 88.51
2019-01-15 03:45:00 | 17.7127 | 5.3947 | 15.9557 | 7.7301 | 15.9557 | 2.9536 | 17.4897 | 11.009 | 26.46 | 975.167 | 45.8803 | 89.4042
2019-01-15 04:00:00 | 12.606 | 178.097 | 16.467 | 8.8773 | 13.9103 | 27.6324 | 14.4217 | 0 | 26.46 | 975.449 | 43.6239 | 89.6556
2019-01-15 04:15:00 | 19.2447 | 8.1288 | 18.001 | 9.537 | 11.865 | 26.7542 | 19.0237 | 14.8173 | 26.46 | 975.3 | 39.2487 | 91.3329
2019-01-15 04:30:00 | 14.904 | 0.87889 | 13.6547 | 0.60512 | 11.098 | 18.5055 | 14.6773 | 8.618 | 26.46 | 975.598 | 39.014 | 90.9893
2019-01-15 04:45:00 | 11.3293 | 9.8634 | 11.098 | 2.5681 | 12.632 | 14.136 | 11.6093 | 5.3956 | 26.46 | 976.055 | 40.6907 | 88.0482
2019-01-15 05:00:00 | 16.1807 | 3.0274 | 14.933 | 0.019827 | 11.098 | 8.7892 | 15.9557 | 13.0861 | 26.46 | 975.868 | 35.6984 | 87.8132
2019-01-15 05:15:00 | 13.6273 | 42.6308 | 11.865 | 11.204 | 14.166 | 37.6255 | 12.1207 | 348.933 | 26.46 | 976.28 | 31.1188 | 87.6159
2019-01-15 05:30:00 | 15.4147 | 3.3453 | 12.3763 | 3.371 | 12.8877 | 5.1523 | 14.933 | 13.7477 | 26.46 | 976.715 | 31.3953 | 81.2919
2019-01-15 05:45:00 | 15.1593 | 356.902 | 13.399 | 11.5267 | 13.399 | 1.4163 | 15.9557 | 1.1721 | 26.46 | 976.189 | 29.617 | 87.2353
2019-01-15 06:00:00 | 15.67 | 1.0012 | 14.933 | 9.3023 | 14.166 | 7.5209 | 14.6773 | 0.21977 | 26.46 | 976.641 | 27.4282 | 89.9679
2019-01-15 06:15:00 | 15.4147 | 0.21977 | 15.7 | 5.9593 | 15.7 | 4.0779 | 13.9103 | 2.9302 | 26.46 | 976.79 | 28.6252 | 88.9771
2019-01-15 06:30:00 | 12.8613 | 0.12211 | 15.4443 | 20.1489 | 14.4217 | 15.3855 | 13.1433 | 0.21979 | 26.46 | 976.641 | 29.552 | 88.329
2019-01-15 06:45:00 | 13.372 | 13.3593 | 15.9557 | 13.3859 | 11.6093 | 55.2687 | 11.098 | 8.4259 | 26.46 | 977.236 | 28.8695 | 86.2957
2019-01-15 07:00:00 | 9.542 | 1.905 | 10.5867 | 22.4224 | 8.797 | 356.524 | 9.564 | 0.19538 | 26.46 | 978.129 | 27.3645 | 86.3604
2019-01-15 07:15:00 | 10.0527 | 4.9822 | 11.865 | 2.44 | 11.6093 | 25.937 | 9.8197 | 0.61057 | 26.46 | 978.427 | 26.8172 | 86.6626
2019-01-15 07:30:00 | 14.3933 | 5.2755 | 13.399 | 2.9581 | 10.0753 | 3.517 | 14.166 | 8.0842 | 26.46 | 978.575 | 25.5866 | 83.6624
2019-01-15 07:45:00 | 14.3933 | 89.0324 | 12.1207 | 6.1505 | 10.8423 | 17.147 | 11.3537 | 3.444 | 26.46 | 978.873 | 26.4101 | 88.357
2019-01-15 08:00:00 | 13.372 | 352.719 | 10.5867 | 5.6372 | 11.3537 | 18.0023 | 13.399 | 0.92821 | 26.46 | 979.022 | 29.216 | 88.3142
2019-01-15 08:15:00 | 13.8827 | 1.3189 | 9.8197 | 13.4614 | 11.6093 | 16.3155 | 13.399 | 89.906 | 26.46 | 979.319 | 28.1188 | 85.532
2019-01-15 08:30:00 | 15.4147 | 6.7895 | 13.399 | 3.8855 | 11.6093 | 23.5436 | 15.4443 | 13.1639 | 26.46 | 979.617 | 26.954 | 85.4602
2019-01-15 08:45:00 | 12.8613 | 354.668 | 11.6093 | 4.1541 | 11.6093 | 6.814 | 12.1207 | 177.993 | 26.46 | 979.766 | 27.1592 | 88.4213
2019-01-15 09:00:00 | 18.4787 | 7.0338 | 19.535 | 6.1812 | 16.9783 | 21.9317 | 18.5123 | 9.7691 | 26.46 | 979.319 | 26.5435 | 88.2181
2019-01-15 09:15:00 | 11.5847 | 3.9809 | 12.1207 | 0.51508 | 14.4217 | 18.1949 | 11.098 | 356.767 | 26.46 | 979.915 | 27.2276 | 88.1184
2019-01-15 09:30:00 | 13.6273 | 354.032 | 11.3537 | 8.3764 | 10.8423 | 1.7582 | 14.6773 | 356.791 | 26.46 | 980.51 | 26.2662 | 84.5972
2019-01-15 09:45:00 | 11.5847 | 4.8838 | 14.4217 | 0.14553 | 14.4217 | 24.8095 | 11.098 | 346.43 | 26.46 | 980.658 | 25.5816 | 85.7611
2019-01-15 10:00:00 | 15.9253 | 348.795 | 12.3763 | 14.8721 | 13.399 | 34.9186 | 15.1887 | 350.92 | 26.46 | 980.807 | 24.3502 | 83.5922
2019-01-15 10:15:00 | 15.9253 | 0.097674 | 14.166 | 1 | 12.8877 | 4.5663 | 14.6773 | 3.2477 | 26.46 | 981.105 | 23.6662 | 81.9582
2019-01-15 10:30:00 | 11.84 | 181.772 | 12.632 | 8.8872 | 13.6547 | 26.2988 | 12.3763 | 0.14651 | 26.46 | 981.402 | 23.9398 | 80.2611
2019-01-15 10:45:00 | 15.4147 | 14.5047 | 11.098 | 14.5523 | 15.1887 | 12.1849 | 14.166 | 0.19535 | 26.46 | 980.956 | 24.4186 | 78.834
2019-01-15 11:00:00 | 10.308 | 353.533 | 12.1207 | 5.3954 | 10.8423 | 3.4186 | 8.797 | 4.8105 | 26.46 | 981.402 | 24.4186 | 82.251
2019-01-15 11:15:00 | 10.0527 | 1.9779 | 12.632 | 4.6384 | 8.797 | 23.1733 | 9.8197 | 177.865 | 26.46 | 981.399 | 24.0766 | 81.7669
2019-01-15 11:30:00 | 10.308 | 350.529 | 12.632 | 24.6128 | 9.564 | 39.7047 | 8.797 | 335.976 | 26.46 | 981.797 | 23.0506 | 72.1372
2019-01-15 11:45:00 | 9.542 | 3.8575 | 8.2857 | 14.2051 | 11.6093 | 17.1636 | 9.3083 | 21.4117 | 26.46 | 981.336 | 20.4482 | 79.3911
2019-01-15 12:00:00 | 12.3507 | 357.048 | 9.8197 | 3.3011 | 9.3083 | 14.4284 | 11.3537 | 352.288 | 26.46 | 981.116 | 20.2421 | 78.0035
2019-01-15 12:15:00 | 12.3507 | 341.671 | 10.5867 | 17.9824 | 5.2177 | 48.6741 | 12.1207 | 0 | 26.46 | 981.099 | 19.2137 | 77.6102
2019-01-15 12:30:00 | 8.776 | 356.878 | 12.3763 | 16.7863 | 8.5413 | 13.7186 | 6.496 | 3.8812 | 26.46 | 980.504 | 20.1026 | 79.7939
2019-01-15 12:45:00 | 10.5633 | 345.69 | 7.263 | 18.1062 | 3.9393 | 342.394 | 8.5413 | 341.589 | 26.46 | 980.832 | 19.8984 | 77.6628
2019-01-15 13:00:00 | 8.776 | 0.2197 | 13.1433 | 5.9728 | 9.564 | 17.8197 | 8.797 | 12.2053 | 26.46 | 980.504 | 19.043 | 71.7391
2019-01-15 13:15:00 | 13.8827 | 356.39 | 8.03 | 28.7961 | 9.564 | 24.3126 | 12.632 | 343.965 | 26.46 | 980.802 | 19.2821 | 66.621
2019-01-15 13:30:00 | 7.7547 | 83.9957 | 8.2857 | 14.3368 | 9.0527 | 2.3678 | 6.7517 | 1.0252 | 26.46 | 980.802 | 19.4188 | 57.6117
2019-01-15 13:45:00 | 7.4993 | 6.2979 | 9.0527 | 6.2899 | 7.0073 | 19.455 | 4.4507 | 0.21969 | 26.46 | 980.814 | 20.3761 | 61.5397
2019-01-15 14:00:00 | 6.7333 | 14.4997 | 7.263 | 17.6406 | 8.2857 | 55.5578 | 4.195 | 3.686 | 26.46 | 980.207 | 20.5812 | 64.599
2019-01-15 14:15:00 | 12.8613 | 337.301 | 11.865 | 336.829 | 8.797 | 40.8628 | 11.865 | 343.013 | 26.46 | 980.207 | 20.1709 | 59.7744
2019-01-15 14:30:00 | 5.2013 | 10.0083 | 8.797 | 23.2556 | 6.496 | 24.0444 | 3.9393 | 350.121 | 26.46 | 980.504 | 20.1712 | 56.6774
2019-01-15 14:45:00 | 8.776 | 2.9539 | 7.263 | 30.9978 | 8.2857 | 3.0027 | 8.2857 | 5.8102 | 26.46 | 980.207 | 20.7883 | 54.3623
2019-01-15 15:00:00 | 6.2227 | 7.7149 | 7.7743 | 16.9634 | 8.5413 | 23.1937 | 6.7517 | 356.597 | 26.46 | 980.711 | 20.7899 | 53.3917
2019-01-15 15:15:00 | 6.2227 | 15.1369 | 8.5413 | 14.9615 | 8.2857 | 30.0053 | 4.962 | 341.997 | 26.46 | 980.881 | 21.1318 | 46.459
2019-01-15 15:30:00 | 7.7547 | 5.2247 | 5.729 | 25.5817 | 6.7517 | 44.1169 | 6.7517 | 348.614 | 26.46 | 980.962 | 21.1318 | 42.5942
2019-01-15 15:45:00 | 7.4993 | 14.5266 | 9.8197 | 3.0716 | 8.797 | 11.1574 | 6.2403 | 32.3491 | 26.46 | 980.826 | 20.7899 | 35.6205
2019-01-15 16:00:00 | 7.4993 | 15.1369 | 4.962 | 4.4236 | 6.7517 | 25.0003 | 5.729 | 0.92775 | 26.46 | 980.804 | 21.4053 | 33.4494
2019-01-15 16:15:00 | 4.6907 | 4.6388 | 6.7517 | 9.9326 | 5.729 | 89.2118 | 4.195 | 3.2228 | 26.46 | 980.922 | 21.4057 | 27.8185
2019-01-15 16:30:00 | 5.9673 | 353.625 | 7.263 | 13.6268 | 6.496 | 14.187 | 3.6837 | 347.447 | 26.46 | 980.532 | 20.9299 | 25.7863
2019-01-15 16:45:00 | 4.946 | 1.8314 | 6.496 | 5.3244 | 5.4733 | 267.677 | 4.195 | 3.443 | 26.46 | 980.357 | 21.2038 | 19.9411
2019-01-15 17:00:00 | 4.946 | 4.1756 | 6.496 | 4.9314 | 3.9393 | 27.6419 | 3.1723 | 0.83023 | 26.46 | 980.212 | 20.896 | 16.0467
2019-01-15 17:15:00 | 4.946 | 356.028 | 4.195 | 4.2253 | 3.6837 | 44.6165 | 4.195 | 1.7583 | 26.46 | 980.212 | 21.1714 | 11.3616
2019-01-15 17:30:00 | 4.4353 | 356.913 | 4.4507 | 0.80815 | 3.428 | 4.8357 | 4.7063 | 356.791 | 26.46 | 980.212 | 20.9337 | 8.8935
2019-01-15 17:45:00 | 6.2227 | 354.033 | 5.4733 | 17.167 | 4.195 | 2.5156 | 4.195 | 355.84 | 26.46 | 980.212 | 20.8996 | 8.9415
2019-01-15 18:00:00 | 3.414 | 86.1147 | 4.4507 | 17.9729 | 3.9393 | 32.3358 | 2.4053 | 356.817 | 26.46 | 980.212 | 21.2075 | 10.4084
2019-01-15 18:15:00 | 4.946 | 348.783 | 5.729 | 11.6957 | 3.6837 | 7.8159 | 4.4507 | 92.0561 | 26.46 | 980.212 | 21.7563 | 10.7446
2019-01-15 18:30:00 | 5.9673 | 341.674 | 3.6837 | 17.6551 | 3.6837 | 355.645 | 4.7063 | 349.832 | 26.46 | 980.212 | 22.1683 | 12.0046
2019-01-15 18:45:00 | 5.2013 | 0.097708 | 5.4733 | 17.5329 | 4.7063 | 23.7918 | 3.9393 | 5.0808 | 26.46 | 980.212 | 21.6216 | 11.9491
2019-01-15 19:00:00 | 4.4353 | 1.9542 | 2.9167 | 2.7546 | 2.1497 | 10.7723 | 3.1723 | 4.9587 | 26.46 | 980.212 | 21.8269 | 11.369
2019-01-15 19:15:00 | 4.946 | 354.777 | 5.2177 | 15.7986 | 3.9393 | 357.024 | 3.1723 | 10.7723 | 26.46 | 980.212 | 21.8953 | 10.9922
2019-01-15 19:30:00 | 4.6907 | 13.2638 | 5.729 | 3.3522 | 3.6837 | 20.2499 | 2.9167 | 7.4258 | 26.46 | 980.212 | 20.9374 | 10.0869
2019-01-15 19:45:00 | 6.478 | 10.1128 | 5.9847 | 10.5093 | 3.428 | 0.2687 | 4.7063 | 16.5615 | 26.46 | 980.212 | 21.4506 | 9.9281
2019-01-15 20:00:00 | 4.946 | 17.2943 | 3.428 | 9.2146 | 3.6837 | 11.3585 | 2.661 | 20.7141 | 26.46 | 980.212 | 21.4506 | 7.2345
2019-01-15 20:15:00 | 5.9673 | 6.1312 | 6.2403 | 11.7306 | 4.4507 | 17.6851 | 3.1723 | 10.4792 | 26.46 | 980.212 | 21.2795 | 7.3823
2019-01-15 20:30:00 | 6.9887 | 6.693 | 5.9847 | 8.1887 | 3.9393 | 12.2379 | 4.4507 | 16.2684 | 26.46 | 980.212 | 20.9374 | 6.7357
2019-01-15 20:45:00 | 5.4567 | 7.1327 | 3.1723 | 6.1255 | 3.1723 | 10.4059 | 3.9393 | 5.1541 | 26.46 | 980.212 | 20.5269 | 5.8009
2019-01-15 21:00:00 | 5.4567 | 14.5829 | 5.2177 | 4.6224 | 3.1723 | 40.793 | 2.9167 | 18.0759 | 26.46 | 980.212 | 20.8005 | 5.9561
2019-01-15 21:15:00 | 4.946 | 13.7524 | 4.195 | 4.6224 | 2.661 | 7.5235 | 2.661 | 11.8226 | 26.46 | 980.212 | 20.8005 | 5.243
2019-01-15 21:30:00 | 3.414 | 2.0519 | 3.428 | 7.6155 | 2.9167 | 0.14656 | 3.1723 | 356.829 | 26.46 | 980.212 | 20.6637 | 4.2417
2019-01-15 21:45:00 | 4.6907 | 18.2714 | 3.9393 | 7.9933 | 2.661 | 18.9553 | 3.1723 | 21.2759 | 26.46 | 980.212 | 21.1427 | 2.4829
2019-01-15 22:00:00 | 5.712 | 2.1496 | 4.195 | 8.4705 | 3.6837 | 27.3093 | 3.6837 | 11.8715 | 26.46 | 980.212 | 20.5953 | 2.5716
2019-01-15 22:15:00 | 4.4353 | 20.5675 | 2.9167 | 27.0463 | 1.894 | 29.1169 | 2.661 | 21.3003 | 26.46 | 980.212 | 20.1163 | 0.46925
2019-01-15 22:30:00 | 4.6907 | 24.4758 | 3.9393 | 18.0083 | 2.9167 | 27.2605 | 3.428 | 25.0865 | 26.46 | 980.212 | 20.3216 | 1.053
2019-01-15 22:45:00 | 4.18 | 21.6423 | 3.6837 | 24.4326 | 3.1723 | 28.6772 | 2.1497 | 31.8039 | 26.46 | 979.915 | 20.0479 | 0.066507
2019-01-15 23:00:00 | 3.6693 | 36.2985 | 3.1723 | 47.2718 | 0 | 74.4534 | 1.894 | 38.1061 | 26.46 | 980.063 | 19.2268 | -0.16627
2019-01-15 23:15:00 | 4.6907 | 25.3063 | 4.195 | 14.0023 | 3.6837 | 23.1323 | 3.428 | 41.6235 | 26.46 | 979.617 | 17.7557 | 0.12193
2019-01-15 23:30:00 | 4.946 | 28.9704 | 3.9393 | 26.8753 | 3.1723 | 30.0452 | 2.661 | 33.9046 | 26.46 | 979.319 | 19.0558 | 1.5445
2019-01-15 23:45:00 | 5.712 | 31.1199 | 4.962 | 22.4052 | 4.195 | 40.5976 | 2.9167 | 35.2725 | 26.46 | 979.022 | 18.6794 | 1.5149