## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-16 00:00:00 | 4.946 | 21.398 | 3.9393 | 15.7611 | 2.9167 | 23.572 | 2.661 | 31.1199 | 26.46 | 979.022 | 18.0636 | 0.47663
2019-01-16 00:15:00 | 5.2013 | 24.6224 | 4.4507 | 16.8358 | 3.1723 | 26.0391 | 3.428 | 28.433 | 26.46 | 978.724 | 18.4742 | 0.81656
2019-01-16 00:30:00 | 4.4353 | 19.5416 | 4.7063 | 16.6404 | 3.6837 | 14.8272 | 1.6383 | 25.5994 | 26.46 | 978.427 | 17.9952 | 0.37318
2019-01-16 00:45:00 | 2.648 | 33.2207 | 1.894 | 18.2526 | 0 | 47.9745 | 1.127 | 33.7336 | 26.46 | 978.427 | 17.7215 | -0.084981
2019-01-16 01:00:00 | 3.9247 | 37.2755 | 3.6837 | 37.4033 | 2.1497 | 41.8189 | 1.894 | 48.8051 | 26.46 | 977.98 | 17.9952 | -0.036949
2019-01-16 01:15:00 | 2.9033 | 37.2755 | 2.661 | 33.9347 | 2.1497 | 39.6694 | 1.3827 | 37.5198 | 26.46 | 977.831 | 17.3794 | -0.084982
2019-01-16 01:30:00 | 2.9033 | 33.4649 | 2.661 | 36.8171 | 1.894 | 40.5976 | 1.127 | 42.796 | 26.46 | 977.831 | 17.1057 | -0.19952
2019-01-16 01:45:00 | 2.9033 | 38.5946 | 2.9167 | 29.9776 | 2.1497 | 21.9843 | 1.6383 | 42.1609 | 26.46 | 977.831 | 17.3794 | -0.11454
2019-01-16 02:00:00 | 2.9033 | 34.1977 | 2.661 | 30.5638 | 1.6383 | 26.1368 | 0 | 35.6145 | 26.46 | 977.534 | 17.9268 | -0.10346
2019-01-16 02:15:00 | 2.3927 | 33.4161 | 1.6383 | 38.869 | 0 | 53.2996 | 1.127 | 37.7152 | 26.46 | 977.534 | 17.1741 | -0.2143
2019-01-16 02:30:00 | 0 | 2.2473 | 0 | 38.4781 | 0 | 53.2996 | 0 | 23.1079 | 26.46 | 977.534 | 16.4899 | -0.2882
2019-01-16 02:45:00 | 0 | 234.817 | 1.127 | 38.5273 | 0 | 164.296 | 0.37567 | 316.282 | 26.46 | 977.534 | 17.1742 | -0.38057
2019-01-16 03:00:00 | 0 | 208.145 | 1.127 | 194.227 | 0 | 172.212 | 0 | 223.851 | 26.46 | 977.236 | 20.0481 | -0.38426
2019-01-16 03:15:00 | 0 | 208.069 | 1.127 | 193.785 | 0.75133 | 172.21 | 0 | 347.059 | 26.46 | 976.79 | 19.2953 | -0.37318
2019-01-16 03:30:00 | 0.744 | 170.647 | 1.6383 | 175.171 | 1.127 | 172.21 | 1.127 | 128.926 | 26.46 | 976.344 | 20.1163 | -0.41382
2019-01-16 03:45:00 | 2.648 | 97.9522 | 1.6383 | 115.423 | 0.75133 | 170.427 | 1.6383 | 103.766 | 26.46 | 976.195 | 16.6268 | -0.40274
2019-01-16 04:00:00 | 3.6693 | 91.308 | 3.428 | 82.8375 | 0 | 168.986 | 3.9393 | 95.6071 | 26.46 | 975.897 | 14.8478 | -0.20322
2019-01-16 04:15:00 | 1.6267 | 116.81 | 1.6383 | 144.735 | 1.007 | 165.077 | 1.3827 | 85.1524 | 26.46 | 975.748 | 13.9583 | -0.31406
2019-01-16 04:30:00 | 1.116 | 136.742 | 2.1497 | 145.175 | 1.6383 | 161.56 | 1.6383 | 137.084 | 26.46 | 975.748 | 14.6767 | -0.41013
2019-01-16 04:45:00 | 0 | 142.043 | 1.6383 | 142.342 | 1.6383 | 158.824 | 0 | 125.408 | 26.46 | 975.451 | 17.0373 | -0.10346
2019-01-16 05:00:00 | 2.9033 | 163.197 | 3.1723 | 158.17 | 2.4053 | 165.566 | 2.9167 | 164.735 | 26.46 | 975.451 | 19.09 | 0.10715
2019-01-16 05:15:00 | 3.1587 | 169.67 | 3.1723 | 157.706 | 2.4053 | 172.406 | 2.9167 | 166.836 | 26.46 | 975.153 | 22.1006 | 0.63921
2019-01-16 05:30:00 | 4.18 | 179.809 | 3.428 | 157.953 | 3.428 | 172.97 | 3.6837 | 173.043 | 26.46 | 975.451 | 22.2377 | 2.5014
2019-01-16 05:45:00 | 4.946 | 173.897 | 4.7063 | 166.6 | 4.7063 | 169.867 | 4.962 | 173.336 | 26.46 | 975.153 | 25.8983 | 4.7553
2019-01-16 06:00:00 | 4.4353 | 172.411 | 4.195 | 157.101 | 4.4507 | 164.496 | 4.195 | 171.971 | 26.46 | 975.153 | 28.5332 | 3.584
2019-01-16 06:15:00 | 5.2013 | 144.617 | 3.9393 | 149.485 | 3.6837 | 162.914 | 4.7063 | 147.304 | 26.46 | 975.153 | 28.8764 | 4.5188
2019-01-16 06:30:00 | 6.478 | 147.9 | 5.9847 | 144.366 | 3.9393 | 164.195 | 6.2403 | 153.837 | 26.46 | 975.153 | 28.6046 | 6.0522
2019-01-16 06:45:00 | 5.4567 | 149.664 | 5.2177 | 152.263 | 3.1723 | 170.919 | 5.4733 | 150.348 | 26.46 | 975.177 | 27.5448 | 7.0535
2019-01-16 07:00:00 | 6.7333 | 157.776 | 4.962 | 155.269 | 3.9393 | 176.124 | 5.9847 | 156.628 | 26.46 | 975.187 | 26.2446 | 6.8613
2019-01-16 07:15:00 | 5.4567 | 153.77 | 3.428 | 158.103 | 3.1723 | 172.215 | 4.7063 | 156.946 | 26.46 | 975.243 | 26.3473 | 5.812
2019-01-16 07:30:00 | 5.712 | 148.051 | 4.962 | 154.632 | 2.9167 | 164.909 | 5.2177 | 156.505 | 26.46 | 975.222 | 25.2521 | 8.7383
2019-01-16 07:45:00 | 7.244 | 152.422 | 6.496 | 142.658 | 4.962 | 151.687 | 7.0073 | 158.063 | 26.46 | 975.466 | 25.3201 | 13.4418
2019-01-16 08:00:00 | 7.244 | 162.515 | 5.729 | 151.675 | 6.496 | 157.898 | 6.496 | 158.191 | 26.46 | 975.451 | 25.4537 | 14.639
2019-01-16 08:15:00 | 6.2227 | 153.743 | 5.729 | 146.201 | 4.7063 | 170.744 | 6.2403 | 160.29 | 26.46 | 975.749 | 24.9743 | 14.2806
2019-01-16 08:30:00 | 7.4993 | 155.302 | 7.0073 | 153.792 | 5.9847 | 148.827 | 7.5187 | 167.709 | 26.46 | 975.897 | 25.3157 | 15.5036
2019-01-16 08:45:00 | 6.9887 | 157.527 | 7.5187 | 150.544 | 7.263 | 154.474 | 6.496 | 163.193 | 26.46 | 976.195 | 24.4228 | 14.1476
2019-01-16 09:00:00 | 6.2227 | 160.41 | 6.7517 | 154.842 | 8.03 | 149.762 | 6.7517 | 173.742 | 26.46 | 976.344 | 24.7612 | 14.5392
2019-01-16 09:15:00 | 5.2013 | 168.293 | 5.2177 | 156.156 | 5.2177 | 155.742 | 5.729 | 163.824 | 26.46 | 976.939 | 25.0342 | 9.8542
2019-01-16 09:30:00 | 4.6907 | 178.214 | 6.2403 | 143.369 | 6.496 | 166.86 | 4.7063 | 173.453 | 26.46 | 976.914 | 23.8691 | 9.7211
2019-01-16 09:45:00 | 7.4993 | 168.686 | 8.03 | 146.026 | 7.263 | 153.134 | 8.03 | 178.107 | 26.46 | 976.794 | 21.7793 | 10.2532
2019-01-16 10:00:00 | 5.9673 | 168.992 | 6.496 | 158.195 | 7.263 | 159.277 | 5.9847 | 172.507 | 26.46 | 976.936 | 22.8376 | 12.363
2019-01-16 10:15:00 | 6.478 | 184.542 | 4.4507 | 156.73 | 4.962 | 165.331 | 5.9847 | 166.087 | 26.46 | 977.233 | 21.7436 | 11.5575
2019-01-16 10:30:00 | 5.712 | 152.296 | 5.2177 | 156.34 | 4.195 | 174.338 | 5.9847 | 166.161 | 26.46 | 977.382 | 21.8803 | 8.779
2019-01-16 10:45:00 | 4.6907 | 152.296 | 5.729 | 157.267 | 6.2403 | 148.976 | 5.2177 | 177.438 | 26.46 | 977.233 | 21.8803 | 6.4069
2019-01-16 11:00:00 | 4.946 | 152.685 | 4.962 | 154.895 | 5.2177 | 164.937 | 4.7063 | 165.718 | 26.46 | 977.382 | 18.4927 | 7.7518
2019-01-16 11:15:00 | 4.946 | 155.027 | 7.263 | 125.46 | 7.5187 | 135.747 | 5.2177 | 150.073 | 26.46 | 977.233 | 18.2533 | 7.0719
2019-01-16 11:30:00 | 6.2227 | 152.782 | 5.9847 | 148.426 | 6.496 | 152.416 | 6.2403 | 174.211 | 26.46 | 977.233 | 18.5268 | 7.5523
2019-01-16 11:45:00 | 4.946 | 196.103 | 5.9847 | 175.981 | 7.263 | 197.592 | 5.9847 | 189.074 | 26.46 | 976.936 | 19.4838 | 7.4858
2019-01-16 12:00:00 | 4.946 | 161.412 | 5.4733 | 144.828 | 5.2177 | 153.602 | 5.2177 | 179.569 | 26.46 | 976.598 | 18.5256 | 6.3847
2019-01-16 12:15:00 | 3.6693 | 154.457 | 5.729 | 131.236 | 5.2177 | 160.313 | 3.9393 | 164.51 | 26.46 | 976.341 | 18.4885 | 6.6433
2019-01-16 12:30:00 | 6.478 | 147.729 | 5.4733 | 139.879 | 4.4507 | 171.712 | 5.4733 | 155.707 | 26.46 | 976.042 | 15.8551 | 5.1174
2019-01-16 12:45:00 | 3.414 | 139.799 | 3.428 | 135.072 | 3.1723 | 151.803 | 3.6837 | 146.948 | 26.46 | 975.745 | 17.427 | 4.9289
2019-01-16 13:00:00 | 4.946 | 170.345 | 5.9847 | 147.466 | 5.4733 | 180.836 | 4.962 | 171.98 | 26.46 | 975.596 | 17.427 | 4.94
2019-01-16 13:15:00 | 4.4353 | 137.652 | 4.4507 | 145.636 | 4.4507 | 157.439 | 3.9393 | 140.897 | 26.46 | 975.438 | 17.1536 | 6.6618
2019-01-16 13:30:00 | 4.946 | 163.758 | 4.195 | 161.568 | 4.4507 | 160.366 | 4.7063 | 170.394 | 26.46 | 975.725 | 17.837 | 7.2825
2019-01-16 13:45:00 | 2.648 | 145.972 | 5.729 | 128.192 | 6.2403 | 127.82 | 3.1723 | 161.22 | 26.46 | 975.743 | 16.8119 | 7.0756
2019-01-16 14:00:00 | 4.6907 | 182.349 | 6.496 | 190.04 | 6.496 | 199.232 | 4.4507 | 191.571 | 26.46 | 975.447 | 15.8551 | 8.7531
2019-01-16 14:15:00 | 4.946 | 171.955 | 5.4733 | 179.208 | 5.729 | 198.207 | 4.962 | 169.759 | 26.46 | 975.596 | 14.5566 | 7.5153
2019-01-16 14:30:00 | 5.2013 | 137.457 | 4.962 | 138.854 | 4.4507 | 150.729 | 5.2177 | 145.24 | 26.46 | 975.744 | 14.3858 | 6.9057
2019-01-16 14:45:00 | 5.2013 | 188.497 | 5.2177 | 189.503 | 5.4733 | 193.816 | 5.4733 | 179.421 | 26.46 | 975.744 | 14.625 | 7.1458
2019-01-16 15:00:00 | 5.4567 | 210.235 | 6.2403 | 186.161 | 7.5187 | 193.108 | 5.2177 | 181.714 | 26.46 | 975.744 | 14.42 | 9.1706
2019-01-16 15:15:00 | 4.4353 | 193.206 | 6.2403 | 189.43 | 6.496 | 191.547 | 4.962 | 187.301 | 26.46 | 975.744 | 14.7617 | 7.2862
2019-01-16 15:30:00 | 4.946 | 176.2 | 4.962 | 174.45 | 6.2403 | 188.253 | 4.7063 | 179.811 | 26.46 | 975.15 | 14.83 | 10.3677
2019-01-16 15:45:00 | 4.6907 | 193.376 | 3.9393 | 195.237 | 5.4733 | 187.521 | 4.4507 | 196.353 | 26.46 | 975.447 | 14.83 | 8.1619
2019-01-16 16:00:00 | 3.9247 | 147.07 | 4.4507 | 157.494 | 6.496 | 169.906 | 3.6837 | 165.295 | 26.46 | 975.298 | 15.24 | 7.8035
2019-01-16 16:15:00 | 3.6693 | 189.204 | 3.9393 | 166.643 | 4.195 | 171.028 | 3.9393 | 174.346 | 26.46 | 975.15 | 16.6752 | 8.0326
2019-01-16 16:30:00 | 4.946 | 145.045 | 4.195 | 165.96 | 4.7063 | 175.81 | 5.2177 | 170.247 | 26.46 | 974.704 | 17.2903 | 11.5205
2019-01-16 16:45:00 | 5.9673 | 175.767 | 4.4507 | 163.331 | 6.496 | 185.137 | 5.9847 | 176.401 | 26.46 | 974.258 | 18.1818 | 11.9861
2019-01-16 17:00:00 | 5.4567 | 178.774 | 4.4507 | 175.833 | 5.9847 | 194.906 | 5.2177 | 183.704 | 26.46 | 973.947 | 18.9368 | 10.4047
2019-01-16 17:15:00 | 5.9673 | 176.578 | 5.2177 | 155.406 | 4.195 | 174.747 | 5.2177 | 182.264 | 26.46 | 973.664 | 19.6205 | 12.9393
2019-01-16 17:30:00 | 5.9673 | 158.981 | 4.962 | 157.091 | 5.4733 | 170.818 | 5.4733 | 169.476 | 26.46 | 973.367 | 19.894 | 16.3866
2019-01-16 17:45:00 | 6.478 | 164.939 | 6.2403 | 164.564 | 6.7517 | 161.643 | 6.2403 | 160.081 | 26.46 | 973.367 | 20.5127 | 18.6516
2019-01-16 18:00:00 | 8.01 | 155.103 | 5.729 | 168.203 | 5.9847 | 166.087 | 8.03 | 157.934 | 26.46 | 972.772 | 21.3333 | 19.4903
2019-01-16 18:15:00 | 6.7333 | 170.237 | 7.263 | 154.484 | 7.7743 | 185.933 | 6.496 | 168.333 | 26.46 | 973.069 | 21.5385 | 20.4547
2019-01-16 18:30:00 | 8.2653 | 166.331 | 8.5413 | 162.247 | 8.2857 | 169.432 | 8.2857 | 170.31 | 26.46 | 973.069 | 21.812 | 20.1443
2019-01-16 18:45:00 | 5.4567 | 161.108 | 5.729 | 156.193 | 7.263 | 156.445 | 5.9847 | 174.118 | 26.46 | 973.069 | 22.2906 | 23.2332
2019-01-16 19:00:00 | 8.01 | 158.032 | 7.7743 | 153.264 | 6.7517 | 162.206 | 8.03 | 163.964 | 26.46 | 973.072 | 22.9744 | 28.6646
2019-01-16 19:15:00 | 7.244 | 147.048 | 7.5187 | 143.549 | 8.03 | 153.687 | 6.7517 | 160.302 | 26.46 | 973.07 | 23.0428 | 25.8602
2019-01-16 19:30:00 | 8.01 | 154.055 | 8.2857 | 149.36 | 5.9847 | 160.402 | 7.7743 | 159.987 | 26.46 | 972.921 | 23.6926 | 26.0634
2019-01-16 19:45:00 | 9.2867 | 154.51 | 7.7743 | 147.279 | 7.5187 | 156.341 | 9.0527 | 159.906 | 26.46 | 972.507 | 23.9344 | 29.8026
2019-01-16 20:00:00 | 9.0313 | 151.979 | 8.5413 | 141.012 | 7.263 | 154.103 | 9.3083 | 157.472 | 26.46 | 972.506 | 23.4568 | 32.3373
2019-01-16 20:15:00 | 9.0313 | 152.712 | 8.5413 | 146.872 | 7.0073 | 166.164 | 9.564 | 158.425 | 26.46 | 972.502 | 23.3886 | 29.762
2019-01-16 20:30:00 | 8.2653 | 153.126 | 7.263 | 145.821 | 7.7743 | 191.529 | 8.03 | 158.106 | 26.46 | 972.494 | 22.7044 | 25.3651
2019-01-16 20:45:00 | 8.01 | 170.018 | 6.496 | 178.778 | 5.729 | 185.253 | 7.7743 | 178.563 | 26.46 | 973.083 | 22.0204 | 28.0476
2019-01-16 21:00:00 | 6.9887 | 158.319 | 7.263 | 151.942 | 7.0073 | 154.023 | 7.0073 | 165.887 | 26.46 | 972.772 | 22.3616 | 28.0365
2019-01-16 21:15:00 | 6.7333 | 161.839 | 5.9847 | 159.05 | 5.4733 | 164.085 | 7.0073 | 167.893 | 26.46 | 972.921 | 22.0202 | 22.945
2019-01-16 21:30:00 | 5.712 | 157.459 | 6.7517 | 151.692 | 6.496 | 169.25 | 5.4733 | 170.569 | 26.46 | 972.921 | 22.4976 | 24.4451
2019-01-16 21:45:00 | 8.5207 | 159.127 | 7.263 | 149.259 | 5.9847 | 155.612 | 8.5413 | 163.4 | 26.46 | 972.779 | 23.3877 | 26.1226
2019-01-16 22:00:00 | 10.308 | 181.226 | 7.0073 | 155.342 | 6.496 | 165.821 | 10.0753 | 167.628 | 26.46 | 972.959 | 22.978 | 31.6648
2019-01-16 22:15:00 | 8.776 | 164.551 | 8.5413 | 172.041 | 8.2857 | 146.9 | 8.2857 | 167.383 | 26.46 | 972.802 | 23.7986 | 33.3608
2019-01-16 22:30:00 | 9.0313 | 159.863 | 6.496 | 150.361 | 6.496 | 149.707 | 8.797 | 178.564 | 26.46 | 972.937 | 23.8669 | 31.1032
2019-01-16 22:45:00 | 6.7333 | 164.749 | 6.7517 | 159.544 | 6.2403 | 159.231 | 6.7517 | 178.64 | 26.46 | 972.786 | 23.8673 | 28.3395
2019-01-16 23:00:00 | 8.5207 | 160.036 | 6.496 | 145.456 | 5.4733 | 152.297 | 7.7743 | 170.583 | 26.46 | 972.994 | 24.1408 | 23.0669
2019-01-16 23:15:00 | 7.244 | 159.963 | 6.496 | 142.844 | 6.2403 | 146.56 | 7.5187 | 168.63 | 26.46 | 972.819 | 24.1409 | 23.4364
2019-01-16 23:30:00 | 7.4993 | 157.18 | 6.7517 | 142.893 | 6.496 | 156.155 | 7.0073 | 172 | 26.46 | 973.089 | 24.2777 | 23.6987
2019-01-16 23:45:00 | 9.7973 | 153.176 | 6.496 | 138.45 | 5.729 | 149.66 | 9.8197 | 171.853 | 26.46 | 972.79 | 24.4828 | 28.7385