## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-17 00:00:00 | 6.7333 | 150.414 | 6.7517 | 145.721 | 6.7517 | 168.724 | 6.7517 | 162.035 | 26.46 | 972.808 | 24.8583 | 26.7285
2019-01-17 00:15:00 | 8.776 | 155.554 | 5.4733 | 154.84 | 5.9847 | 150.232 | 8.2857 | 156.823 | 26.46 | 972.505 | 25.472 | 33.5381
2019-01-17 00:30:00 | 9.0313 | 154.945 | 8.2857 | 143.196 | 7.7743 | 149.208 | 8.797 | 172.033 | 26.46 | 972.475 | 25.9509 | 30.9222
2019-01-17 00:45:00 | 7.7547 | 155.43 | 6.496 | 141.997 | 5.2177 | 156.285 | 7.7743 | 157.921 | 26.46 | 972.476 | 25.9846 | 33.0024
2019-01-17 01:00:00 | 7.244 | 160.972 | 6.2403 | 145.684 | 4.7063 | 164.927 | 6.7517 | 160.557 | 26.46 | 972.178 | 26.224 | 25.875
2019-01-17 01:15:00 | 7.7547 | 161.086 | 7.5187 | 149.313 | 7.0073 | 161.428 | 7.263 | 171.949 | 26.46 | 972.178 | 26.5988 | 22.6088
2019-01-17 01:30:00 | 6.2227 | 169.214 | 6.7517 | 158.124 | 7.0073 | 162.525 | 6.2403 | 169.483 | 26.46 | 972.029 | 26.8721 | 21.3599
2019-01-17 01:45:00 | 5.9673 | 167.698 | 5.4733 | 160.978 | 5.4733 | 164.598 | 6.2403 | 186.299 | 26.46 | 972.029 | 27.6239 | 16.1428
2019-01-17 02:00:00 | 6.478 | 170.262 | 6.2403 | 153.093 | 6.496 | 161.718 | 6.496 | 178.317 | 26.46 | 972.179 | 27.6923 | 18.7403
2019-01-17 02:15:00 | 7.4993 | 163.036 | 5.9847 | 149.261 | 7.0073 | 161.254 | 7.263 | 166.454 | 26.46 | 972.029 | 28.0342 | 18.5703
2019-01-17 02:30:00 | 5.9673 | 171.751 | 5.9847 | 158.708 | 6.2403 | 162.353 | 5.729 | 188.081 | 26.46 | 972.029 | 28.4445 | 20.1369
2019-01-17 02:45:00 | 7.7547 | 172.361 | 6.7517 | 164.493 | 7.5187 | 153.882 | 6.7517 | 182.223 | 26.46 | 971.88 | 28.718 | 24.2936
2019-01-17 03:00:00 | 6.7333 | 166.332 | 7.263 | 151.604 | 6.496 | 170.603 | 7.263 | 177.633 | 26.46 | 971.732 | 29.265 | 25.1213
2019-01-17 03:15:00 | 5.4567 | 162.792 | 8.5413 | 145.965 | 7.7743 | 162.524 | 6.496 | 177.438 | 26.46 | 971.583 | 29.6752 | 22.897
2019-01-17 03:30:00 | 6.7333 | 175.168 | 5.4733 | 152.092 | 4.7063 | 168.65 | 6.2403 | 181.051 | 26.46 | 971.593 | 30.0855 | 18.441
2019-01-17 03:45:00 | 6.9887 | 175.266 | 7.263 | 161.271 | 6.496 | 165.257 | 6.496 | 189.253 | 26.46 | 971.286 | 30.9744 | 18.6035
2019-01-17 04:00:00 | 7.7547 | 178.293 | 6.7517 | 164.688 | 6.2403 | 163.305 | 7.263 | 186.885 | 26.46 | 971.286 | 31.8633 | 18.0235
2019-01-17 04:15:00 | 5.9673 | 162.084 | 6.2403 | 151.653 | 5.729 | 162.011 | 5.9847 | 171.946 | 26.46 | 970.988 | 30.9744 | 19.8007
2019-01-17 04:30:00 | 7.4993 | 160.327 | 6.7517 | 154.143 | 6.496 | 158.178 | 7.7743 | 161.523 | 26.46 | 970.863 | 31.8633 | 19.7822
2019-01-17 04:45:00 | 5.712 | 158.62 | 4.7063 | 162.103 | 3.9393 | 180.833 | 5.729 | 166.431 | 26.46 | 970.988 | 33.0944 | 19.2686
2019-01-17 05:00:00 | 6.7333 | 163.631 | 6.2403 | 143.704 | 6.496 | 159.505 | 6.496 | 183.77 | 26.46 | 970.542 | 34.1898 | 24.6114
2019-01-17 05:15:00 | 6.478 | 156.759 | 7.0073 | 160.22 | 5.729 | 174.898 | 7.263 | 165.084 | 26.46 | 970.839 | 33.3035 | 19.4829
2019-01-17 05:30:00 | 5.4567 | 152.296 | 5.729 | 152.315 | 5.2177 | 165.968 | 5.729 | 155.811 | 26.46 | 971.003 | 34.2618 | 18.9213
2019-01-17 05:45:00 | 6.9887 | 155.666 | 7.0073 | 150.339 | 5.9847 | 161.061 | 6.7517 | 161.599 | 26.46 | 970.707 | 34.057 | 22.7455
2019-01-17 06:00:00 | 5.2013 | 164.333 | 5.729 | 155.003 | 5.729 | 161.77 | 5.2177 | 168.362 | 26.46 | 971.041 | 34.3307 | 13.6894
2019-01-17 06:15:00 | 6.2227 | 170.071 | 5.9847 | 160.593 | 6.2403 | 161.526 | 5.9847 | 175.735 | 26.46 | 971.038 | 34.6042 | 16.3017
2019-01-17 06:30:00 | 6.2227 | 159.06 | 5.729 | 148.313 | 5.4733 | 174.807 | 5.729 | 163.381 | 26.46 | 971.063 | 35.63 | 19.712
2019-01-17 06:45:00 | 6.2227 | 153.811 | 5.2177 | 140.818 | 5.4733 | 161.99 | 6.496 | 164.187 | 26.46 | 971.102 | 34.9119 | 20.4325
2019-01-17 07:00:00 | 5.2013 | 158.254 | 6.2403 | 146.775 | 4.7063 | 166.165 | 5.4733 | 158.45 | 26.46 | 971.045 | 34.399 | 20.2071
2019-01-17 07:15:00 | 4.946 | 168.46 | 5.2177 | 155.882 | 3.9393 | 161.282 | 4.962 | 170.73 | 26.46 | 971.389 | 35.4932 | 21.3377
2019-01-17 07:30:00 | 5.712 | 168.777 | 5.729 | 141.843 | 5.729 | 151.784 | 6.2403 | 171.292 | 26.46 | 971.629 | 35.6984 | 18.441
2019-01-17 07:45:00 | 3.9247 | 173.416 | 4.7063 | 161.204 | 3.9393 | 170.584 | 4.195 | 172.976 | 26.46 | 971.916 | 35.6984 | 14.1402
2019-01-17 08:00:00 | 5.2013 | 160.824 | 3.9393 | 156.838 | 3.9393 | 168.123 | 5.2177 | 161.263 | 26.46 | 972.331 | 35.284 | 16.4716
2019-01-17 08:15:00 | 5.712 | 147.731 | 5.729 | 144.403 | 5.4733 | 143.337 | 5.9847 | 152.564 | 26.46 | 972.475 | 36.5812 | 17.3842
2019-01-17 08:30:00 | 3.9247 | 149.193 | 4.7063 | 143.155 | 3.9393 | 148.314 | 4.4507 | 165.157 | 26.46 | 972.772 | 36.8883 | 11.0106
2019-01-17 08:45:00 | 4.18 | 164.156 | 3.9393 | 154.504 | 3.428 | 167.841 | 4.195 | 167.28 | 26.46 | 973.367 | 36.6434 | 10.6375
2019-01-17 09:00:00 | 4.4353 | 153.124 | 4.195 | 150.403 | 3.1723 | 166.352 | 4.4507 | 153.685 | 26.46 | 973.645 | 36.8484 | 12.3075
2019-01-17 09:15:00 | 4.946 | 149.317 | 4.195 | 140.516 | 5.2177 | 155.344 | 4.962 | 156.393 | 26.46 | 973.814 | 37.3149 | 11.0476
2019-01-17 09:30:00 | 3.1587 | 151.412 | 3.9393 | 140.391 | 4.195 | 161.708 | 2.9167 | 184.837 | 26.46 | 974.556 | 35.264 | 9.0782
2019-01-17 09:45:00 | 4.18 | 149.477 | 4.7063 | 144.164 | 4.962 | 173.508 | 3.9393 | 163.651 | 26.46 | 974.853 | 34.5787 | 9.2039
2019-01-17 10:00:00 | 2.9033 | 150.68 | 5.2177 | 143.679 | 5.4733 | 145.899 | 3.9393 | 161.826 | 26.46 | 974.869 | 34.091 | 8.1915
2019-01-17 10:15:00 | 2.648 | 143.093 | 3.9393 | 146.433 | 3.9393 | 158.97 | 2.9167 | 157.19 | 26.46 | 975.446 | 33.5782 | 8.1582
2019-01-17 10:30:00 | 3.1587 | 147.068 | 4.195 | 143.677 | 4.7063 | 156.019 | 2.9167 | 157.385 | 26.46 | 975.446 | 33.2024 | 7.8552
2019-01-17 10:45:00 | 4.18 | 150.775 | 5.729 | 144.872 | 5.2177 | 148.141 | 4.195 | 148.532 | 26.46 | 975.446 | 33.9539 | 7.8589
2019-01-17 11:00:00 | 3.1587 | 154.279 | 3.6837 | 152.668 | 4.962 | 171.009 | 2.9167 | 157.791 | 26.46 | 975.743 | 32.9956 | 4.3673
2019-01-17 11:15:00 | 1.882 | 157.627 | 2.4053 | 144.699 | 3.428 | 143.727 | 1.894 | 158.797 | 26.46 | 975.743 | 31.4892 | 3.2995
2019-01-17 11:30:00 | 2.1373 | 152.675 | 3.6837 | 142.428 | 3.6837 | 176.057 | 2.1497 | 162.16 | 26.46 | 975.873 | 29.5034 | 3.3808
2019-01-17 11:45:00 | 1.6267 | 155.503 | 4.4507 | 152.399 | 4.4507 | 142.044 | 2.661 | 160.379 | 26.46 | 975.451 | 28.8885 | 3.2515
2019-01-17 12:00:00 | 0.88267 | 178.421 | 3.428 | 146.718 | 4.195 | 161.061 | 0.75133 | 171.058 | 26.46 | 975.296 | 30.4593 | 1.8363
2019-01-17 12:15:00 | 1.116 | 161.546 | 4.195 | 162.709 | 4.195 | 170.08 | 1.894 | 167.983 | 26.46 | 975.296 | 28.2734 | 1.3338
2019-01-17 12:30:00 | 2.7867 | 190.167 | 4.195 | 182.382 | 4.4507 | 185.096 | 2.1497 | 192.678 | 26.46 | 975.148 | 27.9316 | 0.78331
2019-01-17 12:45:00 | 3.6693 | 172.325 | 5.2177 | 182.046 | 4.962 | 201.826 | 3.1723 | 161.281 | 26.46 | 974.999 | 29.7763 | 1.5888
2019-01-17 13:00:00 | 4.4353 | 180.981 | 4.962 | 176.365 | 5.729 | 202.29 | 4.7063 | 178.323 | 26.46 | 974.851 | 28.547 | 2.9559
2019-01-17 13:15:00 | 3.9247 | 159.452 | 4.7063 | 159.762 | 4.962 | 168.376 | 4.195 | 183.906 | 26.46 | 974.61 | 26.9421 | 1.6848
2019-01-17 13:30:00 | 3.1587 | 147.408 | 3.9393 | 143.89 | 4.195 | 146.286 | 3.428 | 152.479 | 26.46 | 975.421 | 27.2153 | 1.3597
2019-01-17 13:45:00 | 4.946 | 179.591 | 5.4733 | 174.902 | 4.7063 | 188.466 | 4.195 | 177.689 | 26.46 | 975.551 | 25.4738 | 1.8585
2019-01-17 14:00:00 | 2.3927 | 154.235 | 3.428 | 149.887 | 3.6837 | 155.064 | 2.661 | 154.064 | 26.46 | 975.192 | 24.7226 | 1.3338
2019-01-17 14:15:00 | 4.18 | 154.283 | 3.9393 | 147.108 | 4.7063 | 138.07 | 3.1723 | 166.547 | 26.46 | 975.467 | 26.1567 | 0.76114
2019-01-17 14:30:00 | 2.1373 | 135.9 | 2.661 | 138.428 | 2.661 | 129.171 | 2.4053 | 166.425 | 26.46 | 975.622 | 24.5177 | -0.26972
2019-01-17 14:45:00 | 1.3713 | 181.542 | 3.428 | 157.689 | 3.6837 | 180.517 | 2.661 | 173.618 | 26.46 | 976.041 | 23.1518 | -0.19583
2019-01-17 15:00:00 | 3.414 | 170.765 | 3.9393 | 194.212 | 3.6837 | 196.414 | 3.428 | 186.32 | 26.46 | 976.039 | 23.425 | -0.1441
2019-01-17 15:15:00 | 2.3927 | 191.66 | 3.1723 | 151.204 | 2.1497 | 175.3 | 3.1723 | 204.85 | 26.46 | 975.742 | 23.3908 | -0.25864
2019-01-17 15:30:00 | 1.3713 | 175.762 | 2.4053 | 168.855 | 2.1497 | 174.64 | 1.894 | 199.485 | 26.46 | 976.336 | 21.1028 | -0.25864
2019-01-17 15:45:00 | 1.116 | 200.06 | 2.4053 | 185.619 | 2.9167 | 191.576 | 1.3827 | 179.264 | 26.46 | 976.188 | 20.6237 | -0.24016
2019-01-17 16:00:00 | 1.882 | 183.558 | 2.4053 | 182.062 | 2.4053 | 194.675 | 2.1497 | 180.876 | 26.46 | 976.039 | 19.3265 | -0.24016
2019-01-17 16:15:00 | 2.9033 | 178.346 | 3.1723 | 156.81 | 2.661 | 187.197 | 2.661 | 186.294 | 26.46 | 975.742 | 20.4881 | -0.24016
2019-01-17 16:30:00 | 3.414 | 162.159 | 3.9393 | 146.62 | 3.6837 | 154.6 | 3.428 | 160.769 | 26.46 | 975.742 | 22.8103 | -0.16627
2019-01-17 16:45:00 | 4.6907 | 152.284 | 4.7063 | 145.645 | 4.195 | 154.576 | 4.7063 | 157.77 | 26.46 | 975.482 | 22.4005 | 0.32515
2019-01-17 17:00:00 | 4.18 | 154.85 | 4.4507 | 149.287 | 3.9393 | 156.313 | 4.195 | 159.581 | 26.46 | 975.148 | 21.5852 | 0.83503
2019-01-17 17:15:00 | 4.18 | 150.824 | 4.7063 | 142.75 | 3.9393 | 151.434 | 4.195 | 153.8 | 26.46 | 974.406 | 21.0418 | 1.2932
2019-01-17 17:30:00 | 4.6907 | 150.778 | 4.4507 | 140.656 | 3.9393 | 156.461 | 4.7063 | 155.412 | 26.46 | 973.96 | 20.7689 | 3.8279
2019-01-17 17:45:00 | 4.946 | 139.497 | 3.428 | 135.062 | 2.9167 | 148.524 | 4.962 | 148.939 | 26.46 | 973.808 | 21.9361 | 4.9917
2019-01-17 18:00:00 | 5.9673 | 144.043 | 3.9393 | 137.755 | 3.6837 | 149.118 | 5.729 | 151.338 | 26.46 | 973.346 | 22.484 | 9.6842
2019-01-17 18:15:00 | 6.9887 | 148.289 | 5.729 | 139.464 | 4.4507 | 151.705 | 7.0073 | 151.559 | 26.46 | 973.366 | 21.4591 | 16.0837
2019-01-17 18:30:00 | 7.4993 | 153.657 | 6.496 | 145.075 | 5.729 | 157.463 | 7.5187 | 157.463 | 26.46 | 973.663 | 22.0741 | 21.0015
2019-01-17 18:45:00 | 7.7547 | 147.925 | 6.7517 | 133.707 | 5.4733 | 151.951 | 8.03 | 152.927 | 26.46 | 973.366 | 22.8945 | 23.8428
2019-01-17 19:00:00 | 8.2653 | 149.657 | 7.0073 | 143.881 | 6.2403 | 155.683 | 8.5413 | 154.317 | 26.46 | 973.961 | 26.4481 | 28.3801
2019-01-17 19:15:00 | 7.4993 | 150.931 | 6.496 | 157.209 | 6.496 | 152.688 | 7.5187 | 155.982 | 26.46 | 973.961 | 26.7908 | 34.0997
2019-01-17 19:30:00 | 8.5207 | 162.306 | 8.797 | 145.966 | 9.0527 | 154.01 | 8.2857 | 158.207 | 26.46 | 973.961 | 28.432 | 36.2206
2019-01-17 19:45:00 | 8.01 | 149.527 | 5.9847 | 151.146 | 5.729 | 142.329 | 7.7743 | 148.307 | 26.46 | 974.258 | 30.3471 | 35.7107
2019-01-17 20:00:00 | 8.01 | 154.679 | 4.7063 | 151.467 | 4.4507 | 148.237 | 8.2857 | 153.069 | 26.46 | 974.258 | 30.5528 | 27.0278
2019-01-17 20:15:00 | 6.7333 | 140.505 | 4.962 | 130.095 | 4.4507 | 149.192 | 6.496 | 146.728 | 26.46 | 973.962 | 29.7332 | 23.6987
2019-01-17 20:30:00 | 6.7333 | 143.631 | 5.4733 | 136.711 | 4.195 | 154.026 | 6.7517 | 147.877 | 26.46 | 973.969 | 30.2122 | 25.7715
2019-01-17 20:45:00 | 7.244 | 142.141 | 6.2403 | 138.417 | 4.7063 | 139.921 | 7.5187 | 148.608 | 26.46 | 974.259 | 32.1258 | 30.8335
2019-01-17 21:00:00 | 8.2653 | 147.239 | 7.5187 | 140.05 | 6.7517 | 151.973 | 8.2857 | 153.291 | 26.46 | 973.961 | 33.4241 | 42.7494
2019-01-17 21:15:00 | 8.5207 | 136.48 | 8.03 | 130.462 | 7.263 | 150.194 | 8.5413 | 141.97 | 26.46 | 973.515 | 33.1511 | 45.7697
2019-01-17 21:30:00 | 8.01 | 138.106 | 7.263 | 139.31 | 5.9847 | 131.176 | 8.2857 | 147.232 | 26.46 | 973.664 | 33.2856 | 43.6805
2019-01-17 21:45:00 | 8.5207 | 148.882 | 9.0527 | 142.106 | 9.3083 | 146.759 | 8.5413 | 155.006 | 26.46 | 973.664 | 35.949 | 32.208
2019-01-17 22:00:00 | 8.776 | 149.818 | 7.0073 | 136.504 | 5.2177 | 180.441 | 8.797 | 153.429 | 26.46 | 973.961 | 37.3524 | 39.0139
2019-01-17 22:15:00 | 8.5207 | 140.897 | 5.9847 | 138.344 | 4.962 | 150.487 | 7.7743 | 147.729 | 26.46 | 973.664 | 39.2345 | 44.0389
2019-01-17 22:30:00 | 7.7547 | 133.008 | 5.9847 | 133.947 | 4.4507 | 160.634 | 7.5187 | 140.72 | 26.46 | 973.514 | 40.8119 | 41.5042
2019-01-17 22:45:00 | 8.776 | 148.633 | 7.5187 | 146.034 | 7.5187 | 163.765 | 9.0527 | 153.221 | 26.46 | 973.325 | 42.7277 | 43.2371
2019-01-17 23:00:00 | 9.0313 | 139.163 | 7.263 | 137.907 | 7.0073 | 133.892 | 8.797 | 142.068 | 26.46 | 972.771 | 43.0696 | 45.5945
2019-01-17 23:15:00 | 9.2867 | 155.833 | 8.03 | 141.91 | 8.03 | 160.421 | 8.797 | 144.435 | 26.46 | 973.367 | 43.6165 | 43.6677
2019-01-17 23:30:00 | 5.9673 | 144.582 | 6.496 | 141.422 | 8.2857 | 130.621 | 5.729 | 150.244 | 26.46 | 973.664 | 43.4114 | 37.1833
2019-01-17 23:45:00 | 8.5207 | 141.287 | 8.5413 | 132.758 | 7.5187 | 146.632 | 9.3083 | 142.19 | 26.46 | 973.664 | 43.9583 | 47.2645