## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-18 00:00:00 | 6.9887 | 163.887 | 8.03 | 136.15 | 10.5867 | 146.461 | 7.263 | 155.76 | 26.46 | 973.218 | 45.1547 | 60.3073
2019-01-18 00:15:00 | 11.074 | 149.316 | 8.2857 | 135.955 | 6.496 | 163.618 | 11.098 | 153.71 | 26.46 | 973.069 | 46.5561 | 66.4998
2019-01-18 00:30:00 | 10.0527 | 142.507 | 7.7743 | 124.02 | 7.5187 | 166.938 | 10.0753 | 150.293 | 26.46 | 973.069 | 47.7867 | 63.677
2019-01-18 00:45:00 | 10.8187 | 143.215 | 5.729 | 141.739 | 8.03 | 176.261 | 10.5867 | 152.318 | 26.46 | 972.474 | 47.9918 | 65.0346
2019-01-18 01:00:00 | 10.5633 | 141.482 | 8.03 | 130.854 | 7.263 | 150.585 | 10.0753 | 147.852 | 26.46 | 972.772 | 47.103 | 62.1953
2019-01-18 01:15:00 | 10.0527 | 151.684 | 6.496 | 148.67 | 6.2403 | 162.715 | 9.564 | 141.653 | 26.46 | 972.921 | 45.9409 | 67.6232
2019-01-18 01:30:00 | 10.5633 | 142.725 | 9.8197 | 134.586 | 9.0527 | 144.629 | 10.0753 | 149.168 | 26.46 | 972.772 | 46.2821 | 65.0921
2019-01-18 01:45:00 | 9.2867 | 143.19 | 6.7517 | 127.07 | 7.263 | 158.858 | 9.0527 | 149.657 | 26.46 | 973.069 | 42.6591 | 61.7963
2019-01-18 02:00:00 | 9.542 | 140.284 | 9.0527 | 131.536 | 5.4733 | 153.146 | 9.564 | 143.311 | 26.46 | 973.069 | 42.5905 | 60.3553
2019-01-18 02:15:00 | 10.0527 | 144.362 | 8.2857 | 142.789 | 6.496 | 137.162 | 10.0753 | 148.438 | 26.46 | 973.069 | 43.6165 | 65.5835
2019-01-18 02:30:00 | 10.308 | 150.463 | 8.797 | 136.931 | 7.7743 | 156.199 | 10.0753 | 152.074 | 26.46 | 973.218 | 44.9838 | 69.0751
2019-01-18 02:45:00 | 11.3293 | 154.417 | 9.0527 | 141.178 | 7.0073 | 167.426 | 10.5867 | 154.979 | 26.46 | 972.772 | 45.3256 | 58.9106
2019-01-18 03:00:00 | 10.8187 | 145.995 | 10.5867 | 141.322 | 9.3083 | 138.381 | 10.8423 | 152.682 | 26.46 | 972.772 | 44.1628 | 59.9267
2019-01-18 03:15:00 | 12.0953 | 149.975 | 10.5867 | 139.029 | 9.3083 | 156.735 | 11.6093 | 154.099 | 26.46 | 972.623 | 43.0009 | 70.0173
2019-01-18 03:30:00 | 9.2867 | 149.828 | 7.7743 | 136.028 | 8.2857 | 169.768 | 8.5413 | 146.265 | 26.46 | 972.474 | 44.8468 | 61.6744
2019-01-18 03:45:00 | 9.542 | 156.442 | 5.9847 | 131.463 | 6.7517 | 163.763 | 9.564 | 151.414 | 26.46 | 972.623 | 45.4961 | 62.7754
2019-01-18 04:00:00 | 10.308 | 156.05 | 8.797 | 127.068 | 5.4733 | 153.511 | 10.0753 | 149.143 | 26.46 | 972.474 | 44.4361 | 65.0514
2019-01-18 04:15:00 | 8.5207 | 160.567 | 7.7743 | 161.606 | 8.797 | 172.648 | 5.9847 | 154.564 | 26.46 | 971.88 | 44.4026 | 62.986
2019-01-18 04:30:00 | 9.7973 | 161.714 | 6.7517 | 166.999 | 6.496 | 180.019 | 8.797 | 148.364 | 26.46 | 971.88 | 43.2745 | 61.0278
2019-01-18 04:45:00 | 11.3293 | 111.023 | 5.729 | 128.316 | 7.0073 | 152.758 | 11.865 | 138.944 | 26.46 | 971.582 | 41.5655 | 57.1962
2019-01-18 05:00:00 | 10.8187 | 143.166 | 10.331 | 135.394 | 10.0753 | 135.917 | 10.5867 | 150.463 | 26.46 | 971.285 | 41.4288 | 61.146
2019-01-18 05:15:00 | 7.244 | 148.047 | 5.9847 | 143.057 | 7.0073 | 150.122 | 7.0073 | 146.266 | 26.46 | 971.285 | 41.4288 | 62.173
2019-01-18 05:30:00 | 9.7973 | 153.392 | 6.7517 | 136.638 | 6.496 | 139.652 | 9.564 | 148.926 | 26.46 | 971.582 | 41.087 | 57.7098
2019-01-18 05:45:00 | 8.2653 | 142.043 | 6.2403 | 150.525 | 6.2403 | 171.087 | 8.5413 | 160.446 | 26.46 | 971.731 | 42.3859 | 61.3936
2019-01-18 06:00:00 | 8.5207 | 141.775 | 7.7743 | 142.349 | 7.263 | 158.103 | 8.03 | 151.611 | 26.46 | 971.731 | 42.9328 | 61.6817
2019-01-18 06:15:00 | 10.308 | 142.971 | 8.5413 | 146.645 | 8.5413 | 160.031 | 10.0753 | 147.73 | 26.46 | 971.88 | 44.5052 | 60.8282
2019-01-18 06:30:00 | 8.776 | 149.658 | 7.0073 | 134.099 | 7.7743 | 150.439 | 8.797 | 150.463 | 26.46 | 971.88 | 45.804 | 48.3988
2019-01-18 06:45:00 | 9.0313 | 147.85 | 7.5187 | 145.471 | 4.962 | 138.063 | 8.5413 | 151.12 | 26.46 | 971.88 | 46.5554 | 49.8398
2019-01-18 07:00:00 | 9.2867 | 132.793 | 8.2857 | 123.142 | 7.7743 | 156.541 | 9.3083 | 136.528 | 26.46 | 971.88 | 45.7357 | 50.9002
2019-01-18 07:15:00 | 6.9887 | 156.004 | 7.0073 | 146.059 | 6.496 | 175.724 | 7.7743 | 137.528 | 26.46 | 972.028 | 45.2572 | 51.0997
2019-01-18 07:30:00 | 9.0313 | 124.786 | 8.5413 | 132.072 | 3.6837 | 143.188 | 8.797 | 145.067 | 26.46 | 971.88 | 45.1197 | 47.5379
2019-01-18 07:45:00 | 5.4567 | 141.189 | 5.9847 | 137.37 | 4.962 | 171.916 | 5.9847 | 142.409 | 26.46 | 972.177 | 42.9328 | 51.3362
2019-01-18 08:00:00 | 6.2227 | 137.26 | 6.7517 | 127.95 | 5.9847 | 174.821 | 6.496 | 147.608 | 26.46 | 972.474 | 43.8899 | 48.432
2019-01-18 08:15:00 | 8.5207 | 132.647 | 9.3083 | 142.667 | 8.2857 | 140.115 | 7.7743 | 151.611 | 26.46 | 972.199 | 43.8899 | 46.7324
2019-01-18 08:30:00 | 6.9887 | 143.545 | 7.5187 | 137.477 | 5.4733 | 150.157 | 7.0073 | 150.694 | 26.46 | 972.479 | 44.6991 | 46.3334
2019-01-18 08:45:00 | 10.0527 | 149.461 | 8.797 | 144.929 | 9.0527 | 157.707 | 9.3083 | 145.581 | 26.46 | 972.772 | 46.1302 | 49.1488
2019-01-18 09:00:00 | 9.7973 | 147.85 | 9.0527 | 137.536 | 5.9847 | 165.246 | 9.8197 | 147.631 | 26.46 | 972.772 | 47.0186 | 51.0406
2019-01-18 09:15:00 | 9.2867 | 144.435 | 8.2857 | 137.463 | 7.5187 | 171.809 | 9.0527 | 147.094 | 26.46 | 972.772 | 47.292 | 50.9593
2019-01-18 09:30:00 | 9.7973 | 145.63 | 9.3083 | 144.05 | 7.7743 | 150.973 | 10.5867 | 145.142 | 26.46 | 972.772 | 47.3603 | 54.7281
2019-01-18 09:45:00 | 10.5633 | 137.433 | 7.5187 | 143.587 | 9.564 | 150.51 | 10.331 | 148.973 | 26.46 | 973.367 | 46.5061 | 54.2182
2019-01-18 10:00:00 | 11.5847 | 143.874 | 12.1207 | 135.584 | 11.098 | 157.707 | 11.098 | 159.586 | 26.46 | 973.946 | 46.7453 | 51.2143
2019-01-18 10:15:00 | 9.0313 | 138.45 | 5.9847 | 127.842 | 6.7517 | 130.691 | 8.2857 | 157.235 | 26.46 | 974.258 | 47.2894 | 52.7402
2019-01-18 10:30:00 | 10.8187 | 146.805 | 10.8423 | 133.928 | 9.0527 | 133.266 | 11.098 | 150.927 | 26.46 | 973.946 | 48.1053 | 49.5811
2019-01-18 10:45:00 | 10.308 | 135.364 | 9.8197 | 133.074 | 8.2857 | 155.88 | 10.331 | 146.073 | 26.46 | 974.089 | 46.2604 | 42.4944
2019-01-18 11:00:00 | 11.3293 | 156.955 | 10.5867 | 148.589 | 10.331 | 166.882 | 10.331 | 156.442 | 26.46 | 973.921 | 45.5021 | 38.4301
2019-01-18 11:15:00 | 8.5207 | 147.678 | 7.0073 | 144.19 | 6.496 | 159.019 | 8.03 | 154.507 | 26.46 | 973.815 | 44.7481 | 33.7155
2019-01-18 11:30:00 | 7.244 | 152.458 | 7.0073 | 147.946 | 5.729 | 165.75 | 7.5187 | 152.995 | 26.46 | 973.663 | 43.6209 | 30.9037
2019-01-18 11:45:00 | 5.9673 | 153.385 | 6.2403 | 150.019 | 6.7517 | 152.848 | 5.9847 | 145.361 | 26.46 | 973.366 | 44.3723 | 29.0969
2019-01-18 12:00:00 | 7.4993 | 153.556 | 8.03 | 145.263 | 7.0073 | 157.58 | 8.03 | 149.629 | 26.46 | 973.069 | 44.7481 | 28.805
2019-01-18 12:15:00 | 4.946 | 142.41 | 5.9847 | 136.848 | 6.2403 | 148.336 | 5.2177 | 148.336 | 26.46 | 973.069 | 44.7481 | 25.2247
2019-01-18 12:30:00 | 6.478 | 133.508 | 6.496 | 122.8 | 7.0073 | 125.02 | 5.9847 | 133.41 | 26.46 | 972.474 | 44.4748 | 22.461
2019-01-18 12:45:00 | 3.9247 | 133.117 | 6.2403 | 144.238 | 6.496 | 152.263 | 3.6837 | 149.385 | 26.46 | 972.177 | 44.8847 | 21.2749
2019-01-18 13:00:00 | 8.01 | 145.239 | 8.03 | 134.873 | 8.03 | 139.922 | 7.7743 | 149.629 | 26.46 | 972.177 | 44.6798 | 22.9561
2019-01-18 13:15:00 | 8.01 | 149.141 | 9.0527 | 140.092 | 9.3083 | 143.946 | 8.03 | 153.995 | 26.46 | 971.88 | 45.5679 | 22.4277
2019-01-18 13:30:00 | 8.01 | 140.044 | 7.7743 | 137.263 | 8.03 | 147.458 | 7.7743 | 145.654 | 26.46 | 971.731 | 45.0897 | 19.9337
2019-01-18 13:45:00 | 6.9887 | 126.191 | 8.03 | 137.263 | 8.03 | 146.532 | 7.263 | 143.117 | 26.46 | 971.583 | 44.1332 | 15.2708
2019-01-18 14:00:00 | 7.7547 | 145.897 | 7.7743 | 147.214 | 7.0073 | 155.946 | 7.5187 | 155.726 | 26.46 | 971.731 | 44.0649 | 17.1884
2019-01-18 14:15:00 | 7.7547 | 133.971 | 5.729 | 133.434 | 6.496 | 152.727 | 7.263 | 140.093 | 26.46 | 971.583 | 43.655 | 10.8961
2019-01-18 14:30:00 | 6.7333 | 133.508 | 5.729 | 129.605 | 6.7517 | 138.264 | 6.7517 | 153.653 | 26.46 | 971.583 | 43.3817 | 10.9367
2019-01-18 14:45:00 | 4.6907 | 136.727 | 5.729 | 144.214 | 6.2403 | 159.214 | 4.7063 | 145.044 | 26.46 | 971.583 | 42.4595 | 9.6768
2019-01-18 15:00:00 | 3.9247 | 127.02 | 4.4507 | 138.092 | 4.7063 | 139.459 | 4.195 | 143.727 | 26.46 | 971.583 | 42.7669 | 12.5551
2019-01-18 15:15:00 | 6.7333 | 141.751 | 5.9847 | 136.995 | 5.729 | 145.019 | 6.7517 | 145.385 | 26.46 | 971.286 | 42.6986 | 13.9887
2019-01-18 15:30:00 | 4.18 | 83.4118 | 3.1723 | 121.824 | 2.9167 | 130.971 | 4.195 | 83.6313 | 26.46 | 971.286 | 42.2203 | 13.4714
2019-01-18 15:45:00 | 4.6907 | 94.0944 | 3.1723 | 91.7523 | 2.1497 | 97.6552 | 4.195 | 112.777 | 26.46 | 971.286 | 43.2451 | 12.8913
2019-01-18 16:00:00 | 5.712 | 139.581 | 4.4507 | 139.019 | 3.6837 | 147.897 | 4.962 | 154.458 | 26.46 | 971.286 | 42.5619 | 14.9013
2019-01-18 16:15:00 | 6.9887 | 117.801 | 5.2177 | 111.581 | 4.962 | 118.313 | 7.0073 | 120.874 | 26.46 | 970.989 | 43.1085 | 16.5492
2019-01-18 16:30:00 | 6.2227 | 123.167 | 4.7063 | 102.045 | 4.7063 | 135.215 | 7.263 | 120.508 | 26.46 | 971.731 | 42.6986 | 17.5949
2019-01-18 16:45:00 | 6.2227 | 111.118 | 4.4507 | 109.386 | 4.4507 | 106.801 | 6.7517 | 117.459 | 26.46 | 971.434 | 42.6986 | 20.1037
2019-01-18 17:00:00 | 5.4567 | 107.07 | 5.4733 | 115.166 | 5.4733 | 126.776 | 5.9847 | 107.338 | 26.46 | 970.84 | 42.8352 | 16.915
2019-01-18 17:15:00 | 4.946 | 99.9478 | 4.962 | 99.9715 | 2.661 | 108.728 | 5.2177 | 120.362 | 26.46 | 970.691 | 43.3817 | 18.3745
2019-01-18 17:30:00 | 6.7333 | 96.6796 | 5.9847 | 91.923 | 5.729 | 96.2894 | 6.496 | 105.143 | 26.46 | 970.109 | 43.3134 | 23.5472
2019-01-18 17:45:00 | 1.882 | 74.3021 | 3.6837 | 93.6485 | 3.1723 | 99.1345 | 1.894 | 96.1829 | 26.46 | 970.174 | 43.9353 | 31.0034
2019-01-18 18:00:00 | 6.2227 | 103.217 | 4.195 | 94.4628 | 2.1497 | 102.851 | 4.962 | 105.095 | 26.46 | 970.095 | 43.9389 | 31.4949
2019-01-18 18:15:00 | 5.2013 | 104.003 | 5.4733 | 81.734 | 3.6837 | 123.593 | 5.729 | 111.81 | 26.46 | 970.245 | 43.6679 | 33.1132
2019-01-18 18:30:00 | 8.2653 | 114.538 | 7.0073 | 121.373 | 6.496 | 103.535 | 8.2857 | 118.636 | 26.46 | 970.096 | 42.2996 | 44.7483
2019-01-18 18:45:00 | 8.5207 | 106.753 | 7.263 | 115.221 | 6.7517 | 139.515 | 8.797 | 124.78 | 26.46 | 970.094 | 42.5033 | 47.8704
2019-01-18 19:00:00 | 8.2653 | 110.658 | 8.03 | 111.297 | 6.2403 | 110.585 | 8.2857 | 118.855 | 26.46 | 970.245 | 42.3677 | 46.3923
2019-01-18 19:15:00 | 7.4993 | 115.828 | 7.263 | 83.6794 | 5.4733 | 98.9955 | 7.0073 | 118.975 | 26.46 | 970.393 | 41.6494 | 43.7765
2019-01-18 19:30:00 | 8.2653 | 111.439 | 7.7743 | 105.296 | 8.2857 | 130.322 | 8.797 | 102.193 | 26.46 | 970.393 | 41.3428 | 38.2343
2019-01-18 19:45:00 | 8.5207 | 101.83 | 8.5413 | 88.3685 | 7.0073 | 103.904 | 8.5413 | 106.222 | 26.46 | 970.393 | 41.2756 | 38.7626
2019-01-18 20:00:00 | 5.9673 | 96.5382 | 6.2403 | 93.25 | 5.9847 | 98.9047 | 5.729 | 93.0983 | 26.46 | 970.69 | 41.2081 | 35.3375
2019-01-18 20:15:00 | 5.712 | 114.518 | 5.9847 | 108.034 | 6.496 | 116.079 | 6.2403 | 115.323 | 26.46 | 970.691 | 41.4128 | 32.7622
2019-01-18 20:30:00 | 5.4567 | 113.977 | 4.7063 | 111.102 | 4.4507 | 129.395 | 5.9847 | 128.175 | 26.46 | 970.988 | 41.172 | 25.9748
2019-01-18 20:45:00 | 4.4353 | 101.897 | 3.428 | 101.071 | 3.6837 | 105.434 | 4.195 | 93.2126 | 26.46 | 971.101 | 40.863 | 21.6112
2019-01-18 21:00:00 | 4.4353 | 135.46 | 3.1723 | 82.9425 | 1.6383 | 113.042 | 3.428 | 105.601 | 26.46 | 971.213 | 40.5199 | 15.6107
2019-01-18 21:15:00 | 4.6907 | 103.452 | 2.9167 | 117.871 | 3.1723 | 110.16 | 3.9393 | 115.429 | 26.46 | 971.193 | 40.2456 | 15.6514
2019-01-18 21:30:00 | 5.9673 | 106.989 | 3.1723 | 107.747 | 2.661 | 105.793 | 4.7063 | 111.282 | 26.46 | 971.344 | 40.8262 | 17.6983
2019-01-18 21:45:00 | 3.1587 | 105.581 | 4.4507 | 134.932 | 2.661 | 118.559 | 3.6837 | 115.754 | 26.46 | 971.403 | 40.9998 | 14.5281
2019-01-18 22:00:00 | 5.9673 | 103.07 | 4.7063 | 82.4599 | 3.6837 | 97.6296 | 5.729 | 101.24 | 26.46 | 971.555 | 40.0437 | 10.6522
2019-01-18 22:15:00 | 0 | 320.551 | 0 | 14.5355 | 0.37567 | 90.3105 | 0 | 309.281 | 26.46 | 971.816 | 40.6584 | 5.7307
2019-01-18 22:30:00 | 0 | 37.7139 | 1.127 | 86.1648 | 0 | 106.262 | 0 | 62.5231 | 26.46 | 971.866 | 40.7258 | 2.616
2019-01-18 22:45:00 | 0.744 | 113.125 | 0 | 105.591 | 0.75133 | 107.294 | 1.894 | 116.247 | 26.46 | 972.173 | 40.9334 | 1.0863
2019-01-18 23:00:00 | 2.9033 | 134.277 | 2.1497 | 122.206 | 2.9167 | 111.93 | 2.661 | 123.664 | 26.46 | 972.171 | 40.7287 | 0.59118
2019-01-18 23:15:00 | 3.414 | 123.3 | 2.9167 | 127.551 | 2.661 | 120.031 | 3.9393 | 130.034 | 26.46 | 972.177 | 40.1826 | 0.78331
2019-01-18 23:30:00 | 1.3713 | 133.837 | 2.4053 | 128.938 | 2.9167 | 120.077 | 0.75133 | 131.983 | 26.46 | 972.177 | 40.1817 | 0.22908
2019-01-18 23:45:00 | 1.882 | 113.881 | 1.3827 | 120.473 | 0 | 119.687 | 0.75133 | 122.81 | 26.46 | 972.326 | 40.3186 | 0.018474