## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-19 00:00:00 | 2.3927 | 130.763 | 3.1723 | 114.812 | 2.1497 | 119.199 | 2.9167 | 133.544 | 26.46 | 972.177 | 40.5233 | -0.062812
2019-01-19 00:15:00 | 2.3927 | 136.008 | 2.4053 | 132.28 | 1.894 | 119.687 | 2.4053 | 132.934 | 26.46 | 972.177 | 41.856 | -0.11454
2019-01-19 00:30:00 | 2.1373 | 138.844 | 1.894 | 130.774 | 0.75133 | 119.741 | 2.661 | 140.161 | 26.46 | 972.177 | 43.2245 | -0.092371
2019-01-19 00:45:00 | 3.9247 | 155.743 | 3.1723 | 140.183 | 2.9167 | 120.662 | 4.195 | 165.697 | 26.46 | 971.88 | 44.1448 | -0.029559
2019-01-19 01:00:00 | 2.9033 | 157.767 | 3.1723 | 137.084 | 1.894 | 120.905 | 3.428 | 168.842 | 26.46 | 971.88 | 45.6479 | -0.22169
2019-01-19 01:15:00 | 2.3927 | 155.45 | 2.1497 | 143.403 | 1.3827 | 120.857 | 2.661 | 171.112 | 26.46 | 971.581 | 46.6732 | -0.25125
2019-01-19 01:30:00 | 1.3713 | 170.72 | 2.1497 | 147.305 | 1.127 | 120.88 | 1.6383 | 182.211 | 26.46 | 971.707 | 47.9028 | -0.24016
2019-01-19 01:45:00 | 0 | 205.751 | 0.75133 | 147.377 | 0 | 120.855 | 1.127 | 220.584 | 26.46 | 971.568 | 51.046 | -0.25125
2019-01-19 02:00:00 | 0.744 | 240.206 | 1.3827 | 147.407 | 0 | 120.859 | 1.6383 | 248.232 | 26.46 | 971.583 | 53.6445 | -0.24016
2019-01-19 02:15:00 | 1.3713 | 252.629 | 1.3827 | 228.262 | 0.37567 | 120.886 | 1.6383 | 266.657 | 26.46 | 971.691 | 55.0808 | -0.24016
2019-01-19 02:30:00 | 1.116 | 282.374 | 1.3827 | 265.327 | 0 | 120.815 | 1.6383 | 268.322 | 26.46 | 971.577 | 56.9271 | -0.24016
2019-01-19 02:45:00 | 0 | 282.377 | 1.3827 | 265.329 | 0 | 120.865 | 1.127 | 268.446 | 26.46 | 971.58 | 57.5427 | -0.25125
2019-01-19 03:00:00 | 1.6267 | 282.379 | 1.3827 | 280.092 | 0 | 120.818 | 1.6383 | 283.77 | 26.46 | 971.583 | 56.7914 | -0.24016
2019-01-19 03:15:00 | 1.6267 | 291.163 | 1.6383 | 281.898 | 0 | 120.818 | 1.6383 | 289.577 | 26.46 | 971.583 | 57.2014 | -0.26972
2019-01-19 03:30:00 | 2.3927 | 304.777 | 2.1497 | 296.731 | 1.6383 | 120.403 | 2.661 | 305.118 | 26.46 | 971.284 | 56.5864 | -0.24016
2019-01-19 03:45:00 | 2.3927 | 321.953 | 2.1497 | 305.271 | 1.6383 | 118.622 | 2.1497 | 319.488 | 26.46 | 970.988 | 56.0396 | -0.26233
2019-01-19 04:00:00 | 1.882 | 329.979 | 2.1497 | 333.377 | 1.894 | 117.06 | 1.894 | 320.757 | 26.46 | 970.988 | 53.9894 | -0.28081
2019-01-19 04:15:00 | 2.648 | 348.936 | 2.4053 | 13.559 | 2.9167 | 89.7349 | 2.4053 | 326.979 | 26.46 | 970.691 | 51.6658 | -0.30667
2019-01-19 04:30:00 | 3.1587 | 353.182 | 3.9393 | 10.5337 | 2.9167 | 88.9054 | 3.1723 | 352.645 | 26.46 | 970.393 | 51.1532 | -0.30298
2019-01-19 04:45:00 | 3.9247 | 352.401 | 3.6837 | 13.071 | 2.9167 | 88.7834 | 3.428 | 351.279 | 26.46 | 970.245 | 52.9643 | 0.39904
2019-01-19 05:00:00 | 4.4353 | 347.107 | 3.1723 | 11.6072 | 2.4053 | 88.6614 | 4.195 | 341.666 | 26.46 | 970.096 | 56.6547 | 0.46555
2019-01-19 05:15:00 | 1.6267 | 329.37 | 3.428 | 324.057 | 2.4053 | 88.8078 | 1.6383 | 317.927 | 26.46 | 970.245 | 62.9762 | 0.46555
2019-01-19 05:30:00 | 1.882 | 337.665 | 3.9393 | 328.839 | 2.661 | 88.4174 | 1.6383 | 328.516 | 26.46 | 970.245 | 62.3954 | 1.2784
2019-01-19 05:45:00 | 5.9673 | 344.496 | 2.9167 | 22.6961 | 2.661 | 85.6361 | 5.729 | 342.691 | 26.46 | 970.096 | 61.4728 | 3.3291
2019-01-19 06:00:00 | 4.6907 | 346.277 | 3.1723 | 13.1321 | 2.1497 | 61.3359 | 4.7063 | 340.153 | 26.46 | 969.948 | 63.0788 | 5.3021
2019-01-19 06:15:00 | 5.4567 | 350.92 | 4.962 | 14.1444 | 4.4507 | 51.0899 | 4.7063 | 354.531 | 26.46 | 970.096 | 63.6268 | 6.0485
2019-01-19 06:30:00 | 3.9247 | 0.097599 | 3.428 | 5.2626 | 4.962 | 43.4558 | 4.962 | 353.014 | 26.46 | 970.245 | 65.1341 | 7.567
2019-01-19 06:45:00 | 5.4567 | 349.861 | 4.962 | 17.3159 | 3.9393 | 43.3849 | 5.4733 | 346.128 | 26.46 | 970.393 | 64.5566 | 6.8244
2019-01-19 07:00:00 | 4.18 | 356.945 | 4.195 | 0.33241 | 4.4507 | 42.483 | 4.195 | 355.603 | 26.46 | 970.691 | 64.6605 | 6.0041
2019-01-19 07:15:00 | 4.6907 | 0.14641 | 4.195 | 2.8884 | 3.9393 | 41.4577 | 5.2177 | 356.551 | 26.46 | 970.691 | 64.5574 | 5.764
2019-01-19 07:30:00 | 4.18 | 5.832 | 2.661 | 0.4786 | 3.1723 | 40.9949 | 3.428 | 0.43923 | 26.46 | 970.988 | 64.2853 | 5.5312
2019-01-19 07:45:00 | 3.6693 | 12.7867 | 3.6837 | 3.9141 | 3.428 | 40.9468 | 3.1723 | 12.3963 | 26.46 | 971.007 | 63.7737 | 6.2775
2019-01-19 08:00:00 | 3.414 | 21.1809 | 4.195 | 14.2603 | 4.7063 | 38.8723 | 3.1723 | 5.8809 | 26.46 | 970.989 | 62.7478 | 9.1595
2019-01-19 08:15:00 | 6.478 | 15.6661 | 6.2403 | 5.6709 | 5.729 | 21.4005 | 5.2177 | 8.7359 | 26.46 | 970.989 | 60.629 | 10.2901
2019-01-19 08:30:00 | 8.776 | 15.4708 | 7.263 | 8.233 | 4.962 | 21.7665 | 8.2857 | 13.5431 | 26.46 | 970.989 | 54.8873 | 11.8087
2019-01-19 08:45:00 | 9.2867 | 11.7608 | 8.2857 | 14.5259 | 5.9847 | 0.0976 | 9.3083 | 15.7379 | 26.46 | 971.286 | 47.7062 | 14.5281
2019-01-19 09:00:00 | 10.0527 | 13.492 | 8.5413 | 12.0344 | 7.263 | 17.0053 | 9.564 | 18.2252 | 26.46 | 971.583 | 48.6591 | 18.1528
2019-01-19 09:15:00 | 9.2867 | 9.5151 | 8.2857 | 5.2517 | 6.496 | 13.6139 | 9.564 | 11.8573 | 26.46 | 971.732 | 50.0256 | 20.4029
2019-01-19 09:30:00 | 8.01 | 14.4435 | 6.7517 | 4.7881 | 3.1723 | 15.3706 | 7.5187 | 21.5676 | 26.46 | 971.88 | 49.2739 | 16.4495
2019-01-19 09:45:00 | 8.776 | 11.0278 | 7.5187 | 3.2755 | 6.496 | 10.2715 | 8.2857 | 15.517 | 26.46 | 972.178 | 49.0689 | 14.2436
2019-01-19 10:00:00 | 7.4993 | 11.2474 | 6.7517 | 5.4469 | 4.962 | 7.5389 | 6.496 | 16.5905 | 26.46 | 972.178 | 48.7272 | 11.7644
2019-01-19 10:15:00 | 6.9887 | 5.1235 | 6.2403 | 6.5935 | 4.7063 | 22.7631 | 6.7517 | 19.7866 | 26.46 | 972.326 | 47.8387 | 7.5633
2019-01-19 10:30:00 | 5.9673 | 9.5639 | 5.2177 | 1.714 | 4.195 | 17.6396 | 4.4507 | 17.5908 | 26.46 | 972.475 | 47.5654 | 4.5447
2019-01-19 10:45:00 | 4.6907 | 2.0494 | 4.7063 | 7.8987 | 3.9393 | 356.915 | 4.7063 | 1.7322 | 26.46 | 972.475 | 47.4287 | 4.419
2019-01-19 11:00:00 | 4.6907 | 356.957 | 4.195 | 2.5803 | 4.195 | 11.418 | 3.9393 | 16.0046 | 26.46 | 972.471 | 47.8379 | 4.1308
2019-01-19 11:15:00 | 2.1373 | 329.982 | 2.1497 | 12.608 | 2.1497 | 35.9111 | 0.37567 | 336.325 | 26.46 | 972.771 | 48.2455 | 4.6666
2019-01-19 11:30:00 | 3.1587 | 2.2444 | 2.9167 | 17.7163 | 3.9393 | 39.2777 | 2.9167 | 345.131 | 26.46 | 972.599 | 47.4937 | 4.068
2019-01-19 11:45:00 | 4.946 | 332.175 | 1.6383 | 21.8635 | 3.1723 | 345.569 | 4.195 | 0.6343 | 26.46 | 972.474 | 46.3318 | 4.8772
2019-01-19 12:00:00 | 2.648 | 11.7101 | 5.9847 | 12.9101 | 3.6837 | 50.8656 | 2.4053 | 4.1717 | 26.46 | 972.326 | 45.6485 | 4.3008
2019-01-19 12:15:00 | 4.18 | 28.2467 | 3.6837 | 10.6372 | 3.6837 | 14.5868 | 4.195 | 356.743 | 26.46 | 972.323 | 41.0644 | 4.9659
2019-01-19 12:30:00 | 2.648 | 5.951 | 2.1497 | 331.672 | 2.661 | 327.307 | 2.9167 | 0.19512 | 26.46 | 972.181 | 38.1214 | 5.0582
2019-01-19 12:45:00 | 3.1587 | 353.427 | 1.3827 | 10.6832 | 1.6383 | 8.8534 | 2.1497 | 6.1461 | 26.46 | 972.177 | 36.2767 | 7.205
2019-01-19 13:00:00 | 4.4353 | 333.818 | 5.2177 | 7.6088 | 2.661 | 15.5848 | 4.195 | 328.282 | 26.46 | 972.029 | 36.0034 | 11.5021
2019-01-19 13:15:00 | 5.2013 | 35.4378 | 4.962 | 29.7544 | 1.894 | 101.509 | 4.962 | 38.6328 | 26.46 | 972.177 | 34.7737 | 14.6057
2019-01-19 13:30:00 | 2.9033 | 2.0243 | 4.7063 | 40.0711 | 3.428 | 22.1456 | 2.661 | 336.086 | 26.46 | 971.88 | 34.9103 | 21.4818
2019-01-19 13:45:00 | 5.712 | 21.0237 | 4.195 | 4.7553 | 5.2177 | 327.55 | 4.4507 | 7.9022 | 26.46 | 971.88 | 36.4817 | 24.4414
2019-01-19 14:00:00 | 6.7333 | 14.2678 | 3.428 | 19.8279 | 3.428 | 333.745 | 3.6837 | 355.061 | 26.46 | 971.88 | 37.6431 | 26.0597
2019-01-19 14:15:00 | 3.9247 | 80.2412 | 4.195 | 15.4636 | 5.9847 | 281.649 | 3.9393 | 311.185 | 26.46 | 971.583 | 40.2391 | 28.3727
2019-01-19 14:30:00 | 4.4353 | 31.3648 | 5.2177 | 32.8519 | 4.4507 | 285.259 | 4.7063 | 5.4876 | 26.46 | 971.88 | 38.5312 | 26.6124
2019-01-19 14:45:00 | 7.244 | 5.5608 | 4.962 | 3.2445 | 4.4507 | 290.137 | 7.0073 | 2.2194 | 26.46 | 972.177 | 39.6926 | 33.4811
2019-01-19 15:00:00 | 5.4567 | 22.7309 | 5.4733 | 29.2666 | 4.195 | 292.405 | 4.4507 | 331.135 | 26.46 | 971.88 | 40.2391 | 36.9817
2019-01-19 15:15:00 | 6.2227 | 351.134 | 7.263 | 6.2674 | 6.496 | 294.551 | 5.4733 | 350.598 | 26.46 | 972.177 | 40.5807 | 40.0025
2019-01-19 15:30:00 | 5.2013 | 21.3651 | 6.7517 | 16.828 | 5.9847 | 300.843 | 4.962 | 10.0484 | 26.46 | 971.88 | 40.7174 | 41.2506
2019-01-19 15:45:00 | 6.7333 | 320.526 | 5.2177 | 10.0478 | 5.729 | 306.038 | 5.9847 | 344.94 | 26.46 | 971.88 | 42.1179 | 33.5603
2019-01-19 16:00:00 | 4.4353 | 72.8268 | 3.1723 | 16.9744 | 2.1497 | 306.965 | 3.6837 | 346.5 | 26.46 | 971.88 | 44.7481 | 25.7087
2019-01-19 16:15:00 | 3.1587 | 37.566 | 3.6837 | 331.023 | 2.9167 | 306.968 | 3.428 | 308.334 | 26.46 | 971.997 | 45.0289 | 22.472
2019-01-19 16:30:00 | 5.4567 | 10.295 | 3.1723 | 2.8345 | 3.6837 | 310.217 | 4.7063 | 349.397 | 26.46 | 972.152 | 48.7574 | 17.1884
2019-01-19 16:45:00 | 3.9247 | 22.7374 | 4.4507 | 9.0805 | 2.9167 | 310.517 | 4.4507 | 29.3489 | 26.46 | 972.177 | 50.467 | 17.085
2019-01-19 17:00:00 | 2.3927 | 23.1034 | 3.1723 | 6.0798 | 1.894 | 311.25 | 2.9167 | 330.328 | 26.46 | 972.177 | 52.0047 | 17.5764
2019-01-19 17:15:00 | 3.9247 | 340.348 | 4.962 | 17.8286 | 3.1723 | 312.291 | 4.7063 | 337.518 | 26.46 | 972.326 | 59.6617 | 18.6072
2019-01-19 17:30:00 | 4.18 | 323.441 | 6.7517 | 334.475 | 3.9393 | 312.511 | 4.195 | 332.102 | 26.46 | 972.177 | 66.0174 | 17.218
2019-01-19 17:45:00 | 5.9673 | 349.083 | 2.661 | 16.072 | 3.9393 | 313.584 | 5.729 | 332.395 | 26.46 | 972.474 | 70.4596 | 16.346
2019-01-19 18:00:00 | 5.712 | 27.9842 | 4.4507 | 9.1553 | 2.1497 | 314.365 | 4.4507 | 1.7322 | 26.46 | 972.326 | 72.6465 | 20.1591
2019-01-19 18:15:00 | 5.4567 | 340.783 | 5.729 | 0.94427 | 4.7063 | 317.774 | 5.729 | 356.642 | 26.46 | 972.474 | 74.8377 | 22.9709
2019-01-19 18:30:00 | 7.4993 | 351.046 | 5.729 | 1.1386 | 7.5187 | 321.131 | 7.263 | 4.0016 | 26.46 | 972.49 | 75.832 | 27.1091
2019-01-19 18:45:00 | 6.2227 | 356.95 | 6.2403 | 10.8005 | 5.9847 | 322.08 | 8.03 | 0.19521 | 26.46 | 972.475 | 77.0332 | 26.5807
2019-01-19 19:00:00 | 9.542 | 331.8 | 5.2177 | 5.6758 | 7.0073 | 322.625 | 8.797 | 330.848 | 26.46 | 972.636 | 77.5137 | 29.9467
2019-01-19 19:15:00 | 8.776 | 342.018 | 7.0073 | 6.578 | 3.428 | 324.276 | 8.797 | 354.049 | 26.46 | 972.861 | 76.2188 | 34.266
2019-01-19 19:30:00 | 8.5207 | 340.605 | 7.263 | 5.0646 | 7.0073 | 329.403 | 8.2857 | 351.295 | 26.46 | 972.995 | 75.5755 | 35.3069
2019-01-19 19:45:00 | 7.244 | 348.031 | 7.5187 | 18.4136 | 7.0073 | 332.216 | 9.3083 | 356.817 | 26.46 | 973.218 | 74.2437 | 36.6381
2019-01-19 20:00:00 | 5.9673 | 352.204 | 8.2857 | 4.5265 | 5.4733 | 332.899 | 9.3083 | 23.0882 | 26.46 | 973.218 | 70.4837 | 35.8622
2019-01-19 20:15:00 | 7.4993 | 352.666 | 5.9847 | 14.0938 | 7.0073 | 336.827 | 8.2857 | 354.985 | 26.46 | 973.069 | 67.7487 | 31.4727
2019-01-19 20:30:00 | 6.9887 | 0.097624 | 6.2403 | 2.9158 | 7.0073 | 340.512 | 6.496 | 6.37 | 26.46 | 973.367 | 66.9969 | 26.1595
2019-01-19 20:45:00 | 4.6907 | 6.492 | 6.7517 | 0.62314 | 6.2403 | 344.858 | 4.962 | 5.8331 | 26.46 | 973.515 | 66.3818 | 22.1395
2019-01-19 21:00:00 | 6.7333 | 10.5434 | 5.9847 | 7.7741 | 2.9167 | 355.743 | 6.2403 | 16.2056 | 26.46 | 973.664 | 66.9287 | 15.7179
2019-01-19 21:15:00 | 6.478 | 14.9853 | 5.9847 | 0.27989 | 4.962 | 7.3706 | 5.9847 | 17.9385 | 26.46 | 973.664 | 66.0742 | 12.7066
2019-01-19 21:30:00 | 7.244 | 12.5691 | 6.2403 | 0.11061 | 3.9393 | 19.2808 | 6.7517 | 18.2557 | 26.46 | 973.664 | 65.9033 | 10.9404
2019-01-19 21:45:00 | 6.478 | 9.6404 | 4.962 | 2.0859 | 2.1497 | 0.82981 | 5.729 | 16.5961 | 26.46 | 974.11 | 65.7665 | 10.6375
2019-01-19 22:00:00 | 6.2227 | 7.6396 | 5.729 | 9.289 | 3.428 | 0.048815 | 6.2403 | 17.8175 | 26.46 | 974.259 | 65.7705 | 10.9367
2019-01-19 22:15:00 | 5.4567 | 8.7385 | 4.7063 | 1.9928 | 3.6837 | 354.326 | 4.962 | 14.6456 | 26.46 | 974.407 | 66.1171 | 8.9785
2019-01-19 22:30:00 | 5.712 | 2.7828 | 4.195 | 12.7746 | 4.962 | 355.072 | 5.4733 | 7.201 | 26.46 | 974.705 | 66.8034 | 10.5931
2019-01-19 22:45:00 | 6.2227 | 7.9089 | 4.7063 | 12.8722 | 3.6837 | 171.482 | 5.9847 | 14.2068 | 26.46 | 974.854 | 67.1111 | 10.6818
2019-01-19 23:00:00 | 5.712 | 8.8853 | 3.1723 | 9.39 | 1.894 | 20.5778 | 5.2177 | 20.2849 | 26.46 | 974.854 | 66.8718 | 8.79
2019-01-19 23:15:00 | 5.9673 | 20.7731 | 5.2177 | 7.0466 | 2.9167 | 14.4509 | 5.729 | 27.9741 | 26.46 | 974.854 | 67.1453 | 8.4834
2019-01-19 23:30:00 | 6.7333 | 22.8724 | 5.729 | 10.2687 | 4.195 | 10.472 | 6.496 | 30.586 | 26.46 | 974.854 | 65.3333 | 8.9637
2019-01-19 23:45:00 | 6.478 | 25.8749 | 5.4733 | 15.1019 | 3.428 | 19.9676 | 6.496 | 28.7065 | 26.46 | 975.151 | 63.1111 | 6.2406