## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-20 00:00:00 | 6.7333 | 23.7268 | 5.2177 | 10.8546 | 3.1723 | 20.4558 | 5.9847 | 27.1442 | 26.46 | 975.151 | 61.9487 | 5.073
2019-01-20 00:15:00 | 6.2227 | 23.3606 | 5.2177 | 4.8008 | 4.4507 | 19.3817 | 5.9847 | 28.3403 | 26.46 | 975.448 | 60.8547 | 4.855
2019-01-20 00:30:00 | 6.9887 | 29.6097 | 5.9847 | 19.8864 | 3.428 | 22.4086 | 6.2403 | 32.4413 | 26.46 | 975.448 | 55.5898 | 7.3823
2019-01-20 00:45:00 | 6.478 | 31.953 | 5.4733 | 25.0125 | 3.428 | 23.3362 | 5.9847 | 30.7569 | 26.46 | 975.746 | 50.3932 | 6.6951
2019-01-20 01:00:00 | 6.9887 | 30.464 | 5.9847 | 25.4031 | 4.4507 | 33.5885 | 6.2403 | 29.927 | 26.46 | 975.448 | 46.1539 | 10.6781
2019-01-20 01:15:00 | 6.2227 | 26.9977 | 5.4733 | 17.4453 | 4.962 | 31.6357 | 5.4733 | 34.5649 | 26.46 | 975.448 | 38.6325 | 9.5807
2019-01-20 01:30:00 | 6.9887 | 21.0172 | 5.9847 | 13.2224 | 2.4053 | 22.7992 | 6.2403 | 18.9424 | 26.46 | 975.746 | 36.8547 | 7.5449
2019-01-20 01:45:00 | 7.4993 | 9.227 | 4.962 | 7.8274 | 3.6837 | 15.9641 | 7.0073 | 9.2758 | 26.46 | 976.043 | 35.5552 | 4.5705
2019-01-20 02:00:00 | 7.244 | 7.8845 | 5.2177 | 0.76472 | 4.195 | 19.04 | 7.0073 | 13.4989 | 26.46 | 976.34 | 34.5299 | 4.8883
2019-01-20 02:15:00 | 7.4993 | 9.5685 | 4.962 | 3.6945 | 3.428 | 20.211 | 7.0073 | 15.622 | 26.46 | 976.192 | 38.2893 | 6.7837
2019-01-20 02:30:00 | 6.7333 | 11.9609 | 5.729 | 2.3595 | 4.195 | 12.3026 | 6.2403 | 11.4727 | 26.46 | 976.043 | 45.2644 | 8.6607
2019-01-20 02:45:00 | 6.9887 | 11.1311 | 5.9847 | 4.9717 | 3.9393 | 14.5973 | 6.496 | 12.4492 | 26.46 | 976.043 | 46.6325 | 10.5008
2019-01-20 03:00:00 | 6.9887 | 3.271 | 5.729 | 1.3101 | 4.4507 | 15.4273 | 6.7517 | 8.69 | 26.46 | 975.894 | 49.7778 | 11.4208
2019-01-20 03:15:00 | 5.9673 | 4.5891 | 5.2177 | 3.8732 | 4.4507 | 8.8609 | 5.2177 | 5.4435 | 26.46 | 976.043 | 45.8803 | 10.2015
2019-01-20 03:30:00 | 5.9673 | 7.3719 | 4.962 | 2.7175 | 4.4507 | 21.1149 | 5.9847 | 13.0839 | 26.46 | 976.043 | 54.1538 | 11.4503
2019-01-20 03:45:00 | 5.4567 | 354.682 | 5.2177 | 4.8253 | 3.9393 | 3.0757 | 7.263 | 356.732 | 26.46 | 976.192 | 48.889 | 14.0219
2019-01-20 04:00:00 | 4.6907 | 349.799 | 4.7063 | 14.9227 | 3.6837 | 0.53703 | 5.4733 | 355.12 | 26.46 | 976.192 | 50.7351 | 10.8518
2019-01-20 04:15:00 | 4.946 | 350.19 | 4.962 | 15.5573 | 3.9393 | 4.9797 | 7.0073 | 356.78 | 26.46 | 976.34 | 55.5556 | 12.4036
2019-01-20 04:30:00 | 6.7333 | 286.088 | 6.2403 | 9.1618 | 5.729 | 7.4451 | 8.03 | 71.6197 | 26.46 | 976.34 | 55.5214 | 14.3508
2019-01-20 04:45:00 | 5.9673 | 8.69 | 5.4733 | 12.5061 | 4.4507 | 0.92759 | 5.4733 | 3.0513 | 26.46 | 976.043 | 54.6667 | 13.6931
2019-01-20 05:00:00 | 4.946 | 5.5167 | 6.2403 | 3.2387 | 3.6837 | 11.1799 | 4.7063 | 4.5159 | 26.46 | 976.192 | 63.1798 | 12.5477
2019-01-20 05:15:00 | 5.9673 | 61.6359 | 3.9393 | 0.081226 | 3.6837 | 7.3231 | 4.7063 | 1.8308 | 26.46 | 976.638 | 58.6667 | 9.832
2019-01-20 05:30:00 | 4.4353 | 3.6127 | 3.9393 | 1.3506 | 3.6837 | 7.1766 | 4.7063 | 10.1547 | 26.46 | 976.638 | 60.4103 | 9.1595
2019-01-20 05:45:00 | 5.9673 | 2.5143 | 3.9393 | 4.5727 | 3.428 | 24.8496 | 4.962 | 353.143 | 26.46 | 976.638 | 55.1111 | 5.8489
2019-01-20 06:00:00 | 4.6907 | 0.097641 | 3.1723 | 12.4572 | 2.4053 | 4.0521 | 5.2177 | 12.791 | 26.46 | 977.233 | 55.1111 | 4.1752
2019-01-20 06:15:00 | 3.9247 | 354.73 | 4.962 | 15.4597 | 4.4507 | 7.5184 | 4.962 | 353.729 | 26.46 | 977.53 | 58.3932 | 4.6223
2019-01-20 06:30:00 | 5.2013 | 355.12 | 4.195 | 14.2392 | 3.9393 | 0.048821 | 4.962 | 355.902 | 26.46 | 977.53 | 62.6325 | 6.6322
2019-01-20 06:45:00 | 6.478 | 345.356 | 5.4733 | 17.5918 | 3.1723 | 14.1335 | 5.9847 | 343.159 | 26.46 | 977.53 | 67.8291 | 8.2284
2019-01-20 07:00:00 | 7.244 | 337.545 | 4.4507 | 5.3294 | 4.962 | 12.4492 | 6.7517 | 341.06 | 26.46 | 977.53 | 69.7094 | 9.1373
2019-01-20 07:15:00 | 6.478 | 338.769 | 3.1723 | 4.3773 | 3.428 | 23.1412 | 5.9847 | 340.234 | 26.46 | 977.847 | 70.9067 | 8.5979
2019-01-20 07:30:00 | 6.478 | 340.509 | 4.7063 | 334.595 | 2.4053 | 0.92768 | 5.9847 | 342.486 | 26.46 | 978.008 | 66.5366 | 8.2728
2019-01-20 07:45:00 | 6.7333 | 348.205 | 4.4507 | 14.1897 | 3.1723 | 10.4488 | 6.7517 | 347.301 | 26.46 | 977.829 | 71.9401 | 13.2128
2019-01-20 08:00:00 | 7.244 | 346.528 | 4.7063 | 9.8453 | 3.428 | 6.1514 | 7.0073 | 349.189 | 26.46 | 977.98 | 66.5983 | 13.1426
2019-01-20 08:15:00 | 5.9673 | 347.675 | 4.195 | 1.8228 | 3.9393 | 12.9863 | 6.2403 | 346.504 | 26.46 | 978.422 | 63.7265 | 13.9591
2019-01-20 08:30:00 | 4.18 | 13.9137 | 5.2177 | 26.8671 | 4.7063 | 29.3896 | 4.962 | 0.19528 | 26.46 | 978.422 | 62.6316 | 14.1291
2019-01-20 08:45:00 | 5.4567 | 10.0065 | 4.4507 | 0.50121 | 4.4507 | 23.2591 | 5.4733 | 10.275 | 26.46 | 978.571 | 57.7682 | 12.4553
2019-01-20 09:00:00 | 9.2867 | 1.2447 | 5.4733 | 0.4279 | 4.962 | 20.0618 | 7.263 | 21.4041 | 26.46 | 979.017 | 47.7184 | 15.8176
2019-01-20 09:15:00 | 8.01 | 8.176 | 7.5187 | 7.0175 | 8.5413 | 58.2572 | 7.5187 | 21.3553 | 26.46 | 979.315 | 43.9582 | 13.1241
2019-01-20 09:30:00 | 7.4993 | 19.5248 | 7.5187 | 4.5769 | 3.9393 | 70.8019 | 7.0073 | 24.6989 | 26.46 | 979.597 | 39.788 | 10.667
2019-01-20 09:45:00 | 8.01 | 14.0805 | 7.0073 | 6.0868 | 4.962 | 22.524 | 7.7743 | 20.7182 | 26.46 | 979.984 | 41.7654 | 10.1719
2019-01-20 10:00:00 | 6.9887 | 11.882 | 6.496 | 7.2042 | 7.263 | 13.9559 | 6.7517 | 19.4943 | 26.46 | 980.501 | 41.6207 | 7.1237
2019-01-20 10:15:00 | 6.7333 | 23.1291 | 5.729 | 7.2279 | 3.428 | 9.0028 | 6.496 | 25.5932 | 26.46 | 980.501 | 38.7494 | 4.8033
2019-01-20 10:30:00 | 6.7333 | 13.3212 | 5.729 | 18.0117 | 5.2177 | 8.5148 | 5.9847 | 30.2532 | 26.46 | 981.096 | 37.1775 | 4.4523
2019-01-20 10:45:00 | 6.2227 | 34.4959 | 5.729 | 24.0591 | 4.962 | 32.1295 | 5.2177 | 29.1288 | 26.46 | 980.943 | 36.4231 | 5.6457
2019-01-20 11:00:00 | 7.244 | 356.918 | 4.962 | 5.7137 | 5.9847 | 24.2499 | 6.2403 | 343.402 | 26.46 | 981.392 | 36.7653 | 14.7942
2019-01-20 11:15:00 | 3.6693 | 16.1462 | 4.962 | 23.3654 | 3.6837 | 33.4874 | 3.428 | 9.9023 | 26.46 | 981.446 | 38.6687 | 12.1228
2019-01-20 11:30:00 | 4.18 | 43.1205 | 2.9167 | 19.706 | 2.1497 | 35.1208 | 3.428 | 0.19512 | 26.46 | 981.39 | 38.5995 | 12.9283
2019-01-20 11:45:00 | 2.648 | 327.33 | 1.894 | 323.915 | 1.3827 | 37.9743 | 2.4053 | 331.208 | 26.46 | 981.39 | 33.6806 | 13.9074
2019-01-20 12:00:00 | 4.18 | 351.549 | 3.6837 | 3.8529 | 3.9393 | 59.0224 | 4.195 | 350.647 | 26.46 | 981.39 | 28.8301 | 13.8557
2019-01-20 12:15:00 | 4.6907 | 20.7066 | 7.0073 | 25.7058 | 4.7063 | 25.5113 | 4.195 | 341.549 | 26.46 | 981.39 | 28.0103 | 12.1745
2019-01-20 12:30:00 | 6.7333 | 11.8532 | 4.7063 | 13.8037 | 1.6383 | 43.9985 | 6.2403 | 16.5848 | 26.46 | 981.39 | 24.7993 | 10.5118
2019-01-20 12:45:00 | 6.478 | 2.7558 | 6.7517 | 13.0695 | 4.7063 | 31.0697 | 5.9847 | 26.7531 | 26.46 | 981.092 | 23.9094 | 11.975
2019-01-20 13:00:00 | 3.1587 | 14.5832 | 3.6837 | 29.3585 | 3.1723 | 40.3842 | 2.4053 | 21.2651 | 26.46 | 981.39 | 23.157 | 8.4871
2019-01-20 13:15:00 | 4.18 | 9.2407 | 4.962 | 23.7407 | 2.4053 | 44.0821 | 3.6837 | 7.3145 | 26.46 | 981.39 | 21.3083 | 11.4208
2019-01-20 13:30:00 | 3.9247 | 6.0709 | 4.4507 | 1.2847 | 2.661 | 67.5112 | 3.1723 | 352.794 | 26.46 | 981.39 | 22.264 | 8.3504
2019-01-20 13:45:00 | 4.946 | 28.916 | 5.2177 | 18.449 | 3.1723 | 35.889 | 4.7063 | 7.0949 | 26.46 | 981.092 | 23.8347 | 6.6064
2019-01-20 14:00:00 | 5.4567 | 337.581 | 5.729 | 336.183 | 4.962 | 25.7464 | 4.962 | 346.406 | 26.46 | 981.374 | 23.3567 | 3.6431
2019-01-20 14:15:00 | 4.946 | 24.2348 | 3.6837 | 328.235 | 1.127 | 39.985 | 4.195 | 24.1373 | 26.46 | 981.351 | 22.8786 | 4.6703
2019-01-20 14:30:00 | 3.1587 | 2.4625 | 4.4507 | 6.0878 | 2.4053 | 32.5244 | 3.6837 | 351.746 | 26.46 | 981.287 | 22.1957 | 5.4684
2019-01-20 14:45:00 | 2.648 | 346.797 | 2.9167 | 314.947 | 4.7063 | 22.9914 | 3.428 | 3.4865 | 26.46 | 981.058 | 22.742 | 6.2702
2019-01-20 15:00:00 | 3.1587 | 19.578 | 2.9167 | 13.3533 | 2.4053 | 44.2517 | 2.9167 | 16.823 | 26.46 | 980.795 | 22.4006 | 4.9622
2019-01-20 15:15:00 | 2.9033 | 4.0473 | 2.661 | 5.8102 | 3.9393 | 32.7194 | 2.4053 | 3.5109 | 26.46 | 981.092 | 22.1615 | 5.9154
2019-01-20 15:30:00 | 3.414 | 329.317 | 2.661 | 19.6587 | 2.661 | 23.2109 | 2.9167 | 318.858 | 26.46 | 980.795 | 22.1275 | 3.7651
2019-01-20 15:45:00 | 2.3927 | 330.039 | 1.6383 | 321.84 | 2.4053 | 19.8472 | 1.894 | 325.456 | 26.46 | 981.092 | 21.8553 | 3.3919
2019-01-20 16:00:00 | 4.18 | 327.705 | 4.962 | 313.753 | 3.428 | 10.73 | 5.2177 | 329.583 | 26.46 | 980.498 | 21.5175 | 3.3882
2019-01-20 16:15:00 | 1.6267 | 312.474 | 2.4053 | 300.523 | 1.894 | 11.1215 | 2.1497 | 303.987 | 26.46 | 980.201 | 21.7248 | 1.9693
2019-01-20 16:30:00 | 2.1373 | 310.038 | 1.007 | 299.062 | 0.75133 | 10.7801 | 2.4053 | 309.355 | 26.46 | 980.201 | 21.725 | 1.6664
2019-01-20 16:45:00 | 2.9033 | 312.526 | 2.9167 | 308.525 | 2.9167 | 10.6338 | 3.1723 | 322.135 | 26.46 | 979.606 | 22.1691 | 0.76114
2019-01-20 17:00:00 | 2.9033 | 337.596 | 3.428 | 330.938 | 2.4053 | 10.6345 | 2.9167 | 324.547 | 26.46 | 979.042 | 22.6829 | 0.72789
2019-01-20 17:15:00 | 2.3927 | 341.292 | 3.6837 | 336.856 | 3.428 | 10.6852 | 2.1497 | 317.482 | 26.46 | 979.31 | 22.9604 | 1.1897
2019-01-20 17:30:00 | 2.1373 | 339.909 | 3.9393 | 333.767 | 3.6837 | 10.5886 | 2.9167 | 0.19518 | 26.46 | 979.014 | 22.4842 | 0.66138
2019-01-20 17:45:00 | 1.6267 | 346.373 | 3.1723 | 333.497 | 2.1497 | 10.6869 | 1.894 | 327.732 | 26.46 | 978.717 | 22.759 | 0.6466
2019-01-20 18:00:00 | 3.414 | 347.028 | 3.428 | 336.887 | 2.9167 | 10.7378 | 3.1723 | 343.758 | 26.46 | 978.813 | 22.6952 | -0.073897
2019-01-20 18:15:00 | 2.1373 | 348.86 | 2.661 | 336.914 | 2.1497 | 10.8363 | 2.1497 | 348.055 | 26.46 | 979.289 | 22.6286 | -0.32884
2019-01-20 18:30:00 | 0.744 | 355.108 | 1.894 | 15.7045 | 1.3827 | 10.8363 | 1.6383 | 356.622 | 26.46 | 979.314 | 22.697 | -0.29928
2019-01-20 18:45:00 | 0 | 0.097624 | 1.3827 | 6.9673 | 0.37567 | 10.8363 | 0.37567 | 1.6596 | 26.46 | 979.017 | 22.7653 | -0.25125
2019-01-20 19:00:00 | 0.372 | 0.097624 | 1.127 | 7.5529 | 0.75133 | 10.8363 | 0.75133 | 335.34 | 26.46 | 979.165 | 22.9704 | -0.2882
2019-01-20 19:15:00 | 1.3713 | 85.6409 | 1.6383 | 332.521 | 1.3827 | 10.8119 | 1.3827 | 323.527 | 26.46 | 979.314 | 23.1072 | -0.25125
2019-01-20 19:30:00 | 1.882 | 85.5921 | 1.894 | 318.024 | 1.3827 | 10.7875 | 1.6383 | 321.965 | 26.46 | 979.017 | 23.3123 | -0.26233
2019-01-20 19:45:00 | 2.1373 | 348.47 | 2.661 | 327.933 | 2.4053 | 10.7387 | 2.1497 | 323.722 | 26.46 | 979.017 | 23.3123 | -0.31406
2019-01-20 20:00:00 | 1.6267 | 348.031 | 2.4053 | 336.817 | 1.6383 | 10.8363 | 1.894 | 321.306 | 26.46 | 979.017 | 23.5173 | -0.28081
2019-01-20 20:15:00 | 1.6267 | 348.08 | 2.1497 | 336.817 | 1.6383 | 10.8363 | 1.894 | 327.774 | 26.46 | 979.017 | 23.7908 | -0.26972
2019-01-20 20:30:00 | 0 | 348.226 | 0 | 336.841 | 0 | 10.8851 | 0 | 327.774 | 26.46 | 978.719 | 23.9959 | -0.31776
2019-01-20 20:45:00 | 1.882 | 269.272 | 1.6383 | 197.946 | 1.3827 | 10.9339 | 2.1497 | 214.92 | 26.46 | 978.571 | 24.201 | -0.29928
2019-01-20 21:00:00 | 2.3927 | 200.785 | 2.661 | 176.391 | 2.1497 | 106.177 | 2.661 | 194.048 | 26.46 | 978.422 | 23.93 | -0.26972
2019-01-20 21:15:00 | 2.9033 | 199.325 | 2.661 | 182.059 | 2.1497 | 106.302 | 2.9167 | 212.335 | 26.46 | 978.719 | 23.657 | -0.26233
2019-01-20 21:30:00 | 3.1587 | 189.345 | 3.1723 | 178.327 | 2.4053 | 106.363 | 3.1723 | 198.449 | 26.46 | 978.719 | 23.6544 | -0.26233
2019-01-20 21:45:00 | 3.414 | 198.446 | 3.1723 | 188.77 | 2.661 | 107.338 | 3.428 | 206.573 | 26.46 | 978.422 | 24.1326 | -0.2143
2019-01-20 22:00:00 | 3.6693 | 201.594 | 3.428 | 176.567 | 2.661 | 107.631 | 3.9393 | 207.012 | 26.46 | 978.422 | 24.4061 | -0.088676
2019-01-20 22:15:00 | 4.18 | 197.836 | 3.6837 | 178.129 | 2.9167 | 108.168 | 4.195 | 205.646 | 26.46 | 978.125 | 24.953 | 0.1404
2019-01-20 22:30:00 | 4.4353 | 198.129 | 4.4507 | 184.474 | 3.1723 | 110.755 | 4.4507 | 205.304 | 26.46 | 978.273 | 24.8505 | 2.0654
2019-01-20 22:45:00 | 4.6907 | 203.571 | 4.4507 | 191.918 | 3.9393 | 111.145 | 4.4507 | 208.77 | 26.46 | 978.422 | 25.0214 | 3.0409
2019-01-20 23:00:00 | 4.946 | 206.427 | 4.962 | 193.553 | 4.4507 | 111.487 | 4.962 | 214.7 | 26.46 | 978.422 | 27.209 | 3.7724
2019-01-20 23:15:00 | 4.946 | 206.206 | 5.2177 | 193.747 | 3.9393 | 111.437 | 4.962 | 215.138 | 26.46 | 978.422 | 26.867 | 4.4006
2019-01-20 23:30:00 | 5.4567 | 202.766 | 4.962 | 189.965 | 4.7063 | 111.755 | 5.2177 | 210.429 | 26.46 | 978.719 | 26.1493 | 7.689
2019-01-20 23:45:00 | 5.9673 | 201.448 | 5.729 | 186.622 | 4.962 | 112.414 | 5.729 | 208.574 | 26.46 | 978.422 | 27.2774 | 9.1115