## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-21 00:00:00 | 6.2227 | 201.838 | 5.9847 | 186.915 | 5.4733 | 113.806 | 5.9847 | 208.989 | 26.46 | 978.422 | 28.0978 | 8.7346
2019-01-21 00:15:00 | 5.9673 | 212.675 | 4.4507 | 195.701 | 4.195 | 113.928 | 5.9847 | 225.927 | 26.46 | 978.125 | 29.0549 | 7.1717
2019-01-21 00:30:00 | 5.9673 | 223.218 | 4.7063 | 206.098 | 3.9393 | 114.562 | 5.9847 | 225.829 | 26.46 | 977.827 | 29.3967 | 8.3577
2019-01-21 00:45:00 | 6.478 | 225.756 | 4.962 | 206.562 | 4.7063 | 115.148 | 6.2403 | 227.05 | 26.46 | 977.678 | 30.2854 | 9.8431
2019-01-21 01:00:00 | 6.478 | 212.528 | 4.4507 | 206.537 | 4.195 | 115.734 | 5.9847 | 220.265 | 26.46 | 977.232 | 31.9945 | 8.9674
2019-01-21 01:15:00 | 6.7333 | 223.999 | 4.962 | 208.88 | 4.4507 | 116.027 | 6.7517 | 231.809 | 26.46 | 976.935 | 32.1996 | 8.9378
2019-01-21 01:30:00 | 6.478 | 222.559 | 4.7063 | 223.377 | 3.428 | 117.344 | 5.729 | 234.542 | 26.46 | 976.935 | 31.5843 | 9.4699
2019-01-21 01:45:00 | 5.712 | 213.553 | 3.6837 | 194.627 | 3.428 | 118.174 | 5.2177 | 222.095 | 26.46 | 976.638 | 31.7211 | 8.8824
2019-01-21 02:00:00 | 5.712 | 208.721 | 3.428 | 190.82 | 3.1723 | 118.345 | 5.729 | 221.802 | 26.46 | 976.638 | 31.6527 | 8.9194
2019-01-21 02:15:00 | 7.244 | 206.134 | 6.2403 | 197.141 | 4.7063 | 119.004 | 7.0073 | 220.582 | 26.46 | 976.638 | 32.4731 | 11.9787
2019-01-21 02:30:00 | 6.7333 | 224.17 | 5.2177 | 209.124 | 5.4733 | 120.176 | 6.7517 | 213.944 | 26.46 | 976.34 | 33.2251 | 16.6711
2019-01-21 02:45:00 | 7.4993 | 208.404 | 6.2403 | 190.942 | 5.729 | 122.348 | 7.7743 | 218.044 | 26.46 | 976.043 | 33.8404 | 17.8092
2019-01-21 03:00:00 | 7.244 | 212.064 | 7.0073 | 203.633 | 6.2403 | 123.592 | 7.263 | 211.65 | 26.46 | 975.746 | 34.6607 | 17.0997
2019-01-21 03:15:00 | 7.7547 | 210.795 | 5.9847 | 199.045 | 4.962 | 123.641 | 7.0073 | 217.458 | 26.46 | 975.448 | 36.028 | 17.1441
2019-01-21 03:30:00 | 5.712 | 201.448 | 5.2177 | 198.386 | 4.7063 | 123.983 | 5.9847 | 218.02 | 26.46 | 975.151 | 36.5749 | 14.3323
2019-01-21 03:45:00 | 6.478 | 197.543 | 6.2403 | 201.07 | 4.962 | 124.251 | 6.496 | 208.843 | 26.46 | 974.854 | 36.8484 | 17.048
2019-01-21 04:00:00 | 6.9887 | 209.599 | 5.9847 | 205.781 | 5.729 | 124.471 | 7.0073 | 211.186 | 26.46 | 974.854 | 36.0964 | 20.0371
2019-01-21 04:15:00 | 5.9673 | 207.647 | 5.9847 | 187.989 | 4.962 | 124.715 | 6.2403 | 207.086 | 26.46 | 974.854 | 35.9597 | 22.1432
2019-01-21 04:30:00 | 7.244 | 202.961 | 5.4733 | 192.284 | 5.4733 | 124.91 | 7.0073 | 206.646 | 26.46 | 974.556 | 36.78 | 20.7318
2019-01-21 04:45:00 | 6.7333 | 203.205 | 5.9847 | 191.137 | 4.7063 | 125.106 | 6.7517 | 212.357 | 26.46 | 974.259 | 36.8142 | 18.5223
2019-01-21 05:00:00 | 6.2227 | 196.811 | 5.4733 | 182.034 | 5.2177 | 125.301 | 5.729 | 212.699 | 26.46 | 974.259 | 36.7458 | 16.8189
2019-01-21 05:15:00 | 6.2227 | 195.566 | 5.4733 | 180.447 | 5.4733 | 125.545 | 5.9847 | 212.479 | 26.46 | 973.961 | 37.7371 | 16.5012
2019-01-21 05:30:00 | 6.478 | 193.052 | 6.2403 | 175.908 | 5.9847 | 125.984 | 6.496 | 198.299 | 26.46 | 973.961 | 38.831 | 18.1491
2019-01-21 05:45:00 | 6.2227 | 198.324 | 5.4733 | 176.42 | 4.962 | 127.619 | 5.9847 | 199.837 | 26.46 | 973.813 | 39.2411 | 18.7698
2019-01-21 06:00:00 | 4.946 | 188.073 | 5.729 | 168.439 | 4.962 | 128.352 | 5.4733 | 192.784 | 26.46 | 973.664 | 39.3095 | 15.6588
2019-01-21 06:15:00 | 4.6907 | 174.552 | 5.9847 | 163.851 | 3.9393 | 128.474 | 4.7063 | 189.708 | 26.46 | 973.664 | 39.3095 | 13.1684
2019-01-21 06:30:00 | 5.712 | 182.509 | 4.962 | 182.253 | 4.962 | 128.791 | 5.2177 | 196.542 | 26.46 | 973.813 | 39.5488 | 13.464
2019-01-21 06:45:00 | 5.712 | 184.022 | 4.7063 | 166.999 | 5.2177 | 129.206 | 5.4733 | 196.542 | 26.46 | 973.664 | 40.4717 | 12.3703
2019-01-21 07:00:00 | 5.4567 | 175.431 | 3.6837 | 177.421 | 3.428 | 129.401 | 5.729 | 193.857 | 26.46 | 973.664 | 40.1299 | 13.6931
2019-01-21 07:15:00 | 5.2013 | 197.079 | 4.7063 | 185.206 | 4.195 | 129.67 | 5.4733 | 206.72 | 26.46 | 973.664 | 40.4033 | 9.577
2019-01-21 07:30:00 | 5.4567 | 199.593 | 4.7063 | 192.26 | 3.6837 | 129.572 | 5.4733 | 209.868 | 26.46 | 973.664 | 40.1641 | 4.3341
2019-01-21 07:45:00 | 4.946 | 199.642 | 3.9393 | 181.204 | 4.7063 | 129.718 | 4.962 | 196.957 | 26.46 | 973.664 | 39.8564 | 4.5003
2019-01-21 08:00:00 | 5.2013 | 200.081 | 4.962 | 174.224 | 4.195 | 129.792 | 4.962 | 197.47 | 26.46 | 973.961 | 39.583 | 8.6607
2019-01-21 08:15:00 | 5.2013 | 170.696 | 5.2177 | 156.651 | 4.4507 | 129.621 | 5.4733 | 183.265 | 26.46 | 974.259 | 41.087 | 12.0526
2019-01-21 08:30:00 | 5.9673 | 159.796 | 4.195 | 142.017 | 4.4507 | 129.56 | 5.729 | 165.629 | 26.46 | 974.048 | 46.2101 | 13.6488
2019-01-21 08:45:00 | 5.712 | 161.81 | 4.4507 | 154.155 | 4.4507 | 129.97 | 6.2403 | 170.569 | 26.46 | 973.961 | 44.1152 | 11.2582
2019-01-21 09:00:00 | 2.648 | 168.515 | 4.7063 | 147.125 | 4.195 | 129.894 | 3.428 | 198.866 | 26.46 | 974.556 | 42.0981 | 7.9365
2019-01-21 09:15:00 | 2.648 | 152.765 | 3.6837 | 130.618 | 3.6837 | 129.979 | 2.661 | 164.377 | 26.46 | 974.853 | 39.6341 | 6.4143
2019-01-21 09:30:00 | 3.6693 | 153.241 | 3.9393 | 138.875 | 3.6837 | 129.9 | 3.6837 | 191.46 | 26.46 | 975.175 | 40.3081 | 7.2123
2019-01-21 09:45:00 | 2.648 | 153.312 | 4.7063 | 145.775 | 4.4507 | 135.654 | 2.9167 | 172.043 | 26.46 | 975.446 | 40.3074 | 6.998
2019-01-21 10:00:00 | 3.9247 | 158.457 | 3.9393 | 145.116 | 4.195 | 135.19 | 4.4507 | 170.798 | 26.46 | 975.743 | 39.5558 | 5.6568
2019-01-21 10:15:00 | 3.414 | 180.894 | 4.195 | 158.261 | 4.195 | 135.445 | 3.6837 | 184.796 | 26.46 | 975.743 | 39.1351 | 5.1913
2019-01-21 10:30:00 | 3.1587 | 149.797 | 4.962 | 144.987 | 4.195 | 135.169 | 2.4053 | 168.108 | 26.46 | 975.98 | 37.2887 | 5.2836
2019-01-21 10:45:00 | 3.6693 | 171.058 | 3.9393 | 154.715 | 4.7063 | 137.851 | 3.6837 | 191.684 | 26.46 | 975.747 | 35.9911 | 3.9572
2019-01-21 11:00:00 | 3.9247 | 157.199 | 3.9393 | 152.168 | 4.7063 | 140.133 | 3.9393 | 175.581 | 26.46 | 975.742 | 35.3059 | 3.7761
2019-01-21 11:15:00 | 3.414 | 188.385 | 3.9393 | 186.765 | 4.7063 | 143.629 | 3.428 | 195.82 | 26.46 | 975.722 | 31.8198 | 2.4497
2019-01-21 11:30:00 | 2.3927 | 177.465 | 3.6837 | 168.483 | 4.962 | 144.239 | 2.1497 | 165.91 | 26.46 | 975.344 | 32.9124 | 2.095
2019-01-21 11:45:00 | 1.882 | 196.195 | 2.4053 | 185.702 | 4.195 | 144.295 | 2.1497 | 153.632 | 26.46 | 975.353 | 33.2553 | 2.6714
2019-01-21 12:00:00 | 2.1373 | 155.336 | 4.195 | 144.99 | 5.2177 | 144.462 | 2.1497 | 160.332 | 26.46 | 974.949 | 33.5282 | 2.0137
2019-01-21 12:15:00 | 3.9247 | 174.374 | 3.428 | 179.556 | 4.4507 | 144.973 | 4.195 | 176.128 | 26.46 | 974.765 | 34.0059 | 2.4718
2019-01-21 12:30:00 | 3.9247 | 173.013 | 3.9393 | 154.159 | 4.962 | 146.463 | 3.428 | 181.08 | 26.46 | 974.525 | 34.2116 | 1.6959
2019-01-21 12:45:00 | 3.9247 | 180.148 | 4.962 | 183.062 | 4.195 | 148.774 | 4.195 | 189.313 | 26.46 | 974.237 | 31.9567 | 1.611
2019-01-21 13:00:00 | 2.9033 | 125.81 | 3.9393 | 154.15 | 3.428 | 149.68 | 3.6837 | 166.623 | 26.46 | 974.137 | 31.2737 | 1.6627
2019-01-21 13:15:00 | 4.6907 | 185.585 | 5.2177 | 176.53 | 4.4507 | 150.895 | 4.7063 | 185.536 | 26.46 | 973.761 | 30.8985 | 1.3966
2019-01-21 13:30:00 | 3.414 | 207.719 | 4.962 | 185.452 | 4.195 | 154.016 | 3.428 | 202.575 | 26.46 | 973.854 | 29.2937 | 1.2378
2019-01-21 13:45:00 | 3.1587 | 185.85 | 3.428 | 170.336 | 3.9393 | 155.699 | 3.428 | 198.262 | 26.46 | 973.874 | 29.3276 | 0.99761
2019-01-21 14:00:00 | 2.648 | 184.29 | 4.962 | 164.314 | 4.195 | 157.475 | 3.1723 | 186.752 | 26.46 | 973.839 | 28.747 | -0.10715
2019-01-21 14:15:00 | 3.6693 | 210.86 | 2.1497 | 170.238 | 2.1497 | 157.377 | 3.428 | 214.346 | 26.46 | 973.884 | 29.6688 | -0.23278
2019-01-21 14:30:00 | 3.6693 | 172.3 | 3.9393 | 166.975 | 4.195 | 160.891 | 3.6837 | 186.219 | 26.46 | 973.763 | 29.2257 | -0.036948
2019-01-21 14:45:00 | 2.1373 | 203.014 | 2.661 | 189.864 | 3.9393 | 161.743 | 2.661 | 204.72 | 26.46 | 973.51 | 28.8157 | -0.17735
2019-01-21 15:00:00 | 2.9033 | 179.929 | 2.9167 | 184.818 | 2.661 | 162.84 | 3.428 | 187.73 | 26.46 | 973.566 | 30.1132 | -0.21061
2019-01-21 15:15:00 | 3.414 | 198.331 | 3.9393 | 181.622 | 4.4507 | 165.276 | 3.6837 | 202.914 | 26.46 | 973.603 | 30.1128 | -0.20691
2019-01-21 15:30:00 | 4.6907 | 168.007 | 5.4733 | 153.663 | 4.962 | 156.014 | 4.195 | 185.218 | 26.46 | 973.646 | 30.5568 | -0.17366
2019-01-21 15:45:00 | 3.6693 | 174.816 | 2.9167 | 173.587 | 3.428 | 162.505 | 3.6837 | 184.957 | 26.46 | 973.661 | 29.9093 | 0.014779
2019-01-21 16:00:00 | 2.9033 | 174.08 | 3.9393 | 159.395 | 3.1723 | 166.132 | 3.1723 | 189.537 | 26.46 | 973.365 | 30.3224 | -0.070202
2019-01-21 16:15:00 | 3.1587 | 173.642 | 4.195 | 170.319 | 4.195 | 170.448 | 3.1723 | 183.273 | 26.46 | 973.068 | 29.8788 | 0.17366
2019-01-21 16:30:00 | 3.414 | 171.667 | 3.6837 | 165.442 | 4.195 | 160.964 | 3.428 | 177.811 | 26.46 | 972.812 | 30.2544 | 0.56162
2019-01-21 16:45:00 | 3.1587 | 163.656 | 4.4507 | 162.48 | 4.195 | 160.292 | 3.6837 | 173.507 | 26.46 | 972.47 | 30.6661 | 2.2095
2019-01-21 17:00:00 | 3.9247 | 157.017 | 3.6837 | 151.211 | 3.9393 | 164.529 | 3.9393 | 166.48 | 26.46 | 972.326 | 31.9039 | 3.9202
2019-01-21 17:15:00 | 5.2013 | 157.214 | 5.9847 | 145.775 | 4.962 | 153.019 | 5.4733 | 161.994 | 26.46 | 971.88 | 34.0222 | 6.902
2019-01-21 17:30:00 | 4.6907 | 159.556 | 5.4733 | 155.262 | 5.2177 | 160.921 | 5.2177 | 168.384 | 26.46 | 971.286 | 35.3886 | 6.987
2019-01-21 17:45:00 | 5.2013 | 169.514 | 4.962 | 164.98 | 4.962 | 156.756 | 4.962 | 170.661 | 26.46 | 971.526 | 36.4203 | 4.3341
2019-01-21 18:00:00 | 5.4567 | 175.156 | 5.2177 | 163.451 | 4.4507 | 165.252 | 4.962 | 182.841 | 26.46 | 971.583 | 37.1051 | 4.4818
2019-01-21 18:15:00 | 4.18 | 173.386 | 3.6837 | 165.999 | 3.1723 | 172.212 | 4.4507 | 183.508 | 26.46 | 971.555 | 38.064 | 3.5434
2019-01-21 18:30:00 | 3.1587 | 192.108 | 2.661 | 179.915 | 2.4053 | 171.174 | 3.1723 | 202.355 | 26.46 | 971.576 | 39.5011 | 1.6775
2019-01-21 18:45:00 | 3.6693 | 181.519 | 3.428 | 160.007 | 2.4053 | 164.49 | 3.9393 | 185.545 | 26.46 | 971.434 | 39.9111 | 1.4484
2019-01-21 19:00:00 | 3.414 | 174.322 | 3.428 | 169.619 | 1.6383 | 162.147 | 3.9393 | 184.471 | 26.46 | 971.285 | 40.6287 | 1.1861
2019-01-21 19:15:00 | 2.9033 | 184.984 | 3.6837 | 161.153 | 3.6837 | 155.902 | 3.1723 | 193.059 | 26.46 | 970.988 | 40.7996 | 1.4373
2019-01-21 19:30:00 | 3.6693 | 181.411 | 3.6837 | 165.144 | 3.428 | 149.277 | 3.9393 | 185.583 | 26.46 | 970.988 | 40.2558 | 2.1984
2019-01-21 19:45:00 | 4.18 | 175.149 | 3.9393 | 159.761 | 3.1723 | 149.967 | 4.195 | 181.689 | 26.46 | 970.988 | 41.4199 | 4.0459
2019-01-21 20:00:00 | 5.712 | 165.497 | 5.4733 | 150.305 | 3.9393 | 147.928 | 5.9847 | 173.794 | 26.46 | 970.691 | 41.2859 | 5.8453
2019-01-21 20:15:00 | 6.7333 | 164.527 | 6.2403 | 148.53 | 6.496 | 147.055 | 6.7517 | 174.313 | 26.46 | 970.623 | 40.809 | 8.3614
2019-01-21 20:30:00 | 4.18 | 167.383 | 4.4507 | 145.919 | 4.4507 | 153.766 | 4.4507 | 164.088 | 26.46 | 970.927 | 40.7407 | 8.088
2019-01-21 20:45:00 | 5.4567 | 160.051 | 4.962 | 147.665 | 5.2177 | 150.288 | 5.4733 | 167.665 | 26.46 | 970.821 | 41.1884 | 8.742
2019-01-21 21:00:00 | 5.4567 | 174.158 | 4.4507 | 161.724 | 3.6837 | 154.512 | 4.962 | 176.916 | 26.46 | 971.164 | 41.6331 | 9.3775
2019-01-21 21:15:00 | 5.712 | 181.874 | 4.195 | 159.385 | 3.428 | 154.198 | 5.729 | 181.996 | 26.46 | 970.918 | 42.1125 | 10.0204
2019-01-21 21:30:00 | 6.7333 | 169.427 | 5.2177 | 160.019 | 3.6837 | 160.934 | 5.9847 | 184.486 | 26.46 | 970.984 | 42.2492 | 11.3247
2019-01-21 21:45:00 | 5.712 | 155.32 | 4.962 | 154.601 | 3.9393 | 154.881 | 5.4733 | 181.532 | 26.46 | 970.809 | 43.0696 | 11.273
2019-01-21 22:00:00 | 5.9673 | 155.467 | 4.195 | 143.862 | 3.6837 | 153.026 | 4.962 | 174.894 | 26.46 | 970.69 | 42.8645 | 9.093
2019-01-21 22:15:00 | 5.2013 | 166.303 | 3.9393 | 147.133 | 3.428 | 151.903 | 4.962 | 186.633 | 26.46 | 970.69 | 42.3175 | 8.0363
2019-01-21 22:30:00 | 4.946 | 157.688 | 4.4507 | 137.322 | 3.1723 | 159.372 | 4.7063 | 171.819 | 26.46 | 970.69 | 40.4033 | 8.1878
2019-01-21 22:45:00 | 5.4567 | 160.446 | 4.7063 | 151.77 | 4.195 | 151.464 | 5.729 | 181.703 | 26.46 | 970.69 | 39.9248 | 10.5451
2019-01-21 23:00:00 | 6.2227 | 156.931 | 5.2177 | 147.035 | 4.7063 | 145.216 | 6.2403 | 166.474 | 26.46 | 970.542 | 39.5146 | 12.9837
2019-01-21 23:15:00 | 5.2013 | 177.994 | 4.7063 | 153.137 | 3.9393 | 161.08 | 4.7063 | 183.68 | 26.46 | 970.69 | 39.3095 | 10.6448
2019-01-21 23:30:00 | 4.6907 | 168.451 | 4.195 | 153.625 | 3.1723 | 151.318 | 4.4507 | 172.331 | 26.46 | 970.69 | 39.2411 | 10.3677
2019-01-21 23:45:00 | 4.6907 | 164.253 | 4.7063 | 153.649 | 3.9393 | 149.048 | 4.195 | 168.597 | 26.46 | 970.69 | 38.3182 | 9.9687