## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-22 00:00:00 | 5.4567 | 167.767 | 5.2177 | 150.989 | 4.962 | 150.634 | 5.4733 | 173.064 | 26.46 | 970.542 | 39.1044 | 11.0919
2019-01-22 00:15:00 | 5.9673 | 172.941 | 5.4733 | 157.872 | 4.4507 | 177.286 | 6.2403 | 181.63 | 26.46 | 970.095 | 40.6768 | 15.2117
2019-01-22 00:30:00 | 7.244 | 177.603 | 6.2403 | 168.952 | 4.4507 | 168.597 | 7.7743 | 181.581 | 26.46 | 970.095 | 38.8651 | 15.6033
2019-01-22 00:45:00 | 5.9673 | 180.459 | 6.7517 | 172.222 | 5.9847 | 174.699 | 6.2403 | 189.269 | 26.46 | 970.095 | 37.9422 | 12.8026
2019-01-22 01:00:00 | 5.2013 | 181.288 | 4.7063 | 162.704 | 3.6837 | 179.8 | 4.962 | 193.638 | 26.46 | 970.393 | 37.7713 | 9.6214
2019-01-22 01:15:00 | 5.9673 | 184.071 | 5.729 | 174.834 | 4.7063 | 165.083 | 5.9847 | 194.639 | 26.46 | 970.072 | 37.327 | 7.9218
2019-01-22 01:30:00 | 5.712 | 185.486 | 5.4733 | 177.47 | 5.729 | 168.622 | 5.729 | 190.197 | 26.46 | 970.072 | 35.6862 | 7.5781
2019-01-22 01:45:00 | 5.712 | 188.049 | 5.2177 | 172.71 | 4.195 | 172.16 | 5.9847 | 194.516 | 26.46 | 970.073 | 33.4985 | 7.5264
2019-01-22 02:00:00 | 5.9673 | 189.167 | 5.4733 | 168.752 | 4.195 | 175.182 | 6.2403 | 195.073 | 26.46 | 969.97 | 33.7711 | 8.8344
2019-01-22 02:15:00 | 5.4567 | 173.298 | 2.9167 | 187.538 | 3.6837 | 177.911 | 5.4733 | 162.414 | 26.46 | 969.966 | 34.9323 | 8.7383
2019-01-22 02:30:00 | 6.2227 | 167.376 | 4.962 | 155.137 | 3.1723 | 172.453 | 6.2403 | 177.529 | 26.46 | 970.017 | 37.2584 | 11.757
2019-01-22 02:45:00 | 5.9673 | 173.771 | 4.962 | 162.875 | 4.962 | 165.815 | 6.2403 | 181.313 | 26.46 | 969.798 | 36.4382 | 13.0613
2019-01-22 03:00:00 | 6.2227 | 170.086 | 5.2177 | 155.114 | 4.962 | 166.889 | 6.2403 | 182.997 | 26.46 | 969.501 | 35.276 | 12.9652
2019-01-22 03:15:00 | 6.7333 | 174.549 | 6.2403 | 161.383 | 6.496 | 168.448 | 5.9847 | 187.997 | 26.46 | 969.501 | 34.7969 | 16.0652
2019-01-22 03:30:00 | 6.478 | 181.728 | 5.4733 | 161.386 | 4.962 | 162.496 | 6.2403 | 173.747 | 26.46 | 969.203 | 35.4127 | 14.1365
2019-01-22 03:45:00 | 7.4993 | 169.573 | 5.729 | 161.044 | 5.2177 | 165.083 | 7.263 | 180.556 | 26.46 | 968.906 | 35.0026 | 16.8781
2019-01-22 04:00:00 | 6.7333 | 172.356 | 5.9847 | 168.146 | 4.195 | 170.183 | 6.496 | 185.755 | 26.46 | 968.906 | 33.4301 | 18.3634
2019-01-22 04:15:00 | 5.4567 | 172.014 | 5.729 | 167.585 | 4.195 | 169.134 | 5.2177 | 185.95 | 26.46 | 968.906 | 33.3618 | 14.1771
2019-01-22 04:30:00 | 6.2227 | 187.072 | 5.2177 | 163.362 | 4.962 | 161.812 | 5.9847 | 192.612 | 26.46 | 968.757 | 30.7639 | 14.2547
2019-01-22 04:45:00 | 6.478 | 171.965 | 5.4733 | 159.58 | 4.195 | 168.5 | 6.2403 | 185.803 | 26.46 | 968.609 | 29.8069 | 15.171
2019-01-22 05:00:00 | 5.2013 | 167.963 | 4.7063 | 163.241 | 4.195 | 173.527 | 5.2177 | 189.708 | 26.46 | 968.609 | 29.8069 | 16.2204
2019-01-22 05:15:00 | 6.478 | 182.46 | 6.2403 | 163.68 | 5.2177 | 161.519 | 6.2403 | 185.12 | 26.46 | 968.609 | 26.6621 | 15.8102
2019-01-22 05:30:00 | 5.712 | 170.843 | 5.729 | 162.411 | 5.4733 | 169.329 | 5.4733 | 175.26 | 26.46 | 968.609 | 27.2774 | 14.9715
2019-01-22 05:45:00 | 5.712 | 185.828 | 4.7063 | 166.121 | 4.7063 | 160.69 | 5.729 | 191.002 | 26.46 | 968.704 | 24.8846 | 16.1723
2019-01-22 06:00:00 | 6.7333 | 170.816 | 5.9847 | 161.823 | 6.496 | 165.324 | 6.496 | 188.168 | 26.46 | 968.535 | 28.9177 | 18.4779
2019-01-22 06:15:00 | 6.9887 | 173.965 | 6.2403 | 163.361 | 4.4507 | 167.888 | 7.0073 | 194.807 | 26.46 | 968.459 | 24.8159 | 18.1084
2019-01-22 06:30:00 | 6.9887 | 178.988 | 5.4733 | 170.507 | 5.9847 | 162.758 | 7.5187 | 195.998 | 26.46 | 968.545 | 26.0117 | 18.7994
2019-01-22 06:45:00 | 6.478 | 182.921 | 6.7517 | 162.896 | 6.7517 | 165.983 | 6.496 | 188.559 | 26.46 | 968.647 | 27.7213 | 18.707
2019-01-22 07:00:00 | 6.2227 | 185.632 | 5.729 | 156.065 | 5.9847 | 164.399 | 6.2403 | 188 | 26.46 | 968.884 | 28.0293 | 18.1084
2019-01-22 07:15:00 | 6.9887 | 191.222 | 6.7517 | 171.49 | 6.496 | 166.01 | 7.0073 | 188.342 | 26.46 | 968.88 | 24.6795 | 18.925
2019-01-22 07:30:00 | 5.9673 | 174.894 | 6.7517 | 158.018 | 6.496 | 161.275 | 6.2403 | 193.101 | 26.46 | 968.896 | 26.6963 | 20.499
2019-01-22 07:45:00 | 7.7547 | 177.331 | 6.7517 | 159.796 | 4.195 | 189.876 | 7.0073 | 184.555 | 26.46 | 968.835 | 26.5932 | 22.5459
2019-01-22 08:00:00 | 6.478 | 186.667 | 6.2403 | 178.917 | 5.729 | 159.875 | 5.9847 | 195.183 | 26.46 | 968.91 | 27.6134 | 19.1615
2019-01-22 08:15:00 | 6.7333 | 177.738 | 5.729 | 163.984 | 5.9847 | 162.318 | 6.496 | 189.375 | 26.46 | 969.205 | 28.3615 | 17.5468
2019-01-22 08:30:00 | 7.4993 | 174.712 | 6.496 | 154.029 | 5.4733 | 163.709 | 7.263 | 192.205 | 26.46 | 969.502 | 26.7213 | 17.8498
2019-01-22 08:45:00 | 6.2227 | 180.666 | 6.2403 | 155.885 | 4.962 | 169.298 | 5.9847 | 190.058 | 26.46 | 969.796 | 25.4878 | 14.687
2019-01-22 09:00:00 | 5.4567 | 181.056 | 4.195 | 153.714 | 4.962 | 163.957 | 5.4733 | 193.715 | 26.46 | 969.892 | 23.8446 | 14.724
2019-01-22 09:15:00 | 4.6907 | 175.945 | 4.962 | 160.14 | 4.4507 | 164.677 | 4.7063 | 180.457 | 26.46 | 970.097 | 24.1845 | 9.2962
2019-01-22 09:30:00 | 4.4353 | 183.165 | 4.4507 | 174.969 | 4.195 | 182.774 | 4.195 | 194.018 | 26.46 | 970.691 | 25.6191 | 9.6435
2019-01-22 09:45:00 | 3.9247 | 178.702 | 5.4733 | 164.555 | 5.2177 | 166.948 | 4.962 | 196.87 | 26.46 | 970.989 | 23.1567 | 9.2999
2019-01-22 10:00:00 | 4.946 | 177.397 | 4.962 | 163.883 | 5.9847 | 160.282 | 4.962 | 190.807 | 26.46 | 971.256 | 24.9958 | 10.8074
2019-01-22 10:15:00 | 3.9247 | 166.06 | 4.4507 | 163.687 | 5.2177 | 188.368 | 4.195 | 167.449 | 26.46 | 971.172 | 23.9713 | 9.1226
2019-01-22 10:30:00 | 5.2013 | 174.178 | 5.4733 | 150.473 | 5.4733 | 158.575 | 4.962 | 182.883 | 26.46 | 971.286 | 22.4688 | 9.0893
2019-01-22 10:45:00 | 3.414 | 177.563 | 3.9393 | 155.539 | 4.962 | 149.599 | 3.9393 | 178.246 | 26.46 | 971.583 | 21.7171 | 8.1139
2019-01-22 11:00:00 | 3.414 | 160.454 | 4.7063 | 140.649 | 4.7063 | 146.486 | 4.195 | 183.613 | 26.46 | 971.518 | 20.4172 | 6.1297
2019-01-22 11:15:00 | 3.6693 | 170.252 | 4.4507 | 167.728 | 4.7063 | 164.451 | 4.195 | 186.851 | 26.46 | 971.612 | 19.4241 | 6.2073
2019-01-22 11:30:00 | 4.4353 | 187.11 | 4.4507 | 188.631 | 3.9393 | 199.759 | 4.195 | 175.265 | 26.46 | 971.623 | 16.2485 | 5.727
2019-01-22 11:45:00 | 3.6693 | 187.963 | 4.4507 | 180.685 | 3.428 | 186.11 | 3.9393 | 196.274 | 26.46 | 971.287 | 16.7264 | 5.7159
2019-01-22 12:00:00 | 4.6907 | 184.794 | 3.9393 | 189.362 | 3.9393 | 199.223 | 4.7063 | 177.312 | 26.46 | 971.286 | 17.2043 | 5.424
2019-01-22 12:15:00 | 4.18 | 165.54 | 4.4507 | 198.38 | 4.7063 | 201.027 | 4.7063 | 173.339 | 26.46 | 971.286 | 16.0437 | 4.2084
2019-01-22 12:30:00 | 3.1587 | 191.667 | 4.4507 | 188.655 | 4.195 | 202.879 | 3.1723 | 175.362 | 26.46 | 970.989 | 18.1601 | 4.5631
2019-01-22 12:45:00 | 4.4353 | 193.958 | 4.4507 | 173.569 | 4.962 | 179.091 | 5.2177 | 193.276 | 26.46 | 970.841 | 17.6822 | 3.0704
2019-01-22 13:00:00 | 6.2227 | 185.867 | 4.962 | 166.842 | 4.4507 | 196.103 | 5.9847 | 191.472 | 26.46 | 970.692 | 17.887 | 3.9313
2019-01-22 13:15:00 | 4.18 | 199.199 | 4.7063 | 185.462 | 4.962 | 188.231 | 4.195 | 173.217 | 26.46 | 970.692 | 18.2284 | 3.7318
2019-01-22 13:30:00 | 4.946 | 167.855 | 4.7063 | 152.876 | 4.4507 | 192.935 | 4.4507 | 180.115 | 26.46 | 970.692 | 18.2966 | 3.5692
2019-01-22 13:45:00 | 5.9673 | 185.72 | 5.729 | 169.474 | 6.7517 | 179.457 | 5.729 | 188.06 | 26.46 | 970.692 | 18.9452 | 2.6935
2019-01-22 14:00:00 | 4.18 | 190.4 | 5.4733 | 178.979 | 6.2403 | 187.768 | 4.4507 | 197.785 | 26.46 | 970.692 | 19.2866 | 2.7379
2019-01-22 14:15:00 | 3.414 | 174.753 | 4.7063 | 158.652 | 5.9847 | 168.757 | 3.6837 | 173.778 | 26.46 | 970.544 | 15.9413 | 5.206
2019-01-22 14:30:00 | 4.6907 | 198.931 | 4.962 | 189.679 | 7.7743 | 203.488 | 4.4507 | 194.397 | 26.46 | 970.544 | 18.3649 | 8.1878
2019-01-22 14:45:00 | 2.9033 | 135.732 | 3.428 | 182.586 | 4.195 | 178.019 | 3.1723 | 162.42 | 26.46 | 970.692 | 19.7986 | 5.195
2019-01-22 15:00:00 | 4.946 | 145.579 | 6.496 | 136.327 | 7.263 | 143.068 | 5.2177 | 153.037 | 26.46 | 970.692 | 18.3649 | 5.764
2019-01-22 15:15:00 | 4.4353 | 183.332 | 3.1723 | 187.656 | 3.9393 | 172.218 | 5.4733 | 190.595 | 26.46 | 970.989 | 17.6139 | 6.7468
2019-01-22 15:30:00 | 5.4567 | 171.511 | 3.428 | 162.625 | 4.195 | 177.775 | 4.962 | 181.675 | 26.46 | 970.989 | 16.1461 | 6.9463
2019-01-22 15:45:00 | 5.4567 | 192.837 | 6.496 | 189.167 | 6.496 | 197.419 | 5.2177 | 206.754 | 26.46 | 970.692 | 14.6783 | 9.9133
2019-01-22 16:00:00 | 3.6693 | 161.275 | 4.7063 | 157.921 | 4.7063 | 173.827 | 4.195 | 176.508 | 26.46 | 970.692 | 14.3369 | 8.4612
2019-01-22 16:15:00 | 5.2013 | 176.727 | 5.4733 | 157.824 | 5.9847 | 164.248 | 4.7063 | 175.289 | 26.46 | 970.395 | 13.7566 | 13.5749
2019-01-22 16:30:00 | 6.7333 | 179.822 | 6.7517 | 168.28 | 7.0073 | 180.724 | 6.7517 | 181.138 | 26.46 | 970.163 | 13.9956 | 16.5825
2019-01-22 16:45:00 | 7.7547 | 175.495 | 6.7517 | 166.61 | 7.263 | 174.983 | 7.5187 | 184.026 | 26.46 | 970.133 | 15.6351 | 14.8718
2019-01-22 17:00:00 | 6.478 | 174.831 | 6.496 | 155.977 | 5.4733 | 174.417 | 6.2403 | 178.658 | 26.46 | 970.064 | 17.0024 | 13.8446
2019-01-22 17:15:00 | 6.2227 | 180.15 | 5.9847 | 169 | 4.962 | 184.709 | 6.2403 | 190.39 | 26.46 | 969.8 | 17.5515 | 13.6894
2019-01-22 17:30:00 | 6.7333 | 173.886 | 6.2403 | 172.879 | 6.2403 | 177.397 | 5.9847 | 182.541 | 26.46 | 969.304 | 18.2346 | 12.8581
2019-01-22 17:45:00 | 7.244 | 176.039 | 7.0073 | 167.937 | 7.263 | 172.259 | 7.263 | 180.452 | 26.46 | 969.502 | 18.6451 | 14.554
2019-01-22 18:00:00 | 6.7333 | 172.104 | 6.7517 | 159.249 | 6.496 | 172.421 | 6.496 | 177.688 | 26.46 | 969.502 | 18.8543 | 14.3101
2019-01-22 18:15:00 | 7.244 | 180.554 | 5.9847 | 175.359 | 6.496 | 169.213 | 7.0073 | 179.481 | 26.46 | 969.8 | 19.3338 | 13.5712
2019-01-22 18:30:00 | 5.2013 | 177.774 | 5.4733 | 152.433 | 5.4733 | 165.507 | 5.4733 | 188.408 | 26.46 | 969.8 | 19.8463 | 18.3745
2019-01-22 18:45:00 | 7.4993 | 175.018 | 6.496 | 164.433 | 6.7517 | 165.409 | 7.0073 | 164.629 | 26.46 | 969.502 | 19.8121 | 23.3477
2019-01-22 19:00:00 | 7.4993 | 157.824 | 6.496 | 146.141 | 7.0073 | 163.311 | 7.5187 | 166.263 | 26.46 | 969.502 | 19.7438 | 20.6468
2019-01-22 19:15:00 | 7.4993 | 162.433 | 6.2403 | 152.677 | 5.9847 | 160.848 | 7.5187 | 166.531 | 26.46 | 969.205 | 19.8121 | 22.9709
2019-01-22 19:30:00 | 5.2013 | 161.897 | 6.7517 | 152.043 | 7.5187 | 168.336 | 7.0073 | 173.75 | 26.46 | 969.205 | 20.222 | 22.0878
2019-01-22 19:45:00 | 7.244 | 160.141 | 7.263 | 152.433 | 7.263 | 171.945 | 7.7743 | 165.921 | 26.46 | 969.205 | 19.7438 | 23.6729
2019-01-22 20:00:00 | 7.4993 | 156.434 | 8.03 | 151.36 | 6.7517 | 163.824 | 8.03 | 160.97 | 26.46 | 969.502 | 20.427 | 25.0621
2019-01-22 20:15:00 | 7.244 | 157.312 | 7.5187 | 155.384 | 7.7743 | 159.897 | 7.263 | 163.946 | 26.46 | 969.205 | 21.2468 | 24.519
2019-01-22 20:30:00 | 7.7547 | 161.312 | 7.263 | 153.018 | 6.7517 | 161.555 | 7.7743 | 172.214 | 26.46 | 969.354 | 21.5201 | 22.2688
2019-01-22 20:45:00 | 7.244 | 157.702 | 7.0073 | 150.677 | 6.2403 | 163.409 | 7.263 | 168.019 | 26.46 | 969.205 | 21.8617 | 20.7466
2019-01-22 21:00:00 | 6.7333 | 163.507 | 6.496 | 151.384 | 5.729 | 165.848 | 6.7517 | 172.994 | 26.46 | 969.205 | 22.2032 | 15.6329
2019-01-22 21:15:00 | 6.478 | 165.165 | 6.2403 | 151.97 | 5.4733 | 164.775 | 6.7517 | 171.677 | 26.46 | 969.255 | 22.9547 | 17.2697
2019-01-22 21:30:00 | 6.7333 | 161.486 | 6.7517 | 156.535 | 4.962 | 154.95 | 6.496 | 171.51 | 26.46 | 969.319 | 23.4335 | 18.3708
2019-01-22 21:45:00 | 7.7547 | 178.787 | 5.729 | 163.86 | 5.2177 | 181.055 | 7.5187 | 181.787 | 26.46 | 969.262 | 23.6396 | 17.7279
2019-01-22 22:00:00 | 6.9887 | 178.898 | 6.496 | 157.605 | 5.2177 | 168.897 | 7.0073 | 186.777 | 26.46 | 969.414 | 24.393 | 16.0984
2019-01-22 22:15:00 | 5.9673 | 179.38 | 5.9847 | 170.722 | 4.4507 | 188.209 | 6.496 | 170.647 | 26.46 | 969.726 | 24.4263 | 13.8852
2019-01-22 22:30:00 | 6.478 | 169.466 | 5.4733 | 160.052 | 5.2177 | 167.954 | 5.9847 | 180.296 | 26.46 | 969.574 | 24.3907 | 12.363
2019-01-22 22:45:00 | 5.9673 | 170.874 | 5.4733 | 160.898 | 4.962 | 168.24 | 5.729 | 177.288 | 26.46 | 969.528 | 24.9362 | 11.1473
2019-01-22 23:00:00 | 5.712 | 178.774 | 4.962 | 158.213 | 3.1723 | 198.579 | 5.729 | 192.554 | 26.46 | 969.556 | 24.7993 | 9.699
2019-01-22 23:15:00 | 5.2013 | 182.287 | 4.962 | 162.384 | 4.962 | 167.702 | 5.4733 | 193.262 | 26.46 | 969.536 | 23.3647 | 10.0241
2019-01-22 23:30:00 | 4.946 | 166.214 | 4.7063 | 162.189 | 4.7063 | 165.653 | 5.2177 | 170.409 | 26.46 | 969.651 | 24.6627 | 9.2408
2019-01-22 23:45:00 | 4.18 | 175.823 | 4.962 | 151.653 | 3.6837 | 166.848 | 4.4507 | 185.311 | 26.46 | 969.8 | 25.6875 | 8.1878