## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-23 00:00:00 | 4.6907 | 173.287 | 4.7063 | 157.701 | 4.195 | 165.604 | 4.962 | 192.408 | 26.46 | 969.503 | 25.1409 | 7.0387
2019-01-23 00:15:00 | 3.6693 | 177.799 | 3.428 | 156.238 | 3.428 | 159.409 | 3.6837 | 193.896 | 26.46 | 969.546 | 24.2528 | 2.664
2019-01-23 00:30:00 | 2.9033 | 186.384 | 2.661 | 159.604 | 2.661 | 160.434 | 3.1723 | 208.164 | 26.46 | 969.509 | 23.1597 | 0.92371
2019-01-23 00:45:00 | 2.9033 | 218.871 | 2.4053 | 189.578 | 2.1497 | 172.921 | 3.1723 | 245.992 | 26.46 | 969.505 | 21.93 | 0.3584
2019-01-23 01:00:00 | 2.9033 | 209.895 | 2.661 | 185.213 | 2.1497 | 162.531 | 3.1723 | 242.65 | 26.46 | 969.508 | 21.7933 | 0.37687
2019-01-23 01:15:00 | 2.1373 | 234.48 | 1.894 | 194.578 | 1.6383 | 168.726 | 2.661 | 248.04 | 26.46 | 969.503 | 21.3834 | 0.4286
2019-01-23 01:30:00 | 1.882 | 234.382 | 1.3827 | 203.114 | 0.75133 | 164.238 | 2.1497 | 245.431 | 26.46 | 969.503 | 20.8369 | 0.18105
2019-01-23 01:45:00 | 1.3713 | 237.016 | 1.6383 | 231.26 | 0 | 173.409 | 1.6383 | 260.82 | 26.46 | 969.503 | 20.6319 | 0.41382
2019-01-23 02:00:00 | 0.372 | 237.211 | 1.3827 | 267.722 | 0.75133 | 242.992 | 1.6383 | 292.844 | 26.46 | 969.8 | 20.1879 | 0.63551
2019-01-23 02:15:00 | 1.882 | 237.211 | 1.127 | 268.454 | 0 | 243.089 | 1.894 | 294.307 | 26.46 | 969.948 | 20.3245 | 1.2895
2019-01-23 02:30:00 | 1.3713 | 237.211 | 1.127 | 268.429 | 0 | 243.065 | 1.894 | 294.331 | 26.46 | 969.948 | 20.8369 | 0.72419
2019-01-23 02:45:00 | 0.372 | 237.187 | 0 | 268.429 | 0 | 243.065 | 1.127 | 301.209 | 26.46 | 969.948 | 21.5201 | 1.2784
2019-01-23 03:00:00 | 0.744 | 237.163 | 0.37567 | 268.429 | 0 | 243.065 | 1.127 | 301.429 | 26.46 | 970.128 | 21.3493 | 1.9546
2019-01-23 03:15:00 | 0 | 237.141 | 0 | 268.462 | 0 | 243.093 | 0 | 301.439 | 26.46 | 970.249 | 22.0691 | 2.1319
2019-01-23 03:30:00 | 0 | 237.07 | 0 | 268.495 | 0 | 242.144 | 0 | 301.473 | 26.46 | 970.23 | 22.4133 | 2.2686
2019-01-23 03:45:00 | 0 | 237.055 | 0 | 268.482 | 0 | 242.154 | 0 | 301.485 | 26.46 | 969.948 | 21.5259 | 1.9065
2019-01-23 04:00:00 | 0.744 | 237.035 | 0 | 268.462 | 0 | 242.158 | 1.127 | 317.884 | 26.46 | 969.799 | 21.3895 | 1.7883
2019-01-23 04:15:00 | 0.744 | 237.96 | 1.3827 | 330.72 | 1.127 | 242.742 | 1.6383 | 356.868 | 26.46 | 969.799 | 21.2527 | 1.1048
2019-01-23 04:30:00 | 2.3927 | 243.862 | 1.127 | 8.973 | 1.127 | 242.74 | 2.1497 | 5.2207 | 26.46 | 970.096 | 21.3209 | 0.90154
2019-01-23 04:45:00 | 1.6267 | 258.106 | 1.3827 | 8.9732 | 0 | 242.737 | 2.1497 | 0.19517 | 26.46 | 970.393 | 20.9789 | 1.09
2019-01-23 05:00:00 | 1.3713 | 258.036 | 1.3827 | 9.0716 | 0.37567 | 242.717 | 1.6383 | 90.3054 | 26.46 | 970.642 | 21.1139 | 0.55792
2019-01-23 05:15:00 | 1.3713 | 258.005 | 1.127 | 9.0729 | 0 | 321.885 | 1.3827 | 90.2458 | 26.46 | 970.671 | 21.4529 | 0.72419
2019-01-23 05:30:00 | 1.6267 | 257.985 | 0.75133 | 9.024 | 0 | 321.866 | 1.894 | 0.19512 | 26.46 | 970.413 | 21.7607 | 0.7131
2019-01-23 05:45:00 | 1.882 | 258.01 | 1.3827 | 8.9752 | 0 | 321.915 | 1.6383 | 0.19512 | 26.46 | 970.518 | 22.2732 | 0.28081
2019-01-23 06:00:00 | 0.372 | 258.032 | 1.3827 | 8.9743 | 0 | 321.893 | 1.6383 | 0.19512 | 26.46 | 970.649 | 21.6601 | 0.80178
2019-01-23 06:15:00 | 0.372 | 257.965 | 0 | 8.9739 | 0 | 321.902 | 1.127 | 0.19512 | 26.46 | 970.788 | 21.524 | 1.2784
2019-01-23 06:30:00 | 0 | 257.967 | 0.37567 | 8.9728 | 0 | 321.91 | 1.127 | 0.19512 | 26.46 | 970.961 | 21.8679 | 0.8609
2019-01-23 06:45:00 | 0 | 257.96 | 1.3827 | 8.9731 | 0 | 321.926 | 0.75133 | 0.19512 | 26.46 | 971.285 | 20.5006 | 0.14779
2019-01-23 07:00:00 | 0 | 257.959 | 1.6383 | 8.9733 | 0.37567 | 321.973 | 1.127 | 0.19512 | 26.46 | 971.419 | 20.2271 | 0.011085
2019-01-23 07:15:00 | 0 | 258.063 | 1.894 | 8.9728 | 1.127 | 322.03 | 1.3827 | 1.659 | 26.46 | 971.583 | 20.5352 | -0.20691
2019-01-23 07:30:00 | 1.3713 | 258.119 | 2.4053 | 7.877 | 1.3827 | 322.515 | 1.894 | 2.1465 | 26.46 | 972.096 | 20.9077 | -0.17366
2019-01-23 07:45:00 | 2.648 | 29.9502 | 2.4053 | 15.9988 | 2.1497 | 30.1697 | 2.661 | 15.0239 | 26.46 | 971.885 | 21.1102 | -0.26233
2019-01-23 08:00:00 | 2.9033 | 29.9014 | 2.661 | 15.9988 | 2.4053 | 18.7311 | 2.9167 | 17.5604 | 26.46 | 972.177 | 21.5884 | -0.28081
2019-01-23 08:15:00 | 3.414 | 30.0409 | 2.661 | 17.356 | 1.894 | 19.312 | 2.9167 | 28.5779 | 26.46 | 972.474 | 21.925 | -0.32145
2019-01-23 08:30:00 | 4.18 | 35.7914 | 3.6837 | 24.2761 | 2.9167 | 19.4561 | 3.428 | 33.5484 | 26.46 | 972.796 | 19.4639 | -0.31776
2019-01-23 08:45:00 | 1.882 | 40.9781 | 2.4053 | 28.5594 | 1.6383 | 10.3359 | 1.6383 | 38.4185 | 26.46 | 972.967 | 17.6854 | -0.19213
2019-01-23 09:00:00 | 2.1373 | 40.0689 | 2.4053 | 28.7456 | 1.6383 | 39.6302 | 1.6383 | 44.456 | 26.46 | 973.385 | 16.9312 | -0.25864
2019-01-23 09:15:00 | 2.9033 | 35.5842 | 2.4053 | 17.4609 | 0.75133 | 58.5434 | 2.1497 | 28.9548 | 26.46 | 974.256 | 16.6581 | -0.30667
2019-01-23 09:30:00 | 3.1587 | 32.1663 | 2.9167 | 13.6284 | 1.6383 | 56.3154 | 2.661 | 25.6356 | 26.46 | 974.553 | 16.4504 | -0.25864
2019-01-23 09:45:00 | 2.3927 | 23.1961 | 3.1723 | 13.7221 | 1.6383 | 45.8075 | 2.1497 | 22.9038 | 26.46 | 974.796 | 16.1414 | -0.24016
2019-01-23 10:00:00 | 2.1373 | 15.6907 | 2.9167 | 5.1928 | 2.4053 | 44.2458 | 2.4053 | 19.7352 | 26.46 | 974.854 | 16.6525 | -0.25125
2019-01-23 10:15:00 | 2.3927 | 13.4004 | 2.4053 | 17.9111 | 2.9167 | 48.266 | 2.4053 | 20.2712 | 26.46 | 974.997 | 15.8335 | -0.25125
2019-01-23 10:30:00 | 2.648 | 37.5665 | 1.894 | 19.0282 | 0.75133 | 58.3718 | 2.661 | 24.3378 | 26.46 | 975.146 | 15.8661 | -0.17735
2019-01-23 10:45:00 | 2.9033 | 24.868 | 3.1723 | 3.9668 | 1.894 | 293.545 | 2.9167 | 356.774 | 26.46 | 975.591 | 15.112 | -0.23278
2019-01-23 11:00:00 | 1.3713 | 2.2408 | 4.4507 | 5.5009 | 4.4507 | 297.851 | 1.894 | 0.73068 | 26.46 | 975.591 | 16.3398 | -0.17735
2019-01-23 11:15:00 | 3.414 | 18.6081 | 3.428 | 8.7402 | 2.4053 | 296.439 | 2.9167 | 15.2957 | 26.46 | 975.443 | 15.4528 | -0.2143
2019-01-23 11:30:00 | 0.372 | 47.4458 | 1.6383 | 10.4939 | 1.894 | 296.366 | 0.75133 | 21.7744 | 26.46 | 975.426 | 14.9753 | -0.24386
2019-01-23 11:45:00 | 2.9033 | 2.1433 | 2.9167 | 3.7716 | 2.4053 | 283.116 | 2.1497 | 333.874 | 26.46 | 975.054 | 14.4295 | -0.25125
2019-01-23 12:00:00 | 3.414 | 8.5486 | 2.9167 | 2.2452 | 2.4053 | 161.863 | 2.9167 | 16.2204 | 26.46 | 975.442 | 13.4737 | -0.15888
2019-01-23 12:15:00 | 0 | 248.148 | 1.127 | 308.267 | 0.37567 | 217.172 | 0 | 11.5673 | 26.46 | 975.145 | 12.4489 | -0.055423
2019-01-23 12:30:00 | 2.1373 | 28.5892 | 2.9167 | 3.2805 | 0.75133 | 139.245 | 1.3827 | 38.1839 | 26.46 | 975.145 | 13.6767 | 0.12193
2019-01-23 12:45:00 | 2.1373 | 29.3441 | 2.9167 | 15.3591 | 2.4053 | 138.904 | 2.4053 | 40.059 | 26.46 | 974.996 | 12.7899 | 0.27711
2019-01-23 13:00:00 | 2.3927 | 15.2955 | 5.2177 | 12.3203 | 6.2403 | 287.083 | 2.4053 | 352.357 | 26.46 | 974.699 | 14.7363 | 0.90893
2019-01-23 13:15:00 | 1.882 | 9.1092 | 3.6837 | 13.9037 | 3.1723 | 286.477 | 1.2627 | 13.4446 | 26.46 | 974.948 | 13.7472 | 1.1639
2019-01-23 13:30:00 | 4.4353 | 355.258 | 5.4733 | 2.846 | 5.2177 | 287.451 | 4.4507 | 351.995 | 26.46 | 975.227 | 13.5767 | 2.7231
2019-01-23 13:45:00 | 4.946 | 19.4362 | 5.4733 | 10.8592 | 2.4053 | 287.451 | 3.9393 | 7.112 | 26.46 | 975.294 | 13.5767 | 3.802
2019-01-23 14:00:00 | 4.6907 | 7.1851 | 5.4733 | 10.6403 | 2.9167 | 287.77 | 3.6837 | 352.631 | 26.46 | 974.849 | 14.1226 | 5.2762
2019-01-23 14:15:00 | 4.6907 | 3.6299 | 4.195 | 4.5059 | 5.2177 | 289.857 | 3.9393 | 5.7494 | 26.46 | 974.849 | 13.7504 | 5.4462
2019-01-23 14:30:00 | 4.4353 | 6.6028 | 4.4507 | 12.7214 | 5.729 | 291.082 | 3.1723 | 4.5074 | 26.46 | 974.7 | 13.4789 | 4.0533
2019-01-23 14:45:00 | 4.18 | 28.214 | 6.2403 | 7.3369 | 4.4507 | 292.178 | 3.6837 | 6.0424 | 26.46 | 974.849 | 13.1718 | 3.887
2019-01-23 15:00:00 | 3.9247 | 0.097458 | 3.9393 | 3.1398 | 3.428 | 292.909 | 4.4507 | 0.63348 | 26.46 | 974.849 | 13.0012 | 5.1839
2019-01-23 15:15:00 | 4.946 | 13.1568 | 4.4507 | 5.8263 | 4.195 | 293.591 | 4.195 | 12.6939 | 26.46 | 974.849 | 12.4211 | 4.0828
2019-01-23 15:30:00 | 3.6693 | 0.87712 | 5.729 | 8.3602 | 5.2177 | 294.59 | 3.428 | 19.2966 | 26.46 | 974.849 | 12.4552 | 3.7503
2019-01-23 15:45:00 | 2.9033 | 0.56038 | 3.6837 | 0.45972 | 3.6837 | 294.469 | 3.1723 | 355.77 | 26.46 | 974.998 | 12.5576 | 3.669
2019-01-23 16:00:00 | 2.648 | 5.1653 | 3.6837 | 0.27121 | 3.9393 | 294.956 | 2.661 | 2.6801 | 26.46 | 974.964 | 12.4211 | 4.4708
2019-01-23 16:15:00 | 4.18 | 355.729 | 4.4507 | 4.2602 | 3.428 | 295.158 | 4.4507 | 354.608 | 26.46 | 974.96 | 12.4214 | 4.3636
2019-01-23 16:30:00 | 3.1587 | 354.953 | 3.9393 | 8.5711 | 3.6837 | 295.469 | 3.428 | 90.4318 | 26.46 | 974.998 | 12.9693 | 3.4066
2019-01-23 16:45:00 | 3.9247 | 0.097474 | 4.7063 | 19.1227 | 3.9393 | 295.662 | 2.9167 | 5.093 | 26.46 | 974.701 | 13.1057 | 3.8907
2019-01-23 17:00:00 | 4.6907 | 12.1129 | 4.7063 | 1.9348 | 2.9167 | 295.339 | 4.195 | 13.0634 | 26.46 | 974.256 | 13.5855 | 3.7503
2019-01-23 17:15:00 | 4.946 | 7.3118 | 4.4507 | 2.2079 | 3.1723 | 295.642 | 4.195 | 12.3814 | 26.46 | 973.662 | 13.8932 | 5.2134
2019-01-23 17:30:00 | 4.4353 | 10.529 | 4.195 | 5.8351 | 3.1723 | 295.739 | 3.9393 | 15.891 | 26.46 | 973.617 | 14.1662 | 4.541
2019-01-23 17:45:00 | 4.4353 | 7.9956 | 4.4507 | 2.3049 | 3.6837 | 295.838 | 4.4507 | 20.2328 | 26.46 | 973.706 | 14.2711 | 5.2356
2019-01-23 18:00:00 | 4.4353 | 18.1394 | 4.195 | 11.2076 | 3.428 | 295.741 | 4.195 | 26.3314 | 26.46 | 973.81 | 14.0685 | 4.2934
2019-01-23 18:15:00 | 4.4353 | 27.9407 | 4.195 | 23.1057 | 3.9393 | 295.938 | 4.195 | 32.5731 | 26.46 | 973.959 | 13.7272 | 3.584
2019-01-23 18:30:00 | 3.9247 | 31.4028 | 4.195 | 23.5934 | 3.6837 | 295.84 | 3.6837 | 38.2295 | 26.46 | 974.094 | 13.7955 | 2.3721
2019-01-23 18:45:00 | 3.1587 | 41.4722 | 3.1723 | 29.0547 | 2.661 | 295.645 | 2.661 | 50.3225 | 26.46 | 973.947 | 13.7272 | 1.6701
2019-01-23 19:00:00 | 3.414 | 38.961 | 3.428 | 33.3946 | 2.9167 | 295.742 | 2.661 | 45.8364 | 26.46 | 973.811 | 13.932 | 0.45077
2019-01-23 19:15:00 | 4.18 | 48.9086 | 3.1723 | 34.175 | 3.428 | 295.792 | 3.1723 | 67.2433 | 26.46 | 973.663 | 13.5223 | 0.15518
2019-01-23 19:30:00 | 4.18 | 59.3928 | 3.6837 | 50.657 | 3.1723 | 295.843 | 3.9393 | 63.7327 | 26.46 | 973.96 | 13.7956 | 0.16627
2019-01-23 19:45:00 | 4.946 | 82.3845 | 4.4507 | 73.3561 | 3.428 | 295.794 | 5.2177 | 89.9671 | 26.46 | 973.663 | 13.3858 | 0.34731
2019-01-23 20:00:00 | 3.6693 | 76.1678 | 3.6837 | 67.3345 | 3.428 | 296.04 | 4.195 | 87.5052 | 26.46 | 973.663 | 13.5908 | 1.0124
2019-01-23 20:15:00 | 3.6693 | 98.2563 | 3.6837 | 87.9601 | 3.1723 | 180.421 | 3.6837 | 103.376 | 26.46 | 973.663 | 13.4541 | 3.4953
2019-01-23 20:30:00 | 3.6693 | 110.154 | 3.1723 | 106.733 | 2.9167 | 180.469 | 3.428 | 108.008 | 26.46 | 973.811 | 13.9321 | 4.5225
2019-01-23 20:45:00 | 4.18 | 118.443 | 3.1723 | 111.414 | 3.428 | 180.469 | 4.195 | 121.467 | 26.46 | 973.96 | 13.9321 | 4.0274
2019-01-23 21:00:00 | 3.9247 | 139.07 | 4.4507 | 125.945 | 3.9393 | 180.323 | 4.4507 | 140.191 | 26.46 | 973.663 | 14.3418 | 5.3021
2019-01-23 21:15:00 | 4.946 | 138.338 | 3.1723 | 132.748 | 3.428 | 180.566 | 4.962 | 135.608 | 26.46 | 973.663 | 14.8199 | 7.1421
2019-01-23 21:30:00 | 4.946 | 140.004 | 4.7063 | 131.659 | 4.195 | 180.454 | 4.962 | 144.149 | 26.46 | 973.514 | 14.8207 | 7.519
2019-01-23 21:45:00 | 5.4567 | 140.191 | 4.7063 | 129.385 | 4.7063 | 180.11 | 5.2177 | 142.41 | 26.46 | 973.514 | 14.9932 | 7.6335
2019-01-23 22:00:00 | 5.712 | 143.633 | 5.4733 | 138.069 | 5.4733 | 179.699 | 5.9847 | 144.389 | 26.46 | 973.366 | 14.2764 | 11.5279
2019-01-23 22:15:00 | 6.2227 | 130.261 | 6.2403 | 126.355 | 4.7063 | 179.663 | 6.2403 | 131.407 | 26.46 | 973.514 | 14.412 | 15.1969
2019-01-23 22:30:00 | 5.9673 | 118.207 | 6.2403 | 112.056 | 6.2403 | 179.261 | 5.9847 | 128.228 | 26.46 | 973.514 | 14.6159 | 14.4395
2019-01-23 22:45:00 | 6.2227 | 128.323 | 5.729 | 134.753 | 5.4733 | 179.013 | 5.4733 | 131.907 | 26.46 | 973.663 | 15.0254 | 13.719
2019-01-23 23:00:00 | 5.9673 | 124.003 | 6.2403 | 117.997 | 5.4733 | 178.933 | 6.2403 | 131 | 26.46 | 973.663 | 15.0931 | 11.9935
2019-01-23 23:15:00 | 5.712 | 131.975 | 5.729 | 117.851 | 5.2177 | 178.835 | 5.729 | 136.095 | 26.46 | 973.906 | 14.8882 | 11.3025
2019-01-23 23:30:00 | 5.4567 | 135.339 | 5.9847 | 122.507 | 5.9847 | 178.616 | 5.9847 | 140.313 | 26.46 | 973.637 | 15.5711 | 11.672
2019-01-23 23:45:00 | 4.946 | 135.608 | 5.4733 | 123.556 | 4.962 | 179.006 | 5.4733 | 142.166 | 26.46 | 973.787 | 15.5028 | 11.2508