## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-24 00:00:00 | 5.4567 | 135.437 | 5.2177 | 120.728 | 5.2177 | 178.982 | 5.729 | 139.533 | 26.46 | 973.662 | 16.1175 | 15.1489
2019-01-24 00:15:00 | 8.01 | 124.149 | 7.7743 | 117.412 | 7.7743 | 178.08 | 8.5413 | 136.583 | 26.46 | 973.509 | 15.5028 | 23.7652
2019-01-24 00:30:00 | 6.9887 | 132.048 | 7.263 | 114.047 | 8.03 | 176.836 | 6.496 | 140.143 | 26.46 | 973.663 | 16.5955 | 28.7865
2019-01-24 00:45:00 | 5.9673 | 131.95 | 5.9847 | 130.724 | 5.729 | 177.543 | 6.496 | 130 | 26.46 | 973.514 | 17.4834 | 27.9404
2019-01-24 01:00:00 | 8.01 | 124.546 | 6.2403 | 126.271 | 5.9847 | 177.261 | 8.2857 | 139.054 | 26.46 | 973.068 | 18.3723 | 28.1326
2019-01-24 01:15:00 | 7.244 | 140.779 | 6.496 | 126.51 | 4.4507 | 177.407 | 7.263 | 140.487 | 26.46 | 973.068 | 18.9554 | 29.0378
2019-01-24 01:30:00 | 6.7333 | 126.336 | 7.0073 | 118.434 | 7.5187 | 176.554 | 7.0073 | 132.702 | 26.46 | 973.068 | 19.2655 | 27.9441
2019-01-24 01:45:00 | 5.712 | 125.142 | 6.496 | 110.752 | 4.962 | 176.531 | 5.729 | 113.313 | 26.46 | 973.068 | 19.0606 | 31.2732
2019-01-24 02:00:00 | 8.5207 | 122.825 | 8.797 | 112.41 | 8.2857 | 175.36 | 8.797 | 127.679 | 26.46 | 973.068 | 19.4705 | 36.2169
2019-01-24 02:15:00 | 4.946 | 123.923 | 5.729 | 121.142 | 5.4733 | 175.555 | 5.2177 | 130.849 | 26.46 | 973.068 | 19.1289 | 36.8302
2019-01-24 02:30:00 | 5.9673 | 136.508 | 6.7517 | 120.824 | 7.0073 | 175.092 | 6.7517 | 139.385 | 26.46 | 973.068 | 20.4953 | 37.85
2019-01-24 02:45:00 | 7.244 | 134.093 | 7.263 | 134.678 | 6.7517 | 174.97 | 7.5187 | 143.434 | 26.46 | 973.068 | 19.9488 | 35.3523
2019-01-24 03:00:00 | 7.4993 | 139.556 | 7.0073 | 130.507 | 5.729 | 175.36 | 7.5187 | 143.971 | 26.46 | 973.068 | 21.1785 | 33.1317
2019-01-24 03:15:00 | 5.712 | 140.483 | 5.729 | 143.116 | 5.2177 | 177.311 | 6.7517 | 139.312 | 26.46 | 973.068 | 21.9983 | 35.7402
2019-01-24 03:30:00 | 4.6907 | 154.629 | 3.428 | 151.897 | 3.9393 | 174.238 | 4.7063 | 157.995 | 26.46 | 973.068 | 22.2374 | 28.6277
2019-01-24 03:45:00 | 6.9887 | 141.459 | 5.9847 | 140.336 | 5.729 | 138.19 | 7.0073 | 153.58 | 26.46 | 972.771 | 22.2716 | 22.993
2019-01-24 04:00:00 | 7.244 | 145.995 | 7.263 | 132.726 | 6.7517 | 151.288 | 7.263 | 151.995 | 26.46 | 972.771 | 21.9983 | 20.4805
2019-01-24 04:15:00 | 6.7333 | 144.312 | 7.263 | 122.02 | 5.729 | 162.092 | 6.7517 | 153.605 | 26.46 | 972.623 | 22.2032 | 18.4484
2019-01-24 04:30:00 | 5.712 | 150.385 | 2.9167 | 121.751 | 3.1723 | 138.727 | 4.7063 | 140.361 | 26.46 | 972.771 | 22.4082 | 20.8426
2019-01-24 04:45:00 | 6.9887 | 148.873 | 5.729 | 127.751 | 3.6837 | 130.874 | 6.7517 | 151.922 | 26.46 | 972.771 | 22.7498 | 22.0767
2019-01-24 05:00:00 | 6.7333 | 115.752 | 2.661 | 133.897 | 1.894 | 182.921 | 5.729 | 155.678 | 26.46 | 972.474 | 22.4082 | 28.0771
2019-01-24 05:15:00 | 6.478 | 155.068 | 4.962 | 140.092 | 3.9393 | 164.311 | 5.4733 | 174.945 | 26.46 | 972.177 | 23.0914 | 36.5457
2019-01-24 05:30:00 | 5.9673 | 134.434 | 6.2403 | 131.653 | 6.2403 | 137.532 | 5.9847 | 137.215 | 26.46 | 972.028 | 23.1597 | 44.0721
2019-01-24 05:45:00 | 9.2867 | 140.532 | 6.2403 | 146.848 | 4.962 | 140.093 | 9.564 | 145.483 | 26.46 | 971.88 | 24.2528 | 49.5664
2019-01-24 06:00:00 | 6.478 | 140.8 | 5.4733 | 143.116 | 5.9847 | 156.873 | 5.9847 | 150.288 | 26.46 | 971.88 | 25.2092 | 49.57
2019-01-24 06:15:00 | 8.776 | 140.117 | 8.5413 | 148.628 | 6.7517 | 151.458 | 8.797 | 144.605 | 26.46 | 972.028 | 26.0974 | 50.1317
2019-01-24 06:30:00 | 7.4993 | 145.556 | 7.7743 | 156.531 | 6.496 | 147.288 | 7.5187 | 147.8 | 26.46 | 972.177 | 26.5073 | 47.0539
2019-01-24 06:45:00 | 8.5207 | 142.117 | 8.5413 | 137.848 | 7.5187 | 139.166 | 8.2857 | 148.068 | 26.46 | 972.177 | 25.2092 | 51.9569
2019-01-24 07:00:00 | 5.9673 | 132.825 | 5.729 | 119.142 | 5.9847 | 150.898 | 5.729 | 153.629 | 26.46 | 972.206 | 24.5261 | 53.4312
2019-01-24 07:15:00 | 7.7547 | 146.019 | 7.0073 | 120.068 | 6.496 | 140.849 | 8.03 | 139.971 | 26.46 | 972.211 | 24.6285 | 60.8875
2019-01-24 07:30:00 | 10.5633 | 136.192 | 7.0073 | 133.655 | 8.03 | 144.996 | 9.3083 | 142.192 | 26.46 | 972.262 | 24.5946 | 69.3559
2019-01-24 07:45:00 | 11.84 | 140.532 | 11.098 | 134.97 | 10.331 | 136.312 | 11.3537 | 146.702 | 26.46 | 972.03 | 24.7993 | 71.0038
2019-01-24 08:00:00 | 10.5633 | 147.385 | 9.3083 | 136.775 | 11.098 | 137.995 | 10.5867 | 143.41 | 26.46 | 972.177 | 25.1068 | 75.5522
2019-01-24 08:15:00 | 9.7973 | 147.263 | 10.5867 | 134.58 | 9.3083 | 129.069 | 10.0753 | 144.044 | 26.46 | 972.474 | 25.6875 | 72.0347
2019-01-24 08:30:00 | 11.074 | 139.654 | 8.2857 | 121.556 | 8.2857 | 167.482 | 10.0753 | 144.02 | 26.46 | 972.772 | 26.439 | 70.2723
2019-01-24 08:45:00 | 10.5633 | 141.375 | 10.331 | 140.397 | 9.3083 | 156.373 | 10.5867 | 144.008 | 26.46 | 972.92 | 25.6855 | 67.2942
2019-01-24 09:00:00 | 8.5207 | 134.877 | 7.7743 | 128.799 | 7.263 | 141.997 | 7.7743 | 147.043 | 26.46 | 973.069 | 25.8838 | 66.4075
2019-01-24 09:15:00 | 12.606 | 147.53 | 10.0753 | 144.377 | 10.8423 | 155.624 | 11.865 | 149.822 | 26.46 | 972.88 | 26.0884 | 67.66
2019-01-24 09:30:00 | 13.1167 | 131.926 | 12.3763 | 128.92 | 11.098 | 159.501 | 12.1207 | 150.383 | 26.46 | 972.772 | 26.2933 | 67.7672
2019-01-24 09:45:00 | 8.5207 | 141.313 | 7.263 | 129.627 | 6.7517 | 131.853 | 8.2857 | 146.823 | 26.46 | 973.365 | 27.9324 | 66.0454
2019-01-24 10:00:00 | 13.1167 | 134.275 | 14.166 | 124.587 | 11.6093 | 134.275 | 13.399 | 138.955 | 26.46 | 973.068 | 32.7431 | 62.2081
2019-01-24 10:15:00 | 12.606 | 147.042 | 11.865 | 146.153 | 11.865 | 149.382 | 12.632 | 154.233 | 26.46 | 973.214 | 31.0686 | 61.2548
2019-01-24 10:30:00 | 13.1167 | 155.525 | 12.632 | 146.909 | 11.3537 | 157.451 | 12.1207 | 154.501 | 26.46 | 973.04 | 32.0246 | 60.7453
2019-01-24 10:45:00 | 11.5847 | 132.855 | 11.865 | 129.724 | 12.3763 | 143.02 | 10.8423 | 150.772 | 26.46 | 973.025 | 31.7516 | 57.0426
2019-01-24 11:00:00 | 13.372 | 146.924 | 12.1207 | 136.334 | 12.8877 | 149.362 | 13.399 | 148.265 | 26.46 | 973.096 | 30.2502 | 56.0656
2019-01-24 11:15:00 | 10.8187 | 156.235 | 11.865 | 150.301 | 11.865 | 147.678 | 11.3537 | 160.769 | 26.46 | 973.144 | 29.4987 | 47.7501
2019-01-24 11:30:00 | 8.776 | 149.663 | 9.3083 | 150.772 | 11.3537 | 147.274 | 9.8197 | 152.588 | 26.46 | 973.139 | 29.2911 | 43.8763
2019-01-24 11:45:00 | 6.2227 | 133.636 | 9.3083 | 130.721 | 10.331 | 147.821 | 7.5187 | 154.377 | 26.46 | 973.389 | 28.7763 | 38.3288
2019-01-24 12:00:00 | 5.2013 | 162.615 | 6.7517 | 166.086 | 6.7517 | 174.29 | 4.962 | 158.374 | 26.46 | 973.519 | 29.971 | 40.7284
2019-01-24 12:15:00 | 8.01 | 179.042 | 8.797 | 183.61 | 10.8423 | 194.714 | 7.0073 | 171.048 | 26.46 | 973.068 | 31.6436 | 41.6018
2019-01-24 12:30:00 | 6.478 | 181.504 | 6.496 | 148.879 | 6.7517 | 170.195 | 7.7743 | 174.582 | 26.46 | 973.068 | 33.0432 | 43.7248
2019-01-24 12:45:00 | 8.01 | 178.531 | 6.2403 | 188.485 | 6.2403 | 200.783 | 8.03 | 179.798 | 26.46 | 973.068 | 32.2922 | 34.4692
2019-01-24 13:00:00 | 6.2227 | 168.928 | 8.2857 | 162.771 | 8.03 | 192.959 | 6.496 | 173.315 | 26.46 | 973.068 | 33.3504 | 28.1806
2019-01-24 13:15:00 | 5.9673 | 147.017 | 6.496 | 138.715 | 5.729 | 168.611 | 5.729 | 156.985 | 26.46 | 973.068 | 34.1014 | 26.3406
2019-01-24 13:30:00 | 5.712 | 173.388 | 5.9847 | 165.623 | 6.2403 | 151.331 | 5.729 | 196.493 | 26.46 | 973.365 | 35.7058 | 26.1152
2019-01-24 13:45:00 | 6.9887 | 162.396 | 9.0527 | 151.17 | 6.7517 | 170.366 | 7.263 | 167.222 | 26.46 | 973.068 | 35.7058 | 23.1778
2019-01-24 14:00:00 | 4.946 | 150.429 | 6.2403 | 151.438 | 4.195 | 171.341 | 5.9847 | 164.37 | 26.46 | 973.217 | 35.7058 | 22.4425
2019-01-24 14:15:00 | 4.18 | 212.555 | 5.4733 | 179.589 | 5.729 | 169.488 | 3.6837 | 198.272 | 26.46 | 973.217 | 36.3885 | 16.7931
2019-01-24 14:30:00 | 6.9887 | 150.941 | 6.496 | 140.129 | 6.2403 | 157.204 | 7.263 | 158.667 | 26.46 | 973.662 | 35.7058 | 14.2067
2019-01-24 14:45:00 | 5.712 | 133.563 | 7.7743 | 126.529 | 6.7517 | 130.857 | 5.4733 | 145.652 | 26.46 | 973.662 | 35.774 | 12.2706
2019-01-24 15:00:00 | 4.4353 | 147.528 | 5.9847 | 134.377 | 5.9847 | 139.729 | 4.962 | 146.042 | 26.46 | 972.92 | 37.2077 | 9.747
2019-01-24 15:15:00 | 5.4567 | 130.297 | 4.7063 | 123.994 | 6.496 | 129.029 | 5.4733 | 144.092 | 26.46 | 972.474 | 37.6174 | 6.6692
2019-01-24 15:30:00 | 5.712 | 149.381 | 5.729 | 148.026 | 5.2177 | 159.495 | 5.4733 | 146.943 | 26.46 | 972.371 | 37.7539 | 7.8405
2019-01-24 15:45:00 | 5.9673 | 150.774 | 6.496 | 143.107 | 5.729 | 150.214 | 6.2403 | 151.042 | 26.46 | 972.219 | 38.0622 | 6.2554
2019-01-24 16:00:00 | 4.946 | 160.31 | 5.729 | 150.305 | 5.729 | 161.505 | 4.962 | 156.97 | 26.46 | 972.129 | 38.0352 | 5.3612
2019-01-24 16:15:00 | 4.18 | 137.657 | 4.4507 | 132.21 | 4.962 | 158.084 | 4.195 | 139.314 | 26.46 | 972.418 | 37.9652 | 4.3377
2019-01-24 16:30:00 | 4.6907 | 135.781 | 4.195 | 135.381 | 2.4053 | 157.55 | 4.962 | 129.516 | 26.46 | 972.47 | 37.8974 | 3.9609
2019-01-24 16:45:00 | 5.9673 | 147.467 | 4.195 | 140.388 | 4.962 | 157.682 | 5.9847 | 150.368 | 26.46 | 972.313 | 38.1046 | 4.7516
2019-01-24 17:00:00 | 4.18 | 136.727 | 3.9393 | 135.744 | 4.7063 | 145.212 | 4.195 | 146.577 | 26.46 | 972.325 | 38.3809 | 5.0361
2019-01-24 17:15:00 | 4.4353 | 147.261 | 3.9393 | 137.598 | 3.6837 | 150.04 | 4.195 | 148.967 | 26.46 | 972.177 | 38.6543 | 6.7098
2019-01-24 17:30:00 | 4.6907 | 138.485 | 4.195 | 133.113 | 3.9393 | 135.413 | 4.7063 | 147.067 | 26.46 | 972.177 | 38.7229 | 6.684
2019-01-24 17:45:00 | 5.2013 | 135.778 | 4.7063 | 128.578 | 3.9393 | 138.094 | 5.2177 | 143.044 | 26.46 | 972.177 | 38.9278 | 7.3453
2019-01-24 18:00:00 | 3.9247 | 130.731 | 3.6837 | 137.551 | 4.195 | 143.361 | 4.195 | 128.659 | 26.46 | 972.325 | 38.8595 | 8.3023
2019-01-24 18:15:00 | 3.414 | 130.439 | 2.9167 | 127.359 | 2.4053 | 136.583 | 3.428 | 134.242 | 26.46 | 972.771 | 39.1327 | 5.5644
2019-01-24 18:30:00 | 4.6907 | 132.633 | 4.4507 | 124.629 | 4.7063 | 131.097 | 4.7063 | 138.411 | 26.46 | 972.771 | 39.3375 | 7.2973
2019-01-24 18:45:00 | 4.18 | 126.001 | 4.7063 | 123.824 | 4.7063 | 115.518 | 4.7063 | 117.639 | 26.46 | 972.771 | 39.4741 | 8.7642
2019-01-24 19:00:00 | 3.414 | 130.585 | 3.6837 | 137.746 | 3.6837 | 130.097 | 3.6837 | 136.778 | 26.46 | 972.92 | 39.8839 | 12.3519
2019-01-24 19:15:00 | 4.18 | 129.61 | 3.9393 | 121.459 | 3.6837 | 141.313 | 4.4507 | 133.389 | 26.46 | 972.781 | 39.7473 | 15.389
2019-01-24 19:30:00 | 4.6907 | 135.583 | 3.9393 | 118.704 | 3.1723 | 136.68 | 5.4733 | 109.154 | 26.46 | 972.771 | 39.201 | 9.7581
2019-01-24 19:45:00 | 3.9247 | 131.024 | 3.6837 | 129.139 | 3.428 | 140.118 | 3.9393 | 136.022 | 26.46 | 973.378 | 39.3034 | 9.0228
2019-01-24 20:00:00 | 4.4353 | 129.585 | 4.7063 | 124.385 | 4.7063 | 137.558 | 4.4507 | 131.048 | 26.46 | 973.366 | 38.5863 | 5.9117
2019-01-24 20:15:00 | 2.3927 | 133.364 | 3.6837 | 115.022 | 3.1723 | 132.438 | 3.428 | 148.651 | 26.46 | 973.959 | 38.4497 | 2.1024
2019-01-24 20:30:00 | 3.414 | 124.465 | 3.9393 | 118.728 | 3.428 | 121.345 | 3.428 | 130.731 | 26.46 | 973.959 | 38.4497 | 2.5716
2019-01-24 20:45:00 | 4.18 | 125.611 | 4.7063 | 112.755 | 3.428 | 108.642 | 4.4507 | 134.827 | 26.46 | 973.959 | 38.0741 | 2.6012
2019-01-24 21:00:00 | 3.6693 | 130.756 | 4.195 | 124.872 | 3.9393 | 126.733 | 3.9393 | 138.704 | 26.46 | 974.108 | 37.6985 | 2.2539
2019-01-24 21:15:00 | 3.6693 | 131.195 | 4.4507 | 126.701 | 4.962 | 126.708 | 4.195 | 138.485 | 26.46 | 974.257 | 36.4692 | 1.8844
2019-01-24 21:30:00 | 3.414 | 123.027 | 4.195 | 124.385 | 2.4053 | 136.534 | 3.6837 | 137.485 | 26.46 | 974.405 | 37.4253 | 1.2673
2019-01-24 21:45:00 | 2.9033 | 128.537 | 2.661 | 121.557 | 2.4053 | 143.019 | 2.9167 | 132.731 | 26.46 | 974.702 | 37.1521 | 0.12932
2019-01-24 22:00:00 | 2.648 | 132.828 | 1.894 | 132.918 | 1.127 | 137.265 | 2.9167 | 138.728 | 26.46 | 974.851 | 37.3229 | -0.2882
2019-01-24 22:15:00 | 2.3927 | 134.364 | 1.894 | 125.409 | 1.127 | 142.239 | 2.4053 | 134.803 | 26.46 | 974.875 | 37.357 | -0.25494
2019-01-24 22:30:00 | 1.3713 | 133.608 | 1.6383 | 115.169 | 1.3827 | 115.03 | 1.3827 | 132.584 | 26.46 | 975 | 36.9472 | -0.25864
2019-01-24 22:45:00 | 0 | 137.119 | 1.894 | 114.559 | 2.661 | 310.371 | 0 | 132.536 | 26.46 | 975.149 | 37.2887 | -0.022169
2019-01-24 23:00:00 | 3.1587 | 347.845 | 3.9393 | 18.976 | 3.9393 | 7.0217 | 2.661 | 351.624 | 26.46 | 975.202 | 39.8839 | 2.9928
2019-01-24 23:15:00 | 3.9247 | 3.072 | 4.195 | 0.33382 | 2.661 | 13.2877 | 3.6837 | 0.19505 | 26.46 | 975.307 | 41.9327 | 4.4818
2019-01-24 23:30:00 | 4.4353 | 4.096 | 4.195 | 2.6988 | 3.428 | 12.7513 | 4.4507 | 9.6549 | 26.46 | 975.438 | 41.0449 | 4.3119
2019-01-24 23:45:00 | 4.6907 | 0.097524 | 3.9393 | 2.5281 | 3.1723 | 13.2633 | 3.1723 | 2.7307 | 26.46 | 975.446 | 38.5863 | 3.3586