## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-25 00:00:00 | 4.946 | 5.5589 | 3.9393 | 1.3727 | 2.9167 | 0.34134 | 4.195 | 11.3129 | 26.46 | 975.446 | 37.4939 | 3.7133
2019-01-25 00:15:00 | 5.4567 | 15.6042 | 3.9393 | 11.9886 | 3.1723 | 14.5802 | 4.962 | 26.5759 | 26.46 | 975.446 | 42.7531 | 4.3562
2019-01-25 00:30:00 | 5.4567 | 22.3854 | 4.4507 | 19.1135 | 3.428 | 21.2637 | 4.4507 | 35.1875 | 26.46 | 975.446 | 38.5242 | 6.8687
2019-01-25 00:45:00 | 6.7333 | 27.0211 | 5.729 | 19.9463 | 3.428 | 25.5822 | 6.496 | 30.0695 | 26.46 | 975.446 | 37.2981 | 8.7679
2019-01-25 01:00:00 | 4.4353 | 77.1915 | 3.1723 | 2.4642 | 3.9393 | 33.6082 | 2.9167 | 15.7066 | 26.46 | 975.446 | 42.0832 | 8.3651
2019-01-25 01:15:00 | 4.946 | 9.1704 | 3.9393 | 1.6592 | 4.962 | 6.1949 | 4.7063 | 18.0969 | 26.46 | 974.852 | 41.6738 | 10.571
2019-01-25 01:30:00 | 4.4353 | 8.3656 | 4.195 | 0.90172 | 4.962 | 7.4388 | 3.9393 | 13.6093 | 26.46 | 975 | 43.2792 | 13.8002
2019-01-25 01:45:00 | 3.414 | 3.9023 | 3.9393 | 2.5846 | 2.661 | 38.8767 | 2.661 | 4.4145 | 26.46 | 974.852 | 46.9684 | 17.617
2019-01-25 02:00:00 | 5.712 | 3.9267 | 6.2403 | 10.0491 | 4.7063 | 355.427 | 5.4733 | 14.4629 | 26.46 | 974.703 | 48.7105 | 18.4705
2019-01-25 02:15:00 | 4.6907 | 9.6593 | 4.195 | 1.8065 | 3.6837 | 0.9269 | 4.4507 | 21.4406 | 26.46 | 974.891 | 48.9208 | 13.948
2019-01-25 02:30:00 | 3.414 | 13.3202 | 4.7063 | 5.7134 | 3.9393 | 18.7849 | 3.428 | 13.7837 | 26.46 | 974.702 | 51.5938 | 14.639
2019-01-25 02:45:00 | 6.2227 | 62.7227 | 4.4507 | 16.3162 | 3.9393 | 2.1957 | 5.729 | 4.6353 | 26.46 | 974.674 | 54.9086 | 19.7416
2019-01-25 03:00:00 | 6.2227 | 17.2248 | 6.7517 | 5.764 | 5.9847 | 18.5667 | 5.9847 | 26.9351 | 26.46 | 974.553 | 53.1009 | 20.0076
2019-01-25 03:15:00 | 5.712 | 9.3199 | 5.9847 | 2.1896 | 4.7063 | 267.765 | 5.2177 | 20.7381 | 26.46 | 974.555 | 53.9211 | 19.7453
2019-01-25 03:30:00 | 6.478 | 12.0037 | 4.7063 | 0.39651 | 4.7063 | 2.5862 | 6.2403 | 12.2965 | 26.46 | 974.704 | 55.7663 | 20.6911
2019-01-25 03:45:00 | 6.2227 | 5.1723 | 4.7063 | 11.3144 | 5.4733 | 342.886 | 5.729 | 19.1522 | 26.46 | 974.555 | 57.2698 | 24.4377
2019-01-25 04:00:00 | 4.4353 | 52.4307 | 5.4733 | 7.2156 | 5.9847 | 12.3209 | 4.195 | 7.1729 | 26.46 | 974.704 | 61.2335 | 28.4334
2019-01-25 04:15:00 | 7.4993 | 53.6514 | 5.729 | 1.0555 | 5.9847 | 17.6642 | 6.496 | 6.5631 | 26.46 | 974.555 | 65.95 | 32.3742
2019-01-25 04:30:00 | 8.776 | 8.4911 | 6.2403 | 1.871 | 5.9847 | 0.0488 | 8.5413 | 11.1751 | 26.46 | 974.852 | 68.8251 | 36.3684
2019-01-25 04:45:00 | 7.4993 | 1.0737 | 7.0073 | 5.6024 | 8.5413 | 13.9095 | 6.7517 | 11.7621 | 26.46 | 974.852 | 69.3801 | 33.0726
2019-01-25 05:00:00 | 8.2653 | 7.4675 | 8.5413 | 2.039 | 7.7743 | 1.025 | 8.2857 | 13.2023 | 26.46 | 975.169 | 70.1344 | 26.5031
2019-01-25 05:15:00 | 7.7547 | 13.4948 | 7.7743 | 1.5234 | 6.496 | 6.6376 | 7.5187 | 19.5956 | 26.46 | 975.356 | 70.6113 | 27.5672
2019-01-25 05:30:00 | 8.01 | 9.3468 | 8.2857 | 0.64582 | 5.4733 | 1.4887 | 7.7743 | 10.1521 | 26.46 | 975.651 | 71.9817 | 32.0528
2019-01-25 05:45:00 | 8.776 | 7.1018 | 8.5413 | 1.3786 | 4.4507 | 26.1131 | 8.2857 | 13.2762 | 26.46 | 975.796 | 75.8119 | 34.3325
2019-01-25 06:00:00 | 7.7547 | 10.5185 | 8.2857 | 9.6275 | 5.729 | 0.04881 | 8.03 | 6.2721 | 26.46 | 975.841 | 77.658 | 37.5692
2019-01-25 06:15:00 | 6.478 | 352.978 | 8.5413 | 8.9206 | 7.5187 | 356.883 | 6.7517 | 3.1971 | 26.46 | 976.229 | 78.7541 | 37.1036
2019-01-25 06:30:00 | 9.542 | 13.0817 | 9.564 | 8.7504 | 8.03 | 267.661 | 9.564 | 12.1542 | 26.46 | 976.623 | 79.1659 | 41.9328
2019-01-25 06:45:00 | 8.01 | 49.6908 | 8.5413 | 0.76958 | 7.263 | 17.5724 | 6.496 | 5.5402 | 26.46 | 976.781 | 80.4991 | 38.0939
2019-01-25 07:00:00 | 9.542 | 5.0277 | 9.564 | 5.1627 | 4.4507 | 6.9313 | 9.564 | 9.1035 | 26.46 | 977.232 | 78.7899 | 34.0037
2019-01-25 07:15:00 | 8.2653 | 8.054 | 7.0073 | 8.2866 | 5.9847 | 14.3752 | 7.5187 | 5.8087 | 26.46 | 977.53 | 73.4917 | 28.0217
2019-01-25 07:30:00 | 9.542 | 11.1291 | 9.564 | 0.57418 | 4.962 | 36.4868 | 9.8197 | 12.2274 | 26.46 | 977.53 | 65.6977 | 31.469
2019-01-25 07:45:00 | 7.7547 | 0 | 6.2403 | 7.1139 | 6.496 | 10.9337 | 6.496 | 6.2966 | 26.46 | 978.125 | 62.7572 | 30.5009
2019-01-25 08:00:00 | 9.542 | 13.3988 | 9.564 | 2.2325 | 5.9847 | 9.201 | 9.0527 | 21.0379 | 26.46 | 978.422 | 58.3828 | 34.9458
2019-01-25 08:15:00 | 9.7973 | 7.4925 | 9.3083 | 1.0369 | 4.7063 | 342.459 | 9.564 | 16.5958 | 26.46 | 978.719 | 55.9893 | 32.9359
2019-01-25 08:30:00 | 9.0313 | 4.8568 | 7.5187 | 4.6974 | 6.496 | 0.048812 | 9.3083 | 11.9346 | 26.46 | 979.017 | 54.2813 | 36.4016
2019-01-25 08:45:00 | 9.542 | 24.4061 | 8.5413 | 9.0921 | 6.2403 | 0.048812 | 8.797 | 14.7169 | 26.46 | 979.314 | 52.8115 | 34.2438
2019-01-25 09:00:00 | 5.712 | 0 | 7.263 | 10.5304 | 4.962 | 12.2519 | 6.2403 | 354.327 | 26.46 | 979.581 | 49.906 | 25.0326
2019-01-25 09:15:00 | 7.7547 | 1.8789 | 7.5187 | 0.99122 | 7.5187 | 354.993 | 6.7517 | 11.9567 | 26.46 | 979.76 | 47.1626 | 25.5572
2019-01-25 09:30:00 | 7.244 | 0.17078 | 8.03 | 0.1402 | 6.2403 | 9.198 | 6.496 | 6.6606 | 26.46 | 980.501 | 45.5835 | 26.5216
2019-01-25 09:45:00 | 9.2867 | 0.34157 | 7.263 | 4.8857 | 5.4733 | 0.048795 | 9.8197 | 12.4672 | 26.46 | 980.947 | 44.1483 | 27.4675
2019-01-25 10:00:00 | 8.01 | 23.493 | 9.564 | 17.9108 | 5.2177 | 26.9815 | 7.7743 | 20.4923 | 26.46 | 981.083 | 42.026 | 31.6031
2019-01-25 10:15:00 | 5.712 | 354.866 | 9.0527 | 6.7138 | 5.4733 | 31.1539 | 6.496 | 6.3186 | 26.46 | 981.636 | 42.0612 | 39.1358
2019-01-25 10:30:00 | 8.776 | 2.8543 | 7.0073 | 5.2893 | 8.2857 | 25.2253 | 8.797 | 7.7091 | 26.46 | 981.69 | 39.4638 | 39.1246
2019-01-25 10:45:00 | 11.3293 | 20.7362 | 11.098 | 11.5922 | 7.5187 | 19.8336 | 11.098 | 25.0786 | 26.46 | 981.838 | 37.755 | 37.5831
2019-01-25 11:00:00 | 9.542 | 356.866 | 9.0527 | 0.44113 | 8.03 | 14.8064 | 9.564 | 0.19514 | 26.46 | 981.963 | 37.3749 | 49.412
2019-01-25 11:15:00 | 10.308 | 25.6577 | 11.3537 | 19.706 | 7.263 | 81.5827 | 9.0527 | 14.3654 | 26.46 | 981.699 | 36.4134 | 60.43
2019-01-25 11:30:00 | 9.7973 | 20.853 | 11.6093 | 13.7306 | 5.4733 | 56.7298 | 9.8197 | 19.3896 | 26.46 | 981.687 | 35.5935 | 64.0204
2019-01-25 11:45:00 | 8.5207 | 348.769 | 11.6093 | 5.4138 | 7.263 | 72.8268 | 11.865 | 356.622 | 26.46 | 981.39 | 33.7489 | 68.9273
2019-01-25 12:00:00 | 9.2867 | 17.5604 | 12.8877 | 14.7549 | 11.865 | 73.0463 | 9.0527 | 351.842 | 26.46 | 980.944 | 34.5688 | 68.3473
2019-01-25 12:15:00 | 9.2867 | 84.2898 | 9.8197 | 9.8283 | 7.263 | 73.4121 | 9.3083 | 347.061 | 26.46 | 981.39 | 33.8856 | 68.3599
2019-01-25 12:30:00 | 9.542 | 355.598 | 7.7743 | 0.38955 | 10.331 | 72.1927 | 10.8423 | 0.65851 | 26.46 | 981.241 | 33.4074 | 66.4908
2019-01-25 12:45:00 | 8.2653 | 15.7312 | 7.0073 | 10.8526 | 6.7517 | 72.5097 | 9.0527 | 341.842 | 26.46 | 981.39 | 33.2024 | 64.5896
2019-01-25 13:00:00 | 8.776 | 29.438 | 11.098 | 27.9008 | 10.331 | 66.2417 | 7.7743 | 6.2925 | 26.46 | 980.795 | 33.4757 | 66.1483
2019-01-25 13:15:00 | 9.2867 | 8.0729 | 11.098 | 6.1468 | 8.2857 | 66.6075 | 7.7743 | 4.5608 | 26.46 | 981.39 | 34.6371 | 68.653
2019-01-25 13:30:00 | 9.542 | 356.89 | 8.03 | 6.3162 | 12.1207 | 99.7039 | 9.0527 | 344.086 | 26.46 | 981.092 | 34.4321 | 68.8713
2019-01-25 13:45:00 | 12.0953 | 355.183 | 11.6093 | 26.0472 | 9.564 | 39.2182 | 11.865 | 354.159 | 26.46 | 981.092 | 34.2272 | 66.1821
2019-01-25 14:00:00 | 11.84 | 179.774 | 10.331 | 8.8297 | 8.5413 | 32.1453 | 11.6093 | 9.4875 | 26.46 | 981.092 | 33.9539 | 64.1869
2019-01-25 14:15:00 | 9.0313 | 9.7802 | 13.1433 | 11.1453 | 10.5867 | 32.9989 | 8.5413 | 15.8775 | 26.46 | 981.122 | 34.2272 | 68.371
2019-01-25 14:30:00 | 10.308 | 348.574 | 7.7743 | 9.6833 | 9.3083 | 65.5831 | 9.8197 | 0.19512 | 26.46 | 981.407 | 34.6371 | 67.1427
2019-01-25 14:45:00 | 3.9247 | 90.7043 | 7.0073 | 22.1693 | 11.3537 | 65.2173 | 2.661 | 350.086 | 26.46 | 981.556 | 30.743 | 65.6518
2019-01-25 15:00:00 | 10.0527 | 17.1702 | 12.632 | 36.9005 | 7.263 | 90.7774 | 9.3083 | 267.089 | 26.46 | 981.984 | 29.3766 | 69.7242
2019-01-25 15:15:00 | 12.8613 | 1.7804 | 13.399 | 3.9016 | 13.399 | 90.3628 | 12.632 | 8.829 | 26.46 | 981.241 | 30.1281 | 63.9002
2019-01-25 15:30:00 | 9.0313 | 356.905 | 9.3083 | 0.32 | 7.7743 | 90.5252 | 10.331 | 352.782 | 26.46 | 981.301 | 30.7484 | 61.29
2019-01-25 15:45:00 | 9.7973 | 6.7576 | 7.7743 | 7.738 | 9.3083 | 90.6058 | 9.0527 | 6.0014 | 26.46 | 981.689 | 28.2909 | 62.2219
2019-01-25 16:00:00 | 8.5207 | 356.906 | 9.0527 | 5.4689 | 9.0527 | 90.7513 | 9.3083 | 347.636 | 26.46 | 981.986 | 28.3589 | 58.6935
2019-01-25 16:15:00 | 8.2653 | 5.5623 | 7.263 | 12.2908 | 8.797 | 90.7537 | 6.7517 | 352.183 | 26.46 | 982.284 | 29.5897 | 63.4357
2019-01-25 16:30:00 | 8.5207 | 356.141 | 9.0527 | 4.2501 | 10.331 | 90.7551 | 7.263 | 356.311 | 26.46 | 982.284 | 27.5401 | 55.1651
2019-01-25 16:45:00 | 8.01 | 11.027 | 7.263 | 5.4206 | 8.03 | 90.7529 | 5.2177 | 352.229 | 26.46 | 982.284 | 29.0428 | 51.1469
2019-01-25 17:00:00 | 9.2867 | 18.2488 | 9.3083 | 8.4711 | 6.496 | 90.8293 | 9.3083 | 11.1737 | 26.46 | 981.941 | 29.7272 | 48.084
2019-01-25 17:15:00 | 6.9887 | 9.0272 | 7.263 | 4.3002 | 4.195 | 90.8572 | 7.263 | 10.6374 | 26.46 | 981.838 | 30.1384 | 39.1432
2019-01-25 17:30:00 | 7.244 | 356.89 | 6.2403 | 19.3657 | 7.5187 | 90.8572 | 7.263 | 44.6723 | 26.46 | 981.69 | 30.1384 | 24.083
2019-01-25 17:45:00 | 6.2227 | 0.097606 | 8.2857 | 20.1891 | 3.9393 | 90.8953 | 5.729 | 356.846 | 26.46 | 981.69 | 30.348 | 19.7268
2019-01-25 18:00:00 | 7.4993 | 340.458 | 4.7063 | 14.1922 | 2.9167 | 91.0329 | 7.5187 | 350.855 | 26.46 | 981.964 | 31.447 | 24.6483
2019-01-25 18:15:00 | 7.7547 | 346.786 | 3.9393 | 335.816 | 5.9847 | 91.0103 | 7.7743 | 344.126 | 26.46 | 981.842 | 29.3283 | 31.6833
2019-01-25 18:30:00 | 6.7333 | 356.376 | 7.7743 | 8.2119 | 5.9847 | 91.0831 | 7.7743 | 356.815 | 26.46 | 981.842 | 25.4314 | 35.2969
2019-01-25 18:45:00 | 6.9887 | 356.915 | 6.2403 | 10.6769 | 5.729 | 91.0835 | 7.0073 | 353.766 | 26.46 | 981.99 | 24.4744 | 34.6392
2019-01-25 19:00:00 | 8.2653 | 2.6359 | 6.496 | 19.0238 | 6.7517 | 91.0835 | 7.7743 | 356.817 | 26.46 | 981.842 | 24.8163 | 40.7837
2019-01-25 19:15:00 | 7.244 | 3.0508 | 5.729 | 9.6518 | 7.263 | 91.0835 | 7.0073 | 5.8087 | 26.46 | 981.99 | 22.9021 | 38.8254
2019-01-25 19:30:00 | 7.4993 | 21.819 | 7.7743 | 6.1633 | 5.9847 | 91.0835 | 8.03 | 13.8871 | 26.46 | 981.99 | 22.6286 | 31.9382
2019-01-25 19:45:00 | 7.7547 | 10.397 | 6.7517 | 2.8197 | 5.2177 | 91.0835 | 7.0073 | 18.5486 | 26.46 | 981.99 | 23.7224 | 36.361
2019-01-25 20:00:00 | 8.776 | 7.9808 | 8.5413 | 1.697 | 6.7517 | 91.0835 | 8.2857 | 16.23 | 26.46 | 981.693 | 23.8933 | 39.3464
2019-01-25 20:15:00 | 9.542 | 7.4683 | 8.03 | 0.72085 | 3.1723 | 91.0595 | 7.263 | 15.9372 | 26.46 | 981.842 | 25.4317 | 34.68
2019-01-25 20:30:00 | 10.5633 | 20.8925 | 8.5413 | 21.9802 | 5.4733 | 91.0873 | 10.5867 | 20.4532 | 26.46 | 981.99 | 28.3724 | 30.3605
2019-01-25 20:45:00 | 9.542 | 23.6509 | 8.797 | 3.8706 | 8.2857 | 91.0403 | 9.3083 | 19.9166 | 26.46 | 981.99 | 30.4924 | 27.3603
2019-01-25 21:00:00 | 8.5207 | 4.8085 | 8.2857 | 0.32665 | 5.9847 | 91.093 | 8.2857 | 17.5986 | 26.46 | 982.139 | 31.5876 | 22.8157
2019-01-25 21:15:00 | 5.9673 | 21.0392 | 6.2403 | 7.7757 | 4.195 | 91.1131 | 5.4733 | 15.4255 | 26.46 | 982.288 | 32.7484 | 15.2265
2019-01-25 21:30:00 | 6.478 | 7.9329 | 6.2403 | 1.0892 | 3.9393 | 91.0936 | 6.496 | 11.2769 | 26.46 | 982.585 | 33.2288 | 11.5907
2019-01-25 21:45:00 | 6.7333 | 7.6156 | 5.729 | 10.8531 | 2.9167 | 91.1192 | 6.2403 | 17.9163 | 26.46 | 982.585 | 33.2976 | 8.7272
2019-01-25 22:00:00 | 6.478 | 11.131 | 6.496 | 8.0717 | 3.428 | 91.1476 | 5.729 | 12.8398 | 26.46 | 982.585 | 33.5042 | 7.2752
2019-01-25 22:15:00 | 6.2227 | 10.1058 | 5.2177 | 0.30933 | 3.428 | 91.1479 | 5.729 | 12.1807 | 26.46 | 982.585 | 32.2735 | 7.3232
2019-01-25 22:30:00 | 6.7333 | 349.555 | 4.7063 | 15.6878 | 4.4507 | 91.1479 | 6.496 | 11.7902 | 26.46 | 982.437 | 31.2479 | 9.8172
2019-01-25 22:45:00 | 5.9673 | 12.1319 | 5.2177 | 3.2386 | 2.661 | 91.0991 | 5.729 | 8.2263 | 26.46 | 982.585 | 29.812 | 6.3108
2019-01-25 23:00:00 | 4.6907 | 11.3264 | 4.4507 | 0.40697 | 2.661 | 91.1479 | 3.9393 | 17.8195 | 26.46 | 982.585 | 32 | 2.749
2019-01-25 23:15:00 | 3.414 | 15.4517 | 3.6837 | 8.3647 | 2.9167 | 91.1479 | 2.9167 | 21.6763 | 26.46 | 983.031 | 29.8803 | 0.77592
2019-01-25 23:30:00 | 4.4353 | 21.7739 | 3.9393 | 16.9327 | 2.9167 | 91.1479 | 3.6837 | 19.3085 | 26.46 | 983.031 | 28.3077 | 1.1158
2019-01-25 23:45:00 | 4.4353 | 17.7218 | 3.428 | 17.6894 | 2.661 | 91.1479 | 3.6837 | 20.8708 | 26.46 | 983.18 | 27.6923 | 0.36579