## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-26 00:00:00 | 4.6907 | 14.5485 | 3.6837 | 1.6519 | 2.9167 | 91.1479 | 4.195 | 12.9618 | 26.46 | 983.031 | 27.4188 | 0.60965
2019-01-26 00:15:00 | 4.18 | 7.8113 | 2.661 | 0.016407 | 2.4053 | 91.1479 | 3.9393 | 13.5721 | 26.46 | 983.18 | 28.5812 | 0.49141
2019-01-26 00:30:00 | 4.6907 | 10.9846 | 4.195 | 0.26051 | 2.9167 | 91.1479 | 3.9393 | 18.6494 | 26.46 | 983.18 | 32 | 0.80917
2019-01-26 00:45:00 | 4.6907 | 13.5721 | 3.9393 | 1.8388 | 3.428 | 91.1479 | 4.195 | 19.8211 | 26.46 | 983.18 | 32.7521 | 0.49141
2019-01-26 01:00:00 | 4.4353 | 14.5485 | 3.6837 | 7.608 | 2.9167 | 91.1479 | 3.9393 | 18.1368 | 26.46 | 982.883 | 32.4103 | 0.62812
2019-01-26 01:15:00 | 4.6907 | 12.4004 | 3.9393 | 8.6576 | 3.1723 | 91.1479 | 4.195 | 20.0164 | 26.46 | 982.883 | 32.2735 | 0.68355
2019-01-26 01:30:00 | 5.2013 | 21.8716 | 3.9393 | 14.4673 | 3.428 | 91.1479 | 4.7063 | 27.2174 | 26.46 | 982.883 | 31.9316 | 1.4595
2019-01-26 01:45:00 | 5.2013 | 25.3867 | 4.962 | 15.0531 | 3.6837 | 91.1479 | 4.7063 | 30.6593 | 26.46 | 982.885 | 30.7692 | 2.5384
2019-01-26 02:00:00 | 5.712 | 34.1744 | 4.7063 | 28.5764 | 3.1723 | 91.1479 | 5.2177 | 35.0043 | 26.46 | 982.734 | 30.359 | 3.0889
2019-01-26 02:15:00 | 5.2013 | 31.3184 | 4.4507 | 24.0361 | 3.428 | 91.1479 | 4.7063 | 34.1011 | 26.46 | 982.586 | 28.8547 | 3.8205
2019-01-26 02:30:00 | 5.2013 | 29.1214 | 5.2177 | 26.9653 | 3.1723 | 91.1479 | 3.9393 | 35.9319 | 26.46 | 982.437 | 29.0256 | 4.8033
2019-01-26 02:45:00 | 3.6693 | 22.018 | 3.6837 | 37.8035 | 3.428 | 91.1479 | 3.1723 | 36.6154 | 26.46 | 982.445 | 28.4444 | 3.8352
2019-01-26 03:00:00 | 5.2013 | 27.5104 | 5.4733 | 27.1118 | 2.4053 | 91.1479 | 4.7063 | 39.8375 | 26.46 | 982.288 | 27.2137 | 3.3845
2019-01-26 03:15:00 | 4.946 | 31.2939 | 3.1723 | 23.9629 | 2.4053 | 91.1479 | 3.9393 | 35.8831 | 26.46 | 982.288 | 25.9145 | 3.3217
2019-01-26 03:30:00 | 3.9247 | 31.1963 | 4.195 | 28.1858 | 2.9167 | 91.1479 | 3.6837 | 26.3387 | 26.46 | 982.295 | 25.7778 | 2.1873
2019-01-26 03:45:00 | 4.18 | 29.9758 | 3.9393 | 28.1858 | 2.9167 | 91.1479 | 3.428 | 35.1996 | 26.46 | 982.142 | 26.5983 | 1.2858
2019-01-26 04:00:00 | 4.4353 | 31.3916 | 2.9167 | 19.8619 | 2.661 | 91.1479 | 3.6837 | 41.0092 | 26.46 | 982.288 | 25.0256 | 1.223
2019-01-26 04:15:00 | 3.1587 | 37.6894 | 2.9167 | 34.2884 | 2.1497 | 91.1479 | 2.661 | 39.9352 | 26.46 | 982.437 | 24.2735 | 0.1441
2019-01-26 04:30:00 | 3.414 | 33.4909 | 2.9167 | 26.5748 | 2.4053 | 91.1479 | 2.661 | 38.6414 | 26.46 | 981.991 | 23.8632 | 0.16996
2019-01-26 04:45:00 | 2.9033 | 37.3965 | 2.661 | 31.5789 | 2.4053 | 91.1479 | 2.661 | 45.2322 | 26.46 | 981.991 | 22.0171 | 0.15518
2019-01-26 05:00:00 | 2.648 | 54.4349 | 2.1497 | 56.4041 | 1.894 | 91.1479 | 2.1497 | 55.5333 | 26.46 | 982.288 | 21.812 | -0.20691
2019-01-26 05:15:00 | 1.882 | 56.8515 | 2.1497 | 56.7703 | 1.3827 | 91.1479 | 1.3827 | 56.0215 | 26.46 | 981.992 | 21.265 | -0.29928
2019-01-26 05:30:00 | 2.1373 | 29.2932 | 2.1497 | 31.0679 | 0 | 91.1508 | 1.6383 | 32.8328 | 26.46 | 981.991 | 22.1545 | -0.31776
2019-01-26 05:45:00 | 2.3927 | 15.7696 | 2.4053 | 2.6536 | 1.3827 | 91.1512 | 2.4053 | 20.7007 | 26.46 | 981.991 | 22.223 | -0.29928
2019-01-26 06:00:00 | 2.9033 | 4.3941 | 2.1497 | 2.8144 | 1.6383 | 91.1523 | 2.661 | 10.5457 | 26.46 | 982.14 | 21.984 | -0.33254
2019-01-26 06:15:00 | 3.414 | 4.101 | 2.661 | 4.5725 | 1.894 | 91.1486 | 3.1723 | 10.9359 | 26.46 | 982.289 | 22.7695 | -0.31776
2019-01-26 06:30:00 | 3.1587 | 8.6901 | 3.428 | 3.3032 | 2.4053 | 91.1484 | 2.661 | 16.5991 | 26.46 | 982.587 | 23.3164 | -0.31037
2019-01-26 06:45:00 | 3.6693 | 3.808 | 3.428 | 3.2057 | 2.1497 | 91.1479 | 3.428 | 8.4215 | 26.46 | 982.734 | 22.7009 | -0.33254
2019-01-26 07:00:00 | 3.414 | 3.3198 | 3.1723 | 3.2057 | 1.6383 | 91.1483 | 2.9167 | 8.3972 | 26.46 | 982.883 | 23.8633 | -0.3547
2019-01-26 07:15:00 | 3.1587 | 3.4663 | 2.9167 | 2.8152 | 2.1497 | 91.1479 | 3.1723 | 14.4509 | 26.46 | 982.884 | 24.1026 | -0.32884
2019-01-26 07:30:00 | 3.414 | 13.2792 | 3.1723 | 2.7175 | 2.4053 | 91.1479 | 3.1723 | 21.5787 | 26.46 | 983.181 | 23.1111 | -0.31406
2019-01-26 07:45:00 | 2.3927 | 16.2572 | 2.9167 | 2.8724 | 2.4053 | 91.1479 | 2.1497 | 22.9456 | 26.46 | 983.181 | 21.6752 | -0.31776
2019-01-26 08:00:00 | 2.3927 | 16.3054 | 2.661 | 2.8471 | 2.1497 | 91.1445 | 2.1497 | 21.0164 | 26.46 | 983.478 | 22.2214 | -0.33254
2019-01-26 08:15:00 | 2.648 | 16.303 | 2.9167 | 4.3569 | 2.1497 | 91.1308 | 2.1497 | 20.9645 | 26.46 | 983.924 | 21.9446 | -0.31776
2019-01-26 08:30:00 | 2.648 | 24.0877 | 2.4053 | 14.8503 | 1.894 | 91.1769 | 1.894 | 33.9229 | 26.46 | 983.875 | 21.3971 | -0.31776
2019-01-26 08:45:00 | 1.882 | 23.6171 | 2.4053 | 18.1582 | 1.3827 | 91.1502 | 1.894 | 26.6424 | 26.46 | 984.068 | 21.5275 | -0.31776
2019-01-26 09:00:00 | 1.882 | 18.3459 | 2.1497 | 16.5454 | 1.6383 | 91.1439 | 1.3827 | 26.2502 | 26.46 | 984.362 | 21.5943 | -0.31776
2019-01-26 09:15:00 | 0 | 33.7555 | 1.6383 | 17.6091 | 1.6383 | 91.1203 | 0.75133 | 17.1948 | 26.46 | 984.692 | 20.7006 | -0.31776
2019-01-26 09:30:00 | 0 | 26.243 | 1.3827 | 16.8768 | 1.3827 | 91.1676 | 0.75133 | 32.7794 | 26.46 | 984.956 | 23.0914 | -0.29928
2019-01-26 09:45:00 | 0.372 | 28.4776 | 1.3827 | 31.2012 | 0 | 91.1381 | 0 | 36.2066 | 26.46 | 984.926 | 21.9912 | -0.29928
2019-01-26 10:00:00 | 1.882 | 24.2104 | 2.661 | 26.4704 | 2.4053 | 91.1365 | 1.6383 | 40.5945 | 26.46 | 984.954 | 20.6249 | -0.29928
2019-01-26 10:15:00 | 2.3927 | 18.7706 | 2.661 | 3.6949 | 1.6383 | 91.1229 | 1.894 | 33.2508 | 26.46 | 984.941 | 20.0073 | -0.31776
2019-01-26 10:30:00 | 1.116 | 12.4811 | 1.894 | 16.0997 | 1.6383 | 91.1705 | 0.37567 | 21.2569 | 26.46 | 985.066 | 18.7096 | -0.29928
2019-01-26 10:45:00 | 2.3927 | 0.097491 | 2.1497 | 1.9843 | 2.661 | 91.1543 | 2.4053 | 1.0237 | 26.46 | 984.866 | 19.389 | -0.29928
2019-01-26 11:00:00 | 1.3713 | 29.4423 | 2.1497 | 9.7591 | 1.3827 | 91.1542 | 1.127 | 22.9591 | 26.46 | 984.799 | 18.7063 | -0.29928
2019-01-26 11:15:00 | 0 | 293.643 | 2.661 | 307.156 | 1.6383 | 91.1542 | 1.127 | 286.502 | 26.46 | 984.947 | 18.638 | -0.29928
2019-01-26 11:30:00 | 2.9033 | 55.1304 | 1.127 | 18.9959 | 0.75133 | 91.1529 | 1.894 | 57.9089 | 26.46 | 984.947 | 16.6579 | -0.33623
2019-01-26 11:45:00 | 0 | 199.491 | 0.37567 | 243.803 | 0 | 91.143 | 0.37567 | 257.369 | 26.46 | 984.947 | 15.5639 | -0.26233
2019-01-26 12:00:00 | 1.3713 | 145.625 | 2.4053 | 180.697 | 1.3827 | 144.163 | 2.1497 | 206.765 | 26.46 | 984.501 | 17.3377 | -0.28081
2019-01-26 12:15:00 | 1.882 | 179.111 | 4.962 | 153.189 | 4.962 | 143.869 | 1.894 | 223.761 | 26.46 | 984.353 | 18.5693 | -0.29928
2019-01-26 12:30:00 | 2.3927 | 257.718 | 1.6383 | 253.56 | 1.127 | 143.848 | 2.661 | 268.442 | 26.46 | 984.056 | 18.0918 | -0.29928
2019-01-26 12:45:00 | 3.414 | 231.297 | 3.428 | 205.351 | 4.195 | 143.921 | 3.428 | 232.419 | 26.46 | 983.462 | 18.9793 | -0.29928
2019-01-26 13:00:00 | 1.882 | 235.319 | 3.1723 | 237.206 | 0 | 167.733 | 1.894 | 226.715 | 26.46 | 983.539 | 18.1601 | -0.31406
2019-01-26 13:15:00 | 3.1587 | 276.582 | 3.9393 | 230.016 | 4.195 | 178.457 | 2.9167 | 254.354 | 26.46 | 983.83 | 17.8187 | -0.33254
2019-01-26 13:30:00 | 3.414 | 205.968 | 4.4507 | 204.445 | 4.962 | 212.16 | 3.9393 | 224.152 | 26.46 | 983.331 | 18.5031 | -0.12193
2019-01-26 13:45:00 | 0 | 285.846 | 2.9167 | 270.234 | 2.661 | 228.218 | 0 | 266.978 | 26.46 | 983.412 | 17.9585 | -0.28081
2019-01-26 14:00:00 | 0 | 283.832 | 2.9167 | 287.795 | 2.1497 | 227.982 | 0.75133 | 307.576 | 26.46 | 983.612 | 17.7542 | -0.28081
2019-01-26 14:15:00 | 2.9033 | 278.872 | 2.9167 | 249.073 | 3.6837 | 224.414 | 2.9167 | 272.363 | 26.46 | 983.745 | 17.4121 | -0.29928
2019-01-26 14:30:00 | 1.882 | 190.871 | 2.4053 | 146.202 | 2.9167 | 143.873 | 2.4053 | 194.187 | 26.46 | 983.335 | 16.4561 | -0.26233
2019-01-26 14:45:00 | 0 | 218.539 | 1.3827 | 201.879 | 1.3827 | 217.978 | 0.37567 | 203.547 | 26.46 | 983.451 | 17.2755 | -0.26233
2019-01-26 15:00:00 | 0.744 | 257.86 | 2.1497 | 253.169 | 2.4053 | 217.833 | 1.127 | 253.472 | 26.46 | 983.729 | 17.7194 | -0.28081
2019-01-26 15:15:00 | 2.3927 | 175.809 | 3.6837 | 169.85 | 4.7063 | 195.164 | 2.661 | 196.749 | 26.46 | 983.435 | 16.3881 | -0.19213
2019-01-26 15:30:00 | 0.744 | 195.032 | 1.894 | 204.53 | 3.428 | 204.905 | 1.894 | 182.4 | 26.46 | 983.465 | 16.1844 | 0.018474
2019-01-26 15:45:00 | 3.1587 | 206.042 | 4.4507 | 183.067 | 4.4507 | 191.779 | 4.195 | 220.159 | 26.46 | 982.574 | 16.3904 | -0.014779
2019-01-26 16:00:00 | 1.6267 | 174.91 | 2.9167 | 164.711 | 2.9167 | 177.47 | 2.1497 | 164.231 | 26.46 | 982.277 | 16.9028 | 0.10346
2019-01-26 16:15:00 | 3.6693 | 197.828 | 4.195 | 175.195 | 4.962 | 193.488 | 3.9393 | 195.146 | 26.46 | 981.93 | 17.9614 | -0.073897
2019-01-26 16:30:00 | 3.414 | 192.753 | 3.6837 | 184.117 | 4.195 | 190.753 | 3.428 | 188.022 | 26.46 | 981.389 | 19.2635 | -0.12562
2019-01-26 16:45:00 | 4.18 | 167.336 | 4.4507 | 154.677 | 4.962 | 163.311 | 4.4507 | 172.336 | 26.46 | 980.795 | 19.6755 | -0.081287
2019-01-26 17:00:00 | 3.1587 | 165.994 | 3.9393 | 163.384 | 3.428 | 174.653 | 3.428 | 171.311 | 26.46 | 980.498 | 19.778 | 0.15888
2019-01-26 17:15:00 | 3.414 | 161.485 | 3.428 | 157.463 | 3.9393 | 158.366 | 3.428 | 178.93 | 26.46 | 980.217 | 20.2255 | 0.5025
2019-01-26 17:30:00 | 4.18 | 164.789 | 3.6837 | 151.79 | 4.195 | 151.98 | 3.9393 | 159.981 | 26.46 | 979.906 | 19.9534 | 0.9348
2019-01-26 17:45:00 | 4.18 | 154.95 | 3.1723 | 149.271 | 3.6837 | 153.901 | 3.9393 | 159.878 | 26.46 | 979.609 | 20.3656 | 0.32515
2019-01-26 18:00:00 | 3.9247 | 155.804 | 3.428 | 147.612 | 3.1723 | 152.974 | 3.6837 | 163.758 | 26.46 | 979.312 | 20.639 | 0.18474
2019-01-26 18:15:00 | 4.18 | 159.612 | 3.9393 | 154.739 | 4.195 | 156.491 | 4.4507 | 163.42 | 26.46 | 979.312 | 20.0241 | 0.67985
2019-01-26 18:30:00 | 4.946 | 159.832 | 4.195 | 166.308 | 3.428 | 154.906 | 4.4507 | 167.741 | 26.46 | 979.312 | 19.2754 | 1.8474
2019-01-26 18:45:00 | 3.414 | 162.696 | 3.9393 | 147.65 | 3.9393 | 168.844 | 3.428 | 171.455 | 26.46 | 979.312 | 19.8233 | 3.5544
2019-01-26 19:00:00 | 3.9247 | 158.327 | 4.4507 | 144.915 | 3.6837 | 181.901 | 3.6837 | 160.524 | 26.46 | 979.337 | 20.2334 | 4.7996
2019-01-26 19:15:00 | 5.2013 | 169.684 | 4.4507 | 160.349 | 4.195 | 163.705 | 5.4733 | 175.078 | 26.46 | 979.356 | 20.9181 | 7.0793
2019-01-26 19:30:00 | 5.4567 | 171.469 | 4.962 | 161.621 | 5.2177 | 172.909 | 5.4733 | 173.006 | 26.46 | 979.356 | 21.2603 | 7.4451
2019-01-26 19:45:00 | 5.2013 | 180.263 | 5.9847 | 168.39 | 4.7063 | 164.496 | 5.4733 | 183.216 | 26.46 | 979.451 | 21.4663 | 6.7098
2019-01-26 20:00:00 | 5.9673 | 159.396 | 4.7063 | 142.471 | 4.195 | 148.389 | 5.9847 | 159.127 | 26.46 | 979.277 | 21.8082 | 6.6249
2019-01-26 20:15:00 | 5.2013 | 159.835 | 4.4507 | 147.279 | 4.195 | 163.179 | 5.2177 | 166.401 | 26.46 | 979.165 | 22.2184 | 8.9452
2019-01-26 20:30:00 | 4.6907 | 154.344 | 4.4507 | 141.739 | 4.7063 | 145.997 | 3.6837 | 154.442 | 26.46 | 979.017 | 22.4919 | 10.5931
2019-01-26 20:45:00 | 5.2013 | 156.589 | 5.9847 | 145.327 | 5.9847 | 151.269 | 5.2177 | 157.346 | 26.46 | 978.422 | 22.6286 | 13.4308
2019-01-26 21:00:00 | 3.9247 | 155.027 | 4.7063 | 165.413 | 5.9847 | 189.903 | 4.4507 | 160.641 | 26.46 | 978.422 | 23.7566 | 13.5786
2019-01-26 21:15:00 | 6.7333 | 172.838 | 5.9847 | 168.457 | 5.729 | 187.091 | 6.7517 | 176.499 | 26.46 | 978.422 | 24.5762 | 11.2841
2019-01-26 21:30:00 | 6.2227 | 163.031 | 5.4733 | 156.381 | 5.729 | 161.176 | 6.496 | 157.345 | 26.46 | 978.273 | 25.5339 | 13.4012
2019-01-26 21:45:00 | 6.2227 | 183.656 | 4.7063 | 167.073 | 4.962 | 158.713 | 5.4733 | 200.716 | 26.46 | 978.273 | 26.7305 | 16.0282
2019-01-26 22:00:00 | 9.2867 | 179.507 | 5.9847 | 182.643 | 5.4733 | 184.803 | 8.2857 | 169.695 | 26.46 | 977.976 | 28.0977 | 19.7194
2019-01-26 22:15:00 | 10.0527 | 172.771 | 9.564 | 169.733 | 9.0527 | 171.184 | 9.564 | 180.337 | 26.46 | 977.827 | 29.1232 | 22.5496
2019-01-26 22:30:00 | 7.4993 | 186.633 | 7.5187 | 170.88 | 9.0527 | 166.864 | 7.5187 | 188.83 | 26.46 | 977.976 | 29.9436 | 20.0039
2019-01-26 22:45:00 | 9.2867 | 168.768 | 7.0073 | 165.535 | 9.0527 | 155.247 | 7.7743 | 185.486 | 26.46 | 977.827 | 30.9007 | 21.8328
2019-01-26 23:00:00 | 10.0527 | 179.434 | 8.5413 | 162.826 | 8.5413 | 168.402 | 9.8197 | 183.046 | 26.46 | 977.827 | 31.9262 | 20.5988
2019-01-26 23:15:00 | 10.0527 | 170.867 | 8.5413 | 159.141 | 8.2857 | 192.393 | 8.797 | 183.021 | 26.46 | 977.381 | 32.5414 | 18.8548
2019-01-26 23:30:00 | 10.0527 | 181.508 | 10.0753 | 170.978 | 11.098 | 170.769 | 10.0753 | 187.78 | 26.46 | 977.381 | 33.1567 | 22.8896
2019-01-26 23:45:00 | 10.8187 | 175.846 | 9.0527 | 161.532 | 10.8423 | 163.423 | 10.331 | 188.952 | 26.46 | 977.232 | 34.1138 | 24.9291