## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-27 00:00:00 | 11.3293 | 187.439 | 10.5867 | 157.749 | 8.797 | 167.694 | 10.0753 | 191.783 | 26.46 | 977.381 | 36.3015 | 25.5646
2019-01-27 00:15:00 | 12.3507 | 178.775 | 8.797 | 183.376 | 7.0073 | 177.774 | 10.5867 | 191.1 | 26.46 | 977.232 | 37.4637 | 29.9504
2019-01-27 00:30:00 | 12.606 | 178.677 | 11.6093 | 164.73 | 11.098 | 170.574 | 12.1207 | 182.753 | 26.46 | 976.935 | 37.8055 | 33.7044
2019-01-27 00:45:00 | 11.84 | 178.653 | 12.1207 | 173.052 | 11.3537 | 167.938 | 12.1207 | 162.935 | 26.46 | 976.489 | 39.0702 | 34.2438
2019-01-27 01:00:00 | 8.5207 | 152.318 | 7.0073 | 167.341 | 6.2403 | 171.184 | 8.5413 | 167.133 | 26.46 | 976.638 | 39.8906 | 33.2869
2019-01-27 01:15:00 | 8.5207 | 152.928 | 4.7063 | 168.976 | 7.5187 | 155.003 | 8.797 | 187.61 | 26.46 | 976.34 | 39.9932 | 32.5479
2019-01-27 01:30:00 | 9.7973 | 179.604 | 9.0527 | 164.632 | 8.03 | 165.327 | 10.331 | 180.41 | 26.46 | 976.043 | 38.7626 | 35.0641
2019-01-27 01:45:00 | 7.4993 | 177.191 | 7.7743 | 174.349 | 6.7517 | 182.414 | 7.7743 | 176.556 | 26.46 | 976.043 | 38.9683 | 36.5621
2019-01-27 02:00:00 | 9.542 | 147.956 | 7.5187 | 149.63 | 7.7743 | 182.102 | 8.797 | 171.509 | 26.46 | 976.043 | 38.3541 | 41.7481
2019-01-27 02:15:00 | 5.9673 | 155.233 | 7.0073 | 154.417 | 7.7743 | 154.134 | 6.496 | 179.494 | 26.46 | 975.746 | 41.3631 | 41.7444
2019-01-27 02:30:00 | 6.478 | 186.099 | 7.263 | 173.007 | 7.5187 | 173.797 | 5.729 | 177.141 | 26.46 | 975.448 | 41.093 | 45.9491
2019-01-27 02:45:00 | 9.542 | 151.612 | 8.2857 | 154.826 | 6.496 | 163.305 | 9.3083 | 157.373 | 26.46 | 975.3 | 41.5726 | 50.7561
2019-01-27 03:00:00 | 8.5207 | 157.202 | 6.496 | 144.403 | 7.263 | 186.104 | 9.0527 | 162.035 | 26.46 | 974.854 | 40.6496 | 52.8806
2019-01-27 03:15:00 | 10.5633 | 161.742 | 8.03 | 141.132 | 9.0527 | 191.913 | 9.564 | 149.952 | 26.46 | 974.556 | 41.094 | 56.4831
2019-01-27 03:30:00 | 8.5207 | 180.392 | 8.5413 | 164.908 | 6.7517 | 173.459 | 8.5413 | 181.441 | 26.46 | 974.259 | 41.9145 | 57.6507
2019-01-27 03:45:00 | 6.7333 | 175.022 | 7.263 | 152.385 | 5.9847 | 199.725 | 6.496 | 198.065 | 26.46 | 974.259 | 40.8205 | 61.8776
2019-01-27 04:00:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 61.7335
2019-01-27 04:15:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 59.7752
2019-01-27 04:30:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 58.6889
2019-01-27 04:45:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 60.9485
2019-01-27 05:00:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 63.0267
2019-01-27 05:15:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 66.4001
2019-01-27 05:30:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 64.1758
2019-01-27 05:45:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 61.8258
2019-01-27 06:00:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 61.9256
2019-01-27 06:15:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 69.1564
2019-01-27 06:30:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 73.9375
2019-01-27 06:45:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 78.896
2019-01-27 07:00:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 78.1866
2019-01-27 07:15:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 79.9195
2019-01-27 07:30:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 76.6644
2019-01-27 07:45:00 | 9.542 | 175.681 | 8.797 | 142.035 | 10.0753 | 161.156 | 9.564 | 172.312 | 26.46 | 973.664 | 40 | 80.4811
2019-01-27 08:00:00 | 12.3507 | 139.651 | 14.4217 | 136.787 | 12.8877 | 144.436 | 12.3763 | 153.077 | 26.46 | 972.623 | 40.2735 | 81.1647
2019-01-27 08:15:00 | 13.8827 | 142.068 | 13.9103 | 134.468 | 13.6547 | 150.465 | 14.6773 | 144.216 | 26.46 | 973.218 | 40.547 | 74.5694
2019-01-27 08:30:00 | 14.904 | 125.085 | 10.8423 | 129.663 | 10.331 | 169.994 | 14.166 | 153.617 | 26.46 | 973.664 | 40.8832 | 69.8954
2019-01-27 08:45:00 | 6.2227 | 159.958 | 6.7517 | 165.437 | 7.7743 | 181.41 | 5.4733 | 188.781 | 26.46 | 974.259 | 41.087 | 70.4496
2019-01-27 09:00:00 | 10.5633 | 159.738 | 12.8877 | 154.674 | 11.6093 | 163.521 | 11.098 | 169.72 | 26.46 | 974.556 | 41.7707 | 66.4091
2019-01-27 09:15:00 | 7.244 | 174.185 | 8.797 | 179.152 | 10.8423 | 188.804 | 6.7517 | 169.597 | 26.46 | 974.705 | 42.5907 | 66.5072
2019-01-27 09:30:00 | 9.542 | 167.499 | 10.8423 | 162.582 | 10.0753 | 153.758 | 10.0753 | 171.038 | 26.46 | 974.854 | 42.0441 | 67.0717
2019-01-27 09:45:00 | 10.8187 | 180 | 10.0753 | 178.888 | 12.1207 | 221.828 | 11.098 | 209.358 | 26.46 | 973.997 | 40.6725 | 68.6355
2019-01-27 10:00:00 | 9.2867 | 141.564 | 10.5867 | 134.008 | 11.865 | 134.391 | 8.5413 | 150.323 | 26.46 | 974.556 | 42.0322 | 71.9504
2019-01-27 10:15:00 | 12.0953 | 171.346 | 11.865 | 165.423 | 10.8423 | 193.938 | 13.1433 | 167.369 | 26.46 | 974.11 | 42.5765 | 77.5633
2019-01-27 10:30:00 | 11.3293 | 194.157 | 9.564 | 166.033 | 9.8197 | 155.926 | 11.3537 | 182.934 | 26.46 | 974.704 | 43.4649 | 75.8683
2019-01-27 10:45:00 | 9.7973 | 161.342 | 14.4217 | 144.197 | 14.6773 | 149.778 | 10.8423 | 165.929 | 26.46 | 974.259 | 44.1483 | 72.7632
2019-01-27 11:00:00 | 12.606 | 142.434 | 11.6093 | 133.267 | 12.1207 | 150.632 | 12.632 | 166.515 | 26.46 | 974.407 | 43.0549 | 76.9796
2019-01-27 11:15:00 | 13.372 | 138.91 | 10.331 | 148.381 | 5.4733 | 230.907 | 15.4443 | 122.419 | 26.46 | 973.945 | 43.2225 | 77.455
2019-01-27 11:30:00 | 11.3293 | 178.139 | 11.098 | 145.062 | 12.1207 | 173.406 | 11.3537 | 192.435 | 26.46 | 973.509 | 40.7964 | 75.7998
2019-01-27 11:45:00 | 9.2867 | 161.787 | 9.0527 | 157.253 | 8.5413 | 160.006 | 9.8197 | 159.396 | 26.46 | 974.258 | 40.1799 | 69.1912
2019-01-27 12:00:00 | 10.5633 | 153.175 | 11.865 | 143.982 | 12.1207 | 150.272 | 10.5867 | 157.859 | 26.46 | 973.616 | 39.9063 | 72.3218
2019-01-27 12:15:00 | 11.3293 | 153.05 | 11.865 | 167.319 | 11.865 | 155.83 | 10.8423 | 156.562 | 26.46 | 973.163 | 39.011 | 69.913
2019-01-27 12:30:00 | 8.776 | 152.263 | 8.5413 | 160.165 | 8.2857 | 170.189 | 10.5867 | 170.116 | 26.46 | 973.677 | 37.7114 | 66.0232
2019-01-27 12:45:00 | 8.776 | 183.262 | 9.3083 | 172.554 | 9.8197 | 179.896 | 8.2857 | 180.652 | 26.46 | 973.069 | 37.5747 | 64.4255
2019-01-27 13:00:00 | 7.4993 | 144.02 | 9.0527 | 141.897 | 8.5413 | 164.677 | 8.5413 | 152.629 | 26.46 | 972.772 | 37.7797 | 61.2257
2019-01-27 13:15:00 | 10.308 | 169.897 | 12.1207 | 162.847 | 11.865 | 161.312 | 11.098 | 182.457 | 26.46 | 972.474 | 37.5747 | 57.0365
2019-01-27 13:30:00 | 8.01 | 142.507 | 7.7743 | 133.141 | 6.7517 | 162.702 | 7.7743 | 153.263 | 26.46 | 972.623 | 37.4381 | 51.0488
2019-01-27 13:45:00 | 6.2227 | 189.652 | 9.564 | 191.164 | 10.0753 | 199.383 | 6.7517 | 170.482 | 26.46 | 972.029 | 33.9539 | 46.5018
2019-01-27 14:00:00 | 9.7973 | 184.701 | 9.3083 | 164.774 | 9.8197 | 179.165 | 9.0527 | 164.385 | 26.46 | 971.88 | 33.7489 | 54.0722
2019-01-27 14:15:00 | 7.244 | 203.798 | 9.0527 | 183.896 | 10.8423 | 197.335 | 7.0073 | 202.652 | 26.46 | 971.583 | 32.9975 | 46.0573
2019-01-27 14:30:00 | 6.2227 | 162.873 | 8.5413 | 176.798 | 9.0527 | 191.554 | 7.0073 | 170.531 | 26.46 | 971.88 | 33.4757 | 35.5259
2019-01-27 14:45:00 | 6.9887 | 154.483 | 7.7743 | 174.749 | 8.2857 | 189.311 | 7.5187 | 157.653 | 26.46 | 971.434 | 37.2332 | 33.8817
2019-01-27 15:00:00 | 4.18 | 186.091 | 7.0073 | 180.018 | 8.2857 | 195.896 | 5.9847 | 193.432 | 26.46 | 971.137 | 37.2332 | 36.1504
2019-01-27 15:15:00 | 2.648 | 182.872 | 9.8197 | 172.993 | 10.0753 | 191.408 | 4.962 | 191.847 | 26.46 | 970.84 | 36.55 | 28.3986
2019-01-27 15:30:00 | 4.4353 | 171.214 | 8.2857 | 165.701 | 7.7743 | 159.995 | 7.263 | 173.214 | 26.46 | 970.989 | 38.3262 | 26.5475
2019-01-27 15:45:00 | 6.2227 | 176.531 | 7.5187 | 179.164 | 8.797 | 175.311 | 7.5187 | 170.263 | 26.46 | 971.162 | 38.2579 | 25.0215
2019-01-27 16:00:00 | 2.9033 | 185.087 | 6.496 | 182.308 | 7.0073 | 178.891 | 6.2403 | 186.746 | 26.46 | 971.478 | 36.6223 | 11.7718
2019-01-27 16:15:00 | 3.9247 | 194.883 | 5.4733 | 177.347 | 5.729 | 189.273 | 5.729 | 191.493 | 26.46 | 971.549 | 38.06 | 12.411
2019-01-27 16:30:00 | 3.414 | 159.106 | 5.729 | 174.04 | 5.9847 | 169.596 | 5.4733 | 172.767 | 26.46 | 971.561 | 39.0871 | 11.4208
2019-01-27 16:45:00 | 5.4567 | 172.353 | 6.496 | 158.452 | 6.2403 | 165.889 | 5.4733 | 169.06 | 26.46 | 971.581 | 39.839 | 12.6327
2019-01-27 17:00:00 | 5.2013 | 159.404 | 6.496 | 157.384 | 5.9847 | 173.432 | 6.2403 | 165.235 | 26.46 | 971.285 | 39.9768 | 17.1884
2019-01-27 17:15:00 | 7.244 | 154.727 | 7.0073 | 149.097 | 7.7743 | 178.368 | 8.2857 | 156.24 | 26.46 | 971.135 | 39.432 | 16.8263
2019-01-27 17:30:00 | 9.7973 | 150.348 | 8.5413 | 136.154 | 8.2857 | 153.886 | 9.564 | 156.325 | 26.46 | 970.691 | 39.4972 | 35.5001
2019-01-27 17:45:00 | 8.01 | 151.692 | 6.496 | 146.061 | 7.0073 | 162.817 | 7.7743 | 157.815 | 26.46 | 970.988 | 38.5752 | 23.9204
2019-01-27 18:00:00 | 8.01 | 140.864 | 7.5187 | 138.624 | 8.2857 | 165.041 | 8.03 | 150.135 | 26.46 | 970.988 | 38.6445 | 19.7046
2019-01-27 18:15:00 | 7.244 | 151.28 | 7.5187 | 142.063 | 7.5187 | 155.988 | 7.7743 | 152.597 | 26.46 | 970.988 | 38.6783 | 26.6435
2019-01-27 18:30:00 | 6.9887 | 147.202 | 7.263 | 155.598 | 6.496 | 131.857 | 6.7517 | 147.738 | 26.46 | 970.964 | 38.2672 | 33.3718
2019-01-27 18:45:00 | 7.4993 | 141.639 | 6.7517 | 136.373 | 7.263 | 151.982 | 7.5187 | 151.86 | 26.46 | 970.988 | 38.472 | 24.2271
2019-01-27 19:00:00 | 7.7547 | 154.955 | 8.03 | 142.469 | 5.729 | 164.469 | 7.5187 | 149.735 | 26.46 | 971.137 | 38.8812 | 33.1908
2019-01-27 19:15:00 | 9.542 | 148.106 | 8.5413 | 140.841 | 8.03 | 155.62 | 9.3083 | 152.668 | 26.46 | 971.285 | 39.6344 | 33.5344
2019-01-27 19:30:00 | 8.01 | 147.816 | 8.03 | 139.892 | 7.0073 | 149.133 | 8.5413 | 154.915 | 26.46 | 971.583 | 41.2751 | 24.6779
2019-01-27 19:45:00 | 8.01 | 153.796 | 6.496 | 151.507 | 5.9847 | 168.092 | 8.03 | 157.967 | 26.46 | 971.88 | 42.4376 | 17.6688
2019-01-27 20:00:00 | 6.478 | 158.941 | 6.2403 | 146.138 | 5.9847 | 159.82 | 7.0073 | 164.113 | 26.46 | 972.028 | 41.3437 | 13.0982
2019-01-27 20:15:00 | 5.4567 | 175.18 | 4.4507 | 156.961 | 4.962 | 158.982 | 5.2177 | 166.032 | 26.46 | 972.177 | 40.795 | 10.8592
2019-01-27 20:30:00 | 6.478 | 171.456 | 5.4733 | 162.996 | 6.496 | 167.358 | 7.0073 | 173.725 | 26.46 | 972.322 | 40.2503 | 12.0341
2019-01-27 20:45:00 | 4.6907 | 168.469 | 5.4733 | 152.152 | 5.4733 | 159.711 | 4.7063 | 173.055 | 26.46 | 972.772 | 40.1793 | 5.1617
2019-01-27 21:00:00 | 4.946 | 178.129 | 3.6837 | 160.008 | 3.6837 | 166.469 | 4.962 | 175.885 | 26.46 | 973.069 | 40.521 | 3.2699
2019-01-27 21:15:00 | 2.9033 | 180.309 | 3.428 | 164.822 | 2.1497 | 172.209 | 2.9167 | 192.824 | 26.46 | 973.216 | 40.6937 | 1.5481
2019-01-27 21:30:00 | 4.18 | 199.697 | 4.4507 | 182.819 | 3.1723 | 188.378 | 4.195 | 208.772 | 26.46 | 973.336 | 41.1366 | 2.1208
2019-01-27 21:45:00 | 3.6693 | 198.044 | 2.9167 | 185.656 | 2.1497 | 178.186 | 3.6837 | 199.215 | 26.46 | 973.211 | 41.5479 | 0.84612
2019-01-27 22:00:00 | 2.9033 | 199.61 | 2.661 | 175.804 | 2.4053 | 187.704 | 3.1723 | 207.221 | 26.46 | 973.217 | 41.5487 | 0.040643
2019-01-27 22:15:00 | 2.9033 | 210.645 | 1.894 | 193.865 | 1.3827 | 186.394 | 3.1723 | 216.525 | 26.46 | 973.057 | 40.5936 | -0.22539
2019-01-27 22:30:00 | 3.1587 | 218.843 | 1.894 | 191.255 | 1.3827 | 197.861 | 2.661 | 218.184 | 26.46 | 972.911 | 40.662 | -0.18844
2019-01-27 22:45:00 | 2.3927 | 230.071 | 2.4053 | 215.633 | 1.894 | 215.627 | 2.661 | 230.559 | 26.46 | 973.192 | 39.6378 | -0.26233
2019-01-27 23:00:00 | 1.882 | 231.437 | 1.894 | 222.953 | 1.6383 | 215.627 | 2.1497 | 230.559 | 26.46 | 973.069 | 39.4328 | -0.23278
2019-01-27 23:15:00 | 1.882 | 231.535 | 1.6383 | 224.709 | 1.3827 | 215.627 | 2.1497 | 230.559 | 26.46 | 972.92 | 39.3644 | -0.25125
2019-01-27 23:30:00 | 1.6267 | 231.534 | 1.3827 | 224.708 | 1.127 | 215.626 | 1.894 | 230.655 | 26.46 | 973.039 | 39.3643 | -0.22169
2019-01-27 23:45:00 | 2.1373 | 231.608 | 1.6383 | 225.1 | 1.127 | 215.627 | 2.4053 | 240.757 | 26.46 | 972.772 | 39.3644 | -0.25125