## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-28 00:00:00 | 1.3713 | 241.391 | 1.3827 | 246.521 | 0.75133 | 215.627 | 1.6383 | 252.761 | 26.46 | 972.474 | 38.886 | -0.26233
2019-01-28 00:15:00 | 1.6267 | 250.27 | 1.894 | 248.421 | 1.127 | 267.348 | 1.894 | 264.103 | 26.46 | 972.471 | 39.3299 | -0.26233
2019-01-28 00:30:00 | 3.1587 | 253.395 | 3.1723 | 247.35 | 2.9167 | 254.249 | 3.428 | 257.006 | 26.46 | 973.464 | 39.1252 | -0.26972
2019-01-28 00:45:00 | 2.9033 | 264.518 | 2.661 | 268.135 | 2.1497 | 284.28 | 3.1723 | 268.714 | 26.46 | 973.342 | 39.2274 | -0.12193
2019-01-28 01:00:00 | 2.9033 | 286.862 | 2.4053 | 292.967 | 1.894 | 321.652 | 2.9167 | 284.837 | 26.46 | 973.366 | 39.2268 | -0.16996
2019-01-28 01:15:00 | 2.9033 | 354.736 | 3.428 | 16.9748 | 2.9167 | 356.981 | 2.9167 | 338.756 | 26.46 | 973.503 | 39.9787 | -0.26233
2019-01-28 01:30:00 | 2.648 | 348.976 | 3.428 | 35.0398 | 2.9167 | 356.978 | 2.9167 | 336.484 | 26.46 | 973.802 | 40.1151 | -0.25494
2019-01-28 01:45:00 | 4.4353 | 348.497 | 3.6837 | 17.365 | 3.9393 | 356.988 | 3.9393 | 342.813 | 26.46 | 973.663 | 40.7312 | 0.98283
2019-01-28 02:00:00 | 4.6907 | 0.097591 | 4.4507 | 5.1174 | 4.195 | 356.329 | 4.4507 | 81.0737 | 26.46 | 973.961 | 41.1413 | 4.0865
2019-01-28 02:15:00 | 3.9247 | 356.915 | 5.4733 | 18.6825 | 4.4507 | 0.048795 | 4.4507 | 0.19518 | 26.46 | 973.961 | 42.0297 | 6.0448
2019-01-28 02:30:00 | 5.9673 | 4.9771 | 4.962 | 2.336 | 3.9393 | 14.5898 | 5.2177 | 10.0519 | 26.46 | 973.663 | 44.4217 | 10.7668
2019-01-28 02:45:00 | 5.712 | 12.882 | 3.6837 | 0.67699 | 2.661 | 25.7396 | 4.962 | 14.8338 | 26.46 | 973.961 | 45.4468 | 10.6042
2019-01-28 03:00:00 | 5.4567 | 19.8354 | 4.962 | 12.0098 | 3.6837 | 19.323 | 4.7063 | 22.0556 | 26.46 | 973.663 | 45.8568 | 10.3714
2019-01-28 03:15:00 | 5.712 | 22.2019 | 5.4733 | 16.4014 | 4.4507 | 19.0058 | 4.962 | 25.8616 | 26.46 | 973.366 | 45.6518 | 12.0895
2019-01-28 03:30:00 | 6.2227 | 19.5182 | 6.496 | 9.4725 | 5.2177 | 14.6386 | 6.2403 | 24.3489 | 26.46 | 973.366 | 46.5402 | 12.7103
2019-01-28 03:45:00 | 7.244 | 21.4706 | 6.496 | 12.401 | 6.2403 | 18.1036 | 6.2403 | 26.1063 | 26.46 | 973.069 | 47.4299 | 15.9322
2019-01-28 04:00:00 | 7.244 | 24.6928 | 6.2403 | 15.2336 | 5.2177 | 24.1804 | 6.496 | 27.2304 | 26.46 | 972.92 | 46.7496 | 14.5281
2019-01-28 04:15:00 | 7.244 | 25.402 | 6.7517 | 28.6567 | 4.4507 | 41.7999 | 5.9847 | 29.0379 | 26.46 | 972.623 | 46.7526 | 13.2719
2019-01-28 04:30:00 | 5.712 | 19.0822 | 5.9847 | 32.903 | 5.2177 | 49.926 | 4.4507 | 26.7687 | 26.46 | 972.474 | 46.7529 | 10.3567
2019-01-28 04:45:00 | 7.4993 | 22.6207 | 5.9847 | 21.1418 | 4.7063 | 50.0486 | 7.263 | 27.5499 | 26.46 | 972.772 | 46.6168 | 9.8542
2019-01-28 05:00:00 | 7.7547 | 34.7734 | 7.5187 | 19.8003 | 3.6837 | 23.9143 | 7.5187 | 36.872 | 26.46 | 972.791 | 47.6427 | 9.8135
2019-01-28 05:15:00 | 6.478 | 28.6011 | 5.729 | 24.195 | 5.2177 | 26.0143 | 6.2403 | 36.6787 | 26.46 | 973.087 | 47.8161 | 11.5723
2019-01-28 05:30:00 | 5.4567 | 26.9903 | 5.4733 | 18.8748 | 3.428 | 45.5858 | 4.7063 | 34.4333 | 26.46 | 973.093 | 47.85 | 11.1547
2019-01-28 05:45:00 | 6.7333 | 32.1427 | 5.729 | 28.8363 | 4.4507 | 54.4741 | 5.729 | 36.194 | 26.46 | 973.602 | 45.0519 | 8.0548
2019-01-28 06:00:00 | 6.2227 | 32.2151 | 5.4733 | 23.0755 | 5.4733 | 53.4966 | 6.2403 | 43.5392 | 26.46 | 973.516 | 44.4698 | 5.9856
2019-01-28 06:15:00 | 7.244 | 30.117 | 4.7063 | 24.0284 | 4.7063 | 52.4973 | 5.9847 | 41.9295 | 26.46 | 973.882 | 42.7959 | 5.4056
2019-01-28 06:30:00 | 7.4993 | 50.1789 | 7.0073 | 40.5271 | 6.7517 | 49.4711 | 7.263 | 54.2059 | 26.46 | 973.905 | 41.1553 | 6.8909
2019-01-28 06:45:00 | 8.5207 | 44.7114 | 6.2403 | 29.0312 | 5.729 | 65.4319 | 8.5413 | 46.8347 | 26.46 | 974.22 | 39.856 | 7.5005
2019-01-28 07:00:00 | 8.5207 | 47.7871 | 7.0073 | 31.6188 | 5.9847 | 63.8707 | 8.03 | 55.1821 | 26.46 | 974.345 | 37.4637 | 10.1387
2019-01-28 07:15:00 | 6.9887 | 45.5173 | 6.7517 | 45.8964 | 5.729 | 62.1135 | 6.7517 | 45.3709 | 26.46 | 974.402 | 33.7036 | 14.1845
2019-01-28 07:30:00 | 9.542 | 36.1698 | 6.496 | 24.6875 | 1.127 | 75.0731 | 9.0527 | 50.7891 | 26.46 | 974.552 | 32.4047 | 17.3879
2019-01-28 07:45:00 | 7.244 | 47.7871 | 6.7517 | 37.7936 | 7.0073 | 66.3845 | 7.0073 | 62.3575 | 26.46 | 974.55 | 29.3283 | 12.3482
2019-01-28 08:00:00 | 6.478 | 38.2687 | 7.5187 | 27.958 | 5.729 | 63.2362 | 6.7517 | 52.1802 | 26.46 | 974.838 | 25.4999 | 11.2914
2019-01-28 08:15:00 | 8.2653 | 46.2671 | 7.0073 | 33.5146 | 4.962 | 78.454 | 8.03 | 51.8553 | 26.46 | 975.16 | 24.8126 | 10.1202
2019-01-28 08:30:00 | 6.7333 | 48.162 | 6.7517 | 46.6559 | 6.2403 | 72.5114 | 6.2403 | 51.9193 | 26.46 | 975.745 | 19.3409 | 8.0215
2019-01-28 08:45:00 | 6.7333 | 40.5979 | 5.2177 | 31.2841 | 4.4507 | 73.2908 | 6.496 | 50.1862 | 26.46 | 975.894 | 17.7003 | 7.2345
2019-01-28 09:00:00 | 7.244 | 47.6732 | 6.7517 | 45.142 | 6.2403 | 71.2658 | 7.0073 | 53.919 | 26.46 | 976.042 | 14.6933 | 3.8685
2019-01-28 09:15:00 | 5.2013 | 40.3994 | 4.962 | 42.6483 | 4.7063 | 71.0892 | 4.4507 | 43.4 | 26.46 | 976.615 | 14.8971 | 2.3204
2019-01-28 09:30:00 | 4.6907 | 45.857 | 4.7063 | 37.8579 | 4.195 | 79.4936 | 3.9393 | 37.2466 | 26.46 | 976.967 | 13.46 | 0.33254
2019-01-28 09:45:00 | 2.9033 | 26.0479 | 3.6837 | 35.9006 | 3.428 | 80.0949 | 1.6383 | 37.3646 | 26.46 | 977.527 | 12.7413 | 0.2143
2019-01-28 10:00:00 | 3.414 | 35.4109 | 3.1723 | 21.5809 | 2.661 | 81.1621 | 2.661 | 40.9225 | 26.46 | 978.121 | 12.9794 | -0.13301
2019-01-28 10:15:00 | 5.2013 | 346.578 | 2.661 | 10.6959 | 0 | 83.5297 | 4.962 | 8.0945 | 26.46 | 978.214 | 14.4784 | -0.18844
2019-01-28 10:30:00 | 2.9033 | 328.974 | 3.428 | 311.168 | 3.1723 | 79.5799 | 2.661 | 14.458 | 26.46 | 978.119 | 24.9957 | -0.25125
2019-01-28 10:45:00 | 2.1373 | 309.085 | 2.661 | 329.751 | 2.4053 | 77.9662 | 1.6383 | 320.203 | 26.46 | 977.97 | 24.6528 | -0.28081
2019-01-28 11:00:00 | 2.3927 | 307.151 | 3.428 | 294.88 | 3.428 | 78.4091 | 2.661 | 312.613 | 26.46 | 978.119 | 20.898 | -0.33623
2019-01-28 11:15:00 | 1.6267 | 312.46 | 2.9167 | 303.431 | 3.428 | 301.29 | 1.007 | 319.21 | 26.46 | 978.119 | 18.0292 | -0.24755
2019-01-28 11:30:00 | 1.882 | 0.14627 | 2.1497 | 7.2302 | 1.127 | 18.625 | 2.1497 | 335.347 | 26.46 | 978.119 | 14.6814 | -0.022169
2019-01-28 11:45:00 | 3.414 | 13.5536 | 2.4053 | 47.5 | 0 | 314.512 | 1.3827 | 22.5731 | 26.46 | 977.785 | 13.7932 | 1.2452
2019-01-28 12:00:00 | 4.6907 | 16.5763 | 4.7063 | 4.1819 | 3.1723 | 356.976 | 4.4507 | 14.0411 | 26.46 | 978.033 | 13.8614 | 3.9572
2019-01-28 12:15:00 | 1.6267 | 38.5897 | 5.4733 | 31.4611 | 2.4053 | 34.9817 | 1.894 | 354.595 | 26.46 | 977.373 | 13.7935 | 4.2417
2019-01-28 12:30:00 | 0.744 | 55.0677 | 0.75133 | 27.7789 | 1.3827 | 63.2828 | 0 | 349.542 | 26.46 | 977.278 | 14.2711 | 2.4017
2019-01-28 12:45:00 | 2.648 | 318.7 | 2.9167 | 270.06 | 2.9167 | 349.729 | 2.661 | 317.701 | 26.46 | 977.238 | 14.0991 | 1.4521
2019-01-28 13:00:00 | 0.372 | 22.423 | 2.4053 | 4.8157 | 2.661 | 43.9686 | 0 | 27.8825 | 26.46 | 977.283 | 13.9273 | 1.1195
2019-01-28 13:15:00 | 3.1587 | 19.4007 | 4.4507 | 4.8602 | 2.661 | 12.2595 | 2.661 | 3.5097 | 26.46 | 977.386 | 13.4494 | 1.1676
2019-01-28 13:30:00 | 4.18 | 5.6545 | 3.428 | 298.406 | 1.3827 | 41.1656 | 4.195 | 355.379 | 26.46 | 977.389 | 13.3129 | 1.1787
2019-01-28 13:45:00 | 3.6693 | 85.9628 | 3.428 | 17.9728 | 3.1723 | 41.0925 | 2.9167 | 22.8617 | 26.46 | 977.226 | 13.2446 | 0.88307
2019-01-28 14:00:00 | 4.18 | 35.438 | 2.4053 | 263.138 | 2.4053 | 356.964 | 2.4053 | 29.6373 | 26.46 | 977.226 | 12.596 | 0.69463
2019-01-28 14:15:00 | 3.414 | 20.8631 | 4.4507 | 0.16057 | 4.7063 | 302.807 | 1.127 | 28.7599 | 26.46 | 976.929 | 12.7667 | 1.4964
2019-01-28 14:30:00 | 3.6693 | 10.5778 | 3.428 | 310.836 | 3.428 | 355.745 | 2.9167 | 6.5319 | 26.46 | 976.929 | 12.6984 | 2.5753
2019-01-28 14:45:00 | 3.414 | 331.543 | 3.1723 | 315.759 | 2.661 | 25.8351 | 2.9167 | 317.699 | 26.46 | 976.975 | 13.4835 | 3.8131
2019-01-28 15:00:00 | 1.6267 | 313.019 | 4.962 | 285.44 | 3.1723 | 24.714 | 1.007 | 12.9176 | 26.46 | 976.951 | 13.3129 | 4.8624
2019-01-28 15:15:00 | 3.9247 | 37.4366 | 2.661 | 332.893 | 3.6837 | 14.4043 | 3.1723 | 18.8158 | 26.46 | 976.504 | 13.4835 | 4.94
2019-01-28 15:30:00 | 3.1587 | 17.8443 | 4.195 | 8.5948 | 2.661 | 29.8868 | 2.661 | 19.9408 | 26.46 | 976.434 | 13.8617 | 4.7922
2019-01-28 15:45:00 | 4.18 | 355.202 | 4.4507 | 9.6916 | 5.2177 | 19.9407 | 3.6837 | 354.885 | 26.46 | 976.63 | 14.0323 | 2.9337
2019-01-28 16:00:00 | 4.6907 | 356.691 | 2.9167 | 8.6385 | 2.9167 | 0.048762 | 3.9393 | 349.718 | 26.46 | 976.484 | 14.5465 | 2.446
2019-01-28 16:15:00 | 3.1587 | 29.7205 | 2.9167 | 6.3803 | 2.1497 | 27.5506 | 2.4053 | 0.97524 | 26.46 | 976.039 | 14.2052 | 2.9226
2019-01-28 16:30:00 | 1.882 | 18.7734 | 2.4053 | 21.3015 | 1.894 | 34.4261 | 1.894 | 352.355 | 26.46 | 975.869 | 14.7516 | 2.3906
2019-01-28 16:45:00 | 2.648 | 348.534 | 1.127 | 27.1605 | 1.894 | 23.2145 | 2.661 | 347.144 | 26.46 | 976.04 | 15.0955 | 2.6086
2019-01-28 17:00:00 | 4.18 | 346.622 | 3.9393 | 336.792 | 3.428 | 11.902 | 3.6837 | 315.403 | 26.46 | 975.594 | 15.5081 | 2.6677
2019-01-28 17:15:00 | 4.4353 | 356.817 | 4.4507 | 1.1714 | 3.428 | 17.8287 | 3.6837 | 356.183 | 26.46 | 975.446 | 15.7814 | 2.8635
2019-01-28 17:30:00 | 3.1587 | 356.866 | 3.9393 | 18.4391 | 3.6837 | 8.0973 | 3.9393 | 356.305 | 26.46 | 975.149 | 15.5081 | 3.3808
2019-01-28 17:45:00 | 4.18 | 353.499 | 4.962 | 19.7561 | 4.962 | 346.815 | 3.1723 | 355.45 | 26.46 | 975.313 | 16.9451 | 4.105
2019-01-28 18:00:00 | 3.9247 | 4.5862 | 3.6837 | 9.9493 | 3.9393 | 14.4662 | 3.1723 | 7.8064 | 26.46 | 974.555 | 17.6983 | 5.3021
2019-01-28 18:15:00 | 5.2013 | 12.8808 | 4.195 | 4.0052 | 3.9393 | 13.3687 | 4.195 | 10.9292 | 26.46 | 974.553 | 17.6304 | 4.5188
2019-01-28 18:30:00 | 4.18 | 23.6168 | 4.195 | 16.8159 | 3.428 | 16.5903 | 3.6837 | 27.1301 | 26.46 | 974.846 | 17.8027 | 1.8142
2019-01-28 18:45:00 | 3.6693 | 21.958 | 2.9167 | 17.0846 | 2.661 | 21.47 | 3.428 | 24.3001 | 26.46 | 974.989 | 17.4953 | 1.1269
2019-01-28 19:00:00 | 3.414 | 28.9845 | 3.428 | 25.7702 | 2.661 | 21.2016 | 3.1723 | 33.6933 | 26.46 | 974.852 | 17.3586 | 0.60226
2019-01-28 19:15:00 | 2.1373 | 37.4749 | 3.1723 | 26.7705 | 3.1723 | 33.0833 | 1.894 | 49.6738 | 26.46 | 974.852 | 16.4702 | -0.20322
2019-01-28 19:30:00 | 2.648 | 52.26 | 2.661 | 29.625 | 2.9167 | 32.7906 | 1.894 | 71.3146 | 26.46 | 975.15 | 16.3335 | -0.036948
2019-01-28 19:45:00 | 2.1373 | 85.6849 | 2.9167 | 58.5851 | 2.661 | 35.9135 | 1.3827 | 107.033 | 26.46 | 975.001 | 16.1968 | -0.20322
2019-01-28 20:00:00 | 2.3927 | 114.133 | 2.4053 | 104.868 | 2.4053 | 90.418 | 2.661 | 126.112 | 26.46 | 975.001 | 14.42 | -0.28081
2019-01-28 20:15:00 | 3.6693 | 127.673 | 4.195 | 120.97 | 3.428 | 125.063 | 3.6837 | 131.675 | 26.46 | 975.15 | 13.6682 | -0.18844
2019-01-28 20:30:00 | 3.414 | 133.114 | 3.6837 | 127.167 | 3.9393 | 131.016 | 3.9393 | 138.75 | 26.46 | 975.444 | 13.8049 | 0.18474
2019-01-28 20:45:00 | 3.414 | 134.186 | 4.195 | 127.556 | 2.9167 | 131.259 | 4.4507 | 139.603 | 26.46 | 975.729 | 14.5907 | 1.2008
2019-01-28 21:00:00 | 3.6693 | 130.956 | 3.9393 | 126.618 | 3.428 | 138.811 | 4.195 | 138.372 | 26.46 | 975.735 | 14.7262 | 2.6603
2019-01-28 21:15:00 | 4.4353 | 134.322 | 4.4507 | 129.375 | 4.195 | 137.933 | 4.4507 | 137.104 | 26.46 | 975.446 | 14.7604 | 2.6898
2019-01-28 21:30:00 | 2.3927 | 135.957 | 2.661 | 143.988 | 2.661 | 132.42 | 3.1723 | 127.955 | 26.46 | 975.744 | 15.1021 | 1.9989
2019-01-28 21:45:00 | 5.4567 | 119.882 | 4.962 | 114.715 | 4.962 | 124.103 | 5.2177 | 122.029 | 26.46 | 975.286 | 15.5807 | 3.5581
2019-01-28 22:00:00 | 3.414 | 149.433 | 3.9393 | 139.216 | 4.4507 | 137.43 | 3.428 | 143.822 | 26.46 | 975.551 | 16.3331 | 6.7209
2019-01-28 22:15:00 | 5.2013 | 136.334 | 4.195 | 119.554 | 3.428 | 143.214 | 4.962 | 142.043 | 26.46 | 975.447 | 16.6751 | 9.9207
2019-01-28 22:30:00 | 5.712 | 139.214 | 5.9847 | 131.144 | 5.4733 | 137.628 | 6.2403 | 146.728 | 26.46 | 975.295 | 16.4018 | 12.7435
2019-01-28 22:45:00 | 5.712 | 132.138 | 3.9393 | 126.777 | 5.2177 | 145.411 | 6.2403 | 144.654 | 26.46 | 975.15 | 16.8119 | 11.7607
2019-01-28 23:00:00 | 5.712 | 136.335 | 5.4733 | 129.656 | 4.962 | 141.068 | 5.9847 | 151.998 | 26.46 | 975.001 | 16.9486 | 13.3901
2019-01-28 23:15:00 | 6.478 | 150.046 | 4.962 | 129.656 | 4.962 | 139.701 | 6.496 | 164.05 | 26.46 | 975 | 16.6752 | 10.4564
2019-01-28 23:30:00 | 5.9673 | 157.902 | 6.496 | 137.024 | 6.2403 | 143.386 | 5.9847 | 164.099 | 26.46 | 974.852 | 16.9486 | 13.3421
2019-01-28 23:45:00 | 5.9673 | 150.583 | 6.2403 | 148.1 | 4.962 | 154.243 | 6.496 | 155.999 | 26.46 | 974.852 | 17.2903 | 15.8731