## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-29 00:00:00 | 6.7333 | 115.84 | 3.9393 | 149.223 | 3.6837 | 135.505 | 7.0073 | 130.967 | 26.46 | 974.555 | 17.7687 | 21.5668
2019-01-29 00:15:00 | 3.9247 | 130.382 | 3.9393 | 126.728 | 3.6837 | 137.579 | 3.9393 | 139.653 | 26.46 | 974.555 | 18.3837 | 28.1399
2019-01-29 00:30:00 | 6.9887 | 142.922 | 8.03 | 132.974 | 7.263 | 126.819 | 7.263 | 151.168 | 26.46 | 974.406 | 18.4521 | 33.2093
2019-01-29 00:45:00 | 6.7333 | 133.895 | 3.9393 | 138.634 | 3.9393 | 139.238 | 6.496 | 147.704 | 26.46 | 974.406 | 19.2038 | 31.5429
2019-01-29 01:00:00 | 7.7547 | 135.261 | 7.263 | 131.29 | 5.4733 | 157.365 | 6.496 | 138.286 | 26.46 | 974.109 | 19.4088 | 36.5014
2019-01-29 01:15:00 | 8.2653 | 138.53 | 4.962 | 129.68 | 3.9393 | 134.968 | 8.797 | 149.387 | 26.46 | 973.961 | 19.0671 | 36.7157
2019-01-29 01:30:00 | 4.946 | 152.827 | 4.962 | 138.049 | 4.195 | 153.071 | 4.7063 | 151.364 | 26.46 | 974.258 | 18.9646 | 35.622
2019-01-29 01:45:00 | 6.7333 | 143.068 | 5.4733 | 144.636 | 7.0073 | 136.554 | 5.9847 | 145.142 | 26.46 | 974.109 | 18.7938 | 29.9209
2019-01-29 02:00:00 | 6.2227 | 147.411 | 5.2177 | 146.954 | 5.4733 | 146.435 | 5.9847 | 144.776 | 26.46 | 974.258 | 19.2038 | 33.08
2019-01-29 02:15:00 | 6.2227 | 145.386 | 5.729 | 134.535 | 5.4733 | 148.777 | 6.496 | 143.386 | 26.46 | 974.555 | 19.9556 | 26.7692
2019-01-29 02:30:00 | 7.244 | 146.923 | 5.4733 | 114.724 | 4.962 | 141.361 | 7.5187 | 146.728 | 26.46 | 974.258 | 20.2289 | 26.3886
2019-01-29 02:45:00 | 5.4567 | 143.802 | 6.7517 | 136.684 | 5.4733 | 142.387 | 7.0073 | 149.17 | 26.46 | 973.961 | 20.4343 | 27.9293
2019-01-29 03:00:00 | 8.2653 | 130.308 | 5.729 | 144.392 | 5.729 | 154.731 | 8.797 | 140.482 | 26.46 | 974.109 | 21.5274 | 27.3382
2019-01-29 03:15:00 | 8.5207 | 157.098 | 7.0073 | 146.369 | 5.9847 | 128.625 | 8.5413 | 156.439 | 26.46 | 973.961 | 22.3476 | 24.4118
2019-01-29 03:30:00 | 8.776 | 151.584 | 8.2857 | 144.002 | 6.496 | 152.389 | 8.2857 | 159.416 | 26.46 | 973.812 | 23.5778 | 26.9945
2019-01-29 03:45:00 | 9.0313 | 154.32 | 8.5413 | 143.421 | 7.5187 | 146.44 | 9.3083 | 161.664 | 26.46 | 973.515 | 24.911 | 33.4716
2019-01-29 04:00:00 | 8.01 | 145.744 | 6.496 | 136.261 | 5.9847 | 149.966 | 7.7743 | 147.086 | 26.46 | 973.366 | 26.5877 | 35.4557
2019-01-29 04:15:00 | 9.7973 | 147.148 | 8.2857 | 135.665 | 7.7743 | 140.926 | 9.564 | 158.447 | 26.46 | 973.081 | 27.2736 | 39.2984
2019-01-29 04:30:00 | 9.542 | 149.286 | 7.5187 | 137.998 | 7.263 | 157.73 | 9.3083 | 152.019 | 26.46 | 973.192 | 29.4638 | 44.2606
2019-01-29 04:45:00 | 10.8187 | 160.15 | 9.0527 | 149.888 | 8.03 | 150.851 | 10.5867 | 161.102 | 26.46 | 973.146 | 34.3867 | 52.4594
2019-01-29 05:00:00 | 10.5633 | 149.609 | 9.0527 | 142.3 | 7.5187 | 156.541 | 10.331 | 158.688 | 26.46 | 972.962 | 35.6862 | 55.8607
2019-01-29 05:15:00 | 7.244 | 139.944 | 8.2857 | 149.427 | 7.5187 | 168.89 | 8.2857 | 148.047 | 26.46 | 973.067 | 36.4382 | 57.0669
2019-01-29 05:30:00 | 10.0527 | 147.047 | 9.0527 | 137.859 | 9.8197 | 170.501 | 10.0753 | 154.613 | 26.46 | 972.769 | 36.3015 | 59.3244
2019-01-29 05:45:00 | 12.3507 | 148.145 | 9.564 | 151.624 | 8.2857 | 162.837 | 11.3537 | 154.149 | 26.46 | 972.771 | 35.9597 | 67.2905
2019-01-29 06:00:00 | 10.8187 | 153.71 | 8.797 | 134.881 | 7.7743 | 166.572 | 9.8197 | 148.828 | 26.46 | 972.771 | 35.1393 | 67.5787
2019-01-29 06:15:00 | 11.074 | 141.018 | 9.564 | 137.59 | 10.0753 | 166.816 | 10.331 | 155.369 | 26.46 | 972.61 | 34.9342 | 67.0015
2019-01-29 06:30:00 | 8.776 | 135.795 | 7.7743 | 136.711 | 8.797 | 137.674 | 9.8197 | 150.316 | 26.46 | 972.74 | 36.2671 | 70.3166
2019-01-29 06:45:00 | 11.84 | 149.07 | 11.865 | 138.881 | 9.0527 | 153.805 | 11.865 | 150.364 | 26.46 | 972.359 | 34.9337 | 76.3725
2019-01-29 07:00:00 | 13.8827 | 139.552 | 12.632 | 150.596 | 12.1207 | 153.268 | 13.6547 | 150.705 | 26.46 | 972.25 | 34.25 | 78.4083
2019-01-29 07:15:00 | 12.8613 | 148.73 | 12.632 | 142.373 | 13.1433 | 149.951 | 12.3763 | 153.514 | 26.46 | 972.123 | 35.1392 | 78.5783
2019-01-29 07:30:00 | 14.3933 | 155.979 | 11.3537 | 154.65 | 10.331 | 161.715 | 14.4217 | 148.462 | 26.46 | 972.256 | 34.9342 | 78.678
2019-01-29 07:45:00 | 13.1167 | 137.696 | 11.3537 | 142.736 | 8.5413 | 145.14 | 13.1433 | 147.166 | 26.46 | 972.381 | 35.3437 | 81.9554
2019-01-29 08:00:00 | 13.6273 | 149.129 | 11.6093 | 137.06 | 11.6093 | 138.929 | 13.1433 | 152.936 | 26.46 | 971.901 | 35.614 | 79.9343
2019-01-29 08:15:00 | 11.5847 | 146.595 | 12.1207 | 152.63 | 10.0753 | 148.376 | 10.5867 | 150.45 | 26.46 | 972.475 | 37.8644 | 79.5647
2019-01-29 08:30:00 | 12.8613 | 148.558 | 12.8877 | 137.561 | 11.6093 | 145.581 | 12.632 | 152.51 | 26.46 | 972.475 | 38.4077 | 78.2826
2019-01-29 08:45:00 | 11.84 | 149.168 | 12.3763 | 129.021 | 11.3537 | 147.338 | 12.632 | 151.364 | 26.46 | 972.772 | 38.1343 | 78.013
2019-01-29 09:00:00 | 11.3293 | 140.507 | 11.098 | 133.193 | 8.03 | 152.071 | 11.098 | 152.34 | 26.46 | 973.367 | 38.681 | 79.029
2019-01-29 09:15:00 | 13.372 | 140.165 | 11.6093 | 144.538 | 10.5867 | 158.439 | 13.399 | 151.681 | 26.46 | 973.359 | 38.2026 | 71.3696
2019-01-29 09:30:00 | 12.606 | 152.231 | 13.399 | 149.211 | 12.3763 | 147.498 | 13.6547 | 152.768 | 26.46 | 973.656 | 37.9949 | 72.0597
2019-01-29 09:45:00 | 10.308 | 131.441 | 10.331 | 133.641 | 11.865 | 158.593 | 10.331 | 146.274 | 26.46 | 973.961 | 37.9936 | 69.7587
2019-01-29 10:00:00 | 10.8187 | 148.819 | 9.3083 | 153.63 | 7.7743 | 157.406 | 10.331 | 150.527 | 26.46 | 973.958 | 38.1324 | 72.5319
2019-01-29 10:15:00 | 11.5847 | 141.958 | 12.3763 | 139.108 | 10.8423 | 145.666 | 12.1207 | 151.058 | 26.46 | 974.258 | 37.9943 | 71.2181
2019-01-29 10:30:00 | 10.8187 | 169.866 | 12.8877 | 167.382 | 10.5867 | 147.325 | 12.1207 | 157.449 | 26.46 | 973.961 | 38.8825 | 69.5613
2019-01-29 10:45:00 | 9.7973 | 166.018 | 9.0527 | 135.723 | 10.8423 | 134.791 | 10.0753 | 162.651 | 26.46 | 974.109 | 40.285 | 58.6511
2019-01-29 11:00:00 | 5.4567 | 148.793 | 9.8197 | 149.652 | 9.3083 | 145.109 | 8.03 | 180.533 | 26.46 | 974.258 | 41.8906 | 53.0912
2019-01-29 11:15:00 | 8.5207 | 141.929 | 9.8197 | 145.104 | 8.03 | 161.25 | 8.797 | 151.37 | 26.46 | 974.525 | 40.7947 | 45.0328
2019-01-29 11:30:00 | 9.0313 | 159.146 | 8.03 | 144.756 | 9.3083 | 151.146 | 9.8197 | 159.073 | 26.46 | 974.302 | 43.1781 | 49.7748
2019-01-29 11:45:00 | 8.01 | 155.946 | 8.03 | 150.872 | 7.7743 | 163.458 | 8.797 | 151.507 | 26.46 | 973.822 | 48.8472 | 44.9478
2019-01-29 12:00:00 | 7.7547 | 157.848 | 8.03 | 159.604 | 8.797 | 168.409 | 8.797 | 159.58 | 26.46 | 973.663 | 48.9496 | 39.3501
2019-01-29 12:15:00 | 7.244 | 159.653 | 6.7517 | 147.385 | 10.0753 | 147.678 | 7.5187 | 163.214 | 26.46 | 974.257 | 48.7788 | 33.346
2019-01-29 12:30:00 | 8.2653 | 155.483 | 6.2403 | 148.214 | 6.7517 | 168.531 | 8.2857 | 148.727 | 26.46 | 973.663 | 47.3442 | 36.4792
2019-01-29 12:45:00 | 7.7547 | 131.557 | 8.03 | 128.702 | 6.2403 | 145.605 | 7.7743 | 141.459 | 26.46 | 973.515 | 44.7481 | 35.1882
2019-01-29 13:00:00 | 11.074 | 168.189 | 9.3083 | 135.483 | 8.2857 | 142.02 | 10.5867 | 180.555 | 26.46 | 973.663 | 41.6055 | 41.4636
2019-01-29 13:15:00 | 10.0527 | 150.334 | 9.564 | 134.553 | 8.797 | 151.139 | 9.8197 | 160.138 | 26.46 | 973.96 | 39.282 | 43.0339
2019-01-29 13:30:00 | 7.7547 | 178.366 | 9.0527 | 154.928 | 9.0527 | 167.369 | 7.7743 | 186.607 | 26.46 | 973.663 | 38.5902 | 37.4037
2019-01-29 13:45:00 | 6.9887 | 183.346 | 6.7517 | 172.464 | 7.0073 | 192.611 | 7.0073 | 159.721 | 26.46 | 973.663 | 37.8351 | 40.6839
2019-01-29 14:00:00 | 4.946 | 179.274 | 7.0073 | 185.971 | 8.2857 | 181.785 | 5.2177 | 156.795 | 26.46 | 973.445 | 36.7424 | 36.1962
2019-01-29 14:15:00 | 6.7333 | 155.308 | 9.564 | 131.09 | 8.5413 | 142.776 | 7.263 | 151.528 | 26.46 | 973.366 | 37.7668 | 36.5014
2019-01-29 14:30:00 | 4.18 | 147.237 | 5.729 | 141.452 | 5.4733 | 139.07 | 4.7063 | 196.487 | 26.46 | 973.365 | 36.7424 | 35.7424
2019-01-29 14:45:00 | 9.0313 | 135.632 | 7.7743 | 128.408 | 6.2403 | 144.458 | 9.8197 | 137.485 | 26.46 | 972.642 | 36.9814 | 26.1115
2019-01-29 15:00:00 | 6.7333 | 150.919 | 7.263 | 149.302 | 7.7743 | 157.843 | 7.263 | 154.674 | 26.46 | 972.423 | 36.4692 | 21.2601
2019-01-29 15:15:00 | 3.6693 | 168.351 | 5.2177 | 172.806 | 7.7743 | 154.893 | 4.4507 | 181.225 | 26.46 | 972.474 | 36.2643 | 30.7033
2019-01-29 15:30:00 | 6.9887 | 173.686 | 7.5187 | 182.995 | 6.496 | 162.396 | 6.7517 | 183.854 | 26.46 | 972.474 | 36.5415 | 33.1723
2019-01-29 15:45:00 | 6.478 | 180.803 | 7.263 | 184.971 | 8.03 | 195.46 | 7.263 | 173.561 | 26.46 | 972.474 | 37.5706 | 30.9
2019-01-29 16:00:00 | 1.882 | 191.302 | 6.7517 | 180.472 | 8.03 | 188.327 | 5.4733 | 197.18 | 26.46 | 972.474 | 38.3928 | 28.4023
2019-01-29 16:15:00 | 4.6907 | 201.432 | 5.2177 | 195.261 | 5.729 | 178.043 | 5.4733 | 196.579 | 26.46 | 972.474 | 39.0777 | 31.6833
2019-01-29 16:30:00 | 4.18 | 164.116 | 6.496 | 151.482 | 6.496 | 179.848 | 6.2403 | 172.75 | 26.46 | 972.474 | 39.6243 | 36.8746
2019-01-29 16:45:00 | 6.478 | 162.214 | 7.263 | 150.677 | 6.7517 | 155.531 | 7.0073 | 157.653 | 26.46 | 972.326 | 40.1025 | 33.1502
2019-01-29 17:00:00 | 6.478 | 151.751 | 7.5187 | 155.018 | 5.9847 | 157.848 | 7.0073 | 162.799 | 26.46 | 972.177 | 41.0589 | 35.6774
2019-01-29 17:15:00 | 7.4993 | 153.751 | 7.7743 | 141.994 | 8.03 | 154.336 | 7.7743 | 161.409 | 26.46 | 971.88 | 42.357 | 35.3079
2019-01-29 17:30:00 | 3.1587 | 164.336 | 5.4733 | 157.701 | 5.729 | 149.068 | 4.4507 | 167.092 | 26.46 | 972.326 | 42.6302 | 36.1873
2019-01-29 17:45:00 | 9.0313 | 150.385 | 9.3083 | 138.873 | 6.7517 | 151.117 | 9.0527 | 148.873 | 26.46 | 972.177 | 44.4065 | 44.0426
2019-01-29 18:00:00 | 8.01 | 158.336 | 10.331 | 152.14 | 12.632 | 157.678 | 9.0527 | 159.482 | 26.46 | 971.731 | 46.7976 | 51.3325
2019-01-29 18:15:00 | 8.5207 | 135.751 | 6.496 | 136.043 | 8.03 | 187.945 | 8.2857 | 150.166 | 26.46 | 971.88 | 49.0521 | 52.3616
2019-01-29 18:30:00 | 9.542 | 153.848 | 8.5413 | 150.458 | 8.5413 | 150.117 | 9.3083 | 155.921 | 26.46 | 971.88 | 48.8471 | 52.925
2019-01-29 18:45:00 | 9.0313 | 159.58 | 10.5867 | 147.165 | 10.331 | 154.483 | 9.0527 | 162.629 | 26.46 | 971.88 | 50.6917 | 54.9629
2019-01-29 19:00:00 | 11.074 | 149.288 | 7.5187 | 156.457 | 6.7517 | 183.018 | 10.8423 | 148.824 | 26.46 | 971.88 | 50.8967 | 64.911
2019-01-29 19:15:00 | 8.2653 | 162.312 | 8.797 | 154.116 | 9.0527 | 161.287 | 8.03 | 158.946 | 26.46 | 971.584 | 50.6234 | 70.7341
2019-01-29 19:30:00 | 12.0953 | 156.775 | 11.6093 | 149.945 | 9.0527 | 156.385 | 11.865 | 149.995 | 26.46 | 971.599 | 50.6917 | 65.6094
2019-01-29 19:45:00 | 4.946 | 137.753 | 7.263 | 125.801 | 6.7517 | 137.85 | 4.7063 | 151.094 | 26.46 | 972.328 | 51.4438 | 48.5318
2019-01-29 20:00:00 | 7.4993 | 148.021 | 7.5187 | 149.045 | 7.263 | 152.753 | 8.03 | 144.582 | 26.46 | 972.263 | 52.8102 | 40.2369
2019-01-29 20:15:00 | 6.9887 | 141.952 | 8.2857 | 141.172 | 9.0527 | 164.904 | 7.263 | 148.123 | 26.46 | 971.942 | 54.3148 | 56.5127
2019-01-29 20:30:00 | 10.8187 | 146.736 | 10.331 | 150.712 | 11.3537 | 155.614 | 11.3537 | 150.224 | 26.46 | 971.931 | 55.6825 | 59.0785
2019-01-29 20:45:00 | 9.2867 | 147.693 | 7.7743 | 136.742 | 6.2403 | 146.376 | 9.0527 | 150.327 | 26.46 | 972.367 | 56.5729 | 57.0928
2019-01-29 21:00:00 | 10.0527 | 156.269 | 8.03 | 147.929 | 7.0073 | 162.977 | 10.331 | 151.829 | 26.46 | 972.705 | 57.9446 | 50.5259
2019-01-29 21:15:00 | 9.542 | 147.492 | 10.5867 | 148.643 | 11.098 | 152.786 | 9.564 | 153.689 | 26.46 | 972.698 | 58.9717 | 50.1501
2019-01-29 21:30:00 | 8.01 | 134.617 | 6.7517 | 137.232 | 7.0073 | 175.554 | 8.03 | 157.94 | 26.46 | 973.015 | 60.8875 | 44.4416
2019-01-29 21:45:00 | 2.648 | 206.95 | 7.7743 | 184.389 | 5.2177 | 167.746 | 5.729 | 181.335 | 26.46 | 973.199 | 62.5956 | 38.2786
2019-01-29 22:00:00 | 6.478 | 147.355 | 8.797 | 137.406 | 9.564 | 141.841 | 7.0073 | 158.479 | 26.46 | 972.772 | 63.998 | 42.0494
2019-01-29 22:15:00 | 8.776 | 174.017 | 6.2403 | 169.851 | 7.263 | 163.503 | 8.5413 | 177.677 | 26.46 | 973.069 | 64.5779 | 35.3079
2019-01-29 22:30:00 | 12.0953 | 166.654 | 10.331 | 169.66 | 10.0753 | 179.731 | 10.5867 | 161.384 | 26.46 | 972.623 | 63.3153 | 34.5411
2019-01-29 22:45:00 | 5.712 | 176.726 | 6.7517 | 168.632 | 7.5187 | 183.191 | 5.729 | 194.658 | 26.46 | 973.069 | 62.494 | 30.9296
2019-01-29 23:00:00 | 7.7547 | 171.816 | 5.4733 | 174.211 | 6.496 | 190.381 | 7.5187 | 163.912 | 26.46 | 973.069 | 60.7491 | 21.1234
2019-01-29 23:15:00 | 5.2013 | 177.082 | 7.263 | 166.913 | 7.0073 | 173.399 | 4.7063 | 155.834 | 26.46 | 972.772 | 59.1763 | 23.2627
2019-01-29 23:30:00 | 5.9673 | 143.791 | 8.2857 | 133.451 | 8.03 | 147.401 | 5.9847 | 156.33 | 26.46 | 972.623 | 56.5142 | 23.1076
2019-01-29 23:45:00 | 8.2653 | 158.358 | 8.5413 | 146.116 | 9.0527 | 156.431 | 8.2857 | 161.603 | 26.46 | 972.467 | 55.0802 | 27.4675