## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-30 00:00:00 | 7.244 | 150.848 | 7.263 | 148.585 | 6.7517 | 165.73 | 7.263 | 151.092 | 26.46 | 972.611 | 57.0636 | 29.5107
2019-01-30 00:15:00 | 8.01 | 160.342 | 7.5187 | 149.442 | 8.2857 | 155.292 | 7.263 | 193.425 | 26.46 | 972.176 | 54.7411 | 34.3288
2019-01-30 00:30:00 | 9.0313 | 168.1 | 7.5187 | 153.419 | 6.2403 | 168.174 | 9.3083 | 162.928 | 26.46 | 972.177 | 53.5793 | 40.429
2019-01-30 00:45:00 | 8.01 | 150.436 | 7.7743 | 149.711 | 7.5187 | 165.807 | 8.03 | 152.876 | 26.46 | 971.88 | 53.9211 | 46.4036
2019-01-30 01:00:00 | 10.0527 | 162.855 | 7.5187 | 148.588 | 5.729 | 168.662 | 10.0753 | 152.437 | 26.46 | 971.88 | 49.4789 | 48.3175
2019-01-30 01:15:00 | 7.4993 | 136.457 | 5.9847 | 124.142 | 6.496 | 157.439 | 7.0073 | 185.838 | 26.46 | 971.731 | 47.9754 | 48.384
2019-01-30 01:30:00 | 9.2867 | 179.128 | 11.865 | 150.394 | 9.0527 | 162.855 | 9.564 | 167.32 | 26.46 | 971.583 | 46.4035 | 45.5648
2019-01-30 01:45:00 | 3.1587 | 120.281 | 4.4507 | 220.464 | 5.9847 | 191.449 | 2.661 | 150.705 | 26.46 | 971.88 | 45.3101 | 41.6779
2019-01-30 02:00:00 | 7.4993 | 145.24 | 6.496 | 145.1 | 7.5187 | 184.788 | 7.0073 | 153.828 | 26.46 | 971.88 | 45.6176 | 35.925
2019-01-30 02:15:00 | 8.5207 | 164.88 | 9.3083 | 155.566 | 9.3083 | 146.728 | 7.7743 | 169.955 | 26.46 | 971.88 | 44.285 | 32.0897
2019-01-30 02:30:00 | 4.946 | 197.036 | 4.4507 | 200.409 | 6.496 | 213.383 | 3.428 | 174.273 | 26.46 | 972.028 | 42.5081 | 24.3306
2019-01-30 02:45:00 | 6.478 | 172.858 | 6.7517 | 166.96 | 5.9847 | 184.788 | 5.9847 | 185.496 | 26.46 | 972.177 | 41.0729 | 24.4155
2019-01-30 03:00:00 | 8.01 | 165.173 | 5.4733 | 154.493 | 6.2403 | 177.982 | 7.5187 | 163.294 | 26.46 | 972.177 | 42.1664 | 25.3392
2019-01-30 03:15:00 | 7.7547 | 154.413 | 6.496 | 162.422 | 6.7517 | 167.1 | 8.03 | 165.124 | 26.46 | 972.177 | 42.6448 | 20.5951
2019-01-30 03:30:00 | 7.4993 | 164.734 | 8.2857 | 146.881 | 8.5413 | 159.878 | 7.7743 | 158.293 | 26.46 | 972.028 | 42.884 | 20.9682
2019-01-30 03:45:00 | 5.712 | 161.1 | 5.729 | 185.188 | 4.962 | 159.954 | 5.2177 | 166.663 | 26.46 | 972.474 | 42.2353 | 25.1434
2019-01-30 04:00:00 | 8.5207 | 159.515 | 6.7517 | 158.545 | 7.7743 | 162.906 | 8.5413 | 162.296 | 26.46 | 972.177 | 43.1238 | 22.5607
2019-01-30 04:15:00 | 7.4993 | 163.664 | 7.5187 | 148.471 | 6.7517 | 163.762 | 8.03 | 161.81 | 26.46 | 972.177 | 44.0811 | 19.8783
2019-01-30 04:30:00 | 5.4567 | 146.786 | 4.4507 | 144.232 | 4.962 | 160.426 | 5.729 | 153.838 | 26.46 | 972.177 | 44.5612 | 9.4145
2019-01-30 04:45:00 | 1.6267 | 166.539 | 2.661 | 143.733 | 2.661 | 147.238 | 3.1723 | 150.556 | 26.46 | 972.177 | 44.6332 | 3.9128
2019-01-30 05:00:00 | 3.6693 | 122.915 | 3.1723 | 115.629 | 2.661 | 126.38 | 3.6837 | 127.551 | 26.46 | 972.068 | 42.1061 | 2.6714
2019-01-30 05:15:00 | 3.6693 | 117.473 | 4.195 | 125.487 | 1.894 | 116.985 | 3.6837 | 88.0924 | 26.46 | 971.882 | 41.8326 | 2.6049
2019-01-30 05:30:00 | 0 | 74.0356 | 2.1497 | 53.3524 | 2.4053 | 50.927 | 0.75133 | 141.507 | 26.46 | 971.606 | 42.1054 | 2.9522
2019-01-30 05:45:00 | 2.1373 | 105.758 | 1.894 | 105.548 | 2.1497 | 52.0249 | 2.661 | 117.251 | 26.46 | 971.585 | 42.3787 | 4.456
2019-01-30 06:00:00 | 0.744 | 124.05 | 2.9167 | 120.886 | 2.1497 | 103.066 | 2.661 | 128.369 | 26.46 | 971.88 | 43.1274 | 5.4868
2019-01-30 06:15:00 | 2.648 | 102.326 | 2.661 | 83.0097 | 1.894 | 108.377 | 3.1723 | 115.599 | 26.46 | 972.178 | 42.4749 | 6.2591
2019-01-30 06:30:00 | 0.372 | 150.218 | 1.894 | 91.3276 | 0 | 179.129 | 2.4053 | 149.266 | 26.46 | 972.772 | 43.2601 | 5.1247
2019-01-30 06:45:00 | 3.1587 | 125.063 | 0.75133 | 130.388 | 0 | 112.083 | 3.6837 | 139.677 | 26.46 | 973.218 | 42.8498 | 3.8057
2019-01-30 07:00:00 | 0 | 103.373 | 0.75133 | 83.0073 | 0.37567 | 149.461 | 0.75133 | 111.766 | 26.46 | 973.813 | 41.7564 | 0.96066
2019-01-30 07:15:00 | 1.116 | 70.9487 | 1.6383 | 48.8504 | 1.6383 | 38.0117 | 1.127 | 108.838 | 26.46 | 973.961 | 43.4649 | -0.088676
2019-01-30 07:30:00 | 1.116 | 76.9993 | 1.894 | 58.6583 | 2.4053 | 28.5942 | 1.127 | 69.314 | 26.46 | 973.961 | 45.9935 | -0.29189
2019-01-30 07:45:00 | 0 | 123.355 | 1.6383 | 100.574 | 1.894 | 95.2976 | 0 | 136.383 | 26.46 | 974.556 | 44.2167 | -0.25125
2019-01-30 08:00:00 | 1.116 | 70.9975 | 1.6383 | 61.9764 | 2.1497 | 53.0895 | 1.127 | 85.3433 | 26.46 | 974.556 | 45.0367 | -0.25125
2019-01-30 08:15:00 | 0 | 53.4311 | 0.37567 | 61.1469 | 0 | 52.6991 | 0 | 75.9258 | 26.46 | 974.556 | 40.1162 | -0.26233
2019-01-30 08:30:00 | 0 | 53.4311 | 0 | 61.1469 | 0 | 52.6991 | 0 | 75.9258 | 26.46 | 975.15 | 40.3212 | -0.25125
2019-01-30 08:45:00 | 0 | 53.3823 | 0 | 61.1469 | 0 | 52.6991 | 0 | 50.7717 | 26.46 | 975.596 | 40.3212 | -0.24016
2019-01-30 09:00:00 | 1.6267 | 342.494 | 1.3827 | 18.3897 | 0.75133 | 42.4518 | 1.3827 | 343.08 | 26.46 | 975.743 | 37.7241 | -0.25125
2019-01-30 09:15:00 | 2.1373 | 350.913 | 1.894 | 18.3411 | 0.75133 | 42.4491 | 1.894 | 352.377 | 26.46 | 975.744 | 38.9517 | -0.25125
2019-01-30 09:30:00 | 0.744 | 352.488 | 2.4053 | 14.511 | 0 | 28.0546 | 1.6383 | 352.366 | 26.46 | 975.744 | 39.1897 | -0.26233
2019-01-30 09:45:00 | 2.648 | 356.908 | 2.661 | 10.1442 | 2.1497 | 4.0741 | 2.1497 | 82.5304 | 26.46 | 975.744 | 39.0877 | -0.25125
2019-01-30 10:00:00 | 1.882 | 329.884 | 3.1723 | 334.915 | 1.894 | 39.4485 | 2.1497 | 351.304 | 26.46 | 976.041 | 38.2001 | -0.26972
2019-01-30 10:15:00 | 2.648 | 23.0977 | 4.7063 | 15.61 | 2.9167 | 48.049 | 1.6383 | 13.8537 | 26.46 | 976.146 | 39.0109 | -0.29189
2019-01-30 10:30:00 | 5.712 | 0.097558 | 5.4733 | 3.3163 | 3.9393 | 24.7796 | 3.1723 | 3.0243 | 26.46 | 975.448 | 39.6926 | 2.4312
2019-01-30 10:45:00 | 4.946 | 356.598 | 5.729 | 7.6102 | 6.496 | 2.9023 | 5.2177 | 0.34145 | 26.46 | 975.149 | 40.5807 | 9.4773
2019-01-30 11:00:00 | 6.7333 | 0.21951 | 7.5187 | 1.1456 | 5.729 | 16.7068 | 5.9847 | 16.3897 | 26.46 | 975.446 | 41.0589 | 15.2745
2019-01-30 11:15:00 | 6.7333 | 10.146 | 7.5187 | 2.6822 | 7.263 | 22.0968 | 6.2403 | 12.8776 | 26.46 | 975.004 | 41.4688 | 15.0639
2019-01-30 11:30:00 | 5.2013 | 0.63413 | 8.03 | 0.75675 | 9.0527 | 12.6581 | 4.7063 | 3.8047 | 26.46 | 974.885 | 37.9163 | 16.6305
2019-01-30 11:45:00 | 6.7333 | 16.8045 | 8.03 | 5.1701 | 7.0073 | 18.5362 | 5.2177 | 0.17073 | 26.46 | 974.756 | 42.699 | 22.3316
2019-01-30 12:00:00 | 7.7547 | 15.4876 | 8.797 | 10.2436 | 7.5187 | 10.1706 | 7.5187 | 16.5852 | 26.46 | 974.329 | 43.2461 | 25.9858
2019-01-30 12:15:00 | 7.4993 | 2.8536 | 8.5413 | 8.3418 | 7.7743 | 6.2437 | 6.496 | 9.1217 | 26.46 | 974.283 | 59.0266 | 27.9024
2019-01-30 12:30:00 | 8.2653 | 28.9746 | 9.0527 | 23.2668 | 5.4733 | 32.2916 | 7.5187 | 29.121 | 26.46 | 974.287 | 53.6977 | 22.1543
2019-01-30 12:45:00 | 7.7547 | 10.8777 | 10.0753 | 18.8523 | 9.8197 | 9.146 | 7.263 | 17.2921 | 26.46 | 973.366 | 52.9462 | 23.5177
2019-01-30 13:00:00 | 7.4993 | 39.3157 | 5.729 | 21.9498 | 7.263 | 20.2676 | 7.0073 | 14.6093 | 26.46 | 973.663 | 54.4492 | 18.319
2019-01-30 13:15:00 | 6.9887 | 60.1931 | 6.496 | 18.0245 | 5.2177 | 29.6819 | 7.5187 | 0.51218 | 26.46 | 973.217 | 58.6849 | 23.4697
2019-01-30 13:30:00 | 7.244 | 56.3639 | 6.7517 | 10.8296 | 7.263 | 11.5118 | 7.0073 | 11.8045 | 26.46 | 973.077 | 59.3681 | 25.3503
2019-01-30 13:45:00 | 6.7333 | 0.097558 | 8.5413 | 4.9016 | 7.263 | 23.3651 | 6.496 | 23.1212 | 26.46 | 973.069 | 62.1008 | 22.2725
2019-01-30 14:00:00 | 7.244 | 20.4873 | 6.7517 | 13.804 | 6.2403 | 16.5361 | 6.2403 | 1.2195 | 26.46 | 973.267 | 60.2566 | 16.9963
2019-01-30 14:15:00 | 6.7333 | 16.9508 | 7.0073 | 13.5602 | 4.7063 | 19.9508 | 5.9847 | 23.2434 | 26.46 | 973.709 | 57.8658 | 11.89
2019-01-30 14:30:00 | 7.4993 | 12.3412 | 8.03 | 1.8532 | 1.6383 | 70.584 | 6.7517 | 19.8289 | 26.46 | 973.721 | 55.4065 | 9.4219
2019-01-30 14:45:00 | 5.4567 | 9.5119 | 6.7517 | 1.2677 | 4.4507 | 24.0969 | 5.2177 | 19.4141 | 26.46 | 973.681 | 55.0644 | 9.2482
2019-01-30 15:00:00 | 5.4567 | 23.5114 | 5.729 | 1.3895 | 4.195 | 4.6096 | 5.2177 | 17.7555 | 26.46 | 973.671 | 54.4492 | 8.0732
2019-01-30 15:15:00 | 5.2013 | 29.8039 | 5.4733 | 13.9988 | 3.428 | 21.3407 | 4.7063 | 26.7308 | 26.46 | 973.816 | 54.1759 | 10.4342
2019-01-30 15:30:00 | 6.7333 | 30.5843 | 7.0073 | 21.0474 | 5.729 | 51.7056 | 6.496 | 31.2185 | 26.46 | 973.663 | 53.4928 | 12.6659
2019-01-30 15:45:00 | 5.9673 | 17.9506 | 5.729 | 12.3891 | 3.1723 | 25.2674 | 5.4733 | 16.2677 | 26.46 | 973.812 | 53.3903 | 10.5783
2019-01-30 16:00:00 | 6.7333 | 6.0973 | 6.7517 | 0.26896 | 4.195 | 0.048779 | 5.9847 | 8.829 | 26.46 | 973.682 | 54.7908 | 14.5134
2019-01-30 16:15:00 | 3.414 | 0.53657 | 6.496 | 3.8041 | 5.729 | 8.39 | 3.9393 | 356.768 | 26.46 | 973.682 | 58.3433 | 17.2254
2019-01-30 16:30:00 | 7.7547 | 16.975 | 8.2857 | 12.6087 | 5.2177 | 18.853 | 7.0073 | 21.2188 | 26.46 | 973.701 | 64.4919 | 24.3047
2019-01-30 16:45:00 | 8.2653 | 11.9996 | 7.263 | 0.51284 | 5.729 | 89.8263 | 9.0527 | 13.0727 | 26.46 | 973.483 | 59.5731 | 37.0511
2019-01-30 17:00:00 | 9.2867 | 11.0745 | 9.564 | 5.3689 | 8.03 | 9.367 | 8.797 | 15.1238 | 26.46 | 973.275 | 50.9046 | 40.5842
2019-01-30 17:15:00 | 8.01 | 20.3947 | 9.3083 | 8.372 | 3.1723 | 353.003 | 7.7743 | 25.4445 | 26.46 | 973.499 | 40.7275 | 43.529
2019-01-30 17:30:00 | 8.776 | 22.8346 | 8.2857 | 14.3008 | 6.496 | 45.4009 | 8.03 | 23.5177 | 26.46 | 973.663 | 35.9448 | 36.1857
2019-01-30 17:45:00 | 8.2653 | 12.7347 | 8.03 | 5.445 | 5.2177 | 31.3976 | 7.263 | 17.1504 | 26.46 | 973.961 | 33.758 | 36.4101
2019-01-30 18:00:00 | 8.2653 | 11.8812 | 7.0073 | 2.1521 | 8.03 | 38.3759 | 8.03 | 15.5894 | 26.46 | 973.961 | 33.6222 | 37.233
2019-01-30 18:15:00 | 8.776 | 350.809 | 9.564 | 2.8986 | 7.263 | 29.7871 | 8.03 | 8.8312 | 26.46 | 973.515 | 35.2609 | 39.7418
2019-01-30 18:30:00 | 8.2653 | 12.8319 | 9.3083 | 10.0794 | 7.0073 | 44.0335 | 7.7743 | 17.3695 | 26.46 | 973.942 | 37.7205 | 44.7311
2019-01-30 18:45:00 | 8.776 | 9.0752 | 8.797 | 2.2733 | 7.263 | 22.0537 | 9.0527 | 15.4669 | 26.46 | 973.937 | 39.8395 | 40.0336
2019-01-30 19:00:00 | 9.2867 | 8.6367 | 7.263 | 2.8242 | 7.0073 | 11.2716 | 9.0527 | 10.0273 | 26.46 | 973.928 | 43.0542 | 44.992
2019-01-30 19:15:00 | 9.2867 | 4.7332 | 8.2857 | 1.8116 | 6.496 | 346.789 | 8.2857 | 8.466 | 26.46 | 974.536 | 46.1302 | 43.1854
2019-01-30 19:30:00 | 9.7973 | 2.7325 | 7.5187 | 14.6692 | 9.3083 | 16.9076 | 9.564 | 19.5182 | 26.46 | 974.406 | 49.3422 | 51.9274
2019-01-30 19:45:00 | 8.5207 | 14.2727 | 8.2857 | 7.8134 | 6.2403 | 356.183 | 8.03 | 21.1772 | 26.46 | 974.704 | 50.7774 | 38.0865
2019-01-30 20:00:00 | 8.01 | 5.3919 | 7.263 | 1.6773 | 4.962 | 46.4045 | 7.7743 | 15.5414 | 26.46 | 974.555 | 51.3241 | 38.3414
2019-01-30 20:15:00 | 10.5633 | 31.1071 | 11.3537 | 22.1837 | 7.5187 | 62.2386 | 10.331 | 34.7668 | 26.46 | 974.555 | 52.0758 | 35.1813
2019-01-30 20:30:00 | 8.01 | 31.0339 | 8.5413 | 23.9891 | 7.5187 | 65.8495 | 7.7743 | 31.4975 | 26.46 | 974.704 | 51.0507 | 31.2141
2019-01-30 20:45:00 | 8.776 | 21.3236 | 8.5413 | 11.3999 | 4.4507 | 97.9325 | 8.2857 | 31.9122 | 26.46 | 975.15 | 51.8708 | 30.0685
2019-01-30 21:00:00 | 9.7973 | 18.8107 | 8.797 | 9.4969 | 2.9167 | 336.64 | 9.564 | 20.0793 | 26.46 | 975.15 | 53.101 | 35.3649
2019-01-30 21:15:00 | 10.0527 | 30.0092 | 8.5413 | 14.5228 | 3.6837 | 33.4493 | 9.564 | 30.8143 | 26.46 | 974.555 | 49.9573 | 57.4383
2019-01-30 21:30:00 | 12.3507 | 17.3224 | 11.3537 | 13.9617 | 9.0527 | 32.3758 | 12.3763 | 21.9092 | 26.46 | 974.852 | 40.2529 | 44.6235
2019-01-30 21:45:00 | 8.776 | 19.0302 | 9.0527 | 15.1815 | 7.5187 | 53.3823 | 9.0527 | 22.7143 | 26.46 | 975.447 | 41.0729 | 32.0971
2019-01-30 22:00:00 | 9.542 | 17.9084 | 8.5413 | 12.1326 | 1.894 | 109.792 | 9.8197 | 12.9067 | 26.46 | 975.001 | 39.9804 | 29.7878
2019-01-30 22:15:00 | 12.606 | 14.1516 | 10.8423 | 6.9856 | 6.7517 | 29.3523 | 12.1207 | 20.3978 | 26.46 | 975.447 | 38.0683 | 24.6077
2019-01-30 22:30:00 | 7.7547 | 20.3504 | 8.2857 | 14.2589 | 3.1723 | 47.7283 | 7.263 | 17.5199 | 26.46 | 975.744 | 40.3265 | 27.362
2019-01-30 22:45:00 | 10.5633 | 16.0321 | 10.331 | 10.2096 | 5.9847 | 13.2991 | 10.0753 | 19.7412 | 26.46 | 975.746 | 39.0978 | 22.4942
2019-01-30 23:00:00 | 8.5207 | 14.4468 | 6.7517 | 12.554 | 4.195 | 353.067 | 7.7743 | 19.3762 | 26.46 | 975.937 | 39.6469 | 29.0673
2019-01-30 23:15:00 | 6.9887 | 352.674 | 7.5187 | 10.0672 | 4.7063 | 355.847 | 8.5413 | 354.92 | 26.46 | 976.014 | 37.4959 | 32.4703
2019-01-30 23:30:00 | 9.2867 | 4.4175 | 8.2857 | 9.1164 | 5.729 | 25.9924 | 8.5413 | 12.9596 | 26.46 | 976.085 | 36.7116 | 35.8031
2019-01-30 23:45:00 | 11.074 | 34.8763 | 10.8423 | 22.9059 | 5.9847 | 349.007 | 11.6093 | 37.9271 | 26.46 | 976.333 | 38.3182 | 58.6479