## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-31 00:00:00 | 14.904 | 18.2069 | 14.6773 | 12.2892 | 6.2403 | 3.6365 | 14.933 | 21.2577 | 26.46 | 976.042 | 46.8638 | 67.7027
2019-01-31 00:15:00 | 9.0313 | 49.1294 | 10.331 | 24.7119 | 6.7517 | 57.281 | 9.3083 | 35.6084 | 26.46 | 976.043 | 49.3932 | 55.7075
2019-01-31 00:30:00 | 8.01 | 24.943 | 7.0073 | 5.2847 | 1.3827 | 326.578 | 8.03 | 40.3433 | 26.46 | 976.043 | 45.9067 | 35.9584
2019-01-31 00:45:00 | 7.4993 | 330.868 | 4.962 | 328.659 | 6.496 | 13.3987 | 7.263 | 335.309 | 26.46 | 976.043 | 56.1262 | 23.7652
2019-01-31 01:00:00 | 6.9887 | 353.669 | 7.0073 | 1.7687 | 5.2177 | 356.67 | 7.0073 | 356.817 | 26.46 | 976.043 | 63.5789 | 24.1902
2019-01-31 01:15:00 | 5.712 | 352.79 | 6.2403 | 2.0875 | 5.2177 | 5.1741 | 6.2403 | 8.9814 | 26.46 | 976.043 | 65.1854 | 23.1289
2019-01-31 01:30:00 | 6.2227 | 352.863 | 5.729 | 16.1194 | 6.496 | 19.0367 | 5.729 | 332.216 | 26.46 | 975.746 | 66.1767 | 29.1117
2019-01-31 01:45:00 | 6.9887 | 26.1389 | 8.2857 | 17.9743 | 6.7517 | 17.5724 | 9.564 | 7.0534 | 26.46 | 975.597 | 66.6554 | 32.4814
2019-01-31 02:00:00 | 7.4993 | 356.906 | 7.7743 | 14.8009 | 5.9847 | 30.7796 | 7.263 | 1.2449 | 26.46 | 975.746 | 68.5089 | 24.6446
2019-01-31 02:15:00 | 9.0313 | 7.3963 | 7.5187 | 9.3166 | 5.2177 | 19.9431 | 9.0527 | 20.651 | 26.46 | 975.448 | 68.786 | 19.9522
2019-01-31 02:30:00 | 6.7333 | 1.8796 | 6.2403 | 5.1426 | 4.962 | 41.888 | 6.2403 | 354.657 | 26.46 | 976.043 | 68.5812 | 22.3021
2019-01-31 02:45:00 | 6.7333 | 346.235 | 7.0073 | 16.607 | 5.729 | 31.9774 | 7.263 | 355.779 | 26.46 | 975.448 | 72.4102 | 22.7824
2019-01-31 03:00:00 | 6.9887 | 343.013 | 4.962 | 323.623 | 6.7517 | 10.2767 | 7.263 | 354.046 | 26.46 | 975.746 | 73.3675 | 20.9498
2019-01-31 03:15:00 | 6.478 | 13.0107 | 4.7063 | 0.13846 | 4.195 | 72.7914 | 5.4733 | 343.159 | 26.46 | 976.043 | 73.0256 | 30.2977
2019-01-31 03:30:00 | 8.2653 | 347.553 | 5.9847 | 2.5063 | 6.496 | 18.3809 | 9.0527 | 347.968 | 26.46 | 976.043 | 72.2051 | 31.2177
2019-01-31 03:45:00 | 6.7333 | 206.975 | 6.7517 | 17.0304 | 6.496 | 29.4388 | 6.7517 | 0.63467 | 26.46 | 975.894 | 71.7949 | 23.115
2019-01-31 04:00:00 | 6.2227 | 53.1167 | 4.4507 | 1.0905 | 4.195 | 4.2962 | 5.2177 | 6.8593 | 26.46 | 975.448 | 71.2478 | 21.9289
2019-01-31 04:15:00 | 5.4567 | 15.5249 | 5.2177 | 12.1887 | 5.9847 | 356.976 | 4.7063 | 12.2295 | 26.46 | 975.746 | 70.8718 | 14.8607
2019-01-31 04:30:00 | 4.18 | 12.1563 | 5.9847 | 6.7292 | 4.195 | 14.6706 | 3.9393 | 15.232 | 26.46 | 975.746 | 70.5641 | 11.0808
2019-01-31 04:45:00 | 4.18 | 355.877 | 5.2177 | 12.9454 | 6.2403 | 2.0749 | 5.2177 | 356.512 | 26.46 | 975.746 | 70.2906 | 10.3788
2019-01-31 05:00:00 | 5.2013 | 53.0923 | 5.2177 | 13.5069 | 4.962 | 0.048821 | 5.2177 | 0.68349 | 26.46 | 975.894 | 70.4273 | 9.2371
2019-01-31 05:15:00 | 4.6907 | 354.388 | 6.2403 | 336.853 | 5.2177 | 4.4671 | 6.2403 | 0.19528 | 26.46 | 976.045 | 70.2222 | 10.4601
2019-01-31 05:30:00 | 6.478 | 350.287 | 4.962 | 15.4353 | 4.195 | 16.184 | 5.4733 | 356.658 | 26.46 | 976.49 | 69.2308 | 11.2176
2019-01-31 05:45:00 | 5.712 | 356.878 | 4.195 | 4.4262 | 5.2177 | 34.1744 | 5.729 | 5.3214 | 26.46 | 976.657 | 69.5386 | 11.4799
2019-01-31 06:00:00 | 4.4353 | 356.78 | 5.729 | 12.6769 | 4.195 | 356.512 | 5.4733 | 356.683 | 26.46 | 976.639 | 69.9829 | 10.5118
2019-01-31 06:15:00 | 5.9673 | 352.704 | 3.9393 | 9.3083 | 3.428 | 25.9237 | 5.729 | 354.315 | 26.46 | 976.638 | 70.2223 | 9.348
2019-01-31 06:30:00 | 5.4567 | 353.9 | 4.962 | 4.9633 | 5.2177 | 7.6892 | 4.7063 | 6.249 | 26.46 | 976.495 | 69.9488 | 8.2395
2019-01-31 06:45:00 | 5.2013 | 8.1044 | 4.7063 | 0.080862 | 3.9393 | 356.982 | 4.7063 | 14.9882 | 26.46 | 976.341 | 69.3346 | 4.2934
2019-01-31 07:00:00 | 3.9247 | 322.817 | 4.4507 | 326.984 | 4.195 | 342.102 | 2.9167 | 333.362 | 26.46 | 977.233 | 70.1572 | 5.86
2019-01-31 07:15:00 | 0 | 343.742 | 2.1497 | 335.949 | 1.127 | 334.074 | 1.127 | 1.9531 | 26.46 | 977.703 | 71.5993 | 13.512
2019-01-31 07:30:00 | 4.4353 | 339.065 | 3.1723 | 8.7939 | 3.9393 | 26.6116 | 4.4507 | 341.898 | 26.46 | 977.571 | 72.6957 | 15.4962
2019-01-31 07:45:00 | 3.9247 | 348.783 | 5.9847 | 0.84986 | 3.6837 | 24.1946 | 3.6837 | 336.869 | 26.46 | 977.718 | 71.8753 | 14.4875
2019-01-31 08:00:00 | 5.712 | 51.6853 | 4.195 | 5.1957 | 5.9847 | 22.6566 | 5.4733 | 352.837 | 26.46 | 977.852 | 72.2859 | 9.4551
2019-01-31 08:15:00 | 4.6907 | 8.3005 | 4.7063 | 11.8592 | 5.729 | 12.4507 | 4.962 | 2.0019 | 26.46 | 977.686 | 72.0087 | 7.5338
2019-01-31 08:30:00 | 2.3927 | 10.5942 | 4.4507 | 16.3718 | 4.4507 | 18.9671 | 2.1497 | 7.4696 | 26.46 | 978.125 | 70.0182 | 3.5655
2019-01-31 08:45:00 | 5.4567 | 12.913 | 4.962 | 7.3883 | 2.9167 | 17.3801 | 4.4507 | 4.6135 | 26.46 | 978.274 | 69.265 | 2.8487
2019-01-31 09:00:00 | 3.414 | 20.0164 | 3.6837 | 13.2956 | 3.6837 | 11.0334 | 3.1723 | 9.4712 | 26.46 | 978.422 | 67.8975 | 2.2354
2019-01-31 09:15:00 | 3.414 | 17.2814 | 3.9393 | 13.7574 | 1.6383 | 42.4957 | 3.1723 | 347.85 | 26.46 | 979.017 | 67.1413 | 4.1345
2019-01-31 09:30:00 | 4.18 | 43.0768 | 1.3827 | 83.2134 | 0.75133 | 335.535 | 3.9393 | 46.9085 | 26.46 | 979.612 | 63.2029 | 4.8144
2019-01-31 09:45:00 | 2.9033 | 20.8916 | 3.9393 | 9.2141 | 2.661 | 60.7956 | 3.1723 | 344.882 | 26.46 | 979.612 | 63.3738 | 4.9141
2019-01-31 10:00:00 | 4.6907 | 23.691 | 3.9393 | 27.6259 | 1.3827 | 23.4226 | 3.9393 | 18.9332 | 26.46 | 979.76 | 63.4908 | 5.025
2019-01-31 10:15:00 | 3.6693 | 16.4929 | 6.7517 | 11.7171 | 2.661 | 345.155 | 4.7063 | 5.8067 | 26.46 | 979.907 | 59.6617 | 4.7146
2019-01-31 10:30:00 | 3.414 | 11.369 | 4.7063 | 15.9124 | 1.894 | 51.3313 | 2.9167 | 348.146 | 26.46 | 979.888 | 59.1816 | 6.6396
2019-01-31 10:45:00 | 3.6693 | 0.097586 | 5.4733 | 7.5577 | 5.2177 | 0.48793 | 3.9393 | 345.822 | 26.46 | 979.757 | 56.1395 | 8.2949
2019-01-31 11:00:00 | 4.946 | 23.5621 | 6.2403 | 27.417 | 3.1723 | 42.4655 | 5.2177 | 38.1726 | 26.46 | 979.484 | 54.4537 | 8.6127
2019-01-31 11:15:00 | 4.946 | 1.1707 | 5.4733 | 1.4153 | 4.7063 | 15.1946 | 3.428 | 2.2438 | 26.46 | 979.058 | 52.5363 | 4.7848
2019-01-31 11:30:00 | 2.3927 | 26.926 | 0 | 0.19574 | 1.007 | 332.087 | 1.894 | 43.9011 | 26.46 | 979.608 | 49.3255 | 1.8216
2019-01-31 11:45:00 | 4.6907 | 292.527 | 4.195 | 291.867 | 3.6837 | 265.771 | 4.4507 | 302.478 | 26.46 | 979.309 | 50.0769 | 1.6257
2019-01-31 12:00:00 | 2.9033 | 8.4387 | 3.9393 | 15.927 | 4.4507 | 310.38 | 2.9167 | 7.9266 | 26.46 | 979.309 | 50.0769 | 2.1024
2019-01-31 12:15:00 | 3.414 | 295.161 | 3.428 | 286.038 | 3.1723 | 269.601 | 2.9167 | 300.478 | 26.46 | 979.042 | 49.1204 | 0.80548
2019-01-31 12:30:00 | 2.9033 | 284.97 | 4.195 | 297.267 | 3.6837 | 278.042 | 3.428 | 314.072 | 26.46 | 978.961 | 47.5921 | 0.084981
2019-01-31 12:45:00 | 4.4353 | 350.813 | 4.7063 | 20 | 3.6837 | 14.54 | 3.1723 | 310.999 | 26.46 | 978.717 | 46.8101 | 0.12193
2019-01-31 13:00:00 | 2.648 | 294.967 | 2.9167 | 292.703 | 2.1497 | 288.575 | 2.9167 | 306.677 | 26.46 | 978.717 | 43.3927 | -0.025864
2019-01-31 13:15:00 | 1.6267 | 313.588 | 1.6383 | 315.252 | 2.1497 | 290.241 | 1.3827 | 295.657 | 26.46 | 978.122 | 44.6237 | -0.15149
2019-01-31 13:30:00 | 4.18 | 305.332 | 2.1497 | 291.724 | 3.1723 | 275.424 | 3.428 | 297.306 | 26.46 | 977.974 | 45.9207 | -0.12932
2019-01-31 13:45:00 | 3.1587 | 291.866 | 3.428 | 281.601 | 3.6837 | 293.794 | 3.428 | 291.915 | 26.46 | 977.672 | 46.4713 | -0.2882
2019-01-31 14:00:00 | 0 | 292.651 | 1.3827 | 283.581 | 0 | 318.634 | 0 | 302.63 | 26.46 | 977.379 | 46.7453 | -0.29928
2019-01-31 14:15:00 | 3.414 | 280.379 | 1.894 | 281.239 | 1.3827 | 299.409 | 2.661 | 279.866 | 26.46 | 977.231 | 45.9252 | -0.33254
2019-01-31 14:30:00 | 1.116 | 207.654 | 1.6383 | 202.661 | 1.3827 | 183.302 | 1.127 | 229.054 | 26.46 | 976.933 | 46.7177 | -0.15518
2019-01-31 14:45:00 | 3.1587 | 239.705 | 2.661 | 204.867 | 2.9167 | 215.496 | 2.1497 | 227.283 | 26.46 | 977.079 | 47.6478 | -0.31776
2019-01-31 15:00:00 | 1.6267 | 270.442 | 2.661 | 237.629 | 3.1723 | 267.147 | 1.3827 | 283.035 | 26.46 | 977.144 | 47.0002 | -0.2882
2019-01-31 15:15:00 | 5.2013 | 255.922 | 3.428 | 239.656 | 3.1723 | 276.863 | 4.962 | 255.629 | 26.46 | 977.229 | 47.4449 | -0.066507
2019-01-31 15:30:00 | 2.9033 | 288.333 | 3.428 | 268.553 | 3.428 | 301.147 | 2.9167 | 265.319 | 26.46 | 977.232 | 47.9576 | 0.2143
2019-01-31 15:45:00 | 3.1587 | 277.302 | 3.1723 | 262.744 | 1.6383 | 279.547 | 2.9167 | 272.567 | 26.46 | 976.935 | 46.898 | 0.59118
2019-01-31 16:00:00 | 2.648 | 223.12 | 2.9167 | 253.69 | 2.661 | 221.802 | 3.428 | 236.519 | 26.46 | 976.638 | 48.7438 | 1.489
2019-01-31 16:15:00 | 4.946 | 238.809 | 4.962 | 221.664 | 3.9393 | 240.102 | 5.2177 | 243.837 | 26.46 | 976.638 | 52.5712 | 0.69833
2019-01-31 16:30:00 | 3.1587 | 254.311 | 3.6837 | 242.268 | 2.4053 | 263.781 | 3.1723 | 249.894 | 26.46 | 976.638 | 55.0333 | 0.84242
2019-01-31 16:45:00 | 4.18 | 272.25 | 4.195 | 261.646 | 3.9393 | 262.512 | 3.9393 | 273.006 | 26.46 | 976.34 | 56.7424 | 0.33993
2019-01-31 17:00:00 | 3.1587 | 247.722 | 3.1723 | 241.438 | 3.1723 | 257.387 | 3.428 | 248.088 | 26.46 | 976.192 | 56.6741 | 0.2143
2019-01-31 17:15:00 | 3.9247 | 249.284 | 3.1723 | 237.191 | 4.195 | 250.236 | 3.6837 | 252.09 | 26.46 | 976.34 | 56.6741 | 1.4151
2019-01-31 17:30:00 | 2.9033 | 230.662 | 5.2177 | 226.965 | 5.9847 | 246.209 | 3.428 | 223.95 | 26.46 | 976.34 | 60.981 | 2.6049
2019-01-31 17:45:00 | 4.18 | 233.496 | 3.9393 | 222.062 | 2.661 | 228.541 | 4.195 | 247.432 | 26.46 | 976.043 | 62.9643 | 1.7514
2019-01-31 18:00:00 | 4.4353 | 214.869 | 3.1723 | 214.03 | 4.195 | 230.564 | 4.4507 | 238.277 | 26.46 | 976.192 | 63.9273 | 2.0802
2019-01-31 18:15:00 | 4.18 | 220.324 | 4.195 | 209.991 | 4.4507 | 218.665 | 4.4507 | 223.937 | 26.46 | 976.043 | 66.0505 | 2.8266
2019-01-31 18:30:00 | 4.4353 | 201.579 | 3.9393 | 149.016 | 3.9393 | 193.963 | 5.9847 | 221.62 | 26.46 | 976.043 | 70.3246 | 3.0372
2019-01-31 18:45:00 | 5.712 | 187.178 | 5.9847 | 179.676 | 7.263 | 187.422 | 6.2403 | 193.769 | 26.46 | 975.746 | 73.641 | 3.8352
2019-01-31 19:00:00 | 6.9887 | 180.392 | 6.496 | 177.332 | 7.0073 | 187.08 | 6.7517 | 182.735 | 26.46 | 975.3 | 75.0769 | 9.0302
2019-01-31 19:15:00 | 7.244 | 181.295 | 7.7743 | 167.544 | 7.0073 | 185.567 | 7.0073 | 180.099 | 26.46 | 975.151 | 75.3846 | 16.1797
2019-01-31 19:30:00 | 7.4993 | 168.138 | 7.0073 | 165.469 | 7.5187 | 186.104 | 7.263 | 179.513 | 26.46 | 975.153 | 77.094 | 17.2217
2019-01-31 19:45:00 | 4.946 | 180.221 | 6.7517 | 160.172 | 7.7743 | 153.54 | 4.962 | 196.112 | 26.46 | 975.449 | 77.8803 | 12.8728
2019-01-31 20:00:00 | 6.2227 | 199.114 | 6.2403 | 181.629 | 6.2403 | 170.139 | 5.9847 | 190.254 | 26.46 | 975.158 | 79.5214 | 12.0046
2019-01-31 20:15:00 | 5.712 | 173.215 | 3.9393 | 179.969 | 4.7063 | 187.739 | 5.2177 | 190.449 | 26.46 | 975.33 | 78.6667 | 7.5966
2019-01-31 20:30:00 | 4.946 | 185.762 | 5.2177 | 174.379 | 4.4507 | 175.461 | 4.962 | 191.816 | 26.46 | 975.151 | 75.7607 | 7.0128
2019-01-31 20:45:00 | 5.4567 | 198.504 | 5.729 | 174.843 | 3.9393 | 185.664 | 5.2177 | 191.743 | 26.46 | 975.3 | 75.5555 | 8.2136
2019-01-31 21:00:00 | 5.4567 | 197.821 | 5.4733 | 181.433 | 4.7063 | 188.887 | 5.2177 | 196.942 | 26.46 | 975.458 | 75.6239 | 12.5625
2019-01-31 21:15:00 | 5.2013 | 184.005 | 4.962 | 168.398 | 4.7063 | 185.957 | 5.4733 | 199.896 | 26.46 | 975.151 | 73.7778 | 10.8702
2019-01-31 21:30:00 | 7.7547 | 190.058 | 7.0073 | 180.994 | 5.729 | 181.783 | 7.7743 | 201.775 | 26.46 | 975.181 | 71.0428 | 14.7387
2019-01-31 21:45:00 | 7.4993 | 184.908 | 5.9847 | 180.311 | 5.4733 | 182.589 | 6.7517 | 191.45 | 26.46 | 974.858 | 68.8547 | 17.0702
2019-01-31 22:00:00 | 6.478 | 184.908 | 5.2177 | 176.576 | 4.962 | 192.231 | 6.7517 | 189.204 | 26.46 | 975.003 | 68.9231 | 17.532
2019-01-31 22:15:00 | 6.478 | 187.788 | 5.2177 | 168.838 | 4.7063 | 188.252 | 6.7517 | 207.878 | 26.46 | 974.856 | 69.7436 | 17.9422
2019-01-31 22:30:00 | 5.9673 | 183.907 | 5.729 | 172.768 | 5.729 | 184.493 | 5.4733 | 193.744 | 26.46 | 974.854 | 70.4957 | 18.0308
2019-01-31 22:45:00 | 6.2227 | 196.307 | 4.962 | 170.156 | 4.195 | 181.856 | 5.2177 | 190.986 | 26.46 | 974.854 | 69.1966 | 16.8226
2019-01-31 23:00:00 | 6.2227 | 191.523 | 4.7063 | 182.556 | 4.4507 | 195.868 | 5.4733 | 209.147 | 26.46 | 974.854 | 68.9915 | 16.3017
2019-01-31 23:15:00 | 5.9673 | 190.058 | 4.7063 | 178.382 | 4.7063 | 184.2 | 5.729 | 195.99 | 26.46 | 974.869 | 70.6325 | 16.8744
2019-01-31 23:30:00 | 7.7547 | 170.14 | 6.7517 | 161.246 | 4.195 | 183.175 | 7.5187 | 181.149 | 26.46 | 974.557 | 72.2051 | 20.3438
2019-01-31 23:45:00 | 5.712 | 168.675 | 6.2403 | 152.678 | 5.9847 | 171.848 | 5.729 | 178.17 | 26.46 | 974.291 | 75.6581 | 21.4966