## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-01 00:00:00 | 5.712 | 176.852 | 5.2177 | 162.54 | 4.195 | 182.418 | 5.9847 | 176.901 | 26.46 | 974.26 | 78.4958 | 20.8648
2019-02-01 00:15:00 | 7.4993 | 164.479 | 7.0073 | 158.784 | 6.2403 | 171.168 | 7.5187 | 167.14 | 26.46 | 974.111 | 78.0868 | 20.5175
2019-02-01 00:30:00 | 6.2227 | 171.372 | 5.9847 | 158.842 | 5.4733 | 172.739 | 6.2403 | 171.738 | 26.46 | 973.962 | 79.1852 | 22.8194
2019-02-01 00:45:00 | 6.7333 | 174.023 | 6.496 | 149.848 | 7.0073 | 163.745 | 7.263 | 190.82 | 26.46 | 973.665 | 76.4903 | 23.1076
2019-02-01 01:00:00 | 6.478 | 182.68 | 6.7517 | 172.616 | 6.2403 | 172.817 | 7.0073 | 184.731 | 26.46 | 973.665 | 75.9733 | 18.7255
2019-02-01 01:15:00 | 5.712 | 180.14 | 5.2177 | 179.158 | 4.7063 | 183.045 | 5.4733 | 168.276 | 26.46 | 973.665 | 77.7509 | 15.1341
2019-02-01 01:30:00 | 5.2013 | 180.121 | 5.729 | 172.059 | 5.9847 | 165.448 | 5.9847 | 188.226 | 26.46 | 973.367 | 78.3684 | 12.3519
2019-02-01 01:45:00 | 5.712 | 190.324 | 5.729 | 171.203 | 4.962 | 182.195 | 5.2177 | 193.498 | 26.46 | 973.07 | 77.3765 | 12.411
2019-02-01 02:00:00 | 5.2013 | 174.997 | 5.4733 | 164.128 | 4.962 | 178.269 | 5.729 | 185.275 | 26.46 | 973.072 | 77.6176 | 11.4651
2019-02-01 02:15:00 | 6.7333 | 177.536 | 5.729 | 172.941 | 4.962 | 179.391 | 5.9847 | 170.944 | 26.46 | 973.219 | 77.6174 | 13.8741
2019-02-01 02:30:00 | 5.712 | 186.398 | 4.962 | 162.467 | 5.4733 | 168.087 | 5.729 | 186.91 | 26.46 | 972.78 | 79.2586 | 11.2693
2019-02-01 02:45:00 | 5.4567 | 186.567 | 5.2177 | 166.03 | 5.2177 | 169.6 | 5.729 | 192.304 | 26.46 | 972.774 | 77.6168 | 9.9946
2019-02-01 03:00:00 | 6.2227 | 184.729 | 5.9847 | 161.677 | 5.2177 | 172.669 | 5.9847 | 193.42 | 26.46 | 972.624 | 75.8359 | 9.2556
2019-02-01 03:15:00 | 4.6907 | 189.042 | 4.4507 | 177.366 | 4.195 | 172.686 | 3.9393 | 192.411 | 26.46 | 972.641 | 75.901 | 8.8381
2019-02-01 03:30:00 | 4.946 | 190.28 | 4.7063 | 181.631 | 5.2177 | 185.862 | 5.2177 | 186.862 | 26.46 | 972.475 | 77.2316 | 10.0537
2019-02-01 03:45:00 | 5.2013 | 164.31 | 5.729 | 157.589 | 5.4733 | 176.393 | 5.4733 | 165.14 | 26.46 | 972.475 | 79.2499 | 15.3521
2019-02-01 04:00:00 | 6.2227 | 165.883 | 6.7517 | 146.249 | 5.4733 | 158.145 | 6.2403 | 168.495 | 26.46 | 972.029 | 81.6829 | 15.3669
2019-02-01 04:15:00 | 6.9887 | 170.998 | 5.2177 | 174.827 | 4.962 | 194.192 | 7.0073 | 167.41 | 26.46 | 972.193 | 84.5272 | 16.5788
2019-02-01 04:30:00 | 6.7333 | 168.899 | 7.0073 | 158.689 | 6.2403 | 177.688 | 7.263 | 170.779 | 26.46 | 972.069 | 84.8692 | 16.7561
2019-02-01 04:45:00 | 5.9673 | 157.214 | 5.2177 | 152.522 | 4.4507 | 227.776 | 5.9847 | 166.907 | 26.46 | 972.111 | 85.0452 | 15.3077
2019-02-01 05:00:00 | 5.2013 | 161.478 | 5.4733 | 155.372 | 5.4733 | 227.065 | 5.4733 | 167.338 | 26.46 | 972.215 | 86.3871 | 14.5688
2019-02-01 05:15:00 | 5.9673 | 170.979 | 5.729 | 166.241 | 5.9847 | 226.556 | 5.9847 | 172.957 | 26.46 | 972.04 | 86.8673 | 17.0074
2019-02-01 05:30:00 | 5.2013 | 164.923 | 5.729 | 155.374 | 4.7063 | 225.701 | 5.2177 | 164.142 | 26.46 | 972.126 | 87.7907 | 17.1367
2019-02-01 05:45:00 | 4.6907 | 166.364 | 7.0073 | 149.905 | 4.4507 | 225.384 | 5.4733 | 186.778 | 26.46 | 971.863 | 87.2093 | 13.3347
2019-02-01 06:00:00 | 4.6907 | 178.451 | 5.4733 | 167.559 | 4.4507 | 224.993 | 4.7063 | 189 | 26.46 | 972.174 | 85.1573 | 10.9589
2019-02-01 06:15:00 | 4.946 | 177.035 | 4.962 | 156.84 | 4.7063 | 224.846 | 4.962 | 184.263 | 26.46 | 972.163 | 83.2079 | 10.885
2019-02-01 06:30:00 | 5.9673 | 183.213 | 4.962 | 168.756 | 4.962 | 224.798 | 5.9847 | 185.191 | 26.46 | 971.842 | 81.6005 | 9.6177
2019-02-01 06:45:00 | 5.2013 | 182.309 | 3.9393 | 170.905 | 3.9393 | 225.188 | 4.962 | 195.251 | 26.46 | 972.07 | 77.8728 | 8.5905
2019-02-01 07:00:00 | 5.2013 | 184.737 | 4.195 | 167.96 | 4.7063 | 224.634 | 4.962 | 192.697 | 26.46 | 972.109 | 74.6181 | 9.2851
2019-02-01 07:15:00 | 5.9673 | 188.797 | 4.962 | 176.61 | 3.428 | 225.199 | 5.729 | 196.487 | 26.46 | 971.924 | 72.2859 | 12.374
2019-02-01 07:30:00 | 5.9673 | 177.869 | 5.9847 | 167.976 | 5.729 | 224.351 | 5.9847 | 183.362 | 26.46 | 971.884 | 69.8526 | 15.4371
2019-02-01 07:45:00 | 5.2013 | 183.811 | 4.962 | 153.802 | 4.195 | 224.454 | 5.2177 | 194.917 | 26.46 | 971.883 | 86.4281 | 14.1623
2019-02-01 08:00:00 | 4.946 | 157.544 | 4.7063 | 149.505 | 3.1723 | 224.818 | 4.7063 | 172.898 | 26.46 | 972.184 | 79.3846 | 13.948
2019-02-01 08:15:00 | 5.4567 | 160.375 | 4.7063 | 149.065 | 3.9393 | 224.037 | 5.4733 | 170.017 | 26.46 | 972.475 | 74.7351 | 20.3549
2019-02-01 08:30:00 | 6.2227 | 153.885 | 6.2403 | 144.527 | 6.2403 | 222.664 | 6.496 | 177.072 | 26.46 | 972.475 | 79.3053 | 20.233
2019-02-01 08:45:00 | 5.2013 | 169.866 | 4.962 | 157.139 | 4.4507 | 223.389 | 4.962 | 176.432 | 26.46 | 972.624 | 77.5252 | 18.3634
2019-02-01 09:00:00 | 5.712 | 167.498 | 4.962 | 152.551 | 4.7063 | 223.315 | 4.962 | 174.43 | 26.46 | 973.07 | 76.6363 | 15.3373
2019-02-01 09:15:00 | 7.244 | 158.27 | 5.4733 | 148.714 | 5.729 | 222.594 | 7.0073 | 168.299 | 26.46 | 973.08 | 71.2233 | 14.2067
2019-02-01 09:30:00 | 5.712 | 160.806 | 5.4733 | 146.198 | 5.2177 | 222.678 | 5.9847 | 170.028 | 26.46 | 973.367 | 71.6898 | 13.4271
2019-02-01 09:45:00 | 2.9033 | 164.045 | 4.4507 | 144.484 | 3.9393 | 222.939 | 3.6837 | 178.098 | 26.46 | 973.367 | 66.2203 | 10.5229
2019-02-01 10:00:00 | 5.2013 | 177.593 | 5.729 | 146.42 | 5.9847 | 222.211 | 4.4507 | 168.323 | 26.46 | 973.367 | 67.1708 | 16.8226
2019-02-01 10:15:00 | 5.4567 | 171.703 | 6.496 | 146.312 | 5.9847 | 221.799 | 5.4733 | 178.849 | 26.46 | 973.098 | 67.4641 | 22.2208
2019-02-01 10:30:00 | 4.6907 | 170.872 | 4.4507 | 149.116 | 7.0073 | 220.675 | 5.2177 | 173.019 | 26.46 | 973.073 | 62.579 | 20.3845
2019-02-01 10:45:00 | 6.9887 | 167.043 | 7.0073 | 143.824 | 7.0073 | 219.944 | 6.496 | 181.262 | 26.46 | 973.069 | 59.9146 | 18.6183
2019-02-01 11:00:00 | 4.946 | 155.434 | 5.729 | 142.385 | 5.4733 | 219.505 | 4.7063 | 147.336 | 26.46 | 973.069 | 54.0393 | 16.7044
2019-02-01 11:15:00 | 7.7547 | 142.995 | 8.5413 | 140.36 | 8.5413 | 218.09 | 8.2857 | 154.117 | 26.46 | 972.772 | 57.3869 | 26.5031
2019-02-01 11:30:00 | 6.9887 | 144.166 | 9.0527 | 140.312 | 8.2857 | 217.163 | 8.03 | 158.946 | 26.46 | 972.326 | 56.123 | 31.4247
2019-02-01 11:45:00 | 8.2653 | 134.849 | 7.263 | 130.751 | 7.7743 | 215.09 | 8.2857 | 139.093 | 26.46 | 971.88 | 52.3997 | 25.9378
2019-02-01 12:00:00 | 8.5207 | 147.922 | 8.03 | 131.117 | 8.2857 | 214.09 | 9.0527 | 146.361 | 26.46 | 971.88 | 49.1204 | 33.4503
2019-02-01 12:15:00 | 9.0313 | 158.287 | 9.3083 | 149.067 | 9.8197 | 211.7 | 9.0527 | 162.482 | 26.46 | 971.731 | 51.8531 | 35.4631
2019-02-01 12:30:00 | 8.5207 | 143.361 | 8.5413 | 136.068 | 8.797 | 210.383 | 8.5413 | 156.824 | 26.46 | 971.286 | 50.7601 | 39.5696
2019-02-01 12:45:00 | 8.2653 | 134.63 | 9.8197 | 127.849 | 10.0753 | 207.261 | 8.5413 | 142.117 | 26.46 | 970.989 | 47.4125 | 38.9769
2019-02-01 13:00:00 | 11.074 | 174.652 | 11.6093 | 164.163 | 11.865 | 186.871 | 11.3537 | 157.482 | 26.46 | 970.394 | 39.9656 | 38.4042
2019-02-01 13:15:00 | 11.3293 | 143.995 | 12.1207 | 138.97 | 11.3537 | 193.676 | 11.6093 | 149.336 | 26.46 | 970.691 | 43.5184 | 38.5494
2019-02-01 13:30:00 | 9.7973 | 145.576 | 10.5867 | 131.209 | 9.8197 | 188.28 | 11.098 | 155.624 | 26.46 | 970.691 | 45.9763 | 46.326
2019-02-01 13:45:00 | 10.0527 | 140.286 | 11.098 | 129.31 | 12.8877 | 180.284 | 10.8423 | 143.774 | 26.46 | 970.097 | 43.7227 | 38.3045
2019-02-01 14:00:00 | 10.5633 | 154.968 | 9.3083 | 143.236 | 9.3083 | 165.797 | 10.5867 | 159.09 | 26.46 | 970.097 | 41.8782 | 30.682
2019-02-01 14:15:00 | 10.8187 | 133.261 | 12.1207 | 126.846 | 11.098 | 161.723 | 11.098 | 139.505 | 26.46 | 969.503 | 43.0394 | 23.1334
2019-02-01 14:30:00 | 7.244 | 168.351 | 8.2857 | 159.911 | 8.2857 | 113.722 | 8.2857 | 171.79 | 26.46 | 969.503 | 41.3301 | 31.7535
2019-02-01 14:45:00 | 6.2227 | 152.268 | 6.496 | 150.923 | 5.729 | 158.218 | 7.263 | 136.856 | 26.46 | 969.503 | 41.6684 | 47.1019
2019-02-01 15:00:00 | 12.606 | 146.41 | 13.399 | 138.896 | 12.8877 | 141.289 | 12.8877 | 153.701 | 26.46 | 968.908 | 42.1451 | 64.5728
2019-02-01 15:15:00 | 12.606 | 153.101 | 13.399 | 146.075 | 13.9103 | 153.832 | 12.632 | 155.832 | 26.46 | 968.76 | 43.0015 | 69.715
2019-02-01 15:30:00 | 10.308 | 140.185 | 9.3083 | 133.842 | 11.098 | 183.426 | 9.8197 | 155.891 | 26.46 | 968.908 | 43.585 | 72.6296
2019-02-01 15:45:00 | 13.8827 | 155.986 | 12.1207 | 160.228 | 10.331 | 171.692 | 14.166 | 157.839 | 26.46 | 968.314 | 46.7267 | 75.6704
2019-02-01 16:00:00 | 12.606 | 148.312 | 10.331 | 174.969 | 11.098 | 165.799 | 12.3763 | 177.823 | 26.46 | 968.314 | 46.2169 | 73.8775
2019-02-01 16:15:00 | 11.074 | 137.995 | 9.8197 | 150.384 | 8.797 | 168.433 | 10.5867 | 144.288 | 26.46 | 967.72 | 48.5739 | 64.8852
2019-02-01 16:30:00 | 10.8187 | 169.092 | 12.1207 | 141.775 | 13.6547 | 158.482 | 10.331 | 167.141 | 26.46 | 967.274 | 50.76 | 69.7956
2019-02-01 16:45:00 | 9.7973 | 140.337 | 13.9103 | 142.141 | 10.0753 | 148.068 | 10.0753 | 163.531 | 26.46 | 966.828 | 51.5115 | 67.737
2019-02-01 17:00:00 | 10.5633 | 147.458 | 13.6547 | 123.971 | 12.632 | 142.824 | 11.6093 | 156.019 | 26.46 | 966.531 | 50.3501 | 69.5185
2019-02-01 17:15:00 | 14.6487 | 156.829 | 11.6093 | 142.122 | 11.3537 | 148.024 | 14.6773 | 164.512 | 26.46 | 966.385 | 51.1034 | 71.4989
2019-02-01 17:30:00 | 11.84 | 174.336 | 13.1433 | 144.065 | 15.4443 | 163.968 | 10.5867 | 176.8 | 26.46 | 965.917 | 51.1844 | 69.0058
2019-02-01 17:45:00 | 11.074 | 142.662 | 11.3537 | 132.688 | 12.632 | 167.643 | 11.098 | 153.786 | 26.46 | 965.786 | 50.7717 | 71.9308
2019-02-01 18:00:00 | 12.0953 | 153.241 | 13.1433 | 147.952 | 14.166 | 154.339 | 12.632 | 151.777 | 26.46 | 965.337 | 52.5879 | 72.2158
2019-02-01 18:15:00 | 10.8187 | 160.049 | 11.865 | 174.621 | 13.9103 | 153.828 | 10.8423 | 151.681 | 26.46 | 965.338 | 54.1944 | 73.6926
2019-02-01 18:30:00 | 15.4147 | 149.949 | 12.3763 | 144.563 | 13.1433 | 162.562 | 15.7 | 149.265 | 26.46 | 964.894 | 55.6979 | 75.3606
2019-02-01 18:45:00 | 10.0527 | 135.383 | 12.1207 | 136.341 | 11.3537 | 141.019 | 10.0753 | 174.029 | 26.46 | 965.042 | 60.3451 | 72.9505
2019-02-01 19:00:00 | 14.6487 | 165.74 | 15.9557 | 160.501 | 15.9557 | 165.545 | 13.6547 | 161.885 | 26.46 | 964.448 | 63.4912 | 80.8728
2019-02-01 19:15:00 | 12.606 | 155.836 | 12.632 | 150.576 | 13.399 | 156.959 | 13.1433 | 153.811 | 26.46 | 964.745 | 64.0146 | 81.5294
2019-02-01 19:30:00 | 4.946 | 171.084 | 12.3763 | 140.81 | 13.1433 | 145.239 | 5.4733 | 191.585 | 26.46 | 964.616 | 66.3809 | 80.422
2019-02-01 19:45:00 | 9.2867 | 140.677 | 14.166 | 81.8222 | 8.797 | 223.828 | 10.331 | 133.794 | 26.46 | 964.738 | 69.5949 | 80.0008
2019-02-01 20:00:00 | 12.0953 | 147.266 | 17.7453 | 141.544 | 21.836 | 146.803 | 14.4217 | 145.241 | 26.46 | 963.851 | 69.6633 | 78.3872
2019-02-01 20:15:00 | 12.8613 | 157.099 | 10.0753 | 154.866 | 11.098 | 166.08 | 11.865 | 158.612 | 26.46 | 965.338 | 73.3877 | 75.7127
2019-02-01 20:30:00 | 14.6487 | 159.493 | 13.6547 | 149.012 | 12.1207 | 154.881 | 14.166 | 160.909 | 26.46 | 964.743 | 74.4487 | 80.3682
2019-02-01 20:45:00 | 15.1593 | 156.736 | 10.331 | 144.595 | 9.3083 | 157.175 | 14.4217 | 152.611 | 26.46 | 965.04 | 74.2779 | 79.8234
2019-02-01 21:00:00 | 13.8827 | 173.332 | 12.1207 | 162.509 | 10.8423 | 181.996 | 13.6547 | 164.204 | 26.46 | 964.743 | 74.5172 | 78.896
2019-02-01 21:15:00 | 16.9467 | 140.652 | 15.7 | 133.856 | 10.331 | 105.63 | 16.7227 | 153.392 | 26.46 | 964.445 | 74.9957 | 77.6656
2019-02-01 21:30:00 | 11.074 | 155.54 | 14.4217 | 136.956 | 14.4217 | 109.437 | 11.098 | 164.497 | 26.46 | 964.148 | 77.0466 | 77.7654
2019-02-01 21:45:00 | 14.904 | 144.801 | 14.6773 | 134.49 | 12.3763 | 109.681 | 14.6773 | 145.363 | 26.46 | 964.594 | 80.123 | 82.0978
2019-02-01 22:00:00 | 16.6913 | 139.19 | 13.1433 | 137.153 | 8.5413 | 109.268 | 14.6773 | 146.366 | 26.46 | 964.445 | 82.4488 | 80.5476
2019-02-01 22:15:00 | 13.8827 | 137.936 | 10.8423 | 147.374 | 11.098 | 109.719 | 14.4217 | 152.997 | 26.46 | 964.594 | 83.2101 | 82.0145
2019-02-01 22:30:00 | 13.8827 | 148.582 | 15.1887 | 141.837 | 13.1433 | 109.942 | 13.6547 | 152.879 | 26.46 | 964.148 | 83.3489 | 80.024
2019-02-01 22:45:00 | 14.3933 | 147.584 | 13.6547 | 143.256 | 13.9103 | 110.896 | 14.166 | 148.414 | 26.46 | 964.445 | 82.5982 | 80.9873
2019-02-01 23:00:00 | 13.8827 | 141.702 | 13.399 | 151.165 | 10.5867 | 112.702 | 13.6547 | 146.535 | 26.46 | 964.594 | 82.5299 | 81.4492
2019-02-01 23:15:00 | 15.1593 | 197.186 | 7.0073 | 153.118 | 9.564 | 113.068 | 14.6773 | 161.767 | 26.46 | 964.743 | 84.0342 | 83.646
2019-02-01 23:30:00 | 17.968 | 145.461 | 16.467 | 154.655 | 16.2113 | 114.411 | 17.234 | 167.796 | 26.46 | 963.702 | 85.4017 | 84.4789
2019-02-01 23:45:00 | 13.8827 | 138.797 | 11.865 | 137.08 | 12.1207 | 113.727 | 14.4217 | 146.681 | 26.46 | 964.743 | 86.9743 | 82.3138