## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-02 00:00:00 | 14.3933 | 145.876 | 13.9103 | 133.614 | 14.933 | 113.727 | 14.6773 | 138.894 | 26.46 | 964.148 | 88.2735 | 78.3307
2019-02-02 00:15:00 | 13.8827 | 160.229 | 11.098 | 146.283 | 11.6093 | 113.605 | 13.6547 | 145.656 | 26.46 | 964.148 | 89.1624 | 78.0499
2019-02-02 00:30:00 | 15.67 | 146.217 | 17.4897 | 139.203 | 13.1433 | 120.147 | 15.1887 | 145.826 | 26.46 | 963.553 | 90.2562 | 79.2175
2019-02-02 00:45:00 | 15.4147 | 149.412 | 11.6093 | 143.496 | 12.3763 | 120.486 | 15.1887 | 146.239 | 26.46 | 963.553 | 90.3228 | 81.4713
2019-02-02 01:00:00 | 14.904 | 143.723 | 13.1433 | 134.414 | 13.399 | 120.241 | 14.933 | 141.77 | 26.46 | 963.256 | 91.2788 | 83.1599
2019-02-02 01:15:00 | 14.138 | 134.681 | 13.9103 | 132.693 | 11.098 | 120.378 | 13.9103 | 138.659 | 26.46 | 963.256 | 90.8274 | 81.3864
2019-02-02 01:30:00 | 10.308 | 138.024 | 12.1207 | 141.529 | 10.8423 | 120.183 | 10.0753 | 135.925 | 26.46 | 963.256 | 90.5197 | 79.4281
2019-02-02 01:45:00 | 14.3933 | 144.219 | 13.9103 | 134.47 | 13.9103 | 119.984 | 14.166 | 148.32 | 26.46 | 962.958 | 90.3118 | 81.1573
2019-02-02 02:00:00 | 13.8827 | 151.178 | 11.865 | 136.353 | 13.1433 | 120.132 | 13.399 | 153.18 | 26.46 | 962.661 | 90.2452 | 80.034
2019-02-02 02:15:00 | 13.6273 | 141.885 | 13.9103 | 130.526 | 13.1433 | 119.796 | 13.399 | 138.273 | 26.46 | 962.661 | 90.5909 | 81.342
2019-02-02 02:30:00 | 15.1593 | 146.225 | 13.6547 | 145.971 | 12.1207 | 119.938 | 14.4217 | 145.127 | 26.46 | 962.364 | 89.6308 | 80.5255
2019-02-02 02:45:00 | 12.3507 | 136.714 | 11.3537 | 135.215 | 9.564 | 119.579 | 12.3763 | 137.543 | 26.46 | 962.512 | 88.2682 | 80.5218
2019-02-02 03:00:00 | 14.3933 | 141.174 | 12.3763 | 124.493 | 10.5867 | 119.768 | 13.9103 | 141.906 | 26.46 | 962.066 | 86.213 | 79.5796
2019-02-02 03:15:00 | 10.8187 | 129.6 | 11.6093 | 119.045 | 12.3763 | 121.18 | 11.098 | 132.968 | 26.46 | 961.62 | 85.5605 | 81.2016
2019-02-02 03:30:00 | 13.6273 | 134.112 | 12.3763 | 127.169 | 10.0753 | 120.786 | 13.1433 | 132.208 | 26.46 | 961.769 | 84.6694 | 79.7163
2019-02-02 03:45:00 | 11.84 | 139.578 | 12.3763 | 133.392 | 12.8877 | 123.275 | 12.1207 | 135.356 | 26.46 | 961.472 | 83.7806 | 80.0932
2019-02-02 04:00:00 | 14.138 | 136.967 | 13.1433 | 125.241 | 13.6547 | 122.397 | 13.6547 | 136.601 | 26.46 | 960.728 | 82.174 | 80.8876
2019-02-02 04:15:00 | 9.542 | 140.628 | 11.098 | 127.779 | 11.3537 | 135.82 | 9.0527 | 149.292 | 26.46 | 960.877 | 81.5587 | 82.384
2019-02-02 04:30:00 | 14.3933 | 159.079 | 14.166 | 145.01 | 13.399 | 133.355 | 13.399 | 151.122 | 26.46 | 959.985 | 83.1311 | 82.6759
2019-02-02 04:45:00 | 10.5633 | 141.384 | 11.865 | 116.088 | 10.5867 | 121.86 | 10.331 | 144.63 | 26.46 | 959.985 | 83.9857 | 83.0601
2019-02-02 05:00:00 | 11.5847 | 126.619 | 10.5867 | 126.607 | 9.564 | 111.097 | 11.3537 | 137.553 | 26.46 | 959.985 | 84.7035 | 80.1116
2019-02-02 05:15:00 | 13.8827 | 127.888 | 13.9103 | 131.928 | 15.1887 | 118.223 | 12.8877 | 144.753 | 26.46 | 959.688 | 84.2249 | 75.7185
2019-02-02 05:30:00 | 12.8613 | 135.942 | 10.0753 | 133.075 | 10.0753 | 103.726 | 12.3763 | 141.799 | 26.46 | 960.282 | 83.3704 | 78.1534
2019-02-02 05:45:00 | 9.7973 | 144.118 | 11.098 | 132.294 | 10.331 | 107.362 | 10.5867 | 143.117 | 26.46 | 960.134 | 82.2424 | 74.477
2019-02-02 06:00:00 | 10.8187 | 122.665 | 10.8423 | 130.488 | 10.8423 | 108.217 | 9.564 | 129.035 | 26.46 | 959.985 | 81.3536 | 74.4105
2019-02-02 06:15:00 | 13.8827 | 136.381 | 16.7227 | 121.677 | 12.632 | 111.023 | 14.4217 | 139.505 | 26.46 | 959.539 | 80.6358 | 75.2862
2019-02-02 06:30:00 | 12.0953 | 124.398 | 11.3537 | 130.366 | 11.3537 | 113.439 | 11.6093 | 128.425 | 26.46 | 959.688 | 78.5507 | 76.1312
2019-02-02 06:45:00 | 15.4147 | 140.75 | 14.166 | 133.441 | 13.9103 | 116.929 | 15.4443 | 141.14 | 26.46 | 959.39 | 79.3709 | 74.9204
2019-02-02 07:00:00 | 13.372 | 141.214 | 8.2857 | 129.487 | 11.3537 | 118.394 | 11.6093 | 145.9 | 26.46 | 959.688 | 78.8241 | 73.3575
2019-02-02 07:15:00 | 12.0953 | 149.731 | 12.3763 | 142.276 | 12.8877 | 125.765 | 12.1207 | 157.468 | 26.46 | 959.39 | 80.123 | 72.2342
2019-02-02 07:30:00 | 9.7973 | 167.67 | 11.865 | 121.799 | 10.0753 | 126.082 | 9.8197 | 124.154 | 26.46 | 959.093 | 79.918 | 81.7965
2019-02-02 07:45:00 | 14.138 | 130.817 | 14.6773 | 124.777 | 10.331 | 120.883 | 14.6773 | 138.48 | 26.46 | 959.093 | 80.2256 | 83.3483
2019-02-02 08:00:00 | 13.8827 | 134.599 | 12.8877 | 133.172 | 11.3537 | 121.103 | 13.399 | 128.547 | 26.46 | 959.39 | 78.4821 | 81.1129
2019-02-02 08:15:00 | 12.0953 | 144.338 | 13.399 | 120.018 | 10.331 | 121.201 | 12.1207 | 137.699 | 26.46 | 959.39 | 77.7303 | 81.7891
2019-02-02 08:30:00 | 10.8187 | 126.546 | 10.5867 | 114.063 | 9.0527 | 110.12 | 10.0753 | 102.798 | 26.46 | 959.688 | 77.9696 | 82.8939
2019-02-02 08:45:00 | 11.84 | 125.154 | 11.865 | 129.121 | 10.8423 | 113.781 | 11.6093 | 123.226 | 26.46 | 959.39 | 78.3114 | 84.3607
2019-02-02 09:00:00 | 14.3933 | 134.941 | 13.9103 | 123.068 | 11.865 | 123.104 | 14.166 | 133.867 | 26.46 | 959.985 | 78.6874 | 84.1095
2019-02-02 09:15:00 | 13.6273 | 136.674 | 13.1433 | 122.214 | 14.166 | 121.201 | 13.6547 | 136.137 | 26.46 | 960.271 | 78.8241 | 76.317
2019-02-02 09:30:00 | 12.8613 | 129.472 | 13.1433 | 118.234 | 13.9103 | 113.584 | 13.6547 | 138.356 | 26.46 | 959.867 | 78.3442 | 76.6754
2019-02-02 09:45:00 | 13.1167 | 115.898 | 11.3537 | 110.932 | 10.5867 | 96.5454 | 13.1433 | 130.248 | 26.46 | 960.254 | 77.9997 | 78.7918
2019-02-02 10:00:00 | 11.84 | 143.522 | 13.6547 | 127.232 | 11.865 | 99.692 | 11.865 | 130.149 | 26.46 | 960.053 | 78.0668 | 77.8163
2019-02-02 10:15:00 | 12.0953 | 131.681 | 12.3763 | 124.2 | 12.1207 | 102.006 | 12.632 | 137.782 | 26.46 | 960.039 | 77.1067 | 76.4094
2019-02-02 10:30:00 | 12.3507 | 127.622 | 11.3537 | 120.433 | 11.3537 | 106.637 | 12.632 | 133.479 | 26.46 | 960.138 | 77.9222 | 75.3996
2019-02-02 10:45:00 | 8.5207 | 120.413 | 8.2857 | 114.492 | 8.2857 | 113.972 | 8.797 | 140.543 | 26.46 | 960.287 | 77.7787 | 74.7541
2019-02-02 11:00:00 | 13.372 | 132.999 | 12.3763 | 123.759 | 13.6547 | 114.041 | 13.399 | 138.27 | 26.46 | 959.99 | 77.6738 | 75.9291
2019-02-02 11:15:00 | 13.372 | 126.649 | 12.632 | 117.531 | 13.9103 | 118.013 | 13.399 | 129.016 | 26.46 | 959.692 | 76.85 | 72.3496
2019-02-02 11:30:00 | 12.8613 | 125.697 | 10.0753 | 125.703 | 9.3083 | 109.814 | 12.3763 | 130.87 | 26.46 | 959.692 | 77.4304 | 73.0331
2019-02-02 11:45:00 | 8.2653 | 143.971 | 7.263 | 132.584 | 8.03 | 113.791 | 8.797 | 146.313 | 26.46 | 959.99 | 76.9862 | 64.4761
2019-02-02 12:00:00 | 10.8187 | 136.725 | 8.797 | 132.266 | 7.7743 | 117.304 | 10.0753 | 142.873 | 26.46 | 959.841 | 77.5329 | 58.6483
2019-02-02 12:15:00 | 9.7973 | 128.113 | 7.263 | 138.293 | 8.5413 | 120.281 | 8.797 | 141.361 | 26.46 | 959.692 | 77.6354 | 50.7244
2019-02-02 12:30:00 | 9.542 | 149.119 | 5.2177 | 126.265 | 7.0073 | 120.744 | 9.8197 | 148.973 | 26.46 | 959.544 | 78.3872 | 47.1647
2019-02-02 12:45:00 | 6.478 | 158.927 | 6.2403 | 155.42 | 5.729 | 118.11 | 6.2403 | 143.19 | 26.46 | 959.395 | 78.5239 | 39.6798
2019-02-02 13:00:00 | 8.2653 | 128.796 | 8.5413 | 122.19 | 9.0527 | 121.623 | 8.03 | 131.162 | 26.46 | 959.098 | 78.2505 | 46.0599
2019-02-02 13:15:00 | 8.5207 | 126.38 | 6.7517 | 118.067 | 5.2177 | 121.159 | 8.797 | 134.236 | 26.46 | 958.949 | 78.7289 | 46.156
2019-02-02 13:30:00 | 9.2867 | 136.408 | 9.3083 | 126.46 | 9.3083 | 111.083 | 10.0753 | 148.094 | 26.46 | 958.503 | 78.2505 | 47.5274
2019-02-02 13:45:00 | 7.4993 | 121.159 | 9.0527 | 105.185 | 9.3083 | 112.303 | 8.03 | 126.649 | 26.46 | 958.183 | 78.7289 | 49.7031
2019-02-02 14:00:00 | 11.3293 | 135.454 | 13.1433 | 132.679 | 9.0527 | 114.985 | 11.3537 | 141.481 | 26.46 | 957.885 | 78.3861 | 52.4668
2019-02-02 14:15:00 | 11.5847 | 147.029 | 11.3537 | 160.913 | 13.399 | 117.095 | 11.3537 | 151.881 | 26.46 | 957.907 | 77.2849 | 47.7189
2019-02-02 14:30:00 | 10.0527 | 142.515 | 11.6093 | 136.079 | 11.6093 | 117.803 | 10.5867 | 162.593 | 26.46 | 958.205 | 78.1733 | 40.9102
2019-02-02 14:45:00 | 5.2013 | 151.158 | 5.4733 | 138.819 | 5.9847 | 111.321 | 4.962 | 161.236 | 26.46 | 958.205 | 77.5278 | 47.5045
2019-02-02 15:00:00 | 8.5207 | 131.08 | 7.263 | 130.402 | 7.5187 | 113.32 | 8.5413 | 146.791 | 26.46 | 958.205 | 78.8602 | 46.3889
2019-02-02 15:15:00 | 6.9887 | 154.623 | 7.263 | 148.92 | 4.195 | 113.686 | 7.7743 | 152.964 | 26.46 | 958.205 | 79.2024 | 37.8574
2019-02-02 15:30:00 | 6.478 | 134.469 | 4.7063 | 151.428 | 5.2177 | 90.6055 | 7.5187 | 161.621 | 26.46 | 958.503 | 79.1322 | 33.3354
2019-02-02 15:45:00 | 9.0313 | 134.887 | 8.03 | 133.526 | 7.0073 | 93.2912 | 9.564 | 138.937 | 26.46 | 958.205 | 79.2024 | 33.2056
2019-02-02 16:00:00 | 7.7547 | 141.542 | 7.0073 | 143.23 | 6.2403 | 93.2655 | 8.5413 | 161.33 | 26.46 | 958.205 | 79.1997 | 29.8935
2019-02-02 16:15:00 | 4.946 | 193.069 | 5.729 | 186.267 | 2.4053 | 90.3117 | 4.962 | 196.212 | 26.46 | 958.8 | 79.7819 | 16.7696
2019-02-02 16:30:00 | 6.478 | 147.987 | 5.9847 | 137.257 | 6.496 | 92.3892 | 6.7517 | 149.404 | 26.46 | 958.8 | 80.0219 | 13.3347
2019-02-02 16:45:00 | 5.4567 | 149.861 | 5.4733 | 139.985 | 4.7063 | 92.6051 | 5.4733 | 140.957 | 26.46 | 958.8 | 80.5665 | 10.9441
2019-02-02 17:00:00 | 4.4353 | 147.645 | 3.9393 | 138.721 | 4.4507 | 91.0223 | 3.9393 | 147.719 | 26.46 | 959.097 | 80.842 | 4.4855
2019-02-02 17:15:00 | 4.4353 | 149.648 | 5.729 | 144.285 | 5.2177 | 91.9012 | 4.962 | 141.158 | 26.46 | 959.097 | 81.458 | 5.897
2019-02-02 17:30:00 | 4.6907 | 144.912 | 4.7063 | 143.209 | 4.962 | 91.7532 | 4.7063 | 142.936 | 26.46 | 959.093 | 82.2082 | 5.7787
2019-02-02 17:45:00 | 4.946 | 150.939 | 4.195 | 125.401 | 4.195 | 91.8253 | 4.962 | 165.134 | 26.46 | 959.358 | 82.6187 | 5.3908
2019-02-02 18:00:00 | 3.6693 | 128.52 | 4.195 | 133.429 | 4.962 | 91.4866 | 3.1723 | 139.182 | 26.46 | 959.664 | 82.9616 | 5.1765
2019-02-02 18:15:00 | 4.946 | 153.945 | 4.4507 | 146.607 | 4.7063 | 91.5385 | 4.7063 | 151.946 | 26.46 | 959.835 | 83.5099 | 5.3612
2019-02-02 18:30:00 | 2.9033 | 137.847 | 3.6837 | 137.365 | 3.9393 | 91.2961 | 2.9167 | 146.532 | 26.46 | 960.286 | 83.5809 | 2.9042
2019-02-02 18:45:00 | 3.414 | 146.239 | 3.1723 | 148.173 | 3.428 | 91.1494 | 3.428 | 147.166 | 26.46 | 960.286 | 83.7173 | 0.79439
2019-02-02 19:00:00 | 2.3927 | 149.656 | 2.9167 | 146.539 | 2.661 | 90.7107 | 2.661 | 147.85 | 26.46 | 960.582 | 83.7177 | 0.43969
2019-02-02 19:15:00 | 2.1373 | 142.288 | 2.4053 | 145.66 | 2.4053 | 90.6131 | 2.4053 | 142.702 | 26.46 | 960.286 | 83.7176 | 0.33993
2019-02-02 19:30:00 | 2.9033 | 144.288 | 2.661 | 146.539 | 2.1497 | 90.174 | 2.4053 | 138.433 | 26.46 | 960.286 | 83.6836 | 1.0715
2019-02-02 19:45:00 | 4.18 | 135.261 | 3.9393 | 130.436 | 3.428 | 90.3448 | 4.195 | 144.337 | 26.46 | 960.583 | 83.9228 | 2.1504
2019-02-02 20:00:00 | 5.2013 | 153.706 | 4.4507 | 148.393 | 4.4507 | 91.6623 | 5.2177 | 152.681 | 26.46 | 960.881 | 84.5378 | 2.9817
2019-02-02 20:15:00 | 4.4353 | 158.341 | 4.195 | 155.225 | 4.4507 | 91.6379 | 3.9393 | 158.146 | 26.46 | 961.466 | 84.6403 | 2.0802
2019-02-02 20:30:00 | 3.414 | 156.146 | 3.9393 | 154.053 | 3.9393 | 91.4183 | 3.428 | 158.951 | 26.46 | 961.772 | 84.6062 | 1.0678
2019-02-02 20:45:00 | 3.9247 | 153.755 | 2.1497 | 136.585 | 2.4053 | 91.0036 | 3.9393 | 152.339 | 26.46 | 961.772 | 84.777 | 0.4988
2019-02-02 21:00:00 | 2.3927 | 144.093 | 2.4053 | 126.191 | 2.1497 | 89.5397 | 1.894 | 153.437 | 26.46 | 961.916 | 84.162 | 0.55423
2019-02-02 21:15:00 | 2.1373 | 147.802 | 2.9167 | 134.73 | 2.661 | 89.6373 | 2.4053 | 158.61 | 26.46 | 962.07 | 84.572 | 0.41752
2019-02-02 21:30:00 | 2.9033 | 166.49 | 3.1723 | 152.053 | 2.9167 | 89.8813 | 2.4053 | 166.197 | 26.46 | 962.367 | 84.0594 | 0.45447
2019-02-02 21:45:00 | 3.9247 | 182.032 | 2.661 | 170.742 | 2.4053 | 90.2228 | 3.6837 | 179.397 | 26.46 | 962.664 | 84.8112 | 0.97544
2019-02-02 22:00:00 | 3.1587 | 164.197 | 3.428 | 163.422 | 2.9167 | 90.2228 | 3.1723 | 166.954 | 26.46 | 962.664 | 85.0846 | -0.014779
2019-02-02 22:15:00 | 2.648 | 190.254 | 2.4053 | 173.572 | 2.9167 | 90.2472 | 2.661 | 202.452 | 26.46 | 962.664 | 84.9479 | -0.32145
2019-02-02 22:30:00 | 2.3927 | 209.674 | 2.4053 | 184.892 | 1.894 | 90.1253 | 2.4053 | 232.608 | 26.46 | 962.664 | 85.3579 | -0.26972
2019-02-02 22:45:00 | 3.1587 | 268.229 | 2.1497 | 223.636 | 1.6383 | 89.9301 | 2.9167 | 257.884 | 26.46 | 962.664 | 85.768 | -0.25125
2019-02-02 23:00:00 | 4.18 | 266.862 | 2.661 | 253.816 | 2.1497 | 89.8325 | 3.9393 | 271.01 | 26.46 | 962.664 | 86.3147 | 0.081287
2019-02-02 23:15:00 | 4.6907 | 270.425 | 2.9167 | 256.719 | 1.6383 | 250.37 | 4.4507 | 273.499 | 26.46 | 962.962 | 86.178 | 0.31776
2019-02-02 23:30:00 | 3.1587 | 257.982 | 2.4053 | 245.008 | 2.661 | 257.103 | 3.6837 | 261.08 | 26.46 | 963.11 | 86.178 | 0.12562
2019-02-02 23:45:00 | 3.6693 | 281.989 | 2.9167 | 278.921 | 2.1497 | 259.446 | 3.428 | 285.868 | 26.46 | 963.259 | 86.8614 | 0.86829