## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-03 00:00:00 | 5.2013 | 285.6 | 4.7063 | 286.338 | 3.9393 | 272.23 | 4.7063 | 277.988 | 26.46 | 963.556 | 87.3056 | 1.2636
2019-02-03 00:15:00 | 5.4567 | 293.017 | 4.4507 | 291.169 | 4.195 | 274.377 | 5.2177 | 284.136 | 26.46 | 963.853 | 88.2282 | 7.5929
2019-02-03 00:30:00 | 5.712 | 299.653 | 4.4507 | 296.487 | 4.4507 | 289.748 | 5.4733 | 287.893 | 26.46 | 963.853 | 89.3217 | 10.1424
2019-02-03 00:45:00 | 4.18 | 330.297 | 4.7063 | 308.296 | 4.4507 | 308.095 | 4.7063 | 315.585 | 26.46 | 963.853 | 89.7317 | 15.3484
2019-02-03 01:00:00 | 3.6693 | 305.118 | 4.195 | 303.563 | 3.9393 | 302.093 | 4.4507 | 302.581 | 26.46 | 963.853 | 89.9709 | 16.5603
2019-02-03 01:15:00 | 4.946 | 339.714 | 2.1497 | 19.7316 | 3.6837 | 301.263 | 4.7063 | 316.609 | 26.46 | 963.853 | 90.1418 | 14.7979
2019-02-03 01:30:00 | 4.946 | 338.055 | 3.6837 | 301.855 | 4.195 | 303.288 | 4.962 | 350.327 | 26.46 | 963.853 | 91.3719 | 17.1478
2019-02-03 01:45:00 | 6.478 | 347.459 | 3.6837 | 9.0098 | 2.9167 | 316.936 | 6.2403 | 340.432 | 26.46 | 963.556 | 92.3316 | 18.973
2019-02-03 02:00:00 | 6.478 | 356.354 | 5.4733 | 3.9863 | 6.496 | 342.884 | 6.496 | 346.374 | 26.46 | 963.11 | 91.5896 | 18.0345
2019-02-03 02:15:00 | 5.2013 | 351.895 | 4.962 | 9.3846 | 3.428 | 345.477 | 4.962 | 271.73 | 26.46 | 962.991 | 90.7774 | 19.0617
2019-02-03 02:30:00 | 6.7333 | 330.698 | 5.9847 | 329.954 | 3.6837 | 346.122 | 5.729 | 343.34 | 26.46 | 963.121 | 90.1714 | 19.6159
2019-02-03 02:45:00 | 4.18 | 326.26 | 3.6837 | 329.934 | 4.195 | 330.019 | 3.6837 | 332.288 | 26.46 | 963.834 | 89.6256 | 23.2406
2019-02-03 03:00:00 | 5.9673 | 332.411 | 3.6837 | 9.4078 | 3.428 | 0.53693 | 5.2177 | 344.907 | 26.46 | 963.405 | 91.0955 | 25.2543
2019-02-03 03:15:00 | 7.4993 | 43.3198 | 7.5187 | 17.0225 | 4.962 | 50.5194 | 8.03 | 347.339 | 26.46 | 963.256 | 90.3073 | 28.9528
2019-02-03 03:30:00 | 8.2653 | 350.666 | 6.2403 | 1.7443 | 4.962 | 55.8899 | 8.2857 | 350.154 | 26.46 | 963.256 | 89.3864 | 31.2621
2019-02-03 03:45:00 | 8.2653 | 353.669 | 7.5187 | 336.817 | 4.7063 | 73.2671 | 9.0527 | 339.635 | 26.46 | 963.256 | 91.4715 | 35.3855
2019-02-03 04:00:00 | 5.4567 | 339.879 | 5.729 | 6.5294 | 6.496 | 79.1733 | 5.729 | 329.507 | 26.46 | 963.107 | 93.1123 | 34.883
2019-02-03 04:15:00 | 8.5207 | 5.7842 | 1.6383 | 0.91444 | 6.2403 | 76.8059 | 7.7743 | 318.597 | 26.46 | 962.958 | 95.1632 | 38.7996
2019-02-03 04:30:00 | 6.9887 | 3.6121 | 7.7743 | 2.9905 | 5.4733 | 73.6087 | 6.7517 | 31.5815 | 26.46 | 962.958 | 95.9152 | 44.1386
2019-02-03 04:45:00 | 10.308 | 346.217 | 6.496 | 2.0851 | 4.7063 | 72.7092 | 10.0753 | 330.621 | 26.46 | 963.256 | 96.9112 | 46.9467
2019-02-03 05:00:00 | 8.01 | 341.421 | 7.7743 | 13.7023 | 6.7517 | 81.6265 | 7.7743 | 1.0984 | 26.46 | 962.958 | 97.2975 | 48.3048
2019-02-03 05:15:00 | 10.0527 | 347.772 | 7.5187 | 8.6004 | 7.7743 | 78.308 | 9.564 | 346.064 | 26.46 | 963.999 | 97.3332 | 37.9535
2019-02-03 05:30:00 | 4.946 | 341.402 | 5.9847 | 16.3873 | 7.0073 | 89.1707 | 4.4507 | 10.3499 | 26.46 | 964.743 | 97.5043 | 26.8504
2019-02-03 05:45:00 | 7.4993 | 344.892 | 5.4733 | 18.2181 | 5.729 | 171.409 | 7.7743 | 344.575 | 26.46 | 965.189 | 97.7094 | 32.4592
2019-02-03 06:00:00 | 8.2653 | 0.097641 | 7.5187 | 4.0441 | 5.4733 | 304.664 | 8.2857 | 21.9936 | 26.46 | 965.04 | 97.7094 | 31.9087
2019-02-03 06:15:00 | 7.4993 | 5.7364 | 7.0073 | 0.86236 | 5.729 | 305.763 | 6.2403 | 3.808 | 26.46 | 964.891 | 98.1196 | 26.8061
2019-02-03 06:30:00 | 9.542 | 11.5705 | 6.2403 | 4.646 | 6.496 | 306.251 | 9.0527 | 8.69 | 26.46 | 964.891 | 98.2906 | 23.4734
2019-02-03 06:45:00 | 5.712 | 24.752 | 5.2177 | 1.3101 | 5.4733 | 306.568 | 5.4733 | 19.9676 | 26.46 | 965.338 | 98.3931 | 21.0089
2019-02-03 07:00:00 | 5.712 | 0.097641 | 7.0073 | 12.1155 | 7.0073 | 306.935 | 6.2403 | 344.624 | 26.46 | 965.784 | 98.2564 | 20.1
2019-02-03 07:15:00 | 7.244 | 55.8995 | 6.2403 | 8.5272 | 5.9847 | 306.495 | 7.0073 | 349.311 | 26.46 | 966.527 | 98.2906 | 19.6012
2019-02-03 07:30:00 | 8.2653 | 354.73 | 3.9393 | 6.6316 | 5.729 | 306.715 | 8.2857 | 351.654 | 26.46 | 966.824 | 98.2564 | 23.3588
2019-02-03 07:45:00 | 8.5207 | 24.5811 | 7.0073 | 4.3774 | 5.9847 | 307.569 | 7.0073 | 13.6697 | 26.46 | 966.676 | 98.4615 | 30.0687
2019-02-03 08:00:00 | 9.0313 | 11.3752 | 8.2857 | 3.4499 | 6.496 | 308.253 | 9.3083 | 1.8796 | 26.46 | 966.824 | 98.3931 | 33.9815
2019-02-03 08:15:00 | 11.3293 | 7.3231 | 10.331 | 4.7032 | 8.03 | 310.401 | 11.098 | 11.8146 | 26.46 | 966.527 | 98.2564 | 32.2559
2019-02-03 08:30:00 | 11.074 | 7.8601 | 10.5867 | 5.2646 | 7.0073 | 311.597 | 10.8423 | 19.3085 | 26.46 | 967.122 | 96.6154 | 37.2799
2019-02-03 08:45:00 | 8.776 | 2.6119 | 6.496 | 4.7924 | 7.5187 | 314.355 | 8.797 | 2.8316 | 26.46 | 967.122 | 92.1025 | 34.3731
2019-02-03 09:00:00 | 10.5633 | 9.1782 | 8.5413 | 2.4084 | 7.263 | 314.914 | 10.8423 | 10.5695 | 26.46 | 967.717 | 88.3411 | 37.2256
2019-02-03 09:15:00 | 8.776 | 4.2717 | 11.098 | 0.27706 | 8.5413 | 315.665 | 9.0527 | 5.126 | 26.46 | 968.014 | 86.0489 | 39.3058
2019-02-03 09:30:00 | 10.5633 | 14.7907 | 9.8197 | 5.481 | 7.5187 | 315.632 | 10.5867 | 6.4923 | 26.46 | 968.014 | 85.3564 | 39.2356
2019-02-03 09:45:00 | 11.84 | 7.029 | 9.0527 | 0.86561 | 8.2857 | 316.84 | 11.098 | 4.0514 | 26.46 | 967.717 | 77.1151 | 43.3986
2019-02-03 10:00:00 | 11.84 | 15.6931 | 11.6093 | 9.6534 | 9.0527 | 318.475 | 11.098 | 8.6398 | 26.46 | 968.311 | 73.355 | 44.7889
2019-02-03 10:15:00 | 10.5633 | 5.8087 | 9.0527 | 5.6752 | 6.496 | 318.426 | 9.8197 | 15.2294 | 26.46 | 968.609 | 72.5346 | 41.3897
2019-02-03 10:30:00 | 11.5847 | 8.5421 | 8.2857 | 10.5305 | 6.496 | 320.28 | 11.865 | 11.8369 | 26.46 | 968.906 | 66.7919 | 36.9226
2019-02-03 10:45:00 | 9.7973 | 0.14644 | 8.03 | 5.3076 | 7.263 | 320.939 | 9.564 | 283.622 | 26.46 | 969.055 | 62.6216 | 30.5675
2019-02-03 11:00:00 | 8.776 | 339.562 | 9.564 | 15.2896 | 7.0073 | 321.16 | 9.8197 | 351.96 | 26.46 | 969.798 | 59.477 | 27.0241
2019-02-03 11:15:00 | 6.2227 | 52.2044 | 8.5413 | 19.9526 | 1.894 | 318.156 | 4.962 | 319.181 | 26.46 | 970.091 | 65.0484 | 18.3634
2019-02-03 11:30:00 | 6.9887 | 340.682 | 5.2177 | 5.4047 | 5.9847 | 322.501 | 7.0073 | 2.5624 | 26.46 | 969.847 | 64.4283 | 13.7855
2019-02-03 11:45:00 | 4.6907 | 2.562 | 6.2403 | 15.0872 | 4.962 | 320.274 | 4.4507 | 6.222 | 26.46 | 970.394 | 58.4369 | 10.0389
2019-02-03 12:00:00 | 4.4353 | 12.4917 | 3.9393 | 5.3125 | 1.127 | 320.489 | 4.4507 | 1.2199 | 26.46 | 970.691 | 57.4749 | 5.7344
2019-02-03 12:15:00 | 2.3927 | 44.6479 | 4.195 | 5.886 | 5.729 | 320.708 | 1.127 | 338.543 | 26.46 | 970.691 | 53.2035 | 4.5964
2019-02-03 12:30:00 | 2.648 | 344.716 | 3.428 | 12.4246 | 3.9393 | 320.66 | 2.661 | 317.098 | 26.46 | 970.989 | 51.6658 | 2.0543
2019-02-03 12:45:00 | 3.9247 | 1.171 | 4.195 | 16.1295 | 3.9393 | 320.457 | 3.428 | 356.855 | 26.46 | 970.985 | 45.5789 | 2.1134
2019-02-03 13:00:00 | 2.648 | 25.7856 | 2.661 | 26.7897 | 3.1723 | 318.599 | 2.4053 | 12.783 | 26.46 | 971.583 | 45.5101 | 1.7107
2019-02-03 13:15:00 | 2.1373 | 22.6578 | 3.9393 | 2.3652 | 3.1723 | 319.112 | 2.661 | 35.0233 | 26.46 | 970.696 | 42.767 | 0.43969
2019-02-03 13:30:00 | 2.9033 | 18.2677 | 3.9393 | 17.8524 | 0 | 317.989 | 2.4053 | 352.988 | 26.46 | 971.286 | 42.2887 | 0.62073
2019-02-03 13:45:00 | 3.1587 | 17.7799 | 2.661 | 10.1941 | 0 | 318.233 | 3.6837 | 7.9997 | 26.46 | 970.989 | 39.6243 | 0.4323
2019-02-03 14:00:00 | 1.6267 | 14.9019 | 1.3827 | 19.8537 | 3.1723 | 317.014 | 0.75133 | 12.9752 | 26.46 | 971.583 | 37.9846 | 0.036948
2019-02-03 14:15:00 | 0 | 31.2154 | 1.6383 | 64.5256 | 1.127 | 297.864 | 0 | 338.809 | 26.46 | 971.88 | 35.1802 | -0.20322
2019-02-03 14:30:00 | 1.6267 | 28.6966 | 1.6383 | 322.458 | 0 | 300.034 | 1.3827 | 302.229 | 26.46 | 971.87 | 34.1473 | -0.11454
2019-02-03 14:45:00 | 2.648 | 339.141 | 3.428 | 313.68 | 3.1723 | 307.543 | 1.894 | 339.629 | 26.46 | 971.916 | 34.0106 | -0.051728
2019-02-03 15:00:00 | 1.6267 | 0.097524 | 1.894 | 17.6838 | 2.1497 | 310.981 | 0.75133 | 0.24381 | 26.46 | 972.179 | 34.5569 | -0.15149
2019-02-03 15:15:00 | 1.116 | 354.912 | 1.894 | 19.7074 | 3.1723 | 304.029 | 0.37567 | 337.138 | 26.46 | 972.771 | 32.7808 | -0.19213
2019-02-03 15:30:00 | 2.9033 | 17.2589 | 1.6383 | 336.391 | 2.661 | 290.525 | 1.894 | 39.2226 | 26.46 | 972.744 | 31.9564 | -0.081287
2019-02-03 15:45:00 | 2.1373 | 32.0803 | 1.3827 | 22.4162 | 1.894 | 316.074 | 0.75133 | 7.6057 | 26.46 | 972.867 | 31.7518 | -0.27342
2019-02-03 16:00:00 | 0 | 6.776 | 1.6383 | 17.1463 | 0 | 321.301 | 0 | 31.784 | 26.46 | 972.505 | 32.2258 | -0.25125
2019-02-03 16:15:00 | 0.744 | 351.62 | 1.6383 | 4.2765 | 0.75133 | 329.196 | 0 | 355.91 | 26.46 | 973.079 | 30.7918 | -0.25125
2019-02-03 16:30:00 | 3.1587 | 340.82 | 2.4053 | 13.6623 | 2.1497 | 329.363 | 2.4053 | 345.743 | 26.46 | 972.554 | 32.3642 | -0.25125
2019-02-03 16:45:00 | 1.3713 | 341.818 | 1.127 | 334.202 | 1.3827 | 329.191 | 0 | 332.847 | 26.46 | 972.137 | 32.3665 | -0.25125
2019-02-03 17:00:00 | 0 | 81.1888 | 0.75133 | 334.939 | 0.75133 | 329.217 | 0 | 333.167 | 26.46 | 971.88 | 32.2007 | -0.25125
2019-02-03 17:15:00 | 0.372 | 79.8746 | 0.37567 | 334.901 | 0 | 329.129 | 0 | 333.103 | 26.46 | 971.865 | 33.0554 | -0.25125
2019-02-03 17:30:00 | 1.3713 | 63.3146 | 1.3827 | 335.986 | 0.75133 | 329.256 | 0 | 52.6077 | 26.46 | 971.583 | 32.8265 | -0.25125
2019-02-03 17:45:00 | 1.882 | 72.4122 | 1.6383 | 336.817 | 0.75133 | 329.257 | 1.127 | 55.2176 | 26.46 | 971.286 | 32.7242 | -0.2882
2019-02-03 18:00:00 | 2.3927 | 123.027 | 1.127 | 111.394 | 1.127 | 329.193 | 1.6383 | 129.223 | 26.46 | 971.417 | 30.0673 | -0.25125
2019-02-03 18:15:00 | 1.882 | 135.791 | 2.661 | 126.428 | 1.3827 | 329.255 | 1.894 | 133.083 | 26.46 | 971.583 | 28.1551 | -0.25125
2019-02-03 18:30:00 | 1.6267 | 138.136 | 2.661 | 127.359 | 2.661 | 329.019 | 1.894 | 132.549 | 26.46 | 971.558 | 27.4724 | -0.26603
2019-02-03 18:45:00 | 1.882 | 144.874 | 2.661 | 139.171 | 2.9167 | 255.639 | 1.894 | 144.215 | 26.46 | 972.155 | 27.8148 | -0.25125
2019-02-03 19:00:00 | 1.882 | 136.945 | 3.1723 | 136.975 | 2.661 | 255.762 | 1.894 | 143.02 | 26.46 | 972.177 | 25.2862 | -0.25125
2019-02-03 19:15:00 | 0 | 115.035 | 0 | 129.485 | 0.75133 | 256.42 | 0 | 136.261 | 26.46 | 972.177 | 24.7394 | -0.26233
2019-02-03 19:30:00 | 1.116 | 145.923 | 2.661 | 131.217 | 2.1497 | 256.249 | 1.6383 | 136.798 | 26.46 | 972.474 | 24.5344 | -0.26233
2019-02-03 19:45:00 | 2.648 | 153.852 | 2.661 | 150.735 | 2.4053 | 255.835 | 2.4053 | 154.243 | 26.46 | 972.772 | 25.9012 | -0.077592
2019-02-03 20:00:00 | 2.9033 | 157.073 | 3.428 | 149.223 | 3.1723 | 251.443 | 3.1723 | 160.806 | 26.46 | 973.069 | 27.8831 | 0.218
2019-02-03 20:15:00 | 3.9247 | 165.441 | 3.6837 | 157.567 | 2.661 | 251.833 | 3.9393 | 163.514 | 26.46 | 973.366 | 30.3776 | 0.76853
2019-02-03 20:30:00 | 3.9247 | 161.659 | 3.6837 | 156.2 | 2.4053 | 251.443 | 3.9393 | 160.684 | 26.46 | 973.515 | 31.1635 | 1.4484
2019-02-03 20:45:00 | 3.6693 | 155.218 | 2.9167 | 155.029 | 1.6383 | 251.833 | 3.6837 | 162.367 | 26.46 | 973.663 | 31.7102 | 1.2378
2019-02-03 21:00:00 | 3.6693 | 185.081 | 4.195 | 175.133 | 3.6837 | 251.053 | 3.6837 | 173.541 | 26.46 | 973.812 | 31.1293 | 1.1269
2019-02-03 21:15:00 | 3.414 | 172.077 | 3.6837 | 161.69 | 2.661 | 217.384 | 3.6837 | 176.81 | 26.46 | 973.954 | 31.7786 | 0.75005
2019-02-03 21:30:00 | 3.9247 | 173.736 | 4.4507 | 160.104 | 3.6837 | 216.798 | 3.9393 | 186.935 | 26.46 | 973.942 | 32.1544 | 0.60596
2019-02-03 21:45:00 | 3.9247 | 174.834 | 3.9393 | 157.957 | 2.1497 | 217.677 | 3.9393 | 176.225 | 26.46 | 973.959 | 32.7353 | 0.7131
2019-02-03 22:00:00 | 2.9033 | 171.248 | 3.428 | 145.953 | 2.661 | 216.701 | 4.195 | 177.323 | 26.46 | 973.961 | 32.7353 | 1.0863
2019-02-03 22:15:00 | 2.648 | 165.953 | 4.4507 | 157.567 | 3.6837 | 215.847 | 3.6837 | 172.272 | 26.46 | 973.663 | 26.448 | 0.87198
2019-02-03 22:30:00 | 3.9247 | 155.682 | 2.661 | 152.297 | 2.4053 | 216.115 | 4.4507 | 171.492 | 26.46 | 973.961 | 25.2178 | 1.755
2019-02-03 22:45:00 | 4.4353 | 155.316 | 4.7063 | 145.197 | 4.7063 | 215.237 | 4.962 | 162.977 | 26.46 | 973.961 | 26.0379 | 2.3499
2019-02-03 23:00:00 | 3.1587 | 159.049 | 4.7063 | 143.904 | 2.661 | 214.846 | 4.4507 | 168.393 | 26.46 | 974.109 | 23.3726 | 2.7674
2019-02-03 23:15:00 | 2.3927 | 151.826 | 4.4507 | 149.416 | 4.195 | 213.478 | 2.4053 | 159.852 | 26.46 | 973.928 | 20.8438 | 1.7661
2019-02-03 23:30:00 | 3.6693 | 149.776 | 3.9393 | 142.535 | 2.4053 | 213.282 | 3.9393 | 155.314 | 26.46 | 974.044 | 19.7502 | 2.7674
2019-02-03 23:45:00 | 2.3927 | 147.884 | 3.1723 | 137.447 | 3.6837 | 213.166 | 2.9167 | 147.47 | 26.46 | 973.939 | 18.8261 | 3.6542