## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-04 00:00:00 | 3.1587 | 143.198 | 3.428 | 130.785 | 2.4053 | 213.943 | 3.6837 | 146.516 | 26.46 | 974.257 | 18.5183 | 4.3932
2019-02-04 00:15:00 | 1.116 | 146.251 | 3.428 | 138.448 | 2.9167 | 213.216 | 0.75133 | 129.54 | 26.46 | 974.258 | 17.972 | 6.4032
2019-02-04 00:30:00 | 4.6907 | 154.027 | 4.4507 | 147.2 | 4.195 | 212.476 | 5.4733 | 156.832 | 26.46 | 974.555 | 20.3629 | 7.822
2019-02-04 00:45:00 | 5.2013 | 159.644 | 5.2177 | 146.329 | 4.4507 | 195.506 | 5.4733 | 159.84 | 26.46 | 974.258 | 22.9605 | 9.784
2019-02-04 01:00:00 | 4.946 | 161.785 | 5.729 | 153.568 | 5.729 | 193.937 | 5.9847 | 170.225 | 26.46 | 973.961 | 23.9163 | 12.3519
2019-02-04 01:15:00 | 6.9887 | 164.054 | 5.729 | 157.642 | 6.2403 | 193.742 | 7.263 | 176.568 | 26.46 | 973.937 | 24.668 | 17.1256
2019-02-04 01:30:00 | 5.712 | 155.204 | 6.2403 | 143.693 | 7.0073 | 192.846 | 7.5187 | 164.767 | 26.46 | 974.079 | 26.9921 | 23.8835
2019-02-04 01:45:00 | 8.01 | 157.702 | 7.263 | 151.315 | 7.5187 | 192.199 | 8.03 | 167.29 | 26.46 | 973.953 | 31.2308 | 26.1521
2019-02-04 02:00:00 | 8.01 | 149.944 | 8.03 | 151.242 | 7.7743 | 191.882 | 7.7743 | 162.142 | 26.46 | 973.93 | 31.9142 | 33.6637
2019-02-04 02:15:00 | 9.0313 | 152.58 | 7.5187 | 144.486 | 6.7517 | 191.542 | 9.0527 | 160.07 | 26.46 | 973.933 | 37.04 | 39.4425
2019-02-04 02:30:00 | 8.5207 | 153.852 | 8.2857 | 145.514 | 7.7743 | 191.254 | 9.0527 | 160.196 | 26.46 | 973.515 | 39.6378 | 35.4853
2019-02-04 02:45:00 | 8.5207 | 156.463 | 8.797 | 144.685 | 7.7743 | 190.742 | 9.3083 | 157.414 | 26.46 | 973.366 | 40.3212 | 40.0189
2019-02-04 03:00:00 | 8.5207 | 145.142 | 8.03 | 135.34 | 7.7743 | 191.034 | 8.5413 | 146.118 | 26.46 | 973.366 | 42.2006 | 45.2286
2019-02-04 03:15:00 | 8.01 | 147.85 | 7.0073 | 141.952 | 8.03 | 189.522 | 6.496 | 151.559 | 26.46 | 973.069 | 43.1232 | 50.5233
2019-02-04 03:30:00 | 8.776 | 138.579 | 5.729 | 155.42 | 7.263 | 190.107 | 8.5413 | 144.313 | 26.46 | 972.92 | 42.4398 | 52.4816
2019-02-04 03:45:00 | 8.776 | 149.363 | 8.5413 | 139.732 | 9.0527 | 194.255 | 8.2857 | 156.292 | 26.46 | 972.772 | 41.3463 | 47.209
2019-02-04 04:00:00 | 4.4353 | 135.163 | 5.2177 | 135.194 | 4.7063 | 195.255 | 5.4733 | 146.85 | 26.46 | 972.772 | 41.893 | 43.407
2019-02-04 04:15:00 | 6.2227 | 133.626 | 5.729 | 123.044 | 3.6837 | 191.327 | 5.9847 | 118.866 | 26.46 | 973.069 | 44.08 | 46.8913
2019-02-04 04:30:00 | 8.01 | 133.773 | 6.7517 | 148.296 | 4.7063 | 206.502 | 8.03 | 154.462 | 26.46 | 972.772 | 43.9433 | 47.1573
2019-02-04 04:45:00 | 8.5207 | 149.339 | 7.5187 | 146.027 | 8.2857 | 204.209 | 8.5413 | 151.168 | 26.46 | 972.177 | 45.9252 | 55.1197
2019-02-04 05:00:00 | 10.0527 | 130.211 | 9.564 | 130.144 | 8.797 | 202.16 | 11.098 | 144.191 | 26.46 | 971.88 | 49.4105 | 66.7289
2019-02-04 05:15:00 | 12.3507 | 147.167 | 11.3537 | 134.828 | 8.03 | 200.793 | 12.1207 | 153.828 | 26.46 | 971.583 | 42.9865 | 73.908
2019-02-04 05:30:00 | 10.5633 | 149.046 | 11.3537 | 135.78 | 9.564 | 200.135 | 10.331 | 161.757 | 26.46 | 971.583 | 43.0548 | 76.2986
2019-02-04 05:45:00 | 11.84 | 156.048 | 8.797 | 154.761 | 7.7743 | 198.354 | 11.6093 | 152.559 | 26.46 | 971.583 | 42.3714 | 76.7826
2019-02-04 06:00:00 | 12.8613 | 138.848 | 13.1433 | 136.536 | 12.632 | 196.499 | 12.8877 | 149.314 | 26.46 | 971.137 | 41.2096 | 79.55
2019-02-04 06:15:00 | 12.3507 | 144.386 | 10.8423 | 128.363 | 10.8423 | 195.206 | 12.3763 | 152.047 | 26.46 | 971.285 | 39.9111 | 77.3701
2019-02-04 06:30:00 | 12.3507 | 139.311 | 9.3083 | 147.198 | 8.03 | 195.036 | 11.865 | 147.826 | 26.46 | 971.583 | 42.1664 | 76.3577
2019-02-04 06:45:00 | 11.5847 | 132.089 | 10.8423 | 121.239 | 10.331 | 192.889 | 11.3537 | 147.411 | 26.46 | 971.434 | 47.1895 | 75.9808
2019-02-04 07:00:00 | 13.6273 | 143.312 | 9.3083 | 153.053 | 7.5187 | 204.99 | 14.166 | 144.947 | 26.46 | 971.583 | 50.6407 | 78.7113
2019-02-04 07:15:00 | 12.8613 | 146.728 | 11.098 | 144.148 | 11.865 | 202.184 | 12.632 | 150.998 | 26.46 | 971.583 | 51.1874 | 76.4279
2019-02-04 07:30:00 | 12.3507 | 134.7 | 9.564 | 138.732 | 9.8197 | 201.647 | 12.1207 | 146.264 | 26.46 | 971.88 | 52.2809 | 79.0845
2019-02-04 07:45:00 | 8.2653 | 72.4369 | 6.7517 | 115.847 | 6.2403 | 201.379 | 6.7517 | 180.665 | 26.46 | 972.177 | 53.2376 | 78.3049
2019-02-04 08:00:00 | 12.8613 | 146.582 | 9.3083 | 155.713 | 8.03 | 200.281 | 13.1433 | 161.733 | 26.46 | 972.177 | 56.1763 | 78.4637
2019-02-04 08:15:00 | 11.5847 | 144.776 | 9.564 | 144.538 | 10.0753 | 198.915 | 11.3537 | 147.094 | 26.46 | 972.474 | 56.723 | 77.6804
2019-02-04 08:30:00 | 11.5847 | 153.169 | 11.6093 | 146.588 | 11.6093 | 195.767 | 11.865 | 156.902 | 26.46 | 972.474 | 59.115 | 74.3809
2019-02-04 08:45:00 | 9.7973 | 141.946 | 13.1433 | 132.583 | 12.632 | 193.206 | 10.5867 | 147.728 | 26.46 | 972.474 | 61.4386 | 79.8926
2019-02-04 09:00:00 | 10.5633 | 151.446 | 10.5867 | 141.448 | 11.6093 | 193.113 | 11.098 | 150.031 | 26.46 | 972.77 | 61.5007 | 76.8896
2019-02-04 09:15:00 | 11.3293 | 149.299 | 9.8197 | 137.765 | 9.0527 | 193.455 | 11.3537 | 143.542 | 26.46 | 972.765 | 63.5167 | 73.9819
2019-02-04 09:30:00 | 10.308 | 154.311 | 9.3083 | 145.972 | 10.0753 | 191.614 | 8.797 | 161.044 | 26.46 | 972.92 | 63.6234 | 74.2923
2019-02-04 09:45:00 | 9.7973 | 159.652 | 9.8197 | 134.529 | 11.098 | 188.167 | 9.564 | 155.968 | 26.46 | 973.01 | 63.6129 | 75.2936
2019-02-04 10:00:00 | 10.5633 | 159.605 | 10.331 | 148.97 | 8.2857 | 191.896 | 10.331 | 148.142 | 26.46 | 973.37 | 62.135 | 78.2679
2019-02-04 10:15:00 | 9.542 | 153.775 | 10.331 | 134.995 | 11.6093 | 186.799 | 9.564 | 157.482 | 26.46 | 973.069 | 61.2127 | 67.8706
2019-02-04 10:30:00 | 13.1167 | 161.068 | 10.331 | 140.092 | 11.3537 | 183.725 | 12.1207 | 162.702 | 26.46 | 973.069 | 60.7003 | 73.4932
2019-02-04 10:45:00 | 12.8613 | 152.409 | 10.5867 | 145.409 | 11.098 | 182.969 | 12.8877 | 158.58 | 26.46 | 973.069 | 59.6072 | 73.6457
2019-02-04 11:00:00 | 11.3293 | 141.946 | 8.797 | 139.385 | 10.0753 | 181.701 | 10.5867 | 155.409 | 26.46 | 973.069 | 58.5483 | 71.1444
2019-02-04 11:15:00 | 12.3507 | 151.653 | 12.1207 | 136.848 | 10.5867 | 179.311 | 11.865 | 153.678 | 26.46 | 973.069 | 56.1572 | 63.6105
2019-02-04 11:30:00 | 10.5633 | 149.019 | 9.3083 | 130.702 | 10.5867 | 175.677 | 10.5867 | 150.897 | 26.46 | 972.92 | 52.673 | 62.1658
2019-02-04 11:45:00 | 10.8187 | 150.895 | 10.8423 | 144.236 | 13.399 | 186.503 | 11.6093 | 148.993 | 26.46 | 972.177 | 54.585 | 60.9202
2019-02-04 12:00:00 | 13.372 | 154.432 | 11.098 | 149.944 | 10.0753 | 185.772 | 13.399 | 142.847 | 26.46 | 972.177 | 50.4179 | 60.0228
2019-02-04 12:15:00 | 10.0527 | 151.518 | 9.8197 | 126.543 | 11.3537 | 184.758 | 9.3083 | 165.321 | 26.46 | 971.88 | 51.9168 | 52.319
2019-02-04 12:30:00 | 9.542 | 141.976 | 10.5867 | 144.822 | 13.399 | 183.474 | 9.8197 | 155.435 | 26.46 | 971.731 | 47.876 | 52.2821
2019-02-04 12:45:00 | 10.5633 | 147.506 | 12.1207 | 134.722 | 11.098 | 182.956 | 10.5867 | 149.139 | 26.46 | 971.286 | 47.8744 | 53.6898
2019-02-04 13:00:00 | 10.8187 | 136.827 | 10.8423 | 132.089 | 9.0527 | 182.907 | 11.098 | 146.238 | 26.46 | 971.432 | 47.2597 | 42.8085
2019-02-04 13:15:00 | 9.7973 | 140.533 | 11.3537 | 137.453 | 11.865 | 180.786 | 10.0753 | 146.579 | 26.46 | 970.99 | 45.9621 | 42.609
2019-02-04 13:30:00 | 10.308 | 150.6 | 11.098 | 144.278 | 9.8197 | 178.151 | 10.5867 | 159.109 | 26.46 | 970.692 | 43.0932 | 38.5056
2019-02-04 13:45:00 | 9.0313 | 162.452 | 9.8197 | 152.617 | 10.331 | 176.639 | 8.5413 | 199.14 | 26.46 | 970.989 | 40.356 | 31.5244
2019-02-04 14:00:00 | 7.244 | 181.634 | 9.3083 | 155.54 | 9.3083 | 183.828 | 8.5413 | 191.58 | 26.46 | 970.263 | 36.9071 | 31.8504
2019-02-04 14:15:00 | 6.9887 | 179.818 | 7.7743 | 152.188 | 7.7743 | 201.829 | 7.5187 | 188.666 | 26.46 | 970.135 | 32.7054 | 31.9087
2019-02-04 14:30:00 | 9.0313 | 156.303 | 9.0527 | 163.795 | 10.0753 | 174.192 | 9.3083 | 173.12 | 26.46 | 970.114 | 31.1316 | 37.9782
2019-02-04 14:45:00 | 6.2227 | 165.613 | 9.3083 | 173.374 | 10.8423 | 202.026 | 6.496 | 152.305 | 26.46 | 969.508 | 30.9951 | 33.8168
2019-02-04 15:00:00 | 11.3293 | 151.794 | 11.6093 | 142.639 | 11.6093 | 199.223 | 10.5867 | 157.034 | 26.46 | 969.504 | 33.1115 | 36.457
2019-02-04 15:15:00 | 9.542 | 180.822 | 10.5867 | 155.533 | 9.3083 | 191.253 | 9.8197 | 177.848 | 26.46 | 969.356 | 32.8384 | 36.2132
2019-02-04 15:30:00 | 9.0313 | 162.445 | 10.331 | 160.748 | 10.8423 | 199.32 | 9.564 | 177.531 | 26.46 | 969.504 | 34.6134 | 35.4077
2019-02-04 15:45:00 | 12.3507 | 136.756 | 11.3537 | 134.475 | 8.797 | 193.837 | 12.1207 | 150.38 | 26.46 | 968.911 | 38.4366 | 38.6235
2019-02-04 16:00:00 | 14.138 | 157.107 | 13.9103 | 156.922 | 15.9557 | 172.949 | 13.6547 | 162.03 | 26.46 | 968.351 | 39.3241 | 40.334
2019-02-04 16:15:00 | 13.8827 | 143.482 | 13.6547 | 133.792 | 10.5867 | 208.168 | 14.166 | 152.159 | 26.46 | 968.042 | 39.4607 | 44.3529
2019-02-04 16:30:00 | 10.8187 | 143.922 | 12.3763 | 141.791 | 10.331 | 204.377 | 11.098 | 150.992 | 26.46 | 967.799 | 38.8531 | 43.6842
2019-02-04 16:45:00 | 13.8827 | 138.095 | 12.632 | 134.208 | 10.331 | 164.057 | 14.166 | 134.585 | 26.46 | 968.003 | 38.0335 | 43.0191
2019-02-04 17:00:00 | 13.8827 | 152.708 | 16.9783 | 143.654 | 15.7 | 135.351 | 13.399 | 172.358 | 26.46 | 967.423 | 37.7631 | 45.2619
2019-02-04 17:15:00 | 15.67 | 144.97 | 15.1887 | 131.601 | 14.6773 | 146.067 | 14.933 | 150.26 | 26.46 | 967.127 | 39.9521 | 45.3431
2019-02-04 17:30:00 | 14.3933 | 149.261 | 12.3763 | 139.964 | 10.331 | 150.675 | 14.933 | 156.161 | 26.46 | 967.127 | 42.2742 | 53.4907
2019-02-04 17:45:00 | 17.7127 | 154.844 | 17.234 | 147.791 | 16.467 | 141.995 | 16.7227 | 159.013 | 26.46 | 966.601 | 43.5035 | 61.4812
2019-02-04 18:00:00 | 13.8827 | 152.43 | 13.6547 | 145.572 | 13.1433 | 150.602 | 13.6547 | 154.137 | 26.46 | 967.089 | 45.0743 | 71.0858
2019-02-04 18:15:00 | 13.8827 | 149.971 | 10.8423 | 145.258 | 10.331 | 136.293 | 13.399 | 147.728 | 26.46 | 967.571 | 45.1434 | 74.9721
2019-02-04 18:30:00 | 12.606 | 180.075 | 13.1433 | 158.026 | 15.4443 | 123.326 | 12.3763 | 153.541 | 26.46 | 966.977 | 46.4517 | 80.8321
2019-02-04 18:45:00 | 16.9467 | 180.163 | 14.166 | 174.04 | 15.7 | 128.019 | 16.2113 | 174.992 | 26.46 | 967.125 | 46.7288 | 78.1275
2019-02-04 19:00:00 | 15.67 | 157.629 | 14.6773 | 145.921 | 13.399 | 133.532 | 15.1887 | 154.678 | 26.46 | 966.977 | 47.2075 | 76.4907
2019-02-04 19:15:00 | 12.3507 | 151.361 | 13.6547 | 152.092 | 10.5867 | 143.58 | 12.632 | 155.214 | 26.46 | 967.125 | 48.5056 | 80.3317
2019-02-04 19:30:00 | 13.372 | 165.116 | 17.4897 | 139.068 | 20.0463 | 135.069 | 13.9103 | 169.384 | 26.46 | 966.085 | 50.965 | 78.9736
2019-02-04 19:45:00 | 15.9253 | 138.8 | 17.234 | 148.848 | 17.234 | 138.166 | 16.7227 | 156.165 | 26.46 | 966.531 | 51.1699 | 76.2891
2019-02-04 20:00:00 | 12.0953 | 157.068 | 10.5867 | 136.653 | 13.1433 | 141.361 | 11.6093 | 156.482 | 26.46 | 967.422 | 50.965 | 76.5313
2019-02-04 20:15:00 | 14.138 | 150.068 | 12.8877 | 160.823 | 12.632 | 122.654 | 14.166 | 152.995 | 26.46 | 967.125 | 52.1264 | 75.397
2019-02-04 20:30:00 | 16.1807 | 153.044 | 18.5123 | 141.531 | 17.4897 | 125.727 | 16.467 | 166.799 | 26.46 | 966.531 | 53.766 | 74.9721
2019-02-04 20:45:00 | 15.9253 | 139.312 | 12.3763 | 145.116 | 10.331 | 129.386 | 16.2113 | 145.361 | 26.46 | 967.125 | 55.6789 | 78.3788
2019-02-04 21:00:00 | 16.1807 | 157.531 | 13.399 | 143.848 | 13.1433 | 135.264 | 15.4443 | 153.8 | 26.46 | 967.125 | 57.1819 | 78.7704
2019-02-04 21:15:00 | 14.6487 | 148.312 | 12.632 | 144.604 | 9.564 | 137.605 | 13.9103 | 145.702 | 26.46 | 967.422 | 58.8215 | 75.9106
2019-02-04 21:30:00 | 15.1593 | 157.043 | 13.1433 | 149.092 | 13.6547 | 118.386 | 14.933 | 160.141 | 26.46 | 967.131 | 61.5884 | 75.53
2019-02-04 21:45:00 | 10.5633 | 146.168 | 10.5867 | 151.216 | 10.0753 | 118.632 | 11.098 | 157.948 | 26.46 | 967.313 | 63.3655 | 75.87
2019-02-04 22:00:00 | 15.1593 | 152.92 | 14.4217 | 142.75 | 15.7 | 120.502 | 14.4217 | 159.262 | 26.46 | 967.262 | 65.3214 | 74.9647
2019-02-04 22:15:00 | 14.3933 | 148.761 | 10.5867 | 137.495 | 9.3083 | 119.878 | 14.6773 | 154.665 | 26.46 | 967.388 | 66.2837 | 74.5768
2019-02-04 22:30:00 | 15.1593 | 154.817 | 14.6773 | 152.212 | 11.865 | 121.248 | 15.1887 | 157.696 | 26.46 | 967.42 | 66.6278 | 73.1949
2019-02-04 22:45:00 | 16.6913 | 163.719 | 18.2567 | 158.186 | 20.0463 | 123.71 | 16.2113 | 156.473 | 26.46 | 966.822 | 66.2166 | 77.7654
2019-02-04 23:00:00 | 12.606 | 166.285 | 12.3763 | 175.096 | 14.6773 | 123.372 | 11.6093 | 191.461 | 26.46 | 966.826 | 66.97 | 76.6126
2019-02-04 23:15:00 | 14.3933 | 148.861 | 12.632 | 144.279 | 12.3763 | 122.587 | 14.166 | 151.496 | 26.46 | 967.123 | 68.5396 | 76.4796
2019-02-04 23:30:00 | 14.904 | 148.625 | 13.1433 | 152.412 | 9.564 | 123.277 | 13.9103 | 157.066 | 26.46 | 966.826 | 69.7732 | 77.8689
2019-02-04 23:45:00 | 14.138 | 147.77 | 15.7 | 141.798 | 14.4217 | 125.057 | 14.6773 | 152.235 | 26.46 | 966.677 | 69.773 | 76.1877