## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-05 00:00:00 | 14.6487 | 159.767 | 12.632 | 149.135 | 13.9103 | 125.638 | 14.6773 | 155.352 | 26.46 | 966.529 | 69.4286 | 75.4007
2019-02-05 00:15:00 | 15.4147 | 148.91 | 15.9557 | 133.741 | 8.03 | 125.051 | 15.1887 | 157.034 | 26.46 | 966.826 | 69.0865 | 75.8884
2019-02-05 00:30:00 | 14.3933 | 144.272 | 13.9103 | 140.349 | 11.6093 | 126.439 | 14.933 | 149.566 | 26.46 | 966.529 | 69.1534 | 75.4007
2019-02-05 00:45:00 | 15.4147 | 148.687 | 15.1887 | 134.907 | 14.6773 | 128.024 | 15.1887 | 156.005 | 26.46 | 965.905 | 69.4947 | 75.1125
2019-02-05 01:00:00 | 11.3293 | 140.808 | 11.3537 | 143.885 | 11.6093 | 132.855 | 11.865 | 160.25 | 26.46 | 966.232 | 69.2898 | 73.254
2019-02-05 01:15:00 | 14.904 | 146.746 | 12.3763 | 142.018 | 13.9103 | 144.525 | 14.933 | 150.991 | 26.46 | 965.63 | 66.6294 | 72.9769
2019-02-05 01:30:00 | 15.1593 | 140.206 | 9.8197 | 145.139 | 9.564 | 143.085 | 15.1887 | 154.502 | 26.46 | 966.063 | 66.1504 | 73.8415
2019-02-05 01:45:00 | 16.6913 | 157.836 | 15.7 | 153.205 | 15.1887 | 145.736 | 16.9783 | 153.421 | 26.46 | 965.34 | 65.8052 | 73.6678
2019-02-05 02:00:00 | 14.3933 | 149.378 | 12.632 | 141.235 | 13.6547 | 143.45 | 13.1433 | 163.869 | 26.46 | 965.618 | 65.9449 | 76.5978
2019-02-05 02:15:00 | 13.372 | 160.823 | 13.399 | 146.507 | 13.9103 | 147.356 | 14.4217 | 158.359 | 26.46 | 965.33 | 67.7231 | 74.8797
2019-02-05 02:30:00 | 12.8613 | 150.652 | 10.5867 | 150.194 | 12.3763 | 142.918 | 12.632 | 149.384 | 26.46 | 965.299 | 68.5444 | 74.3255
2019-02-05 02:45:00 | 13.372 | 144.386 | 10.5867 | 145.368 | 9.564 | 130.65 | 12.632 | 161.83 | 26.46 | 965.473 | 70.3229 | 77.4661
2019-02-05 03:00:00 | 12.8613 | 162.904 | 10.8423 | 149.003 | 12.3763 | 133.382 | 13.399 | 144.41 | 26.46 | 965.042 | 70.5279 | 74.7356
2019-02-05 03:15:00 | 5.712 | 151.632 | 13.6547 | 142.465 | 11.3537 | 136.554 | 14.4217 | 150.778 | 26.46 | 965.042 | 71.7581 | 75.966
2019-02-05 03:30:00 | 6.478 | 150.827 | 12.632 | 156.932 | 14.166 | 139.677 | 14.6773 | 153.779 | 26.46 | 964.745 | 71.7581 | 75.9217
2019-02-05 03:45:00 | 3.9247 | 157.317 | 13.399 | 143.733 | 13.9103 | 142.19 | 14.166 | 154.535 | 26.46 | 964.448 | 71.4164 | 77.2592
2019-02-05 04:00:00 | 4.6907 | 155.755 | 12.8877 | 145.661 | 11.098 | 147.143 | 14.4217 | 163.245 | 26.46 | 964.448 | 70.5279 | 75.0608
2019-02-05 04:15:00 | 5.2013 | 155.511 | 14.166 | 152.297 | 11.6093 | 148.753 | 14.6773 | 154.828 | 26.46 | 964.448 | 69.9128 | 76.7715
2019-02-05 04:30:00 | 6.478 | 161.489 | 12.1207 | 151.565 | 10.8423 | 150.632 | 14.4217 | 156.609 | 26.46 | 964.151 | 69.0928 | 72.5446
2019-02-05 04:45:00 | 6.478 | 145.118 | 11.3537 | 132.169 | 11.3537 | 150.607 | 14.4217 | 153.511 | 26.46 | 963.556 | 68.7511 | 75.2086
2019-02-05 05:00:00 | 5.4567 | 154.047 | 14.6773 | 143.27 | 14.4217 | 143.703 | 13.9103 | 160.854 | 26.46 | 963.407 | 68.136 | 75.5818
2019-02-05 05:15:00 | 7.244 | 146.826 | 14.6773 | 142.318 | 13.1433 | 146.02 | 15.9557 | 149.119 | 26.46 | 963.556 | 67.1792 | 73.5644
2019-02-05 05:30:00 | 6.478 | 151.583 | 14.933 | 141.855 | 15.4443 | 151.705 | 14.933 | 157.78 | 26.46 | 963.11 | 66.7008 | 73.7491
2019-02-05 05:45:00 | 4.946 | 148.338 | 8.03 | 143.514 | 9.564 | 146.582 | 11.6093 | 154.535 | 26.46 | 964.151 | 65.2315 | 69.5444
2019-02-05 06:00:00 | 5.2013 | 160.025 | 11.3537 | 160.08 | 12.3763 | 138.116 | 12.3763 | 154.56 | 26.46 | 964.002 | 65.8124 | 71.5211
2019-02-05 06:15:00 | 5.712 | 161.318 | 10.0753 | 146.173 | 9.3083 | 144.313 | 9.0527 | 163.27 | 26.46 | 964.299 | 65.744 | 63.9586
2019-02-05 06:30:00 | 5.9673 | 151.803 | 12.8877 | 145.173 | 11.098 | 139.482 | 13.9103 | 156.341 | 26.46 | 963.853 | 65.6757 | 67.4531
2019-02-05 06:45:00 | 6.478 | 144.435 | 8.797 | 162.202 | 10.0753 | 141.995 | 11.3537 | 154.804 | 26.46 | 963.853 | 63.5571 | 65.4579
2019-02-05 07:00:00 | 6.2227 | 163.489 | 13.399 | 153.224 | 11.865 | 148.07 | 12.632 | 168.344 | 26.46 | 963.853 | 61.7119 | 62.8308
2019-02-05 07:15:00 | 5.9673 | 185.667 | 9.8197 | 147.466 | 9.8197 | 152.681 | 11.865 | 165.051 | 26.46 | 964.448 | 60.7552 | 58.2492
2019-02-05 07:30:00 | 10.0527 | 172.931 | 10.0753 | 136.219 | 10.0753 | 153.364 | 9.564 | 160.513 | 26.46 | 964.448 | 60.4135 | 56.0997
2019-02-05 07:45:00 | 3.414 | 152.655 | 11.6093 | 145.122 | 6.7517 | 149.679 | 13.6547 | 157.608 | 26.46 | 964.448 | 62.3606 | 51.5174
2019-02-05 08:00:00 | 7.244 | 153.381 | 9.3083 | 135.186 | 8.797 | 138.304 | 9.8197 | 156.284 | 26.46 | 964.421 | 60.2395 | 47.2792
2019-02-05 08:15:00 | 6.7333 | 185.115 | 8.03 | 165.701 | 10.331 | 139.3 | 8.03 | 164.574 | 26.46 | 964.894 | 61.2969 | 39.4573
2019-02-05 08:30:00 | 3.414 | 145.183 | 8.5413 | 140.65 | 8.2857 | 138.181 | 10.331 | 151.477 | 26.46 | 965.04 | 60.7517 | 38.8189
2019-02-05 08:45:00 | 4.4353 | 147.485 | 6.7517 | 131.241 | 7.263 | 131.851 | 7.7743 | 150.388 | 26.46 | 965.109 | 58.071 | 37.8315
2019-02-05 09:00:00 | 3.042 | 156.97 | 8.2857 | 154.823 | 9.3083 | 136.654 | 8.797 | 147.629 | 26.46 | 964.897 | 60.3928 | 39.9376
2019-02-05 09:15:00 | 1.6267 | 144.776 | 10.331 | 136.897 | 8.03 | 139.532 | 10.0753 | 153.19 | 26.46 | 965.045 | 59.1973 | 39.6272
2019-02-05 09:30:00 | 0.372 | 142.898 | 9.3083 | 139.385 | 8.2857 | 145.337 | 10.331 | 152.092 | 26.46 | 965.194 | 58.8557 | 41.8035
2019-02-05 09:45:00 | 2.9033 | 153.184 | 10.331 | 142.451 | 9.564 | 153.794 | 10.5867 | 158.427 | 26.46 | 965.342 | 57.7945 | 44.4601
2019-02-05 10:00:00 | 9.0313 | 139.134 | 8.03 | 128.936 | 7.7743 | 141.913 | 9.3083 | 148.497 | 26.46 | 965.64 | 56.8271 | 40.9574
2019-02-05 10:15:00 | 7.4993 | 140.947 | 8.03 | 146.377 | 7.5187 | 159.233 | 8.2857 | 156.576 | 26.46 | 965.913 | 54.8405 | 28.864
2019-02-05 10:30:00 | 2.9033 | 151.65 | 6.2403 | 139.087 | 5.2177 | 148.237 | 6.7517 | 154.844 | 26.46 | 965.644 | 53.3379 | 24.0941
2019-02-05 10:45:00 | 6.7333 | 145.366 | 8.03 | 140.675 | 7.263 | 145.219 | 8.03 | 154.751 | 26.46 | 965.642 | 53.6725 | 20.1184
2019-02-05 11:00:00 | 0 | 158.598 | 5.4733 | 147.179 | 5.729 | 140.12 | 4.962 | 159.573 | 26.46 | 966.273 | 51.8272 | 10.2975
2019-02-05 11:15:00 | 1.7653 | 156.186 | 6.496 | 146.837 | 6.496 | 141.001 | 5.729 | 166.861 | 26.46 | 965.959 | 52.0584 | 12.2041
2019-02-05 11:30:00 | 5.2013 | 161.007 | 5.9847 | 146.222 | 6.2403 | 144.482 | 4.195 | 169.439 | 26.46 | 966.549 | 51.9543 | 6.2332
2019-02-05 11:45:00 | 0 | 192.399 | 4.7063 | 188.143 | 4.4507 | 145.822 | 4.195 | 193.812 | 26.46 | 966.238 | 50.5206 | 5.1174
2019-02-05 12:00:00 | 3.414 | 169.513 | 2.9167 | 186.12 | 4.195 | 146.578 | 4.7063 | 171.438 | 26.46 | 966.238 | 49.2917 | 2.5679
2019-02-05 12:15:00 | 1.3713 | 151.94 | 5.9847 | 140.617 | 5.4733 | 145.969 | 4.4507 | 152.671 | 26.46 | 965.941 | 49.8037 | 3.7355
2019-02-05 12:30:00 | 4.6907 | 162.103 | 5.2177 | 152.535 | 5.9847 | 142.898 | 4.962 | 164.516 | 26.46 | 965.792 | 50.7937 | 4.8624
2019-02-05 12:45:00 | 0 | 148.625 | 3.6837 | 160.553 | 5.9847 | 145.189 | 4.4507 | 159.13 | 26.46 | 965.371 | 49.1552 | 4.3747
2019-02-05 13:00:00 | 0.62733 | 126.617 | 4.4507 | 121.313 | 5.2177 | 129.517 | 4.7063 | 125.617 | 26.46 | 964.521 | 50.4523 | 8.0252
2019-02-05 13:15:00 | 4.6907 | 150.941 | 7.5187 | 148.44 | 7.7743 | 132.393 | 7.5187 | 154.426 | 26.46 | 964.476 | 47.2436 | 17.1145
2019-02-05 13:30:00 | 3.1587 | 146.383 | 8.5413 | 142.396 | 7.7743 | 133.563 | 9.3083 | 147.894 | 26.46 | 964.457 | 47.1412 | 19.8524
2019-02-05 13:45:00 | 5.712 | 161.64 | 8.797 | 156.703 | 10.8423 | 131.881 | 9.564 | 151.696 | 26.46 | 964.456 | 47.1753 | 27.2321
2019-02-05 14:00:00 | 3.9247 | 134.66 | 10.0753 | 140.251 | 9.0527 | 132.417 | 9.0527 | 143.751 | 26.46 | 964.307 | 46.1854 | 25.4427
2019-02-05 14:15:00 | 5.4567 | 138.145 | 8.5413 | 147.392 | 8.03 | 133.319 | 8.2857 | 152.086 | 26.46 | 964.753 | 47.107 | 27.6227
2019-02-05 14:30:00 | 0 | 134.294 | 7.7743 | 123.093 | 8.5413 | 132.198 | 6.7517 | 145.627 | 26.46 | 964.159 | 46.4243 | 22.4684
2019-02-05 14:45:00 | 0.372 | 144.238 | 7.7743 | 136.4 | 7.263 | 137.925 | 7.7743 | 156.303 | 26.46 | 964.159 | 46.2195 | 28.0365
2019-02-05 15:00:00 | 2.3927 | 146.188 | 7.263 | 135.011 | 7.5187 | 140.095 | 7.263 | 146.919 | 26.46 | 964.159 | 45.4003 | 18.3301
2019-02-05 15:15:00 | 0 | 173.656 | 7.0073 | 149.439 | 6.7517 | 134.708 | 5.2177 | 188.596 | 26.46 | 964.159 | 44.7175 | 16.3386
2019-02-05 15:30:00 | 1.6267 | 143.604 | 7.0073 | 139.154 | 7.263 | 136.293 | 6.2403 | 149.332 | 26.46 | 964.159 | 45.7416 | 21.4634
2019-02-05 15:45:00 | 6.478 | 139.753 | 10.0753 | 135.45 | 10.0753 | 138.145 | 8.5413 | 151.136 | 26.46 | 963.862 | 45.332 | 30.2335
2019-02-05 16:00:00 | 3.6693 | 161.348 | 8.03 | 156.215 | 7.7743 | 137.462 | 7.5187 | 166.027 | 26.46 | 963.565 | 46.1512 | 31.3286
2019-02-05 16:15:00 | 2.1373 | 126.056 | 7.263 | 127.48 | 7.5187 | 129.029 | 7.5187 | 139.851 | 26.46 | 963.287 | 46.9705 | 28.7644
2019-02-05 16:30:00 | 1.51 | 141.752 | 6.496 | 152.535 | 4.962 | 143.044 | 6.496 | 177.214 | 26.46 | 963.314 | 47.6532 | 34.096
2019-02-05 16:45:00 | 1.882 | 151.74 | 7.0073 | 139.833 | 7.5187 | 127.242 | 7.5187 | 153.934 | 26.46 | 962.999 | 48.4446 | 21.0902
2019-02-05 17:00:00 | 2.648 | 126.638 | 6.7517 | 127.017 | 7.5187 | 126.175 | 7.7743 | 140.289 | 26.46 | 963.058 | 48.3101 | 18.223
2019-02-05 17:15:00 | 0 | 129.956 | 8.03 | 134.479 | 6.2403 | 125.982 | 6.2403 | 157.916 | 26.46 | 963.399 | 48.4816 | 22.4868
2019-02-05 17:30:00 | 0.62733 | 159.105 | 4.962 | 139.885 | 4.7063 | 124.339 | 5.729 | 153.083 | 26.46 | 963.265 | 50.1946 | 29.5366
2019-02-05 17:45:00 | 1.116 | 155.234 | 8.03 | 150.619 | 7.7743 | 126.099 | 7.263 | 160.427 | 26.46 | 962.968 | 51.4256 | 31.2656
2019-02-05 18:00:00 | 8.776 | 158.648 | 7.7743 | 146.913 | 7.7743 | 127.074 | 7.7743 | 150.626 | 26.46 | 962.522 | 50.8793 | 27.4749
2019-02-05 18:15:00 | 5.9673 | 138.68 | 8.797 | 130.699 | 8.2857 | 126.489 | 8.797 | 144.19 | 26.46 | 962.077 | 51.7671 | 27.8628
2019-02-05 18:30:00 | 6.9887 | 143.117 | 8.5413 | 136.38 | 8.2857 | 127.025 | 8.2857 | 149.09 | 26.46 | 962.419 | 53.5769 | 24.6003
2019-02-05 18:45:00 | 0 | 114.859 | 5.9847 | 114.34 | 5.4733 | 125.758 | 6.7517 | 123.856 | 26.46 | 962.162 | 53.6794 | 27.2384
2019-02-05 19:00:00 | 3.414 | 152.138 | 11.6093 | 143.158 | 9.8197 | 129.805 | 11.098 | 152.65 | 26.46 | 962.829 | 53.9525 | 56.9013
2019-02-05 19:15:00 | 5.4567 | 153.113 | 10.5867 | 136.6 | 10.331 | 131.658 | 10.8423 | 157.453 | 26.46 | 962.49 | 54.4306 | 70.3979
2019-02-05 19:30:00 | 5.2013 | 138.485 | 10.0753 | 136.502 | 10.8423 | 133.072 | 11.3537 | 157.453 | 26.46 | 962.367 | 55.3184 | 73.3759
2019-02-05 19:45:00 | 5.712 | 149.749 | 9.8197 | 131.016 | 8.5413 | 140.264 | 10.8423 | 174.764 | 26.46 | 962.519 | 55.6599 | 68.7935
2019-02-05 20:00:00 | 2.0207 | 146.433 | 10.331 | 135.746 | 10.5867 | 144.653 | 10.5867 | 150.846 | 26.46 | 962.807 | 56.0697 | 45.4302
2019-02-05 20:15:00 | 3.9247 | 144.366 | 6.2403 | 137.947 | 5.729 | 129.542 | 7.5187 | 149.438 | 26.46 | 963.559 | 56.2768 | 26.9353
2019-02-05 20:30:00 | 0.744 | 167.605 | 5.729 | 163.771 | 6.2403 | 132.007 | 5.9847 | 160.144 | 26.46 | 963.262 | 56.8243 | 34.0184
2019-02-05 20:45:00 | 5.712 | 162.812 | 3.6837 | 177.754 | 2.9167 | 130.357 | 7.0073 | 158.252 | 26.46 | 963.559 | 56.5545 | 30.1906
2019-02-05 21:00:00 | 10.308 | 151.951 | 7.263 | 153.143 | 5.4733 | 130.369 | 8.797 | 157.511 | 26.46 | 963.559 | 57.3795 | 25.7161
2019-02-05 21:15:00 | 3.6693 | 148.371 | 8.5413 | 155.269 | 7.263 | 130.592 | 9.8197 | 154.711 | 26.46 | 963.113 | 58.6108 | 39.8157
2019-02-05 21:30:00 | 2.5313 | 137.946 | 7.7743 | 130.677 | 6.2403 | 129.19 | 8.03 | 139.336 | 26.46 | 962.965 | 59.0946 | 37.5914
2019-02-05 21:45:00 | 2.0207 | 156.653 | 7.0073 | 153.067 | 6.2403 | 130.191 | 7.7743 | 157.336 | 26.46 | 963.559 | 59.5047 | 40.9204
2019-02-05 22:00:00 | 8.01 | 148.166 | 8.797 | 154.409 | 8.03 | 131.63 | 9.3083 | 156.629 | 26.46 | 962.965 | 60.5636 | 53.845
2019-02-05 22:15:00 | 1.882 | 187.14 | 8.2857 | 204.09 | 9.0527 | 125.727 | 8.03 | 131.264 | 26.46 | 962.965 | 62.2374 | 56.2392
2019-02-05 22:30:00 | 0.372 | 168.921 | 6.7517 | 158.628 | 5.9847 | 125.801 | 5.9847 | 177.335 | 26.46 | 963.559 | 64.0137 | 48.386
2019-02-05 22:45:00 | 0 | 177.482 | 9.8197 | 149.628 | 8.5413 | 126.898 | 7.5187 | 185.799 | 26.46 | 963.559 | 64.4236 | 44.3455
2019-02-05 23:00:00 | 6.7333 | 157.97 | 6.2403 | 160.53 | 7.0073 | 127.557 | 7.5187 | 170.238 | 26.46 | 963.559 | 66.0632 | 34.3029
2019-02-05 23:15:00 | 0 | 153.946 | 7.0073 | 150.921 | 8.2857 | 127.922 | 7.263 | 169.75 | 26.46 | 963.559 | 67.088 | 24.7961
2019-02-05 23:30:00 | 6.7333 | 164.629 | 8.5413 | 149.604 | 9.0527 | 125.362 | 9.564 | 173.653 | 26.46 | 963.559 | 65.8241 | 14.1402
2019-02-05 23:45:00 | 1.2547 | 170.823 | 7.7743 | 169.896 | 7.0073 | 124.825 | 7.263 | 166.311 | 26.46 | 963.856 | 65.4483 | 6.3034