## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-06 00:00:00 | 0 | 169.555 | 5.9847 | 153.189 | 5.2177 | 124.435 | 6.2403 | 180.262 | 26.46 | 964.153 | 66.4731 | 2.1652
2019-02-06 00:15:00 | 0.372 | 142.263 | 4.195 | 137.117 | 3.9393 | 122.045 | 3.9393 | 154.165 | 26.46 | 963.856 | 69.6157 | 1.2784
2019-02-06 00:30:00 | 2.276 | 156.824 | 5.729 | 148.628 | 5.729 | 123.142 | 5.9847 | 173.238 | 26.46 | 963.559 | 70.2306 | 3.3734
2019-02-06 00:45:00 | 2.9033 | 157.653 | 6.7517 | 141.141 | 5.4733 | 123.386 | 6.7517 | 164.58 | 26.46 | 963.262 | 72.1776 | 8.5129
2019-02-06 01:00:00 | 1.882 | 154.702 | 7.7743 | 144.555 | 5.9847 | 124.386 | 8.2857 | 166.067 | 26.46 | 962.816 | 71.836 | 18.0345
2019-02-06 01:15:00 | 1.882 | 151.556 | 4.962 | 139.165 | 5.729 | 123.703 | 6.2403 | 153.775 | 26.46 | 962.37 | 73.8172 | 20.451
2019-02-06 01:30:00 | 2.9033 | 142.263 | 6.7517 | 146.702 | 7.0073 | 123.825 | 8.03 | 147.897 | 26.46 | 961.776 | 72.9974 | 22.025
2019-02-06 01:45:00 | 4.18 | 146.922 | 4.962 | 133.653 | 4.7063 | 124.288 | 7.5187 | 154.312 | 26.46 | 961.8 | 68.7276 | 19.6972
2019-02-06 02:00:00 | 2.7867 | 145.117 | 3.9393 | 141.214 | 5.729 | 124.654 | 6.7517 | 150.775 | 26.46 | 961.777 | 70.0598 | 18.3264
2019-02-06 02:15:00 | 2.0207 | 142.19 | 5.729 | 139.677 | 7.263 | 126.191 | 8.03 | 143.995 | 26.46 | 961.776 | 70.8454 | 17.1995
2019-02-06 02:30:00 | 0 | 154.848 | 8.03 | 148.531 | 6.496 | 126.093 | 9.564 | 160.897 | 26.46 | 961.925 | 69.7523 | 11.2619
2019-02-06 02:45:00 | 1.51 | 144.288 | 4.4507 | 131.117 | 3.428 | 125.02 | 5.729 | 157.165 | 26.46 | 962.371 | 71.2553 | 5.5681
2019-02-06 03:00:00 | 0 | 140.824 | 3.6837 | 138.775 | 3.428 | 124.288 | 3.9393 | 153.165 | 26.46 | 962.073 | 72.7583 | 0.95327
2019-02-06 03:15:00 | 0 | 136.532 | 3.428 | 128.775 | 3.1723 | 123.459 | 2.9167 | 146.605 | 26.46 | 961.776 | 72.3484 | 1.1011
2019-02-06 03:30:00 | 0 | 164.872 | 2.661 | 157.311 | 2.661 | 123.849 | 3.1723 | 159.068 | 26.46 | 962.073 | 73.4415 | 0.73527
2019-02-06 03:45:00 | 0 | 155.068 | 1.894 | 149.019 | 1.894 | 123.654 | 2.9167 | 163.043 | 26.46 | 961.925 | 73.1682 | 0.25494
2019-02-06 04:00:00 | 0 | 157.799 | 0.37567 | 148.921 | 1.127 | 123.264 | 0.37567 | 167.555 | 26.46 | 962.073 | 74.6712 | -0.3547
2019-02-06 04:15:00 | 0 | 178.872 | 1.3827 | 174.774 | 0.37567 | 123.459 | 3.6837 | 172.506 | 26.46 | 962.371 | 75.696 | -0.23647
2019-02-06 04:30:00 | 0 | 209.413 | 1.127 | 194.096 | 0 | 123.462 | 1.894 | 192.437 | 26.46 | 962.418 | 78.2599 | -0.12562
2019-02-06 04:45:00 | 0 | 201.751 | 0 | 194.144 | 0 | 123.1 | 1.127 | 213.753 | 26.46 | 963.256 | 78.0041 | 0.4286
2019-02-06 05:00:00 | 0 | 349.241 | 0.75133 | 2.1427 | 2.4053 | 104.753 | 0 | 213.36 | 26.46 | 962.652 | 83.2647 | 1.7181
2019-02-06 05:15:00 | 0 | 32.8881 | 2.661 | 3.5682 | 2.661 | 104.569 | 0 | 15.7121 | 26.46 | 962.07 | 91.6453 | 2.9263
2019-02-06 05:30:00 | 0.99933 | 124.902 | 2.4053 | 46.2824 | 4.4507 | 104.451 | 1.3827 | 160.264 | 26.46 | 961.581 | 94.9516 | 2.3425
2019-02-06 05:45:00 | 0 | 80.6853 | 2.661 | 28.421 | 4.7063 | 104.237 | 0 | 180.895 | 26.46 | 961.471 | 96.6658 | 6.817
2019-02-06 06:00:00 | 1.2547 | 28.4331 | 5.729 | 13.0458 | 5.9847 | 103.433 | 1.6383 | 59.7461 | 26.46 | 960.58 | 97.556 | 8.4279
2019-02-06 06:15:00 | 0 | 29.0966 | 5.2177 | 18.8117 | 6.496 | 23.8485 | 2.1497 | 42.1315 | 26.46 | 960.877 | 97.9815 | 9.1004
2019-02-06 06:30:00 | 1.3713 | 4.9553 | 5.4733 | 10.6509 | 6.7517 | 2.0016 | 5.2177 | 20.2117 | 26.46 | 960.877 | 98.188 | 13.065
2019-02-06 06:45:00 | 0 | 13.4256 | 6.7517 | 4.1662 | 7.263 | 8.0798 | 5.9847 | 16.5013 | 26.46 | 960.877 | 98.2906 | 18.755
2019-02-06 07:00:00 | 0.372 | 38.0312 | 6.496 | 8.454 | 5.729 | 356.976 | 4.7063 | 2.7828 | 26.46 | 961.026 | 98.5299 | 19.4829
2019-02-06 07:15:00 | 9.0313 | 5.6144 | 7.263 | 1.359 | 6.7517 | 7.0546 | 6.496 | 13.1083 | 26.46 | 961.026 | 98.6666 | 19.2612
2019-02-06 07:30:00 | 4.946 | 345.747 | 5.4733 | 0.89518 | 4.195 | 0.048821 | 7.0073 | 336.471 | 26.46 | 961.472 | 98.8718 | 19.0654
2019-02-06 07:45:00 | 0.88267 | 30.6837 | 4.962 | 0.7159 | 5.9847 | 6.8593 | 4.4507 | 2.9781 | 26.46 | 961.769 | 98.9402 | 25.1323
2019-02-06 08:00:00 | 0 | 13.8406 | 5.2177 | 10.0246 | 5.729 | 7.2743 | 4.962 | 7.9577 | 26.46 | 961.918 | 99.0769 | 31.7527
2019-02-06 08:15:00 | 4.946 | 16.9163 | 9.0527 | 11.1963 | 8.2857 | 11.5216 | 8.5413 | 25.9237 | 26.46 | 961.769 | 99.2137 | 24.6214
2019-02-06 08:30:00 | 1.2547 | 10.057 | 6.2403 | 2.2133 | 6.7517 | 0.048821 | 6.7517 | 7.9577 | 26.46 | 962.364 | 99.282 | 17.6207
2019-02-06 08:45:00 | 13.1167 | 16.9405 | 7.0073 | 5.0447 | 7.5187 | 0.04882 | 7.7743 | 15.9641 | 26.46 | 962.364 | 99.3836 | 22.557
2019-02-06 09:00:00 | 6.7333 | 13.3754 | 8.2857 | 4.4078 | 7.0073 | 2.5384 | 7.263 | 21.4544 | 26.46 | 962.364 | 99.4428 | 17.0776
2019-02-06 09:15:00 | 0 | 12.1055 | 7.0073 | 12.0453 | 7.0073 | 1.0007 | 6.7517 | 19.4761 | 26.46 | 962.958 | 99.5731 | 14.0035
2019-02-06 09:30:00 | 0.372 | 349.739 | 5.9847 | 334.084 | 5.729 | 1.7084 | 5.9847 | 349.373 | 26.46 | 962.958 | 99.6069 | 17.3621
2019-02-06 09:45:00 | 3.414 | 0.097624 | 3.9393 | 23.9554 | 7.0073 | 6.7849 | 5.9847 | 336.316 | 26.46 | 963.256 | 99.7095 | 21.0348
2019-02-06 10:00:00 | 0 | 342.149 | 5.4733 | 9.6274 | 5.4733 | 7.4195 | 5.9847 | 351.35 | 26.46 | 963.553 | 99.812 | 26.0239
2019-02-06 10:15:00 | 3.6693 | 0.097624 | 5.4733 | 8.7976 | 5.2177 | 0.68337 | 6.7517 | 343.857 | 26.46 | 964.148 | 99.8804 | 23.4021
2019-02-06 10:30:00 | 0 | 355.182 | 7.263 | 4.6502 | 5.4733 | 1.9037 | 5.729 | 348.446 | 26.46 | 963.851 | 99.8804 | 22.9017
2019-02-06 10:45:00 | 5.4567 | 4.0514 | 6.7517 | 14.1197 | 5.2177 | 43.272 | 7.263 | 0.34169 | 26.46 | 963.553 | 99.8804 | 26.2371
2019-02-06 11:00:00 | 2.648 | 4.0026 | 7.0073 | 19.5119 | 4.962 | 355.401 | 7.5187 | 343.394 | 26.46 | 963.702 | 99.9146 | 29.8472
2019-02-06 11:15:00 | 5.712 | 4.0026 | 6.2403 | 21.0754 | 5.729 | 3.2216 | 6.2403 | 11.0804 | 26.46 | 963.256 | 99.8804 | 27.8148
2019-02-06 11:30:00 | 5.9673 | 4.0026 | 7.263 | 1.1601 | 5.2177 | 3.2216 | 9.0527 | 0.97624 | 26.46 | 962.958 | 99.812 | 26.6583
2019-02-06 11:45:00 | 4.4353 | 4.0026 | 7.263 | 13.4104 | 8.5413 | 3.2216 | 6.7517 | 4.93 | 26.46 | 962.958 | 99.812 | 26.4403
2019-02-06 12:00:00 | 4.18 | 4.0026 | 5.729 | 22.2225 | 5.9847 | 3.2216 | 5.729 | 355.816 | 26.46 | 963.107 | 99.7778 | 19.4201
2019-02-06 12:15:00 | 4.4353 | 4.0026 | 5.4733 | 9.1149 | 9.0527 | 3.2216 | 5.9847 | 6.5896 | 26.46 | 962.81 | 99.7778 | 20.0741
2019-02-06 12:30:00 | 9.542 | 4.0026 | 5.9847 | 9.8486 | 6.7517 | 3.2216 | 5.2177 | 346.054 | 26.46 | 962.958 | 99.7437 | 17
2019-02-06 12:45:00 | 5.712 | 4.0026 | 5.729 | 1.819 | 6.496 | 3.2216 | 7.263 | 0.34169 | 26.46 | 962.958 | 99.7095 | 17.0813
2019-02-06 13:00:00 | 6.7333 | 4.0026 | 5.2177 | 8.4331 | 5.729 | 3.2216 | 4.195 | 0.29287 | 26.46 | 962.958 | 99.6411 | 19.0395
2019-02-06 13:15:00 | 4.946 | 4.0026 | 5.4733 | 4.0156 | 5.9847 | 3.2216 | 5.2177 | 335.12 | 26.46 | 963.107 | 99.6069 | 27.1645
2019-02-06 13:30:00 | 5.4567 | 4.0026 | 5.9847 | 10.2636 | 7.0073 | 3.2216 | 5.9847 | 351.545 | 26.46 | 962.958 | 99.6069 | 29.1228
2019-02-06 13:45:00 | 0.372 | 4.0026 | 5.4733 | 7.2843 | 7.263 | 3.2216 | 5.729 | 337.491 | 26.46 | 962.958 | 99.5738 | 31.7477
2019-02-06 14:00:00 | 0.744 | 4.0026 | 7.0073 | 13.0706 | 6.2403 | 3.2216 | 7.7743 | 355.308 | 26.46 | 962.364 | 99.6081 | 37.4325
2019-02-06 14:15:00 | 2.9033 | 4.0026 | 7.263 | 4.5527 | 7.0073 | 3.2216 | 8.03 | 0.29288 | 26.46 | 962.364 | 99.5394 | 38.8033
2019-02-06 14:30:00 | 3.9247 | 4.0026 | 7.7743 | 0.15946 | 7.5187 | 3.2216 | 7.0073 | 1.0739 | 26.46 | 962.215 | 99.5387 | 33.5492
2019-02-06 14:45:00 | 3.414 | 4.0028 | 5.9847 | 4.2818 | 3.9393 | 3.2218 | 5.729 | 3.3194 | 26.46 | 962.364 | 99.5427 | 22.4388
2019-02-06 15:00:00 | 1.7653 | 4.0028 | 6.496 | 3.4069 | 5.9847 | 3.2217 | 5.729 | 3.3683 | 26.46 | 962.364 | 99.5449 | 19.3721
2019-02-06 15:15:00 | 4.18 | 4.0027 | 6.7517 | 2.6222 | 6.7517 | 3.2218 | 5.729 | 3.3681 | 26.46 | 961.769 | 99.5423 | 22.243
2019-02-06 15:30:00 | 3.6693 | 4.0027 | 7.7743 | 1.8414 | 5.9847 | 3.2217 | 7.0073 | 3.3681 | 26.46 | 961.769 | 99.5412 | 19.3351
2019-02-06 15:45:00 | 4.18 | 4.0026 | 5.729 | 5.2587 | 4.7063 | 3.2216 | 5.729 | 3.4169 | 26.46 | 962.364 | 99.5388 | 21.4634
2019-02-06 16:00:00 | 4.946 | 4.0027 | 4.7063 | 158.462 | 6.496 | 3.2216 | 6.7517 | 3.3681 | 26.46 | 962.364 | 99.4728 | 23.1778
2019-02-06 16:15:00 | 4.946 | 4.0028 | 5.2177 | 6.82 | 5.729 | 3.2217 | 5.2177 | 3.3926 | 26.46 | 962.364 | 99.4072 | 25.9119
2019-02-06 16:30:00 | 4.946 | 4.0029 | 7.263 | 18.4379 | 5.9847 | 3.2218 | 6.7517 | 3.3683 | 26.46 | 962.81 | 99.4094 | 19.5938
2019-02-06 16:45:00 | 2.1373 | 4.0031 | 3.6837 | 11.0979 | 4.962 | 3.2221 | 3.6837 | 3.3685 | 26.46 | 963.107 | 99.3479 | 21.6518
2019-02-06 17:00:00 | 3.1587 | 4.0032 | 4.962 | 15.1912 | 5.729 | 3.2221 | 4.4507 | 3.3686 | 26.46 | 963.107 | 99.2132 | 23.8576
2019-02-06 17:15:00 | 2.648 | 4.0032 | 5.4733 | 14.2636 | 6.496 | 3.2222 | 4.962 | 3.3686 | 26.46 | 963.405 | 99.1453 | 20.8833
2019-02-06 17:30:00 | 1.6267 | 4.0032 | 4.962 | 2.6199 | 4.195 | 3.2222 | 4.4507 | 3.3686 | 26.46 | 963.851 | 99.0769 | 22.7291
2019-02-06 17:45:00 | 1.6267 | 4.0032 | 4.962 | 3.694 | 5.2177 | 3.2222 | 5.729 | 3.3686 | 26.46 | 963.553 | 98.9402 | 15.74
2019-02-06 18:00:00 | 2.9033 | 4.0032 | 4.962 | 1.6435 | 4.7063 | 3.2222 | 4.7063 | 3.3686 | 26.46 | 963.553 | 98.8718 | 15.3632
2019-02-06 18:15:00 | 0.372 | 4.0032 | 6.496 | 0.81354 | 5.9847 | 3.2222 | 4.7063 | 3.3686 | 26.46 | 964.148 | 98.7692 | 19.9743
2019-02-06 18:30:00 | 3.1587 | 4.0032 | 5.4733 | 1.8228 | 4.4507 | 3.2222 | 5.2177 | 3.3686 | 26.46 | 964.148 | 98.6666 | 22.509
2019-02-06 18:45:00 | 6.7333 | 4.0032 | 6.7517 | 1.8472 | 5.2177 | 3.2222 | 5.9847 | 3.3686 | 26.46 | 964.445 | 98.6666 | 27.6559
2019-02-06 19:00:00 | 6.9887 | 4.0032 | 6.496 | 1.8228 | 6.2403 | 3.2466 | 5.729 | 3.3686 | 26.46 | 964.743 | 98.4957 | 34.7833
2019-02-06 19:15:00 | 8.5207 | 4.0032 | 7.7743 | 1.8228 | 7.263 | 3.2222 | 5.9847 | 3.3198 | 26.46 | 965.04 | 98.3248 | 36.1725
2019-02-06 19:30:00 | 3.414 | 4.0032 | 7.7743 | 1.8472 | 7.7743 | 3.2222 | 5.9847 | 3.271 | 26.46 | 965.04 | 98.2564 | 37.7835
2019-02-06 19:45:00 | 4.6907 | 4.0032 | 7.0073 | 1.8716 | 7.7743 | 3.2222 | 5.729 | 3.271 | 26.46 | 965.34 | 98.1538 | 36.9469
2019-02-06 20:00:00 | 2.9033 | 4.0032 | 6.7517 | 1.8716 | 8.2857 | 3.2222 | 5.729 | 3.271 | 26.46 | 965.338 | 98.1196 | 39.6613
2019-02-06 20:15:00 | 4.18 | 4.0032 | 5.9847 | 1.8228 | 6.2403 | 3.2222 | 5.729 | 3.271 | 26.46 | 965.635 | 98.0855 | 39.5887
2019-02-06 20:30:00 | 1.7653 | 4.0032 | 5.729 | 2.1645 | 6.496 | 3.2222 | 4.962 | 3.3198 | 26.46 | 965.952 | 97.9829 | 44.9256
2019-02-06 20:45:00 | 7.7547 | 4.0032 | 6.2403 | 1.481 | 5.4733 | 3.2222 | 3.9393 | 3.271 | 26.46 | 966.531 | 97.9145 | 47.9797
2019-02-06 21:00:00 | 5.9673 | 4.0034 | 6.7517 | 2.2866 | 9.3083 | 3.2466 | 7.0073 | 3.2954 | 26.46 | 966.528 | 97.7095 | 57.8243
2019-02-06 21:15:00 | 3.414 | 4.0035 | 8.5413 | 4.4744 | 8.5413 | 3.2223 | 5.729 | 176.25 | 26.46 | 966.528 | 97.5768 | 61.3049
2019-02-06 21:30:00 | 2.648 | 4.0038 | 7.7743 | 14.1651 | 9.564 | 3.247 | 5.2177 | 173.63 | 26.46 | 966.7 | 97.4494 | 65.1898
2019-02-06 21:45:00 | 3.1587 | 4.0039 | 9.8197 | 71.2364 | 5.9847 | 3.2227 | 6.496 | 177.688 | 26.46 | 967.428 | 97.3838 | 67.0889
2019-02-06 22:00:00 | 3.1587 | 4.0039 | 11.865 | 45.3818 | 12.1207 | 3.2715 | 5.2177 | 173.123 | 26.46 | 967.49 | 97.3158 | 69.6885
2019-02-06 22:15:00 | 5.2013 | 4.0039 | 8.797 | 40.8163 | 9.0527 | 3.2471 | 5.729 | 169.656 | 26.46 | 967.846 | 97.2132 | 71.4308
2019-02-06 22:30:00 | 3.6693 | 4.004 | 11.098 | 47.6549 | 8.03 | 3.2717 | 7.0073 | 171.469 | 26.46 | 967.946 | 97.0459 | 75.0107
2019-02-06 22:45:00 | 4.946 | 4.0045 | 9.0527 | 39.5547 | 9.3083 | 3.2475 | 6.7517 | 171.339 | 26.46 | 968.56 | 96.9184 | 76.9066
2019-02-06 23:00:00 | 4.6907 | 4.0046 | 12.3763 | 62.0939 | 10.5867 | 3.272 | 6.2403 | 176.275 | 26.46 | 968.904 | 96.8178 | 76.439
2019-02-06 23:15:00 | 3.414 | 4.0046 | 11.6093 | 80.7751 | 11.3537 | 3.2721 | 8.797 | 193.736 | 26.46 | 969.104 | 96.7164 | 76.9747
2019-02-06 23:30:00 | 4.6907 | 4.0046 | 11.865 | 61.143 | 12.1207 | 3.2233 | 9.8197 | 191.93 | 26.46 | 969.19 | 96.6142 | 82.3877
2019-02-06 23:45:00 | 5.2013 | 4.0046 | 10.5867 | 52.0349 | 11.865 | 3.2477 | 8.797 | 186.802 | 26.46 | 969.473 | 96.5116 | 75.9808