## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-07 00:00:00 | 4.4353 | 4.0046 | 11.6093 | 61.5093 | 9.8197 | 3.2721 | 8.5413 | 178.28 | 26.46 | 970.094 | 96.3748 | 75.9402
2019-02-07 00:15:00 | 3.6693 | 4.0046 | 12.1207 | 68.957 | 10.5867 | 3.2721 | 4.7063 | 187.169 | 26.46 | 970.243 | 96.3406 | 77.7063
2019-02-07 00:30:00 | 2.648 | 4.0046 | 10.331 | 75.8186 | 9.3083 | 3.2477 | 2.9167 | 193.933 | 26.46 | 970.541 | 96.238 | 69.9638
2019-02-07 00:45:00 | 4.946 | 4.0046 | 10.0753 | 45.5151 | 11.6093 | 3.2477 | 4.195 | 181.064 | 26.46 | 970.839 | 96.1012 | 75.5485
2019-02-07 01:00:00 | 2.648 | 4.0046 | 10.5867 | 46.3698 | 9.3083 | 3.2477 | 4.195 | 175.521 | 26.46 | 970.839 | 95.9302 | 78.7076
2019-02-07 01:15:00 | 4.4353 | 4.0046 | 14.6773 | 66.5639 | 12.1207 | 3.2721 | 4.962 | 189.366 | 26.46 | 970.69 | 95.7592 | 82.6057
2019-02-07 01:30:00 | 2.9033 | 4.0047 | 9.3083 | 58.7996 | 10.8423 | 3.2477 | 4.4507 | 186.316 | 26.46 | 970.69 | 95.6233 | 82.7846
2019-02-07 01:45:00 | 7.7547 | 4.0048 | 13.9103 | 59.8519 | 12.1207 | 3.2478 | 5.9847 | 196.04 | 26.46 | 970.69 | 95.4209 | 81.8761
2019-02-07 02:00:00 | 4.4353 | 4.0052 | 11.098 | 69.7511 | 11.865 | 3.2481 | 6.2403 | 200.261 | 26.46 | 970.392 | 95.1572 | 71.2129
2019-02-07 02:15:00 | 4.6907 | 4.0053 | 12.3763 | 64.2097 | 10.331 | 3.2727 | 5.2177 | 197.751 | 26.46 | 970.69 | 94.8178 | 72.0447
2019-02-07 02:30:00 | 5.712 | 4.0053 | 12.3763 | 67.2137 | 11.3537 | 3.2727 | 6.2403 | 189.325 | 26.46 | 970.392 | 94.4074 | 72.0236
2019-02-07 02:45:00 | 4.946 | 4.0053 | 13.9103 | 69.9735 | 10.0753 | 3.2238 | 4.962 | 206.372 | 26.46 | 970.69 | 93.7233 | 71.7687
2019-02-07 03:00:00 | 4.4353 | 4.0053 | 11.865 | 69.3141 | 11.6093 | 3.2727 | 5.2177 | 201.805 | 26.46 | 970.987 | 92.5603 | 65.1992
2019-02-07 03:15:00 | 4.6907 | 4.0053 | 11.6093 | 66.1147 | 11.3537 | 3.2727 | 5.4733 | 201.659 | 26.46 | 971.285 | 91.2605 | 63.8987
2019-02-07 03:30:00 | 5.4567 | 4.0053 | 12.3763 | 74.394 | 10.8423 | 3.2727 | 5.9847 | 191.816 | 26.46 | 971.582 | 90.3369 | 61.6152
2019-02-07 03:45:00 | 4.4353 | 4.0542 | 12.8877 | 68.8012 | 8.03 | 3.2727 | 5.4733 | 211.526 | 26.46 | 971.88 | 89.2081 | 57.525
2019-02-07 04:00:00 | 4.6907 | 4.0542 | 14.166 | 90.1956 | 10.5867 | 3.2727 | 5.729 | 204.907 | 26.46 | 971.88 | 87.2242 | 59.2284
2019-02-07 04:15:00 | 5.4567 | 4.0542 | 12.1207 | 71.4145 | 7.5187 | 3.2482 | 4.4507 | 203.735 | 26.46 | 971.88 | 86.1296 | 60.3405
2019-02-07 04:30:00 | 3.1587 | 4.0542 | 11.6093 | 70.1445 | 2.4053 | 3.2727 | 4.7063 | 205.078 | 26.46 | 972.177 | 84.8982 | 60.4181
2019-02-07 04:45:00 | 5.2013 | 4.0542 | 11.6093 | 65.0157 | 9.8197 | 3.2727 | 3.9393 | 191.548 | 26.46 | 971.88 | 83.53 | 58.8932
2019-02-07 05:00:00 | 5.712 | 4.0542 | 10.0753 | 67.4335 | 6.7517 | 3.2482 | 3.9393 | 196.261 | 26.46 | 972.177 | 82.2986 | 60.8193
2019-02-07 05:15:00 | 3.6693 | 4.0542 | 9.0527 | 60.0334 | 6.2403 | 3.2727 | 4.195 | 198.02 | 26.46 | 972.177 | 81.6145 | 59.877
2019-02-07 05:30:00 | 6.2227 | 4.103 | 15.4443 | 82.9664 | 8.2857 | 3.2971 | 5.9847 | 203.955 | 26.46 | 972.475 | 80.9988 | 61.4199
2019-02-07 05:45:00 | 5.9673 | 4.103 | 11.098 | 76.0792 | 7.263 | 3.2727 | 4.962 | 189.399 | 26.46 | 972.773 | 81.1356 | 65.3164
2019-02-07 06:00:00 | 5.9673 | 4.103 | 13.6547 | 87.1916 | 8.03 | 3.2727 | 5.4733 | 193.233 | 26.46 | 972.177 | 80.5199 | 69.8663
2019-02-07 06:15:00 | 5.9673 | 4.103 | 12.1207 | 81.037 | 7.0073 | 3.2727 | 4.4507 | 205.615 | 26.46 | 972.326 | 80.5199 | 62.8977
2019-02-07 06:30:00 | 4.946 | 21.0036 | 12.8877 | 83.6258 | 7.263 | 3.2727 | 3.9393 | 194.967 | 26.46 | 972.773 | 79.5621 | 59.1597
2019-02-07 06:45:00 | 5.2013 | 36.7319 | 11.6093 | 72.0494 | 7.5187 | 3.2727 | 3.1723 | 216.435 | 26.46 | 972.475 | 79.1517 | 54.7281
2019-02-07 07:00:00 | 3.9247 | 5.4707 | 9.8197 | 75.4931 | 9.3083 | 3.2727 | 5.9847 | 203.955 | 26.46 | 972.922 | 79.2201 | 52.5535
2019-02-07 07:15:00 | 5.9673 | 22.3957 | 10.8423 | 60.1555 | 7.5187 | 3.2727 | 5.4733 | 195.871 | 26.46 | 973.07 | 79.4253 | 48.2842
2019-02-07 07:30:00 | 3.6693 | 4.274 | 8.797 | 68.9966 | 7.0073 | 3.2727 | 4.962 | 195.944 | 26.46 | 973.665 | 78.878 | 44.7287
2019-02-07 07:45:00 | 4.4353 | 16.5342 | 9.8197 | 70.12 | 8.03 | 3.2727 | 2.4053 | 185.54 | 26.46 | 973.665 | 79.0833 | 43.0597
2019-02-07 08:00:00 | 5.2013 | 13.6279 | 8.5413 | 66.5787 | 6.496 | 3.2727 | 5.729 | 181.095 | 26.46 | 974.261 | 81.6145 | 49.2264
2019-02-07 08:15:00 | 3.414 | 12.6754 | 9.8197 | 64.7959 | 7.0073 | 3.2727 | 4.4507 | 191.89 | 26.46 | 974.558 | 82.367 | 45.6248
2019-02-07 08:30:00 | 2.9033 | 11.1853 | 8.03 | 64.1826 | 5.729 | 3.2726 | 5.9847 | 190.858 | 26.46 | 975.302 | 80.2437 | 44.3344
2019-02-07 08:45:00 | 2.648 | 15.4332 | 8.797 | 69.4491 | 7.263 | 3.2722 | 4.4507 | 193.306 | 26.46 | 975.302 | 77.9103 | 41.5338
2019-02-07 09:00:00 | 2.1373 | 32.6965 | 8.797 | 86.343 | 5.9847 | 3.3209 | 5.729 | 211.929 | 26.46 | 975.6 | 75.171 | 44.401
2019-02-07 09:15:00 | 2.1373 | 5.6163 | 8.797 | 63.8535 | 7.5187 | 3.2721 | 5.729 | 192.028 | 26.46 | 975.73 | 73.0506 | 42.0917
2019-02-07 09:30:00 | 1.6267 | 22.2206 | 8.797 | 67.0265 | 6.496 | 3.272 | 5.4733 | 194.369 | 26.46 | 976.425 | 70.4503 | 30.331
2019-02-07 09:45:00 | 0 | 22.3887 | 6.7517 | 97.2658 | 6.2403 | 3.3205 | 4.4507 | 207.846 | 26.46 | 976.756 | 67.5006 | 27.6522
2019-02-07 10:00:00 | 2.1373 | 14.7949 | 8.797 | 76.3622 | 8.797 | 3.3204 | 0.37567 | 189.38 | 26.46 | 976.654 | 64.0099 | 28.8641
2019-02-07 10:15:00 | 1.6267 | 6.0538 | 7.263 | 63.7031 | 3.428 | 3.3198 | 5.9847 | 192.451 | 26.46 | 977.084 | 63.1798 | 25.0843
2019-02-07 10:30:00 | 0 | 10.1058 | 6.7517 | 79.5206 | 3.6837 | 3.3198 | 4.4507 | 193.354 | 26.46 | 977.233 | 59.8291 | 20.2367
2019-02-07 10:45:00 | 1.6267 | 6.0042 | 7.0073 | 64.6931 | 4.4507 | 3.3194 | 4.962 | 178.417 | 26.46 | 977.233 | 55.241 | 21.9289
2019-02-07 11:00:00 | 0.88267 | 266.148 | 3.6837 | 27.3966 | 2.9167 | 3.3192 | 3.1723 | 203.962 | 26.46 | 978.125 | 53.5293 | 25.875
2019-02-07 11:15:00 | 0 | 25.5288 | 5.2177 | 58.8805 | 1.6383 | 3.3192 | 1.007 | 204.401 | 26.46 | 978.125 | 48.6755 | 31.5986
2019-02-07 11:30:00 | 3.414 | 13.8626 | 7.7743 | 59.2217 | 6.7517 | 3.3192 | 2.1497 | 182.996 | 26.46 | 977.828 | 47.7181 | 41.8668
2019-02-07 11:45:00 | 0.62733 | 32.9725 | 7.0073 | 84.9457 | 10.8423 | 3.3192 | 3.428 | 202.081 | 26.46 | 977.53 | 48.4701 | 49.0069
2019-02-07 12:00:00 | 3.9247 | 353.254 | 10.331 | 46.7994 | 8.797 | 3.3192 | 3.9393 | 205.402 | 26.46 | 977.828 | 44.3343 | 61.8322
2019-02-07 12:15:00 | 4.4353 | 3.9049 | 10.0753 | 55.7301 | 11.6093 | 4.2466 | 4.195 | 185.799 | 26.46 | 977.233 | 44.299 | 60.8498
2019-02-07 12:30:00 | 4.4353 | 16.8402 | 12.3763 | 68.35 | 9.3083 | 355.499 | 5.729 | 200.179 | 26.46 | 977.233 | 41.839 | 53.9458
2019-02-07 12:45:00 | 3.9247 | 20.6963 | 10.0753 | 73.2308 | 6.7517 | 80.0516 | 4.4507 | 207.524 | 26.46 | 977.382 | 42.6592 | 57.7304
2019-02-07 13:00:00 | 0.88267 | 20.2567 | 7.7743 | 73.5469 | 4.195 | 334.138 | 3.6837 | 216.014 | 26.46 | 977.233 | 40.5735 | 45.1238
2019-02-07 13:15:00 | 3.1587 | 355.23 | 10.8423 | 62.1509 | 9.0527 | 347.713 | 2.1497 | 182.728 | 26.46 | 976.787 | 38.1131 | 41.6454
2019-02-07 13:30:00 | 1.882 | 26.3098 | 10.0753 | 88.8511 | 8.797 | 325.846 | 1.6383 | 186.999 | 26.46 | 977.233 | 37.7371 | 38.9141
2019-02-07 13:45:00 | 0 | 353.913 | 5.9847 | 61.077 | 9.564 | 328.091 | 0.37567 | 173.918 | 26.46 | 977.382 | 37.4637 | 42.0272
2019-02-07 14:00:00 | 0.62733 | 352.766 | 5.4733 | 65.4213 | 5.729 | 327.53 | 6.2403 | 177.53 | 26.46 | 977.53 | 38.831 | 32.0021
2019-02-07 14:15:00 | 2.648 | 0 | 8.797 | 60.6377 | 7.263 | 329.092 | 2.9167 | 184.974 | 26.46 | 977.233 | 36.9168 | 42.2986
2019-02-07 14:30:00 | 4.4353 | 0.87862 | 8.797 | 69.6191 | 7.7743 | 331.679 | 2.9167 | 178.457 | 26.46 | 976.936 | 38.6942 | 36.0501
2019-02-07 14:45:00 | 1.51 | 349.153 | 7.263 | 49.1424 | 5.729 | 331.703 | 4.7063 | 167.523 | 26.46 | 977.382 | 38.831 | 37.474
2019-02-07 15:00:00 | 2.276 | 3.0263 | 7.5187 | 72.133 | 8.2857 | 332.167 | 1.6383 | 168.402 | 26.46 | 976.936 | 39.583 | 38.6137
2019-02-07 15:15:00 | 0.99933 | 18.1825 | 6.7517 | 81.4073 | 5.2177 | 331.654 | 2.1497 | 198.665 | 26.46 | 977.233 | 39.8564 | 33.2425
2019-02-07 15:30:00 | 0 | 349.129 | 5.729 | 65.885 | 4.4507 | 332.118 | 5.2177 | 157.102 | 26.46 | 977.53 | 39.2411 | 33.574
2019-02-07 15:45:00 | 0 | 18.5974 | 8.03 | 63.7861 | 6.2403 | 333.021 | 0.37567 | 203.522 | 26.46 | 977.233 | 39.7197 | 31.2251
2019-02-07 16:00:00 | 2.0207 | 80.5889 | 8.5413 | 55.1463 | 9.0527 | 335.047 | 5.729 | 177.017 | 26.46 | 977.233 | 39.7197 | 31.3907
2019-02-07 16:15:00 | 4.6907 | 356.768 | 5.9847 | 88.4754 | 6.7517 | 334.507 | 4.7063 | 165.52 | 26.46 | 977.233 | 40.2721 | 33.2906
2019-02-07 16:30:00 | 1.882 | 4.882 | 7.7743 | 82.938 | 7.263 | 334.909 | 3.1723 | 180.465 | 26.46 | 976.787 | 40.547 | 35.1786
2019-02-07 16:45:00 | 7.7547 | 343.696 | 5.9847 | 69.1707 | 7.5187 | 335.446 | 4.4507 | 184.542 | 26.46 | 976.936 | 41.2649 | 31.5835
2019-02-07 17:00:00 | 13.8827 | 356.878 | 6.7517 | 55.0371 | 7.5187 | 335.861 | 13.399 | 187.227 | 26.46 | 976.936 | 41.8461 | 35.7847
2019-02-07 17:15:00 | 5.2013 | 19.3329 | 9.0527 | 77.0064 | 6.2403 | 335.495 | 5.4733 | 196.991 | 26.46 | 976.941 | 42.3248 | 33.7458
2019-02-07 17:30:00 | 9.0313 | 0.097654 | 7.7743 | 56.9026 | 6.7517 | 336.592 | 5.729 | 194.943 | 26.46 | 976.49 | 41.5782 | 37.9771
2019-02-07 17:45:00 | 0.62733 | 11.5724 | 9.564 | 68.917 | 9.3083 | 337.699 | 5.2177 | 191.384 | 26.46 | 976.247 | 41.1009 | 34.7674
2019-02-07 18:00:00 | 3.1587 | 356.529 | 7.0073 | 64.4018 | 7.0073 | 337.71 | 4.7063 | 191.073 | 26.46 | 976.464 | 40.6229 | 28.8789
2019-02-07 18:15:00 | 1.6267 | 2.4416 | 8.2857 | 66.14 | 5.4733 | 337.578 | 2.9167 | 166.128 | 26.46 | 976.189 | 41.7878 | 30.5268
2019-02-07 18:30:00 | 10.8187 | 15.1392 | 6.2403 | 58.5773 | 3.428 | 337.457 | 2.1497 | 207.334 | 26.46 | 976.333 | 43.5694 | 25.269
2019-02-07 18:45:00 | 3.414 | 7.3744 | 7.263 | 62.486 | 7.263 | 338.344 | 4.195 | 191.979 | 26.46 | 976.567 | 44.87 | 17.9274
2019-02-07 19:00:00 | 0 | 13.6256 | 6.2403 | 71.3256 | 2.661 | 336.977 | 4.7063 | 193.444 | 26.46 | 976.923 | 46.5116 | 11.72
2019-02-07 19:15:00 | 0 | 354.412 | 3.9393 | 36.8465 | 3.428 | 335.902 | 0.37567 | 194.226 | 26.46 | 976.939 | 47.9822 | 11.1547
2019-02-07 19:30:00 | 0 | 3.1012 | 4.7063 | 60.386 | 4.4507 | 337.172 | 4.4507 | 184.507 | 26.46 | 976.641 | 48.7688 | 16.8891
2019-02-07 19:45:00 | 0 | 6.4465 | 5.729 | 68.1756 | 3.428 | 337.074 | 3.428 | 184.507 | 26.46 | 976.641 | 51.6416 | 17.0628
2019-02-07 20:00:00 | 0 | 27.9349 | 5.729 | 73.7919 | 4.7063 | 337.465 | 5.9847 | 196.033 | 26.46 | 976.641 | 54.446 | 17.2217
2019-02-07 20:15:00 | 0 | 2.0512 | 4.195 | 56.8209 | 4.4507 | 338.027 | 3.9393 | 182.114 | 26.46 | 976.641 | 56.9767 | 18.4003
2019-02-07 20:30:00 | 0 | 182.969 | 6.2403 | 62.5107 | 4.7063 | 338.125 | 1.5183 | 170.955 | 26.46 | 977.236 | 56.0193 | 20.1591
2019-02-07 20:45:00 | 0 | 0.41512 | 6.496 | 55.9663 | 8.03 | 338.784 | 4.962 | 192.052 | 26.46 | 977.236 | 55.0616 | 21.9769
2019-02-07 21:00:00 | 3.1587 | 10.3536 | 7.0073 | 59.8498 | 4.4507 | 338.055 | 1.5183 | 185.779 | 26.46 | 976.939 | 56.4302 | 25.3134
2019-02-07 21:15:00 | 0 | 6.5198 | 6.2403 | 60.1908 | 5.2177 | 337.856 | 5.4733 | 192.761 | 26.46 | 977.236 | 56.7374 | 16.9667
2019-02-07 21:30:00 | 8.2653 | 5.9583 | 8.03 | 65.9563 | 7.0073 | 338.941 | 4.195 | 199.262 | 26.46 | 977.534 | 55.4738 | 24.9226
2019-02-07 21:45:00 | 3.1587 | 0.097678 | 7.7743 | 55.505 | 7.7743 | 338.747 | 3.428 | 191.18 | 26.46 | 977.236 | 43.7772 | 26.8985
2019-02-07 22:00:00 | 3.2973 | 4.8354 | 6.2403 | 58.7831 | 9.0527 | 340.411 | 5.9847 | 190.512 | 26.46 | 977.534 | 39.1972 | 29.943
2019-02-07 22:15:00 | 1.2547 | 11.8938 | 7.263 | 62.5726 | 9.0527 | 340.011 | 4.962 | 193.475 | 26.46 | 976.939 | 38.9598 | 31.5909
2019-02-07 22:30:00 | 6.6167 | 19.6115 | 7.263 | 64.0388 | 6.2403 | 339.281 | 10.331 | 199.852 | 26.46 | 977.534 | 39.1996 | 28.7422
2019-02-07 22:45:00 | 13.6273 | 9.2562 | 8.2857 | 66.0903 | 7.7743 | 340.234 | 16.2113 | 196.408 | 26.46 | 977.236 | 40.7046 | 22.7529
2019-02-07 23:00:00 | 0 | 354.13 | 6.496 | 42.4246 | 5.4733 | 339.574 | 4.4507 | 174.525 | 26.46 | 977.831 | 43.0306 | 26.5253
2019-02-07 23:15:00 | 8.5207 | 14.2141 | 7.263 | 61.0836 | 5.4733 | 339.574 | 1.5183 | 194.625 | 26.46 | 977.534 | 44.3988 | 24.0682
2019-02-07 23:30:00 | 4.946 | 17.5844 | 9.0527 | 75.1267 | 6.7517 | 340.576 | 1.894 | 201.122 | 26.46 | 977.236 | 45.2882 | 26.8689
2019-02-07 23:45:00 | 4.4353 | 12.7487 | 8.797 | 64.1609 | 7.263 | 342.358 | 4.4507 | 190.302 | 26.46 | 976.79 | 46.3827 | 25.6201