## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-08 00:00:00 | 0.62733 | 10.0379 | 7.0073 | 75.8118 | 4.7063 | 342.168 | 4.962 | 193.577 | 26.46 | 976.641 | 47.2385 | 17.9015
2019-02-08 00:15:00 | 0 | 7.791 | 4.962 | 67.6306 | 3.9393 | 341.974 | 5.729 | 176.898 | 26.46 | 977.236 | 47.273 | 11.7496
2019-02-08 00:30:00 | 0 | 16.0461 | 6.2403 | 71.3189 | 4.195 | 341.854 | 1.1427 | 189.965 | 26.46 | 977.236 | 47.3416 | 9.6029
2019-02-08 00:45:00 | 0 | 20.6135 | 5.9847 | 71.2952 | 4.7063 | 342.027 | 3.0523 | 205.891 | 26.46 | 976.939 | 48.0946 | 7.907
2019-02-08 01:00:00 | 0 | 20.6136 | 5.4733 | 69.4396 | 4.7063 | 341.932 | 2.661 | 206.185 | 26.46 | 976.344 | 49.0527 | 3.6616
2019-02-08 01:15:00 | 0 | 34.5364 | 4.195 | 82.7299 | 3.9393 | 341.823 | 0 | 221.824 | 26.46 | 976.046 | 50.0123 | 1.6553
2019-02-08 01:30:00 | 0 | 7.7182 | 3.1723 | 53.3713 | 3.1723 | 341.773 | 1.6383 | 195.787 | 26.46 | 976.641 | 50.97 | 1.5445
2019-02-08 01:45:00 | 0 | 34.6835 | 3.1723 | 84.9787 | 3.1723 | 341.706 | 0 | 219.923 | 26.46 | 975.897 | 51.3131 | 0.23647
2019-02-08 02:00:00 | 0 | 2.5891 | 3.428 | 52.2493 | 3.9393 | 341.731 | 4.962 | 191.004 | 26.46 | 976.492 | 52.7157 | 2.7453
2019-02-08 02:15:00 | 0 | 20.9566 | 4.7063 | 71.2026 | 3.6837 | 341.753 | 0.63133 | 205.755 | 26.46 | 975.897 | 52.2023 | 3.0224
2019-02-08 02:30:00 | 0 | 10.259 | 3.428 | 56.7223 | 4.195 | 341.672 | 0.63133 | 199.39 | 26.46 | 975.451 | 52.6153 | 1.6627
2019-02-08 02:45:00 | 0 | 20.7625 | 3.428 | 70.3536 | 3.428 | 341.678 | 0 | 204.645 | 26.46 | 975.451 | 53.9162 | 0.74266
2019-02-08 03:00:00 | 0 | 21.0069 | 3.1723 | 69.3527 | 2.9167 | 341.68 | 0 | 210.753 | 26.46 | 975.005 | 54.4639 | 0.77592
2019-02-08 03:15:00 | 0 | 23.7183 | 2.9167 | 74.3358 | 1.6383 | 341.582 | 0 | 224.676 | 26.46 | 974.707 | 55.0797 | 0.69833
2019-02-08 03:30:00 | 0 | 24.0357 | 4.195 | 77.2419 | 3.6837 | 341.629 | 0 | 216.394 | 26.46 | 974.409 | 55.832 | 0.17366
2019-02-08 03:45:00 | 14.6487 | 27.6987 | 3.428 | 80.3164 | 2.9167 | 341.667 | 0 | 220.149 | 26.46 | 974.409 | 56.2407 | -0.3621
2019-02-08 04:00:00 | 0 | 30.2632 | 0 | 90.9161 | 0 | 341.566 | 0 | 266.629 | 26.46 | 974.261 | 56.2402 | -0.3547
2019-02-08 04:15:00 | 0 | 113.668 | 1.6383 | 172.215 | 1.127 | 341.542 | 0 | 311.403 | 26.46 | 974.261 | 59.9307 | -0.39165
2019-02-08 04:30:00 | 0 | 117.083 | 1.3827 | 4.9113 | 1.3827 | 341.529 | 0 | 294.003 | 26.46 | 974.856 | 55.8237 | -0.3547
2019-02-08 04:45:00 | 0 | 9.3051 | 0 | 4.9601 | 0 | 341.528 | 0 | 290.778 | 26.46 | 974.856 | 56.576 | -0.39535
2019-02-08 05:00:00 | 0 | 36.9761 | 0.75133 | 5.5462 | 0 | 341.577 | 0 | 274.805 | 26.46 | 974.856 | 56.6444 | -0.35101
2019-02-08 05:15:00 | 0 | 36.8784 | 0.37567 | 15.2177 | 0 | 341.528 | 0 | 260.42 | 26.46 | 974.856 | 56.3708 | -0.36579
2019-02-08 05:30:00 | 0 | 311.684 | 1.3827 | 4.4716 | 1.6383 | 341.528 | 0 | 228.206 | 26.46 | 975.153 | 56.7129 | -0.36579
2019-02-08 05:45:00 | 0 | 295.083 | 2.4053 | 19.8535 | 2.9167 | 341.243 | 0 | 78.399 | 26.46 | 975.748 | 58.0825 | -0.37687
2019-02-08 06:00:00 | 0 | 14.0684 | 0 | 5.5408 | 0 | 341.405 | 0 | 258.582 | 26.46 | 974.856 | 58.1535 | -0.39535
2019-02-08 06:15:00 | 11.84 | 24.4012 | 2.661 | 73.5746 | 2.4053 | 341.373 | 0 | 216.631 | 26.46 | 974.558 | 57.4721 | -0.39904
2019-02-08 06:30:00 | 0 | 297.511 | 2.661 | 19.5115 | 2.9167 | 340.794 | 0 | 118.174 | 26.46 | 976.046 | 57.6444 | -0.38057
2019-02-08 06:45:00 | 0 | 276.217 | 0 | 334.871 | 1.127 | 340.801 | 0 | 83.5881 | 26.46 | 976.046 | 57.8851 | -0.46186
2019-02-08 07:00:00 | 0 | 29.3361 | 1.127 | 84.4716 | 1.3827 | 340.797 | 0 | 269.96 | 26.46 | 975.451 | 57.8159 | -0.39904
2019-02-08 07:15:00 | 0 | 102.935 | 2.1497 | 137.456 | 1.6383 | 340.854 | 0 | 292.928 | 26.46 | 975.005 | 58.091 | -0.42121
2019-02-08 07:30:00 | 0 | 120.228 | 2.661 | 172.629 | 2.4053 | 340.997 | 0 | 301.083 | 26.46 | 975.451 | 60.8272 | -0.3621
2019-02-08 07:45:00 | 0 | 122.835 | 2.661 | 173.937 | 2.4053 | 340.978 | 0 | 286.68 | 26.46 | 975.153 | 59.8661 | -0.25125
2019-02-08 08:00:00 | 0 | 147.076 | 2.4053 | 192.726 | 1.6383 | 340.752 | 0 | 314.156 | 26.46 | 975.451 | 59.1766 | 0.059118
2019-02-08 08:15:00 | 0 | 142.287 | 3.428 | 189.254 | 2.9167 | 340.161 | 0 | 322.991 | 26.46 | 975.748 | 58.3547 | -0.036948
2019-02-08 08:30:00 | 0 | 141.408 | 3.428 | 195.849 | 3.428 | 339.867 | 0 | 314.346 | 26.46 | 975.451 | 58.0127 | 0.27711
2019-02-08 08:45:00 | 0 | 141.595 | 1.6383 | 194.761 | 2.4053 | 177.836 | 0 | 328.321 | 26.46 | 976.046 | 56.8121 | -0.0073897
2019-02-08 09:00:00 | 0 | 151.838 | 3.428 | 203.069 | 3.6837 | 151.203 | 0 | 322.235 | 26.46 | 976.344 | 57.1831 | -0.23647
2019-02-08 09:15:00 | 0 | 213.47 | 1.3827 | 295.004 | 1.127 | 266.337 | 0 | 356.809 | 26.46 | 976.939 | 58.277 | -0.38057
2019-02-08 09:30:00 | 0 | 142.507 | 1.6383 | 202.795 | 1.6383 | 156.719 | 0 | 310.214 | 26.46 | 975.748 | 57.866 | -0.41013
2019-02-08 09:45:00 | 0 | 137.037 | 2.9167 | 196.471 | 3.6837 | 156.328 | 0 | 313.73 | 26.46 | 975.451 | 58.892 | -0.13671
2019-02-08 10:00:00 | 0 | 140.993 | 3.428 | 188.779 | 3.9393 | 170.222 | 0 | 326.721 | 26.46 | 975.897 | 59.7811 | -0.10715
2019-02-08 10:15:00 | 0 | 153.984 | 2.661 | 230.828 | 2.4053 | 175.374 | 0 | 345.499 | 26.46 | 976.641 | 59.9521 | -0.35101
2019-02-08 10:30:00 | 0 | 113.742 | 3.1723 | 166.949 | 2.4053 | 195.105 | 0 | 297.052 | 26.46 | 976.046 | 62.3119 | -0.46555
2019-02-08 10:45:00 | 0 | 138.649 | 2.4053 | 196.031 | 3.1723 | 195.202 | 0.37567 | 322.472 | 26.46 | 976.492 | 66.5185 | -0.38057
2019-02-08 11:00:00 | 0 | 142.605 | 2.4053 | 179.476 | 2.4053 | 195.373 | 0 | 314.78 | 26.46 | 975.891 | 67.7839 | -0.38057
2019-02-08 11:15:00 | 0 | 140.871 | 3.6837 | 201.477 | 2.9167 | 194.909 | 2.2853 | 315.415 | 26.46 | 975.45 | 70.8961 | -0.13301
2019-02-08 11:30:00 | 0 | 147.733 | 4.4507 | 203.626 | 4.195 | 194.714 | 1.774 | 343.179 | 26.46 | 975.434 | 70.2463 | -0.24386
2019-02-08 11:45:00 | 0 | 150.956 | 3.428 | 208.778 | 3.9393 | 194.47 | 4.195 | 324.401 | 26.46 | 975.451 | 72.3667 | -0.15149
2019-02-08 12:00:00 | 0 | 143.826 | 3.9393 | 190.171 | 4.195 | 193.347 | 1.774 | 320.861 | 26.46 | 975.451 | 74.6922 | -0.27711
2019-02-08 12:15:00 | 0 | 137.477 | 4.4507 | 187.314 | 4.195 | 193.347 | 0.63133 | 335.414 | 26.46 | 974.856 | 76.3338 | -0.051728
2019-02-08 12:30:00 | 0 | 139.797 | 4.962 | 190.342 | 4.4507 | 192.077 | 3.8193 | 325.94 | 26.46 | 974.558 | 75.684 | 2.1726
2019-02-08 12:45:00 | 0 | 137.184 | 3.428 | 182.845 | 3.1723 | 185.508 | 0 | 326.184 | 26.46 | 974.261 | 76.3338 | 0.65029
2019-02-08 13:00:00 | 0 | 138.551 | 4.195 | 187.924 | 4.195 | 185.533 | 5.729 | 316.123 | 26.46 | 974.261 | 77.7702 | 0.18844
2019-02-08 13:15:00 | 0 | 145.974 | 3.1723 | 192.979 | 3.428 | 183.774 | 1.774 | 329.725 | 26.46 | 973.814 | 78.1122 | -0.033254
2019-02-08 13:30:00 | 0 | 135.059 | 3.6837 | 184.701 | 4.4507 | 183.384 | 0.37567 | 320.861 | 26.46 | 973.963 | 78.7278 | -0.20322
2019-02-08 13:45:00 | 0 | 135.084 | 3.6837 | 181.991 | 3.9393 | 183.97 | 0 | 323.888 | 26.46 | 973.665 | 79.3434 | -0.32145
2019-02-08 14:00:00 | 0 | 133.619 | 2.9167 | 178.816 | 3.6837 | 183.872 | 0 | 307.577 | 26.46 | 973.368 | 80.3694 | -0.23278
2019-02-08 14:15:00 | 0 | 142.629 | 3.428 | 192.222 | 3.428 | 183.97 | 0.75133 | 322.228 | 26.46 | 973.368 | 80.301 | -0.36579
2019-02-08 14:30:00 | 0 | 130.64 | 3.1723 | 183.505 | 2.1497 | 184.263 | 0 | 300.007 | 26.46 | 973.368 | 80.7114 | -0.41382
2019-02-08 14:45:00 | 0 | 103.413 | 0.37567 | 140.577 | 1.127 | 184.361 | 0 | 285.624 | 26.46 | 972.773 | 80.7798 | -0.40274
2019-02-08 15:00:00 | 0 | 160.552 | 2.1497 | 205.286 | 2.4053 | 184.458 | 0 | 343.57 | 26.46 | 973.07 | 80.7114 | -0.36579
2019-02-08 15:15:00 | 0 | 160.333 | 2.1497 | 205.726 | 2.1497 | 184.458 | 6.7517 | 351.872 | 26.46 | 973.07 | 81.498 | -0.39904
2019-02-08 15:30:00 | 0 | 140.236 | 2.661 | 190.147 | 2.661 | 184.263 | 0 | 325.549 | 26.46 | 973.07 | 82.0794 | -0.38057
2019-02-08 15:45:00 | 0 | 128.735 | 2.661 | 185.849 | 2.661 | 184.067 | 0 | 308.48 | 26.46 | 972.754 | 82.4898 | -0.39165
2019-02-08 16:00:00 | 0 | 136.402 | 3.1723 | 194.542 | 3.6837 | 184.19 | 0 | 315.928 | 26.46 | 972.171 | 83.037 | -0.4323
2019-02-08 16:15:00 | 0 | 134.254 | 2.661 | 200.5 | 2.4053 | 184.263 | 0 | 326.306 | 26.46 | 972.475 | 82.2846 | -0.44338
2019-02-08 16:30:00 | 0 | 147.537 | 3.428 | 205.555 | 3.428 | 184.361 | 0 | 323.547 | 26.46 | 972.475 | 82.4214 | -0.39904
2019-02-08 16:45:00 | 0 | 147.855 | 2.9167 | 206.702 | 2.9167 | 184.483 | 0 | 325.183 | 26.46 | 972.475 | 83.2422 | -0.42491
2019-02-08 17:00:00 | 0 | 146.951 | 2.1497 | 205.994 | 1.127 | 184.556 | 0 | 316.929 | 26.46 | 972.475 | 83.379 | -0.40274
2019-02-08 17:15:00 | 0 | 151.835 | 2.1497 | 203.65 | 2.661 | 184.556 | 0 | 336.244 | 26.46 | 972.922 | 83.5842 | -0.40274
2019-02-08 17:30:00 | 0 | 148.661 | 1.6383 | 214.565 | 1.894 | 184.556 | 0 | 341.177 | 26.46 | 972.922 | 83.6184 | -0.42121
2019-02-08 17:45:00 | 0 | 152.201 | 1.894 | 198.547 | 1.3827 | 184.556 | 0 | 328.137 | 26.46 | 972.922 | 83.8578 | -0.42121
2019-02-08 18:00:00 | 0 | 152.131 | 1.6383 | 198.649 | 1.6383 | 184.633 | 0 | 327.241 | 26.46 | 973.07 | 84.1333 | -0.39165
2019-02-08 18:15:00 | 0 | 164.744 | 1.6383 | 210.241 | 1.894 | 184.574 | 0 | 342.455 | 26.46 | 972.922 | 84.413 | -0.41013
2019-02-08 18:30:00 | 13.1167 | 154.192 | 2.1497 | 201.52 | 2.1497 | 184.572 | 3.6837 | 336.811 | 26.46 | 972.922 | 84.4807 | -0.4286
2019-02-08 18:45:00 | 0 | 145.114 | 2.4053 | 193.983 | 2.661 | 184.58 | 0 | 328.912 | 26.46 | 973.07 | 84.5869 | -0.41752
2019-02-08 19:00:00 | 0 | 158.158 | 2.4053 | 208.885 | 2.4053 | 184.583 | 0 | 342.204 | 26.46 | 973.07 | 84.6225 | -0.46925
2019-02-08 19:15:00 | 0 | 155.154 | 3.6837 | 204.537 | 2.661 | 184.583 | 0 | 337.099 | 26.46 | 973.07 | 84.6908 | -0.45816
2019-02-08 19:30:00 | 0 | 139.306 | 3.1723 | 199.069 | 2.9167 | 184.487 | 0 | 321.79 | 26.46 | 972.773 | 84.6918 | -0.4286
2019-02-08 19:45:00 | 0 | 147.659 | 3.9393 | 197.043 | 3.6837 | 184.292 | 0 | 328.165 | 26.46 | 972.773 | 84.7605 | -0.29928
2019-02-08 20:00:00 | 0 | 154.96 | 3.1723 | 205.736 | 2.661 | 184.585 | 0 | 332.267 | 26.46 | 973.665 | 84.897 | -0.48402
2019-02-08 20:15:00 | 0 | 170.439 | 2.1497 | 205.607 | 1.3827 | 184.677 | 0 | 343.955 | 26.46 | 973.963 | 85.51 | -0.45077
2019-02-08 20:30:00 | 0.62733 | 161.816 | 2.1497 | 205.019 | 1.894 | 184.577 | 1.894 | 342.876 | 26.46 | 973.814 | 85.9879 | -0.4323
2019-02-08 20:45:00 | 0 | 145.117 | 1.127 | 217.042 | 0 | 184.583 | 0 | 43.8134 | 26.46 | 973.963 | 86.4695 | -0.42121
2019-02-08 21:00:00 | 0 | 191.709 | 2.1497 | 233.789 | 1.894 | 184.676 | 0 | 51.505 | 26.46 | 974.261 | 87.4934 | -0.41013
2019-02-08 21:15:00 | 0 | 206.751 | 0.75133 | 257.72 | 1.3827 | 200.011 | 0 | 36.1925 | 26.46 | 974.409 | 88.3821 | -0.43969
2019-02-08 21:30:00 | 0 | 230.379 | 1.894 | 277.046 | 2.1497 | 230.379 | 0 | 52.2345 | 26.46 | 975.153 | 89.3351 | -0.41013
2019-02-08 21:45:00 | 0 | 226.025 | 0 | 277.361 | 0 | 230.591 | 0 | 50.5533 | 26.46 | 975.005 | 89.5469 | -0.42121
2019-02-08 22:00:00 | 0 | 246.518 | 1.127 | 326.356 | 2.1497 | 265.909 | 0 | 52.4834 | 26.46 | 975.451 | 88.7957 | -0.41382
2019-02-08 22:15:00 | 0 | 246.523 | 1.3827 | 4.7602 | 1.894 | 266.013 | 0 | 52.5334 | 26.46 | 975.302 | 86.8137 | -0.40643
2019-02-08 22:30:00 | 16.1807 | 329.899 | 2.4053 | 20.7611 | 2.1497 | 273.239 | 9.564 | 134.446 | 26.46 | 975.748 | 84.7262 | -0.48402
2019-02-08 22:45:00 | 0 | 339.672 | 2.1497 | 48.9943 | 1.3827 | 298.324 | 0 | 151.812 | 26.46 | 975.748 | 84.7614 | -0.33993
2019-02-08 23:00:00 | 3.414 | 353.935 | 3.6837 | 42.4735 | 2.1497 | 301.499 | 3.1723 | 163.095 | 26.46 | 976.046 | 85.1377 | -0.1404
2019-02-08 23:15:00 | 0 | 336.595 | 2.9167 | 38.3949 | 3.1723 | 302.842 | 0 | 152.52 | 26.46 | 976.046 | 84.6246 | 1.0346
2019-02-08 23:30:00 | 3.6693 | 342.114 | 2.661 | 43.5725 | 2.661 | 302.745 | 1.2627 | 151.226 | 26.46 | 976.195 | 84.0773 | 0.53206
2019-02-08 23:45:00 | 0 | 352.323 | 3.9393 | 44.7936 | 2.9167 | 302.549 | 0 | 160.873 | 26.46 | 976.046 | 84.0089 | 0.52836