## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-09 00:00:00 | 1.138 | 350.76 | 4.7063 | 52.3158 | 4.4507 | 303.648 | 2.2853 | 161.361 | 26.46 | 975.897 | 84.0089 | 0.66877
2019-02-09 00:15:00 | 0.372 | 47.0627 | 4.195 | 59.5938 | 3.6837 | 303.966 | 2.661 | 164.756 | 26.46 | 976.046 | 83.3932 | 2.1319
2019-02-09 00:30:00 | 0 | 355.498 | 4.7063 | 40.3243 | 5.2177 | 304.405 | 4.7063 | 171.497 | 26.46 | 976.046 | 82.8117 | 4.6149
2019-02-09 00:45:00 | 0 | 349.636 | 5.2177 | 37.5645 | 3.9393 | 304.943 | 5.2177 | 173.89 | 26.46 | 976.195 | 80.6909 | 5.8009
2019-02-09 01:00:00 | 1.882 | 0.61057 | 4.4507 | 60.18 | 4.195 | 304.405 | 5.9847 | 177.871 | 26.46 | 976.344 | 76.4152 | 5.1247
2019-02-09 01:15:00 | 0 | 350.149 | 3.9393 | 60.0579 | 4.195 | 304.405 | 4.7063 | 179.336 | 26.46 | 976.195 | 72.5842 | 5.5423
2019-02-09 01:30:00 | 0.62733 | 9.4028 | 4.195 | 59.2275 | 4.7063 | 304.699 | 4.4507 | 191.255 | 26.46 | 976.046 | 68.0007 | 5.7233
2019-02-09 01:45:00 | 0.372 | 50.5063 | 6.2403 | 58.6413 | 2.4053 | 304.405 | 2.4053 | 177.993 | 26.46 | 976.641 | 68.5822 | 4.1973
2019-02-09 02:00:00 | 4.6907 | 1.0502 | 4.962 | 42.9375 | 4.7063 | 304.625 | 5.2177 | 190.4 | 26.46 | 976.641 | 67.2481 | 7.4414
2019-02-09 02:15:00 | 0.744 | 51.7285 | 5.2177 | 47.9211 | 4.4507 | 304.876 | 5.2177 | 185.544 | 26.46 | 976.641 | 63.9657 | 11.6646
2019-02-09 02:30:00 | 4.946 | 2.6868 | 4.7063 | 44.8744 | 6.2403 | 305.222 | 2.0297 | 184.34 | 26.46 | 975.748 | 66.2981 | 15.6107
2019-02-09 02:45:00 | 0 | 3.9815 | 4.962 | 59.2645 | 6.496 | 305.284 | 2.2853 | 186.791 | 26.46 | 975.451 | 66.9167 | 22.2393
2019-02-09 03:00:00 | 4.18 | 9.5754 | 7.263 | 65.1035 | 4.7063 | 304.995 | 4.4507 | 190.994 | 26.46 | 975.451 | 68.6965 | 24.035
2019-02-09 03:15:00 | 5.712 | 12.0913 | 8.5413 | 66.0562 | 5.4733 | 305.337 | 3.6837 | 193.193 | 26.46 | 975.451 | 70.3387 | 30.0132
2019-02-09 03:30:00 | 5.712 | 5.4228 | 8.5413 | 59.412 | 4.7063 | 305.435 | 0.37567 | 188.185 | 26.46 | 975.451 | 70.4755 | 30.3384
2019-02-09 03:45:00 | 2.1373 | 10.8211 | 8.2857 | 62.8807 | 5.9847 | 305.826 | 2.4053 | 191.752 | 26.46 | 975.6 | 68.0807 | 35.0973
2019-02-09 04:00:00 | 9.0313 | 11.1631 | 5.9847 | 59.241 | 4.962 | 305.484 | 7.263 | 192.069 | 26.46 | 975.748 | 65.3438 | 33.6453
2019-02-09 04:15:00 | 5.712 | 356.243 | 8.2857 | 61.5616 | 7.5187 | 306.29 | 3.1723 | 189.993 | 26.46 | 975.748 | 63.1543 | 39.9117
2019-02-09 04:30:00 | 3.5527 | 13.2638 | 9.3083 | 65.9096 | 7.263 | 306.485 | 4.4507 | 195.538 | 26.46 | 975.748 | 60.999 | 37.8057
2019-02-09 04:45:00 | 7.244 | 8.6716 | 9.3083 | 68.1813 | 8.5413 | 307.193 | 3.428 | 196.93 | 26.46 | 975.897 | 58.4331 | 34.0074
2019-02-09 05:00:00 | 9.542 | 13.5814 | 8.797 | 71.2835 | 6.2403 | 306.558 | 1.6383 | 195.953 | 26.46 | 976.046 | 57.1331 | 22.8341
2019-02-09 05:15:00 | 6.478 | 10.7234 | 8.03 | 63.8089 | 5.2177 | 306.656 | 4.7063 | 196.173 | 26.46 | 976.641 | 55.6962 | 22.945
2019-02-09 05:30:00 | 5.712 | 13.1906 | 9.3083 | 69.0607 | 8.2857 | 307.56 | 3.428 | 195.44 | 26.46 | 976.641 | 54.9435 | 27.6707
2019-02-09 05:45:00 | 15.67 | 8.4517 | 8.03 | 60.7067 | 8.797 | 307.413 | 1.774 | 195.074 | 26.46 | 976.939 | 53.4725 | 26.3036
2019-02-09 06:00:00 | 7.244 | 12.8974 | 9.564 | 65.2012 | 9.0527 | 307.487 | 4.4507 | 195.44 | 26.46 | 977.534 | 50.1539 | 25.5499
2019-02-09 06:15:00 | 4.946 | 8.8914 | 9.8197 | 63.4425 | 9.0527 | 307.853 | 4.962 | 193.974 | 26.46 | 977.534 | 51.1803 | 26.5955
2019-02-09 06:30:00 | 8.2653 | 6.1067 | 8.797 | 64.4194 | 5.4733 | 307.29 | 4.195 | 186.768 | 26.46 | 978.129 | 49.6065 | 21.8402
2019-02-09 06:45:00 | 0.99933 | 11.6517 | 5.9847 | 65.4943 | 6.2403 | 306.998 | 0.63133 | 195.123 | 26.46 | 979.022 | 47.896 | 20.0519
2019-02-09 07:00:00 | 10.5633 | 10.1128 | 7.263 | 63.76 | 6.496 | 307.315 | 5.9847 | 188.136 | 26.46 | 978.427 | 48.5802 | 27.9848
2019-02-09 07:15:00 | 2.648 | 0.097706 | 5.4733 | 61.0717 | 4.195 | 306.822 | 4.195 | 195.168 | 26.46 | 978.873 | 51.0084 | 33.6046
2019-02-09 07:30:00 | 1.2547 | 9.6486 | 4.4507 | 36.5969 | 7.263 | 307.289 | 0.75133 | 202.23 | 26.46 | 979.319 | 47.4852 | 27.7003
2019-02-09 07:45:00 | 0 | 1.5144 | 4.962 | 59.7525 | 6.7517 | 307.237 | 0.37567 | 196.609 | 26.46 | 979.022 | 53.7109 | 27.3825
2019-02-09 08:00:00 | 4.574 | 4.348 | 6.7517 | 64.102 | 5.2177 | 307.291 | 6.2403 | 188.6 | 26.46 | 979.022 | 59.7331 | 34.0317
2019-02-09 08:15:00 | 0 | 21.9107 | 7.5187 | 66.3971 | 5.2177 | 307.19 | 1.5183 | 179.316 | 26.46 | 979.617 | 54.635 | 28.624
2019-02-09 08:30:00 | 5.4567 | 9.9661 | 6.496 | 67.3252 | 5.729 | 307.287 | 2.661 | 187.474 | 26.46 | 979.915 | 50.1533 | 24.2862
2019-02-09 08:45:00 | 14.3933 | 65.2134 | 6.496 | 49.3656 | 7.5187 | 307.651 | 6.2403 | 181.987 | 26.46 | 980.212 | 53.7065 | 31.2288
2019-02-09 09:00:00 | 9.0313 | 356.728 | 7.7743 | 45.0639 | 5.2177 | 307.588 | 0.887 | 178.413 | 26.46 | 980.51 | 56.9195 | 28.4171
2019-02-09 09:15:00 | 2.648 | 13.6279 | 9.3083 | 67.7511 | 5.729 | 307.019 | 1.2627 | 198.948 | 26.46 | 980.212 | 52.3003 | 35.0234
2019-02-09 09:30:00 | 4.18 | 11.4299 | 9.8197 | 62.2071 | 9.0527 | 308.631 | 5.9847 | 197.287 | 26.46 | 980.212 | 45.9039 | 37.243
2019-02-09 09:45:00 | 0 | 0.097691 | 6.7517 | 70.1689 | 6.2403 | 308.069 | 5.9847 | 185.32 | 26.46 | 980.51 | 42.757 | 35.5703
2019-02-09 10:00:00 | 0 | 9.7443 | 6.496 | 68.9439 | 4.962 | 308.104 | 4.962 | 186.264 | 26.46 | 981.402 | 36.872 | 28.2232
2019-02-09 10:15:00 | 2.276 | 8.107 | 7.0073 | 63.585 | 7.263 | 308.407 | 5.9847 | 186.607 | 26.46 | 981.7 | 36.0466 | 29.0267
2019-02-09 10:30:00 | 2.1593 | 13.5994 | 8.2857 | 73.1451 | 7.263 | 308.978 | 2.4053 | 193.175 | 26.46 | 981.017 | 31.6307 | 30.7079
2019-02-09 10:45:00 | 2.1373 | 11.6939 | 9.8197 | 66.1788 | 9.564 | 309.731 | 3.6837 | 191.742 | 26.46 | 980.819 | 31.2517 | 39.718
2019-02-09 11:00:00 | 0.62733 | 6.127 | 10.0753 | 63.7032 | 7.0073 | 309.035 | 0.75133 | 188.18 | 26.46 | 980.683 | 30.154 | 41.4562
2019-02-09 11:15:00 | 0 | 22.6039 | 9.0527 | 75.1512 | 3.6837 | 323.607 | 1.5183 | 198.87 | 26.46 | 980.802 | 29.265 | 30.549
2019-02-09 11:30:00 | 7.4993 | 23.2874 | 8.5413 | 71.0747 | 1.6383 | 323.875 | 3.428 | 207.658 | 26.46 | 981.099 | 30.0855 | 28.672
2019-02-09 11:45:00 | 3.1587 | 15.0342 | 9.0527 | 79.0404 | 2.9167 | 324.114 | 5.2177 | 203.523 | 26.46 | 981.396 | 29.2601 | 27.8924
2019-02-09 12:00:00 | 5.2013 | 5.6378 | 10.331 | 75.4034 | 2.9167 | 324.21 | 2.9167 | 179.629 | 26.46 | 981.099 | 30.4222 | 30.0169
2019-02-09 12:15:00 | 2.3927 | 356.915 | 7.5187 | 64.1034 | 8.2857 | 324.943 | 1.2627 | 180.385 | 26.46 | 981.099 | 28.9523 | 36.927
2019-02-09 12:30:00 | 1.6267 | 349.369 | 7.0073 | 44.285 | 8.03 | 325.427 | 3.9393 | 179.334 | 26.46 | 981.099 | 27.9607 | 43.7918
2019-02-09 12:45:00 | 6.7333 | 10.8606 | 12.1207 | 75.2319 | 7.5187 | 325.819 | 4.962 | 191.049 | 26.46 | 980.802 | 30.0118 | 51.999
2019-02-09 13:00:00 | 1.2547 | 24.6745 | 7.5187 | 87.2647 | 7.263 | 326.675 | 4.962 | 166.303 | 26.46 | 980.802 | 29.26 | 56.7549
2019-02-09 13:15:00 | 7.7547 | 17.7676 | 12.1207 | 81.8954 | 5.729 | 326.919 | 4.7063 | 155.101 | 26.46 | 980.802 | 30.764 | 56.2023
2019-02-09 13:30:00 | 7.244 | 356.109 | 9.3083 | 69.3749 | 5.2177 | 328.798 | 2.661 | 170.159 | 26.46 | 980.504 | 32.2679 | 55.2183
2019-02-09 13:45:00 | 0 | 132.012 | 8.03 | 48.3858 | 7.5187 | 331.068 | 2.661 | 182.411 | 26.46 | 980.802 | 29.0207 | 45.1684
2019-02-09 14:00:00 | 5.9673 | 19.0611 | 5.9847 | 70.7662 | 7.0073 | 330.165 | 5.9847 | 207.623 | 26.46 | 980.95 | 32.6098 | 34.9954
2019-02-09 14:15:00 | 11.074 | 18.451 | 7.5187 | 80.7971 | 6.7517 | 331.63 | 5.2177 | 180.849 | 26.46 | 980.802 | 31.1058 | 26.3823
2019-02-09 14:30:00 | 0 | 9.0058 | 4.962 | 91.9263 | 5.4733 | 330.019 | 4.962 | 180.312 | 26.46 | 980.802 | 31.8578 | 21.6418
2019-02-09 14:45:00 | 8.2653 | 26.7979 | 4.962 | 80.8459 | 5.4733 | 330.385 | 5.2177 | 179.287 | 26.46 | 980.504 | 30.4905 | 21.5705
2019-02-09 15:00:00 | 0 | 336.999 | 5.9847 | 6.0413 | 6.2403 | 330.239 | 0.37567 | 166.718 | 26.46 | 980.802 | 31.1742 | 21.0569
2019-02-09 15:15:00 | 0.744 | 13.2769 | 7.5187 | 78.0636 | 7.263 | 330.239 | 4.195 | 192.271 | 26.46 | 980.504 | 30.4905 | 13.4155
2019-02-09 15:30:00 | 0 | 338.177 | 3.1723 | 63.3788 | 5.2177 | 329.903 | 2.9167 | 161.607 | 26.46 | 980.802 | 29.3994 | 11.757
2019-02-09 15:45:00 | 0 | 15.2553 | 5.2177 | 62.818 | 4.962 | 330.515 | 0.37567 | 178.939 | 26.46 | 980.802 | 28.7159 | 12.1191
2019-02-09 16:00:00 | 0.372 | 38.0496 | 3.6837 | 101.642 | 5.9847 | 330.951 | 0.63133 | 155.274 | 26.46 | 980.504 | 28.0982 | 18.1454
2019-02-09 16:15:00 | 3.042 | 353.772 | 6.496 | 47.191 | 4.7063 | 330.732 | 5.729 | 177.484 | 26.46 | 980.058 | 28.3717 | 17.2549
2019-02-09 16:30:00 | 0 | 19.6738 | 5.2177 | 85.887 | 3.1723 | 329.475 | 1.894 | 187.023 | 26.46 | 979.909 | 28.2381 | 19.7194
2019-02-09 16:45:00 | 0 | 8.0066 | 6.2403 | 68.9754 | 3.428 | 330.417 | 4.4507 | 176.608 | 26.46 | 979.612 | 27.6239 | 24.8294
2019-02-09 17:00:00 | 0 | 346.748 | 7.5187 | 62.3358 | 4.4507 | 331.638 | 2.7967 | 179.074 | 26.46 | 979.463 | 28.1026 | 18.7957
2019-02-09 17:15:00 | 0.62733 | 349.897 | 3.428 | 41.343 | 5.729 | 330.49 | 4.7063 | 168.211 | 26.46 | 979.463 | 28.8547 | 13.1906
2019-02-09 17:30:00 | 0 | 7.4695 | 4.4507 | 77.9828 | 4.7063 | 329.978 | 3.1723 | 159.667 | 26.46 | 979.473 | 28.547 | 15.6366
2019-02-09 17:45:00 | 0 | 6.2002 | 3.9393 | 70.2448 | 5.729 | 330.466 | 0 | 180.148 | 26.46 | 979.017 | 29.0598 | 14.6759
2019-02-09 18:00:00 | 0 | 353.744 | 5.729 | 63.0041 | 5.4733 | 331.015 | 3.1723 | 175.749 | 26.46 | 979.166 | 29.8837 | 19.3351
2019-02-09 18:15:00 | 8.5207 | 3.9063 | 4.4507 | 65.3519 | 6.2403 | 331.227 | 3.428 | 165.552 | 26.46 | 979.168 | 31.0477 | 19.9226
2019-02-09 18:30:00 | 6.2227 | 178.592 | 7.263 | 63.7903 | 5.9847 | 331.548 | 6.496 | 175.247 | 26.46 | 979.624 | 31.3216 | 18.1971
2019-02-09 18:45:00 | 1.882 | 355.938 | 5.4733 | 44.2344 | 6.2403 | 331.304 | 2.2853 | 170.193 | 26.46 | 979.981 | 32.4158 | 16.8817
2019-02-09 19:00:00 | 12.8613 | 346.123 | 6.496 | 37.3983 | 6.2403 | 331.499 | 10.5867 | 169.924 | 26.46 | 980.041 | 33.7152 | 20.1997
2019-02-09 19:15:00 | 15.1593 | 16.2112 | 5.729 | 80.7829 | 4.4507 | 331.206 | 4.962 | 168.216 | 26.46 | 980.188 | 34.8094 | 15.6366
2019-02-09 19:30:00 | 0 | 356.65 | 6.496 | 74.5337 | 5.729 | 331.454 | 1.774 | 165.8 | 26.46 | 980.136 | 35.3911 | 17.5542
2019-02-09 19:45:00 | 0 | 1.5626 | 5.2177 | 84.5212 | 4.4507 | 331.069 | 4.195 | 191.317 | 26.46 | 980.235 | 36.3492 | 17.9976
2019-02-09 20:00:00 | 0 | 0.70807 | 4.7063 | 56.0325 | 4.962 | 331.599 | 3.1723 | 161.88 | 26.46 | 980.442 | 36.9323 | 15.7511
2019-02-09 20:15:00 | 0 | 350.608 | 4.7063 | 53.3252 | 6.2403 | 331.367 | 3.1723 | 177.245 | 26.46 | 979.928 | 37.2073 | 16.4716
2019-02-09 20:30:00 | 0 | 13.2102 | 6.496 | 62.4841 | 6.2403 | 331.475 | 0.37567 | 188.068 | 26.46 | 979.962 | 37.2768 | 16.6527
2019-02-09 20:45:00 | 0 | 5.8116 | 5.4733 | 58.286 | 5.729 | 331.409 | 5.729 | 188.78 | 26.46 | 979.866 | 37.6197 | 13.0982
2019-02-09 21:00:00 | 0 | 3.9558 | 5.729 | 61.0698 | 4.7063 | 331.507 | 2.4053 | 172.615 | 26.46 | 979.779 | 37.8933 | 12.2521
2019-02-09 21:15:00 | 0 | 10.5488 | 5.729 | 59.7999 | 3.428 | 331.116 | 4.4507 | 197.131 | 26.46 | 979.825 | 38.4747 | 7.5892
2019-02-09 21:30:00 | 0 | 0.68372 | 3.9393 | 56.5279 | 2.9167 | 330.726 | 4.4507 | 190.416 | 26.46 | 979.807 | 39.0561 | 4.1382
2019-02-09 21:45:00 | 0 | 80.9477 | 5.2177 | 63.6581 | 3.1723 | 330.433 | 0.75133 | 185.02 | 26.46 | 980.123 | 39.8085 | 5.4905
2019-02-09 22:00:00 | 0 | 2.3686 | 4.7063 | 45.6372 | 4.195 | 330.53 | 4.4507 | 179.965 | 26.46 | 980.142 | 40.9712 | 5.8489
2019-02-09 22:15:00 | 0 | 356.902 | 3.6837 | 51.0581 | 3.1723 | 330.433 | 3.6837 | 183.188 | 26.46 | 980.007 | 42.2025 | 3.5951
2019-02-09 22:30:00 | 0 | 1.1965 | 3.1723 | 51.986 | 3.9393 | 330.359 | 0 | 184.922 | 26.46 | 980.197 | 43.0233 | 3.0335
2019-02-09 22:45:00 | 0 | 0.097674 | 4.195 | 46.1256 | 3.428 | 330.335 | 2.661 | 187.315 | 26.46 | 980.063 | 44.528 | 1.7957
2019-02-09 23:00:00 | 0 | 0.097674 | 3.9393 | 49.007 | 3.6837 | 330.335 | 0 | 191.906 | 26.46 | 979.915 | 47.3324 | 1.4927
2019-02-09 23:15:00 | 11.074 | 23.393 | 3.1723 | 67.7605 | 2.9167 | 330.237 | 0 | 211.001 | 26.46 | 980.063 | 50.2736 | 0.43599
2019-02-09 23:30:00 | 0 | 19.193 | 2.661 | 64.1465 | 2.1497 | 330.237 | 0 | 204.799 | 26.46 | 980.212 | 50.4788 | 0.47663
2019-02-09 23:45:00 | 0 | 9.8651 | 2.661 | 56.2837 | 1.894 | 330.237 | 0 | 197.424 | 26.46 | 980.063 | 50.5472 | 1.8031