## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-10 00:00:00 | 0 | 0.097674 | 3.6837 | 42.6581 | 3.428 | 330.262 | 0 | 185.459 | 26.46 | 979.766 | 53.2832 | 2.6381
2019-02-10 00:15:00 | 0 | 356.902 | 3.9393 | 41.3884 | 3.6837 | 330.237 | 0 | 183.286 | 26.46 | 979.915 | 54.5144 | 2.4571
2019-02-10 00:30:00 | 0 | 0.097674 | 3.1723 | 47.3465 | 2.4053 | 330.237 | 1.3827 | 181.821 | 26.46 | 980.063 | 54.2066 | 2.1098
2019-02-10 00:45:00 | 1.138 | 4.7861 | 3.6837 | 61.3628 | 3.428 | 330.237 | 3.428 | 191.002 | 26.46 | 980.212 | 53.762 | 1.3486
2019-02-10 01:00:00 | 0 | 64.4895 | 3.9393 | 45.8326 | 2.661 | 330.213 | 0.37567 | 183.555 | 26.46 | 979.915 | 54.2408 | 1.6553
2019-02-10 01:15:00 | 0.88267 | 352.483 | 3.6837 | 39.0686 | 2.661 | 330.237 | 3.428 | 177.914 | 26.46 | 979.617 | 54.5486 | 2.3093
2019-02-10 01:30:00 | 0 | 4.2977 | 2.9167 | 34.1116 | 1.894 | 330.115 | 0 | 183.31 | 26.46 | 979.617 | 54.9248 | 2.1319
2019-02-10 01:45:00 | 0 | 354.558 | 3.6837 | 43.6837 | 4.195 | 330.14 | 3.9393 | 187.34 | 26.46 | 979.617 | 54.6512 | 2.361
2019-02-10 02:00:00 | 0 | 5.0791 | 3.428 | 54.7698 | 2.661 | 330.213 | 0 | 198.426 | 26.46 | 979.319 | 54.8564 | 1.877
2019-02-10 02:15:00 | 0 | 11.5256 | 3.428 | 55.2093 | 2.1497 | 330.042 | 0 | 201.527 | 26.46 | 979.319 | 54.9932 | 1.3301
2019-02-10 02:30:00 | 0 | 35.1636 | 2.4053 | 80.3628 | 2.1497 | 330.099 | 0 | 201.336 | 26.46 | 979.319 | 55.1313 | -0.022169
2019-02-10 02:45:00 | 0 | 14.163 | 2.9167 | 83.585 | 2.4053 | 330.144 | 0 | 191.176 | 26.46 | 979.022 | 54.5493 | -0.13301
2019-02-10 03:00:00 | 0.372 | 34.6766 | 2.4053 | 71.3069 | 2.4053 | 330.16 | 0 | 200.196 | 26.46 | 979.022 | 56.1253 | -0.12193
2019-02-10 03:15:00 | 0 | 23.443 | 2.661 | 66.1531 | 2.9167 | 330.156 | 0 | 218.948 | 26.46 | 978.724 | 56.5691 | -0.11084
2019-02-10 03:30:00 | 0 | 16.2158 | 1.894 | 61.1277 | 2.661 | 330.103 | 0 | 213.638 | 26.46 | 978.427 | 56.9831 | -0.066507
2019-02-10 03:45:00 | 0 | 11.0877 | 2.1497 | 49.7011 | 1.6383 | 330.14 | 0 | 217.358 | 26.46 | 978.724 | 57.3273 | -0.081287
2019-02-10 04:00:00 | 9.0313 | 35.0707 | 2.1497 | 62.3039 | 1.894 | 330.095 | 0 | 222.733 | 26.46 | 978.724 | 57.3279 | -0.23278
2019-02-10 04:15:00 | 0 | 31.9449 | 2.4053 | 63.2814 | 2.4053 | 330.097 | 0 | 222.442 | 26.46 | 978.575 | 57.8073 | -0.25125
2019-02-10 04:30:00 | 0 | 125.017 | 1.007 | 80.18 | 1.127 | 330.091 | 0 | 303.593 | 26.46 | 979.022 | 57.3957 | -0.3547
2019-02-10 04:45:00 | 0 | 135.155 | 1.3827 | 134.18 | 0.75133 | 330.097 | 0 | 310.266 | 26.46 | 979.022 | 53.9077 | -0.33623
2019-02-10 05:00:00 | 0 | 135.246 | 0.75133 | 134.783 | 0.75133 | 330.08 | 0 | 338.456 | 26.46 | 979.171 | 55.8887 | -0.33623
2019-02-10 05:15:00 | 0 | 135.146 | 1.3827 | 134.976 | 0.75133 | 330.074 | 0 | 321.673 | 26.46 | 979.022 | 57.8032 | -0.38057
2019-02-10 05:30:00 | 0 | 0.097683 | 1.6383 | 21.0507 | 2.1497 | 330.066 | 0 | 265.01 | 26.46 | 979.171 | 60.2643 | -0.39904
2019-02-10 05:45:00 | 0 | 25.7158 | 1.6383 | 59.4919 | 1.894 | 330.081 | 0 | 204.261 | 26.46 | 978.873 | 61.1221 | -0.33254
2019-02-10 06:00:00 | 0 | 13.8721 | 2.4053 | 60.8146 | 2.9167 | 330.097 | 0 | 192.036 | 26.46 | 978.724 | 62.8012 | -0.3547
2019-02-10 06:15:00 | 0 | 47.8931 | 2.4053 | 73.759 | 2.661 | 330.098 | 0 | 269.945 | 26.46 | 979.022 | 63.8618 | -0.38426
2019-02-10 06:30:00 | 0 | 108.071 | 2.661 | 135.085 | 2.1497 | 330.098 | 0 | 298.739 | 26.46 | 978.575 | 61.6384 | -0.40643
2019-02-10 06:45:00 | 0 | 111.905 | 3.1723 | 160.191 | 3.1723 | 330.245 | 0 | 294.148 | 26.46 | 978.427 | 60.2702 | -0.38057
2019-02-10 07:00:00 | 0 | 134.423 | 2.1497 | 172.012 | 1.6383 | 330.049 | 0 | 312.489 | 26.46 | 979.171 | 59.7229 | -0.36949
2019-02-10 07:15:00 | 0 | 141.394 | 1.127 | 187.867 | 1.127 | 330.067 | 0 | 326.355 | 26.46 | 979.468 | 60.4696 | -0.33623
2019-02-10 07:30:00 | 0 | 137.184 | 2.4053 | 188.511 | 2.661 | 330.042 | 0 | 312.095 | 26.46 | 979.319 | 60.3968 | -0.39904
2019-02-10 07:45:00 | 0 | 155.84 | 2.4053 | 202.722 | 2.4053 | 328.479 | 0 | 337.685 | 26.46 | 979.915 | 62.6539 | -0.35101
2019-02-10 08:00:00 | 6.2227 | 188.463 | 2.4053 | 234.491 | 2.4053 | 328.357 | 0 | 12.3802 | 26.46 | 980.361 | 63.9535 | -0.39904
2019-02-10 08:15:00 | 0 | 192.761 | 2.4053 | 240.986 | 2.1497 | 328.381 | 0 | 8.693 | 26.46 | 980.212 | 63.6799 | -0.35101
2019-02-10 08:30:00 | 0 | 159.551 | 3.6837 | 207.728 | 4.962 | 319.664 | 0.37567 | 345.328 | 26.46 | 980.212 | 62.4487 | -0.38426
2019-02-10 08:45:00 | 0.88267 | 179.306 | 3.428 | 235.37 | 4.4507 | 308.065 | 0.37567 | 351.677 | 26.46 | 980.356 | 63.8851 | 0.16996
2019-02-10 09:00:00 | 0 | 173.885 | 3.9393 | 226.799 | 3.9393 | 307.04 | 5.2177 | 351.994 | 26.46 | 980.207 | 66.0055 | 0.41752
2019-02-10 09:15:00 | 0 | 159.063 | 4.4507 | 206.678 | 5.2177 | 304.451 | 0.37567 | 343.912 | 26.46 | 979.915 | 69.5623 | 0.66138
2019-02-10 09:30:00 | 0 | 157.891 | 4.962 | 207.533 | 4.962 | 294.293 | 5.9847 | 343.081 | 26.46 | 979.915 | 71.9563 | 0.87937
2019-02-10 09:45:00 | 0 | 154.081 | 4.195 | 202.038 | 4.4507 | 287.407 | 3.428 | 332.362 | 26.46 | 980.063 | 79.5486 | 0.59118
2019-02-10 10:00:00 | 1.7653 | 164.997 | 3.1723 | 207.069 | 2.9167 | 286.137 | 2.0297 | 342.031 | 26.46 | 980.212 | 81.2586 | -0.34362
2019-02-10 10:15:00 | 0 | 152.616 | 2.1497 | 201.623 | 2.9167 | 286.235 | 0 | 15.2372 | 26.46 | 980.212 | 79.5486 | -0.36949
2019-02-10 10:30:00 | 0 | 199.207 | 2.1497 | 224.699 | 4.4507 | 285.307 | 0 | 60.1919 | 26.46 | 980.361 | 79.5486 | -0.38426
2019-02-10 10:45:00 | 0.62733 | 213.438 | 2.9167 | 256.722 | 2.9167 | 285.341 | 0 | 37.3553 | 26.46 | 980.5 | 80.7686 | -0.3547
2019-02-10 11:00:00 | 0 | 187.918 | 2.661 | 233.08 | 1.894 | 285.258 | 0 | 9.5705 | 26.46 | 980.549 | 80.6976 | -0.38796
2019-02-10 11:15:00 | 0 | 198.319 | 3.6837 | 221.87 | 4.195 | 284.834 | 0 | 58.3436 | 26.46 | 980.504 | 80.2778 | -0.42491
2019-02-10 11:30:00 | 0 | 227.382 | 1.894 | 284.396 | 2.1497 | 284.819 | 0 | 59.8296 | 26.46 | 980.802 | 72.4103 | -0.37318
2019-02-10 11:45:00 | 0 | 255.063 | 3.6837 | 291.011 | 2.9167 | 284.624 | 1.894 | 72.4497 | 26.46 | 980.803 | 60.7863 | -0.3621
2019-02-10 12:00:00 | 1.2547 | 252.475 | 3.6837 | 257.325 | 3.428 | 283.891 | 1.774 | 99.9112 | 26.46 | 980.802 | 61.5385 | -0.40274
2019-02-10 12:15:00 | 0 | 267.927 | 0.75133 | 313.591 | 0 | 283.696 | 0 | 65.7857 | 26.46 | 980.653 | 60.1026 | -0.40274
2019-02-10 12:30:00 | 0 | 218.04 | 2.4053 | 267.043 | 2.9167 | 281.332 | 3.9393 | 40.1519 | 26.46 | 980.355 | 61.6706 | -0.4323
2019-02-10 12:45:00 | 0 | 282.288 | 2.1497 | 17.147 | 1.6383 | 284.606 | 0 | 95.1372 | 26.46 | 979.909 | 62.2815 | -0.29559
2019-02-10 13:00:00 | 0 | 241.307 | 4.962 | 290.304 | 4.4507 | 240.917 | 4.195 | 77.0269 | 26.46 | 980.504 | 67.887 | 1.223
2019-02-10 13:15:00 | 0 | 247.748 | 4.4507 | 293.181 | 4.4507 | 263.441 | 5.9847 | 72.8282 | 26.46 | 980.802 | 69.8688 | 1.8955
2019-02-10 13:30:00 | 0 | 251.918 | 4.4507 | 293.5 | 4.195 | 269.224 | 0 | 76.0319 | 26.46 | 979.612 | 74.2505 | 0.78331
2019-02-10 13:45:00 | 0 | 258.968 | 3.1723 | 288.838 | 3.1723 | 279.985 | 0 | 88.78 | 26.46 | 979.909 | 70.9743 | 0.46555
2019-02-10 14:00:00 | 0 | 229.432 | 3.428 | 290.108 | 3.6837 | 277.008 | 0 | 99.9112 | 26.46 | 979.612 | 80.0684 | -0.44708
2019-02-10 14:15:00 | 0 | 259.505 | 2.9167 | 328.871 | 1.3827 | 306.861 | 0 | 62.5147 | 26.46 | 979.463 | 80.8889 | -0.39165
2019-02-10 14:30:00 | 0 | 292.215 | 1.6383 | 331.898 | 2.1497 | 311.743 | 0 | 118.219 | 26.46 | 979.315 | 80.0684 | -0.38796
2019-02-10 14:45:00 | 0 | 255.966 | 1.6383 | 291.499 | 0.75133 | 310.401 | 0 | 87.1934 | 26.46 | 980.504 | 77.6068 | -0.3621
2019-02-10 15:00:00 | 0 | 300.96 | 1.3827 | 333.996 | 2.1497 | 326.294 | 0 | 130.747 | 26.46 | 980.207 | 73.6988 | -0.36949
2019-02-10 15:15:00 | 0 | 264.049 | 1.127 | 306.065 | 0.75133 | 323.478 | 0 | 90.3025 | 26.46 | 980.207 | 69.5266 | -0.33623
2019-02-10 15:30:00 | 0 | 41.6368 | 0 | 67.6423 | 0 | 341.978 | 0 | 210.356 | 26.46 | 980.207 | 67.6124 | -0.33623
2019-02-10 15:45:00 | 0 | 144.094 | 2.1497 | 189.014 | 1.894 | 355.89 | 0 | 297.217 | 26.46 | 980.058 | 66.6553 | -0.3547
2019-02-10 16:00:00 | 0 | 198.177 | 0 | 234.458 | 0 | 348.128 | 0 | 308.932 | 26.46 | 979.612 | 66.7237 | -0.31776
2019-02-10 16:15:00 | 0 | 188.656 | 2.9167 | 230.719 | 2.4053 | 343.631 | 0 | 0.68337 | 26.46 | 979.315 | 68.4315 | -0.3547
2019-02-10 16:30:00 | 0 | 211.869 | 1.3827 | 255.081 | 2.4053 | 344.785 | 0 | 30.2635 | 26.46 | 979.017 | 68.6037 | -0.33623
2019-02-10 16:45:00 | 0 | 192.226 | 2.9167 | 235.342 | 2.9167 | 342.571 | 3.428 | 6.1505 | 26.46 | 978.422 | 68.571 | -0.39165
2019-02-10 17:00:00 | 0 | 193.085 | 3.1723 | 228.349 | 3.6837 | 342.426 | 1.007 | 13.1327 | 26.46 | 978.422 | 68.1024 | -0.48772
2019-02-10 17:15:00 | 0 | 148.658 | 3.428 | 209.505 | 3.1723 | 122.735 | 0 | 331.272 | 26.46 | 977.828 | 69.812 | 0.59487
2019-02-10 17:30:00 | 0 | 157.202 | 5.729 | 205.697 | 5.9847 | 126.177 | 3.6837 | 333.493 | 26.46 | 977.233 | 73.2308 | 6.211
2019-02-10 17:45:00 | 0 | 155.169 | 6.496 | 200.303 | 7.0073 | 127.314 | 4.7063 | 327.648 | 26.46 | 977.252 | 76.9319 | 8.6496
2019-02-10 18:00:00 | 0 | 169.876 | 4.4507 | 218.627 | 4.962 | 127.785 | 0.887 | 6.0792 | 26.46 | 977.746 | 80.3898 | 7.2641
2019-02-10 18:15:00 | 0 | 152.563 | 7.263 | 212.507 | 6.496 | 127.779 | 2.2853 | 349.2 | 26.46 | 977.846 | 81.4613 | 9.1115
2019-02-10 18:30:00 | 0 | 169.905 | 4.4507 | 220.719 | 4.4507 | 126.342 | 4.195 | 2.393 | 26.46 | 978.333 | 82.5581 | 10.3419
2019-02-10 18:45:00 | 0 | 203.334 | 5.729 | 238.691 | 6.2403 | 127.807 | 2.661 | 0.92791 | 26.46 | 978.559 | 82.4213 | 8.3984
2019-02-10 19:00:00 | 0 | 168.61 | 4.195 | 253 | 5.4733 | 127.807 | 1.2627 | 346.28 | 26.46 | 978.426 | 83.4473 | 6.8392
2019-02-10 19:15:00 | 0 | 180.258 | 5.4733 | 227.214 | 5.729 | 127.636 | 0.37567 | 1.3186 | 26.46 | 978.873 | 85.4993 | 6.8096
2019-02-10 19:30:00 | 0 | 164.703 | 6.2403 | 215.249 | 6.2403 | 127.66 | 3.6837 | 353.63 | 26.46 | 978.873 | 86.4911 | 6.5805
2019-02-10 19:45:00 | 0 | 183.603 | 6.2403 | 228.313 | 6.496 | 128.198 | 1.127 | 3.7116 | 26.46 | 978.278 | 87.4487 | 11.975
2019-02-10 20:00:00 | 0 | 162.701 | 6.496 | 207.435 | 6.7517 | 128.002 | 0.37567 | 348.673 | 26.46 | 978.278 | 88.1669 | 19.1799
2019-02-10 20:15:00 | 0 | 179.55 | 6.2403 | 225.212 | 7.7743 | 129.003 | 5.4733 | 350.358 | 26.46 | 978.129 | 87.9617 | 20.5507
2019-02-10 20:30:00 | 12.3507 | 168.83 | 8.797 | 220.474 | 9.3083 | 129.052 | 4.7063 | 355.34 | 26.46 | 977.831 | 86.7989 | 25.8011
2019-02-10 20:45:00 | 4.946 | 192.345 | 9.0527 | 235.077 | 9.0527 | 130.078 | 2.9167 | 355.12 | 26.46 | 977.831 | 86.3201 | 20.3032
2019-02-10 21:00:00 | 6.2227 | 178.744 | 7.263 | 205.75 | 8.03 | 129.321 | 4.962 | 348.283 | 26.46 | 978.129 | 86.9015 | 20.4694
2019-02-10 21:15:00 | 6.478 | 174.227 | 8.5413 | 219.669 | 7.5187 | 129.785 | 4.962 | 5.8116 | 26.46 | 977.831 | 87.3463 | 18.8807
2019-02-10 21:30:00 | 1.3713 | 184.556 | 8.2857 | 229.509 | 8.2857 | 129.858 | 1.007 | 4.4686 | 26.46 | 978.129 | 86.7647 | 15.9987
2019-02-10 21:45:00 | 0 | 173.274 | 6.7517 | 223.942 | 8.03 | 129.052 | 0.37567 | 353.899 | 26.46 | 978.129 | 87.4829 | 12.3814
2019-02-10 22:00:00 | 7.244 | 191.515 | 6.496 | 235.687 | 7.0073 | 128.808 | 5.9847 | 11.2081 | 26.46 | 978.427 | 87.8933 | 11.0439
2019-02-10 22:15:00 | 0 | 177.816 | 6.2403 | 231.634 | 5.2177 | 128.613 | 2.4053 | 6.593 | 26.46 | 978.427 | 87.6197 | 8.5757
2019-02-10 22:30:00 | 0 | 205.678 | 5.2177 | 229.754 | 6.496 | 128.906 | 5.9847 | 19.2419 | 26.46 | 978.427 | 87.7907 | 5.3612
2019-02-10 22:45:00 | 0 | 185.24 | 5.9847 | 228.069 | 6.2403 | 128.833 | 3.1723 | 9.7186 | 26.46 | 978.427 | 87.6881 | 8.8381
2019-02-10 23:00:00 | 0.99933 | 196.716 | 6.2403 | 233.905 | 6.2403 | 128.784 | 2.9167 | 12.6733 | 26.46 | 978.427 | 87.0041 | 9.8652
2019-02-10 23:15:00 | 0 | 183.408 | 7.0073 | 217.544 | 6.2403 | 128.881 | 1.894 | 11.4767 | 26.46 | 978.427 | 86.7305 | 16.6342
2019-02-10 23:30:00 | 0 | 181.845 | 5.729 | 226.164 | 6.496 | 128.662 | 0 | 4.493 | 26.46 | 978.427 | 86.4911 | 15.4223
2019-02-10 23:45:00 | 9.0313 | 174.471 | 8.03 | 230.511 | 7.7743 | 129.736 | 3.428 | 1.7337 | 26.46 | 978.129 | 85.9781 | 19.5236