## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-11 00:00:00 | 3.9247 | 183.823 | 9.0527 | 229.143 | 9.8197 | 130.542 | 3.9393 | 2.7837 | 26.46 | 978.278 | 85.0206 | 25.0732
2019-02-11 00:15:00 | 7.244 | 178.671 | 10.5867 | 229.045 | 10.331 | 131.445 | 5.4733 | 2.4663 | 26.46 | 977.97 | 85.089 | 23.6913
2019-02-11 00:30:00 | 16.6913 | 168.879 | 7.5187 | 210.292 | 7.263 | 131.055 | 8.03 | 40.5593 | 26.46 | 977.824 | 85.1574 | 14.3286
2019-02-11 00:45:00 | 0 | 161.383 | 7.263 | 232.904 | 7.7743 | 132.202 | 5.2177 | 336.269 | 26.46 | 977.746 | 83.9946 | 17.9385
2019-02-11 01:00:00 | 0 | 176.009 | 6.2403 | 224.528 | 7.5187 | 132.056 | 5.729 | 1.6361 | 26.46 | 977.718 | 81.5664 | 18.7144
2019-02-11 01:15:00 | 0 | 173.348 | 4.195 | 226.286 | 4.962 | 130.542 | 3.6837 | 332.362 | 26.46 | 977.714 | 84.234 | 25.173
2019-02-11 01:30:00 | 0 | 159.209 | 6.2403 | 221.231 | 6.2403 | 131.812 | 5.4733 | 329.334 | 26.46 | 977.642 | 83.5158 | 31.7018
2019-02-11 01:45:00 | 9.2867 | 139.748 | 7.5187 | 194.078 | 8.03 | 132.08 | 2.9167 | 339.37 | 26.46 | 977.2 | 84.063 | 40.7496
2019-02-11 02:00:00 | 2.648 | 149.149 | 10.5867 | 204.187 | 7.5187 | 132.105 | 5.2177 | 321.788 | 26.46 | 977.229 | 85.4994 | 48.4248
2019-02-11 02:15:00 | 0.372 | 159.209 | 8.03 | 203.87 | 7.7743 | 133.35 | 5.4733 | 337.074 | 26.46 | 976.641 | 87.1751 | 50.2868
2019-02-11 02:30:00 | 5.712 | 157.891 | 7.5187 | 206.116 | 6.496 | 133.228 | 1.2627 | 325.402 | 26.46 | 976.79 | 87.5855 | 60.4867
2019-02-11 02:45:00 | 11.074 | 149.1 | 10.331 | 200.769 | 7.7743 | 134.522 | 5.9847 | 307.772 | 26.46 | 976.641 | 88.3037 | 62.2618
2019-02-11 03:00:00 | 7.4993 | 168.513 | 10.331 | 219.791 | 10.331 | 143.044 | 4.195 | 342.691 | 26.46 | 976.344 | 89.6717 | 61.7741
2019-02-11 03:15:00 | 3.1587 | 151.127 | 10.8423 | 181.893 | 10.331 | 141.897 | 5.4733 | 327.038 | 26.46 | 975.748 | 89.9453 | 62.8735
2019-02-11 03:30:00 | 2.3927 | 150.37 | 10.331 | 201.599 | 9.564 | 140.016 | 2.661 | 324.206 | 26.46 | 975.451 | 90.6977 | 63.4257
2019-02-11 03:45:00 | 3.9247 | 130.911 | 11.3537 | 189.151 | 12.1207 | 136.113 | 3.1723 | 319.306 | 26.46 | 974.856 | 90.8367 | 72.7146
2019-02-11 04:00:00 | 3.9247 | 155.339 | 12.3763 | 198.418 | 12.1207 | 144.179 | 5.4733 | 320.105 | 26.46 | 974.558 | 90.8419 | 80.8591
2019-02-11 04:15:00 | 3.9247 | 148.135 | 12.3763 | 201.739 | 11.6093 | 145.62 | 5.2177 | 318.42 | 26.46 | 974.409 | 91.2524 | 80.9467
2019-02-11 04:30:00 | 2.648 | 148.145 | 10.331 | 197.674 | 9.3083 | 144.213 | 1.894 | 317.854 | 26.46 | 974.856 | 91.8737 | 79.587
2019-02-11 04:45:00 | 4.4353 | 152.538 | 11.3537 | 182.138 | 10.8423 | 137.127 | 5.729 | 324.832 | 26.46 | 974.558 | 92.5559 | 80.1042
2019-02-11 05:00:00 | 3.414 | 153.152 | 11.865 | 201.583 | 11.6093 | 144.922 | 4.7063 | 325.353 | 26.46 | 974.707 | 93.174 | 76.9764
2019-02-11 05:15:00 | 4.18 | 168.198 | 11.865 | 203.954 | 13.399 | 144.264 | 5.2177 | 347.215 | 26.46 | 974.558 | 93.2092 | 77.7174
2019-02-11 05:30:00 | 5.9673 | 145.803 | 10.8423 | 195.676 | 10.5867 | 135.716 | 4.962 | 329.314 | 26.46 | 974.856 | 93.5857 | 76.0916
2019-02-11 05:45:00 | 0 | 154.864 | 10.8423 | 208.035 | 10.8423 | 140.382 | 4.7063 | 323.478 | 26.46 | 974.856 | 93.3124 | 72.0478
2019-02-11 06:00:00 | 0.62733 | 144.021 | 10.0753 | 194.481 | 8.5413 | 142.995 | 3.6837 | 315.664 | 26.46 | 975.153 | 93.0391 | 68.7737
2019-02-11 06:15:00 | 0 | 146.781 | 9.3083 | 201.637 | 10.331 | 134.887 | 5.4733 | 325.604 | 26.46 | 975.451 | 92.013 | 66.134
2019-02-11 06:30:00 | 0 | 130.222 | 7.7743 | 202.369 | 8.5413 | 140.797 | 3.428 | 318.937 | 26.46 | 975.451 | 91.4657 | 69.0382
2019-02-11 06:45:00 | 2.1373 | 150.737 | 9.8197 | 192.625 | 10.0753 | 139.161 | 5.2177 | 328.706 | 26.46 | 975.451 | 90.9184 | 69.188
2019-02-11 07:00:00 | 4.6907 | 158.308 | 9.564 | 213.188 | 13.9103 | 139.503 | 4.4507 | 341.699 | 26.46 | 974.856 | 90.5763 | 68.7041
2019-02-11 07:15:00 | 1.51 | 188.861 | 8.03 | 239.785 | 8.5413 | 152.374 | 0.63133 | 310.609 | 26.46 | 975.451 | 90.85 | 69.9988
2019-02-11 07:30:00 | 1.6267 | 165.196 | 7.263 | 214.068 | 8.2857 | 145.633 | 2.4053 | 313.979 | 26.46 | 975.748 | 90.7131 | 67.8727
2019-02-11 07:45:00 | 4.6907 | 161.922 | 11.6093 | 218.146 | 9.564 | 147.098 | 5.2177 | 348.756 | 26.46 | 975.451 | 89.9945 | 67.8411
2019-02-11 08:00:00 | 5.712 | 153.281 | 11.098 | 205.074 | 12.8877 | 145.345 | 3.6837 | 343.46 | 26.46 | 976.046 | 89.2302 | 60.9058
2019-02-11 08:15:00 | 3.1587 | 149.588 | 10.0753 | 202.429 | 8.797 | 145.388 | 2.661 | 335.365 | 26.46 | 976.344 | 88.3037 | 60.9576
2019-02-11 08:30:00 | 3.414 | 144.07 | 11.3537 | 195.983 | 10.8423 | 124.095 | 1.894 | 325.866 | 26.46 | 976.524 | 87.3461 | 61.0425
2019-02-11 08:45:00 | 3.1587 | 150.108 | 10.331 | 195.445 | 9.564 | 124.862 | 1.2627 | 334.472 | 26.46 | 976.274 | 86.7889 | 60.8689
2019-02-11 09:00:00 | 8.01 | 176.419 | 9.564 | 218.578 | 11.865 | 128.225 | 5.4733 | 331.28 | 26.46 | 976.687 | 86.6474 | 58.946
2019-02-11 09:15:00 | 7.4993 | 160.037 | 9.564 | 207.875 | 8.2857 | 129.646 | 5.729 | 344.534 | 26.46 | 977.252 | 85.0617 | 61.055
2019-02-11 09:30:00 | 4.946 | 160.449 | 8.5413 | 217.219 | 8.5413 | 136.307 | 3.9393 | 345.552 | 26.46 | 977.543 | 81.0257 | 57.8967
2019-02-11 09:45:00 | 3.9247 | 157.934 | 12.1207 | 205.844 | 12.3763 | 141.726 | 4.4507 | 336.593 | 26.46 | 977.679 | 77.6069 | 56.2282
2019-02-11 10:00:00 | 4.18 | 152.125 | 9.564 | 205.673 | 9.564 | 141.97 | 5.2177 | 331.955 | 26.46 | 978.125 | 77.3334 | 49.6524
2019-02-11 10:15:00 | 2.5313 | 164.41 | 9.564 | 202.744 | 9.3083 | 139.807 | 4.962 | 339.925 | 26.46 | 978.72 | 77.5984 | 42.946
2019-02-11 10:30:00 | 0.62733 | 154.466 | 6.2403 | 208.905 | 6.7517 | 139.139 | 5.4733 | 350.008 | 26.46 | 979.315 | 79.0976 | 36.1282
2019-02-11 10:45:00 | 4.18 | 150.952 | 8.797 | 206.83 | 9.0527 | 140.921 | 1.2627 | 331.972 | 26.46 | 979.612 | 77.662 | 40.3329
2019-02-11 11:00:00 | 3.414 | 153.905 | 9.564 | 197.946 | 9.564 | 141.726 | 5.729 | 337.219 | 26.46 | 979.612 | 73.2866 | 26.1817
2019-02-11 11:15:00 | 0.372 | 183.799 | 6.496 | 235.527 | 7.0073 | 137.99 | 2.4053 | 344.706 | 26.46 | 979.718 | 71.8839 | 22.897
2019-02-11 11:30:00 | 0.372 | 133.56 | 7.5187 | 187.001 | 9.3083 | 137.781 | 4.4507 | 340.463 | 26.46 | 979.759 | 68.6178 | 20.2034
2019-02-11 11:45:00 | 2.9033 | 180.08 | 8.2857 | 214.902 | 7.5187 | 135.822 | 1.127 | 356.768 | 26.46 | 979.907 | 65.7783 | 18.5629
2019-02-11 12:00:00 | 0.744 | 135.088 | 7.263 | 187.232 | 7.0073 | 133.356 | 4.962 | 345.297 | 26.46 | 979.904 | 62.8729 | 16.564
2019-02-11 12:15:00 | 0 | 150.645 | 7.5187 | 195.49 | 8.03 | 131.714 | 1.5183 | 332.444 | 26.46 | 979.757 | 61.8442 | 14.7424
2019-02-11 12:30:00 | 0.372 | 147.59 | 6.496 | 213.436 | 7.0073 | 133.172 | 2.2853 | 326.064 | 26.46 | 979.453 | 63.2084 | 15.304
2019-02-11 12:45:00 | 0 | 156.761 | 6.7517 | 202.153 | 6.2403 | 134.004 | 5.2177 | 344.23 | 26.46 | 979.289 | 61.2166 | 11.7939
2019-02-11 13:00:00 | 1.2547 | 155.873 | 7.263 | 192.481 | 6.7517 | 130.776 | 2.0297 | 317.746 | 26.46 | 979.019 | 60.6662 | 16.6009
2019-02-11 13:15:00 | 0 | 150.385 | 5.4733 | 178.652 | 6.2403 | 127.849 | 1.007 | 335.842 | 26.46 | 979.309 | 59.0265 | 15.2338
2019-02-11 13:30:00 | 0 | 160.385 | 5.9847 | 193.749 | 6.496 | 127.849 | 4.962 | 342.623 | 26.46 | 979.309 | 56.9086 | 11.2434
2019-02-11 13:45:00 | 0 | 180.213 | 5.729 | 229.431 | 7.0073 | 133.825 | 4.195 | 1.5121 | 26.46 | 979.309 | 57.1819 | 16.1539
2019-02-11 14:00:00 | 0 | 146.288 | 4.7063 | 217.09 | 5.9847 | 138.166 | 5.4733 | 333.428 | 26.46 | 979.161 | 56.4304 | 15.3558
2019-02-11 14:15:00 | 0 | 113.752 | 4.195 | 248.479 | 4.7063 | 194.481 | 0.75133 | 320.721 | 26.46 | 979.161 | 54.8591 | 11.3469
2019-02-11 14:30:00 | 0 | 135.459 | 5.2177 | 188.334 | 6.496 | 133.483 | 4.962 | 320.257 | 26.46 | 979.012 | 56.0888 | 14.0663
2019-02-11 14:45:00 | 0 | 146.093 | 4.4507 | 187.237 | 3.9393 | 138.703 | 1.2627 | 333.257 | 26.46 | 979.309 | 54.0393 | 15.644
2019-02-11 15:00:00 | 0 | 148.141 | 5.729 | 195.749 | 6.496 | 115.899 | 5.729 | 323.282 | 26.46 | 979.012 | 55.8156 | 13.6155
2019-02-11 15:15:00 | 0 | 152.117 | 6.7517 | 206.968 | 6.7517 | 118.581 | 2.7967 | 331.501 | 26.46 | 979.309 | 54.5175 | 17.5099
2019-02-11 15:30:00 | 0 | 163.58 | 7.7743 | 208.285 | 9.0527 | 120.167 | 3.6837 | 342.086 | 26.46 | 978.864 | 55.2349 | 18.9878
2019-02-11 15:45:00 | 0 | 132.044 | 5.9847 | 204.7 | 6.7517 | 119.508 | 0 | 317.16 | 26.46 | 979.012 | 54.1076 | 12.714
2019-02-11 16:00:00 | 0 | 209.871 | 2.9167 | 213.895 | 1.894 | 113.313 | 2.0297 | 356.768 | 26.46 | 979.012 | 54.7908 | 10.0204
2019-02-11 16:15:00 | 0 | 148.873 | 6.2403 | 201.017 | 6.7517 | 111.947 | 0.37567 | 333.818 | 26.46 | 978.418 | 55.1324 | 10.7187
2019-02-11 16:30:00 | 0 | 153.58 | 5.9847 | 192.383 | 6.2403 | 112.825 | 3.308 | 326.257 | 26.46 | 978.121 | 56.977 | 14.1291
2019-02-11 16:45:00 | 0 | 145.922 | 3.9393 | 188.725 | 3.6837 | 107.167 | 1.894 | 327.623 | 26.46 | 977.823 | 58.2408 | 14.8865
2019-02-11 17:00:00 | 3.414 | 141.146 | 5.2177 | 181.571 | 5.729 | 106.823 | 3.428 | 315.737 | 26.46 | 977.486 | 59.1752 | 15.5664
2019-02-11 17:15:00 | 0 | 121.296 | 4.962 | 169.311 | 4.4507 | 106.853 | 1.007 | 304.996 | 26.46 | 977.379 | 59.8277 | 18.707
2019-02-11 17:30:00 | 5.9673 | 136.87 | 8.2857 | 180.474 | 9.3083 | 108.008 | 5.729 | 322.096 | 26.46 | 976.785 | 60.9596 | 27.5092
2019-02-11 17:45:00 | 0 | 139.409 | 7.263 | 195.896 | 5.9847 | 108.18 | 5.2177 | 326.515 | 26.46 | 976.636 | 62.6004 | 28.7496
2019-02-11 18:00:00 | 0 | 162.635 | 4.7063 | 201.678 | 5.2177 | 108.521 | 3.428 | 346.131 | 26.46 | 976.636 | 62.9421 | 26.7692
2019-02-11 18:15:00 | 0 | 137.724 | 7.263 | 179.948 | 6.496 | 109.881 | 5.729 | 312.782 | 26.46 | 976.636 | 63.2259 | 31.2473
2019-02-11 18:30:00 | 0 | 140.083 | 5.2177 | 190.319 | 4.962 | 109.284 | 0.75133 | 321.262 | 26.46 | 976.699 | 62.3446 | 25.5942
2019-02-11 18:45:00 | 0 | 137.039 | 4.7063 | 178.517 | 4.4507 | 108.948 | 5.2177 | 331.504 | 26.46 | 976.994 | 62.8262 | 22.3241
2019-02-11 19:00:00 | 0.744 | 129.401 | 5.9847 | 161.923 | 5.9847 | 99.9185 | 2.0297 | 304.905 | 26.46 | 977.201 | 63.237 | 19.3351
2019-02-11 19:15:00 | 0 | 111.365 | 3.6837 | 190.234 | 2.4053 | 92.5235 | 0 | 309.689 | 26.46 | 977.381 | 64.3309 | 19.9411
2019-02-11 19:30:00 | 0 | 147.413 | 6.496 | 194.847 | 7.263 | 102.115 | 5.9847 | 331.898 | 26.46 | 977.232 | 65.6982 | 31.9382
2019-02-11 19:45:00 | 0 | 146.851 | 7.263 | 194.505 | 6.2403 | 102.92 | 4.7063 | 325.602 | 26.46 | 977.084 | 66.1767 | 34
2019-02-11 20:00:00 | 4.18 | 144.433 | 8.797 | 198.089 | 10.8423 | 105.506 | 4.7063 | 327.573 | 26.46 | 976.935 | 66.7225 | 48.9494
2019-02-11 20:15:00 | 2.5313 | 157.004 | 7.5187 | 188.477 | 6.2403 | 105.849 | 4.4507 | 330.19 | 26.46 | 977.232 | 68.6037 | 44.8111
2019-02-11 20:30:00 | 6.9887 | 137.992 | 5.9847 | 202.754 | 7.263 | 106.166 | 5.9847 | 319.767 | 26.46 | 977.53 | 69.3896 | 28.5168
2019-02-11 20:45:00 | 0 | 138.822 | 4.4507 | 197.141 | 4.4507 | 105.776 | 5.9847 | 319.476 | 26.46 | 977.976 | 69.048 | 12.3223
2019-02-11 21:00:00 | 0 | 143.313 | 5.729 | 197.971 | 5.2177 | 106.02 | 2.7967 | 322.38 | 26.46 | 978.273 | 68.7062 | 6.3034
2019-02-11 21:15:00 | 0 | 145.727 | 4.4507 | 218.347 | 4.4507 | 105.458 | 4.195 | 329.991 | 26.46 | 978.422 | 68.5687 | 5.0878
2019-02-11 21:30:00 | 0 | 143.36 | 4.195 | 185.033 | 4.4507 | 105.433 | 1.007 | 323.914 | 26.46 | 978.422 | 68.3636 | 4.8181
2019-02-11 21:45:00 | 0 | 140.456 | 4.195 | 186.621 | 5.729 | 105.58 | 5.729 | 324.331 | 26.46 | 978.422 | 67.7488 | 3.5175
2019-02-11 22:00:00 | 0.372 | 158.808 | 3.428 | 190.524 | 1.894 | 104.017 | 0 | 354.689 | 26.46 | 978.719 | 68.5003 | 4.5631
2019-02-11 22:15:00 | 1.2547 | 154.149 | 4.195 | 197.263 | 3.9393 | 105.288 | 3.1723 | 330.092 | 26.46 | 978.719 | 68.7062 | 9.4773
2019-02-11 22:30:00 | 0 | 131.207 | 4.195 | 206.196 | 3.6837 | 105.581 | 3.0523 | 328.408 | 26.46 | 978.719 | 69.048 | 13.6414
2019-02-11 22:45:00 | 0 | 139.7 | 6.2403 | 190.283 | 5.4733 | 105.996 | 0 | 321.208 | 26.46 | 978.719 | 68.9113 | 14.5983
2019-02-11 23:00:00 | 0 | 148.828 | 4.7063 | 212.37 | 4.7063 | 105.776 | 3.1723 | 321.697 | 26.46 | 978.571 | 69.3898 | 16.7118
2019-02-11 23:15:00 | 0 | 145.021 | 5.2177 | 199.435 | 5.2177 | 106.386 | 2.9167 | 329.067 | 26.46 | 978.719 | 69.1164 | 14.3582
2019-02-11 23:30:00 | 0.372 | 143.874 | 4.7063 | 200.582 | 3.9393 | 105.922 | 3.428 | 335.218 | 26.46 | 978.571 | 69.5266 | 16.8817
2019-02-11 23:45:00 | 0 | 144.24 | 5.9847 | 202.486 | 4.962 | 106.581 | 5.729 | 319.939 | 26.46 | 978.422 | 69.9368 | 22.1395