## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-12 00:00:00 | 7.244 | 146.583 | 8.797 | 185.06 | 5.9847 | 107.338 | 7.263 | 324.943 | 26.46 | 978.125 | 70.5862 | 27.8998
2019-02-12 00:15:00 | 5.9673 | 139.725 | 8.5413 | 188.281 | 7.263 | 107.85 | 5.4733 | 324.406 | 26.46 | 978.125 | 71.3724 | 28.0587
2019-02-12 00:30:00 | 0.372 | 141.751 | 6.496 | 187.208 | 6.2403 | 107.973 | 5.2177 | 324.845 | 26.46 | 978.125 | 71.851 | 29.8359
2019-02-12 00:45:00 | 2.9033 | 156.638 | 7.5187 | 208.27 | 7.0073 | 108.461 | 3.9393 | 333.558 | 26.46 | 978.125 | 72.603 | 30.7928
2019-02-12 01:00:00 | 0 | 138.187 | 5.2177 | 196.58 | 4.4507 | 108.314 | 6.2403 | 306.833 | 26.46 | 977.827 | 72.979 | 31.8422
2019-02-12 01:15:00 | 0.99933 | 135.82 | 8.03 | 187.891 | 8.03 | 110.706 | 3.9393 | 319.646 | 26.46 | 977.827 | 72.4662 | 33.091
2019-02-12 01:30:00 | 6.2227 | 152.416 | 9.0527 | 200.802 | 7.7743 | 111.17 | 5.729 | 326.578 | 26.46 | 977.53 | 72.1928 | 41.3195
2019-02-12 01:45:00 | 8.2653 | 143.386 | 7.5187 | 186.646 | 7.5187 | 111.877 | 8.2857 | 320.159 | 26.46 | 977.53 | 72.9448 | 40.6137
2019-02-12 02:00:00 | 9.0313 | 145.314 | 5.2177 | 201.656 | 5.4733 | 112.122 | 1.894 | 314.399 | 26.46 | 977.827 | 73.3892 | 31.3027
2019-02-12 02:15:00 | 0.372 | 147.315 | 7.5187 | 201.339 | 5.9847 | 113.317 | 5.4733 | 315.327 | 26.46 | 978.125 | 74.7906 | 22.4757
2019-02-12 02:30:00 | 3.2973 | 156.736 | 7.263 | 213.347 | 6.7517 | 113.342 | 1.007 | 333.582 | 26.46 | 978.125 | 75.6794 | 18.5777
2019-02-12 02:45:00 | 0 | 157.81 | 7.7743 | 194.383 | 8.2857 | 113.83 | 3.1723 | 341.051 | 26.46 | 978.125 | 76.6706 | 22.5496
2019-02-12 03:00:00 | 2.5313 | 159.957 | 7.0073 | 195.677 | 7.263 | 114.367 | 0.75133 | 352.814 | 26.46 | 978.125 | 77.4568 | 21.4929
2019-02-12 03:15:00 | 0 | 155.029 | 6.2403 | 199.339 | 6.2403 | 114.319 | 5.9847 | 347.765 | 26.46 | 977.976 | 78.1752 | 16.3349
2019-02-12 03:30:00 | 0 | 150.708 | 6.2403 | 200.436 | 6.496 | 114.441 | 5.729 | 333.095 | 26.46 | 977.827 | 79.1662 | 9.4773
2019-02-12 03:45:00 | 0 | 152.911 | 4.962 | 204.643 | 4.195 | 113.884 | 4.962 | 338.209 | 26.46 | 978.273 | 79.101 | 4.0163
2019-02-12 04:00:00 | 0 | 159.294 | 5.2177 | 207.932 | 4.4507 | 113.795 | 1.774 | 346.976 | 26.46 | 978.422 | 80.2014 | 2.7674
2019-02-12 04:15:00 | 0 | 165.549 | 3.6837 | 194.76 | 2.661 | 113.116 | 0 | 343.547 | 26.46 | 978.719 | 80.0677 | 3.717
2019-02-12 04:30:00 | 0.88267 | 148.047 | 3.9393 | 194.955 | 3.9393 | 113.409 | 4.962 | 330.854 | 26.46 | 978.422 | 79.7601 | 6.7283
2019-02-12 04:45:00 | 1.7653 | 146.68 | 4.962 | 195.932 | 3.428 | 113.312 | 0 | 332.49 | 26.46 | 977.827 | 81.0251 | 8.1804
2019-02-12 05:00:00 | 0 | 136.502 | 5.4733 | 184.216 | 3.9393 | 113.068 | 1.774 | 317.211 | 26.46 | 977.827 | 81.7092 | 8.5055
2019-02-12 05:15:00 | 0 | 130.278 | 4.195 | 167.08 | 4.4507 | 112.58 | 0.37567 | 310.181 | 26.46 | 977.53 | 81.1624 | 8.4464
2019-02-12 05:30:00 | 0 | 131.569 | 4.962 | 177.573 | 5.2177 | 111.846 | 0.63133 | 313.519 | 26.46 | 977.53 | 80.272 | 9.5031
2019-02-12 05:45:00 | 0 | 129.852 | 5.2177 | 172.582 | 4.195 | 111.912 | 0.75133 | 303.884 | 26.46 | 977.827 | 80.1647 | 13.0096
2019-02-12 06:00:00 | 0 | 131.14 | 5.2177 | 191.123 | 5.9847 | 114.177 | 3.9393 | 313.218 | 26.46 | 977.53 | 80.4004 | 27.0093
2019-02-12 06:15:00 | 9.2867 | 134.955 | 7.263 | 187.57 | 6.7517 | 114.964 | 3.6837 | 306.059 | 26.46 | 977.53 | 80.7807 | 27.7963
2019-02-12 06:30:00 | 0 | 134.929 | 4.962 | 183.223 | 4.195 | 115.109 | 0.75133 | 322.58 | 26.46 | 977.232 | 80.0619 | 27.316
2019-02-12 06:45:00 | 7.4993 | 130.193 | 8.03 | 186.053 | 6.496 | 116.817 | 3.1723 | 307.273 | 26.46 | 977.232 | 80.6765 | 26.9133
2019-02-12 07:00:00 | 0 | 129.33 | 7.263 | 180.084 | 7.0073 | 118.03 | 5.729 | 305.008 | 26.46 | 977.232 | 80.4662 | 26.5881
2019-02-12 07:15:00 | 0 | 120.819 | 5.2177 | 183.025 | 5.4733 | 116.255 | 4.7063 | 283.669 | 26.46 | 977.232 | 80.6761 | 26.2851
2019-02-12 07:30:00 | 7.7547 | 123.012 | 4.962 | 158.49 | 5.2177 | 96.4085 | 5.2177 | 312.949 | 26.46 | 977.232 | 80.1951 | 21.6038
2019-02-12 07:45:00 | 0 | 119.298 | 3.1723 | 175.787 | 3.9393 | 79.8573 | 0.37567 | 303.565 | 26.46 | 977.827 | 79.9186 | 10.4823
2019-02-12 08:00:00 | 0 | 98.9913 | 4.962 | 146.596 | 3.9393 | 79.0027 | 0 | 291.482 | 26.46 | 978.125 | 79.713 | 6.7172
2019-02-12 08:15:00 | 0 | 131.451 | 0.75133 | 178.446 | 4.195 | 78.8317 | 0 | 274.666 | 26.46 | 978.868 | 78.0722 | 2.0839
2019-02-12 08:30:00 | 0 | 121.567 | 3.1723 | 161.337 | 3.428 | 78.3435 | 0 | 298.511 | 26.46 | 979.314 | 78.414 | 0.55053
2019-02-12 08:45:00 | 0 | 95.9158 | 1.127 | 142.178 | 0.75133 | 73.1206 | 0 | 287.357 | 26.46 | 979.76 | 75.3375 | -0.051728
2019-02-12 09:00:00 | 0 | 134.898 | 3.428 | 192.436 | 3.428 | 75.537 | 0.75133 | 323.814 | 26.46 | 979.763 | 74.5616 | 0.50989
2019-02-12 09:15:00 | 0 | 126.573 | 4.195 | 187.036 | 3.9393 | 75.8269 | 0 | 307.211 | 26.46 | 979.857 | 73.5679 | 1.1048
2019-02-12 09:30:00 | 0 | 143.641 | 3.9393 | 194.363 | 3.6837 | 76.2115 | 0 | 338.512 | 26.46 | 980.447 | 68.8814 | 1.223
2019-02-12 09:45:00 | 0 | 131.606 | 4.195 | 191.945 | 4.195 | 77.4368 | 3.9393 | 309.357 | 26.46 | 980.215 | 69.5819 | 3.8685
2019-02-12 10:00:00 | 0 | 134.337 | 4.962 | 197.041 | 5.2177 | 77.5827 | 1.007 | 303.185 | 26.46 | 980.795 | 70.4356 | 6.4918
2019-02-12 10:15:00 | 0 | 148.19 | 5.2177 | 201.578 | 4.4507 | 77.6559 | 2.4053 | 320.526 | 26.46 | 980.795 | 70.538 | 7.6668
2019-02-12 10:30:00 | 0 | 144.58 | 6.2403 | 199.578 | 4.7063 | 78.0949 | 5.729 | 321.038 | 26.46 | 980.498 | 70.3672 | 9.1558
2019-02-12 10:45:00 | 0 | 145.216 | 5.4733 | 192.043 | 5.729 | 78.0468 | 2.9167 | 322.675 | 26.46 | 980.801 | 69.6505 | 8.125
2019-02-12 11:00:00 | 0 | 155.111 | 5.9847 | 198.116 | 6.7517 | 79.0799 | 2.1497 | 339.614 | 26.46 | 981.155 | 66.7543 | 8.8824
2019-02-12 11:15:00 | 0.99933 | 138.191 | 4.4507 | 177.809 | 4.962 | 78.9628 | 5.4733 | 321.998 | 26.46 | 981.057 | 66.7926 | 8.7125
2019-02-12 11:30:00 | 0 | 142.603 | 4.962 | 188.245 | 4.7063 | 78.8633 | 2.1497 | 323.503 | 26.46 | 981.024 | 66.381 | 3.802
2019-02-12 11:45:00 | 0 | 154.654 | 3.1723 | 199.847 | 3.9393 | 78.2658 | 0 | 347.306 | 26.46 | 981.113 | 66.4733 | 2.3388
2019-02-12 12:00:00 | 0 | 142.556 | 5.2177 | 195.359 | 4.4507 | 78.6315 | 4.7063 | 324.574 | 26.46 | 981.092 | 61.9642 | 0.39904
2019-02-12 12:15:00 | 0.62733 | 127.288 | 3.6837 | 187.481 | 3.6837 | 77.0462 | 1.3827 | 318.867 | 26.46 | 981.092 | 61.281 | -0.24386
2019-02-12 12:30:00 | 0 | 156.385 | 3.428 | 205.992 | 2.661 | 77.7535 | 0 | 354.232 | 26.46 | 980.498 | 58.6166 | -0.31776
2019-02-12 12:45:00 | 0 | 188.425 | 3.1723 | 224.876 | 3.6837 | 78.301 | 0 | 14.1434 | 26.46 | 980.201 | 57.9235 | -0.28081
2019-02-12 13:00:00 | 0 | 150.742 | 3.9393 | 201.016 | 4.7063 | 78.4432 | 1.3827 | 319.991 | 26.46 | 980.201 | 57.5789 | -0.24016
2019-02-12 13:15:00 | 0 | 154.944 | 3.1723 | 209.758 | 3.1723 | 78.3256 | 0 | 333.688 | 26.46 | 979.904 | 58.0602 | -0.19213
2019-02-12 13:30:00 | 0 | 135.794 | 4.7063 | 188.909 | 4.962 | 78.9934 | 3.9393 | 320.266 | 26.46 | 979.607 | 58.1355 | 0.051728
2019-02-12 13:45:00 | 0 | 138.946 | 3.6837 | 186.48 | 3.6837 | 79.1679 | 3.9393 | 319.476 | 26.46 | 979.607 | 58.6165 | 0.43969
2019-02-12 14:00:00 | 0 | 151.507 | 4.4507 | 207.065 | 4.7063 | 78.9241 | 0.75133 | 339.208 | 26.46 | 979.607 | 58.275 | 0.63921
2019-02-12 14:15:00 | 0 | 146.141 | 5.4733 | 189.749 | 5.4733 | 79.6558 | 5.9847 | 331.037 | 26.46 | 979.012 | 57.8309 | 0.38796
2019-02-12 14:30:00 | 0 | 148.946 | 4.4507 | 198.09 | 4.7063 | 79.3631 | 1.5183 | 326.794 | 26.46 | 979.309 | 57.8651 | 0.029559
2019-02-12 14:45:00 | 0 | 194.31 | 4.195 | 232.065 | 4.7063 | 79.1192 | 5.729 | 355.72 | 26.46 | 979.458 | 56.9086 | 0.15149
2019-02-12 15:00:00 | 0 | 185.506 | 4.7063 | 230.089 | 5.9847 | 79.6558 | 0 | 2.7804 | 26.46 | 979.607 | 55.8155 | -0.23647
2019-02-12 15:15:00 | 0 | 166.409 | 1.894 | 195.456 | 1.6383 | 78.4363 | 0 | 353.305 | 26.46 | 980.201 | 54.3809 | -0.29928
2019-02-12 15:30:00 | 0 | 212.798 | 2.9167 | 260.332 | 2.4053 | 78.6802 | 0 | 33.5354 | 26.46 | 980.052 | 54.3809 | -0.20691
2019-02-12 15:45:00 | 0 | 240.528 | 2.661 | 310.672 | 1.894 | 209.603 | 0 | 71.5341 | 26.46 | 980.201 | 54.3809 | -0.059118
2019-02-12 16:00:00 | 0 | 323.891 | 4.195 | 8.1711 | 3.9393 | 214.773 | 0 | 129.337 | 26.46 | 980.201 | 55.2348 | 0.033254
2019-02-12 16:15:00 | 0 | 305.063 | 3.428 | 7.1712 | 2.4053 | 219.456 | 0 | 129.459 | 26.46 | 979.458 | 57.1477 | -0.077592
2019-02-12 16:30:00 | 0 | 315.062 | 2.661 | 0.34077 | 1.3827 | 219.358 | 0 | 137.264 | 26.46 | 979.309 | 57.5918 | 0.75375
2019-02-12 16:45:00 | 0 | 355.573 | 2.1497 | 53.656 | 1.3827 | 219.358 | 0 | 169.141 | 26.46 | 979.161 | 57.7284 | 1.8216
2019-02-12 17:00:00 | 0 | 16.2707 | 1.007 | 72.5257 | 1.894 | 230.034 | 0 | 187.369 | 26.46 | 979.253 | 68.6033 | 6.4106
2019-02-12 17:15:00 | 0 | 5.5866 | 2.9167 | 25.2784 | 2.4053 | 230.832 | 0 | 161.792 | 26.46 | 979.312 | 71.2738 | 10.8887
2019-02-12 17:30:00 | 0 | 6.4897 | 3.428 | 85.0305 | 1.6383 | 162.291 | 0.37567 | 171.586 | 26.46 | 979.288 | 72.8503 | 10.4564
2019-02-12 17:45:00 | 0 | 4.6844 | 2.9167 | 61.952 | 4.195 | 168.296 | 1.2627 | 170.345 | 26.46 | 979.312 | 74.0817 | 10.8887
2019-02-12 18:00:00 | 0.62733 | 2.5862 | 4.7063 | 55.4134 | 3.6837 | 129.015 | 4.195 | 153.315 | 26.46 | 979.312 | 74.8334 | 11.5907
2019-02-12 18:15:00 | 0.88267 | 47.6976 | 5.9847 | 64.5626 | 4.7063 | 23.0315 | 1.6383 | 169.637 | 26.46 | 979.312 | 76.2002 | 10.4158
2019-02-12 18:30:00 | 0 | 344.246 | 4.4507 | 42.5879 | 4.195 | 2.6353 | 2.541 | 159.312 | 26.46 | 979.312 | 77.3032 | 10.1239
2019-02-12 18:45:00 | 2.3927 | 50.076 | 3.428 | 63.7529 | 3.428 | 5.1735 | 3.1723 | 173.851 | 26.46 | 979.312 | 77.7222 | 6.6101
2019-02-12 19:00:00 | 0.372 | 352.145 | 3.9393 | 47.1147 | 2.4053 | 356.562 | 4.4507 | 159.196 | 26.46 | 979.448 | 77.9672 | 7.0867
2019-02-12 19:15:00 | 0 | 47.2258 | 4.195 | 55.7565 | 3.6837 | 357.012 | 2.9167 | 186.804 | 26.46 | 979.738 | 78.3797 | 6.5583
2019-02-12 19:30:00 | 0 | 357.012 | 3.428 | 46.1405 | 3.428 | 357.012 | 0 | 178.653 | 26.46 | 979.908 | 78.7899 | 7.3897
2019-02-12 19:45:00 | 0 | 0.14644 | 3.9393 | 47.8245 | 2.4053 | 357.012 | 4.7063 | 179.409 | 26.46 | 979.611 | 79.2343 | 8.5499
2019-02-12 20:00:00 | 0 | 46.9085 | 3.1723 | 50.2895 | 3.9393 | 356.89 | 4.7063 | 173.234 | 26.46 | 979.611 | 79.6445 | 7.7777
2019-02-12 20:15:00 | 0 | 5.8331 | 4.962 | 57.8553 | 2.1497 | 355.84 | 0.37567 | 180.8 | 26.46 | 979.909 | 79.2342 | 7.3306
2019-02-12 20:30:00 | 0 | 4.149 | 4.7063 | 55.5112 | 4.195 | 355.859 | 0.75133 | 180.651 | 26.46 | 979.909 | 79.7115 | 7.1865
2019-02-12 20:45:00 | 0 | 5.1741 | 3.1723 | 62.9804 | 2.661 | 354.765 | 0 | 187.658 | 26.46 | 979.909 | 79.6442 | 5.7861
2019-02-12 21:00:00 | 0 | 356.817 | 2.9167 | 49.9966 | 2.9167 | 354.864 | 0 | 179.214 | 26.46 | 980.057 | 80.0547 | 5.6383
2019-02-12 21:15:00 | 0 | 198.348 | 3.428 | 51.3634 | 4.4507 | 352.717 | 1.774 | 181.386 | 26.46 | 980.206 | 78.2772 | 7.1532
2019-02-12 21:30:00 | 0 | 356.89 | 5.2177 | 42.1135 | 5.2177 | 354.205 | 0.37567 | 172.502 | 26.46 | 980.504 | 79.0976 | 9.2223
2019-02-12 21:45:00 | 0 | 0.097624 | 3.9393 | 49.069 | 4.4507 | 353.594 | 3.1723 | 177.944 | 26.46 | 980.504 | 80.1911 | 8.9785
2019-02-12 22:00:00 | 0 | 356.915 | 5.2177 | 42.8213 | 4.962 | 354.01 | 5.729 | 177.652 | 26.46 | 980.504 | 80.8067 | 9.1521
2019-02-12 22:15:00 | 0 | 6.5408 | 5.2177 | 57.953 | 3.9393 | 353.107 | 4.4507 | 186.804 | 26.46 | 980.652 | 81.8322 | 7.4673
2019-02-12 22:30:00 | 0 | 14.6436 | 4.962 | 62.1509 | 4.4507 | 354.962 | 0.887 | 193.955 | 26.46 | 980.504 | 82.2423 | 6.3108
2019-02-12 22:45:00 | 0 | 24.0156 | 3.9393 | 73.6217 | 3.428 | 354.816 | 0 | 200.716 | 26.46 | 980.206 | 83.2678 | 4.7959
2019-02-12 23:00:00 | 0.372 | 16.9378 | 3.9393 | 67.9107 | 3.428 | 354.279 | 0 | 196.762 | 26.46 | 980.206 | 82.0372 | 5.328
2019-02-12 23:15:00 | 0 | 9.2255 | 2.4053 | 40.5271 | 3.6837 | 350.959 | 0 | 189.782 | 26.46 | 980.355 | 82.6867 | 6.1002
2019-02-12 23:30:00 | 0 | 349.324 | 4.195 | 30.0325 | 3.1723 | 344.492 | 0 | 171.16 | 26.46 | 980.504 | 84.6351 | 7.8368
2019-02-12 23:45:00 | 0 | 347.445 | 5.2177 | 35.4018 | 4.962 | 343.979 | 2.661 | 164.765 | 26.46 | 980.206 | 86.1049 | 11.0328